| 20A2391 Entrained / Holdup Gas Monitor |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | SENSOR HEAD COVER | SECTION TITLE |  |
| 012 | Head/Tube cover type | cradle |  |
| 012 | Head/Tube cover type | NA |  |
| 012 | Head/Tube cover type | two-piece bolted |  |
| 013 | Cover style | ANSI pipe |  |
| 013 | Cover style | ANSI tube |  |
| 013 | Cover style | metric size |  |
| 013 | Cover style | sample tube |  |
| 014 | Pipe/Tube nominal size | 10 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 100 mm |  |
| 014 | Pipe/Tube nominal size | 12 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 125 mm |  |
| 014 | Pipe/Tube nominal size | 14 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 150 mm |  |
| 014 | Pipe/Tube nominal size | 16 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 18 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 2 1/2 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 2 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 20 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 200 mm |  |
| 014 | Pipe/Tube nominal size | 24 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 250 mm |  |
| 014 | Pipe/Tube nominal size | 26 in |  |
| 014 | Pipe/Tube nominal size | 28 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 3 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 30 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 300 mm |  |
| 014 | Pipe/Tube nominal size | 350 mm |  |
| 014 | Pipe/Tube nominal size | 36 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 4 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 400 mm |  |
| 014 | Pipe/Tube nominal size | 450 mm |  |
| 014 | Pipe/Tube nominal size | 5 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 50 mm |  |
| 014 | Pipe/Tube nominal size | 500 mm |  |
| 014 | Pipe/Tube nominal size | 6 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 600 mm |  |
| 014 | Pipe/Tube nominal size | 65 mm |  |
| 014 | Pipe/Tube nominal size | 650 mm |  |
| 014 | Pipe/Tube nominal size | 700 mm |  |
| 014 | Pipe/Tube nominal size | 750 mm |  |
| 014 | Pipe/Tube nominal size | 8 in | NOMINAL SIZE |
| 014 | Pipe/Tube nominal size | 80 mm |  |
| 014 | Pipe/Tube nominal size | 900 mm |  |
| 014 | Pipe/Tube nominal size | NA | NOMINAL SIZE |
| 015 | Head cover material | fiberglass |  |
| 015 | Head cover material | NA |  |
| 015 | Head cover material | stainless steel |  |
| 016 | Gasket/Seal material | NA | MATERIAL |
| 016 | Gasket/Seal material | PTFE, fiberglass | MATERIAL |
| 016 | Gasket/Seal material | silicone rubber, SST | MATERIAL |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 019 | SENSING ELEMENT | SECTION TITLE |  |
| 020 | Measurement type | sonar array processing |  |
| 021 | Sensor style | 100 °C standard |  |
| 021 | Sensor style | 125 °C standard |  |
| 021 | Sensor style | high dispersion |  |
| 022 | Band type | NA |  |
| 023 | Band material | alloy | MATERIAL |
| 023 | Band material | stainless steel | MATERIAL |
| 024a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 025a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 025b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026 | CONNECTION HEAD OR PREAMPLIFIER | SECTION TITLE |  |
| 027 | Configuration type | connection head |  |
| 027 | Configuration type | preamplifier |  |
| 028 | Output signal type | 0.3 Hz | SIGNAL |
| 028 | Output signal type | 0.3 Hz | SIGNAL |
| 028 | Output signal type | 0.3 Hz w/ 2.5x lower gain | SIGNAL |
| 028 | Output signal type | 0.3 Hz w/ 25x lower gain | SIGNAL |
| 028 | Output signal type | 1.8 Hz | SIGNAL |
| 028 | Output signal type | 12 Hz | SIGNAL |
| 028 | Output signal type | 18 Hz | SIGNAL |
| 029 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 029 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 030 | Signal conn termn style | male connector socket | END CONNECTION TYPE |
| 030 | Signal conn termn style | NA | END CONNECTION TYPE |
| 031 | Cert/Approval type | CE marked | CERTIFICATION |
| 031 | Cert/Approval type | NA | CERTIFICATION |
| 031 | Cert/Approval type | UL non-incendive | CERTIFICATION |
| 032a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 032b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 033 | LEAD WIRE AND EXTENSION | SECTION TITLE |  |
| 034 | Extension type | armored extension cable |  |
| 034 | Extension type | NA |  |
| 034 | Extension type | PLTC extension cable |  |
| 035 | Cable length | 0 |  |
| 035 | Cable length | 100 |  |
| 035 | Cable length | 125 |  |
| 035 | Cable length | 150 |  |
| 035 | Cable length | 175 |  |
| 035 | Cable length | 200 |  |
| 035 | Cable length | 225 |  |
| 035 | Cable length | 25 |  |
| 035 | Cable length | 250 |  |
| 035 | Cable length | 275 |  |
| 035 | Cable length | 300 |  |
| 035 | Cable length | 50 |  |
| 035 | Cable length | 75 |  |
| 035u | Cable length units | ft | UNITS |
| 035u | Cable length units | m | UNITS |
| 035u | Cable length units | NA | UNITS |
| 036a | Min cable operating temp | -20 |  |
| 036a | Min cable operating temp | -4 |  |
| 036au | Min cable operating temp units | °C | UNITS |
| 036au | Min cable operating temp units | °F | UNITS |
| 036au | Min cable operating temp units | C | UNITS |
| 036au | Min cable operating temp units | F | UNITS |
| 036b | Max cable operating temp | 105 |  |
| 036b | Max cable operating temp | 221 |  |
| 036b | Max cable operating temp | 75 |  |
| 036bu | Max cable operating temp units | °C | UNITS |
| 036bu | Max cable operating temp units | °F | UNITS |
| 036bu | Max cable operating temp units | C | UNITS |
| 036bu | Max cable operating temp units | F | UNITS |
| 037 | Signal termination type | female conn x cut cable | END CONNECTION TYPE |
| 037a | Min cable operating temp | -40 |  |
| 038 | Cert/Approval type | NA | CERTIFICATION |
| 039 | Cable jacket material | NA | MATERIAL |
| 039 | Cable jacket material | PVC | MATERIAL |
| 040a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 040b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 041 | TRANSMITTER OR TOTALIZER | SECTION TITLE |  |
| 042 | Configuration type | transmitter |  |
| 042 | Configuration type | transmitter and totalizer |  |
| 043 | Aux input signal type | NA |  |
| 043 | Aux input signal type | two 4-20 mA |  |
| 044 | Output signal type | 2 current,1 freq,digit | SIGNAL |
| 044 | Output signal type | NA | SIGNAL |
| 045 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 045 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 046 | Local operator interface | keypad |  |
| 046 | Local operator interface | NA |  |
| 047 | Digital communication std | Ethernet |  |
| 047 | Digital communication std | HART |  |
| 047 | Digital communication std | NA |  |
| 047 | Digital communication std | RS 232 |  |
| 047 | Digital communication std | RS 485 |  |
| 048 | Signal power source | 100-240 Vac, 50/60 Hz |  |
| 048 | Signal power source | 18-36 Vdc |  |
| 049a | Contacts arrangement | NA |  |
| 049a | Contacts arrangement | SPST-NO |  |
| 049b | Contacts quantity | 0 |  |
| 049b | Contacts quantity | 2 |  |
| 050 | Integral indicator style | graphic display LCD |  |
| 050 | Integral indicator style | NA |  |
| 051 | Signal termination type | terminal block | END CONNECTION TYPE |
| 052 | Cert/Approval type | CE Marked | CERTIFICATION |
| 052 | Cert/Approval type | NA | CERTIFICATION |
| 052 | Cert/Approval type | UL general purpose | CERTIFICATION |
| 052 | Cert/Approval type | UL non-incendive | CERTIFICATION |
| 053 | Mounting location/type | panel mount | MOUNTING POSITION |
| 053 | Mounting location/type | pipe mounting kit | MOUNTING POSITION |
| 053 | Mounting location/type | wall mount | MOUNTING POSITION |
| 054 | Failure/Diagnostic action | de-energize relay | INSTRUMENT ACTION |
| 054 | Failure/Diagnostic action | NA | INSTRUMENT ACTION |
| 055 | Memory interface | NA |  |
| 055 | Memory interface | USB |  |
| 057 | Data logger points | 2 seconds-24 days |  |
| 057 | Data logger points | NA |  |
| 058 | Measurement compensation | NA |  |
| 058 | Measurement compensation | temperature |  |
| 058 | Measurement compensation | temperature & pressure |  |
| 059 | Enclosure material | fiberglass | MATERIAL |
| 059 | Enclosure material | NA | MATERIAL |
| 060a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 060b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 061a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 061b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 062a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 062b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 063 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 064a | Min working temperature | -40 | WORKING TEMPERATURE |
| 064au | Min working temp units | °C | UNITS |
| 064au | Min working temp units | °F | UNITS |
| 064au | Min working temp units | C | UNITS |
| 064au | Min working temp units | F | UNITS |
| 064b | Max working temperature | 100 | WORKING TEMPERATURE |
| 064b | Max working temperature | 212 | WORKING TEMPERATURE |
| 064b | Max working temperature | 60 | WORKING TEMPERATURE |
| 064bu | Max working temp units | °C | UNITS |
| 064bu | Max working temp units | °F | UNITS |
| 064bu | Max working temp units | C | UNITS |
| 064bu | Max working temp units | F | UNITS |
| 065a | Gas fraction accuracy rating |  |  |
| 065b | Accuracy rating ref base | % reading | ACCURACY REFERENCE |
| 066a | Gas fraction repeatability | 1.0 |  |
| 066b | Repeatability ref base | % reading |  |
| 067a | Gas fraction LRL | 0 |  |
| 067au | Gas fraction LRL Units | % |  |
| 067b | Gas fraction URL | 20 |  |
| 067bu | Gas fraction URL Units | % |  |
| 068 | Update rate | 2 |  |
| 068u | Update rate Units | s |  |
| 069a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 069au | Min amb temperature units | °C | UNITS |
| 069au | Min amb temperature units | °F | UNITS |
| 069au | Min amb temperature units | C | UNITS |
| 069au | Min amb temperature units | F | UNITS |
| 069b | Max amb temperature units | °C | UNITS |
| 069b | Max amb temperature units | °F | UNITS |
| 069b | Max ambient working temp | 140 | MAX AMBIENT TEMPERATURE |
| 069b | Max ambient working temp | 60 | MAX AMBIENT TEMPERATURE |
| 069b | Max amb temperature units | C | UNITS |
| 069b | Max amb temperature units | F | UNITS |
| 070a | Contacts dc rating | 200 | DEVICE RATING |
| 070au | DC rating current units | mA | UNITS |
| 070b | DC rating max voltage | 36 | DEVICE RATING |
| 070bu | DC max voltage units | V | UNITS |
| 071 | Max sensor to receiver lg | 300 |  |
| 071u | Length units | ft | UNITS |
| 071u | Length units | m | UNITS |
| 072a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 073a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 077 | ACCESSORIES | SECTION TITLE |  |
| 078 | Mounting hardware | vertical kit, rain guard |  |
| 078 | Mounting hardware | xmtr pipe mounting kit |  |
| 079 | Thermal blanket | NA |  |
| 079 | Thermal blanket | Thermal barrier |  |
| 080a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 080b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 081a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 081b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 082a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 084 | Custom tag | Lamicoid |  |
| 084 | Custom tag | NA |  |
| 084 | Custom tag | sst permanent attached |  |
| 084 | Custom tag | sst wired-on |  |
| 085 | Reference specification | NA | REFERENCE SPECIFICATION |
| 086 | Software configuration | Gas Void Fraction |  |
| 086 | Software configuration | NA |  |
| 086 | Calibration report | NA |  |
| 088a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091 | PHYSICAL DATA | SECTION TITLE |  |
| 092 | Estimated weight |  |  |
| 092u | Weight units | kg | UNITS |
| 092u | Weight units | lb | UNITS |
| 093 | Overall length |  |  |
| 093u | Overall length units | in | UNITS |
| 093u | Overall length units | mm | UNITS |
| 094 | Removal clearance |  |  |
| 094u | Removal clearance units | in | UNITS |
| 094u | Removal clearance units | mm | UNITS |
| 095 | Outside Diameter |  |  |
| 095u | Outside Diameter units | in | UNITS |
| 095u | Outside Diameter units | mm | UNITS |
| 096a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 096b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 096b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 096b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 097 | Mfr reference dwg | NA |  |
| 098a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100a | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog measurement tag 1 |  |  |
| 112b | Gas fraction - Output 1 |  |  |
| 112c | Analog meas 1 LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Analog meas 1 LRV units | % | UNITS |
| 112d | Analog meas 1 URV | 20 | UPPER RANGE-VALUE |
| 112du | Analog meas 1 URV units | % | UNITS |
| 112e | Analog meas 1 signal action | direct | INSTRUMENT ACTION |
| 112e | Analog meas 1 signal action | reverse | INSTRUMENT ACTION |
| 112f | Analog meas 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112f | Analog meas 1 output LRV | 4 | LOWER RANGE-VALUE |
| 112fu | Anlg meas 1 output LRV units | mA | UNITS |
| 112g | Analog meas 1 output URV | 20 | UPPER RANGE-VALUE |
| 112gu | Anlg meas 1 output URV units | mA | UNITS |
| 113a | Analog measurement tag 2 |  |  |
| 113b | Speed of sound-Output 2 |  |  |
| 113c | Analog meas 2 LRV |  | LOWER RANGE-VALUE |
| 113cu | Analog meas 2 LRV units | ft/s | UNITS |
| 113cu | Analog meas 2 LRV units | m/s | UNITS |
| 113d | Analog meas 2 URV |  | UPPER RANGE-VALUE |
| 113du | Analog meas 2 URV units | ft/s | UNITS |
| 113du | Analog meas 2 URV units | m/s | UNITS |
| 113e | Analog meas 2 signal action | direct | INSTRUMENT ACTION |
| 113e | Analog meas 2 signal action | reverse | INSTRUMENT ACTION |
| 113f | Analog meas 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113f | Analog meas 2 output LRV | 4 | LOWER RANGE-VALUE |
| 113fu | Anlg meas 2 output LRV units | mA | UNITS |
| 113g | Analog meas 2 output URV | 20 | UPPER RANGE-VALUE |
| 113gu | Anlg meas 2 output URV units | V | UNITS |
| 114a | Freq meas 1 tag no |  |  |
| 114b | Meas-Frequency output | Gas fraction |  |
| 114b | Meas-Frequency output | Speed of sound |  |
| 114c | Freq meas 1 LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Freq meas 1 LRV units | % | UNITS |
| 114cu | Freq meas 1 LRV units | ft/s | UNITS |
| 114cu | Freq meas 1 LRV units | m/s | UNITS |
| 114d | Freq meas 1 URV |  | UPPER RANGE-VALUE |
| 114du | Freq meas 1 URV units | % | UNITS |
| 114du | Freq meas 1 URV units | ft/s | UNITS |
| 114du | Freq meas 1 URV units | m/s | UNITS |
| 114e | Freq meas 1 action |  | INSTRUMENT ACTION |
| 114e | Analog meas 1 signal action | direct | INSTRUMENT ACTION |
| 114e | Analog meas 1 signal action | reverse | INSTRUMENT ACTION |
| 114f | Freq meas 1 output LRV | 0 | LOWER RANGE-VALUE |
| 114fu | Freq meas 1 output LRV units | Hz | UNITS |
| 114g | Freq meas 1 output URV |  | UPPER RANGE-VALUE |
| 114gu | Freq meas 1 output URV units | Hz | UNITS |
| 115a | Digital meas tag no |  |  |
| 115b | Meas-Digital output | Gas fraction |  |
| 115b | Meas-Digital output | Speed of sound |  |
| 115c | Digital meas LRV | 0 | LOWER RANGE-VALUE |
| 115cu | Digital meas LRV units | % | UNITS |
| 115cu | Digital meas LRV units | ft/s | UNITS |
| 115cu | Digital meas LRV units | m/s | UNITS |
| 115d | Digital meas URV | 20 | UPPER RANGE-VALUE |
| 115du | Digital meas URV units | % | UNITS |
| 115du | Digital meas URV units | ft/s | UNITS |
| 115du | Digital meas URV units | m/s | UNITS |
| 115e | Digital meas action | direct |  |
| 115e | Digital meas action | reverse |  |
| 115f | Digital meas output LRV | 0 | LOWER RANGE-VALUE |
| 115fu | Dgtl output LRV units | % |  |
| 115g | Digital output URV | 20 |  |
| 115gu | Digital output URV units | % |  |
| 116a | Meas 1 scale tag no |  |  |
| 116b | Gas fraction-Scale 1 |  |  |
| 116c | Scale meas 1 LRV | 0 | LOWER RANGE-VALUE |
| 116cu | Scale meas 1 LRV units | % | UNITS |
| 116d | Scale meas 1 URV | 20 | UPPER RANGE-VALUE |
| 116du | Scale meas 1 URV units | % | UNITS |
| 116e | Scale meas 1 signal action | direct | INSTRUMENT ACTION |
| 116e | Scale meas 1 signal action | reverse | INSTRUMENT ACTION |
| 116f | Scale meas 1 scale LRV | 0 | LOWER RANGE-VALUE |
| 116fu | Scale meas 1 scale LRV units | % | UNITS |
| 116g | Scale meas 1 scale URV |  | UPPER RANGE-VALUE |
| 116gu | Scale meas 1 scale URV units | % | UNITS |
| 117a | Meas 2 scale tag no |  |  |
| 117b | Speed of sound-Scale 2 |  |  |
| 117c | Scale meas 2 LRV |  |  |
| 117cu | Scale meas 2 LRV units | ft/s | UNITS |
| 117cu | Scale meas 2 LRV units | m/s | UNITS |
| 117d | Scale meas 2 URV |  | UPPER RANGE-VALUE |
| 117du | Scale meas 2 URV units | ft/sec | UNITS |
| 117du | Scale meas 2 URV units | m/s | UNITS |
| 117e | Scale meas 2 signal action | direct | INSTRUMENT ACTION |
| 117e | Scale meas 2 signal action | reverse | INSTRUMENT ACTION |
| 117f | Scale meas 2 scale LRV |  | LOWER RANGE-VALUE |
| 117fu | Scale meas 2 scale LRV units | ft/s | UNITS |
| 117fu | Scale meas 2 scale LRV units | m/s | UNITS |
| 117g | Scale meas 2 scale URV |  | UPPER RANGE-VALUE |
| 117gu | Scale meas 2 scale URV units | ft/s | UNITS |
| 117gu | Scale meas 2 scale URV units | m/s | UNITS |
| 118a | Setpoint tag no |  |  |
| 118b | Setpoint-Output | Gas fraction |  |
| 118b | Setpoint-Output | Speed of sound |  |
| 118c | Setpoint LRV |  | LOWER RANGE-VALUE |
| 118cu | Setpoint LRV units | % | UNITS |
| 118cu | Setpoint LRV units | ft/s | UNITS |
| 118cu | Setpoint LRV units | m/s | UNITS |
| 118d | Setpoint URV |  | UPPER RANGE-VALUE |
| 118du | Setpoint URV units | % | UNITS |
| 118du | Setpoint URV units | ft/s | UNITS |
| 118du | Setpoint 1 URV units | m/s | UNITS |
| 118e | Setpoint signal action | NC | INSTRUMENT ACTION |
| 118e | Setpoint signal action | NO | INSTRUMENT ACTION |
| 118f | Setpoint output LRV | 0 | LOWER RANGE-VALUE |
| 118fu | Setpoint output LRV units | V | UNITS |
| 118g | Setpoint output URV | 24 | UPPER RANGE-VALUE |
| 118gu | Setpoint output URV units | V | UNITS |
| 119a | Failure tag no |  |  |
| 119b | Failure signal-Output | Failure signal-Output |  |
| 119e | Failure action | NC |  |
| 119e | Failure action | NO |  |
| 119f | Failure output LRV | 0 | LOWER RANGE-VALUE |
| 119fu | Failure output LRV units | V | UNITS |
| 119g | Failure output URV | 120 | UPPER RANGE-VALUE |
| 119g | Failure output URV | 24 | UPPER RANGE-VALUE |
| 119gu | Failure output URV units | V | UNITS |
| 120a | Attribute tag no |  |  |
| 120b | Attribute cal/test descp |  |  |
| 120c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 120cu | Attr cal/test LRV units |  | UNITS |
| 120d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 120du | Attr cal/test URV units |  | UNITS |
| 120e | Attribute cal/test action | direct | INSTRUMENT ACTION |
| 120e | Attribute cal/test action | NC | INSTRUMENT ACTION |
| 120e | Attribute cal/test action | NO | INSTRUMENT ACTION |
| 120e | Attribute cal/test action | reverse | INSTRUMENT ACTION |
| 120f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 120fu | Attr output LRV units |  | UNITS |
| 120g | Attribute output URV |  | UPPER RANGE-VALUE |
| 120gu | Attr output URV units |  | UNITS |
| 124 | COMPONENT IDENTIFICATIONS |  |  |
| 126a | Component type | sonar flowmeter |  |
| 126b | Manufacturer |  | MANUFACTURER |
| 126c | Model number |  | MODEL NUMBER |
| 127a | Component type | sonar flowmeter xmtr |  |
| 127b | Manufacturer |  | MANUFACTURER |
| 127c | Model number |  | MODEL NUMBER |
| 128a | Component type |  |  |
| 128b | Manufacturer |  | MANUFACTURER |
| 128c | Model number |  | MODEL NUMBER |
| 129a | Component type |  |  |
| 129b | Manufacturer |  | MANUFACTURER |
| 129c | Model number |  | MODEL NUMBER |