| Pick List 20A2341 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | BODY HOLDER OR FITTING | SECTION TITLE |  |
| 012 | Body/Fitting type | bayonet type holder |  |
| 012 | Body/Fitting type | clamp-on saddle |  |
| 012 | Body/Fitting type | compression fitting |  |
| 012 | Body/Fitting type | flow through chamber |  |
| 012 | Body/Fitting type | flow through, 2 electrode |  |
| 012 | Body/Fitting type | pipe "Y" fitting |  |
| 012 | Body/Fitting type | pipe tee fitting |  |
| 012 | Body/Fitting type | strap-on saddles |  |
| 012 | Body/Fitting type | submersion adapter |  |
| 012 | Body/Fitting type | twist lock receptacle |  |
| 012 | Body/Fitting type | union fitting |  |
| 012 | Body/Fitting type | universal pipe adapter |  |
| 012 | Body/Fitting type | weld spud |  |
| 012 | Body/Fitting type | weld-in socket |  |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | PG 13.5 | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 014a | Process conn termn type | compression | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | socket | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | cement | END CONNECTION TYPE |
| 014b | Process conn termn style | fitting | END CONNECTION TYPE |
| 014b | Process conn termn style | G | END CONNECTION TYPE |
| 014b | Process conn termn style | NPSL | END CONNECTION TYPE |
| 014b | Process conn termn style | NTP(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | NTP(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | RF | END CONNECTION TYPE |
| 014b | Process conn termn style | tri-clamp | END CONNECTION TYPE |
| 015 | Maximum probe diameter | 0.475 |  |
| 015 | Maximum probe diameter | 0.78 |  |
| 015 | Maximum probe diameter | 1.0 |  |
| 015 | Maximum probe diameter | 1.06 |  |
| 015 | Maximum probe diameter | 1.12 |  |
| 015 | Maximum probe diameter | 12 |  |
| 015 | Maximum probe diameter | 2.71 |  |
| 015 | Maximum probe diameter | 2.95 |  |
| 015 | Maximum probe diameter | 20 |  |
| 015 | Maximum probe diameter | 25.4 |  |
| 015 | Maximum probe diameter | 28.5 |  |
| 015 | Maximum probe diameter | 57 |  |
| 015 | Maximum probe diameter | 60 |  |
| 015u | Maximum probe diameter units | in | UNITS |
| 015u | Maximum probe diameter units | mm | UNITS |
| 016 | Body/Fitting material | 316 SST | MATERIAL |
| 016 | Body/Fitting material | AISI 316 Ti | MATERIAL |
| 016 | Body/Fitting material | carbon steel | MATERIAL |
| 016 | Body/Fitting material | carpenter 20 Cb | MATERIAL |
| 016 | Body/Fitting material | ceramic | MATERIAL |
| 016 | Body/Fitting material | CPVC | MATERIAL |
| 016 | Body/Fitting material | CPVC | MATERIAL |
| 016 | Body/Fitting material | CTFE | MATERIAL |
| 016 | Body/Fitting material | iron | MATERIAL |
| 016 | Body/Fitting material | kynar | MATERIAL |
| 016 | Body/Fitting material | kynar | MATERIAL |
| 016 | Body/Fitting material | monel | MATERIAL |
| 016 | Body/Fitting material | monel | MATERIAL |
| 016 | Body/Fitting material | polypropylene | MATERIAL |
| 016 | Body/Fitting material | PPE | MATERIAL |
| 016 | Body/Fitting material | PTFE | MATERIAL |
| 016 | Body/Fitting material | PVC | MATERIAL |
| 016 | Body/Fitting material | PVDF | MATERIAL |
| 016 | Body/Fitting material | ryton | MATERIAL |
| 016 | Body/Fitting material | ryton | MATERIAL |
| 016 | Body/Fitting material | stainless steel 1.4571 | MATERIAL |
| 016 | Body/Fitting material | tantalum | MATERIAL |
| 016 | Body/Fitting material | teflon | MATERIAL |
| 016 | Body/Fitting material | teflon | MATERIAL |
| 016 | Body/Fitting material | titanium | MATERIAL |
| 017 | Flange material | 316 SST | MATERIAL |
| 017 | Flange material | 316L SST | MATERIAL |
| 017 | Flange material | NA | MATERIAL |
| 018 | Seal/O ring material | BUNA N | MATERIAL |
| 018 | Seal/O ring material | chemraz | MATERIAL |
| 018 | Seal/O ring material | chemraz | MATERIAL |
| 018 | Seal/O ring material | EPDM | MATERIAL |
| 018 | Seal/O ring material | EPR | MATERIAL |
| 018 | Seal/O ring material | fluoraz | MATERIAL |
| 018 | Seal/O ring material | fluoraz | MATERIAL |
| 018 | Seal/O ring material | FPM | MATERIAL |
| 018 | Seal/O ring material | kalrez | MATERIAL |
| 018 | Seal/O ring material | kalrez | MATERIAL |
| 018 | Seal/O ring material | NA | MATERIAL |
| 018 | Seal/O ring material | silicone rubber | MATERIAL |
| 018 | Seal/O ring material | viton | MATERIAL |
| 018 | Seal/O ring material | viton | MATERIAL |
| 019a | Defined attribute 1 name | Mounting plate material | DEFINABLE ATTRIBUTE NAME |
| 019a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 1 data | ABS | DEFINABLE ATTRIBUTE VALUE |
| 019b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 020a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 021b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 022 | SENSING ELEMENT | SECTION TITLE |  |
| 023 | Sensor type | general purpose pH |  |
| 023 | Sensor type | gold ORP |  |
| 023 | Sensor type | HF resistant pH |  |
| 023 | Sensor type | high alkaline pH |  |
| 023 | Sensor type | high pH |  |
| 023 | Sensor type | ion sensitive pH |  |
| 023 | Sensor type | low resistivity pH |  |
| 023 | Sensor type | platinum ORP |  |
| 023 | Sensor type | ruggedized pH |  |
| 023 | Sensor type | wastewater pH |  |
| 024 | Construction style | autoclavable |  |
| 024 | Construction style | disposable pressurized |  |
| 024 | Construction style | end bulb cartridge |  |
| 024 | Construction style | refillable pressurized |  |
| 024 | Construction style | shrouded tip |  |
| 024 | Construction style | side bulb cartridge |  |
| 024 | Construction style | steam sterializable |  |
| 024 | Construction style | stolled tip |  |
| 025 | Measuring electrode shape | conic |  |
| 025 | Measuring electrode shape | domed glass |  |
| 025 | Measuring electrode shape | flat |  |
| 025 | Measuring electrode shape | hemi bulb |  |
| 025 | Measuring electrode shape | rod |  |
| 025 | Measuring electrode shape | sphere |  |
| 026 | Reference junction style | double-junction |  |
| 026 | Reference junction style | sealed double junction |  |
| 026 | Reference junction style | single-junction |  |
| 026 | Reference junction style | triple-junction |  |
| 027 | Insertion/Immersion lg | 120 |  |
| 027 | Insertion/Immersion lg | 150 |  |
| 027 | Insertion/Immersion lg | 2.1 |  |
| 027 | Insertion/Immersion lg | 200 |  |
| 027 | Insertion/Immersion lg | 225 |  |
| 027 | Insertion/Immersion lg | 250 |  |
| 027 | Insertion/Immersion lg | 27 |  |
| 027 | Insertion/Immersion lg | 325 |  |
| 027 | Insertion/Immersion lg | 360 |  |
| 027 | Insertion/Immersion lg | 40 |  |
| 027 | Insertion/Immersion lg | 400 |  |
| 027 | Insertion/Immersion lg | 425 |  |
| 027u | Insertion length units | in | UNITS |
| 027u | Insertion length units | mm | UNITS |
| 028 | Signal conn termn style | AS7 connector | END CONNECTION TYPE |
| 028 | Signal conn termn style | ESA 6 pole connector | END CONNECTION TYPE |
| 028 | Signal conn termn style | eurocap connector | END CONNECTION TYPE |
| 028 | Signal conn termn style | K9 connector | END CONNECTION TYPE |
| 028 | Signal conn termn style | male BNC connector | END CONNECTION TYPE |
| 028 | Signal conn termn style | NA | END CONNECTION TYPE |
| 028 | Signal conn termn style | variopol VP 6.0 connector | END CONNECTION TYPE |
| 029 | Temperature sensor type | 3K balco thermistor |  |
| 029 | Temperature sensor type | NA |  |
| 029 | Temperature sensor type | pt 100 Ohm RTD |  |
| 029 | Temperature sensor type | pt 1000 Ohm RTD |  |
| 030 | Sensing surface matl | antimony pH | MATERIAL |
| 030 | Sensing surface matl | glass pH | MATERIAL |
| 030 | Sensing surface matl | gold ORP | MATERIAL |
| 030 | Sensing surface matl | platinum ORP | MATERIAL |
| 031 | Ref electrolyte material | gel solution KNO3 | MATERIAL |
| 031 | Ref electrolyte material | polytex gel, 3 mol KCL | MATERIAL |
| 031 | Ref electrolyte material | solidified acrylamide gel | MATERIAL |
| 032 | Ground pin material | NA | MATERIAL |
| 032 | Ground pin material | titanium | MATERIAL |
| 033 | Reference element matl | Ag/AgCl | MATERIAL |
| 033 | Reference element matl | KCL/AgCl | MATERIAL |
| 034 | Primary junction matl | ceramic | MATERIAL |
| 034 | Primary junction matl | glass | MATERIAL |
| 034 | Primary junction matl | polypropylene,180 mm path | MATERIAL |
| 034 | Primary junction matl | porous polyethylene | MATERIAL |
| 034 | Primary junction matl | PTFE | MATERIAL |
| 034 | Primary junction matl | tefzel | MATERIAL |
| 034 | Primary junction matl | tefzel | MATERIAL |
| 035a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 035b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 036a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 036b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 037a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 037b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 038 | LEAD WIRE AND EXTENSION | SECTION TITLE |  |
| 039 | Extension type | extension cable |  |
| 039 | Extension type | integral cable |  |
| 039 | Extension type | NA |  |
| 040 | Cable length | 1 |  |
| 040 | Cable length | 10 |  |
| 040 | Cable length | 100 |  |
| 040 | Cable length | 15 |  |
| 040 | Cable length | 150 |  |
| 040 | Cable length | 16.4 |  |
| 040 | Cable length | 200 |  |
| 040 | Cable length | 25 |  |
| 040 | Cable length | 3.3 |  |
| 040 | Cable length | 32.8 |  |
| 040 | Cable length | 4.5 |  |
| 040 | Cable length | 5 |  |
| 040 | Cable length | 50 |  |
| 040 | Cable length | 9.5 |  |
| 040 | Cable length | 9.8 |  |
| 040u | Cable length units | ft | UNITS |
| 040u | Cable length units | in | UNITS |
| 040u | Cable length units | m | UNITS |
| 040u | Cable length units | NA | UNITS |
| 041 | Max cable operating temp |  |  |
| 041u | Max cable operating temp units | °C | UNITS |
| 041u | Max cable operating temp units | °F | UNITS |
| 041u | Max cable operating temp units | C | UNITS |
| 041u | Max cable operating temp units | F | UNITS |
| 041u | Max cable operating temp units | NA | UNITS |
| 042 | Signal termination type | bare wire | END CONNECTION TYPE |
| 042 | Signal termination type | BNC connector | END CONNECTION TYPE |
| 042 | Signal termination type | coaxial connector | END CONNECTION TYPE |
| 042 | Signal termination type | NA | END CONNECTION TYPE |
| 042 | Signal termination type | spade lug | END CONNECTION TYPE |
| 042 | Signal termination type | stripped & tinned | END CONNECTION TYPE |
| 043 | Cable jacket material | NA | MATERIAL |
| 043 | Cable jacket material | PTFE | MATERIAL |
| 043 | Cable jacket material | PVC | MATERIAL |
| 044a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 044b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 045 | CONNECTION HEAD OR PREAMPLIFIER | SECTION TITLE |  |
| 046 | Configuration type | connection head |  |
| 046 | Configuration type | NA |  |
| 046 | Configuration type | preamplifier |  |
| 047 | Temperature compensation | automatic |  |
| 047 | Temperature compensation | NA |  |
| 048 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 049 | Signal termination type | NA | END CONNECTION TYPE |
| 049 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 050 | Cert/Approval type | NA | CERTIFICATION |
| 050 | Cert/Approval type | UL general purpose | CERTIFICATION |
| 051 | Mounting location/type | 2 in pipe mount bracket | MOUNTING POSITION |
| 051 | Mounting location/type | integral to cable | MOUNTING POSITION |
| 051 | Mounting location/type | integral to probe | MOUNTING POSITION |
| 051 | Mounting location/type | local mounting plate | MOUNTING POSITION |
| 051 | Mounting location/type | NA | MOUNTING POSITION |
| 051 | Mounting location/type | wall mount | MOUNTING POSITION |
| 052 | Enclosure material | ABS | MATERIAL |
| 052 | Enclosure material | NA | MATERIAL |
| 053a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 053b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 054a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 054b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 055 | INSERTION ASSEMBLY | SECTION TITLE |  |
| 056 | Assembly type | hot tap installation |  |
| 056 | Assembly type | manual insertion |  |
| 056 | Assembly type | NA |  |
| 056 | Assembly type | pressurized assembly |  |
| 056 | Assembly type | retractable assembly |  |
| 057 | Isolation valve style | ball |  |
| 057 | Isolation valve style | NA |  |
| 058a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 058a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 058a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 058a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 058a | Process conn nominal size | NA | NOMINAL SIZE |
| 058b | Process conn termn rating | cl 150 |  |
| 058b | Process conn termn rating | NA |  |
| 059a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 059a | Process conn termn type | flg adapter | END CONNECTION CATEGORY |
| 059a | Process conn termn type | NA | END CONNECTION CATEGORY |
| 059a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 059b | Process conn termn style | G | END CONNECTION TYPE |
| 059b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 059b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 059b | Process conn termn style | tri-clamp | END CONNECTION TYPE |
| 059b | Process conn termn style | union nut | END CONNECTION TYPE |
| 061 | Insertion/Immersion lg | 10 |  |
| 061 | Insertion/Immersion lg | 100 |  |
| 061 | Insertion/Immersion lg | 150 |  |
| 061 | Insertion/Immersion lg | 200 |  |
| 061 | Insertion/Immersion lg | 28 |  |
| 061 | Insertion/Immersion lg | 70 |  |
| 061u | Insertion length units | in | UNITS |
| 061u | Insertion length units | mm | UNITS |
| 061u | Insertion length units | NA | UNITS |
| 062 | Valve body material | 316 SST | MATERIAL |
| 062 | Valve body material | 316L SST | MATERIAL |
| 062 | Valve body material | NA | MATERIAL |
| 063 | Valve seat material | NA | MATERIAL |
| 063 | Valve seat material | ptfe | MATERIAL |
| 064 | Chamber wetted material | 316 SST | MATERIAL |
| 064 | Chamber wetted material | CPVC | MATERIAL |
| 064 | Chamber wetted material | CPVC | MATERIAL |
| 064 | Chamber wetted material | NA | MATERIAL |
| 064 | Chamber wetted material | PVC | MATERIAL |
| 064 | Chamber wetted material | PVDF | MATERIAL |
| 065 | Compression ferrule matl | NA | MATERIAL |
| 066a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 066a | Defined attribute 1 name | Pressurized reservoir | DEFINABLE ATTRIBUTE NAME |
| 066b | Defined attribute 1 data | 316 SST | DEFINABLE ATTRIBUTE VALUE |
| 066b | Defined attribute 1 data | Compression ferrule matl | DEFINABLE ATTRIBUTE VALUE |
| 066b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 067a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 069 | Max press at design temp |  | PRESSURE |
| 069au | Design pressure units | bar (g) | UNITS |
| 069au | Design pressure units | kPa (a) | UNITS |
| 069au | Design pressure units | psig | UNITS |
| 069b | Max design temperature |  | DESIGN TEMPERATURE |
| 069bu | Design temperature units | °C | UNITS |
| 069bu | Design temperature units | °F | UNITS |
| 069bu | Design temperature units | C | UNITS |
| 069bu | Design temperature units | F | UNITS |
| 070a | Min working temperature | 0 | WORKING TEMPERATURE |
| 070a | Min working temperature | 10 | WORKING TEMPERATURE |
| 070au | Min working temp units | °C | UNITS |
| 070au | Min working temp units | °F | UNITS |
| 070au | Min working temp units | C | UNITS |
| 070au | Min working temp units | F | UNITS |
| 070b | Max working temperature | 50 | WORKING TEMPERATURE |
| 070b | Max working temperature | 85 | WORKING TEMPERATURE |
| 070bu | Max working temp units | °C | UNITS |
| 070bu | Max working temp units | °F | UNITS |
| 070bu | Max working temp units | C | UNITS |
| 070bu | Max working temp units | F | UNITS |
| 071 | Min conductivity | 50 |  |
| 071 | Min conductivity | 75 |  |
| 071u | Min conductivity units | uS/cm | UNITS |
| 072 | Max fluid velocity limit |  |  |
| 072u | Velocity units | ft/s | UNITS |
| 072u | Velocity units | m/s | UNITS |
| 073 | Accuracy rating | 0.2 | ACCURACY RATING |
| 073u | Accuracy rating units | pH | UNITS |
| 074a | Measurement LRL | 0 | LOWER RANGE-LIMIT |
| 074a | Measurement LRL | -1 | LOWER RANGE-LIMIT |
| 074a | Measurement LRL | 12 | LOWER RANGE-LIMIT |
| 074a | Measurement LRL | -1250 | LOWER RANGE-LIMIT |
| 074a | Measurement LRL | 13 | LOWER RANGE-LIMIT |
| 074a | Measurement LRL | -1500 | LOWER RANGE-LIMIT |
| 074a | Measurement LRL | 2 | LOWER RANGE-LIMIT |
| 074a | Measurement LRL | -2000 | LOWER RANGE-LIMIT |
| 074au | Measurement units | mV | UNITS |
| 074au | Measurement units | pH | UNITS |
| 074b | Measurement URL | 12 | UPPER RANGE-LIMIT |
| 074b | Measurement URL | 1250 | UPPER RANGE-LIMIT |
| 074b | Measurement URL | 13 | UPPER RANGE-LIMIT |
| 074b | Measurement URL | 14 | UPPER RANGE-LIMIT |
| 074b | Measurement URL | 15 | UPPER RANGE-LIMIT |
| 074b | Measurement URL | 1500 | UPPER RANGE-LIMIT |
| 074b | Measurement URL | 2 | UPPER RANGE-LIMIT |
| 074b | Measurement URL | 2000 | UPPER RANGE-LIMIT |
| 074bu | Measurement units | mV | UNITS |
| 074bu | Measurement units | pH | UNITS |
| 075a | Temp comp meas LRL | 0 | LOWER RANGE-LIMIT |
| 075a | Temp comp meas LRL | 32 | LOWER RANGE-LIMIT |
| 075au | Temp comp LRL units | °C | UNITS |
| 075au | Temp comp LRL units | °F | UNITS |
| 075au | Temp comp LRL units | C | UNITS |
| 075au | Temp comp LRL units | F | UNITS |
| 075b | Temp comp meas URL | 100 | UNITS |
| 075b | Temp comp meas URL | 185 | UNITS |
| 075b | Temp comp meas URL | 203 | UNITS |
| 075b | Temp comp meas URL | 212 | UNITS |
| 075b | Temp comp meas URL | 85 | UNITS |
| 075b | Temp comp meas URL | 95 | UNITS |
| 075bu | Temp comp URL units | °C | UNITS |
| 075bu | Temp comp URL units | °F | UNITS |
| 075bu | Temp comp URL units | C | UNITS |
| 075bu | Temp comp URL units | F | UNITS |
| 076 | Linearity | 92 |  |
| 076 | Linearity | 94 |  |
| 076 | Linearity | 96 |  |
| 076 | Linearity | 97 |  |
| 076 | Linearity | 98 |  |
| 076 | Linearity | 99 |  |
| 076u | Linearity units | % | UNITS |
| 077 | Max response time |  |  |
| 077u | Response time units | s | UNITS |
| 078a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 078au | Min amb temperature units | °C | UNITS |
| 078au | Min amb temperature units | °F | UNITS |
| 078au | Min amb temperature units | C | UNITS |
| 078au | Min amb temperature units | F | UNITS |
| 078b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 078bu | Max amb temperature units | °C | UNITS |
| 078bu | Max amb temperature units | °F | UNITS |
| 078bu | Max amb temperature units | C | UNITS |
| 078bu | Max amb temperature units | F | UNITS |
| 079 | Max sensor to receiver lg |  |  |
| 079u | Max length units | ft | UNITS |
| 079u | Max length units | m | UNITS |
| 080a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 080b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 081a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 081b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 082a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083 | ACCESSORIES | SECTION TITLE |  |
| 084 | Electrolyte solution | KCL, 250 ml |  |
| 084 | Electrolyte solution | NA |  |
| 085 | Buffer solution | 4.01 pH,500 ml |  |
| 085 | Buffer solution | 6.86 pH,500 ml |  |
| 085 | Buffer solution | 9.18 pH,500 ml |  |
| 085 | Buffer solution | NA |  |
| 086 | Cleaner type | air powered |  |
| 086 | Cleaner type | flow powered |  |
| 086 | Cleaner type | jet spray |  |
| 086 | Cleaner type | mechanical |  |
| 086 | Cleaner type | motorized |  |
| 086 | Cleaner type | NA |  |
| 086 | Cleaner type | ultrasonic |  |
| 087 | Cleaner supply voltage | NA |  |
| 088 | ORP std solution | 460 mV, 500 ml |  |
| 088 | ORP std solution | NA |  |
| 089 | Rotameter & valve | 0.5-4 gpm, acrylic body |  |
| 089 | Rotameter & valve | NA |  |
| 090a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 2 name | Mounting kit | DEFINABLE ATTRIBUTE NAME |
| 091a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 2 data | handrail mounting | DEFINABLE ATTRIBUTE VALUE |
| 091b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 093 | Custom tag | fiber tag |  |
| 093 | Custom tag | NA |  |
| 093 | Custom tag | sst permanent attached |  |
| 093 | Custom tag | sst wired-on |  |
| 094 | Reference specification | NA | REFERENCE SPECIFICATION |
| 095 | Compliance standard | NA | NACE STANDARD |
| 096 | Calibration report | NA |  |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag number |  |  |
| 112b | Measurement-Output signal | CALIBRATION/TEST DESC |  |
| 112c | Measurement LRV |  | LOWER RANGE-VALUE |
| 112cu | Measurement LRV units | mV | UNITS |
| 112cu | Measurement LRV units | pH | UNITS |
| 112d | Measurement URV |  | UPPER RANGE-VALUE |
| 112du | Measurement URV units | mV | UNITS |
| 112du | Measurement URV units | pH | UNITS |
| 112f | Measurement output LRV |  | LOWER RANGE-VALUE |
| 112fu | Measurement output LRV units | mV | UNITS |
| 112g | Measurement output URV |  | UPPER RANGE-VALUE |
| 112gu | Measurement output URV units | mV | UNITS |
| 113a | Temp tag number |  |  |
| 113b | Temp-Output signal | CALIBRATION/TEST DESC |  |
| 113c | Temperature LRV |  | LOWER RANGE-VALUE |
| 113cu | Temperature LRV units | °C | UNITS |
| 113cu | Temperature LRV units | °F | UNITS |
| 113cu | Temperature LRV units | C | UNITS |
| 113cu | Temperature LRV units | F | UNITS |
| 113d | Temperature URV |  | UPPER RANGE-VALUE |
| 113du | Temperature URV units | °C | UNITS |
| 113du | Temperature URV units | °F | UNITS |
| 113du | Temperature URV units | C | UNITS |
| 113du | Temperature URV units | F | UNITS |
| 113f | Temperature output LRV |  | LOWER RANGE-VALUE |
| 113fu | Temperature output LRV units | Ohm | UNITS |
| 113g | Temperature output URV |  | UPPER RANGE-VALUE |
| 113gu | Temperature output URV units | Ohm | UNITS |
| 114a | Attribute tag no |  |  |
| 114b | Attribute cal/test descp |  |  |
| 114c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 114cu | Attr cal/test LRV units |  | UNITS |
| 114d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 114du | Attr cal/test URV units |  | UNITS |
| 114f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 114fu | Attr output LRV units |  | UNITS |
| 114g | Attribute output URV |  | UPPER RANGE-VALUE |
| 114gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | orp sensor |  |
| 120a | Component type | orp sensor (inline) |  |
| 120a | Component type | orp sensor (insertion) |  |
| 120a | Component type | ph sensor |  |
| 120a | Component type | ph sensor (flow-through) |  |
| 120a | Component type | ph sensor (insertion) |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | preamplifier |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 122a | Component type |  |  |
| 122b | Manufacturer |  | MANUFACTURER |
| 122c | Model number |  | MODEL NUMBER |
| 123a | Component type |  |  |
| 123b | Manufacturer |  | MANUFACTURER |
| 123c | Model number |  | MODEL NUMBER |