| Pick List 20A2351 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | BODY HOLDER OR FITTING | SECTION TITLE |  |
| 012 | Body/Fitting type | feed vessel |  |
| 012 | Body/Fitting type | flow chamber w/ air trap |  |
| 012 | Body/Fitting type | flow chamber w/spray head |  |
| 012 | Body/Fitting type | flow through chamber |  |
| 012 | Body/Fitting type | in-line pipe section |  |
| 012 | Body/Fitting type | submersion probe |  |
| 012 | Body/Fitting type | weld spud |  |
| 012 | Body/Fitting type | weld-in socket |  |
| 013a | Process conn nominal size | 0.5 in od | NOMINAL SIZE |
| 013a | Process conn nominal size | 1-1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 16 mm id | NOMINAL SIZE |
| 013a | Process conn nominal size | 18 mm od | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 25 mm id | NOMINAL SIZE |
| 013a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 6 in | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 100 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 150 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 25 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 40 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 50 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 65 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 80 | NOMINAL SIZE |
| 013a | Process conn nominal size | NA | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | hose | END CONNECTION CATEGORY |
| 014a | Process conn termn type | milk fitting | END CONNECTION CATEGORY |
| 014a | Process conn termn type | NA | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014a | Process conn termn type | union | END CONNECTION CATEGORY |
| 014a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | APV | END CONNECTION TYPE |
| 014b | Process conn termn style | barb | END CONNECTION TYPE |
| 014b | Process conn termn style | BSP(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | BW | END CONNECTION TYPE |
| 014b | Process conn termn style | DIN | END CONNECTION TYPE |
| 014b | Process conn termn style | FF | END CONNECTION TYPE |
| 014b | Process conn termn style | fitting | END CONNECTION TYPE |
| 014b | Process conn termn style | G | END CONNECTION TYPE |
| 014b | Process conn termn style | JIS | END CONNECTION TYPE |
| 014b | Process conn termn style | NA | END CONNECTION TYPE |
| 014b | Process conn termn style | NTP(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | RF | END CONNECTION TYPE |
| 014b | Process conn termn style | RTJ | END CONNECTION TYPE |
| 014b | Process conn termn style | tri-clamp | END CONNECTION TYPE |
| 015 | Maximum probe diameter | 1.2 |  |
| 015 | Maximum probe diameter | 1.5 |  |
| 015 | Maximum probe diameter | 1.75 |  |
| 015 | Maximum probe diameter | 12 |  |
| 015 | Maximum probe diameter | 2.0 |  |
| 015 | Maximum probe diameter | 30 |  |
| 015 | Maximum probe diameter | 5.08 |  |
| 015 | Maximum probe diameter | 76 |  |
| 015u | Maximum probe diameter units | cm | UNITS |
| 015u | Maximum probe diameter units | in | UNITS |
| 015u | Maximum probe diameter units | mm | UNITS |
| 016 | Body/Fitting material | 316 SST | MATERIAL |
| 016 | Body/Fitting material | 316L SST | MATERIAL |
| 016 | Body/Fitting material | acrylic | MATERIAL |
| 016 | Body/Fitting material | AISI 316 Ti | MATERIAL |
| 016 | Body/Fitting material | Delrin | MATERIAL |
| 016 | Body/Fitting material | hastelloy C22 | MATERIAL |
| 016 | Body/Fitting material | hastelloy C276 | MATERIAL |
| 016 | Body/Fitting material | kynar | MATERIAL |
| 016 | Body/Fitting material | kynar | MATERIAL |
| 016 | Body/Fitting material | nitrile | MATERIAL |
| 016 | Body/Fitting material | Noryl | MATERIAL |
| 016 | Body/Fitting material | polycarbonate | MATERIAL |
| 016 | Body/Fitting material | polypropylene | MATERIAL |
| 016 | Body/Fitting material | PVC | MATERIAL |
| 016 | Body/Fitting material | PVDF | MATERIAL |
| 016 | Body/Fitting material | titanium | MATERIAL |
| 017 | Seal/O ring material | BUNA N | MATERIAL |
| 017 | Seal/O ring material | EPDM | MATERIAL |
| 017 | Seal/O ring material | kalrez | MATERIAL |
| 017 | Seal/O ring material | kalrez | MATERIAL |
| 017 | Seal/O ring material | NA | MATERIAL |
| 017 | Seal/O ring material | nitrile | MATERIAL |
| 017 | Seal/O ring material | silicone rubber | MATERIAL |
| 017 | Seal/O ring material | viton | MATERIAL |
| 017 | Seal/O ring material | viton | MATERIAL |
| 018a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 018a | Defined attribute 1 name | Surface finish | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 1 data | 0.8 um | DEFINABLE ATTRIBUTE VALUE |
| 018b | Defined attribute 1 data | 15 Ra | DEFINABLE ATTRIBUTE VALUE |
| 018b | Defined attribute 1 data | 16 Ra | DEFINABLE ATTRIBUTE VALUE |
| 018b | Defined attribute 1 data | 3.2 um | DEFINABLE ATTRIBUTE VALUE |
| 018b | Defined attribute 1 data | 32 Ra | DEFINABLE ATTRIBUTE VALUE |
| 018b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 019a | Defined attribute 2 name | Auxilliary connection | DEFINABLE ATTRIBUTE NAME |
| 019a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 2 data | air curtain | DEFINABLE ATTRIBUTE VALUE |
| 019b | Defined attribute 2 data | Drain connection | DEFINABLE ATTRIBUTE VALUE |
| 019b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 019b | Defined attribute 2 data | water flush | DEFINABLE ATTRIBUTE VALUE |
| 020a | Defined attribute 3 name | End connection adapter | DEFINABLE ATTRIBUTE NAME |
| 020a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 3 data | 2 in flange | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 3 data | 3/4 in | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 3 data | DN 25 | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021 | SENSING ELEMENT | SECTION TITLE |  |
| 022 | Sensor type | back scattered 1-fiber |  |
| 022 | Sensor type | back scattered 2-fiber |  |
| 022 | Sensor type | forward & side scattered |  |
| 022 | Sensor type | forward scattered light |  |
| 022 | Sensor type | four-beam ratiometric |  |
| 022 | Sensor type | IR 90 ° scattered light |  |
| 022 | Sensor type | IR light absorption |  |
| 022 | Sensor type | ratio transmitted light |  |
| 022 | Sensor type | surface scattering |  |
| 023 | Construction style | contactless |  |
| 023 | Construction style | immersion probe |  |
| 023 | Construction style | insertion style |  |
| 023 | Construction style | steam sterializable |  |
| 023 | Construction style | submersion style |  |
| 024 | Measurement wavelength | 650 |  |
| 024 | Measurement wavelength | 660 |  |
| 024 | Measurement wavelength | 780 |  |
| 024 | Measurement wavelength | 860 |  |
| 024 | Measurement wavelength | 875 |  |
| 024 | Measurement wavelength | 880 |  |
| 024 | Measurement wavelength | 950 |  |
| 024u | Wavelength units | nm | UNITS |
| 025 | Cleaning type | continuous ultrasonic |  |
| 025 | Cleaning type | integral self cleaning |  |
| 025 | Cleaning type | NA |  |
| 025 | Cleaning type | water rinse, wipe surface |  |
| 025 | Cleaning type | wiper blade |  |
| 026 | Light source style | incandescent |  |
| 026 | Light source style | infrared LED |  |
| 026 | Light source style | laser |  |
| 026 | Light source style | white light |  |
| 027 | Insertion/Immersion lg | 120 |  |
| 027 | Insertion/Immersion lg | 16.5 |  |
| 027 | Insertion/Immersion lg | 205 |  |
| 027 | Insertion/Immersion lg | 297 |  |
| 027 | Insertion/Immersion lg | 300 |  |
| 027 | Insertion/Immersion lg | 407 |  |
| 027 | Insertion/Immersion lg | 470 |  |
| 027u | Insertion length units | in | UNITS |
| 027u | Insertion length units | mm | UNITS |
| 028 | Temperature sensor type | NA |  |
| 028 | Temperature sensor type | NTC 30 kOhm |  |
| 028 | Temperature sensor type | pt 2000 Ohm thermistor |  |
| 029 | Measuring window matl | borosilicate glass | MATERIAL |
| 029 | Measuring window matl | fused quartz | MATERIAL |
| 029 | Measuring window matl | lexan | MATERIAL |
| 029 | Measuring window matl | pyrex glass | MATERIAL |
| 029 | Measuring window matl | saphire | MATERIAL |
| 030a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 032a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 032b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 033 | SIGNAL OR INTEGRAL TRANSMITTER | SECTION TITLE |  |
| 034 | Configuration type | connection head |  |
| 034 | Configuration type | integral transmitter |  |
| 034 | Configuration type | preamplifier |  |
| 035 | Output signal type | 1 analog current | SIGNAL |
| 035 | Output signal type | 2 analog current | SIGNAL |
| 035 | Output signal type | analog fiber optic | SIGNAL |
| 035 | Output signal type | analog voltage | SIGNAL |
| 035 | Output signal type | digital | SIGNAL |
| 036 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 6P | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | IP54 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | IP65 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | IP67 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | IP68 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 037 | Digital communication std | NA |  |
| 037 | Digital communication std | SDI-12 protocol |  |
| 038 | Signal power source | +/-12 V(dc) |  |
| 038 | Signal power source | 10-15 V(dc) |  |
| 038 | Signal power source | 10-24 V(dc) |  |
| 038 | Signal power source | 10-36 V(dc) |  |
| 038 | Signal power source | 12 V(dc) |  |
| 038 | Signal power source | 4-15 V(dc) |  |
| 038 | Signal power source | 8-30 V(dc) |  |
| 038 | Signal power source | 9.6-16 V(dc) |  |
| 038 | Signal power source | 9-27 V(dc) |  |
| 039 | Integral indicator style | analog meter,uniform div |  |
| 039 | Integral indicator style | NA |  |
| 040 | Signal termination type | 10-pin receptacle | END CONNECTION TYPE |
| 040 | Signal termination type | 6-pin receptacle | END CONNECTION TYPE |
| 040 | Signal termination type | 8-pin receptacle | END CONNECTION TYPE |
| 040 | Signal termination type | cable with stripped leads | END CONNECTION TYPE |
| 040 | Signal termination type | fiber optic connector | END CONNECTION TYPE |
| 040 | Signal termination type | NA | END CONNECTION TYPE |
| 040 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 041 | Cert/Approval type | ATEX certified | CERTIFICATION |
| 041 | Cert/Approval type | CE marked | CERTIFICATION |
| 041 | Cert/Approval type | CSA certified | CERTIFICATION |
| 041 | Cert/Approval type | FM certified | CERTIFICATION |
| 041 | Cert/Approval type | NA | CERTIFICATION |
| 041 | Cert/Approval type | UL general purpose | CERTIFICATION |
| 042 | Mounting location/type | handheld | MOUNTING POSITION |
| 042 | Mounting location/type | handrail bracket | MOUNTING POSITION |
| 042 | Mounting location/type | integral to probe | MOUNTING POSITION |
| 042 | Mounting location/type | NA | MOUNTING POSITION |
| 043 | Calibration function | 3 point cabibration |  |
| 043 | Calibration function | factory calibration |  |
| 043 | Calibration function | NA |  |
| 043 | Calibration function | plug and play operation |  |
| 044 | Enclosure material | 316 SST | MATERIAL |
| 044 | Enclosure material | ABS | MATERIAL |
| 044 | Enclosure material | NA | MATERIAL |
| 044 | Enclosure material | polypropylene | MATERIAL |
| 044 | Enclosure material | titanium | MATERIAL |
| 045a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 045b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 046a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 047 | LEAD WIRE AND EXTENSION | SECTION TITLE |  |
| 048 | Extension type | extension cable |  |
| 048 | Extension type | integral cable |  |
| 048 | Extension type | NA |  |
| 049 | Cable length | 0.8 |  |
| 049 | Cable length | 10 |  |
| 049 | Cable length | 100 |  |
| 049 | Cable length | 125 |  |
| 049 | Cable length | 13 |  |
| 049 | Cable length | 15 |  |
| 049 | Cable length | 170 |  |
| 049 | Cable length | 2.6 |  |
| 049 | Cable length | 20 |  |
| 049 | Cable length | 23 |  |
| 049 | Cable length | 25 |  |
| 049 | Cable length | 3 |  |
| 049 | Cable length | 30 |  |
| 049 | Cable length | 33 |  |
| 049 | Cable length | 330 |  |
| 049 | Cable length | 40 |  |
| 049 | Cable length | 42.6 |  |
| 049 | Cable length | 45 |  |
| 049 | Cable length | 49 |  |
| 049 | Cable length | 5 |  |
| 049 | Cable length | 50 |  |
| 049 | Cable length | 6 |  |
| 049 | Cable length | 65 |  |
| 049 | Cable length | 7 |  |
| 049 | Cable length | 75 |  |
| 049 | Cable length | 90 |  |
| 049u | Cable length units | ft | UNITS |
| 049u | Cable length units | in | UNITS |
| 049u | Cable length units | m | UNITS |
| 049u | Cable length units | NA | UNITS |
| 050 | Signal termination type | bare wire | END CONNECTION TYPE |
| 050 | Signal termination type | connector both end | END CONNECTION TYPE |
| 050 | Signal termination type | NA | END CONNECTION TYPE |
| 050 | Signal termination type | SMA connector | END CONNECTION TYPE |
| 051 | Cable jacket material | NA | MATERIAL |
| 051 | Cable jacket material | polyurethane | MATERIAL |
| 051 | Cable jacket material | PVC | MATERIAL |
| 052a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 052b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 053a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 053b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 054 | INSERTION ASSEMBLY | SECTION TITLE |  |
| 055 | Assembly type | manual insertion |  |
| 055 | Assembly type | NA |  |
| 055 | Assembly type | retractable assembly |  |
| 056 | Isolation valve style | ball |  |
| 056 | Isolation valve style | NA |  |
| 057a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 057a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 057a | Process conn nominal size | DN 50 | NOMINAL SIZE |
| 057a | Process conn nominal size | NA | NOMINAL SIZE |
| 057b | Process conn termn rating | cl 150 |  |
| 057b | Process conn termn rating | NA |  |
| 058a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 058a | Process conn termn type | NA | END CONNECTION CATEGORY |
| 058a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 058b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 058b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 059 | Insertion/Immersion lg | 100 |  |
| 059 | Insertion/Immersion lg | 3.94 |  |
| 059u | Insertion/Immersion lg units | in | UNITS |
| 059u | Insertion/Immersion lg units | mm | UNITS |
| 059u | Insertion/Immersion lg units | NA | UNITS |
| 061 | Valve body material | 316 SST | MATERIAL |
| 061 | Valve body material | NA | MATERIAL |
| 061 | Valve body material | polypropylene | MATERIAL |
| 062 | Seal/O ring material | EPDM | MATERIAL |
| 062 | Seal/O ring material | NA | MATERIAL |
| 062 | Seal/O ring material | Viton | MATERIAL |
| 062 | Seal/O ring material | Viton | MATERIAL |
| 063 | Chamber wetted material | 316 SST | MATERIAL |
| 063 | Chamber wetted material | NA | MATERIAL |
| 063 | Chamber wetted material | PVC | MATERIAL |
| 063 | Chamber wetted material | PVDF | MATERIAL |
| 064a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 065a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 067a | Max press at design temp |  | PRESSURE |
| 067au | Design pressure units | bar (g) | UNITS |
| 067au | Design pressure units | kgf/cm2 | UNITS |
| 067au | Design pressure units | psig | UNITS |
| 067b | Max design temperature |  | DESIGN TEMPERATURE |
| 067bu | Design temperature units | °C | UNITS |
| 067bu | Design temperature units | °F | UNITS |
| 067bu | Design temperature units | C | UNITS |
| 067bu | Design temperature units | F | UNITS |
| 068a | Min working temperature | 0 | WORKING TEMPERATURE |
| 068a | Min working temperature | 10 | WORKING TEMPERATURE |
| 068au | Min working temp units | °C | UNITS |
| 068au | Min working temp units | °F | UNITS |
| 068au | Min working temp units | C | UNITS |
| 068au | Min working temp units | F | UNITS |
| 068b | Max working temperature | 50 | WORKING TEMPERATURE |
| 068b | Max working temperature | 85 | WORKING TEMPERATURE |
| 068bu | Max working temp units | °C | UNITS |
| 068bu | Max working temp units | °F | UNITS |
| 068bu | Max working temp units | C | UNITS |
| 068bu | Max working temp units | F | UNITS |
| 069a | Min flow rate limit | 0.05 |  |
| 069a | Min flow rate limit | 2 |  |
| 069a | Min flow rate limit | 5 |  |
| 069au | Min flow rate units | galUS/min | UNITS |
| 069au | Min flow rate units | l/min | UNITS |
| 069au | Min flow rate units | ml/min | UNITS |
| 069b | Max flow rate limit | 0.26 |  |
| 069b | Max flow rate limit | 1000 |  |
| 069b | Max flow rate limit | 2 |  |
| 069b | Max flow rate limit | 20 |  |
| 069b | Max flow rate limit | 4 |  |
| 069b | Max flow rate limit | 6 |  |
| 069b | Max flow rate limit | 7 |  |
| 069bu | Flow rate units | galUS/min | UNITS |
| 069bu | Flow rate units | l/min | UNITS |
| 069bu | Flow rate units | ml/min | UNITS |
| 070 | Max submersion depth | 10 |  |
| 070 | Max submersion depth | 100 |  |
| 070 | Max submersion depth | 200 |  |
| 070 | Max submersion depth | 500 |  |
| 070u | Submersion depth units | ft | UNITS |
| 070u | Submersion depth units | m | UNITS |
| 071 | Meas accuracy rating | 0.05 |  |
| 071 | Meas accuracy rating | 0.1 |  |
| 071 | Meas accuracy rating | 0.15 |  |
| 071 | Meas accuracy rating | 0.25 |  |
| 071 | Meas accuracy rating | 0.5 |  |
| 071 | Meas accuracy rating | 1.0 |  |
| 071 | Meas accuracy rating | 2 |  |
| 071 | Meas accuracy rating | 3 |  |
| 071 | Meas accuracy rating | 4 |  |
| 071 | Meas accuracy rating | 5 |  |
| 071u | Accuracy rating ref | % |  |
| 071u | Accuracy rating ref | % full scale |  |
| 071u | Accuracy rating ref | NTU |  |
| 072a | Measurement repeatability | 1.0 |  |
| 072b | Repeatability ref | % |  |
| 073a | Measurement LRL | 0 | LOWER RANGE-LIMIT |
| 073a | Measurement LRL | 10 | LOWER RANGE-LIMIT |
| 073a | Measurement LRL | 5 | LOWER RANGE-LIMIT |
| 073au | Measurement units | degree | UNITS |
| 073au | Measurement units | EBC | UNITS |
| 073au | Measurement units | FNU | UNITS |
| 073au | Measurement units | FTU | UNITS |
| 073au | Measurement units | g/l | UNITS |
| 073au | Measurement units | JTU | UNITS |
| 073au | Measurement units | mg/l | UNITS |
| 073au | Measurement units | NTU | UNITS |
| 073b | Measurement URL | 1.0 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 10 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 100 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 1000 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 10000 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 1100 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 1200 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 1600 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 2 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 20 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 200 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 2000 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 20000 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 250 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 3 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 30 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 400 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 4000 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 5 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 50 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 500 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 5000 | UPPER RANGE-LIMIT |
| 073b | Measurement URL | 800 | UPPER RANGE-LIMIT |
| 073bu | Measurement units | degree | UNITS |
| 073bu | Measurement units | EBC | UNITS |
| 073bu | Measurement units | FNU | UNITS |
| 073bu | Measurement units | FTU | UNITS |
| 073bu | Measurement units | g/l | UNITS |
| 073bu | Measurement units | JTU | UNITS |
| 073bu | Measurement units | mg/l | UNITS |
| 073bu | Measurement units | NTU | UNITS |
| 074a | Temp comp meas LRL | 0 | LOWER RANGE-LIMIT |
| 074a | Temp comp meas LRL | -30 | LOWER RANGE-LIMIT |
| 074au | Temp comp LRL units | °C | UNITS |
| 074au | Temp comp LRL units | °F | UNITS |
| 074au | Temp comp LRL units | C | UNITS |
| 074au | Temp comp LRL units | F | UNITS |
| 074b | Temp comp meas URL | 130 | UNITS |
| 074b | Temp comp meas URL | 60 | UNITS |
| 074bu | Temp comp URL units | °C | UNITS |
| 074bu | Temp comp URL units | °F | UNITS |
| 074bu | Temp comp URL units | C | UNITS |
| 074bu | Temp comp URL units | F | UNITS |
| 075 | Max sensor to receiver lg | 10 |  |
| 075 | Max sensor to receiver lg | 100 |  |
| 075 | Max sensor to receiver lg | 200 |  |
| 075 | Max sensor to receiver lg | 328 |  |
| 075 | Max sensor to receiver lg | 660 |  |
| 075u | Max length units | ft | UNITS |
| 075u | Max length units | m | UNITS |
| 076a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 076b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 077a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 077b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 078a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 078b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | ACCESSORIES | SECTION TITLE |  |
| 086 | Calibration kit | calibration cube |  |
| 086 | Calibration kit | NA |  |
| 087a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 4 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 4 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 092 | Custom tag | fiber tag |  |
| 092 | Custom tag | NA |  |
| 092 | Custom tag | sst permanent attached |  |
| 092 | Custom tag | sst wired-on |  |
| 093 | Reference specification | NA | REFERENCE SPECIFICATION |
| 094 | Compliance standard | ASTM 1889-88a | NACE STANDARD |
| 094 | Compliance standard | EPA 180.1 | NACE STANDARD |
| 094 | Compliance standard | ISO 7027 | NACE STANDARD |
| 094 | Compliance standard | NA | NACE STANDARD |
| 094 | Compliance standard | USAEPA method 180.1 | NACE STANDARD |
| 095 | Calibration report | NA |  |
| 096a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 096b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 097a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099 | PHYSICAL DATA | SECTION TITLE |  |
| 100 | Estimated weight |  |  |
| 100u | Weight units | g | UNITS |
| 100u | Weight units | kg | UNITS |
| 100u | Weight units | lb | UNITS |
| 101 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 101u | Face-to-face dim units | in | UNITS |
| 101u | Face-to-face dim units | mm | UNITS |
| 102 | Overall length/height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog measurement tag 1 |  |  |
| 112b | Meas-Analog output 1 |  |  |
| 112c | Analog meas 1 LRV |  | LOWER RANGE-VALUE |
| 112cu | Analog meas 1 LRV units | degree | UNITS |
| 112cu | Analog meas 1 LRV units | EBC | UNITS |
| 112cu | Analog meas 1 LRV units | FNU | UNITS |
| 112cu | Analog meas 1 LRV units | FTU | UNITS |
| 112cu | Analog meas 1 LRV units | g/l | UNITS |
| 112cu | Analog meas 1 LRV units | JTU | UNITS |
| 112cu | Analog meas 1 LRV units | mg/l | UNITS |
| 112cu | Analog meas 1 LRV units | NTU | UNITS |
| 112d | Analog meas 1 URV |  | UPPER RANGE-VALUE |
| 112du | Analog meas 1 URV units | degree | UNITS |
| 112du | Analog meas 1 URV units | EBC | UNITS |
| 112du | Analog meas 1 URV units | FNU | UNITS |
| 112du | Analog meas 1 URV units | FTU | UNITS |
| 112du | Analog meas 1 URV units | g/l | UNITS |
| 112du | Analog meas 1 URV units | JTU | UNITS |
| 112du | Analog meas 1 URV units | mg/l | UNITS |
| 112du | Analog meas 1 URV units | NTU | UNITS |
| 112e | Analog meas 1 signal action | direct |  |
| 112e | Analog meas 1 signal action | reverse |  |
| 112f | Analog meas 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112f | Analog meas 1 output LRV | 1 | LOWER RANGE-VALUE |
| 112f | Analog meas 1 output LRV | 4 | LOWER RANGE-VALUE |
| 112fu | Anlg meas 1 output LRV units | mA | UNITS |
| 112fu | Anlg meas 1 output LRV units | mV | UNITS |
| 112fu | Anlg meas 1 output LRV units | V | UNITS |
| 112g | Analog meas 1 output URV | 10 | UPPER RANGE-VALUE |
| 112g | Analog meas 1 output URV | 20 | UPPER RANGE-VALUE |
| 112g | Analog meas 1 output URV | 5 | UPPER RANGE-VALUE |
| 112gu | Anlg meas 1 output URV units | mA | UNITS |
| 112gu | Anlg meas 1 output URV units | mV | UNITS |
| 112gu | Anlg meas 1 output URV units | V | UNITS |
| 113a | Analog measurement tag 2 |  |  |
| 113b | Meas-Analog output 2 |  |  |
| 113c | Analog meas 2 LRV |  | LOWER RANGE-VALUE |
| 113cu | Analog meas 2 LRV units | degree | UNITS |
| 113cu | Analog meas 2 LRV units | EBC | UNITS |
| 113cu | Analog meas 2 LRV units | FNU | UNITS |
| 113cu | Analog meas 2 LRV units | FTU | UNITS |
| 113cu | Analog meas 2 LRV units | g/l | UNITS |
| 113cu | Analog meas 2 LRV units | JTU | UNITS |
| 113cu | Analog meas 2 LRV units | mg/l | UNITS |
| 113cu | Analog meas 2 LRV units | NTU | UNITS |
| 113d | Analog meas 2 URV |  | UPPER RANGE-VALUE |
| 113du | Analog meas 2 URV units | degree | UNITS |
| 113du | Analog meas 2 URV units | EBC | UNITS |
| 113du | Analog meas 2 URV units | FNU | UNITS |
| 113du | Analog meas 2 URV units | FTU | UNITS |
| 113du | Analog meas 2 URV units | g/l | UNITS |
| 113du | Analog meas 2 URV units | JTU | UNITS |
| 113du | Analog meas 2 URV units | mg/l | UNITS |
| 113du | Analog meas 2 URV units | NTU | UNITS |
| 113e | Analog meas 2 signal action | direct |  |
| 113e | Analog meas 2 signal action | reverse |  |
| 113f | Analog meas 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113f | Analog meas 2 output LRV | 1 | LOWER RANGE-VALUE |
| 113f | Analog meas 2 output LRV | 4 | LOWER RANGE-VALUE |
| 113fu | Anlg meas 2 output LRV units | ma | UNITS |
| 113fu | Anlg meas 2 output LRV units | mV | UNITS |
| 113fu | Anlg meas 2 output LRV units | V | UNITS |
| 113g | Analog meas 2 output URV | 10 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 10 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 20 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 5 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 5 | UPPER RANGE-VALUE |
| 113gu | Anlg meas 2 output URV units | mA | UNITS |
| 113gu | Anlg meas 2 output URV units | mV | UNITS |
| 113gu | Anlg meas 2 output URV units | V | UNITS |
| 114a | Temp tag number |  |  |
| 114b | Temp-Output signal | CALIBRATION/TEST DESC |  |
| 114c | Temperature LRV |  | LOWER RANGE-VALUE |
| 114cu | Temperature LRV units | °C | UNITS |
| 114cu | Temperature LRV units | °F | UNITS |
| 114cu | Temperature LRV units | C | UNITS |
| 114cu | Temperature LRV units | F | UNITS |
| 114d | Temperature URV |  | UPPER RANGE-VALUE |
| 114du | Temperature URV units | °C | UNITS |
| 114du | Temperature URV units | °F | UNITS |
| 114du | Temperature URV units | C | UNITS |
| 114du | Temperature URV units | F | UNITS |
| 114e | Temperature signal action | direct |  |
| 114e | Temperature signal action | reverse |  |
| 114f | Temperature output LRV |  | LOWER RANGE-VALUE |
| 114fu | Temperature output LRV units | Ohm | UNITS |
| 114g | Temperature output URV |  | UPPER RANGE-VALUE |
| 114gu | Temperature output URV units | Ohm | UNITS |
| 115a | Attribute tag no |  |  |
| 115b | Attribute cal/test descp |  |  |
| 115c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 115cu | Attr cal/test LRV units |  | UNITS |
| 115d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 115du | Attr cal/test URV units |  | UNITS |
| 115e | Attribute signal action | direct |  |
| 115e | Attribute signal action | reverse |  |
| 115f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 115fu | Attr output LRV units |  | UNITS |
| 115g | Attribute output URV |  | UPPER RANGE-VALUE |
| 115gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | suspended solids sensor |  |
| 120a | Component type | turbidity sensor |  |
| 120a | Component type | turbidity transmitter |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | sensor holder |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 122a | Component type | spray head |  |
| 122b | Manufacturer |  | MANUFACTURER |
| 122c | Model number |  | MODEL NUMBER |
| 123a | Component type |  |  |
| 123b | Manufacturer |  | MANUFACTURER |
| 123c | Model number |  | MODEL NUMBER |
| 124a | Component type |  |  |
| 124b | Manufacturer |  | MANUFACTURER |
| 124c | Model number |  | MODEL NUMBER |
| 125a | Component type |  |  |
| 125b | Manufacturer |  | MANUFACTURER |
| 125c | Model number |  | MODEL NUMBER |