| Pick List 20A2373 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | MOUNTING FITTING | SECTION TITLE |  |
| 012 | Mounting/Fitting type | clamped duct adapter |  |
| 012 | Mounting/Fitting type | flanged duct adapter |  |
| 012 | Mounting/Fitting type | hex compression fitting |  |
| 012 | Mounting/Fitting type | hex fitting w/bleed screw |  |
| 012 | Mounting/Fitting type | NA |  |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 7/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | NA | NOMINAL SIZE |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | flange | END CONNECTION CATEGORY |
| 014a | Process conn termn type | NA | END CONNECTION CATEGORY |
| 014a | Process conn termn type | tapping screws | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | 14 UNF | END CONNECTION TYPE |
| 014b | Process conn termn style | flat duct | END CONNECTION TYPE |
| 014b | Process conn termn style | NA | END CONNECTION TYPE |
| 015 | Mounting/Fitting material | ABS plastic | MATERIAL |
| 015 | Mounting/Fitting material | aluminum | MATERIAL |
| 015 | Mounting/Fitting material | NA | MATERIAL |
| 015 | Mounting/Fitting material | stainless steel | MATERIAL |
| 016a | Defined attribute 1 name | isolation valve | DEFINABLE ATTRIBUTE NAME |
| 016a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 016b | Defined attribute 1 data | ball valve set | DEFINABLE ATTRIBUTE VALUE |
| 016b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 017a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 019 | SENSING ELEMENT | SECTION TITLE |  |
| 020 | Sensor type | ceramic technology |  |
| 020 | Sensor type | thin-film capacitance |  |
| 020 | Sensor type | thin-film w/temp probe |  |
| 020 | Sensor type | thin-film w/warmed probe |  |
| 021 | Probe style | adjustable insertion lg |  |
| 021 | Probe style | confined space |  |
| 021 | Probe style | for wall mount |  |
| 021 | Probe style | general purpose |  |
| 021 | Probe style | high pressure |  |
| 021 | Probe style | high solvent conc |  |
| 021 | Probe style | high temperature |  |
| 021 | Probe style | hydrogen environment |  |
| 021 | Probe style | interchangeable probes |  |
| 021 | Probe style | pipeline installation |  |
| 021 | Probe style | plug-in probe |  |
| 022a | Temperature LRL | 0 |  |
| 022a | Temperature LRL | -10 |  |
| 022a | Temperature LRL | -20 |  |
| 022a | Temperature LRL | 32 |  |
| 022a | Temperature LRL | -4 |  |
| 022a | Temperature LRL | -40 |  |
| 022a | Temperature LRL | -5 |  |
| 022au | Temperature LRL units | °C | UNITS |
| 022au | Temperature LRL units | °F | UNITS |
| 022au | Temperature LRL units | C | UNITS |
| 022au | Temperature LRL units | F | UNITS |
| 022b | Temperature URL | 100 |  |
| 022b | Temperature URL | 120 |  |
| 022b | Temperature URL | 140 |  |
| 022b | Temperature URL | 176 |  |
| 022b | Temperature URL | 180 |  |
| 022b | Temperature URL | 212 |  |
| 022b | Temperature URL | 248 |  |
| 022b | Temperature URL | 356 |  |
| 022b | Temperature URL | 55 |  |
| 022b | Temperature URL | 60 |  |
| 022b | Temperature URL | 80 |  |
| 022bu | Temperature URL units | °C | UNITS |
| 022bu | Temperature URL units | °F | UNITS |
| 022bu | Temperature URL units | C | UNITS |
| 022bu | Temperature URL units | F | UNITS |
| 023a | Humidity/Dewpoint LRL | 0 |  |
| 023a | Humidity/Dewpoint LRL | 10 |  |
| 023a | Humidity/Dewpoint LRL | 20 |  |
| 023au | Humidity/Dewpoint LRL units | % | UNITS |
| 023b | Humidity/Dewpoint URL | 100 |  |
| 023b | Humidity/Dewpoint URL | 90 |  |
| 023b | Humidity/Dewpoint URL | 95 |  |
| 023bu | Humidity/Dewpoint URL units | % | UNITS |
| 023bu | Humidity/Dewpoint URL units | % RH | UNITS |
| 023bu | Humidity/Dewpoint URL units | % RH | UNITS |
| 024 | Temperature sensor type | NA |  |
| 024 | Temperature sensor type | Pt 100 Ohm class B |  |
| 024 | Temperature sensor type | Pt 1000 Ohm class B |  |
| 024 | Temperature sensor type | thermistor |  |
| 025 | Sensor protection style | foam filter |  |
| 025 | Sensor protection style | NA |  |
| 025 | Sensor protection style | PPS grid w/SST netting |  |
| 025 | Sensor protection style | PPS grid, PTFE membrane |  |
| 025 | Sensor protection style | PPS plastic grid |  |
| 025 | Sensor protection style | PTFE membrane |  |
| 025 | Sensor protection style | slotted-plastic end-cap |  |
| 025 | Sensor protection style | SST filter for vacuum |  |
| 025 | Sensor protection style | SST sintered filter |  |
| 025 | Sensor protection style | stainless steel grid |  |
| 025 | Sensor protection style | teflon filter cartridge |  |
| 025 | Sensor protection style | wire mesh filter |  |
| 026 | Probe length | 100 |  |
| 026 | Probe length | 12 |  |
| 026 | Probe length | 120 |  |
| 026 | Probe length | 150 |  |
| 026 | Probe length | 178 |  |
| 026 | Probe length | 20 |  |
| 026 | Probe length | 215 |  |
| 026 | Probe length | 250 |  |
| 026 | Probe length | 400 |  |
| 026 | Probe length | 50 |  |
| 026 | Probe length | 60 |  |
| 026 | Probe length | 9.84 |  |
| 026 | Probe length | 90 |  |
| 026u | Probe length units | in | UNITS |
| 026u | Probe length units | mm | UNITS |
| 027 | Sensor head material | 316 SST | MATERIAL |
| 027 | Sensor head material | ABS/PC plastic | MATERIAL |
| 027 | Sensor head material | aluminum | MATERIAL |
| 027 | Sensor head material | PPS plastic | MATERIAL |
| 027 | Sensor head material | steel | MATERIAL |
| 028a | Defined attribute 1 name | Cooling mechanism | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 1 data | cooling profiles | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030b | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031 | LEAD WIRE AND EXTENSION | SECTION TITLE |  |
| 032 | Extension type | extension cable |  |
| 032 | Extension type | extension cable,amplifier |  |
| 032 | Extension type | integral cable |  |
| 032 | Extension type | NA |  |
| 033 | RH/Dewpoint cable length | 0 |  |
| 033 | RH/Dewpoint cable length | 0.56 |  |
| 033 | RH/Dewpoint cable length | 0.65 |  |
| 033 | RH/Dewpoint cable length | 1.5 |  |
| 033 | RH/Dewpoint cable length | 10 |  |
| 033 | RH/Dewpoint cable length | 15 |  |
| 033 | RH/Dewpoint cable length | 16 |  |
| 033 | RH/Dewpoint cable length | 2 |  |
| 033 | RH/Dewpoint cable length | 3.0 |  |
| 033 | RH/Dewpoint cable length | 33 |  |
| 033 | RH/Dewpoint cable length | 5 |  |
| 033 | RH/Dewpoint cable length | 6 |  |
| 033u | RH/Dewpoint cable length units | ft | UNITS |
| 033u | RH/Dewpoint cable length units | m | UNITS |
| 034a | Temperature cable length | 2 |  |
| 034a | Temperature cable length | 5 |  |
| 034au | Temperature cable length units | ft | UNITS |
| 034au | Temperature cable length units | m | UNITS |
| 035 | Max cable operating temp | 120 |  |
| 035 | Max cable operating temp | 176 |  |
| 035 | Max cable operating temp | 180 |  |
| 035 | Max cable operating temp | 248 |  |
| 035 | Max cable operating temp | 60 |  |
| 035 | Max cable operating temp | 80 |  |
| 035u | Max cable operating temp units | °C | UNITS |
| 035u | Max cable operating temp units | °F | UNITS |
| 035u | Max cable operating temp units | C | UNITS |
| 035u | Max cable operating temp units | F | UNITS |
| 036 | Signal termination type | 25-pin SUB D connector | END CONNECTION TYPE |
| 036 | Signal termination type | flying leads | END CONNECTION TYPE |
| 036 | Signal termination type | multi-pin connector | END CONNECTION TYPE |
| 036 | Signal termination type | NA | END CONNECTION TYPE |
| 037a | Defined attribute 1 name | Cable converter | DEFINABLE ATTRIBUTE NAME |
| 037a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 037b | Defined attribute 1 data | 25-pin to 9 pin | DEFINABLE ATTRIBUTE VALUE |
| 037b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 038a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 039a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 039b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 040 | TRANSMITTER w/wo SWITCHES | SECTION TITLE |  |
| 041 | Housing type | NA | HOUSING |
| 041 | Housing type | WP enclosure | HOUSING |
| 042 | Output signal type | 2 analog | SIGNAL |
| 042 | Output signal type | 3 analog | SIGNAL |
| 042 | Output signal type | analog | SIGNAL |
| 042 | Output signal type | analog, relay | SIGNAL |
| 042 | Output signal type | analog, relay,digital | SIGNAL |
| 042 | Output signal type | digital | SIGNAL |
| 043 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | IP 54 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | IP 68 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 044 | Local operator interface | keypad |  |
| 044 | Local operator interface | NA |  |
| 045 | Digital communication std | LonWorks field bus |  |
| 045 | Digital communication std | NA |  |
| 045 | Digital communication std | RS232C binary/ASCII |  |
| 045 | Digital communication std | RS422 binary/ASCII |  |
| 045 | Digital communication std | RS485 binary/ASCII |  |
| 046 | Signal power source | 10-35 V (dc) |  |
| 046 | Signal power source | 115 V (ac) 50/60 Hz |  |
| 046 | Signal power source | 15-36 V (dc) |  |
| 046 | Signal power source | 20-35 V (dc) |  |
| 046 | Signal power source | 230 V (ac) 50/60 Hz |  |
| 046 | Signal power source | 24 V (ac) |  |
| 046 | Signal power source | 24 V (dc) |  |
| 046 | Signal power source | 90-264 V (ac) 50/60 Hz |  |
| 047 | Qty of input sensors | 1 |  |
| 047 | Qty of input sensors | 2 |  |
| 048a | Contacts arrangement | NA |  |
| 048a | Contacts arrangement | SPCO |  |
| 048a | Contacts arrangement | SPDT |  |
| 048b | Contacts quantity | 0 |  |
| 048b | Contacts quantity | 1 |  |
| 048b | Contacts quantity | 2 |  |
| 049 | Integral indicator style | 2 line LCD |  |
| 049 | Integral indicator style | 2 line LED |  |
| 049 | Integral indicator style | 3 1/2 digit LCD |  |
| 049 | Integral indicator style | NA |  |
| 050 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 051 | Cert/Approval type | CENELEC intrinsic safe | CERTIFICATION |
| 051 | Cert/Approval type | NA | CERTIFICATION |
| 052 | Mounting location/type | cable mount | MOUNTING POSITION |
| 052 | Mounting location/type | duct mount | MOUNTING POSITION |
| 052 | Mounting location/type | wall mount | MOUNTING POSITION |
| 053 | Calibration mode | auto-calibrate |  |
| 053 | Calibration mode | NA |  |
| 053 | Calibration mode | re-gaining |  |
| 054 | Measurement compensation | NA |  |
| 054 | Measurement compensation | pressure |  |
| 054 | Measurement compensation | temperature |  |
| 054 | Measurement compensation | temperature, pressure |  |
| 055 | Enclosure material | ABS plastic | MATERIAL |
| 055 | Enclosure material | aluminum | MATERIAL |
| 055 | Enclosure material | carbon steel | MATERIAL |
| 055 | Enclosure material | G-AlSi12 | MATERIAL |
| 055 | Enclosure material | NA | MATERIAL |
| 055 | Enclosure material | polycarbonate | MATERIAL |
| 056a | Defined attribute 1 name | Calibration | DEFINABLE ATTRIBUTE NAME |
| 056a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 056b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | re-gain | DEFINABLE ATTRIBUTE VALUE |
| 057a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 057a | Defined attribute 2 name | Power cord | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 2 data | 6 ft, A/C | DEFINABLE ATTRIBUTE VALUE |
| 057b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 058a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 058b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp |  | PRESSURE |
| 061au | Design pressure units | bar (g) | UNITS |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature |  | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062 | Min working temperature | -10 | WORKING TEMPERATURE |
| 062 | Min working temperature | -20 | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature | 60 | WORKING TEMPERATURE |
| 062b | Max working temperature | 80 | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063 | RH/Dewpoint accuracy | 1 |  |
| 063 | RH/Dewpoint accuracy | 1.5 |  |
| 063 | RH/Dewpoint accuracy | 2 |  |
| 063 | RH/Dewpoint accuracy | 3 |  |
| 063 | RH/Dewpoint accuracy | 5 |  |
| 063b | RH/Dewpoint ref base | % |  |
| 063b | RH/Dewpoint ref base | % RH |  |
| 063b | RH/Dewpoint ref base | °C |  |
| 063b | RH/Dewpoint ref base | °F |  |
| 063b | RH/Dewpoint ref base | C |  |
| 063b | RH/Dewpoint ref base | F |  |
| 064 | Temperature accuracy | 0.2 |  |
| 064 | Temperature accuracy | 0.36 |  |
| 064 | Temperature accuracy | 0.7 |  |
| 064b | Temperature accuracy units | °C | UNITS |
| 064b | Temperature accuracy units | °F | UNITS |
| 064b | Temperature accuracy units | C | UNITS |
| 064b | Temperature accuracy units | F | UNITS |
| 065a | RH/Dewpoint repeatability | 0.3 |  |
| 065a | RH/Dewpoint repeatability | 0.5 |  |
| 065a | RH/Dewpoint repeatability | 0.6 |  |
| 065b | RH/Dewpoint repeatability ref | % |  |
| 065b | RH/Dewpoint repeatability ref | % RH |  |
| 065b | RH/Dewpoint repeatability ref | °C |  |
| 065b | RH/Dewpoint repeatability ref | °F |  |
| 065b | RH/Dewpoint repeatability ref | C |  |
| 065b | RH/Dewpoint repeatability ref | F |  |
| 066 | Max response time | 10 |  |
| 066 | Max response time | 15 |  |
| 066u | Response time units | s | UNITS |
| 067a | Min ambient working temp | -5 | AMBIENT TEMPERATURE |
| 067au | Min amb working temp units | °C | UNITS |
| 067au | Min amb working temp units | °F | UNITS |
| 067au | Min amb working temp units | C | UNITS |
| 067au | Min amb working temp units | F | UNITS |
| 067b | Max ambient working temp | 55 | MAX AMBIENT TEMPERATURE |
| 067bu | Max amb temperature units | °C | UNITS |
| 067bu | Max amb temperature units | °F | UNITS |
| 067bu | Max amb temperature units | C | UNITS |
| 067bu | Max amb temperature units | F | UNITS |
| 068a | Contacts ac rating | 3 | DEVICE RATING |
| 068a | Contacts ac rating | 8 | DEVICE RATING |
| 068au | AC rating current units | A | UNITS |
| 068au | AC rating current units | NA | UNITS |
| 068b | AC rating max voltage | 230 | DEVICE RATING |
| 068b | AC rating max voltage | 24 | DEVICE RATING |
| 068bu | AC max voltage units | V | UNITS |
| 069a | Contacts dc rating | 3 | DEVICE RATING |
| 069a | Contacts dc rating | 8 | DEVICE RATING |
| 069au | DC rating current units | A | UNITS |
| 069au | DC rating current units | NA | UNITS |
| 069b | DC rating max voltage |  | DEVICE RATING |
| 069b | DC rating max voltage | 24 | DEVICE RATING |
| 069bu | DC max voltage units | V | UNITS |
| 070 | Max sensor to receiver lg | 100 |  |
| 070 | Max sensor to receiver lg | 1000 |  |
| 070 | Max sensor to receiver lg | 300 |  |
| 070 | Max sensor to receiver lg | 656 |  |
| 070u | Max length units | ft | UNITS |
| 070u | Max length units | m | UNITS |
| 070u | Max length units | NA | UNITS |
| 071a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 072a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 073a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083 | ACCESSORIES | SECTION TITLE |  |
| 084 | Calibrator | electronic calibrator |  |
| 084 | Calibrator | NA |  |
| 085 | Humidity standards | NA |  |
| 086 | Replacement probe | NA |  |
| 087a | Defined attribute 1 name | Barrier | DEFINABLE ATTRIBUTE NAME |
| 087a | Defined attribute 1 name | Isolation valve assembly |  |
| 087a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 1 data | Ball valve |  |
| 087b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087b | Defined attribute 1 data | zener barrier | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088a | Defined attribute 2 name | Power supply |  |
| 088a | Defined attribute 2 name | Probe simulator | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 2 data | 115 V (ac) 50/60 Hz |  |
| 088b | Defined attribute 2 data | 35 % RH | DEFINABLE ATTRIBUTE VALUE |
| 088b | Defined attribute 2 data | 50 % RH | DEFINABLE ATTRIBUTE VALUE |
| 088b | Defined attribute 2 data | 80 % RH | DEFINABLE ATTRIBUTE VALUE |
| 088b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089a | Defined attribute 3 name | Sample cell |  |
| 089b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089b | Defined attribute 3 data | stainless steel |  |
| 090 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 091 | Custom tag | fiber tag |  |
| 091 | Custom tag | NA |  |
| 091 | Custom tag | sst permanent attached |  |
| 091 | Custom tag | sst wired-on |  |
| 092 | Reference specification | NA | REFERENCE SPECIFICATION |
| 093 | Compliance standard | EMC EN6132-1 | NACE STANDARD |
| 093 | Compliance standard | NA | NACE STANDARD |
| 094 | Calibration report | NA |  |
| 095 | Software configuration | NA |  |
| 095 | Software configuration | transmitter configuration |  |
| 096a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 096b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 097a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099 | PHYSICAL DATA | SECTION TITLE |  |
| 100 | Estimated weight |  |  |
| 100u | Weight units | kg | UNITS |
| 100u | Weight units | lb | UNITS |
| 101 | Overall width |  |  |
| 101u | Overall width units | in | UNITS |
| 101u | Overall width units | mm | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | PG 7 | END CONNECTION TYPE |
| 104b | Signal conn termn style | PG 9 | END CONNECTION TYPE |
| 104b | Signal conn termn style | PG11 | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Humidity tag no |  |  |
| 112b | Humidity-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Humidity LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Humidity LRV units | % | UNITS |
| 112cu | Humidity LRV units | % RH | UNITS |
| 112d | Humidity URV | 100 | UPPER RANGE-VALUE |
| 112du | Humidity URV units | % | UNITS |
| 112du | Humidity URV units | % RH | UNITS |
| 112e | Humidity signal action | direct |  |
| 112e | Humidity signal action | reverse |  |
| 112f | Humidity output LRV | 0 | LOWER RANGE-VALUE |
| 112f | Humidity output LRV | 4 | LOWER RANGE-VALUE |
| 112fu | Humidity output LRV units | % | UNITS |
| 112fu | Humidity output LRV units | % RH | UNITS |
| 112fu | Humidity output LRV units | mA | UNITS |
| 112fu | Humidity output LRV units | V | UNITS |
| 112g | Humidity output URV | 1 | UPPER RANGE-VALUE |
| 112g | Humidity output URV | 10 | UPPER RANGE-VALUE |
| 112g | Humidity output URV | 20 | UPPER RANGE-VALUE |
| 112g | Humidity output URV | 5 | UPPER RANGE-VALUE |
| 112gu | Humidity output URV units | % | UNITS |
| 112gu | Humidity output URV units | % RH | UNITS |
| 112gu | Humidity output URV units | mA | UNITS |
| 112gu | Humidity output URV units | V | UNITS |
| 113a | Calculated variable tag |  |  |
| 113b | Calculated variable-Output | Abs humidity-Output |  |
| 113b | Calculated-Analog output | Dewpoint-Output |  |
| 113b | Calculated-Analog output | Enthalpy-Output |  |
| 113b | Calculated-Analog output | Frostpoint-Output |  |
| 113b | Calculated-Analog output | Mixing ratio-Output |  |
| 113b | Calculated-Analog output | Wet bulb temp-Output |  |
| 113c | Calculated LRV |  | LOWER RANGE-VALUE |
| 113cu | Calculated LRV units | % | UNITS |
| 113cu | Calculated LRV units | °C | UNITS |
| 113cu | Calculated LRV units | °F | UNITS |
| 113cu | Calculated LRV units | BTU/lb | UNITS |
| 113cu | Calculated LRV units | C | UNITS |
| 113cu | Calculated LRV units | F | UNITS |
| 113cu | Calculated LRV units | g/kg | UNITS |
| 113cu | Calculated LRV units | g/m3 | UNITS |
| 113cu | Calculated LRV units | gr/ft3 | UNITS |
| 113cu | Calculated LRV units | gr/lb | UNITS |
| 113cu | Calculated LRV units | kJ/kg | UNITS |
| 113d | Calculated URV |  | UPPER RANGE-VALUE |
| 113du | Calculated URV units | % | UNITS |
| 113du | Calculated URV units | °C | UNITS |
| 113du | Calculated URV units | °F | UNITS |
| 113du | Calculated URV units | BTU/lb | UNITS |
| 113du | Calculated URV units | C | UNITS |
| 113du | Calculated URV units | F | UNITS |
| 113du | Calculated URV units | g/kg | UNITS |
| 113du | Calculated URV units | g/m3 | UNITS |
| 113du | Calculated URV units | gr/ft3 | UNITS |
| 113du | Calculated URV units | gr/lb | UNITS |
| 113du | Calculated URV units | kJ/kg | UNITS |
| 113e | Calculated signal action | direct |  |
| 113e | Calculated signal action | reverse |  |
| 113f | Calculated output LRV | 0 | LOWER RANGE-VALUE |
| 113f | Calculated output LRV | 4 | LOWER RANGE-VALUE |
| 113fu | Calculated output LRV units | mA | UNITS |
| 113fu | Calculated output LRV units | V | UNITS |
| 113g | Calculated output URV | 1 | UPPER RANGE-VALUE |
| 113g | Calculated output URV | 10 | UPPER RANGE-VALUE |
| 113g | Calculated output URV | 20 | UPPER RANGE-VALUE |
| 113g | Calculated output URV | 5 | UPPER RANGE-VALUE |
| 113gu | Calculated output URV units | mA | UNITS |
| 113gu | Calculated output URV units | V | UNITS |
| 114a | Humidity scale tag no |  |  |
| 114b | Humidity-Scale 1 | CALIBRATION/TEST DESC |  |
| 114c | Humidity LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Humidity LRV units | % | UNITS |
| 114cu | Humidity LRV units | % RH | UNITS |
| 114d | Humidity URV | 100 | UPPER RANGE-VALUE |
| 114du | Humidity URV units | % | UNITS |
| 114du | Humidity URV units | % RH | UNITS |
| 114e | Humidity scale action | direct |  |
| 114f | Humidity scale LRV | 0 | LOWER RANGE-VALUE |
| 114fu | Humidity scale LRV units | % | UNITS |
| 114fu | Humidity scale LRV units | % RH | UNITS |
| 114g | Humidity scale URV | 100 | UPPER RANGE-VALUE |
| 114gu | Humidity scale URV units | % | UNITS |
| 114gu | Humidity scale URV units | % RH | UNITS |
| 115a | Other scale 2 tag no |  |  |
| 115b | Other variable-Scale 2 | Abs humidity-Scale |  |
| 115b | Other variable-Scale 2 | CALIBRATION/TEST DESC |  |
| 115b | Other variable-Scale 2 | Dewpoint-Scale |  |
| 115b | Other variable-Scale 2 | Enthalpy-Scale |  |
| 115b | Other variable-Scale 2 | Frostpoint-Scale |  |
| 115b | Other variable-Scale 2 | Mixing ratio-Scale |  |
| 115b | Other variable-Scale 2 | Temperature-Scale |  |
| 115b | Other variable-Scale 2 | Wet bulb temp-Scale |  |
| 115c | Other variable LRV |  | LOWER RANGE-VALUE |
| 115cu | Other variable LRV units | % | UNITS |
| 115cu | Other variable LRV units | °C | UNITS |
| 115cu | Other variable LRV units | °F | UNITS |
| 115cu | Other variable LRV units | BTU/lb | UNITS |
| 115cu | Other variable LRV units | C | UNITS |
| 115cu | Other variable LRV units | F | UNITS |
| 115cu | Other variable LRV units | g/kg | UNITS |
| 115cu | Other variable LRV units | g/m3 | UNITS |
| 115cu | Other variable LRV units | gr/ft3 | UNITS |
| 115cu | Other variable LRV units | gr/lb | UNITS |
| 115cu | Other variable LRV units | kJ/kg | UNITS |
| 115d | Other variable URV |  | UPPER RANGE-VALUE |
| 115du | Other variable URV units | % | UNITS |
| 115du | Other variable URV units | °C | UNITS |
| 115du | Other variable URV units | °F | UNITS |
| 115du | Other variable URV units | BTU/lb | UNITS |
| 115du | Other variable URV units | C | UNITS |
| 115du | Other variable URV units | F | UNITS |
| 115du | Other variable URV units | g/kg | UNITS |
| 115du | Other variable URV units | g/m3 | UNITS |
| 115du | Other variable URV units | gr/ft3 | UNITS |
| 115du | Other variable URV units | gr/lb | UNITS |
| 115du | Other variable URV units | kJ/kg | UNITS |
| 115e | Other variable scale action |  |  |
| 115e | Other variable scale action | direct |  |
| 115f | Other variable scale LRV | 0 | LOWER RANGE-VALUE |
| 115fu | Other variable scale LRV units | % | UNITS |
| 115fu | Other variable scale LRV units | °C | UNITS |
| 115fu | Other variable scale LRV units | °F | UNITS |
| 115fu | Other variable scale LRV units | BTU/lb | UNITS |
| 115fu | Other variable scale LRV units | C | UNITS |
| 115fu | Other variable scale LRV units | F | UNITS |
| 115fu | Other variable scale LRV units | g/kg | UNITS |
| 115fu | Other variable scale LRV units | g/m3 | UNITS |
| 115fu | Other variable scale LRV units | gr/ft3 | UNITS |
| 115fu | Other variable scale LRV units | gr/lb | UNITS |
| 115fu | Other variable scale LRV units | kJ/kg | UNITS |
| 115g | Other variable scale URV | 100 | UPPER RANGE-VALUE |
| 115gu | Other variable scale URV units | % | UNITS |
| 115gu | Other variable scale URV units | °C | UNITS |
| 115gu | Other variable scale URV units | °F | UNITS |
| 115gu | Other variable scale URV units | BTU/lb | UNITS |
| 115gu | Other variable scale URV units | C | UNITS |
| 115gu | Other variable scale URV units | F | UNITS |
| 115gu | Other variable scale URV units | g/kg | UNITS |
| 115gu | Other variable scale URV units | g/m3 | UNITS |
| 115gu | Other variable scale URV units | gr/ft3 | UNITS |
| 115gu | Other variable scale URV units | gr/lb | UNITS |
| 115gu | Other variable scale URV units | kJ/kg | UNITS |
| 116a | Temperature tag |  |  |
| 116b | Temp-Analog output | CALIBRATION/TEST DESC |  |
| 116c | Temperature LRV |  | LOWER RANGE-VALUE |
| 116cu | Temperature LRV units | °C | UNITS |
| 116cu | Temperature LRV units | °F | UNITS |
| 116cu | Temperature LRV units | C | UNITS |
| 116cu | Temperature LRV units | F | UNITS |
| 116d | Temperature URV |  | UPPER RANGE-VALUE |
| 116du | Temperature URV units | °C | UNITS |
| 116du | Temperature URV units | °F | UNITS |
| 116du | Temperature URV units | C | UNITS |
| 116du | Temperature URV units | F | UNITS |
| 116e | Temperature signal action | direct |  |
| 116e | Temperature signal action | reverse |  |
| 116f | Temperature output LRV | 0 | LOWER RANGE-VALUE |
| 116f | Temperature output LRV | 4 | LOWER RANGE-VALUE |
| 116fu | Temperature output LRV units | °C | UNITS |
| 116fu | Temperature output LRV units | °F | UNITS |
| 116fu | Temperature output LRV units | C | UNITS |
| 116fu | Temperature output LRV units | F | UNITS |
| 116fu | Temperature output LRV units | mA | UNITS |
| 116fu | Temperature output LRV units | V | UNITS |
| 116g | Temperature output URV | 1 | UPPER RANGE-VALUE |
| 116g | Temperature output URV | 20 | UPPER RANGE-VALUE |
| 116gu | Temperature output URV units | °C | UNITS |
| 116gu | Temperature output URV units | °F | UNITS |
| 116gu | Temperature output URV units | C | UNITS |
| 116gu | Temperature output URV units | F | UNITS |
| 116gu | Temperature output URV units | mA | UNITS |
| 116gu | Temperature output URV units | V | UNITS |
| 117a | Setpoint 1 tag no |  |  |
| 117b | Setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 117c | Setpoint 1 LRV |  | LOWER RANGE-VALUE |
| 117cu | Setpoint 1 LRV units | % | UNITS |
| 117cu | Setpoint 1 LRV units | °C | UNITS |
| 117cu | Setpoint 1 LRV units | °F | UNITS |
| 117cu | Setpoint 1 LRV units | BTU/lb | UNITS |
| 117cu | Setpoint 1 LRV units | C | UNITS |
| 117cu | Setpoint 1 LRV units | F | UNITS |
| 117cu | Setpoint 1 LRV units | g/kg | UNITS |
| 117cu | Setpoint 1 LRV units | g/m3 | UNITS |
| 117cu | Setpoint 1 LRV units | gr/ft3 | UNITS |
| 117cu | Setpoint 1 LRV units | gr/lb | UNITS |
| 117cu | Setpoint 1 LRV units | kJ/kg | UNITS |
| 117d | Setpoint 1 URV |  | UPPER RANGE-VALUE |
| 117du | Setpoint 1 URV units | % | UNITS |
| 117du | Setpoint 1 URV units | °C | UNITS |
| 117du | Setpoint 1 URV units | °F | UNITS |
| 117du | Setpoint 1 URV units | BTU/lb | UNITS |
| 117du | Setpoint 1 URV units | C | UNITS |
| 117du | Setpoint 1 URV units | F | UNITS |
| 117du | Setpoint 1 URV units | g/kg | UNITS |
| 117du | Setpoint 1 URV units | g/m3 | UNITS |
| 117du | Setpoint 1 URV units | gr/ft3 | UNITS |
| 117du | Setpoint 1 URV units | gr/lb | UNITS |
| 117du | Setpoint 1 URV units | kJ/kg | UNITS |
| 117e | Setpoint 1 signal action | NC |  |
| 117e | Setpoint 1 signal action | NO |  |
| 117f | Setpoint 1 output LRV | 0 | LOWER RANGE-VALUE |
| 117fu | Setpoint 1 output LRV units | V | UNITS |
| 117g | Setpoint 1 output URV | 24 | UPPER RANGE-VALUE |
| 117gu | Setpoint 1 output URV units | V | UNITS |
| 118a | Setpoint 2 tag no |  |  |
| 118b | Setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 118c | Setpoint 2 LRV |  | LOWER RANGE-VALUE |
| 118cu | Setpoint 2 LRV units | % | UNITS |
| 118cu | Setpoint 2 LRV units | °C | UNITS |
| 118cu | Setpoint 2 LRV units | °F | UNITS |
| 118cu | Setpoint 2 LRV units | BTU/lb | UNITS |
| 118cu | Setpoint 2 LRV units | C | UNITS |
| 118cu | Setpoint 2 LRV units | F | UNITS |
| 118cu | Setpoint 2 LRV units | g/kg | UNITS |
| 118cu | Setpoint 2 LRV units | g/m3 | UNITS |
| 118cu | Setpoint 2 LRV units | gr/ft3 | UNITS |
| 118cu | Setpoint 2 LRV units | gr/lb | UNITS |
| 118cu | Setpoint 2 LRV units | kJ/kg | UNITS |
| 118d | Setpoint 2 URV |  | UPPER RANGE-VALUE |
| 118du | Setpoint 2 URV units | % | UNITS |
| 118du | Setpoint 2 URV units | °C | UNITS |
| 118du | Setpoint 2 URV units | °F | UNITS |
| 118du | Setpoint 2 URV units | BTU/lb | UNITS |
| 118du | Setpoint 2 URV units | C | UNITS |
| 118du | Setpoint 2 URV units | F | UNITS |
| 118du | Setpoint 2 URV units | g/kg | UNITS |
| 118du | Setpoint 2 URV units | g/m3 | UNITS |
| 118du | Setpoint 2 URV units | gr/ft3 | UNITS |
| 118du | Setpoint 2 URV units | gr/lb | UNITS |
| 118du | Setpoint 2 URV units | kJ/kg | UNITS |
| 118e | Setpoint 2 signal action | NC |  |
| 118e | Setpoint 2 signal action | NO |  |
| 118f | Setpoint 2 output LRV | 0 | LOWER RANGE-VALUE |
| 118fu | Setpoint 2 output LRV units | V | UNITS |
| 118g | Setpoint 2 output URV | 24 | UPPER RANGE-VALUE |
| 118gu | Setpoint 2 output URV units | V | UNITS |
| 119a | Attribute tag no |  |  |
| 119b | Attribute cal/test descp |  |  |
| 119c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 119cu | Attr cal/test LRV units |  | UNITS |
| 119d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 119du | Attr cal/test URV units |  | UNITS |
| 119e | Attribute cal/test action |  |  |
| 119f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 119fu | Attr output LRV units |  | UNITS |
| 119g | Attribute output URV |  | UPPER RANGE-VALUE |
| 119gu | Attr output URV units |  | UNITS |
| 120 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 122a | Component type | dewpoint transmitter |  |
| 122a | Component type | humidity transmitter |  |
| 122a | Component type | relative humidity xmtr |  |
| 122b | Manufacturer |  | MANUFACTURER |
| 122c | Model number |  | MODEL NUMBER |
| 123a | Component type |  |  |
| 123b | Manufacturer |  | MANUFACTURER |
| 123c | Model number |  | MODEL NUMBER |
| 124a | Component type |  |  |
| 124b | Manufacturer |  | MANUFACTURER |
| 124c | Model number |  | MODEL NUMBER |