| Pick List 20A2352 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | OPERATING PARAMETERS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017 | Related equipment |  |  |
| 018 | Service |  |  |
| 020 | P&ID/Reference dwg number | NA |  |
| 021a | Remote hazardous area cl | I |  |
| 021a | Remote hazardous area cl | II |  |
| 021a | Remote hazardous area cl | III |  |
| 021b | Remote hazardous Div/Zone | 0 |  |
| 021b | Remote hazardous Div/Zone | 1 |  |
| 021b | Remote hazardous Div/Zone | 2 |  |
| 021c | Remote hazardous area gr | A |  |
| 021c | Remote hazardous area gr | B |  |
| 021c | Remote hazardous area gr | C |  |
| 021c | Remote hazardous area gr | D |  |
| 021c | Remote hazardous area gr | E |  |
| 021c | Remote hazardous area gr | F |  |
| 021c | Remote hazardous area gr | G |  |
| 021c | Remote hazardous area gr | H |  |
| 022a | Remote area min ign temp |  |  |
| 022au | Remote ign temp units | °C | UNITS |
| 022au | Remote ign temp units | °F | UNITS |
| 022au | Remote ign temp units | C | UNITS |
| 022au | Remote ign temp units | F | UNITS |
| 022b | Remote ign temp ident no | T1 |  |
| 022b | Remote ign temp ident no | T2 |  |
| 022b | Remote ign temp ident no | T2A |  |
| 022b | Remote ign temp ident no | T2B |  |
| 022b | Remote ign temp ident no | T2C |  |
| 022b | Remote ign temp ident no | T2D |  |
| 022b | Remote ign temp ident no | T3 |  |
| 022b | Remote ign temp ident no | T3A |  |
| 022b | Remote ign temp ident no | T3B |  |
| 022b | Remote ign temp ident no | T3C |  |
| 022b | Remote ign temp ident no | T4 |  |
| 022b | Remote ign temp ident no | T4A |  |
| 022b | Remote ign temp ident no | T5 |  |
| 022b | Remote ign temp ident no | T6 |  |
| 023a | User defined attribute name | Contact |  |
| 023a | User defined attribute name | Equipment module |  |
| 023a | User defined attribute name | NA |  |
| 023a | User defined attribute name | Production line |  |
| 023b | User defined attribute value | NA |  |
| 024a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 025 | TRANSMITTER OR INDICATOR OR CONTROLLER | SECTION TITLE |  |
| 026 | Housing type | 1/4 DIN panel | HOUSING |
| 026 | Housing type | DIN panel | HOUSING |
| 026 | Housing type | drip proof | HOUSING |
| 026 | Housing type | explosion proof enclosure | HOUSING |
| 026 | Housing type | general purpose enclosure | HOUSING |
| 026 | Housing type | indoor use | HOUSING |
| 026 | Housing type | NA | HOUSING |
| 026 | Housing type | panel mounting enclosure | HOUSING |
| 027 | Input sensor/siganl type | digital sensor |  |
| 027 | Input sensor/siganl type | fiber optic sensor |  |
| 027 | Input sensor/siganl type | suspended solids sensor |  |
| 027 | Input sensor/siganl type | turbidity sensor |  |
| 028 | Range selection style | auto-range selection |  |
| 028 | Range selection style | NA |  |
| 028 | Range selection style | panel front switch |  |
| 028 | Range selection style | remote switch |  |
| 029 | Output signal type | 1 analog current | SIGNAL |
| 029 | Output signal type | 1 analog voltage | SIGNAL |
| 029 | Output signal type | 2 analog current | SIGNAL |
| 029 | Output signal type | 4 analog current | SIGNAL |
| 029 | Output signal type | analog current & digital | SIGNAL |
| 029 | Output signal type | analog current & relays | SIGNAL |
| 029 | Output signal type | digital multi-variable | SIGNAL |
| 029 | Output signal type | digital single variable | SIGNAL |
| 029 | Output signal type | NA | SIGNAL |
| 029 | Output signal type | relay | SIGNAL |
| 030 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 030 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 030 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 030 | Enclosure type no/class | IP65 | ENCLOSURE TYPE NO/CLASS |
| 030 | Enclosure type no/class | IP66 | ENCLOSURE TYPE NO/CLASS |
| 030 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 031 | Control mode | alarm limits | CONTROL MODE |
| 031 | Control mode | NA | CONTROL MODE |
| 031 | Control mode | on/off | CONTROL MODE |
| 031 | Control mode | P,PI,PD,PID control | CONTROL MODE |
| 031 | Control mode | PI pulsed | CONTROL MODE |
| 031 | Control mode | PID control | CONTROL MODE |
| 031 | Control mode | timer for cleaning | CONTROL MODE |
| 032 | Local operator interface | built-in keypad |  |
| 032 | Local operator interface | membrane keyboard |  |
| 032 | Local operator interface | NA |  |
| 033 | Characteristic curve | bilinear | CHARACTERISTIC CURVE |
| 033 | Characteristic curve | linear with measurement | CHARACTERISTIC CURVE |
| 033 | Characteristic curve | non-linear programmable | CHARACTERISTIC CURVE |
| 033 | Characteristic curve | quasi-logarithmic | CHARACTERISTIC CURVE |
| 034 | Digital communication std | CAN OPEN |  |
| 034 | Digital communication std | HART protocol |  |
| 034 | Digital communication std | HF Simplebus |  |
| 034 | Digital communication std | INTERBUS |  |
| 034 | Digital communication std | Modbus protocol |  |
| 034 | Digital communication std | NA |  |
| 034 | Digital communication std | PROFIBUS-DP |  |
| 034 | Digital communication std | PROFIBUS-FMS |  |
| 034 | Digital communication std | PROFIBUS-PA |  |
| 034 | Digital communication std | RS232C binary/ ASCII |  |
| 034 | Digital communication std | RS485 binary/ ASCII |  |
| 035 | Signal power source | 100 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 100 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 100-240 V (ac) 47-63 Hz |  |
| 035 | Signal power source | 10-36 V (dc) |  |
| 035 | Signal power source | 110 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 115 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 120 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 180-260 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 200 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 220 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 230 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 24 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 24 V (dc) |  |
| 035 | Signal power source | 240 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 240 V (ac) 50/60 Hz |  |
| 035 | Signal power source | 85-264 V (ac) 47-63 Hz |  |
| 035 | Signal power source | 9 V (dc) battery |  |
| 035 | Signal power source | 90-130 V (ac) |  |
| 035 | Signal power source | 9-36 V (dc) |  |
| 036 | Temperature sensor type | NA |  |
| 036 | Temperature sensor type | NTC 30 kOhm |  |
| 036 | Temperature sensor type | pt 2000 Ohm thermistor |  |
| 037 | Quantity of meas signals | 1 |  |
| 037 | Quantity of meas signals | 2 |  |
| 037 | Quantity of meas signals | 3 |  |
| 038 | Aux input signal type | 2 discrete input |  |
| 038 | Aux input signal type | 4 discrete input |  |
| 038 | Aux input signal type | NA |  |
| 039a | Contacts arrangement | NA |  |
| 039a | Contacts arrangement | SPDT |  |
| 039a | Contacts arrangement | SPST |  |
| 039b | Contacts quantity | 0 |  |
| 039b | Contacts quantity | 1 |  |
| 039b | Contacts quantity | 2 |  |
| 039b | Contacts quantity | 4 |  |
| 039b | Contacts quantity | 6 |  |
| 040 | Integral indicator style | 3 1/2 digit LCD |  |
| 040 | Integral indicator style | 3 digit LCD |  |
| 040 | Integral indicator style | 4 line 20 character LCD |  |
| 040 | Integral indicator style | 5 digit LED |  |
| 040 | Integral indicator style | analog meter,single scale |  |
| 040 | Integral indicator style | matrix 128 x 64 dots |  |
| 040 | Integral indicator style | NA |  |
| 041 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 041 | Signal termination type | SMA connector | END CONNECTION TYPE |
| 042 | Cert/Approval type | CE marked | CERTIFICATION |
| 042 | Cert/Approval type | CSA general purpose | CERTIFICATION |
| 042 | Cert/Approval type | FM general purpose | CERTIFICATION |
| 042 | Cert/Approval type | NA | CERTIFICATION |
| 042 | Cert/Approval type | UL general purpose | CERTIFICATION |
| 043 | Mounting location/type | 19 inch rack mount | MOUNTING POSITION |
| 043 | Mounting location/type | 2 in/DN50 pipe mount | MOUNTING POSITION |
| 043 | Mounting location/type | handheld | MOUNTING POSITION |
| 043 | Mounting location/type | integral w/sensing probe | MOUNTING POSITION |
| 043 | Mounting location/type | lab/benchtop | MOUNTING POSITION |
| 043 | Mounting location/type | panel mount | MOUNTING POSITION |
| 043 | Mounting location/type | portable | MOUNTING POSITION |
| 043 | Mounting location/type | surface | MOUNTING POSITION |
| 044 | Failure/Diagnostic action | activate alarm relay |  |
| 044 | Failure/Diagnostic action | alarm display message |  |
| 044 | Failure/Diagnostic action | NA |  |
| 045 | Sensor diagnostics | manual initiation |  |
| 045 | Sensor diagnostics | NA |  |
| 045 | Sensor diagnostics | on-line checking |  |
| 046 | Cleaning control type | adj timer relay SPDT |  |
| 046 | Cleaning control type | NA |  |
| 047 | Measurement compensation | color |  |
| 047 | Measurement compensation | NA |  |
| 047 | Measurement compensation | window fouling |  |
| 048 | Calibration function | auto sensor recognition |  |
| 048 | Calibration function | manual or auto two-point |  |
| 048 | Calibration function | multi-point calibration |  |
| 048 | Calibration function | NA |  |
| 048 | Calibration function | single-point grab sample |  |
| 049 | Enclosure material | 316 SST | MATERIAL |
| 049 | Enclosure material | ABS | MATERIAL |
| 049 | Enclosure material | aluminium die cast | MATERIAL |
| 049 | Enclosure material | FRP | MATERIAL |
| 049 | Enclosure material | NA | MATERIAL |
| 049 | Enclosure material | plastic | MATERIAL |
| 049 | Enclosure material | polycarbonate | MATERIAL |
| 049 | Enclosure material | stainless steel | MATERIAL |
| 050a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 050a | Defined attribute 1 name | Time delay style | DEFINABLE ATTRIBUTE NAME |
| 050b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 051a | Defined attribute 2 name | Display language | DEFINABLE ATTRIBUTE NAME |
| 051a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 051b | Defined attribute 2 data | English | DEFINABLE ATTRIBUTE VALUE |
| 051b | Defined attribute 2 data | French | DEFINABLE ATTRIBUTE VALUE |
| 051b | Defined attribute 2 data | German | DEFINABLE ATTRIBUTE VALUE |
| 051b | Defined attribute 2 data | Japanese | DEFINABLE ATTRIBUTE VALUE |
| 051b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 051b | Defined attribute 2 data | Spanish | DEFINABLE ATTRIBUTE VALUE |
| 052a | Defined attribute 3 name | Auxilliary supply power | DEFINABLE ATTRIBUTE NAME |
| 052a | Defined attribute 3 name | Data retention | DEFINABLE ATTRIBUTE NAME |
| 052a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 052b | Defined attribute 3 data | 15 V(dc) | DEFINABLE ATTRIBUTE VALUE |
| 052b | Defined attribute 3 data | 3 parameter sets | DEFINABLE ATTRIBUTE VALUE |
| 052b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 053 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 054a | Measurement accuracy | 2 |  |
| 054a | Measurement accuracy | 5 |  |
| 054b | Meas accuracy rating ref base | % full scale |  |
| 054b | Meas accuracy rating ref base | % reading |  |
| 054b | Meas accuracy rating ref base | NTU |  |
| 055 | Temperature accuracy |  |  |
| 055u | Temperature accuracy units | °C | UNITS |
| 055u | Temperature accuracy units | °F | UNITS |
| 055u | Temperature accuracy units | C | UNITS |
| 055u | Temperature accuracy units | F | UNITS |
| 056a | Measurement repeatability | 1.0 |  |
| 056a | Measurement repeatability | 2 |  |
| 056b | Repeatability ref | % full scale |  |
| 056b | Repeatability ref | % reading |  |
| 057a | Measurement LRL |  |  |
| 057a | Measurement LRL | 0 |  |
| 057au | Meas LRL units | FTU | UNITS |
| 057au | Meas LRL units | g/l | UNITS |
| 057au | Meas LRL units | NTU | UNITS |
| 057au | Meas LRL units | NTU | UNITS |
| 057b | Meas Upper Range-Limit |  |  |
| 057bu | Meas URL units | FTU | UNITS |
| 057bu | Meas URL units | g/l | UNITS |
| 057bu | Meas URL units | NTU | UNITS |
| 058a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 058au | Min amb temperature units | °C | UNITS |
| 058au | Min amb temperature units | °F | UNITS |
| 058au | Min amb temperature units | C | UNITS |
| 058au | Min amb temperature units | F | UNITS |
| 058b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 058bu | Max amb temperature units | °C | UNITS |
| 058bu | Max amb temperature units | °F | UNITS |
| 058bu | Max amb temperature units | C | UNITS |
| 058bu | Max amb temperature units | F | UNITS |
| 059a | Contacts ac rating | 1.0 | DEVICE RATING |
| 059a | Contacts ac rating | 10 | DEVICE RATING |
| 059a | Contacts ac rating | 2 | DEVICE RATING |
| 059a | Contacts ac rating | 5 | DEVICE RATING |
| 059a | Contacts ac rating | 8 | DEVICE RATING |
| 059au | AC rating current units | A | UNITS |
| 059b | AC rating max voltage | 115 | DEVICE RATING |
| 059b | AC rating max voltage | 125 | DEVICE RATING |
| 059b | AC rating max voltage | 220 | DEVICE RATING |
| 059b | AC rating max voltage | 240 | DEVICE RATING |
| 059b | AC rating max voltage | 250 | DEVICE RATING |
| 059bu | AC max voltage units | V | UNITS |
| 060a | Contacts dc rating | 2 | DEVICE RATING |
| 060a | Contacts dc rating | 48 | DEVICE RATING |
| 060a | Contacts dc rating | 5 | DEVICE RATING |
| 060au | DC rating current units | A | UNITS |
| 060b | DC rating max voltage | 220 | DEVICE RATING |
| 060b | DC rating max voltage | 30 | DEVICE RATING |
| 060bu | DC max voltage units | V | UNITS |
| 061a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 061b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 062a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 062b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 063a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 063b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069 | ACCESSORIES | SECTION TITLE |  |
| 070 | Mounting hardware | NA |  |
| 070 | Mounting hardware | pendulum frame |  |
| 071 | Mating connector | 10 terminal plug-in |  |
| 071 | Mating connector | 6 terminal plug-in |  |
| 072a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072a | Defined attribute 1 name | Power adapter | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 1 data | 120 V (ac) 50/60 Hz | DEFINABLE ATTRIBUTE VALUE |
| 072b | Defined attribute 1 data | 220 V (ac) 50/60 Hz | DEFINABLE ATTRIBUTE VALUE |
| 072b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 073a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075a | Defined attribute 4 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 4 data | NA | DEFINABLE ATTRIBUTE VAlUE |
| 076 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 077 | Custom tag | fiber tag |  |
| 077 | Custom tag | NA |  |
| 077 | Custom tag | sst permanent attached |  |
| 077 | Custom tag | sst wired-on |  |
| 078 | Reference specification | NA | REFERENCE SPECIFICATION |
| 079 | Compliance standard | ASTM D1889-88a | NACE STANDARD |
| 079 | Compliance standard | NA | NACE STANDARD |
| 079 | Compliance standard | USEPA method 180.1 | NACE STANDARD |
| 080 | Software configuration | basic standard |  |
| 080 | Software configuration | NA |  |
| 081 | Software program | data acquisition |  |
| 081 | Software program | NA |  |
| 082a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 083b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 084b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | PHYSICAL DATA | SECTION TITLE |  |
| 086 | Estimated weight |  |  |
| 086u | Weight units | kg | UNITS |
| 086u | Weight units | lb | UNITS |
| 087 | Overall width |  |  |
| 087u | Overall width units | in | UNITS |
| 087u | Overall width units | mm | UNITS |
| 088 | Overall height |  |  |
| 088u | Overall height units | in | UNITS |
| 088u | Overall height units | mm | UNITS |
| 089 | Overall depth |  |  |
| 089u | Overall depth units | in | UNITS |
| 089u | Overall depth units | mm | UNITS |
| 090a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 090a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 090b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 090b | Signal conn termn style | gland | END CONNECTION TYPE |
| 090b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 090b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 091 | Mfr reference dwg | NA |  |
| 092a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 093b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 094a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 094b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog measurement tag 1 |  |  |
| 112b | Meas-Analog output 1 | CALIBRATION/TEST DESC |  |
| 112c | Analog meas 1 LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Analog meas 1 LRV units | degree | UNITS |
| 112cu | Analog meas 1 LRV units | EBC | UNITS |
| 112cu | Analog meas 1 LRV units | FNU | UNITS |
| 112cu | Analog meas 1 LRV units | FTU | UNITS |
| 112cu | Analog meas 1 LRV units | g/l | UNITS |
| 112cu | Analog meas 1 LRV units | JTU | UNITS |
| 112cu | Analog meas 1 LRV units | mg/l | UNITS |
| 112cu | Analog meas 1 LRV units | NTU | UNITS |
| 112d | Analog meas 1 URV |  | UPPER RANGE-VALUE |
| 112du | Analog meas 1 URV units | degree | UNITS |
| 112du | Analog meas 1 URV units | EBC | UNITS |
| 112du | Analog meas 1 URV units | FNU | UNITS |
| 112du | Analog meas 1 URV units | FTU | UNITS |
| 112du | Analog meas 1 URV units | g/l | UNITS |
| 112du | Analog meas 1 URV units | JTU | UNITS |
| 112du | Analog meas 1 URV units | mg/l | UNITS |
| 112du | Analog meas 1 URV units | NTU | UNITS |
| 112e | Analog meas 1 signal action | direct |  |
| 112e | Analog meas 1 signal action | reverse |  |
| 112f | Analog meas 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112f | Analog meas 1 output LRV | 1 | LOWER RANGE-VALUE |
| 112f | Analog meas 1 output LRV | 4 | LOWER RANGE-VALUE |
| 112fu | Anlg meas 1 output LRV units | mA | UNITS |
| 112fu | Anlg meas 1 output LRV units | mV | UNITS |
| 112fu | Anlg meas 1 output LRV units | V | UNITS |
| 112g | Analog meas 1 output URV | 10 | UPPER RANGE-VALUE |
| 112g | Analog meas 1 output URV | 20 | UPPER RANGE-VALUE |
| 112g | Analog meas 1 output URV | 5 | UPPER RANGE-VALUE |
| 112gu | Anlg meas 1 output URV units | mA | UNITS |
| 112gu | Anlg meas 1 output URV units | mV | UNITS |
| 112gu | Anlg meas 1 output URV units | V | UNITS |
| 113a | Analog meas tag 2 |  |  |
| 113b | Meas-Analog output 2 | CALIBRATION/TEST DESC |  |
| 113c | Analog meas 2 LRV | 0 | LOWER RANGE-VALUE |
| 113cu | Analog meas 2 LRV units | degree | UNITS |
| 113cu | Analog meas 2 LRV units | EBC | UNITS |
| 113cu | Analog meas 2 LRV units | FNU | UNITS |
| 113cu | Analog meas 2 LRV units | FTU | UNITS |
| 113cu | Analog meas 2 LRV units | g/l | UNITS |
| 113cu | Analog meas 2 LRV units | JTU | UNITS |
| 113cu | Analog meas 2 LRV units | mg/l | UNITS |
| 113cu | Analog meas 2 LRV units | NTU | UNITS |
| 113d | Analog meas 2 URV |  | UPPER RANGE-VALUE |
| 113du | Analog meas 2 URV units | degree | UNITS |
| 113du | Analog meas 2 URV units | EBC | UNITS |
| 113du | Analog meas 2 URV units | FNU | UNITS |
| 113du | Analog meas 2 URV units | FTU | UNITS |
| 113du | Analog meas 2 URV units | g/l | UNITS |
| 113du | Analog meas 2 URV units | JTU | UNITS |
| 113du | Analog meas 2 URV units | mg/l | UNITS |
| 113du | Analog meas 2 URV units | NTU | UNITS |
| 113e | Analog meas 2 signal action | direct |  |
| 113e | Analog meas 2 signal action | reverse |  |
| 113f | Analog meas 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113f | Analog meas 2 output LRV | 1 | LOWER RANGE-VALUE |
| 113f | Analog meas 2 output LRV | 4 | LOWER RANGE-VALUE |
| 113fu | Anlg meas 2 output LRV units | % | UNITS |
| 113fu | Anlg meas 2 output LRV units | mA | UNITS |
| 113fu | Anlg meas 2 output LRV units | mV | UNITS |
| 113fu | Anlg meas 2 output LRV units | V | UNITS |
| 113g | Analog meas 2 output URV | 10 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 20 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 5 | UPPER RANGE-VALUE |
| 113gu | Anlg meas 2 output URV units | mA | UNITS |
| 113gu | Anlg meas 2 output URV units | mV | UNITS |
| 113gu | Anlg meas 2 output URV units | V | UNITS |
| 114a | Analog measurement tag 3 |  |  |
| 114b | Meas-Analog output 3 | CALIBRATION/TEST DESC |  |
| 114c | Analog meas 3 LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Analog meas 3 LRV units | degree | UNITS |
| 114cu | Analog meas 3 LRV units | EBC | UNITS |
| 114cu | Analog meas 3 LRV units | FNU | UNITS |
| 114cu | Analog meas 3 LRV units | FTU | UNITS |
| 114cu | Analog meas 3 LRV units | g/l | UNITS |
| 114cu | Analog meas 3 LRV units | JTU | UNITS |
| 114cu | Analog meas 3 LRV units | mg/l | UNITS |
| 114cu | Analog meas 3 LRV units | NTU | UNITS |
| 114d | Analog meas 3 URV |  | UPPER RANGE-VALUE |
| 114du | Analog meas 3 URV units | degree | UNITS |
| 114du | Analog meas 3 URV units | EBC | UNITS |
| 114du | Analog meas 3 URV units | FNU | UNITS |
| 114du | Analog meas 3 URV units | FTU | UNITS |
| 114du | Analog meas 3 URV units | g/l | UNITS |
| 114du | Analog meas 3 URV units | JTU | UNITS |
| 114du | Analog meas 3 URV units | mg/l | UNITS |
| 114du | Analog meas 3 URV units | NTU | UNITS |
| 114e | Analog meas 3 signal action | direct |  |
| 114e | Analog meas 3 signal action | reverse |  |
| 114f | Analog meas 3 output LRV | 0 | LOWER RANGE-VALUE |
| 114f | Analog meas 3 output LRV | 1 | LOWER RANGE-VALUE |
| 114f | Analog meas 3 output LRV | 4 | LOWER RANGE-VALUE |
| 114fu | Anlg meas 3 output LRV units | mA | UNITS |
| 114fu | Anlg meas 3 output LRV units | mV | UNITS |
| 114fu | Anlg meas 3 output LRV units | V | UNITS |
| 114g | Analog meas 3 output URV | 10 | UPPER RANGE-VALUE |
| 114g | Analog meas 3 output URV | 20 | UPPER RANGE-VALUE |
| 114g | Analog meas 3 output URV | 5 | UPPER RANGE-VALUE |
| 114gu | Anlg meas 3 output URV units | mA | UNITS |
| 114gu | Anlg meas 3 output URV units | mV | UNITS |
| 114gu | Anlg meas 3 output URV units | V | UNITS |
| 115a | Temp tag no |  |  |
| 115b | Temp-Output signal | CALIBRATION/TEST DESC |  |
| 115c | Temp LRV |  | LOWER RANGE-VALUE |
| 115cu | Temp LRV units | °C | UNITS |
| 115cu | Temp LRV units | °F | UNITS |
| 115cu | Temp LRV units | C | UNITS |
| 115cu | Temp LRV units | F | UNITS |
| 115d | Temp URV |  | UPPER RANGE-VALUE |
| 115du | Temp URV units | °C | UNITS |
| 115du | Temp URV units | °F | UNITS |
| 115du | Temp URV units | C | UNITS |
| 115du | Temp URV units | F | UNITS |
| 115e | Temp signal action | direct |  |
| 115e | Temp signal action | reverse |  |
| 115f | Temp output LRV | 0 | LOWER RANGE-VALUE |
| 115f | Temp output LRV | 1 | LOWER RANGE-VALUE |
| 115f | Temp output LRV | 4 | LOWER RANGE-VALUE |
| 115fu | Temp output LRV unit | °C | UNITS |
| 115fu | Temp output LRV unit | °F | UNITS |
| 115fu | Temp output LRV unit | C | UNITS |
| 115fu | Temp output LRV unit | F | UNITS |
| 115fu | Temp output LRV unit | mA | UNITS |
| 115fu | Temp output LRV unit | mV | UNITS |
| 115fu | Temp output LRV unit | V | UNITS |
| 115g | Temp output URV | 10 | UPPER RANGE-VALUE |
| 115g | Temp output URV | 20 | UPPER RANGE-VALUE |
| 115g | Temp output URV | 5 | UPPER RANGE-VALUE |
| 115gu | Temp output URV unit | °C | UNITS |
| 115gu | Temp output URV unit | °F | UNITS |
| 115gu | Temp output URV unit | C | UNITS |
| 115gu | Temp output URV unit | F | UNITS |
| 115gu | Temp output URV unit | mA | UNITS |
| 115gu | Temp output URV unit | mV | UNITS |
| 115gu | Temp output URV unit | V | UNITS |
| 116a | Meas scale tag no |  |  |
| 116b | Meas-Scale | CALIBRATION/TEST DESC |  |
| 116c | Scale meas LRV | 0 | LOWER RANGE-VALUE |
| 116cu | Scale meas LRV units | degree | UNITS |
| 116cu | Scale meas LRV units | EBC | UNITS |
| 116cu | Scale meas LRV units | FNU | UNITS |
| 116cu | Scale meas LRV units | FTU | UNITS |
| 116cu | Scale meas LRV units | g/l | UNITS |
| 116cu | Scale meas LRV units | JTU | UNITS |
| 116cu | Scale meas LRV units | mg/l | UNITS |
| 116cu | Scale meas LRV units | NTU | UNITS |
| 116d | Scale meas URV |  | UPPER RANGE-VALUE |
| 116du | Scale meas URV units | degree | UNITS |
| 116du | Scale meas URV units | EBC | UNITS |
| 116du | Scale meas URV units | FNU | UNITS |
| 116du | Scale meas URV units | FTU | UNITS |
| 116du | Scale meas URV units | g/l | UNITS |
| 116du | Scale meas URV units | JTU | UNITS |
| 116du | Scale meas URV units | mg/l | UNITS |
| 116du | Scale meas URV units | NTU | UNITS |
| 116e | Scale meas signal action | direct |  |
| 116e | Scale meas signal action | reverse |  |
| 116f | Scale Lower Range-Value |  |  |
| 116fu | Scale LRV units | % | UNITS |
| 116fu | Scale LRV units | degree | UNITS |
| 116fu | Scale LRV units | EBC | UNITS |
| 116fu | Scale LRV units | FNU | UNITS |
| 116fu | Scale LRV units | FTU | UNITS |
| 116fu | Scale LRV units | g/l | UNITS |
| 116fu | Scale LRV units | JTU | UNITS |
| 116fu | Scale LRV units | mg/l | UNITS |
| 116fu | Scale LRV units | NTU | UNITS |
| 116g | Scale Upper Range-Value |  |  |
| 116gu | Scale URV units | % | UNITS |
| 116gu | Scale URV units | degree | UNITS |
| 116gu | Scale URV units | EBC | UNITS |
| 116gu | Scale URV units | FNU | UNITS |
| 116gu | Scale URV units | g/l | UNITS |
| 116gu | Scale URV units | mS/cm | UNITS |
| 116gu | Scale URV units | mS/m | UNITS |
| 116gu | Scale URV units | mV | UNITS |
| 116gu | Scale URV units | NTU | UNITS |
| 117a | Temp scale tag no |  |  |
| 117b | Temp-Scale | CALIBRATION/TEST DESC |  |
| 117c | Temp scale LRV |  | LOWER RANGE-VALUE |
| 117cu | Temp scale LRV units | °C | UNITS |
| 117cu | Temp scale LRV units | °F | UNITS |
| 117cu | Temp scale LRV units | C | UNITS |
| 117cu | Temp scale LRV units | F | UNITS |
| 117d | Temp scale URV |  | UPPER RANGE-VALUE |
| 117du | Temp scale URV units | °C | UNITS |
| 117du | Temp scale URV units | °F | UNITS |
| 117du | Temp scale URV units | C | UNITS |
| 117du | Temp scale URV units | F | UNITS |
| 117e | Temp scale signal action | direct |  |
| 117e | Temp scale signal action | reverse |  |
| 117f | Temp scale LRV |  | LOWER RANGE-VALUE |
| 117fu | Temp scale LRV units | °C | UNITS |
| 117fu | Temp scale LRV units | °F | UNITS |
| 117fu | Temp scale LRV units | C | UNITS |
| 117fu | Temp scale LRV units | F | UNITS |
| 117g | Temp scale URV |  | UPPER RANGE-VALUE |
| 117gu | Temp scale URV units | °C | UNITS |
| 117gu | Temp scale URV units | °F | UNITS |
| 117gu | Temp scale URV units | C | UNITS |
| 117gu | Temp scale URV units | F | UNITS |
| 118a | Setpoint 1 tag no |  |  |
| 118b | Meas setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 118c | Setpoint 1 LRV |  | LOWER RANGE-VALUE |
| 118cu | Setpoint 1 LRV units | degree | UNITS |
| 118cu | Setpoint 1 LRV units | EBC | UNITS |
| 118cu | Setpoint 1 LRV units | FNU | UNITS |
| 118cu | Setpoint 1 LRV units | FTU | UNITS |
| 118cu | Setpoint 1 LRV units | g/l | UNITS |
| 118cu | Setpoint 1 LRV units | JTU | UNITS |
| 118cu | Setpoint 1 LRV units | mg/l | UNITS |
| 118cu | Setpoint 1 LRV units | NTU | UNITS |
| 118d | Setpoint 1 URV |  | UPPER RANGE-VALUE |
| 118du | Setpoint 1 URV units | degree | UNITS |
| 118du | Setpoint 1 URV units | EBC | UNITS |
| 118du | Setpoint 1 URV units | FNU | UNITS |
| 118du | Setpoint 1 URV units | FTU | UNITS |
| 118du | Setpoint 1 URV units | g/l | UNITS |
| 118du | Setpoint 1 URV units | JTU | UNITS |
| 118du | Setpoint 1 URV units | mg/l | UNITS |
| 118du | Setpoint 1 URV units | NTU | UNITS |
| 118e | Setpoint 1 signal action | NC |  |
| 118e | Setpoint 1 signal action | NO |  |
| 118f | Setpoint 1 output LRV | 0 | LOWER RANGE-VALUE |
| 118fu | Setpoint 1 output LRV units | V | UNITS |
| 118g | Setpoint 1 output URV | 120 | UPPER RANGE-VALUE |
| 118g | Setpoint 1 output URV | 24 | UPPER RANGE-VALUE |
| 118gu | Setpoint 1 output URV units | V | UNITS |
| 119a | Setpoint 2 tag no |  |  |
| 119b | Meas setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 119c | Setpoint 2 LRV |  | LOWER RANGE-VALUE |
| 119cu | Setpoint 2 LRV units | degree | UNITS |
| 119cu | Setpoint 2 LRV units | EBC | UNITS |
| 119cu | Setpoint 2 LRV units | FNU | UNITS |
| 119cu | Setpoint 2 LRV units | FTU | UNITS |
| 119cu | Setpoint 2 LRV units | g/l | UNITS |
| 119cu | Setpoint 2 LRV units | JTU | UNITS |
| 119cu | Setpoint 2 LRV units | mg/l | UNITS |
| 119cu | Setpoint 2 LRV units | NTU | UNITS |
| 119d | Setpoint 2 URV |  | UPPER RANGE-VALUE |
| 119du | Setpoint 2 URV units | degree | UNITS |
| 119du | Setpoint 2 URV units | EBC | UNITS |
| 119du | Setpoint 2 URV units | FNU | UNITS |
| 119du | Setpoint 2 URV units | FTU | UNITS |
| 119du | Setpoint 2 URV units | g/l | UNITS |
| 119du | Setpoint 2 URV units | JTU | UNITS |
| 119du | Setpoint 2 URV units | mg/l | UNITS |
| 119du | Setpoint 2 URV units | NTU | UNITS |
| 119e | Setpoint 2 signal action | NC |  |
| 119e | Setpoint 2 signal action | NO |  |
| 119f | Setpoint 2 output LRV | 0 | LOWER RANGE-VALUE |
| 119fu | Setpoint 2 output LRV units | V | UNITS |
| 119g | Setpoint 2 output URV | 120 | UPPER RANGE-VALUE |
| 119g | Setpoint 2 output URV | 24 | UPPER RANGE-VALUE |
| 119gu | Setpoint 2 output URV units | V | UNITS |
| 120a | Setpoint 3 tag no |  |  |
| 120b | Meas setpoint 3-Output | CALIBRATION/TEST DESC |  |
| 120c | Setpoint 3 LRV |  | LOWER RANGE-VALUE |
| 120cu | Setpoint 3 LRV units | degree | UNITS |
| 120cu | Setpoint 3 LRV units | EBC | UNITS |
| 120cu | Setpoint 3 LRV units | FNU | UNITS |
| 120cu | Setpoint 3 LRV units | FTU | UNITS |
| 120cu | Setpoint 3 LRV units | g/l | UNITS |
| 120cu | Setpoint 3 LRV units | JTU | UNITS |
| 120cu | Setpoint 3 LRV units | mg/l | UNITS |
| 120cu | Setpoint 3 LRV units | NTU | UNITS |
| 120d | Setpoint 3 URV |  | UPPER RANGE-VALUE |
| 120du | Setpoint 3 URV units | degree | UNITS |
| 120du | Setpoint 3 URV units | EBC | UNITS |
| 120du | Setpoint 3 URV units | FNU | UNITS |
| 120du | Setpoint 3 URV units | FTU | UNITS |
| 120du | Setpoint 3 URV units | g/l | UNITS |
| 120du | Setpoint 3 URV units | JTU | UNITS |
| 120du | Setpoint 3 URV units | mg/l | UNITS |
| 120du | Setpoint 3 URV units | NTU | UNITS |
| 120e | Setpoint 3 signal action | NC |  |
| 120e | Setpoint 3 signal action | NO |  |
| 120f | Setpoint 3 output LRV | 0 | LOWER RANGE-VALUE |
| 120fu | Setpoint 3 output LRV units | V | UNITS |
| 120g | Setpoint 3 output URV | 120 | UPPER RANGE-VALUE |
| 120g | Setpoint 3 output URV | 24 | UPPER RANGE-VALUE |
| 120gu | Setpoint 3 output URV units | V | UNITS |
| 121a | Setpoint 4 tag no |  |  |
| 121b | Meas setpoint 4-Output | CALIBRATION/TEST DESC |  |
| 121c | Setpoint 4 LRV |  | LOWER RANGE-VALUE |
| 121cu | Setpoint 4 LRV units | degree | UNITS |
| 121cu | Setpoint 4 LRV units | EBC | UNITS |
| 121cu | Setpoint 4 LRV units | FNU | UNITS |
| 121cu | Setpoint 4 LRV units | FTU | UNITS |
| 121cu | Setpoint 4 LRV units | g/l | UNITS |
| 121cu | Setpoint 4 LRV units | JTU | UNITS |
| 121cu | Setpoint 4 LRV units | mg/l | UNITS |
| 121cu | Setpoint 4 LRV units | NTU | UNITS |
| 121d | Setpoint 4 URV |  | UPPER RANGE-VALUE |
| 121du | Setpoint 4 URV units | degree | UNITS |
| 121du | Setpoint 4 URV units | EBC | UNITS |
| 121du | Setpoint 4 URV units | FNU | UNITS |
| 121du | Setpoint 4 URV units | FTU | UNITS |
| 121du | Setpoint 4 URV units | g/l | UNITS |
| 121du | Setpoint 4 URV units | JTU | UNITS |
| 121du | Setpoint 4 URV units | mg/l | UNITS |
| 121du | Setpoint 4 URV units | NTU | UNITS |
| 121e | Setpoint 4 signal action | NC |  |
| 121e | Setpoint 4 signal action | NO |  |
| 121f | Setpoint 4 output LRV | 0 | LOWER RANGE-VALUE |
| 121f | Setpoint 4 output LRV units | V | UNITS |
| 121g | Setpoint 4 output URV | 120 | UPPER RANGE-VALUE |
| 121g | Setpoint 4 output URV | 24 | UPPER RANGE-VALUE |
| 121gu | Setpoint 4 output URV units | V | UNITS |
| 122a | Setpoint 5 tag no |  |  |
| 122b | Meas setpoint 5-Output | CALIBRATION/TEST DESC |  |
| 122c | Setpoint 5 LRV |  | LOWER RANGE-VALUE |
| 122cu | Setpoint 5 LRV units | degree | UNITS |
| 122cu | Setpoint 5 LRV units | EBC | UNITS |
| 122cu | Setpoint 5 LRV units | FNU | UNITS |
| 122cu | Setpoint 5 LRV units | FTU | UNITS |
| 122cu | Setpoint 5 LRV units | g/l | UNITS |
| 122cu | Setpoint 5 LRV units | JTU | UNITS |
| 122cu | Setpoint 5 LRV units | mg/l | UNITS |
| 122cu | Setpoint 5 LRV units | NTU | UNITS |
| 122d | Setpoint 5 URV |  | UPPER RANGE-VALUE |
| 122du | Setpoint 5 URV units | degree | UNITS |
| 122du | Setpoint 5 URV units | EBC | UNITS |
| 122du | Setpoint 5 URV units | FNU | UNITS |
| 122du | Setpoint 5 URV units | FTU | UNITS |
| 122du | Setpoint 5 URV units | g/l | UNITS |
| 122du | Setpoint 5 URV units | JTU | UNITS |
| 122du | Setpoint 5 URV units | mg/l | UNITS |
| 122du | Setpoint 5 URV units | NTU | UNITS |
| 122e | Setpoint 5 signal action | NC |  |
| 122e | Setpoint 5 signal action | NO |  |
| 122f | Setpoint 5 output LRV | 0 | LOWER RANGE-VALUE |
| 122fu | Setpoint 5 output LRV units | V | UNITS |
| 122g | Setpoint 5 output URV | 120 | UPPER RANGE-VALUE |
| 122g | Setpoint 5 output URV | 24 | UPPER RANGE-VALUE |
| 122gu | Setpoint 5 output URV units | V | UNITS |
| 123a | Setpoint 6 tag no |  |  |
| 123b | Meas setpoint 6-Output | CALIBRATION/TEST DESC |  |
| 123c | Setpoint 6 LRV |  | LOWER RANGE-VALUE |
| 123cu | Setpoint 6 LRV units | degree | UNITS |
| 123cu | Setpoint 6 LRV units | EBC | UNITS |
| 123cu | Setpoint 6 LRV units | FNU | UNITS |
| 123cu | Setpoint 6 LRV units | FTU | UNITS |
| 123cu | Setpoint 6 LRV units | g/l | UNITS |
| 123cu | Setpoint 6 LRV units | JTU | UNITS |
| 123cu | Setpoint 6 LRV units | mg/l | UNITS |
| 123cu | Setpoint 6 LRV units | NTU | UNITS |
| 123d | Setpoint 6 URV |  | UPPER RANGE-VALUE |
| 123du | Setpoint 6 URV units | degree | UNITS |
| 123du | Setpoint 6 URV units | EBC | UNITS |
| 123du | Setpoint 6 URV units | FNU | UNITS |
| 123du | Setpoint 6 URV units | FTU | UNITS |
| 123du | Setpoint 6 URV units | g/l | UNITS |
| 123du | Setpoint 6 URV units | JTU | UNITS |
| 123du | Setpoint 6 URV units | mg/l | UNITS |
| 123du | Setpoint 6 URV units | NTU | UNITS |
| 123e | Setpoint 6 signal action | NC |  |
| 123e | Setpoint 6 signal action | NO |  |
| 123f | Setpoint 6 output LRV | 0 | LOWER RANGE-VALUE |
| 123fu | Setpoint 6 output LRV units | V | UNITS |
| 123g | Setpoint 6 output URV | 120 | UPPER RANGE-VALUE |
| 123g | Setpoint 6 output URV | 24 | UPPER RANGE-VALUE |
| 123gu | Setpoint 6 output URV units | V | UNITS |
| 124a | Failure tag no |  |  |
| 124e | Failure action | direct |  |
| 124e | Failure action | NC |  |
| 124e | Failure action | NO |  |
| 124e | Failure action | reverse |  |
| 124f | Failure output LRV | 0 | LOWER RANGE-VALUE |
| 124fu | Failure output LRV units | V | UNITS |
| 124g | Failure output URV | 120 | UPPER RANGE-VALUE |
| 124g | Failure output URV | 24 | UPPER RANGE-VALUE |
| 124gu | Failure output URV units | V | UNITS |
| 125a | Attribute tag no |  |  |
| 125b | Attribute cal/test descp |  |  |
| 125c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 125cu | Attr cal/test LRV units |  | UNITS |
| 125d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 125du | Attr cal/test URV units |  | UNITS |
| 125e | Attribute cal/test action | direct |  |
| 125e | Attribute cal/test action | NC |  |
| 125e | Attribute cal/test action | NO |  |
| 125e | Attribute cal/test action | reverse |  |
| 125f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 125fu | Attr output LRV units |  | UNITS |
| 125g | Attribute output URV |  | UPPER RANGE-VALUE |
| 125gu | Attr output URV units |  | UNITS |
| 126 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 128a | Component type | suspended solids cont |  |
| 128a | Component type | suspended solids meter |  |
| 128a | Component type | suspended solids xmtr |  |
| 128a | Component type | turbidity analyzer |  |
| 128a | Component type | turbidity controller |  |
| 128a | Component type | turbidity meter |  |
| 128a | Component type | turbidity transmitter |  |
| 128b | Manufacturer |  | MANUFACTURER |
| 128c | Model number |  | MODEL NUMBER |
| 129a | Component type |  |  |
| 129b | Manufacturer |  | MANUFACTURER |
| 129c | Model number |  | MODEL NUMBER |
| 130a | Component type |  |  |
| 130b | Manufacturer |  | MANUFACTURER |
| 130c | Model number |  | MODEL NUMBER |
| 131a | Component type |  |  |
| 131b | Manufacturer |  | MANUFACTURER |
| 131c | Model number |  | MODEL NUMBER |
| 132a | Component type |  |  |
| 132b | Manufacturer |  | MANUFACTURER |
| 132c | Model number |  | MODEL NUMBER |