| Pick List 20A2192 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | TRANSMITTER OR ANALYZER | SECTION TITLE |  |
| 012 | Housing type | 1/2 DIN panel | HOUSING |
| 012 | Housing type | 1/4 DIN panel | HOUSING |
| 012 | Housing type | DIN panel | HOUSING |
| 012 | Housing type | explosion proof enclosure | HOUSING |
| 012 | Housing type | general purpose enclosure | HOUSING |
| 012 | Housing type | panel mounting enclosure | HOUSING |
| 012 | Housing type | surface mtd enclosure | HOUSING |
| 012 | Housing type | weatherproof enclosure | HOUSING |
| 013 | Input sensor type | dissolved oxygen |  |
| 013 | Input sensor type | free chlorine & pH |  |
| 013 | Input sensor type | free residual chlorine |  |
| 013 | Input sensor type | ozone |  |
| 013 | Input sensor type | total chlorine |  |
| 014 | Input sensor style | amperometric sensor |  |
| 014 | Input sensor style | ingold steam sterilizable |  |
| 014 | Input sensor style | polarographic sensor |  |
| 014 | Input sensor style | RAIL ppb sensor |  |
| 015 | Output signal type | 1 analog current | SIGNAL |
| 015 | Output signal type | 1 analog voltage | SIGNAL |
| 015 | Output signal type | 2 analog current | SIGNAL |
| 015 | Output signal type | 2 analog voltage | SIGNAL |
| 015 | Output signal type | analog current & digital | SIGNAL |
| 015 | Output signal type | analog current & relays | SIGNAL |
| 015 | Output signal type | digital multi-variable | SIGNAL |
| 015 | Output signal type | digital single variable | SIGNAL |
| 015 | Output signal type | frequency | SIGNAL |
| 015 | Output signal type | NA | SIGNAL |
| 015 | Output signal type | PNP transistor output | SIGNAL |
| 015 | Output signal type | relay | SIGNAL |
| 015 | Output signal type | T1 mode, low speed | SIGNAL |
| 015 | Output signal type | T2 mode, high speed | SIGNAL |
| 016 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 016 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 016 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 016 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 016 | Enclosure type no/class | 7B | ENCLOSURE TYPE NO/CLASS |
| 016 | Enclosure type no/class | IP65 | ENCLOSURE TYPE NO/CLASS |
| 017 | Control mode | cycle control | CONTROL MODE |
| 017 | Control mode | NA | CONTROL MODE |
| 017 | Control mode | on/off | CONTROL MODE |
| 017 | Control mode | PI frequency | CONTROL MODE |
| 017 | Control mode | PI PULSED | CONTROL MODE |
| 017 | Control mode | PID control | CONTROL MODE |
| 017 | Control mode | ratio | CONTROL MODE |
| 017 | Control mode | time proportional control | CONTROL MODE |
| 018 | Local operator interface | built-in keypad |  |
| 018 | Local operator interface | handheld communicator |  |
| 018 | Local operator interface | infrared keypad |  |
| 018 | Local operator interface | membrane keyboard |  |
| 018 | Local operator interface | NA |  |
| 018 | Local operator interface | push-buttons |  |
| 018 | Local operator interface | setpoint dial |  |
| 018 | Local operator interface | zero, span potentiometers |  |
| 019 | Characteristic curve | configurable | CHARACTERISTIC CURVE |
| 019 | Characteristic curve | linear with measurement | CHARACTERISTIC CURVE |
| 019 | Characteristic curve | logarithmic | CHARACTERISTIC CURVE |
| 020 | Digital communication std | DE protocol |  |
| 020 | Digital communication std | FOUNDATION Fieldbus |  |
| 020 | Digital communication std | HART protocol |  |
| 020 | Digital communication std | NA |  |
| 020 | Digital communication std | PROFIBUS-PA |  |
| 020 | Digital communication std | RS232C binary/ ASCII |  |
| 020 | Digital communication std | RS485 binary/ ASCII |  |
| 021 | Signal power source | 100 V (ac) 50/60 Hz |  |
| 021 | Signal power source | 100-127 V (ac) 50/60 Hz |  |
| 021 | Signal power source | 115 V (ac) 50/60 Hz |  |
| 021 | Signal power source | 120 V (ac) 50/60 Hz |  |
| 021 | Signal power source | 200-253 V (ac) 50/60 Hz |  |
| 021 | Signal power source | 20-30 V (dc) |  |
| 021 | Signal power source | 220 V (ac) 50/60 Hz |  |
| 021 | Signal power source | 230 V (ac) 50/60 Hz |  |
| 021 | Signal power source | 24 V (ac) 50/60 Hz |  |
| 021 | Signal power source | 24 V (dc) |  |
| 021 | Signal power source | 240 V (ac) 50/60 Hz |  |
| 021 | Signal power source | bus powered |  |
| 022 | Temperature sensor type | 100 kOhm thermistor |  |
| 022 | Temperature sensor type | 22 kOhm NTC |  |
| 022 | Temperature sensor type | 3 kOhm balco RTD |  |
| 022 | Temperature sensor type | 3 kOhm balco thermistor |  |
| 022 | Temperature sensor type | 5 kOhm thermistor |  |
| 022 | Temperature sensor type | 8K55 thermistor |  |
| 022 | Temperature sensor type | NA |  |
| 022 | Temperature sensor type | NTC sensor |  |
| 022 | Temperature sensor type | pt 100 Ohm RTD |  |
| 022 | Temperature sensor type | pt 1000 Ohm RTD |  |
| 023 | Quantity of input sensors | 1 |  |
| 023 | Quantity of input sensors | 2 |  |
| 024 | Preamplifier location | integral |  |
| 024 | Preamplifier location | NA |  |
| 024 | Preamplifier location | remote |  |
| 025a | Contacts arrangement | NA |  |
| 025a | Contacts arrangement | SPDT |  |
| 025a | Contacts arrangement | SPST |  |
| 025b | Contacts quantity | 0 |  |
| 025b | Contacts quantity | 1 |  |
| 025b | Contacts quantity | 2 |  |
| 025b | Contacts quantity | 3 |  |
| 025b | Contacts quantity | 4 |  |
| 026 | Integral indicator style | 2 line LCD |  |
| 026 | Integral indicator style | 3 digit LED |  |
| 026 | Integral indicator style | 3 digit LED |  |
| 026 | Integral indicator style | 3.5 digit LCD |  |
| 026 | Integral indicator style | 4 digit LED |  |
| 026 | Integral indicator style | analog meter, dual scale |  |
| 026 | Integral indicator style | analog meter,single scale |  |
| 026 | Integral indicator style | analog meter,triple scale |  |
| 026 | Integral indicator style | matrix 128 x 64 dots |  |
| 026 | Integral indicator style | milliammeter |  |
| 026 | Integral indicator style | NA |  |
| 027 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 027 | Signal termination type | spade lug terminals | END CONNECTION TYPE |
| 028 | Cert/Approval type | ATEX explosion proof | CERTIFICATION |
| 028 | Cert/Approval type | ATEX non-incendive | CERTIFICATION |
| 028 | Cert/Approval type | BASEEFA intrinsic safe | CERTIFICATION |
| 028 | Cert/Approval type | BASEEFA non-incendive | CERTIFICATION |
| 028 | Cert/Approval type | CE marked | CERTIFICATION |
| 028 | Cert/Approval type | CENELEC intrinsic safe | CERTIFICATION |
| 028 | Cert/Approval type | CSA hazardous | CERTIFICATION |
| 028 | Cert/Approval type | CSA intrinsic safe | CERTIFICATION |
| 028 | Cert/Approval type | CSA non-classified | CERTIFICATION |
| 028 | Cert/Approval type | CSA non-incendive | CERTIFICATION |
| 028 | Cert/Approval type | FM explosion proof | CERTIFICATION |
| 028 | Cert/Approval type | FM general purpose | CERTIFICATION |
| 028 | Cert/Approval type | FM intrinsic safe | CERTIFICATION |
| 028 | Cert/Approval type | FM non-incendive | CERTIFICATION |
| 028 | Cert/Approval type | Foxboro intrinsic safe | CERTIFICATION |
| 028 | Cert/Approval type | Foxboro non-incendive | CERTIFICATION |
| 028 | Cert/Approval type | SAA explosion proof | CERTIFICATION |
| 028 | Cert/Approval type | SAA intrinsic safe | CERTIFICATION |
| 028 | Cert/Approval type | SAA non-sparking | CERTIFICATION |
| 028 | Cert/Approval type | UL general purpose | CERTIFICATION |
| 029 | Mounting location/type | 2 in/DN50 pipe mount | MOUNTING POSITION |
| 029 | Mounting location/type | integral w/sensing probe | MOUNTING POSITION |
| 029 | Mounting location/type | panel mount | MOUNTING POSITION |
| 029 | Mounting location/type | surface mount | MOUNTING POSITION |
| 029 | Mounting location/type | wall mount | MOUNTING POSITION |
| 030 | Failure/Diagnostic action | activate alarm relay |  |
| 030 | Failure/Diagnostic action | alarm display |  |
| 030 | Failure/Diagnostic action | drive output high |  |
| 030 | Failure/Diagnostic action | drive output low |  |
| 030 | Failure/Diagnostic action | NA |  |
| 030 | Failure/Diagnostic action | output to preset value |  |
| 030 | Failure/Diagnostic action | preset value, fault code |  |
| 031 | Sensor diagnostics | NA |  |
| 031 | Sensor diagnostics | off-line checking |  |
| 031 | Sensor diagnostics | on-line checking |  |
| 032 | Data history log | 100 events |  |
| 032 | Data history log | NA |  |
| 033 | Measurement compensation | auto temperature & pH |  |
| 033 | Measurement compensation | automatic |  |
| 033 | Measurement compensation | disabled |  |
| 033 | Measurement compensation | linear temperature coef |  |
| 033 | Measurement compensation | manual |  |
| 033 | Measurement compensation | manual pH |  |
| 033 | Measurement compensation | NA |  |
| 033 | Measurement compensation | temperature & pressure |  |
| 034 | Calibration function | manual grab sample |  |
| 034 | Calibration function | NA |  |
| 034 | Calibration function | semi-auto w/buffer table |  |
| 035 | Enclosure material | ABS | MATERIAL |
| 035 | Enclosure material | ABS PC Fr | MATERIAL |
| 035 | Enclosure material | coated aluminum | MATERIAL |
| 035 | Enclosure material | FRP | MATERIAL |
| 035 | Enclosure material | glass filled noryl | MATERIAL |
| 035 | Enclosure material | polycarbonate w/polyester | MATERIAL |
| 036a | Defined attribute 1 name | Enclosure accessory | DEFINABLE ATTRIBUTE NAME |
| 036a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 036a | Defined attribute 1 name | Output signal function | DEFINABLE ATTRIBUTE NAME |
| 036b | Defined attribute 1 data | hold function | DEFINABLE ATTRIBUTE VALUE |
| 036b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 036b | Defined attribute 1 data | storm door | DEFINABLE ATTRIBUTE VALUE |
| 037a | Defined attribute 2 name | Contact input | DEFINABLE ATTRIBUTE NAME |
| 037a | Defined attribute 2 name | Display language | DEFINABLE ATTRIBUTE NAME |
| 037a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 037b | Defined attribute 2 data | english | DEFINABLE ATTRIBUTE VALUE |
| 037b | Defined attribute 2 data | french | DEFINABLE ATTRIBUTE VALUE |
| 037b | Defined attribute 2 data | german | DEFINABLE ATTRIBUTE VALUE |
| 037b | Defined attribute 2 data | italian | DEFINABLE ATTRIBUTE VALUE |
| 037b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 037b | Defined attribute 2 data | portuguese | DEFINABLE ATTRIBUTE VALUE |
| 037b | Defined attribute 2 data | remote cycle start | DEFINABLE ATTRIBUTE VALUE |
| 037b | Defined attribute 2 data | spanish | DEFINABLE ATTRIBUTE VALUE |
| 038a | Defined attribute 3 name | Concentration range | DEFINABLE ATTRIBUTE NAME |
| 038a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 056 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 057a | pH compensation LRL |  |  |
| 057au | pH compensation LRL units | pH | UNITS |
| 057b | pH compensation URL |  |  |
| 057bu | pH compensation URL units | pH | UNITS |
| 058a | Meas 1 accuracy rating |  |  |
| 058b | Meas1 accuracy rating ref base | % full scale |  |
| 058b | Meas1 accuracy rating ref base | % reading |  |
| 058b | Meas1 accuracy rating ref base | % span |  |
| 058b | Meas1 accuracy rating ref base | ppb |  |
| 059a | Meas 2 accuracy rating |  |  |
| 059b | Meas2 accuracy ref base | % full scale |  |
| 059b | Meas2 accuracy ref base | % reading |  |
| 059b | Meas2 accuracy ref base | % span |  |
| 060 | Temp accuracy rating | 0.1 |  |
| 060 | Temp accuracy rating | 0.2 |  |
| 060 | Temp accuracy rating | 1.0 |  |
| 060 | Temp accuracy rating | 2.0 |  |
| 060u | Temperature accuracy units | °C | UNITS |
| 060u | Temperature accuracy units | °F | UNITS |
| 060u | Temperature accuracy units | C | UNITS |
| 060u | Temperature accuracy units | F | UNITS |
| 061a | Measurement LRL | 0 | LOWER RANGE-LIMIT |
| 061au | Meas LRL units | % sat | UNITS |
| 061au | Meas LRL units | mg/l | UNITS |
| 061au | Meas LRL units | mmHg | UNITS |
| 061au | Meas LRL units | ppb | UNITS |
| 061au | Meas LRL units | ppm | UNITS |
| 061b | Measurement URL | 20 | UPPER RANGE-LIMIT |
| 061b | Measurement URL | 200 | UPPER RANGE-LIMIT |
| 061bu | Meas URL units | % sat | UNITS |
| 061bu | Meas URL units | mg/l | UNITS |
| 061bu | Meas URL units | mmHg | UNITS |
| 061bu | Meas URL units | ppb | UNITS |
| 061bu | Meas URL units | ppm | UNITS |
| 062a | Temp compensation LRL |  | LOWER RANGE-LIMIT |
| 062au | Temp LRL units | °C | UNITS |
| 062au | Temp LRL units | °F | UNITS |
| 062au | Temp LRL units | C | UNITS |
| 062au | Temp LRL units | F | UNITS |
| 062b | Temp compensation URL |  | UPPER RANGE-LIMIT |
| 062bu | Temp URL units | °C | UNITS |
| 062bu | Temp URL units | °F | UNITS |
| 062bu | Temp URL units | C | UNITS |
| 062bu | Temp URL units | F | UNITS |
| 063a | Barometric pressure LRL |  |  |
| 063au | Barometric press LRL units | mbar | UNITS |
| 063au | Barometric press LRL units | mmHg | UNITS |
| 063b | Barometric pressure URL |  |  |
| 063bu | Barometric press URL units | mbar | UNITS |
| 063bu | Barometric press URL units | mmHg | UNITS |
| 064a | Minimum span |  |  |
| 064au | Minimum span units | % | UNITS |
| 064au | Minimum span units | mg/l | UNITS |
| 064au | Minimum span units | mmHg | UNITS |
| 064au | Minimum span units | ppb | UNITS |
| 064au | Minimum span units | ppm | UNITS |
| 064b | Maximum span |  |  |
| 064bu | Maximum span units | % | UNITS |
| 064bu | Maximum span units | mg/l | UNITS |
| 064bu | Maximum span units | mmHg | UNITS |
| 064bu | Maximum span units | ppb | UNITS |
| 064bu | Maximum span units | ppm | UNITS |
| 065a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 065au | Min amb temperature units | °C | UNITS |
| 065au | Min amb temperature units | °F | UNITS |
| 065au | Min amb temperature units | C | UNITS |
| 065au | Min amb temperature units | F | UNITS |
| 065b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 065bu | Max amb temperature units | °C | UNITS |
| 065bu | Max amb temperature units | °F | UNITS |
| 065bu | Max amb temperature units | C | UNITS |
| 065bu | Max amb temperature units | F | UNITS |
| 066a | Contacts ac rating | 1.5 | DEVICE RATING |
| 066a | Contacts ac rating | 3 | DEVICE RATING |
| 066a | Contacts ac rating | 5 | DEVICE RATING |
| 066au | AC rating current units | A | UNITS |
| 066b | AC rating max voltage | 110 | DEVICE RATING |
| 066b | AC rating max voltage | 115 | DEVICE RATING |
| 066b | AC rating max voltage | 120 | DEVICE RATING |
| 066b | AC rating max voltage | 230 | DEVICE RATING |
| 066b | AC rating max voltage | 240 | DEVICE RATING |
| 066b | AC rating max voltage | 250 | DEVICE RATING |
| 066bu | AC max voltage units | V | UNITS |
| 067a | Contacts dc rating | 5 | DEVICE RATING |
| 067a | Contacts dc rating | 50 | DEVICE RATING |
| 067au | DC rating current units | A | UNITS |
| 067au | DC rating current units | mA | UNITS |
| 067au | DC rating current units | W | UNITS |
| 067b | DC rating max voltage | 250 | DEVICE RATING |
| 067b | DC rating max voltage | 28 | DEVICE RATING |
| 067bu | DC max voltage units | V | UNITS |
| 068a | Max sensor to receiver lg |  |  |
| 068au | Max length units | ft | UNITS |
| 068au | Max length units | m | UNITS |
| 069a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 071a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 076 | ACCESSORIES | SECTION TITLE |  |
| 077 | Remote indicator style | Digital |  |
| 077 | Remote indicator style | NA |  |
| 078 | Indicator enclosure | explosion proof |  |
| 078 | Indicator enclosure | NA |  |
| 079 | Communicator style | hand-held infrared |  |
| 079 | Communicator style | NA |  |
| 080a | Defined attribute 1 name | Enclosure heater | DEFINABLE ATTRIBUTE NAME |
| 080a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 080b | Defined attribute 1 data | 115 V (ac) 50/60 Hz | DEFINABLE ATTRIBUTE VALUE |
| 080b | Defined attribute 1 data | 230 V (ac) 50/60 Hz | DEFINABLE ATTRIBUTE VALUE |
| 080b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 081a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 081a | Defined attribute 2 name | Remote alarm relay | DEFINABLE ATTRIBUTE NAME |
| 081a | Defined attribute 2 name | Sun protection | DEFINABLE ATTRIBUTE NAME |
| 081b | Defined attribute 2 data | hood | DEFINABLE ATTRIBUTE VALUE |
| 081b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 082a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082a | Defined attribute 3 name | Power supply | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 3 data | 115 V (ac) 50/60 Hz | DEFINABLE ATTRIBUTE VALUE |
| 082b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 084 | Custom tag | fiber tag |  |
| 084 | Custom tag | NA |  |
| 084 | Custom tag | sst permanent attached |  |
| 084 | Custom tag | sst wired-on |  |
| 085 | Reference specification | NA | REFERENCE SPECIFICATION |
| 086 | Compliance standard | IEC 746 | NACE STANDARD |
| 086 | Compliance standard | NA | NACE STANDARD |
| 087 | Software configuration | NA |  |
| 088 | Software program | configuration utility |  |
| 088 | Software program | NA |  |
| 089a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089a | Defined attribute 1 name | Quality certificate | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092 | PHYSICAL DATA | SECTION TITLE |  |
| 093 | Estimated weight |  |  |
| 093u | Weight units | kg | UNITS |
| 093u | Weight units | lb | UNITS |
| 094 | Overall height |  |  |
| 094u | Overall height units | in | UNITS |
| 094u | Overall height units | mm | UNITS |
| 095 | Removal clearance |  |  |
| 095u | Removal clearance units | in | UNITS |
| 095u | Removal clearance units | mm | UNITS |
| 096a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 096a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 096b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 096b | Signal conn termn style | gland | END CONNECTION TYPE |
| 096b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 096b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 097 | Mfr reference dwg | NA |  |
| 098a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog measurement tag 1 |  |  |
| 112b | Meas-Analog output 1 | CALIBRATION/TEST DESC |  |
| 112c | Analog meas 1 LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Analog meas 1 LRV units | % sat | UNITS |
| 112cu | Analog meas 1 LRV units | mg/l | UNITS |
| 112cu | Analog meas 1 LRV units | mmHg | UNITS |
| 112cu | Analog meas 1 LRV units | pH | UNITS |
| 112cu | Analog meas 1 LRV units | ppb | UNITS |
| 112cu | Analog meas 1 LRV units | ppm | UNITS |
| 112d | Analog meas 1 URV |  | UPPER RANGE-VALUE |
| 112du | Analog meas 1 URV units |  | UNITS |
| 112du | Analog meas 1 URV units | % sat | UNITS |
| 112du | Analog meas 1 URV units | mg/l | UNITS |
| 112du | Analog meas 1 URV units | mmHg | UNITS |
| 112du | Analog meas 1 URV units | pH | UNITS |
| 112du | Analog meas 1 URV units | ppb | UNITS |
| 112du | Analog meas 1 URV units | ppm | UNITS |
| 112e | Analog meas 1 signal action | direct |  |
| 112e | Analog meas 1 signal action | reverse |  |
| 112f | Analog meas 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112f | Analog meas 1 output LRV | 10 | LOWER RANGE-VALUE |
| 112f | Analog meas 1 output LRV | 4 | LOWER RANGE-VALUE |
| 112fu | Anlg meas 1 output LRV units | mA | UNITS |
| 112g | Analog meas 1 output URV | 10 | UPPER RANGE-VALUE |
| 112g | Analog meas 1 output URV | 20 | UPPER RANGE-VALUE |
| 112g | Analog meas 1 output URV | 50 | UPPER RANGE-VALUE |
| 112gu | Anlg meas 1 output URV units | mA | UNITS |
| 112gu | Anlg meas 1 output URV units | V | UNITS |
| 113a | Analog meas tag 2 |  |  |
| 113b | Meas-Analog output 2 | CALIBRATION/TEST DESC |  |
| 113c | Analog meas 2 LRV |  | LOWER RANGE-VALUE |
| 113cu | Analog meas 2 LRV units |  | UNITS |
| 113cu | Analog meas 2 LRV units | % sat | UNITS |
| 113cu | Analog meas 2 LRV units | °C | UNITS |
| 113cu | Analog meas 2 LRV units | °F | UNITS |
| 113cu | Analog meas 2 LRV units | C | UNITS |
| 113cu | Analog meas 2 LRV units | F | UNITS |
| 113cu | Analog meas 2 LRV units | mg/l | UNITS |
| 113cu | Analog meas 2 LRV units | mmHg | UNITS |
| 113cu | Analog meas 2 LRV units | pH | UNITS |
| 113cu | Analog meas 2 LRV units | ppb | UNITS |
| 113cu | Analog meas 2 LRV units | ppm | UNITS |
| 113d | Analog meas 2 URV |  | UPPER RANGE-VALUE |
| 113du | Analog meas 2 URV units | % sat | UNITS |
| 113du | Analog meas 2 URV units | °C | UNITS |
| 113du | Analog meas 2 URV units | °F | UNITS |
| 113du | Analog meas 2 URV units | C | UNITS |
| 113du | Analog meas 2 URV units | F | UNITS |
| 113du | Analog meas 2 URV units | mg/l | UNITS |
| 113du | Analog meas 2 URV units | mmHg | UNITS |
| 113du | Analog meas 2 URV units | pH | UNITS |
| 113du | Analog meas 2 URV units | ppb | UNITS |
| 113du | Analog meas 2 URV units | ppm | UNITS |
| 113e | Analog meas 2 signal action | direct |  |
| 113e | Analog meas 2 signal action | reverse |  |
| 113f | Analog meas 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113f | Analog meas 2 output LRV | 10 | LOWER RANGE-VALUE |
| 113f | Analog meas 2 output LRV | 4 | LOWER RANGE-VALUE |
| 113fu | Anlg meas 2 output LRV units | % | UNITS |
| 113fu | Anlg meas 2 output LRV units | mA | UNITS |
| 113g | Analog meas 2 output URV | 10 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 20 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 50 | UPPER RANGE-VALUE |
| 113gu | Anlg meas 2 output URV units | % | UNITS |
| 113gu | Anlg meas 2 output URV units | mA | UNITS |
| 113gu | Anlg meas 2 output URV units | V | UNITS |
| 114a | Digital meas tag no |  |  |
| 114a | Digital measurement tag |  |  |
| 114b | Meas-Digital output | CALIBRATION/TEST DESC |  |
| 114c | Digital meas LRV |  | LOWER RANGE-VALUE |
| 114cu | Digital meas LRV units | % sat | UNITS |
| 114cu | Digital meas LRV units | mg/l | UNITS |
| 114cu | Digital meas LRV units | mmHg | UNITS |
| 114cu | Digital meas LRV units | pH | UNITS |
| 114cu | Digital meas LRV units | ppb | UNITS |
| 114cu | Digital meas LRV units | ppm | UNITS |
| 114d | Digital meas URV |  | UPPER RANGE-VALUE |
| 114du | Digital meas URV units | % sat | UNITS |
| 114du | Digital meas URV units | mg/l | UNITS |
| 114du | Digital meas URV units | mmHg | UNITS |
| 114du | Digital meas URV units | pH | UNITS |
| 114du | Digital meas URV units | ppb | UNITS |
| 114du | Digital meas URV units | ppm | UNITS |
| 114e | Digital meas signal action | direct |  |
| 114e | Digital meas signal action | reverse |  |
| 114f | Digital meas output LRV |  | LOWER RANGE-VALUE |
| 114f | Digital meas output LRV |  | LOWER RANGE-VALUE |
| 114fu | Dgtl meas output LRV units | % sat | UNITS |
| 114fu | Dgtl meas output LRV units | mg/l | UNITS |
| 114fu | Dgtl meas output LRV units | mmHg | UNITS |
| 114fu | Dgtl meas output LRV units | pH | UNITS |
| 114fu | Dgtl meas output LRV units | ppb | UNITS |
| 114fu | Dgtl meas output LRV units | ppm | UNITS |
| 114g | Digital meas output URV |  | UPPER RANGE-VALUE |
| 114gu | Dgtl meas output URV units | % sat | UNITS |
| 114gu | Dgtl meas output URV units | mg/l | UNITS |
| 114gu | Dgtl meas output URV units | mmHg | UNITS |
| 114gu | Dgtl meas output URV units | pH | UNITS |
| 114gu | Dgtl meas output URV units | ppb | UNITS |
| 114gu | Dgtl meas output URV units | ppm | UNITS |
| 115a | Meas scale tag no |  |  |
| 115b | Meas-Scale | CALIBRATION/TEST DESC |  |
| 115c | Scale meas LRV |  | LOWER RANGE-VALUE |
| 115cu | Scale meas LRV units | % sat | UNITS |
| 115cu | Scale meas LRV units | mg/l | UNITS |
| 115cu | Scale meas LRV units | mmHg | UNITS |
| 115cu | Scale meas LRV units | pH | UNITS |
| 115cu | Scale meas LRV units | ppb | UNITS |
| 115cu | Scale meas LRV units | ppm | UNITS |
| 115d | Scale meas URV |  | UPPER RANGE-VALUE |
| 115du | Scale meas URV units | % sat | UNITS |
| 115du | Scale meas URV units | mA | UNITS |
| 115du | Scale meas URV units | mg/l | UNITS |
| 115du | Scale meas URV units | mmHg | UNITS |
| 115du | Scale meas URV units | pH | UNITS |
| 115du | Scale meas URV units | ppb | UNITS |
| 115du | Scale meas URV units | ppm | UNITS |
| 115e | Scale meas signal action | direct |  |
| 115e | Scale meas signal action | reverse |  |
| 115f | Scale Lower Range-Value |  |  |
| 115fu | Scale LRV units | % sat | UNITS |
| 115fu | Scale LRV units | mg/l | UNITS |
| 115fu | Scale LRV units | mmHg | UNITS |
| 115fu | Scale LRV units | pH | UNITS |
| 115fu | Scale LRV units | ppb | UNITS |
| 115fu | Scale LRV units | ppm | UNITS |
| 115g | Scale Upper Range-Value |  |  |
| 115gu | Scale URV units | % sat | UNITS |
| 115gu | Scale URV units | mA | UNITS |
| 115gu | Scale URV units | mg/l | UNITS |
| 115gu | Scale URV units | mmHg | UNITS |
| 115gu | Scale URV units | pH | UNITS |
| 115gu | Scale URV units | ppb | UNITS |
| 115gu | Scale URV units | ppm | UNITS |
| 116a | Temp scale tag no |  |  |
| 116b | Temp-Scale | CALIBRATION/TEST DESC |  |
| 116c | Temp scale LRV |  | LOWER RANGE-VALUE |
| 116cu | Temp scale LRV units | °C | UNITS |
| 116cu | Temp scale LRV units | °F | UNITS |
| 116cu | Temp scale LRV units | C | UNITS |
| 116cu | Temp scale LRV units | F | UNITS |
| 116d | Temp scale URV |  | UPPER RANGE-VALUE |
| 116du | Temp scale URV units | °C | UNITS |
| 116du | Temp scale URV units | °F | UNITS |
| 116du | Temp scale URV units | C | UNITS |
| 116du | Temp scale URV units | F | UNITS |
| 116e | Temp scale signal action | direct |  |
| 116e | Temp scale signal action | reverse |  |
| 116f | Temp scale LRV |  | LOWER RANGE-VALUE |
| 116fu | Temp scale LRV units | °C | UNITS |
| 116fu | Temp scale LRV units | °F | UNITS |
| 116fu | Temp scale LRV units | C | UNITS |
| 116fu | Temp scale LRV units | F | UNITS |
| 116g | Temp scale URV |  | UPPER RANGE-VALUE |
| 116gu | Temp scale URV units | °C | UNITS |
| 116gu | Temp scale URV units | °F | UNITS |
| 116gu | Temp scale URV units | C | UNITS |
| 116gu | Temp scale URV units | F | UNITS |
| 117a | Digital temp tag no |  |  |
| 117b | Temp-Digital output | CALIBRATION/TEST DESC |  |
| 117c | Digital temp LRV |  | LOWER RANGE-VALUE |
| 117cu | Digital temp LRV units | °C | UNITS |
| 117cu | Digital temp LRV units | °F | UNITS |
| 117cu | Digital temp LRV units | C | UNITS |
| 117cu | Digital temp LRV units | F | UNITS |
| 117d | Digital temp URV |  | UPPER RANGE-VALUE |
| 117du | Digital temp URV units | °C | UNITS |
| 117du | Digital temp URV units | °F | UNITS |
| 117du | Digital temp URV units | C | UNITS |
| 117du | Digital temp URV units | F | UNITS |
| 117e | Digital temp signal action | direct |  |
| 117e | Digital temp signal action | reverse |  |
| 117f | Digital temp output LRV |  | LOWER RANGE-VALUE |
| 117fu | Dgtl temp output LRV unit | °C | UNITS |
| 117fu | Dgtl temp output LRV unit | °F | UNITS |
| 117fu | Dgtl temp output LRV unit | C | UNITS |
| 117fu | Dgtl temp output LRV unit | F | UNITS |
| 117g | Digital temp output URV |  | UPPER RANGE-VALUE |
| 117gu | Dgtl temp output URV unit | °C | UNITS |
| 117gu | Dgtl temp output URV unit | °F | UNITS |
| 117gu | Dgtl temp output URV unit | C | UNITS |
| 117gu | Dgtl temp output URV unit | F | UNITS |
| 118a | Setpoint 1 tag no |  |  |
| 118b | Meas setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 118c | Setpoint 1 LRV |  | LOWER RANGE-VALUE |
| 118cu | Setpoint 1 LRV units | % sat | UNITS |
| 118cu | Setpoint 1 LRV units | °C | UNITS |
| 118cu | Setpoint 1 LRV units | °F | UNITS |
| 118cu | Setpoint 1 LRV units | C | UNITS |
| 118cu | Setpoint 1 LRV units | F | UNITS |
| 118cu | Setpoint 1 LRV units | mg/l | UNITS |
| 118cu | Setpoint 1 LRV units | mmHg | UNITS |
| 118cu | Setpoint 1 LRV units | pH | UNITS |
| 118cu | Setpoint 1 LRV units | ppb | UNITS |
| 118cu | Setpoint 1 LRV units | ppm | UNITS |
| 118d | Setpoint 1 URV |  | UPPER RANGE-VALUE |
| 118du | Setpoint 1 URV units | % sat | UNITS |
| 118du | Setpoint 1 URV units | °C | UNITS |
| 118du | Setpoint 1 URV units | °F | UNITS |
| 118du | Setpoint 1 URV units | C | UNITS |
| 118du | Setpoint 1 URV units | F | UNITS |
| 118du | Setpoint 1 URV units | mg/l | UNITS |
| 118du | Setpoint 1 URV units | mmHg | UNITS |
| 118du | Setpoint 1 URV units | pH | UNITS |
| 118du | Setpoint 1 URV units | ppb | UNITS |
| 118du | Setpoint 1 URV units | ppm | UNITS |
| 118e | Setpoint 1 signal action | NC |  |
| 118e | Setpoint 1 signal action | NO |  |
| 118f | Setpoint 1 output LRV | 0 | LOWER RANGE-VALUE |
| 118fu | Setpoint 1 output LRV units | V | UNITS |
| 118g | Setpoint 1 output URV | 120 | UPPER RANGE-VALUE |
| 118g | Setpoint 1 output URV | 24 | UPPER RANGE-VALUE |
| 118gu | Setpoint 1 output URV units | V | UNITS |
| 119a | Setpoint 2 tag no |  |  |
| 119b | Meas setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 119c | Setpoint 2 LRV |  | LOWER RANGE-VALUE |
| 119cu | Setpoint 2 LRV units | % sat | UNITS |
| 119cu | Setpoint 2 LRV units | °C | UNITS |
| 119cu | Setpoint 2 LRV units | °F | UNITS |
| 119cu | Setpoint 2 LRV units | C | UNITS |
| 119cu | Setpoint 2 LRV units | F | UNITS |
| 119cu | Setpoint 2 LRV units | mg/l | UNITS |
| 119cu | Setpoint 2 LRV units | mmHg | UNITS |
| 119cu | Setpoint 2 LRV units | pH | UNITS |
| 119cu | Setpoint 2 LRV units | ppb | UNITS |
| 119cu | Setpoint 2 LRV units | ppm | UNITS |
| 119d | Setpoint 2 URV |  | UPPER RANGE-VALUE |
| 119du | Setpoint 2 URV units | % sat | UNITS |
| 119du | Setpoint 2 URV units | °C | UNITS |
| 119du | Setpoint 2 URV units | °F | UNITS |
| 119du | Setpoint 2 URV units | C | UNITS |
| 119du | Setpoint 2 URV units | F | UNITS |
| 119du | Setpoint 2 URV units | mg/l | UNITS |
| 119du | Setpoint 2 URV units | mmHg | UNITS |
| 119du | Setpoint 2 URV units | pH | UNITS |
| 119du | Setpoint 2 URV units | ppb | UNITS |
| 119du | Setpoint 2 URV units | ppm | UNITS |
| 119e | Setpoint 2 signal action | NC |  |
| 119e | Setpoint 2 signal action | NO |  |
| 119f | Setpoint 2 output LRV | 0 | LOWER RANGE-VALUE |
| 119fu | Setpoint 2 output LRV units | V | UNITS |
| 119g | Setpoint 2 output URV | 120 | UPPER RANGE-VALUE |
| 119g | Setpoint 2 output URV | 24 | UPPER RANGE-VALUE |
| 119gu | Setpoint 2 output URV units | V | UNITS |
| 120a | Setpoint 3 tag no |  |  |
| 120b | Meas setpoint 3-Output | CALIBRATION/TEST DESC |  |
| 120c | Setpoint 3 LRV |  | LOWER RANGE-VALUE |
| 120cu | Setpoint 3 LRV units | % sat | UNITS |
| 120cu | Setpoint 3 LRV units | °C | UNITS |
| 120cu | Setpoint 3 LRV units | °F | UNITS |
| 120cu | Setpoint 3 LRV units | C | UNITS |
| 120cu | Setpoint 3 LRV units | F | UNITS |
| 120cu | Setpoint 3 LRV units | mg/l | UNITS |
| 120cu | Setpoint 3 LRV units | mmHg | UNITS |
| 120cu | Setpoint 3 LRV units | pH | UNITS |
| 120cu | Setpoint 3 LRV units | ppb | UNITS |
| 120cu | Setpoint 3 LRV units | ppm | UNITS |
| 120d | Setpoint 3 URV |  | UPPER RANGE-VALUE |
| 120du | Setpoint 3 URV units | % sat | UNITS |
| 120du | Setpoint 3 URV units | °C | UNITS |
| 120du | Setpoint 3 URV units | °F | UNITS |
| 120du | Setpoint 3 URV units | C | UNITS |
| 120du | Setpoint 3 URV units | F | UNITS |
| 120du | Setpoint 3 URV units | mg/l | UNITS |
| 120du | Setpoint 3 URV units | mmHg | UNITS |
| 120du | Setpoint 3 URV units | pH | UNITS |
| 120du | Setpoint 3 URV units | ppb | UNITS |
| 120du | Setpoint 3 URV units | ppm | UNITS |
| 120e | Setpoint 3 signal action | NC |  |
| 120e | Setpoint 3 signal action | NO |  |
| 120f | Setpoint 3 output LRV | 0 | LOWER RANGE-VALUE |
| 120fu | Setpoint 3 output LRV units | V | UNITS |
| 120g | Setpoint 3 output URV | 120 | UPPER RANGE-VALUE |
| 120g | Setpoint 3 output URV | 24 | UPPER RANGE-VALUE |
| 120gu | Setpoint 3 output URV units | V | UNITS |
| 121a | Setpoint 4 tag no |  |  |
| 121b | Meas setpoint 4-Output | CALIBRATION/TEST DESC |  |
| 121c | Setpoint 4 LRV |  | LOWER RANGE-VALUE |
| 121cu | Setpoint 4 LRV units | % sat | UNITS |
| 121cu | Setpoint 4 LRV units | °C | UNITS |
| 121cu | Setpoint 4 LRV units | °F | UNITS |
| 121cu | Setpoint 4 LRV units | C | UNITS |
| 121cu | Setpoint 4 LRV units | F | UNITS |
| 121cu | Setpoint 4 LRV units | mg/l | UNITS |
| 121cu | Setpoint 4 LRV units | mmHg | UNITS |
| 121cu | Setpoint 4 LRV units | pH | UNITS |
| 121cu | Setpoint 4 LRV units | ppb | UNITS |
| 121cu | Setpoint 4 LRV units | ppm | UNITS |
| 121d | Setpoint 4 URV |  | UPPER RANGE-VALUE |
| 121du | Setpoint 4 URV units | % sat | UNITS |
| 121du | Setpoint 4 URV units | °C | UNITS |
| 121du | Setpoint 4 URV units | °F | UNITS |
| 121du | Setpoint 4 URV units | C | UNITS |
| 121du | Setpoint 4 URV units | F | UNITS |
| 121du | Setpoint 4 URV units | mg/l | UNITS |
| 121du | Setpoint 4 URV units | mmHg | UNITS |
| 121du | Setpoint 4 URV units | mV | UNITS |
| 121du | Setpoint 4 URV units | pH | UNITS |
| 121du | Setpoint 4 URV units | ppb | UNITS |
| 121du | Setpoint 4 URV units | ppm | UNITS |
| 121e | Setpoint 4 signal action | NC |  |
| 121e | Setpoint 4 signal action | NO |  |
| 121f | Setpoint 4 output LRV | 0 | LOWER RANGE-VALUE |
| 121fu | Setpoint 4 output LRV units | V | UNITS |
| 121g | Setpoint 4 output URV | 120 | UPPER RANGE-VALUE |
| 121g | Setpoint 4 output URV | 24 | UPPER RANGE-VALUE |
| 121gu | Setpoint 4 output URV units | V | UNITS |
| 122a | Failure tag no |  |  |
| 122b | Failure signal-Output | CALIBRATION/TEST DESC |  |
| 122e | Failure action | direct |  |
| 122e | Failure action | NC |  |
| 122e | Failure action | NO |  |
| 122e | Failure action | reverse |  |
| 122f | Failure output LRV | 0 | LOWER RANGE-VALUE |
| 122fu | Failure output LRV units | mA | UNITS |
| 122fu | Failure output LRV units | V | UNITS |
| 122g | Failure output URV | 120 | UPPER RANGE-VALUE |
| 122g | Failure output URV | 24 | UPPER RANGE-VALUE |
| 122gu | Failure output URV units | mA | UNITS |
| 122gu | Failure output URV units | V | UNITS |
| 123a | Attribute tag no |  |  |
| 123b | Attribute cal/test descp | % rejection-Output |  |
| 123b | Attribute cal/test descp | Ratio-Output signal |  |
| 123c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 123cu | Attr cal/test LRV units |  | UNITS |
| 123d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 123du | Attr cal/test URV units |  | UNITS |
| 123e | Attribute cal/test action |  |  |
| 123f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 123fu | Attr output LRV units |  | UNITS |
| 123g | Attribute output URV |  | UPPER RANGE-VALUE |
| 123gu | Attr output URV units |  | UNITS |
| 124 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 126a | Component type | dissolved oxygen analyzer |  |
| 126a | Component type | dissolved oxygen monitor |  |
| 126a | Component type | dissolved oxygen xmtr |  |
| 126a | Component type | ozone analyzer |  |
| 126a | Component type | ozone monitor |  |
| 126a | Component type | ozone transmitter |  |
| 126a | Component type | residual Cl2 analyzer |  |
| 126a | Component type | residual Cl2 monitor |  |
| 126a | Component type | residual Cl2 transmitter |  |
| 126a | Component type | total Cl2 monitor |  |
| 126a | Component type | total Cl2 transmitter |  |
| 126a | Component type | total Cl2 analyzer |  |
| 126b | Manufacturer |  | MANUFACTURER |
| 126c | Model number |  | MODEL NUMBER |
| 127a | Component type |  |  |
| 127b | Manufacturer |  | MANUFACTURER |
| 127c | Model number |  | MODEL NUMBER |
| 128a | Component type |  |  |
| 128b | Manufacturer |  | MANUFACTURER |
| 128c | Model number |  | MODEL NUMBER |
| 129a | Component type |  |  |
| 129b | Manufacturer |  | MANUFACTURER |
| 129c | Model number |  | MODEL NUMBER |