| Pick list 20C2042 Rotary Motion Type MOV |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | VALVE BODY AND BONNET | SECTION TITLE |  |
| 012 | Body type | lugged | VALVE BODY TYPE |
| 012 | Body type | split | VALVE BODY TYPE |
| 012 | Body type | wafer | VALVE BODY TYPE |
| 013 | Bonnet style | bolted | BONNET TYPES |
| 013 | Bonnet style | bonnetless | BONNET TYPES |
| 013 | Bonnet style | cryogenic extended | BONNET TYPES |
| 013 | Bonnet style | extension bonnet | BONNET TYPES |
| 013 | Bonnet style | integral | BONNET TYPES |
| 013 | Bonnet style | NA | BONNET TYPES |
| 013 | Bonnet style | threaded | BONNET TYPES |
| 013 | Bonnet style | welded | BONNET TYPES |
| 014a | Inlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 10 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 12 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 14 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 16 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 20 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 24 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 3 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 30 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 36 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 42 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 48 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 54 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 6 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 60 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 72 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 8 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 10 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 100 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 1000 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 1200 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 125 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 1400 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 15 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 150 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 1500 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 20 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 200 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 25 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 250 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 300 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 32 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 350 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 40 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 400 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 450 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 50 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 500 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 550 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 600 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 65 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 700 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 80 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 800 | NOMINAL SIZE |
| 014a | Inlet conn nominal size | DN 900 | NOMINAL SIZE |
| 014b | Inlet conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 25 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 75 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 800 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 150 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 20 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 250 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 420 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 6 | NOMINAL PRESSURE/RATING |
| 015a | Outlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 10 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 12 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 14 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 16 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 20 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 24 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 3 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 30 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 36 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 42 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 48 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 54 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 6 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 60 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 72 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 8 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 10 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 100 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 1000 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 1200 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 125 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 1400 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 15 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 150 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 1500 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 20 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 200 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 25 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 250 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 300 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 32 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 350 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 40 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 400 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 450 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 50 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 500 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 550 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 600 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 65 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 700 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 80 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 800 | NOMINAL SIZE |
| 015a | Outlet conn nominal size | DN 900 | NOMINAL SIZE |
| 015b | Outlet conn nom rating | cl 125 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 25 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 250 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 400 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 75 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 800 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 10 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 100 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 150 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 16 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 20 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 25 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 250 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 40 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 420 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 50 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 6 | NOMINAL PRESSURE/RATING |
| 016a | End conn termn type | clamped | END CONNECTION TYPE |
| 016a | End conn termn type | flanged | END CONNECTION TYPE |
| 016a | End conn termn type | flangeless | END CONNECTION TYPE |
| 016a | End conn termn type | sep flg | END CONNECTION TYPE |
| 016a | End conn termn type | threaded | END CONNECTION TYPE |
| 016a | End conn termn type | wafer | END CONNECTION TYPE |
| 016a | End conn termn type | welded | END CONNECTION TYPE |
| 016b | Connection termn style | BW |  |
| 016b | Connection termn style | FF |  |
| 016b | Connection termn style | grayloc |  |
| 016b | Connection termn style | NPT(F) |  |
| 016b | Connection termn style | NPT(M) |  |
| 016b | Connection termn style | RF |  |
| 016b | Connection termn style | RTJ |  |
| 016b | Connection termn style | sanitary |  |
| 016b | Connection termn style | SW(F) |  |
| 016b | Connection termn style | T&G |  |
| 017 | Flange facing finish | 125-250 Ra | FLANGE FACING FINISH |
| 017 | Flange facing finish | 250-500 Ra | FLANGE FACING FINISH |
| 017 | Flange facing finish | ANSI B 16.5 | FLANGE FACING FINISH |
| 017 | Flange facing finish | manufacturer standard | FLANGE FACING FINISH |
| 017 | Flange facing finish | NA | FLANGE FACING FINISH |
| 018 | Shaft seal type | braided rings |  |
| 018 | Shaft seal type | NA |  |
| 018 | Shaft seal type | pressure energized |  |
| 018 | Shaft seal type | standard square packing |  |
| 018 | Shaft seal type | standard V-ring |  |
| 018 | Shaft seal type | twin packing w/lantern |  |
| 018 | Shaft seal type | twin square packing |  |
| 018 | Shaft seal type | twin V-ring |  |
| 018 | Shaft seal type | twin V-ring w/latern ring |  |
| 018 | Shaft seal type | vacuum V-rings |  |
| 018 | Shaft seal type | vacuum V-rings w/lantern |  |
| 019 | Face-to-face standard | ANSI B16.10 (short) |  |
| 019 | Face-to-face standard | DIN EN 558 T1 |  |
| 019 | Face-to-face standard | ISA S75.15 |  |
| 019 | Face-to-face standard | ISA S75.20 (long) |  |
| 019 | Face-to-face standard | manufacturer standard |  |
| 019 | Face-to-face standard | NA |  |
| 020 | Yoke boss diameter | 1.250 |  |
| 020 | Yoke boss diameter | 2.125 |  |
| 020 | Yoke boss diameter | 2.250 |  |
| 020u | Yoke boss diameter units | in | UNITS |
| 020u | Yoke boss diameter units | mm | UNITS |
| 021 | Body and bonnet material | 1 1/4 Cr,1/2 Moly | MATERIAL |
| 021 | Body and bonnet material | 2 1/4 Cr,1 Moly | MATERIAL |
| 021 | Body and bonnet material | 304 SST | MATERIAL |
| 021 | Body and bonnet material | 304L SST | MATERIAL |
| 021 | Body and bonnet material | 3-1/2 Nickel | MATERIAL |
| 021 | Body and bonnet material | 316 SST | MATERIAL |
| 021 | Body and bonnet material | 316L SST | MATERIAL |
| 021 | Body and bonnet material | 347 SST | MATERIAL |
| 021 | Body and bonnet material | 5 Cr,1/2 Moly | MATERIAL |
| 021 | Body and bonnet material | 9 Cr,1 Moly | MATERIAL |
| 021 | Body and bonnet material | alloy 20 | MATERIAL |
| 021 | Body and bonnet material | alloy Steel,Cr Moly | MATERIAL |
| 021 | Body and bonnet material | aluminum | MATERIAL |
| 021 | Body and bonnet material | bronze | MATERIAL |
| 021 | Body and bonnet material | carbon steel | MATERIAL |
| 021 | Body and bonnet material | carbon steel,1/2 Moly | MATERIAL |
| 021 | Body and bonnet material | cast iron | MATERIAL |
| 021 | Body and bonnet material | ductile iron | MATERIAL |
| 021 | Body and bonnet material | hastelloy B | MATERIAL |
| 021 | Body and bonnet material | hastelloy C | MATERIAL |
| 021 | Body and bonnet material | inconel 600 | MATERIAL |
| 021 | Body and bonnet material | monel 400 | MATERIAL |
| 021 | Body and bonnet material | NA | MATERIAL |
| 021 | Body and bonnet material | nickel | MATERIAL |
| 021 | Body and bonnet material | titanium | MATERIAL |
| 022 | Lining material | buna N | MATERIAL |
| 022 | Lining material | NA | MATERIAL |
| 022 | Lining material | nordel (EPDM) | MATERIAL |
| 022 | Lining material | PFA | MATERIAL |
| 023 | Body/Bonnet bolting matl | high strength | BOLTING |
| 023 | Body/Bonnet bolting matl | low strength | BOLTING |
| 023 | Body/Bonnet bolting matl | NA | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B16/SA-194-4 | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B16/SA-194-7 | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B7/SA-194-2H | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B7/SA-194-7 | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B8M/SA-194-8 SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B8M/SA-194-8M SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-320-B8/SA-194-8 SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-320-L7/SA-194-4 SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SAE grade 5 | BOLTING |
| 024 | Packing flg bolting matl | alloy 20 | BOLTING |
| 024 | Packing flg bolting matl | hastelloy B2 | BOLTING |
| 024 | Packing flg bolting matl | hastelloy C276 | BOLTING |
| 024 | Packing flg bolting matl | low strength | BOLTING |
| 024 | Packing flg bolting matl | monel 400 | BOLTING |
| 024 | Packing flg bolting matl | NA | BOLTING |
| 024 | Packing flg bolting matl | stainless steel | BOLTING |
| 025 | Gasket material | 304 SST/AFG | MATERIAL |
| 025 | Gasket material | 304 SST/Asbestos | MATERIAL |
| 025 | Gasket material | 316 SST/AFG | MATERIAL |
| 025 | Gasket material | 316 SST/Asbestos | MATERIAL |
| 025 | Gasket material | 316 SST/Grafoil | MATERIAL |
| 025 | Gasket material | 316 SST/Teflon | MATERIAL |
| 025 | Gasket material | grafoil | MATERIAL |
| 025 | Gasket material | grafoil® | MATERIAL |
| 025 | Gasket material | inconel | MATERIAL |
| 025 | Gasket material | inconel 600/graphite | MATERIAL |
| 025 | Gasket material | inconel® | MATERIAL |
| 025 | Gasket material | kel-F | MATERIAL |
| 025 | Gasket material | kel-F® | MATERIAL |
| 025 | Gasket material | NA | MATERIAL |
| 025 | Gasket material | PTFE | MATERIAL |
| 025 | Gasket material | teflon (FEP) | MATERIAL |
| 025 | Gasket material | teflon (TFE) | MATERIAL |
| 026 | Packing material | asbestos | MATERIAL |
| 026 | Packing material | asbestos-Free-Packing | MATERIAL |
| 026 | Packing material | braided PTFE | MATERIAL |
| 026 | Packing material | buna N | MATERIAL |
| 026 | Packing material | carbon-filled PTFE | MATERIAL |
| 026 | Packing material | crane 187-1 | MATERIAL |
| 026 | Packing material | glass-filled teflon | MATERIAL |
| 026 | Packing material | grafoil | MATERIAL |
| 026 | Packing material | grafoil® | MATERIAL |
| 026 | Packing material | graphite | MATERIAL |
| 026 | Packing material | graphite ribbon/filament | MATERIAL |
| 026 | Packing material | graphite/AFP | MATERIAL |
| 026 | Packing material | NA | MATERIAL |
| 026 | Packing material | PTFE | MATERIAL |
| 026 | Packing material | PTFE composition | MATERIAL |
| 026 | Packing material | PTFE-Graphite | MATERIAL |
| 026 | Packing material | teflon | MATERIAL |
| 026 | Packing material | teflon/AFP | MATERIAL |
| 026 | Packing material | teflon® | MATERIAL |
| 027a | Defined attribute 1 name | end extensions | DEFINABLE ATTRIBUTE NAME |
| 027a | Defined attribute 1 name | end termination material | DEFINABLE ATTRIBUTE NAME |
| 027a | Defined attribute 1 name | Fireproof design type | DEFINABLE ATTRIBUTE NAME |
| 027a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 027a | Defined attribute 1 name | stem facing | DEFINABLE ATTRIBUTE NAME |
| 027b | Defined attribute 1 data | 316 SST | DEFINABLE ATTRIBUTE VALUE |
| 027b | Defined attribute 1 data | carbon steel | DEFINABLE ATTRIBUTE VALUE |
| 027b | Defined attribute 1 data | manufacturer standard | DEFINABLE ATTRIBUTE VALUE |
| 027b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 027b | Defined attribute 1 data | stellite stem coating | DEFINABLE ATTRIBUTE VALUE |
| 028a | Defined attribute 2 name | heating/cooling type | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 2 name | lub & Isolation valve | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 2 data | isolation valve | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 2 data | jacketed body | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 2 data | lubricator | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 2 data | tap and plug only | DEFINABLE ATTRIBUTE VALUE |
| 029 | VALVE TRIM | SECTION TITLE |  |
| 030 | Closure member type | characterized disk | CLOSURE MEMBER |
| 030 | Closure member type | cylindrical | CLOSURE MEMBER |
| 030 | Closure member type | disk | CLOSURE MEMBER |
| 030 | Closure member type | eccentric rotary plug | CLOSURE MEMBER |
| 030 | Closure member type | eccentric spherical disk | CLOSURE MEMBER |
| 030 | Closure member type | full ball | CLOSURE MEMBER |
| 030 | Closure member type | plug | CLOSURE MEMBER |
| 030 | Closure member type | segmented ball | CLOSURE MEMBER |
| 030 | Closure member type | tapered | CLOSURE MEMBER |
| 031 | Trim style | erosion resistant |  |
| 031 | Trim style | NA |  |
| 031 | Trim style | reduced port |  |
| 031 | Trim style | soft seated |  |
| 032 | Inherent characteristic | characterized | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | equal percentage | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | linear | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | modified equal percentage | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | modified linear | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | modified parabolic | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | NA | VALVE TRIM INHERENT CHARACTER |
| 033 | Seal ring type | clamped-in |  |
| 033 | Seal ring type | downstream seating |  |
| 033 | Seal ring type | dual sealing |  |
| 033 | Seal ring type | flow ring |  |
| 033 | Seal ring type | hd Composition |  |
| 033 | Seal ring type | integral |  |
| 033 | Seal ring type | metal |  |
| 033 | Seal ring type | NA |  |
| 033 | Seal ring type | reversible |  |
| 033 | Seal ring type | soft seat |  |
| 033 | Seal ring type | spring loaded |  |
| 033 | Seal ring type | upstream seating |  |
| 034 | Flow direction force | bi-directional | FLOW DIRECTION FORCE |
| 034 | Flow direction force | flow-to-close (reverse) | FLOW DIRECTION FORCE |
| 034 | Flow direction force | flow-to-open (forward) | FLOW DIRECTION FORCE |
| 034 | Flow direction force | NA | FLOW DIRECTION FORCE |
| 035a | Shaft diameter | .312 |  |
| 035a | Shaft diameter | .375 |  |
| 035a | Shaft diameter | .500 |  |
| 035a | Shaft diameter | .56 |  |
| 035a | Shaft diameter | .625 |  |
| 035a | Shaft diameter | .75 |  |
| 035a | Shaft diameter | .80 |  |
| 035a | Shaft diameter | .875 |  |
| 035a | Shaft diameter | 1.00 |  |
| 035a | Shaft diameter | 1.125 |  |
| 035a | Shaft diameter | 1.25 |  |
| 035a | Shaft diameter | 1.50 |  |
| 035a | Shaft diameter | 12.7 |  |
| 035a | Shaft diameter | 15.9 |  |
| 035a | Shaft diameter | 19.1 |  |
| 035a | Shaft diameter | 2.00 |  |
| 035a | Shaft diameter | 2.25 |  |
| 035a | Shaft diameter | 25.4 |  |
| 035a | Shaft diameter | 3.00 |  |
| 035a | Shaft diameter | 31.8 |  |
| 035a | Shaft diameter | 38.1 |  |
| 035a | Shaft diameter | 9.5 |  |
| 035au | Shaft diameter units | in | UNITS |
| 035au | Shaft diameter units | mm | UNITS |
| 035b | Rated travel | 60 | RATED TRAVEL |
| 035b | Rated travel | 90 | RATED TRAVEL |
| 035bu | Travel units | ° | UNITS |
| 035bu | Travel units | degree | UNITS |
| 036 | Closure member material | 17-4 pH SST | MATERIAL |
| 036 | Closure member material | 304 SST | MATERIAL |
| 036 | Closure member material | 316 SST | MATERIAL |
| 036 | Closure member material | 316 SST/Alloy 6 | MATERIAL |
| 036 | Closure member material | 316 SST/Ceramic | MATERIAL |
| 036 | Closure member material | 316 SST/CoCr-A | MATERIAL |
| 036 | Closure member material | 316 SST/Cr pltg | MATERIAL |
| 036 | Closure member material | 316L SST | MATERIAL |
| 036 | Closure member material | 316L SST/CoCr-A | MATERIAL |
| 036 | Closure member material | 317 SST/CoCr | MATERIAL |
| 036 | Closure member material | 410 SST | MATERIAL |
| 036 | Closure member material | 416 SST | MATERIAL |
| 036 | Closure member material | 420 SST | MATERIAL |
| 036 | Closure member material | 440C SST | MATERIAL |
| 036 | Closure member material | alloy 20 | MATERIAL |
| 036 | Closure member material | alloy 6 | MATERIAL |
| 036 | Closure member material | alloy 6/VTC Ceramic | MATERIAL |
| 036 | Closure member material | alloy K500 (K-Monel) | MATERIAL |
| 036 | Closure member material | bronze | MATERIAL |
| 036 | Closure member material | carbon steel | MATERIAL |
| 036 | Closure member material | cast iron | MATERIAL |
| 036 | Closure member material | CN7M Ni-Alloy | MATERIAL |
| 036 | Closure member material | ductile iron | MATERIAL |
| 036 | Closure member material | hastelloy B | MATERIAL |
| 036 | Closure member material | hastelloy C | MATERIAL |
| 036 | Closure member material | inconel 600 | MATERIAL |
| 036 | Closure member material | monel | MATERIAL |
| 036 | Closure member material | monel 400 | MATERIAL |
| 036 | Closure member material | monel® | MATERIAL |
| 036 | Closure member material | NA | MATERIAL |
| 036 | Closure member material | nickel | MATERIAL |
| 036 | Closure member material | PTFE reinforced | MATERIAL |
| 036 | Closure member material | titanium | MATERIAL |
| 036 | Closure member material | VTC Ceramic | MATERIAL |
| 037 | Seal ring material | 17-4 pH SST | MATERIAL |
| 037 | Seal ring material | 17-4 pH SST,H900 | MATERIAL |
| 037 | Seal ring material | 304L SST | MATERIAL |
| 037 | Seal ring material | 316 SST | MATERIAL |
| 037 | Seal ring material | 316 SST/CoCr-A | MATERIAL |
| 037 | Seal ring material | 316 SST/Monel | MATERIAL |
| 037 | Seal ring material | 316 SST/PTFE | MATERIAL |
| 037 | Seal ring material | 316/CoCr-A | MATERIAL |
| 037 | Seal ring material | 316/CoCr-A/PTFE | MATERIAL |
| 037 | Seal ring material | 316L SST | MATERIAL |
| 037 | Seal ring material | 316L SST/CoCr-A | MATERIAL |
| 037 | Seal ring material | 410 SST | MATERIAL |
| 037 | Seal ring material | 416 SST | MATERIAL |
| 037 | Seal ring material | 440C SST | MATERIAL |
| 037 | Seal ring material | alloy 20 | MATERIAL |
| 037 | Seal ring material | alloy 6 | MATERIAL |
| 037 | Seal ring material | alloy 6/PTFE | MATERIAL |
| 037 | Seal ring material | alloy K500 (K-Monel) | MATERIAL |
| 037 | Seal ring material | alloy K500 (K-Monel)/PTFE | MATERIAL |
| 037 | Seal ring material | bronze | MATERIAL |
| 037 | Seal ring material | glass reinforced TFE | MATERIAL |
| 037 | Seal ring material | hastelloy B2 | MATERIAL |
| 037 | Seal ring material | hastelloy C | MATERIAL |
| 037 | Seal ring material | inconel | MATERIAL |
| 037 | Seal ring material | inconel® | MATERIAL |
| 037 | Seal ring material | kel-F | MATERIAL |
| 037 | Seal ring material | kel-F® | MATERIAL |
| 037 | Seal ring material | monel 400 | MATERIAL |
| 037 | Seal ring material | NA | MATERIAL |
| 037 | Seal ring material | nickel | MATERIAL |
| 037 | Seal ring material | NiCr-6 | MATERIAL |
| 037 | Seal ring material | nitrile | MATERIAL |
| 037 | Seal ring material | ohm polyethylene | MATERIAL |
| 037 | Seal ring material | PEEK | MATERIAL |
| 037 | Seal ring material | PEEK® | MATERIAL |
| 037 | Seal ring material | PTFE | MATERIAL |
| 037 | Seal ring material | PTFE carbon filled | MATERIAL |
| 037 | Seal ring material | PTFE/316 SST | MATERIAL |
| 037 | Seal ring material | teflon | MATERIAL |
| 037 | Seal ring material | teflon/Viton O ring | MATERIAL |
| 037 | Seal ring material | teflon® | MATERIAL |
| 037 | Seal ring material | titanium | MATERIAL |
| 037 | Seal ring material | tungsten | MATERIAL |
| 038 | Shaft material | 17-4 pH SST | MATERIAL |
| 038 | Shaft material | 17-4 pH SST double H1150 | MATERIAL |
| 038 | Shaft material | 17-4 pH SST H1050 | MATERIAL |
| 038 | Shaft material | 17-4 pH SST H900 | MATERIAL |
| 038 | Shaft material | 304 SST | MATERIAL |
| 038 | Shaft material | 304L SST | MATERIAL |
| 038 | Shaft material | 316 SST | MATERIAL |
| 038 | Shaft material | 316 SST annealed | MATERIAL |
| 038 | Shaft material | 316 SST chromium coated | MATERIAL |
| 038 | Shaft material | 660 SST | MATERIAL |
| 038 | Shaft material | 660 SST chromium coated | MATERIAL |
| 038 | Shaft material | alloy 20 | MATERIAL |
| 038 | Shaft material | alloy 718 | MATERIAL |
| 038 | Shaft material | alloy K500 (K-Monel) | MATERIAL |
| 038 | Shaft material | hastelloy B | MATERIAL |
| 038 | Shaft material | hastelloy C | MATERIAL |
| 038 | Shaft material | inconel | MATERIAL |
| 038 | Shaft material | inconel® | MATERIAL |
| 038 | Shaft material | monel 400 | MATERIAL |
| 038 | Shaft material | NA | MATERIAL |
| 038 | Shaft material | nickel | MATERIAL |
| 038 | Shaft material | nitronic 50 SST | MATERIAL |
| 038 | Shaft material | XM-19 SST | MATERIAL |
| 039 | Flow ring material |  | MATERIAL |
| 040 | Guide/Retainer material | 17-4 pH SST | MATERIAL |
| 040 | Guide/Retainer material | 316 SST | MATERIAL |
| 040 | Guide/Retainer material | 316 SST/Alloy 6 | MATERIAL |
| 040 | Guide/Retainer material | 316 SST/VTC Ceramic | MATERIAL |
| 040 | Guide/Retainer material | 316L SST | MATERIAL |
| 040 | Guide/Retainer material | 410 SST | MATERIAL |
| 040 | Guide/Retainer material | 416 SST | MATERIAL |
| 040 | Guide/Retainer material | alloy 20 | MATERIAL |
| 040 | Guide/Retainer material | alloy 6 | MATERIAL |
| 040 | Guide/Retainer material | alloy 6/VTC | MATERIAL |
| 040 | Guide/Retainer material | carbon steel | MATERIAL |
| 040 | Guide/Retainer material | hastelloy B2 | MATERIAL |
| 040 | Guide/Retainer material | hastelloy C | MATERIAL |
| 040 | Guide/Retainer material | inconel 718 | MATERIAL |
| 040 | Guide/Retainer material | monel 400 | MATERIAL |
| 040 | Guide/Retainer material | NA | MATERIAL |
| 040 | Guide/Retainer material | nickel | MATERIAL |
| 040 | Guide/Retainer material | titanium | MATERIAL |
| 041 | Guide bushing material | 17-4 pH SST | MATERIAL |
| 041 | Guide bushing material | 304 SST/TFE | MATERIAL |
| 041 | Guide bushing material | 316L SST/PTFE | MATERIAL |
| 041 | Guide bushing material | 416 SST heat treated | MATERIAL |
| 041 | Guide bushing material | 440C SST | MATERIAL |
| 041 | Guide bushing material | alloy 20 | MATERIAL |
| 041 | Guide bushing material | alloy 6 | MATERIAL |
| 041 | Guide bushing material | alloy K500 (K-Monel) | MATERIAL |
| 041 | Guide bushing material | bronze | MATERIAL |
| 041 | Guide bushing material | bronze/TFE | MATERIAL |
| 041 | Guide bushing material | coCr-A | MATERIAL |
| 041 | Guide bushing material | filament glass/TFE | MATERIAL |
| 041 | Guide bushing material | hastelloy C | MATERIAL |
| 041 | Guide bushing material | NA | MATERIAL |
| 041 | Guide bushing material | nitronic 60 | MATERIAL |
| 041 | Guide bushing material | nylon | MATERIAL |
| 041 | Guide bushing material | PTFE glass filled | MATERIAL |
| 041 | Guide bushing material | stellite no 6 | MATERIAL |
| 041 | Guide bushing material | teflon/fiberglass | MATERIAL |
| 042 | Hard facing/coating | alloy 6 plug surface | HARD FACING |
| 042 | Hard facing/coating | colmonoy | HARD FACING |
| 042 | Hard facing/coating | NA | HARD FACING |
| 042 | Hard facing/coating | stellite full contour | HARD FACING |
| 042 | Hard facing/coating | stellite guide area | HARD FACING |
| 042 | Hard facing/coating | stellite seat full bore | HARD FACING |
| 042 | Hard facing/coating | stellite seat surface | HARD FACING |
| 042 | Hard facing/coating | tungsten carbide | HARD FACING |
| 043a | Defined attribute 1 name | Fire proof protection | DEFINABLE ATTRIBUTE NAME |
| 043a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 043b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 044a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 044b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 045 | GEAR REDUCER | SECTION TITLE |  |
| 046 | Gear reducer type | external spur gear |  |
| 046 | Gear reducer type | external worm gear |  |
| 046 | Gear reducer type | integral worm gear |  |
| 046 | Gear reducer type | internal spur gear |  |
| 047 | Position lock style | NA |  |
| 047 | Position lock style | self-locking gear ratios |  |
| 048 | Nominal size |  | NOMINAL SIZE |
| 049a | Mounting base nom size | F03 |  |
| 049a | Mounting base nom size | F05 |  |
| 049a | Mounting base nom size | F07 |  |
| 049a | Mounting base nom size | F10 |  |
| 049a | Mounting base nom size | F12 |  |
| 049a | Mounting base nom size | F14 |  |
| 049a | Mounting base nom size | F16 |  |
| 049a | Mounting base nom size | F25 |  |
| 049a | Mounting base nom size | F30 |  |
| 049a | Mounting base nom size | FA05 |  |
| 049a | Mounting base nom size | FA07 |  |
| 049a | Mounting base nom size | FA10 |  |
| 049a | Mounting base nom size | FA12 |  |
| 049a | Mounting base nom size | FA14 |  |
| 049a | Mounting base nom size | FA16 |  |
| 049a | Mounting base nom size | FA19 |  |
| 049a | Mounting base nom size | FA25 |  |
| 049a | Mounting base nom size | FA30 |  |
| 049a | Mounting base standard | imperial |  |
| 049a | Mounting base standard | NA |  |
| 049b | Mounting base standard | ISO 5210 |  |
| 049b | Mounting base standard | ISO 5211 |  |
| 049b | Mounting base standard | MSS SP-101 |  |
| 049b | Mounting base standard | MSS SP-102 |  |
| 050 | Output nominal speed | 100 rpm |  |
| 050 | Output nominal speed | 110 rpm |  |
| 050 | Output nominal speed | 115 rpm |  |
| 050 | Output nominal speed | 127 rpm |  |
| 050 | Output nominal speed | 131 rpm |  |
| 050 | Output nominal speed | 143 rpm |  |
| 050 | Output nominal speed | 144 rpm |  |
| 050 | Output nominal speed | 1444 rpm |  |
| 050 | Output nominal speed | 15 rpm |  |
| 050 | Output nominal speed | 155 rpm |  |
| 050 | Output nominal speed | 165 rpm |  |
| 050 | Output nominal speed | 170 rpm |  |
| 050 | Output nominal speed | 173 rpm |  |
| 050 | Output nominal speed | 18 rpm |  |
| 050 | Output nominal speed | 192 rpm |  |
| 050 | Output nominal speed | 200 rpm |  |
| 050 | Output nominal speed | 21 rpm |  |
| 050 | Output nominal speed | 22 rpm |  |
| 050 | Output nominal speed | 230 rpm |  |
| 050 | Output nominal speed | 24 rpm |  |
| 050 | Output nominal speed | 26 rpm |  |
| 050 | Output nominal speed | 29 rpm |  |
| 050 | Output nominal speed | 33 rpm |  |
| 050 | Output nominal speed | 36 rpm |  |
| 050 | Output nominal speed | 40 rpm |  |
| 050 | Output nominal speed | 43 rpm |  |
| 050 | Output nominal speed | 48 rpm |  |
| 050 | Output nominal speed | 52 rpm |  |
| 050 | Output nominal speed | 57 rpm |  |
| 050 | Output nominal speed | 65 rpm |  |
| 050 | Output nominal speed | 72 rpm |  |
| 050 | Output nominal speed | 77 rpm |  |
| 050 | Output nominal speed | 84 rpm |  |
| 050 | Output nominal speed | 86 rpm |  |
| 050 | Output nominal speed | 96 rpm |  |
| 051 | Handwheel gear ratio | 1:1 |  |
| 051 | Handwheel gear ratio | 12:1 |  |
| 051 | Handwheel gear ratio | 13.5:1 |  |
| 051 | Handwheel gear ratio | 15:1 |  |
| 051 | Handwheel gear ratio | 16:1 |  |
| 051 | Handwheel gear ratio | 18:1 |  |
| 051 | Handwheel gear ratio | 22.5:1 |  |
| 051 | Handwheel gear ratio | 22:1 |  |
| 051 | Handwheel gear ratio | 24:1 |  |
| 051 | Handwheel gear ratio | 270:1 |  |
| 051 | Handwheel gear ratio | 28:1 |  |
| 051 | Handwheel gear ratio | 30:1 |  |
| 051 | Handwheel gear ratio | 32:1 |  |
| 051 | Handwheel gear ratio | 44:1 |  |
| 051 | Handwheel gear ratio | 45:1 |  |
| 051 | Handwheel gear ratio | 48:1 |  |
| 051 | Handwheel gear ratio | 71:1 |  |
| 051 | Handwheel gear ratio | 8:1 |  |
| 051 | Handwheel gear ratio | 89.3:1 |  |
| 052 | Gearbox ratio | 122:1 |  |
| 052 | Gearbox ratio | 259:1 |  |
| 052 | Gearbox ratio | 292:1 |  |
| 052 | Gearbox ratio | 324.8:1 |  |
| 052 | Gearbox ratio | 325:1 |  |
| 052 | Gearbox ratio | 410:1 |  |
| 052 | Gearbox ratio | 492:1 |  |
| 052 | Gearbox ratio | 50:1 |  |
| 052 | Gearbox ratio | 60:1 |  |
| 052 | Gearbox ratio | 65:1 |  |
| 052 | Gearbox ratio | 68:1 |  |
| 052 | Gearbox ratio | 70:1 |  |
| 052 | Gearbox ratio | 700:1 |  |
| 052 | Gearbox ratio | 702:1 |  |
| 052 | Gearbox ratio | 72:1 |  |
| 053a | Rated output torque |  |  |
| 053au | Rated torque units | ft.lbf |  |
| 053au | Rated torque units | in.lbf |  |
| 053au | Rated torque units | N.m |  |
| 053b | Rated output thrust |  |  |
| 053bu | Rated thrust units | kg |  |
| 053bu | Rated thrust units | kN |  |
| 053bu | Rated thrust units | lbf |  |
| 053bu | Rated thrust units | N |  |
| 054 | 90 degree travel time | 10 |  |
| 054 | 90 degree travel time | 12 |  |
| 054 | 90 degree travel time | 120 |  |
| 054 | 90 degree travel time | 13 |  |
| 054 | 90 degree travel time | 15 |  |
| 054 | 90 degree travel time | 17 |  |
| 054 | 90 degree travel time | 18 |  |
| 054 | 90 degree travel time | 20 |  |
| 054 | 90 degree travel time | 22 |  |
| 054 | 90 degree travel time | 23 |  |
| 054 | 90 degree travel time | 24 |  |
| 054 | 90 degree travel time | 26 |  |
| 054 | 90 degree travel time | 27 |  |
| 054 | 90 degree travel time | 30 |  |
| 054 | 90 degree travel time | 36 |  |
| 054 | 90 degree travel time | 45 |  |
| 054 | 90 degree travel time | 5 |  |
| 054 | 90 degree travel time | 54 |  |
| 054 | 90 degree travel time | 60 |  |
| 054 | 90 degree travel time | 8 |  |
| 054 | 90 degree travel time | 9 |  |
| 054u | Travel time units | s | UNITS |
| 055 | Manual operator type | 2 inch square wrench nut |  |
| 055 | Manual operator type | declutchable handwheel |  |
| 055 | Manual operator type | handcrank |  |
| 055 | Manual operator type | lever |  |
| 055 | Manual operator type | NA |  |
| 055 | Manual operator type | non-clutch handwheel |  |
| 055 | Manual operator type | non-clutch lever |  |
| 056 | Stem coupling style | double-compensating |  |
| 056 | Stem coupling style | extended bushing |  |
| 056 | Stem coupling style | extended nut |  |
| 056 | Stem coupling style | fixed bore keyway bushing |  |
| 056 | Stem coupling style | non-thrust base |  |
| 056 | Stem coupling style | non-thrust base-ext reach |  |
| 056 | Stem coupling style | non-thrust center column |  |
| 056 | Stem coupling style | single-compensating |  |
| 056 | Stem coupling style | splined bushing |  |
| 056 | Stem coupling style | splined stem nut |  |
| 056 | Stem coupling style | standard bushing |  |
| 056 | Stem coupling style | standard center column |  |
| 056 | Stem coupling style | thrust base standard nut |  |
| 056 | Stem coupling style | thrust base-ext reach |  |
| 056 | Stem coupling style | variable bore and key |  |
| 057 | Max stem capacity | 0.75 in |  |
| 057 | Max stem capacity | 0.91 in |  |
| 057 | Max stem capacity | 1 1/2 in |  |
| 057 | Max stem capacity | 1 1/4 in |  |
| 057 | Max stem capacity | 1 1/8 in |  |
| 057 | Max stem capacity | 1 3/4 in |  |
| 057 | Max stem capacity | 1 5/8 in |  |
| 057 | Max stem capacity | 1 in |  |
| 057 | Max stem capacity | 1.25 in |  |
| 057 | Max stem capacity | 1.26 in |  |
| 057 | Max stem capacity | 1.375 in |  |
| 057 | Max stem capacity | 1.56 in |  |
| 057 | Max stem capacity | 1.57 in |  |
| 057 | Max stem capacity | 1.75 in |  |
| 057 | Max stem capacity | 1.78 in |  |
| 057 | Max stem capacity | 1.94 in |  |
| 057 | Max stem capacity | 100 mm |  |
| 057 | Max stem capacity | 120 mm |  |
| 057 | Max stem capacity | 127 mm |  |
| 057 | Max stem capacity | 13/16 in |  |
| 057 | Max stem capacity | 159 mm |  |
| 057 | Max stem capacity | 19 mm |  |
| 057 | Max stem capacity | 2 1/3 in |  |
| 057 | Max stem capacity | 2 1/4 in |  |
| 057 | Max stem capacity | 2 1/8 in |  |
| 057 | Max stem capacity | 2 3/4 in |  |
| 057 | Max stem capacity | 2 5/8 in |  |
| 057 | Max stem capacity | 2 7/8 in |  |
| 057 | Max stem capacity | 2 in |  |
| 057 | Max stem capacity | 2.2 in |  |
| 057 | Max stem capacity | 2.25 in |  |
| 057 | Max stem capacity | 2.36 in |  |
| 057 | Max stem capacity | 2.375 in |  |
| 057 | Max stem capacity | 2.625 in |  |
| 057 | Max stem capacity | 2.64 in |  |
| 057 | Max stem capacity | 2.875 in |  |
| 057 | Max stem capacity | 2.88 in |  |
| 057 | Max stem capacity | 20 mm |  |
| 057 | Max stem capacity | 22 mm |  |
| 057 | Max stem capacity | 25.4 mm |  |
| 057 | Max stem capacity | 26 mm |  |
| 057 | Max stem capacity | 3.25 in |  |
| 057 | Max stem capacity | 3.5 in |  |
| 057 | Max stem capacity | 3/4 in |  |
| 057 | Max stem capacity | 30 mm |  |
| 057 | Max stem capacity | 32 mm |  |
| 057 | Max stem capacity | 38 mm |  |
| 057 | Max stem capacity | 40 mm |  |
| 057 | Max stem capacity | 41 mm |  |
| 057 | Max stem capacity | 42 mm |  |
| 057 | Max stem capacity | 44 mm |  |
| 057 | Max stem capacity | 45 mm |  |
| 057 | Max stem capacity | 46 mm |  |
| 057 | Max stem capacity | 5 in |  |
| 057 | Max stem capacity | 5/8 in |  |
| 057 | Max stem capacity | 50 mm |  |
| 057 | Max stem capacity | 51 mm |  |
| 057 | Max stem capacity | 54 mm |  |
| 057 | Max stem capacity | 55 mm |  |
| 057 | Max stem capacity | 57 mm |  |
| 057 | Max stem capacity | 6.25 in |  |
| 057 | Max stem capacity | 60 mm |  |
| 057 | Max stem capacity | 64 mm |  |
| 057 | Max stem capacity | 66 mm |  |
| 057 | Max stem capacity | 67 mm |  |
| 057 | Max stem capacity | 70 mm |  |
| 057 | Max stem capacity | 73 mm |  |
| 057 | Max stem capacity | 76 mm |  |
| 057 | Max stem capacity | 80 mm |  |
| 057 | Max stem capacity | 89 mm |  |
| 058 | Handwheel diameter | 10 |  |
| 058 | Handwheel diameter | 12 |  |
| 058 | Handwheel diameter | 152 |  |
| 058 | Handwheel diameter | 18 |  |
| 058 | Handwheel diameter | 24 |  |
| 058 | Handwheel diameter | 30 |  |
| 058 | Handwheel diameter | 305 |  |
| 058 | Handwheel diameter | 6 |  |
| 058u | Handwheel diameter units | in |  |
| 058u | Handwheel diameter units | mm |  |
| 058u | Handwheel diameter units | NA |  |
| 059 | Handwheel orientation | NA |  |
| 059 | Handwheel orientation | side-mounted |  |
| 059 | Handwheel orientation | top-mounted |  |
| 060 | Travel stops | adjustable mechanical |  |
| 060 | Travel stops | NA |  |
| 061 | Worm/Spur material | alloy steel |  |
| 061 | Worm/Spur material | hardened steel |  |
| 061 | Worm/Spur material | heat-treated steel |  |
| 062 | Worm/Helical gear matl | alloy bronze |  |
| 062 | Worm/Helical gear matl | aluminum-bronze |  |
| 062 | Worm/Helical gear matl | ductile iron |  |
| 062 | Worm/Helical gear matl | heat-treated steel |  |
| 063 | Housing material | epoxy coated cast iron | MATERIAL |
| 063 | Housing material | powder-coated alumimum | MATERIAL |
| 063 | Housing material | powder-coated cast iron | MATERIAL |
| 063 | Housing material | prime coated cast iron | MATERIAL |
| 063 | Housing material | resin coated cast iron | MATERIAL |
| 064 | Bushing/Coupling/Nut matl | alloy bronze |  |
| 064 | Bushing/Coupling/Nut matl | steel |  |
| 065 | Lubricant material | Dextron 2 |  |
| 065 | Lubricant material | Exxon EP-0 |  |
| 065 | Lubricant material | Exxon EP-00 |  |
| 065 | Lubricant material | Hydra lube GB |  |
| 065 | Lubricant material | SAE 80/90 EP |  |
| 065 | Lubricant material | synthetic oil |  |
| 066a | User definable name 1 | Exterior finish color |  |
| 066a | User definable name 1 | NA |  |
| 066a | User definable name 1 | Position indicator |  |
| 066b | User definable value 1 | arrow pointer |  |
| 066b | User definable value 1 | NA |  |
| 066b | User definable value 1 | silver grey |  |
| 067a | User definable name 2 | Handwheel material |  |
| 067a | User definable name 2 | NA |  |
| 067b | User definable value 2 | cast alumimum |  |
| 067b | User definable value 2 | ductile iron |  |
| 067b | User definable value 2 | fabricated steel |  |
| 067b | User definable value 2 | NA |  |
| 068 | ACTUATOR | SECTION TITLE |  |
| 069 | Actuator type | multi-turn actuator |  |
| 069 | Actuator type | quarter-turn actuator |  |
| 070 | Motor style | brushless stepper motor |  |
| 070 | Motor style | capacitor start/run |  |
| 070 | Motor style | squirrel cage |  |
| 070 | Motor style | standard induction motor |  |
| 071a | Motor nominal speed | 1450 rpm |  |
| 071a | Motor nominal speed | 1500 rpm |  |
| 071a | Motor nominal speed | 1720 rpm |  |
| 071a | Motor nominal speed | 1800 rpm |  |
| 071a | Motor nominal speed | 3000 rpm |  |
| 071a | Motor nominal speed | 3600 rpm |  |
| 071a | Motor nominal speed | 6000 rpm |  |
| 071a | Motor nominal speed | 750 rpm |  |
| 071a | Motor nominal speed | 900 rpm |  |
| 071b | Motor number of poles | 2 |  |
| 071b | Motor number of poles | 4 |  |
| 071b | Motor number of poles | 6 |  |
| 071b | Motor number of poles | 8 |  |
| 072 | Power supply | 100 V (ac), 60 Hz |  |
| 072 | Power supply | 110 V (ac), 50 Hz |  |
| 072 | Power supply | 110 V (dc) |  |
| 072 | Power supply | 115 V (ac), 50 Hz |  |
| 072 | Power supply | 115 V (ac), 60 Hz |  |
| 072 | Power supply | 12 V (ac), 60 Hz |  |
| 072 | Power supply | 12 V (dc) |  |
| 072 | Power supply | 120 V (ac), 50 Hz |  |
| 072 | Power supply | 120 V (ac), 50/60 Hz |  |
| 072 | Power supply | 120 V (ac), 60 Hz |  |
| 072 | Power supply | 12-36 V (dc) |  |
| 072 | Power supply | 127 V (ac), 60 Hz |  |
| 072 | Power supply | 200 V (ac), 50 Hz |  |
| 072 | Power supply | 200 V (ac), 60 Hz |  |
| 072 | Power supply | 208 V, (ac) 60 Hz |  |
| 072 | Power supply | 220 V (ac), 50 Hz |  |
| 072 | Power supply | 220 V (ac), 50/60 HZ |  |
| 072 | Power supply | 220 V (ac), 60 Hz |  |
| 072 | Power supply | 230 V (ac), 50 HZ |  |
| 072 | Power supply | 230 V (ac), 60 HZ |  |
| 072 | Power supply | 24 V (ac), 60 Hz |  |
| 072 | Power supply | 24 V (dc) |  |
| 072 | Power supply | 240 V (ac), 50 Hz |  |
| 072 | Power supply | 240 V (ac), 50/60 Hz |  |
| 072 | Power supply | 240 V (ac), 60 Hz |  |
| 072 | Power supply | 24-36 V (dc) |  |
| 072 | Power supply | 380 V (ac), 50 HZ |  |
| 072 | Power supply | 380 V (ac), 50/60 HZ |  |
| 072 | Power supply | 380 V (ac), 60 HZ |  |
| 072 | Power supply | 400 V (ac), 50 HZ |  |
| 072 | Power supply | 400 V (ac), 60 HZ |  |
| 072 | Power supply | 415 V (ac), 50 HZ |  |
| 072 | Power supply | 440 V (ac), 50 HZ |  |
| 072 | Power supply | 440 V (ac), 50/60 HZ |  |
| 072 | Power supply | 440 V (ac), 60 HZ |  |
| 072 | Power supply | 460 V (ac), 60 HZ |  |
| 072 | Power supply | 48 V (dc) |  |
| 072 | Power supply | 480 V (ac), 50 HZ |  |
| 072 | Power supply | 480 V (ac), 60 HZ |  |
| 072 | Power supply | 500 V (ac), 50 HZ |  |
| 072 | Power supply | 525 V (ac), 50 HZ |  |
| 072 | Power supply | 550 V (ac), 50 HZ |  |
| 072 | Power supply | 575 V (ac), 60 HZ |  |
| 072 | Power supply | 590 V (ac), 60 HZ |  |
| 072 | Power supply | 600 V (ac), 60 HZ |  |
| 072 | Power supply | 660 V (ac), 50 HZ |  |
| 072 | Power supply | 660 V (ac), 60 HZ |  |
| 072 | Power supply | 690 V (ac), 50 HZ |  |
| 072 | Power supply | 690 V (ac), 60 HZ |  |
| 073 | Insulation class rating | B |  |
| 073 | Insulation class rating | F |  |
| 073 | Insulation class rating | H |  |
| 073 | Insulation class rating | radiation-resistant |  |
| 074 | Motor phase style | direct current |  |
| 074 | Motor phase style | single-phase |  |
| 074 | Motor phase style | three-phase |  |
| 076 | Motor contactor type | integral reversing |  |
| 076 | Motor contactor type | integral reversing 12 A |  |
| 076 | Motor contactor type | integral reversing 25 A |  |
| 076 | Motor contactor type | integral reversing 50 A |  |
| 076 | Motor contactor type | NA |  |
| 076 | Motor contactor type | solid state reversing |  |
| 077 | Motor thermal protection | 2 cl B thermal contacts |  |
| 077 | Motor thermal protection | built-in thermal overload |  |
| 077 | Motor thermal protection | embedded thermocontacts |  |
| 077 | Motor thermal protection | embedded thermostat |  |
| 077 | Motor thermal protection | NA |  |
| 077 | Motor thermal protection | solid state thermistor |  |
| 078 | Motor phase protection | auto protect & correction |  |
| 078 | Motor phase protection | NA |  |
| 078 | Motor phase protection | single phase protection |  |
| 079a | Defined attribute 1 name | Fireproof design type | DEFINABLE ATTRIBUTE NAME |
| 079a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 079b | Defined attribute 1 data | intumescent coating | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | thermal blanket | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | thermal box | DEFINABLE ATTRIBUTE VALUE |
| 080 | CONTROL MODULE | SECTION TITLE |  |
| 081 | Enclosure type | explosionproof |  |
| 081 | Enclosure type | navy class A |  |
| 081 | Enclosure type | nuclear |  |
| 081 | Enclosure type | submersible |  |
| 081 | Enclosure type | watertight |  |
| 081 | Enclosure type | weatherproof |  |
| 082 | Operation style | direct computer control |  |
| 082 | Operation style | four-wire |  |
| 082 | Operation style | incremental control |  |
| 082 | Operation style | three-wire inching |  |
| 082 | Operation style | three-wire maintained |  |
| 082 | Operation style | two-wire |  |
| 083 | Input signal type | analog current |  |
| 083 | Input signal type | analog current & relays |  |
| 083 | Input signal type | analog voltage |  |
| 083 | Input signal type | digital multi-variable |  |
| 083 | Input signal type | dry contacts |  |
| 084 | Enclosure type no/class | 1,4,6,11 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | 4,4X | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | 4,4X,6 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | 4,6 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | IP65 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | IP67 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | IP68 | ENCLOSURE TYPE NO/CLASS |
| 085 | Control mode | proportional control | CONTROL MODE |
| 085 | Control mode | quarter turn | CONTROL MODE |
| 086 | Digital communication std | DeviceNet |  |
| 086 | Digital communication std | DeviceNet® |  |
| 086 | Digital communication std | FOUNDATION fieldbus |  |
| 086 | Digital communication std | FOUNDATION fieldbus H1 |  |
| 086 | Digital communication std | Modbus |  |
| 086 | Digital communication std | Modbus® |  |
| 086 | Digital communication std | NA |  |
| 086 | Digital communication std | PROFIBUS-DP-V1 |  |
| 086 | Digital communication std | PROFIBUS-PA |  |
| 086 | Digital communication std | RS232C binary/ASCII |  |
| 086 | Digital communication std | RS485 binary/ASCII |  |
| 087 | Internal power supply | 110 V (ac) |  |
| 087 | Internal power supply | 110 V (ac) and 24 V (dc) |  |
| 087 | Internal power supply | 125 V (ac) |  |
| 087 | Internal power supply | 24 V (dc) |  |
| 087 | Internal power supply | NA |  |
| 088 | Space heater type | 120 V (ac) 50/60 Hz |  |
| 088 | Space heater type | 120 V (ac) 60 Hz |  |
| 088 | Space heater type | 230 V (ac) 50 Hz |  |
| 088 | Space heater type | 24 V (dc) |  |
| 088 | Space heater type | 240 V (ac) 50/60 Hz |  |
| 088 | Space heater type | NA |  |
| 089 | Operation style | 2-speed operation |  |
| 089 | Output speed control | NA |  |
| 089 | Output speed control | output speed adjustment |  |
| 089 | Output speed control | pulsed operation |  |
| 090 | Auxiliary control power | NA |  |
| 090 | Auxiliary control power | power device 24 V (dc) |  |
| 090 | Auxiliary control power | terminals 20-60 V (ac) |  |
| 090 | Auxiliary control power | terminals 20-60 V (dc) |  |
| 090 | Auxiliary control power | terminals 24-125 V (ac) |  |
| 090 | Auxiliary control power | terminals 24-125 V (dc) |  |
| 090 | Auxiliary control power | terminals 60-120 V (ac) |  |
| 091 | Open/Close control | inc-off-dec toggle switch |  |
| 091 | Open/Close control | NA |  |
| 091 | Open/Close control | open,close pushbuttons |  |
| 091 | Open/Close control | open-close switch |  |
| 092 | Local/Stop/Remote cont | infra-red setting tool |  |
| 092 | Local/Stop/Remote cont | local auto-manual switch |  |
| 092 | Local/Stop/Remote cont | local-stop-remote switch |  |
| 092 | Local/Stop/Remote cont | NA |  |
| 093 | Local operator interface | 32 character LCD |  |
| 093 | Local operator interface | back-lit LCD |  |
| 093 | Local operator interface | infra-red setting tool |  |
| 093 | Local operator interface | NA |  |
| 094 | Signal termination type | barrier terminal blocks | END CONNECTION TYPE |
| 094 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 094 | Signal termination type | terminal compartment | END CONNECTION TYPE |
| 095 | Cert/Approval type | ATEX explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | CE marked | CERTIFICATION |
| 095 | Cert/Approval type | CENELEC explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | CSA explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | CSA general purpose | CERTIFICATION |
| 095 | Cert/Approval type | FM explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | FM general purpose | CERTIFICATION |
| 095 | Cert/Approval type | JIS explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | NA | CERTIFICATION |
| 095 | Cert/Approval type | SAA explosion proof | CERTIFICATION |
| 096 | ESD control mode | close |  |
| 096 | ESD control mode | NA |  |
| 096 | ESD control mode | open |  |
| 096 | ESD control mode | override inhibit signal |  |
| 096 | ESD control mode | override jammed valve |  |
| 096 | ESD control mode | override local switch |  |
| 096 | ESD control mode | override loss phase |  |
| 096 | ESD control mode | override overtorque |  |
| 096 | ESD control mode | override thermal prot |  |
| 096 | ESD control mode | stop |  |
| 096 | ESD control mode | take no action |  |
| 097 | Failure/Diagnostic action | drive to preset value | INSTRUMENT ACTION |
| 097 | Failure/Diagnostic action | lock-in-place | INSTRUMENT ACTION |
| 097 | Failure/Diagnostic action | stop | INSTRUMENT ACTION |
| 098 | Interlock/Inhibit mode | NA |  |
| 098 | Interlock/Inhibit mode | prevent open/close |  |
| 099 | Diagnostics capabilities | auto self test diagnosis |  |
| 099 | Diagnostics capabilities | LimiGard® circuit monitor |  |
| 099 | Diagnostics capabilities | NA |  |
| 100 | Motor reversal protection | incorporates time delay |  |
| 100 | Motor reversal protection | NA |  |
| 100 | Motor reversal protection | solid state reverser |  |
| 101 | Enclosure material | powder-coated aluminum | MATERIAL |
| 101 | Enclosure material | powder-coated cast iron | MATERIAL |
| 101 | Enclosure material | stainless steel | MATERIAL |
| 102 | Hardware material | nickel-plated cs | MATERIAL |
| 102 | Hardware material | stainless steel | MATERIAL |
| 103a | User defined attribute name 1 | battery backup option |  |
| 103a | User defined attribute name 1 | Compartment nom size |  |
| 103a | User defined attribute name 1 | NA |  |
| 103a | User defined attribute name 1 | Power failure option |  |
| 103a | User defined attribute name 1 | Speed controls |  |
| 103b | User defined attribute value 1 | max integral compartment |  |
| 103b | User defined attribute value 1 | min integral compartment |  |
| 103b | User defined attribute value 1 | NA |  |
| 103b | User defined attribute value 1 | standard compartment |  |
| 104a | User defined attribute name 2 | Control polarity |  |
| 104a | User defined attribute name 2 | Data logger |  |
| 104a | User defined attribute name 2 | Housing venting |  |
| 104a | User defined attribute name 2 | NA |  |
| 104a | User defined attribute name 2 | Readout language |  |
| 104b | User defined attribute value 2 | breather and drain |  |
| 104b | User defined attribute value 2 | english |  |
| 104b | User defined attribute value 2 | french |  |
| 104b | User defined attribute value 2 | german |  |
| 104b | User defined attribute value 2 | italian |  |
| 104b | User defined attribute value 2 | NA |  |
| 104b | User defined attribute value 2 | negative sw remote cont |  |
| 104b | User defined attribute value 2 | portuguese |  |
| 104b | User defined attribute value 2 | positive sw remote cont |  |
| 104b | User defined attribute value 2 | spanish |  |
| 104b | User defined attribute value 2 | time and date stamped log |  |
| 105 | POSITION SWITCH OR TRANSMITTER | SECTION TITLE |  |
| 106 | Output signal type | 1000 Ohm pot & current | SIGNAL |
| 106 | Output signal type | 1000 Ohm pot & relay | SIGNAL |
| 106 | Output signal type | 10000 Ohm pot & relay | SIGNAL |
| 106 | Output signal type | 2000 Ohm pot & relay | SIGNAL |
| 106 | Output signal type | 2-1000 Ohm pot & relay | SIGNAL |
| 106 | Output signal type | 5000 Ohm pot & relay | SIGNAL |
| 106 | Output signal type | analog current & relay | SIGNAL |
| 106 | Output signal type | analog voltage & relay | SIGNAL |
| 106 | Output signal type | digital & 1000 Ohm pot | SIGNAL |
| 106 | Output signal type | digital & relays | SIGNAL |
| 106 | Output signal type | NA | SIGNAL |
| 107 | Sensor style | hall-effect magnetic sys |  |
| 107 | Sensor style | NA |  |
| 107 | Sensor style | optical position encoder |  |
| 107 | Sensor style | snap-acting switch |  |
| 108a | Contacts ac rating | 10 | DEVICE RATING |
| 108a | Contacts ac rating | 15 | DEVICE RATING |
| 108a | Contacts ac rating | 5 | DEVICE RATING |
| 108a | Contacts ac rating | 6 | DEVICE RATING |
| 108au | AC max current units | A |  |
| 108au | AC max current units | NA |  |
| 108b | AC rating max voltage | 110 | DEVICE RATING |
| 108b | AC rating max voltage | 120 | DEVICE RATING |
| 108b | AC rating max voltage | 125 | DEVICE RATING |
| 108b | AC rating max voltage | 240 | DEVICE RATING |
| 108b | AC rating max voltage | 250 | DEVICE RATING |
| 108b | AC rating max voltage | 600 | DEVICE RATING |
| 108bu | AC rating max voltage units | NA |  |
| 108bu | AC rating max voltage units | V |  |
| 109a | Contacts dc rating | 0.25 | DEVICE RATING |
| 109a | Contacts dc rating | 10 | DEVICE RATING |
| 109a | Contacts dc rating | 2 | DEVICE RATING |
| 109a | Contacts dc rating | 2.5 | DEVICE RATING |
| 109a | Contacts dc rating | 3 | DEVICE RATING |
| 109a | Contacts dc rating | 40 | DEVICE RATING |
| 109a | Contacts dc rating | 50 | DEVICE RATING |
| 109au | DC rating current units | A | UNITS |
| 109au | DC rating current units | mA | UNITS |
| 109au | DC rating current units | NA | UNITS |
| 109b | DC max voltage | 110 |  |
| 109b | DC max voltage | 24 |  |
| 109b | DC max voltage | 30 |  |
| 109b | DC max voltage | 40 |  |
| 109b | DC max voltage | 50 |  |
| 109bu | DC max voltage units | NA | UNITS |
| 109bu | DC max voltage units | V | UNITS |
| 110 | Signal power source | externally powered |  |
| 110 | Signal power source | internally powered |  |
| 110 | Signal power source | NA |  |
| 111a | Contacts arrangement | DPDT |  |
| 111a | Contacts arrangement | NA |  |
| 111a | Contacts arrangement | NC |  |
| 111a | Contacts arrangement | SPDT |  |
| 111a | Contacts arrangement | SPST |  |
| 111b | Contacts quantity | 0 |  |
| 111b | Contacts quantity | 2 |  |
| 112 | Integral indicator style | 2 indicating lights |  |
| 112 | Integral indicator style | 3 LED indicators, LCD |  |
| 112 | Integral indicator style | flip-flop indicator |  |
| 112 | Integral indicator style | mechanical indicator |  |
| 112 | Integral indicator style | NA |  |
| 112 | Integral indicator style | side-mounted mech dial |  |
| 112 | Integral indicator style | top-mounted mech dial |  |
| 113 | Position light colors | green/red |  |
| 113 | Position light colors | green/red/yellow LEDs |  |
| 113 | Position light colors | NA |  |
| 114a | User defined attribute Nane 1 | NA |  |
| 114b | User defined attribute Value 1 | NA |  |
| 115 | TORQUE SWITCH OR TRANSMITTER | SECTION TITLE |  |
| 116 | Output signal type | analog current & relay | SIGNAL |
| 116 | Output signal type | analog voltage & relay | SIGNAL |
| 116 | Output signal type | digital & relays | SIGNAL |
| 116 | Output signal type | NA | SIGNAL |
| 117 | Sensor style | current sensing |  |
| 117 | Sensor style | current sensing PWM |  |
| 117 | Sensor style | heavy-duty switch |  |
| 117 | Sensor style | NA |  |
| 117 | Sensor style | speed,volts,temp, calc |  |
| 118a | Contacts ac rating | 15 | DEVICE RATING |
| 118a | Contacts ac rating | 6 | DEVICE RATING |
| 118au | AC rating units | A |  |
| 118au | AC rating units | NA |  |
| 118b | AC rating max voltage | 110 | DEVICE RATING |
| 118b | AC rating max voltage | 240 | DEVICE RATING |
| 118b | AC rating max voltage | 600 | DEVICE RATING |
| 118bu | AC max voltage units | NA | UNITS |
| 118bu | AC max voltage units | V | UNITS |
| 119a | Contacts dc rating | 0.25 | DEVICE RATING |
| 119a | Contacts dc rating | 2.5 | DEVICE RATING |
| 119a | Contacts dc rating | 3 | DEVICE RATING |
| 119au | DC rating current units | A | UNITS |
| 119au | DC rating current units | NA | UNITS |
| 119b | DC max voltage | 110 |  |
| 119b | DC max voltage | 24 |  |
| 119b | DC max voltage | 50 |  |
| 119bu | DC max voltage units | NA | UNITS |
| 119bu | DC max voltage units | V | UNITS |
| 120 | Signal power source | externally powered |  |
| 120 | Signal power source | internally powered |  |
| 120 | Signal power source | NA |  |
| 121a | Contacts arrangement | NA |  |
| 121a | Contacts arrangement | NC |  |
| 121a | Contacts arrangement | SPDT |  |
| 121a | Contacts arrangement | SPST |  |
| 121b | Contacts quantity | 0 |  |
| 121b | Contacts quantity | 2 |  |
| 122 | Integral indicator style | LCD |  |
| 122 | Integral indicator style | NA |  |
| 123 | Protection feature | jammed valve protection |  |
| 123 | Protection feature | NA |  |
| 124a | User defined attribute Name 1 | NA |  |
| 124b | User defined attribute Value 1 | NA |  |
| 125 | AUXILIARY INPUTS AND OUTPUTS | SECTION TITLE |  |
| 126 | Configuration type | monitor relay |  |
| 126 | Configuration type | NA |  |
| 126 | Configuration type | Status and monitor relay |  |
| 126 | Configuration type | Status, monitor relay,aux |  |
| 127 | Aux signal type | 3 digital inputs 24 V(dc) |  |
| 127 | Aux signal type | 4 analog current |  |
| 127 | Aux signal type | 4 digital input, 4 output |  |
| 127 | Aux signal type | NA |  |
| 128 | Output signal type | digital and relay | SIGNAL |
| 128 | Output signal type | digital multi-variable | SIGNAL |
| 128 | Output signal type | dry contact relay | SIGNAL |
| 128 | Output signal type | NA | SIGNAL |
| 129a | Status contacts ac rating | 10 |  |
| 129a | Status contacts ac rating | 15 |  |
| 129a | Status contacts ac rating | 5 |  |
| 129au | Status AC rating current units | A |  |
| 129au | Status AC rating current units | NA |  |
| 129b | Status AC rating max voltage | 110 |  |
| 129b | Status AC rating max voltage | 120 |  |
| 129b | Status AC rating max voltage | 125 |  |
| 129b | Status AC rating max voltage | 240 |  |
| 129b | Status AC rating max voltage | 250 |  |
| 129bu | Status AC rating voltage units | NA |  |
| 129bu | Status AC rating voltage units | V |  |
| 130a | Status contacts dc rating | 2.0 |  |
| 130a | Status contacts dc rating | 40 |  |
| 130au | Status DC rating current units | A |  |
| 130au | Status DC rating current units | mA |  |
| 130au | Status DC rating current units | NA |  |
| 130b | Status DC max voltage | 30 |  |
| 130b | Status DC max voltage | 40 |  |
| 130bu | Status DC max voltage units | NA |  |
| 130bu | Status DC max voltage units | V |  |
| 131a | Alarm contacts ac rating | 5 |  |
| 131au | Alarm AC rating current units | A |  |
| 131au | Alarm AC rating current units | NA |  |
| 131b | Alarm AC rating max voltage | 250 |  |
| 131bu | Alarm AC max voltage units | NA |  |
| 131bu | Alarm AC max voltage units | V |  |
| 132 | Input signal power source | NA |  |
| 132a | Alarm contacts dc rating | 0.25 |  |
| 132a | Alarm contacts dc rating | 2.0 |  |
| 132a | Alarm contacts dc rating | 2.5 |  |
| 132a | Alarm contacts dc rating | 3.0 |  |
| 132au | Alarm DC rating current units | A |  |
| 132au | Alarm DC rating current units | NA |  |
| 132b | Alarm DC max voltage | 110 |  |
| 132b | Alarm DC max voltage | 24 |  |
| 132b | Alarm DC max voltage | 30 |  |
| 132b | Alarm DC max voltage | 50 |  |
| 132bu | Alarm DC max voltage units | NA |  |
| 132bu | Alarm DC max voltage units | V |  |
| 133 | Input signal power source | externally powered |  |
| 133 | Input signal power source | internally powered |  |
| 133 | Input signal power source | NA |  |
| 134 | Output signal pwr source | externally powered |  |
| 134 | Output signal pwr source | internally powered |  |
| 134 | Output signal pwr source | NA |  |
| 135a | Status contacts arr | NA |  |
| 135a | Status contacts arr | SPDT |  |
| 135a | Status contacts arr | SPST |  |
| 135b | Status contacts qty | 0 |  |
| 135b | Status contacts qty | 2 |  |
| 135b | Status contacts qty | 4 |  |
| 135b | Status contacts qty | 6 |  |
| 135b | Status contacts qty | 7 |  |
| 136a | Alarm contacts arr | NA |  |
| 136a | Alarm contacts arr | SPDT |  |
| 136a | Alarm contacts arr | SPST |  |
| 136b | Alarm contacts qty | 0 |  |
| 136b | Alarm contacts qty | 1 |  |
| 137a | User defined attribute name 1 | NA |  |
| 137a | User defined attribute name 1 | Valve running indication |  |
| 137b | User defined attribute Value 1 | blinker contact |  |
| 137b | User defined attribute Value 1 | NA |  |
| 138a | User defined attribute name 2 | NA |  |
| 138b | User defined attribute Value 2 | NA |  |
| 211 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 212a | Max press at design temp |  | PRESSURE |
| 212au | Design pressure units | bar(g) | UNITS |
| 212au | Design pressure units | psig | UNITS |
| 212b | Max design temperature |  | DESIGN TEMPERATURE |
| 212bu | Design temperature units | °C | UNITS |
| 212bu | Design temperature units | °F | UNITS |
| 212bu | Design temperature units | F | UNITS |
| -212bu | Design temperature units | C | UNITS |
| 213a | Min working temperature |  | WORKING TEMPERATURE |
| 213au | Min working temp units | °C | UNITS |
| 213au | Min working temp units | °F | UNITS |
| 213au | Min working temp units | C | UNITS |
| 213au | Min working temp units | F | UNITS |
| 213b | Max working temperature |  | WORKING TEMPERATURE |
| 213bu | Max working temp units | °C | UNITS |
| 213bu | Max working temp units | °F | UNITS |
| 213bu | Max working temp units | C | UNITS |
| 213bu | Max working temp units | F | UNITS |
| 214 | Max pressure drop |  | PRESSURE DROP |
| 214u | Pressure drop units | bar | UNITS |
| 214u | Pressure drop units | psi | UNITS |
| 215 | Maximum starts per hour | 100 |  |
| 215 | Maximum starts per hour | 1200 |  |
| 215 | Maximum starts per hour | 2000 |  |
| 215 | Maximum starts per hour | 4000 |  |
| 215 | Maximum starts per hour | 60 |  |
| 215 | Maximum starts per hour | 600 |  |
| 216a | Positioning accuracy | 1.0 |  |
| 216a | Positioning accuracy | 1.5 |  |
| 216b | Positioning accuracy ref | % full range |  |
| 217 | Position accuracy rating | 0.5 |  |
| 217 | Position accuracy rating | 1.0 |  |
| 217b | Position accuracy ref | % full scale |  |
| 218 | Torque accuracy rating | 1.0 |  |
| 218b | Torque accuracy ref | % full scale |  |
| 219a | Torque adjustment LRL | 40 |  |
| 219au | Torque adjustment LRL ref | % URL |  |
| 219b | Torque adjustment URL | 100 |  |
| 219bu | Torque adjustment URL ref | % URL |  |
| 220 | Max starting current |  |  |
| 220u | Starting current units | A | UNITS |
| 221a | Rated flow coef type | Cv | RATED FLOW COEFF |
| 221a | Rated flow coef type | Kv | RATED FLOW COEFF |
| 221b | Rated flow coefficient |  | RATED FLOW COEFF |
| 221c | Rated factor Xt |  | FACTOR XT |
| 2-224b | Max valve reqd thrust |  |  |
| 2-224bu | Max valve thrust units | kg |  |
| 222a | Rated Factor Fl |  | LIQUID PRESSURE RECOVERY FACTR |
| 222b | Rated Factor sigma mr |  | FACTOR MR |
| 223 | Rated seat leakage class |  | RATED SEAT LEAKAGE CLASS |
| 223 | Rated seat leakage class | I | RATED SEAT LEAKAGE CLASS |
| 223 | Rated seat leakage class | II | RATED SEAT LEAKAGE CLASS |
| 223 | Rated seat leakage class | III | RATED SEAT LEAKAGE CLASS |
| 223 | Rated seat leakage class | IV | RATED SEAT LEAKAGE CLASS |
| 223 | Rated seat leakage class | V | RATED SEAT LEAKAGE CLASS |
| 223 | Rated seat leakage class | VI | RATED SEAT LEAKAGE CLASS |
| 224 | Max valve reqd torque |  |  |
| 224bu | Max valve thrust units | kN |  |
| 224bu | Max valve thrust units | lbf |  |
| 224bu | Max valve thrust units | N |  |
| 224u | Max valve torque units | ft.lbf |  |
| 224u | Max valve torque units | in.lbf |  |
| 224u | Max valve torque units | N.m |  |
| 225 | Design life cycles | 10000 cycles |  |
| 225 | Design life cycles | 1000000 drive sleeve turn |  |
| 225 | Design life cycles | 25000 cycles |  |
| 226a | Min ambient working temp | -20 | AMBIENT TEMPERATURE |
| 226a | Min ambient working temp | -22 | AMBIENT TEMPERATURE |
| 226a | Min ambient working temp | -30 | AMBIENT TEMPERATURE |
| 226a | Min ambient working temp | -4 | AMBIENT TEMPERATURE |
| 226a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 226a | Min ambient working temp | -5 | AMBIENT TEMPERATURE |
| 226a | Min ambient working temp | -50 | AMBIENT TEMPERATURE |
| 226a | Min ambient working temp | -58 | AMBIENT TEMPERATURE |
| 226au | Min amb working temp units | °C | UNITS |
| 226au | Min amb working temp units | °F | UNITS |
| 226au | Min amb working temp units | C | UNITS |
| 226au | Min amb working temp units | F | UNITS |
| 226b | Max ambient working temp | 104 | MAX AMBIENT TEMPERATURE |
| 226b | Max ambient working temp | 140 | MAX AMBIENT TEMPERATURE |
| 226b | Max ambient working temp | 158 | MAX AMBIENT TEMPERATURE |
| 226b | Max ambient working temp | 40 | MAX AMBIENT TEMPERATURE |
| 226b | Max ambient working temp | 60 | MAX AMBIENT TEMPERATURE |
| 226b | Max ambient working temp | 70 | MAX AMBIENT TEMPERATURE |
| 226bu | Max amb working temp units | °C | UNITS |
| 226bu | Max amb working temp units | °F | UNITS |
| 226bu | Max amb working temp units | C | UNITS |
| 226bu | Max amb working temp units | F | UNITS |
| 227a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 227b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 228a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 228b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 229 | ACCESSORIES | SECTION TITLE |  |
| 230 | Isolation switch | EP remote mounted |  |
| 230 | Isolation switch | NA |  |
| 230 | Isolation switch | WP direct coupled |  |
| 230 | Isolation switch | WP remote mounted |  |
| 231 | Local control station | NA |  |
| 231 | Local control station | WP remote mounted |  |
| 2-31 | Local control station | EP remote mounted |  |
| 232 | Auxiliary power device | 24 V (dc) |  |
| 232 | Auxiliary power device | NA |  |
| 2-330 | Failure signal-Output |  |  |
| 233a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 233a | Defined attribute 1 name | Special mounting | DEFINABLE ATTRIBUTE NAME |
| 233b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 233b | Defined attribute 1 data | stand w/downward shaft | DEFINABLE ATTRIBUTE VALUE |
| 233b | Defined attribute 1 data | stand w/upward shaft | DEFINABLE ATTRIBUTE VALUE |
| 234a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 234b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 235 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 236 | Custom tag | fiber tag |  |
| 236 | Custom tag | NA |  |
| 236 | Custom tag | sst permanent attached |  |
| 236 | Custom tag | sst wired-on |  |
| 237 | Reference specification | NA | REFERENCE SPECIFICATION |
| 238 | Special preparation | chlorine service |  |
| 238 | Special preparation | hydrogen service |  |
| 238 | Special preparation | NA |  |
| 238 | Special preparation | oxygen service |  |
| 239 | Compliance standard | ANSI B16,104 | NACE STANDARD |
| 239 | Compliance standard | API 607 | NACE STANDARD |
| 239 | Compliance standard | AWWA C504-87 & C540-87 | NACE STANDARD |
| 239 | Compliance standard | AWWA C504-87 & C540-93 | NACE STANDARD |
| 239 | Compliance standard | IEEE 323,IEE 382 | NACE STANDARD |
| 239 | Compliance standard | IEEE 323,IEEE 344,IEE 382 | NACE STANDARD |
| 239 | Compliance standard | ISO 5210 | NACE STANDARD |
| 239 | Compliance standard | MSS SP-102 | NACE STANDARD |
| 239 | Compliance standard | NA | NACE STANDARD |
| 239 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 240 | Construction code | ANSI B31.1 |  |
| 240 | Construction code | ANSI B31.3 |  |
| 240 | Construction code | ASME section VIII |  |
| 240 | Construction code | NA |  |
| 241 | Calculation report | actuator sizing calc |  |
| 241 | Calculation report | NA |  |
| 241 | Calculation report | valve sizing calc |  |
| 242 | Software program | NA |  |
| 242 | Software program | PC interface software |  |
| 242 | Software program | PDA interface software |  |
| 243 | Service design | artic temperature |  |
| 243 | Service design | AWWA |  |
| 243 | Service design | buried |  |
| 243 | Service design | commercial on/off |  |
| 243 | Service design | high-temperature |  |
| 243 | Service design | NA |  |
| 243 | Service design | nuclear service |  |
| 243 | Service design | submersible |  |
| 244a | Defined attribute 1 name | Assembly responsibility | DEFINABLE ATTRIBUTE NAME |
| 244a | Defined attribute 1 name | Special inspections | DEFINABLE ATTRIBUTE NAME |
| 244b | Defined attribute 1 data | by actuator supplier | DEFINABLE ATTRIBUTE VALUE |
| 244b | Defined attribute 1 data | by customer | DEFINABLE ATTRIBUTE VALUE |
| 244b | Defined attribute 1 data | by valve supplier | DEFINABLE ATTRIBUTE VALUE |
| 244b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 244b | Defined attribute 1 data | radiographic examination | DEFINABLE ATTRIBUTE VALUE |
| 245a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 245b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 246 | PHYSICAL DATA | SECTION TITLE |  |
| 247 | Estimated weight |  |  |
| 247u | Weight units | kg | UNITS |
| 247u | Weight units | lb | UNITS |
| 248 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 248u | Face-to-face dim units | in | UNITS |
| 248u | Face-to-face dim units | mm | UNITS |
| 249 | Overall height |  |  |
| 249u | Overall height units | in | UNITS |
| 249u | Overall height units | mm | UNITS |
| 250 | Removal clearance |  |  |
| 250u | Removal clearance units | in | UNITS |
| 250u | Removal clearance units | mm | UNITS |
| 251a | Signal conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 251a | Signal conn nominal size | 1 in | NOMINAL SIZE |
| 251a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 251a | Signal conn nominal size | 2 x 1 in | NOMINAL SIZE |
| 251a | Signal conn nominal size | 3 x 1 in | NOMINAL SIZE |
| 251a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 251b | Signal conn termn style | 2 x M32 | END CONNECTION TYPE |
| 251b | Signal conn termn style | 3 x M32 | END CONNECTION TYPE |
| 251b | Signal conn termn style | M20 | END CONNECTION TYPE |
| 251b | Signal conn termn style | M32 | END CONNECTION TYPE |
| 251b | Signal conn termn style | NA | END CONNECTION TYPE |
| 251b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 251b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 251b | Signal conn termn style | pg 16 | END CONNECTION TYPE |
| 251b | Signal conn termn style | pg 29 | END CONNECTION TYPE |
| 252 | Mfr reference dwg | NA |  |
| 253 | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 253 | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 254a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 254b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 255a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 255b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 310 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 312a | Analog signal tag number | NA |  |
| 312b | Position input-Travel | MEAS/SIGNAL/SCALE |  |
| 312c | Position input LRV | 0 |  |
| 312c | Position input LRV | 4 |  |
| 312cu | Position input LRV units | % |  |
| 312cu | Position input LRV units | mA |  |
| 312cu | Position input LRV units | NA |  |
| 312cu | Position input LRV units | V |  |
| 312d | Position input URV | 10 |  |
| 312d | Position input URV | 20 |  |
| 312d | Position input URV | 5 |  |
| 312du | Position input URV units | % |  |
| 312du | Position input URV units | mA |  |
| 312du | Position input URV units | NA |  |
| 312du | Position input URV units | V |  |
| 312e | Position input action | direct |  |
| 312e | Position input action | NA |  |
| 312e | Position input action | reverse |  |
| 312f | Travel Lower Range Value | 0 | LOWER RANGE-VALUE |
| 312fu | Travel LRV units | % | UNITS |
| 312fu | Travel LRV units | ° | UNITS |
| 312fu | Travel LRV units | degree | UNITS |
| 312fu | Travel LRV units | NA | UNITS |
| 312g | Travel Upper Range Value | 100 | UPPER RANGE-VALUE |
| 312g | Travel Upper Range Value | 90 | UPPER RANGE-VALUE |
| 312gu | Travel URV units | % | UNITS |
| 312gu | Travel URV units | ° | UNITS |
| 312gu | Travel URV units | degree | UNITS |
| 312gu | Travel URV units | NA | UNITS |
| 313a | Close sw tag number | NA |  |
| 313b | Close sw energized-Travel | MEAS/SIGNAL/SCALE |  |
| 313d | Close sw input URV | 110 |  |
| 313d | Close sw input URV | 125 |  |
| 313d | Close sw input URV | 24 |  |
| 313du | Close sw input URV units | NA |  |
| 313du | Close sw input URV units | V |  |
| 313e | Close switch action | NA |  |
| 313e | Close switch action | NO |  |
| 313f | Travel Lower Range Value | 0 | LOWER RANGE-VALUE |
| 313fu | Travel LRV units | % | UNITS |
| 313fu | Travel LRV units | ° | UNITS |
| 313fu | Travel LRV units | degree | UNITS |
| 313fu | Travel LRV units | NA | UNITS |
| 313g | Travel Upper Range Value | 100 | UPPER RANGE-VALUE |
| 313g | Travel Upper Range Value | 90 | UPPER RANGE-VALUE |
| 313gu | Travel URV units | % | UNITS |
| 313gu | Travel URV units | ° | UNITS |
| 313gu | Travel URV units | degree | UNITS |
| 314a | Open sw tag number | NA |  |
| 314b | Open sw energized-Travel | MEAS/SIGNAL/SCALE |  |
| 314d | Open sw input URV | 110 |  |
| 314d | Open sw input URV | 125 |  |
| 314d | Open sw input URV | 24 |  |
| 314du | Open sw input URV units | NA |  |
| 314du | Open sw input URV units | V |  |
| 314e | Open switch action | NA |  |
| 314e | Open switch action | NO |  |
| 314f | Travel Lower Range Value | 0 | LOWER RANGE-VALUE |
| 314fu | Travel LRV units | % | UNITS |
| 314fu | Travel LRV units | ° | UNITS |
| 314fu | Travel LRV units | degree | UNITS |
| 314g | Travel Upper Range Value | 100 | UPPER RANGE-VALUE |
| 314g | Travel Upper Range Value | 90 | UPPER RANGE-VALUE |
| 314gu | Travel URV units | % | UNITS |
| 314gu | Travel URV units | ° | UNITS |
| 314gu | Travel URV units | degree | UNITS |
| 314gu | Travel URV units | NA | UNITS |
| 315a | Position xmtr tag no | NA |  |
| 315b | Position-Output | MEAS/SIGNAL/SCALE |  |
| 315c | Position Input LRV | 0 |  |
| 315cu | Position LRV units | % | UNITS |
| 315cu | Position LRV units | ° | UNITS |
| 315cu | Position LRV units | degree | UNITS |
| 315cu | Position LRV units | NA | UNITS |
| 315d | Position Input URV | 100 |  |
| 315d | Position Input URV | 90 |  |
| 315du | Position URV units | % | UNITS |
| 315du | Position URV units | ° | UNITS |
| 315du | Position URV units | degree | UNITS |
| 315du | Position URV units | NA | UNITS |
| 315e | Position action | direct | INSTRUMENT ACTION |
| 315e | Position action | NA | INSTRUMENT ACTION |
| 315f | Position output LRV | 0 | LOWER RANGE-VALUE |
| 315f | Position output LRV | 4 | LOWER RANGE-VALUE |
| 315fu | Position output LRV units | % | UNITS |
| 315fu | Position output LRV units | ° | UNITS |
| 315fu | Position output LRV units | degree | UNITS |
| 315fu | Position output LRV units | mA | UNITS |
| 315fu | Position output LRV units | NA | UNITS |
| 315fu | Position output LRV units | Ohm | UNITS |
| 315fu | Position output LRV units | V | UNITS |
| 315g | Position output URV | 10 | UPPER RANGE-VALUE |
| 315g | Position output URV | 100 | UPPER RANGE-VALUE |
| 315g | Position output URV | 1000 | UPPER RANGE-VALUE |
| 315g | Position output URV | 10000 | UPPER RANGE-VALUE |
| 315g | Position output URV | 20 | UPPER RANGE-VALUE |
| 315g | Position output URV | 2000 | UPPER RANGE-VALUE |
| 315g | Position output URV | 4 | UPPER RANGE-VALUE |
| 315g | Position output URV | 5000 | UPPER RANGE-VALUE |
| 315gu | Position output URV units | % | UNITS |
| 315gu | Position output URV units | ° | UNITS |
| 315gu | Position output URV units | degree | UNITS |
| 315gu | Position output URV units | mA | UNITS |
| 315gu | Position output URV units | NA | UNITS |
| 315gu | Position output URV units | Ohm | UNITS |
| 315gu | Position output URV units | V | UNITS |
| 316a | Torque xmtr tag no | NA |  |
| 316b | Torque-Output | MEAS/SIGNAL/SCALE |  |
| 316c | Torque Input LRV | 0 |  |
| 316cu | Torque LRV units | ft.lbs |  |
| 316cu | Torque LRV units | in.lbf |  |
| 316cu | Torque LRV units | N.m |  |
| 316cu | Torque LRV units | NA |  |
| 316d | Torque Input URV |  |  |
| 316du | Torque URV units | ft.lbs |  |
| 316du | Torque URV units | in.lbf |  |
| 316du | Torque URV units | N.m |  |
| 316du | Torque URV units | NA |  |
| 316e | Torque action | direct |  |
| 316e | Torque action | NA |  |
| 316f | Torque output LRV | 0 |  |
| 316fu | Torque output LRV units | % |  |
| 316fu | Torque output LRV units | ft.lbs |  |
| 316fu | Torque output LRV units | in.lbf |  |
| 316fu | Torque output LRV units | N.m |  |
| 316fu | Torque output LRV units | NA |  |
| 316g | Torque output URV | 100 |  |
| 316gu | Torque output URV units | % |  |
| 316gu | Torque output URV units | ft.lbs |  |
| 316gu | Torque output URV units | in.lbf |  |
| 316gu | Torque output URV units | N.m |  |
| 316gu | Torque output URV units | NA |  |
| 317a | Position scale tag no | NA |  |
| 317b | Position-Scale | MEAS/SIGNAL/SCALE |  |
| 317c | Position Input LRV | 0 |  |
| 317cu | Position LRV units | % | UNITS |
| 317cu | Position LRV units | ° | UNITS |
| 317cu | Position LRV units | degree | UNITS |
| 317cu | Position LRV units | NA | UNITS |
| 317d | Position Input URV | 100 |  |
| 317d | Position Input URV | 90 |  |
| 317du | Position URV units | % | UNITS |
| 317du | Position URV units | ° | UNITS |
| 317du | Position URV units | degree | UNITS |
| 317du | Position URV units | NA | UNITS |
| 317e | Position Scale action | direct |  |
| 317f | Position scale LRV | 0 |  |
| 317fu | Position scale LRV units | % |  |
| 317fu | Position scale LRV units | ° |  |
| 317fu | Position scale LRV units | degree |  |
| 317fu | Position scale LRV units | NA |  |
| 317g | Position scale URV | 100 |  |
| 317g | Position scale URV | 90 |  |
| 317gu | Position scale URV units | % |  |
| 317gu | Position scale URV units | ° |  |
| 317gu | Position scale URV units | degree |  |
| 317gu | Position scale URV units | NA |  |
| 318a | Aux input 1 tag number | NA |  |
| 318b | Pressure-Digital output | MEAS/SIGNAL/SCALE |  |
| 318b | Aux input 1-Output | MEAS/SIGNAL/SCALE |  |
| 318b | Diff press-Digital output | MEAS/SIGNAL/SCALE |  |
| 318b | Level-Digital output | MEAS/SIGNAL/SCALE |  |
| 318b | Temp-Digital output | MEAS/SIGNAL/SCALE |  |
| 318b | Flow rate-Digital output | MEAS/SIGNAL/SCALE |  |
| 318c | Aux input 1 LRV | 0 |  |
| 318c | Aux input 1 LRV | 4 |  |
| 318cu | Aux input 1 LRV units | °C |  |
| 318cu | Aux input 1 LRV units | °F |  |
| 318cu | Aux input 1 LRV units | bar |  |
| 318cu | Aux input 1 LRV units | bar(g) |  |
| 318cu | Aux input 1 LRV units | bbl/d |  |
| 318cu | Aux input 1 LRV units | C |  |
| 318cu | Aux input 1 LRV units | F |  |
| 318cu | Aux input 1 LRV units | galUS/h |  |
| 318cu | Aux input 1 LRV units | galUS/min |  |
| 318cu | Aux input 1 LRV units | in |  |
| 318cu | Aux input 1 LRV units | kg/d |  |
| 318cu | Aux input 1 LRV units | kg/h |  |
| 318cu | Aux input 1 LRV units | kg/s |  |
| 318cu | Aux input 1 LRV units | kPa |  |
| 318cu | Aux input 1 LRV units | kPa(g) |  |
| 318cu | Aux input 1 LRV units | L/d(std) |  |
| 318cu | Aux input 1 LRV units | L/s |  |
| 318cu | Aux input 1 LRV units | L/s(std) |  |
| 318cu | Aux input 1 LRV units | lb/h |  |
| 318cu | Aux input 1 LRV units | m3/h |  |
| 318cu | Aux input 1 LRV units | m3/s |  |
| 318cu | Aux input 1 LRV units | mA |  |
| 318cu | Aux input 1 LRV units | mm |  |
| 318cu | Aux input 1 LRV units | mmHg |  |
| 318cu | Aux input 1 LRV units | NA |  |
| 318cu | Aux input 1 LRV units | Pa |  |
| 318cu | Aux input 1 LRV units | Pa(g) |  |
| 318cu | Aux input 1 LRV units | psi |  |
| 318cu | Aux input 1 LRV units | psia |  |
| 318cu | Aux input 1 LRV units | psig |  |
| 318cu | Aux input 1 LRV units | V |  |
| 318d | Aux input 1 URV | 10 |  |
| 318d | Aux input 1 URV | 20 |  |
| 318d | Aux input 1 URV | 24 |  |
| 318du | Aux input 1 URV units | °C |  |
| 318du | Aux input 1 URV units | °F |  |
| 318du | Aux input 1 URV units | bar |  |
| 318du | Aux input 1 URV units | bar(g) |  |
| 318du | Aux input 1 URV units | bbl/d |  |
| 318du | Aux input 1 URV units | C |  |
| 318du | Aux input 1 URV units | F |  |
| 318du | Aux input 1 URV units | galUS/h |  |
| 318du | Aux input 1 URV units | galUS/min |  |
| 318du | Aux input 1 URV units | in |  |
| 318du | Aux input 1 URV units | kg/d |  |
| 318du | Aux input 1 URV units | kg/h |  |
| 318du | Aux input 1 URV units | kg/s |  |
| 318du | Aux input 1 URV units | kPa |  |
| 318du | Aux input 1 URV units | kPa(g) |  |
| 318du | Aux input 1 URV units | L/d(std) |  |
| 318du | Aux input 1 URV units | L/s |  |
| 318du | Aux input 1 URV units | L/s(std) |  |
| 318du | Aux input 1 URV units | lb/h |  |
| 318du | Aux input 1 URV units | m3/h |  |
| 318du | Aux input 1 URV units | m3/s |  |
| 318du | Aux input 1 URV units | mA |  |
| 318du | Aux input 1 URV units | mm |  |
| 318du | Aux input 1 URV units | mmHg |  |
| 318du | Aux input 1 URV units | NA |  |
| 318du | Aux input 1 URV units | Pa |  |
| 318du | Aux input 1 URV units | Pa(g) |  |
| 318du | Aux input 1 URV units | psi |  |
| 318du | Aux input 1 URV units | psia |  |
| 318du | Aux input 1 URV units | psig |  |
| 318du | Aux input 1 URV units | V |  |
| 318e | Aux input 1 action | direct |  |
| 318e | Aux input 1 action | NA |  |
| 318e | Aux input 1 action | NC |  |
| 318e | Aux input 1 action | NO |  |
| 318e | Aux input 1 action | reverse |  |
| 318f | Aux input 1 Output LRV | 0 |  |
| 318fu | Aux input 1 Output LRV units | % |  |
| 318fu | Aux input 1 Output LRV units | °C |  |
| 318fu | Aux input 1 Output LRV units | °F |  |
| 318fu | Aux input 1 Output LRV units | bar |  |
| 318fu | Aux input 1 Output LRV units | bar(g) |  |
| 318fu | Aux input 1 Output LRV units | bbl/d |  |
| 318fu | Aux input 1 Output LRV units | C |  |
| 318fu | Aux input 1 Output LRV units | F |  |
| 318fu | Aux input 1 Output LRV units | galUS/h |  |
| 318fu | Aux input 1 Output LRV units | galUS/min |  |
| 318fu | Aux input 1 Output LRV units | in |  |
| 318fu | Aux input 1 Output LRV units | kg/d |  |
| 318fu | Aux input 1 Output LRV units | kg/h |  |
| 318fu | Aux input 1 Output LRV units | kg/s |  |
| 318fu | Aux input 1 Output LRV units | kPa |  |
| 318fu | Aux input 1 Output LRV units | kPa(g) |  |
| 318fu | Aux input 1 Output LRV units | L/d(std) |  |
| 318fu | Aux input 1 Output LRV units | L/s |  |
| 318fu | Aux input 1 Output LRV units | L/s(std) |  |
| 318fu | Aux input 1 Output LRV units | lb/h |  |
| 318fu | Aux input 1 Output LRV units | m3/h |  |
| 318fu | Aux input 1 Output LRV units | m3/s |  |
| 318fu | Aux input 1 Output LRV units | mA |  |
| 318fu | Aux input 1 Output LRV units | mm |  |
| 318fu | Aux input 1 Output LRV units | mmHg |  |
| 318fu | Aux input 1 Output LRV units | NA |  |
| 318fu | Aux input 1 Output LRV units | Pa |  |
| 318fu | Aux input 1 Output LRV units | Pa(g) |  |
| 318fu | Aux input 1 Output LRV units | psi |  |
| 318fu | Aux input 1 Output LRV units | psia |  |
| 318fu | Aux input 1 Output LRV units | psig |  |
| 318fu | Aux input 1 Output LRV units | V |  |
| 318g | Aux input 1 Output URV | 100 |  |
| 318gu | Aux input 1 Output URV units | % |  |
| 318gu | Aux input 1 Output URV units | °C |  |
| 318gu | Aux input 1 Output URV units | °F |  |
| 318gu | Aux input 1 Output URV units | bar |  |
| 318gu | Aux input 1 Output URV units | bar(g) |  |
| 318gu | Aux input 1 Output URV units | bbl/d |  |
| 318gu | Aux input 1 Output URV units | C |  |
| 318gu | Aux input 1 Output URV units | F |  |
| 318gu | Aux input 1 Output URV units | galUS/h |  |
| 318gu | Aux input 1 Output URV units | galUS/min |  |
| 318gu | Aux input 1 Output URV units | in |  |
| 318gu | Aux input 1 Output URV units | kg/d |  |
| 318gu | Aux input 1 Output URV units | kg/h |  |
| 318gu | Aux input 1 Output URV units | kg/s |  |
| 318gu | Aux input 1 Output URV units | kPa |  |
| 318gu | Aux input 1 Output URV units | kPa(g) |  |
| 318gu | Aux input 1 Output URV units | L/d(std) |  |
| 318gu | Aux input 1 Output URV units | L/s |  |
| 318gu | Aux input 1 Output URV units | L/s(std) |  |
| 318gu | Aux input 1 Output URV units | lb/h |  |
| 318gu | Aux input 1 Output URV units | m3/h |  |
| 318gu | Aux input 1 Output URV units | m3/s |  |
| 318gu | Aux input 1 Output URV units | mA |  |
| 318gu | Aux input 1 Output URV units | mm |  |
| 318gu | Aux input 1 Output URV units | mmHg |  |
| 318gu | Aux input 1 Output URV units | NA |  |
| 318gu | Aux input 1 Output URV units | Pa |  |
| 318gu | Aux input 1 Output URV units | Pa(g) |  |
| 318gu | Aux input 1 Output URV units | psi |  |
| 318gu | Aux input 1 Output URV units | psia |  |
| 318gu | Aux input 1 Output URV units | psig |  |
| 318gu | Aux input 1 Output URV units | V |  |
| 319a | Aux input 2 tag number | NA |  |
| 319b | Temp-Digital output | MEAS/SIGNAL/SCALE |  |
| 319b | Aux input 2-Output | MEAS/SIGNAL/SCALE |  |
| 319b | Flow rate-Digital output | MEAS/SIGNAL/SCALE |  |
| 319b | Level-Digital output | MEAS/SIGNAL/SCALE |  |
| 319b | Pressure-Digital output | MEAS/SIGNAL/SCALE |  |
| 319b | Diff press-Digital output | MEAS/SIGNAL/SCALE |  |
| 319c | Aux input 2 LRV | 0 |  |
| 319c | Aux input 2 LRV | 4 |  |
| 319cu | Aux input 2 LRV units | °C |  |
| 319cu | Aux input 2 LRV units | °F |  |
| 319cu | Aux input 2 LRV units | bar |  |
| 319cu | Aux input 2 LRV units | bar(g) |  |
| 319cu | Aux input 2 LRV units | bbl/d |  |
| 319cu | Aux input 2 LRV units | C |  |
| 319cu | Aux input 2 LRV units | F |  |
| 319cu | Aux input 2 LRV units | galUS/h |  |
| 319cu | Aux input 2 LRV units | galUS/min |  |
| 319cu | Aux input 2 LRV units | in |  |
| 319cu | Aux input 2 LRV units | kg/d |  |
| 319cu | Aux input 2 LRV units | kg/h |  |
| 319cu | Aux input 2 LRV units | kg/s |  |
| 319cu | Aux input 2 LRV units | kPa |  |
| 319cu | Aux input 2 LRV units | kPa(g) |  |
| 319cu | Aux input 2 LRV units | L/d(std) |  |
| 319cu | Aux input 2 LRV units | L/s |  |
| 319cu | Aux input 2 LRV units | L/s(std) |  |
| 319cu | Aux input 2 LRV units | lb/h |  |
| 319cu | Aux input 2 LRV units | m3/h |  |
| 319cu | Aux input 2 LRV units | m3/s |  |
| 319cu | Aux input 2 LRV units | mA |  |
| 319cu | Aux input 2 LRV units | mm |  |
| 319cu | Aux input 2 LRV units | mmHg |  |
| 319cu | Aux input 2 LRV units | NA |  |
| 319cu | Aux input 2 LRV units | Pa |  |
| 319cu | Aux input 2 LRV units | Pa(g) |  |
| 319cu | Aux input 2 LRV units | psi |  |
| 319cu | Aux input 2 LRV units | psia |  |
| 319cu | Aux input 2 LRV units | psig |  |
| 319cu | Aux input 2 LRV units | V |  |
| 319d | Aux input 2 URV | 10 |  |
| 319d | Aux input 2 URV | 20 |  |
| 319d | Aux input 2 URV | 24 |  |
| 319du | Aux input 2 URV units | °C |  |
| 319du | Aux input 2 URV units | °F |  |
| 319du | Aux input 2 URV units | bar |  |
| 319du | Aux input 2 URV units | bar(g) |  |
| 319du | Aux input 2 URV units | bbl/d |  |
| 319du | Aux input 2 URV units | C |  |
| 319du | Aux input 2 URV units | F |  |
| 319du | Aux input 2 URV units | galUS/h |  |
| 319du | Aux input 2 URV units | galUS/min |  |
| 319du | Aux input 2 URV units | in |  |
| 319du | Aux input 2 URV units | kg/d |  |
| 319du | Aux input 2 URV units | kg/h |  |
| 319du | Aux input 2 URV units | kg/s |  |
| 319du | Aux input 2 URV units | kPa |  |
| 319du | Aux input 2 URV units | kPa(g) |  |
| 319du | Aux input 2 URV units | L/d(std) |  |
| 319du | Aux input 2 URV units | L/s |  |
| 319du | Aux input 2 URV units | L/s(std) |  |
| 319du | Aux input 2 URV units | lb/h |  |
| 319du | Aux input 2 URV units | m3/h |  |
| 319du | Aux input 2 URV units | m3/s |  |
| 319du | Aux input 2 URV units | mA |  |
| 319du | Aux input 2 URV units | mm |  |
| 319du | Aux input 2 URV units | mmHg |  |
| 319du | Aux input 2 URV units | NA |  |
| 319du | Aux input 2 URV units | Pa |  |
| 319du | Aux input 2 URV units | Pa(g) |  |
| 319du | Aux input 2 URV units | psi |  |
| 319du | Aux input 2 URV units | psia |  |
| 319du | Aux input 2 URV units | psig |  |
| 319du | Aux input 2 URV units | V |  |
| 319e | Aux input 2 action | direct |  |
| 319e | Aux input 2 action | NA |  |
| 319e | Aux input 2 action | NC |  |
| 319e | Aux input 2 action | NO |  |
| 319e | Aux input 2 action | reverse |  |
| 319f | Aux input 2 Output LRV | 0 |  |
| 319fu | Aux input 2 Output LRV units | % |  |
| 319fu | Aux input 2 Output LRV units | °C |  |
| 319fu | Aux input 2 Output LRV units | °F |  |
| 319fu | Aux input 2 Output LRV units | bar |  |
| 319fu | Aux input 2 Output LRV units | bar(g) |  |
| 319fu | Aux input 2 Output LRV units | bbl/d |  |
| 319fu | Aux input 2 Output LRV units | C |  |
| 319fu | Aux input 2 Output LRV units | F |  |
| 319fu | Aux input 2 Output LRV units | galUS/h |  |
| 319fu | Aux input 2 Output LRV units | galUS/min |  |
| 319fu | Aux input 2 Output LRV units | in |  |
| 319fu | Aux input 2 Output LRV units | kg/d |  |
| 319fu | Aux input 2 Output LRV units | kg/h |  |
| 319fu | Aux input 2 Output LRV units | kg/s |  |
| 319fu | Aux input 2 Output LRV units | kPa |  |
| 319fu | Aux input 2 Output LRV units | kPa(g) |  |
| 319fu | Aux input 2 Output LRV units | L/d(std) |  |
| 319fu | Aux input 2 Output LRV units | L/s |  |
| 319fu | Aux input 2 Output LRV units | L/s(std) |  |
| 319fu | Aux input 2 Output LRV units | lb/h |  |
| 319fu | Aux input 2 Output LRV units | m3/h |  |
| 319fu | Aux input 2 Output LRV units | m3/s |  |
| 319fu | Aux input 2 Output LRV units | mA |  |
| 319fu | Aux input 2 Output LRV units | mm |  |
| 319fu | Aux input 2 Output LRV units | mmHg |  |
| 319fu | Aux input 2 Output LRV units | NA |  |
| 319fu | Aux input 2 Output LRV units | Pa |  |
| 319fu | Aux input 2 Output LRV units | Pa(g) |  |
| 319fu | Aux input 2 Output LRV units | psi |  |
| 319fu | Aux input 2 Output LRV units | psia |  |
| 319fu | Aux input 2 Output LRV units | psig |  |
| 319fu | Aux input 2 Output LRV units | V |  |
| 319g | Aux input 2 Output URV | 100 |  |
| 319gu | Aux input 2 Output URV units | % |  |
| 319gu | Aux input 2 Output URV units | °C |  |
| 319gu | Aux input 2 Output URV units | °F |  |
| 319gu | Aux input 2 Output URV units | bar |  |
| 319gu | Aux input 2 Output URV units | bar(g) |  |
| 319gu | Aux input 2 Output URV units | bbl/d |  |
| 319gu | Aux input 2 Output URV units | C |  |
| 319gu | Aux input 2 Output URV units | F |  |
| 319gu | Aux input 2 Output URV units | galUS/h |  |
| 319gu | Aux input 2 Output URV units | galUS/min |  |
| 319gu | Aux input 2 Output URV units | in |  |
| 319gu | Aux input 2 Output URV units | kg/d |  |
| 319gu | Aux input 2 Output URV units | kg/h |  |
| 319gu | Aux input 2 Output URV units | kg/s |  |
| 319gu | Aux input 2 Output URV units | kPa |  |
| 319gu | Aux input 2 Output URV units | kPa(g) |  |
| 319gu | Aux input 2 Output URV units | L/d(std) |  |
| 319gu | Aux input 2 Output URV units | L/s |  |
| 319gu | Aux input 2 Output URV units | L/s(std) |  |
| 319gu | Aux input 2 Output URV units | lb/h |  |
| 319gu | Aux input 2 Output URV units | m3/h |  |
| 319gu | Aux input 2 Output URV units | m3/s |  |
| 319gu | Aux input 2 Output URV units | mA |  |
| 319gu | Aux input 2 Output URV units | mm |  |
| 319gu | Aux input 2 Output URV units | mmHg |  |
| 319gu | Aux input 2 Output URV units | NA |  |
| 319gu | Aux input 2 Output URV units | Pa |  |
| 319gu | Aux input 2 Output URV units | Pa(g) |  |
| 319gu | Aux input 2 Output URV units | psi |  |
| 319gu | Aux input 2 Output URV units | psia |  |
| 319gu | Aux input 2 Output URV units | psig |  |
| 319gu | Aux input 2 Output URV units | V |  |
| 320a | Aux input 3 tag number | NA |  |
| 320b | Temp-Digital output | MEAS/SIGNAL/SCALE |  |
| 320b | Level-Digital output | MEAS/SIGNAL/SCALE |  |
| 320b | Pressure-Digital output | MEAS/SIGNAL/SCALE |  |
| 320b | Flow rate-Digital output | MEAS/SIGNAL/SCALE |  |
| 320b | Aux input 3-Output | MEAS/SIGNAL/SCALE |  |
| 320b | Diff press-Digital output | MEAS/SIGNAL/SCALE |  |
| 320c | Aux input 3 LRV | 0 |  |
| 320c | Aux input 3 LRV | 4 |  |
| 320cu | Aux input 3 LRV units | °C |  |
| 320cu | Aux input 3 LRV units | °F |  |
| 320cu | Aux input 3 LRV units | bar |  |
| 320cu | Aux input 3 LRV units | bar(g) |  |
| 320cu | Aux input 3 LRV units | bbl/d |  |
| 320cu | Aux input 3 LRV units | C |  |
| 320cu | Aux input 3 LRV units | F |  |
| 320cu | Aux input 3 LRV units | galUS/h |  |
| 320cu | Aux input 3 LRV units | galUS/min |  |
| 320cu | Aux input 3 LRV units | in |  |
| 320cu | Aux input 3 LRV units | kg/d |  |
| 320cu | Aux input 3 LRV units | kg/h |  |
| 320cu | Aux input 3 LRV units | kg/s |  |
| 320cu | Aux input 3 LRV units | kPa |  |
| 320cu | Aux input 3 LRV units | kPa(g) |  |
| 320cu | Aux input 3 LRV units | L/d(std) |  |
| 320cu | Aux input 3 LRV units | L/s |  |
| 320cu | Aux input 3 LRV units | L/s(std) |  |
| 320cu | Aux input 3 LRV units | lb/h |  |
| 320cu | Aux input 3 LRV units | m3/h |  |
| 320cu | Aux input 3 LRV units | m3/s |  |
| 320cu | Aux input 3 LRV units | mA |  |
| 320cu | Aux input 3 LRV units | mm |  |
| 320cu | Aux input 3 LRV units | mmHg |  |
| 320cu | Aux input 3 LRV units | NA |  |
| 320cu | Aux input 3 LRV units | Pa |  |
| 320cu | Aux input 3 LRV units | Pa(g) |  |
| 320cu | Aux input 3 LRV units | psi |  |
| 320cu | Aux input 3 LRV units | psia |  |
| 320cu | Aux input 3 LRV units | psig |  |
| 320cu | Aux input 3 LRV units | V |  |
| 320d | Aux input 3 URV | 10 |  |
| 320d | Aux input 3 URV | 20 |  |
| 320d | Aux input 3 URV | 24 |  |
| 320du | Aux input 3 URV units | °C |  |
| 320du | Aux input 3 URV units | °F |  |
| 320du | Aux input 3 URV units | bar |  |
| 320du | Aux input 3 URV units | bar(g) |  |
| 320du | Aux input 3 URV units | bbl/d |  |
| 320du | Aux input 3 URV units | C |  |
| 320du | Aux input 3 URV units | F |  |
| 320du | Aux input 3 URV units | galUS/h |  |
| 320du | Aux input 3 URV units | galUS/min |  |
| 320du | Aux input 3 URV units | in |  |
| 320du | Aux input 3 URV units | kg/d |  |
| 320du | Aux input 3 URV units | kg/h |  |
| 320du | Aux input 3 URV units | kg/s |  |
| 320du | Aux input 3 URV units | kPa |  |
| 320du | Aux input 3 URV units | kPa(g) |  |
| 320du | Aux input 3 URV units | L/d(std) |  |
| 320du | Aux input 3 URV units | L/s |  |
| 320du | Aux input 3 URV units | L/s(std) |  |
| 320du | Aux input 3 URV units | lb/h |  |
| 320du | Aux input 3 URV units | m3/h |  |
| 320du | Aux input 3 URV units | m3/s |  |
| 320du | Aux input 3 URV units | mA |  |
| 320du | Aux input 3 URV units | mm |  |
| 320du | Aux input 3 URV units | mmHg |  |
| 320du | Aux input 3 URV units | NA |  |
| 320du | Aux input 3 URV units | Pa |  |
| 320du | Aux input 3 URV units | Pa(g) |  |
| 320du | Aux input 3 URV units | psi |  |
| 320du | Aux input 3 URV units | psia |  |
| 320du | Aux input 3 URV units | psig |  |
| 320du | Aux input 3 URV units | V |  |
| 320e | Aux input 3 action | direct |  |
| 320e | Aux input 3 action | NA |  |
| 320e | Aux input 3 action | NC |  |
| 320e | Aux input 3 action | NO |  |
| 320e | Aux input 3 action | reverse |  |
| 320f | Aux input 3 Output LRV | 0 |  |
| 320fu | Aux input 3 Output LRV units | % |  |
| 320fu | Aux input 3 Output LRV units | °C |  |
| 320fu | Aux input 3 Output LRV units | °F |  |
| 320fu | Aux input 3 Output LRV units | bar |  |
| 320fu | Aux input 3 Output LRV units | bar(g) |  |
| 320fu | Aux input 3 Output LRV units | bbl/d |  |
| 320fu | Aux input 3 Output LRV units | C |  |
| 320fu | Aux input 3 Output LRV units | F |  |
| 320fu | Aux input 3 Output LRV units | galUS/h |  |
| 320fu | Aux input 3 Output LRV units | galUS/min |  |
| 320fu | Aux input 3 Output LRV units | in |  |
| 320fu | Aux input 3 Output LRV units | kg/d |  |
| 320fu | Aux input 3 Output LRV units | kg/h |  |
| 320fu | Aux input 3 Output LRV units | kg/s |  |
| 320fu | Aux input 3 Output LRV units | kPa |  |
| 320fu | Aux input 3 Output LRV units | kPa(g) |  |
| 320fu | Aux input 3 Output LRV units | L/d(std) |  |
| 320fu | Aux input 3 Output LRV units | L/s |  |
| 320fu | Aux input 3 Output LRV units | L/s(std) |  |
| 320fu | Aux input 3 Output LRV units | lb/h |  |
| 320fu | Aux input 3 Output LRV units | m3/h |  |
| 320fu | Aux input 3 Output LRV units | m3/s |  |
| 320fu | Aux input 3 Output LRV units | mA |  |
| 320fu | Aux input 3 Output LRV units | mm |  |
| 320fu | Aux input 3 Output LRV units | mmHg |  |
| 320fu | Aux input 3 Output LRV units | NA |  |
| 320fu | Aux input 3 Output LRV units | Pa |  |
| 320fu | Aux input 3 Output LRV units | Pa(g) |  |
| 320fu | Aux input 3 Output LRV units | psi |  |
| 320fu | Aux input 3 Output LRV units | psia |  |
| 320fu | Aux input 3 Output LRV units | psig |  |
| 320fu | Aux input 3 Output LRV units | V |  |
| 320g | Aux input 3 Output URV | 100 |  |
| 320gu | Aux input 3 Output URV units | % |  |
| 320gu | Aux input 3 Output URV units | °C |  |
| 320gu | Aux input 3 Output URV units | °F |  |
| 320gu | Aux input 3 Output URV units | bar |  |
| 320gu | Aux input 3 Output URV units | bar(g) |  |
| 320gu | Aux input 3 Output URV units | bbl/d |  |
| 320gu | Aux input 3 Output URV units | C |  |
| 320gu | Aux input 3 Output URV units | F |  |
| 320gu | Aux input 3 Output URV units | galUS/h |  |
| 320gu | Aux input 3 Output URV units | galUS/min |  |
| 320gu | Aux input 3 Output URV units | in |  |
| 320gu | Aux input 3 Output URV units | kg/d |  |
| 320gu | Aux input 3 Output URV units | kg/h |  |
| 320gu | Aux input 3 Output URV units | kg/s |  |
| 320gu | Aux input 3 Output URV units | kPa |  |
| 320gu | Aux input 3 Output URV units | kPa(g) |  |
| 320gu | Aux input 3 Output URV units | L/d(std) |  |
| 320gu | Aux input 3 Output URV units | L/s |  |
| 320gu | Aux input 3 Output URV units | L/s(std) |  |
| 320gu | Aux input 3 Output URV units | lb/h |  |
| 320gu | Aux input 3 Output URV units | m3/h |  |
| 320gu | Aux input 3 Output URV units | m3/s |  |
| 320gu | Aux input 3 Output URV units | mA |  |
| 320gu | Aux input 3 Output URV units | mm |  |
| 320gu | Aux input 3 Output URV units | mmHg |  |
| 320gu | Aux input 3 Output URV units | NA |  |
| 320gu | Aux input 3 Output URV units | Pa |  |
| 320gu | Aux input 3 Output URV units | Pa(g) |  |
| 320gu | Aux input 3 Output URV units | psi |  |
| 320gu | Aux input 3 Output URV units | psia |  |
| 320gu | Aux input 3 Output URV units | psig |  |
| 320gu | Aux input 3 Output URV units | V |  |
| 321a | Aux input 4 tag number | NA |  |
| 321b | Flow rate-Digital output | MEAS/SIGNAL/SCALE |  |
| 321b | Diff press-Digital output | MEAS/SIGNAL/SCALE |  |
| 321b | Temp-Digital output | MEAS/SIGNAL/SCALE |  |
| 321b | Aux input 4-Output | MEAS/SIGNAL/SCALE |  |
| 321b | Level-Digital output | MEAS/SIGNAL/SCALE |  |
| 321b | Pressure-Digital output | MEAS/SIGNAL/SCALE |  |
| 321c | Aux input 4 LRV | 0 |  |
| 321c | Aux input 4 LRV | 4 |  |
| 321cu | Aux input 4 LRV units |  |  |
| 321cu | Aux input 4 LRV units | °C |  |
| 321cu | Aux input 4 LRV units | °F |  |
| 321cu | Aux input 4 LRV units | bar |  |
| 321cu | Aux input 4 LRV units | bar(g) |  |
| 321cu | Aux input 4 LRV units | bbl/d |  |
| 321cu | Aux input 4 LRV units | C |  |
| 321cu | Aux input 4 LRV units | F |  |
| 321cu | Aux input 4 LRV units | galUS/h |  |
| 321cu | Aux input 4 LRV units | galUS/min |  |
| 321cu | Aux input 4 LRV units | in |  |
| 321cu | Aux input 4 LRV units | kg/d |  |
| 321cu | Aux input 4 LRV units | kg/h |  |
| 321cu | Aux input 4 LRV units | kg/s |  |
| 321cu | Aux input 4 LRV units | kPa |  |
| 321cu | Aux input 4 LRV units | kPa(g) |  |
| 321cu | Aux input 4 LRV units | L/d(std) |  |
| 321cu | Aux input 4 LRV units | L/s |  |
| 321cu | Aux input 4 LRV units | L/s(std) |  |
| 321cu | Aux input 4 LRV units | lb/h |  |
| 321cu | Aux input 4 LRV units | m3/h |  |
| 321cu | Aux input 4 LRV units | m3/s |  |
| 321cu | Aux input 4 LRV units | mA |  |
| 321cu | Aux input 4 LRV units | mm |  |
| 321cu | Aux input 4 LRV units | mmHg |  |
| 321cu | Aux input 4 LRV units | NA |  |
| 321cu | Aux input 4 LRV units | Pa |  |
| 321cu | Aux input 4 LRV units | Pa(g) |  |
| 321cu | Aux input 4 LRV units | psi |  |
| 321cu | Aux input 4 LRV units | psia |  |
| 321cu | Aux input 4 LRV units | psig |  |
| 321cu | Aux input 4 LRV units | V |  |
| 321d | Aux input 4 URV | 10 |  |
| 321d | Aux input 4 URV | 20 |  |
| 321d | Aux input 4 URV | 24 |  |
| 321du | Aux input 4 URV units | °C |  |
| 321du | Aux input 4 URV units | °F |  |
| 321du | Aux input 4 URV units | bar |  |
| 321du | Aux input 4 URV units | bar(g) |  |
| 321du | Aux input 4 URV units | bbl/d |  |
| 321du | Aux input 4 URV units | C |  |
| 321du | Aux input 4 URV units | F |  |
| 321du | Aux input 4 URV units | galUS/h |  |
| 321du | Aux input 4 URV units | galUS/min |  |
| 321du | Aux input 4 URV units | in |  |
| 321du | Aux input 4 URV units | kg/d |  |
| 321du | Aux input 4 URV units | kg/h |  |
| 321du | Aux input 4 URV units | kg/s |  |
| 321du | Aux input 4 URV units | kPa |  |
| 321du | Aux input 4 URV units | kPa(g) |  |
| 321du | Aux input 4 URV units | L/d(std) |  |
| 321du | Aux input 4 URV units | L/s |  |
| 321du | Aux input 4 URV units | L/s(std) |  |
| 321du | Aux input 4 URV units | lb/h |  |
| 321du | Aux input 4 URV units | m3/h |  |
| 321du | Aux input 4 URV units | m3/s |  |
| 321du | Aux input 4 URV units | mA |  |
| 321du | Aux input 4 URV units | mm |  |
| 321du | Aux input 4 URV units | mmHg |  |
| 321du | Aux input 4 URV units | NA |  |
| 321du | Aux input 4 URV units | Pa |  |
| 321du | Aux input 4 URV units | Pa(g) |  |
| 321du | Aux input 4 URV units | psi |  |
| 321du | Aux input 4 URV units | psia |  |
| 321du | Aux input 4 URV units | psig |  |
| 321du | Aux input 4 URV units | V |  |
| 321e | Aux input 4 action | direct |  |
| 321e | Aux input 4 action | NA |  |
| 321e | Aux input 4 action | NC |  |
| 321e | Aux input 4 action | NO |  |
| 321e | Aux input 4 action | reverse |  |
| 321f | Aux input 4 Output LRV |  |  |
| 321f | Aux input 4 Output LRV | 0 |  |
| 321fu | Aux input 4 Output LRV units | % |  |
| 321fu | Aux input 4 Output LRV units | °C |  |
| 321fu | Aux input 4 Output LRV units | °F |  |
| 321fu | Aux input 4 Output LRV units | bar |  |
| 321fu | Aux input 4 Output LRV units | bar(g) |  |
| 321fu | Aux input 4 Output LRV units | bbl/d |  |
| 321fu | Aux input 4 Output LRV units | C |  |
| 321fu | Aux input 4 Output LRV units | F |  |
| 321fu | Aux input 4 Output LRV units | galUS/h |  |
| 321fu | Aux input 4 Output LRV units | galUS/min |  |
| 321fu | Aux input 4 Output LRV units | in |  |
| 321fu | Aux input 4 Output LRV units | kg/d |  |
| 321fu | Aux input 4 Output LRV units | kg/h |  |
| 321fu | Aux input 4 Output LRV units | kg/s |  |
| 321fu | Aux input 4 Output LRV units | kPa |  |
| 321fu | Aux input 4 Output LRV units | kPa(g) |  |
| 321fu | Aux input 4 Output LRV units | L/d(std) |  |
| 321fu | Aux input 4 Output LRV units | L/s |  |
| 321fu | Aux input 4 Output LRV units | L/s(std) |  |
| 321fu | Aux input 4 Output LRV units | lb/h |  |
| 321fu | Aux input 4 Output LRV units | m3/h |  |
| 321fu | Aux input 4 Output LRV units | m3/s |  |
| 321fu | Aux input 4 Output LRV units | mA |  |
| 321fu | Aux input 4 Output LRV units | mm |  |
| 321fu | Aux input 4 Output LRV units | mmHg |  |
| 321fu | Aux input 4 Output LRV units | NA |  |
| 321fu | Aux input 4 Output LRV units | Pa |  |
| 321fu | Aux input 4 Output LRV units | Pa(g) |  |
| 321fu | Aux input 4 Output LRV units | psi |  |
| 321fu | Aux input 4 Output LRV units | psia |  |
| 321fu | Aux input 4 Output LRV units | psig |  |
| 321fu | Aux input 4 Output LRV units | V |  |
| 321g | Aux input 4 Output URV | 100 |  |
| 321gu | Aux input 4 Output URV units | % |  |
| 321gu | Aux input 4 Output URV units | °C |  |
| 321gu | Aux input 4 Output URV units | °F |  |
| 321gu | Aux input 4 Output URV units | bar |  |
| 321gu | Aux input 4 Output URV units | bar(g) |  |
| 321gu | Aux input 4 Output URV units | bbl/d |  |
| 321gu | Aux input 4 Output URV units | C |  |
| 321gu | Aux input 4 Output URV units | F |  |
| 321gu | Aux input 4 Output URV units | galUS/h |  |
| 321gu | Aux input 4 Output URV units | galUS/min |  |
| 321gu | Aux input 4 Output URV units | in |  |
| 321gu | Aux input 4 Output URV units | kg/d |  |
| 321gu | Aux input 4 Output URV units | kg/h |  |
| 321gu | Aux input 4 Output URV units | kg/s |  |
| 321gu | Aux input 4 Output URV units | kPa |  |
| 321gu | Aux input 4 Output URV units | kPa(g) |  |
| 321gu | Aux input 4 Output URV units | L/d(std) |  |
| 321gu | Aux input 4 Output URV units | L/s |  |
| 321gu | Aux input 4 Output URV units | L/s(std) |  |
| 321gu | Aux input 4 Output URV units | lb/h |  |
| 321gu | Aux input 4 Output URV units | m3/h |  |
| 321gu | Aux input 4 Output URV units | m3/s |  |
| 321gu | Aux input 4 Output URV units | mA |  |
| 321gu | Aux input 4 Output URV units | mm |  |
| 321gu | Aux input 4 Output URV units | mmHg |  |
| 321gu | Aux input 4 Output URV units | NA |  |
| 321gu | vAux input 4 Output URV units | Pa |  |
| 321gu | Aux input 4 Output URV units | Pa(g) |  |
| 321gu | Aux input 4 Output URV units | psi |  |
| 321gu | Aux input 4 Output URV units | psia |  |
| 321gu | Aux input 4 Output URV units | psig |  |
| 321gu | Aux input 4 Output URV units | V |  |
| 322a | Position close switch tag No | NA |  |
| 322b | Position close sw-Output | MEAS/SIGNAL/SCALE |  |
| 322c | Position setpoint 1 LRV | 0 |  |
| 322cu | Position setpoint 1 LRV units | % |  |
| 322cu | Position setpoint 1 LRV units | ° |  |
| 322cu | Position setpoint 1 LRV units | degree |  |
| 322cu | Position setpoint 1 LRV units | NA |  |
| 322e | Position setpoint 1 action | NA |  |
| 322e | Position setpoint 1 action | NC |  |
| 322e | Position setpoint 1 action | NO |  |
| 322f | Posn setpoint 1 Output LRV | 0 |  |
| 322fu | Posn setpoint Output LRV units | NA |  |
| 322fu | Posn setpoint Output LRV units | V |  |
| 322g | Posn setpoint 1 Output URV | 110 |  |
| 322g | Posn setpoint 1 Output URV | 125 |  |
| 322g | Posn setpoint 1 Output URV | 24 |  |
| 322gu | Posn setpoint Output URV units | NA |  |
| 322gu | Posn setpoint Output URV units | V |  |
| 323a | Position open switch tag No | NA |  |
| 323b | Position open sw-Output | MEAS/SIGNAL/SCALE |  |
| 323d | Position setpoint 2 URV | 100 |  |
| 323d | Position setpoint 2 URV | 90 |  |
| 323du | Position setpoint 2 URV units | % |  |
| 323du | Position setpoint 2 URV units | ° |  |
| 323du | Position setpoint 2 URV units | degree |  |
| 323du | Position setpoint 2 URV units | NA |  |
| 323e | Position setpoint 2 action | NA |  |
| 323e | Position setpoint 2 action | NC |  |
| 323e | Position setpoint 2 action | NO |  |
| 323f | Posn setpoint 1 Output LRV | 0 |  |
| 323fu | Posn setpoint Output LRV units | NA |  |
| 323fu | Posn setpoint Output LRV units | V |  |
| 323g | Posn setpoint 1 Output URV | 110 |  |
| 323g | Posn setpoint 1 Output URV | 125 |  |
| 323g | Posn setpoint 1 Output URV | 24 |  |
| 323gu | Posn setpoint Output URV units | NA |  |
| 323gu | Posn setpoint Output URV units | V |  |
| 324a | Torque close switch tag No | NA |  |
| 324b | Torque close sw-Output | MEAS/SIGNAL/SCALE |  |
| 324c | Torque setpoint 1 LRV |  |  |
| 324cu | Torque setpoint 1 LRV units | % |  |
| 324cu | Torque setpoint 1 LRV units | ft.lbs |  |
| 324cu | Torque setpoint 1 LRV units | in.lbf |  |
| 324cu | Torque setpoint 1 LRV units | N.m |  |
| 324cu | Torque setpoint 1 LRV units | NA |  |
| 324e | Torque setpoint 1 action | NA |  |
| 324e | Torque setpoint 1 action | NC |  |
| 324e | Torque setpoint 1 action | NO |  |
| 324f | Torque setpoint 1 Output LRV | 0 |  |
| 324fu | Torque Output LRV units | NA |  |
| 324fu | Torque Output LRV units | V |  |
| 324g | Torque setpoint 1 Output URV | 110 |  |
| 324g | Torque setpoint 1 Output URV | 125 |  |
| 324g | Torque setpoint 1 Output URV | 24 |  |
| 324gu | Torque Output URV units | NA |  |
| 324gu | Torque Output URV units | V |  |
| 325a | Torque open switch tag No | NA |  |
| 325b | Torque open sw-Output | MEAS/SIGNAL/SCALE |  |
| 325d | Torque setpoint 2 URV |  |  |
| 325du | Torque setpoint 2 URV units | % |  |
| 325du | Torque setpoint 2 URV units | ft.lbs |  |
| 325du | Torque setpoint 2 URV units | in.lbf |  |
| 325du | Torque setpoint 2 URV units | N.m |  |
| 325du | Torque setpoint 2 URV units | NA |  |
| 325e | Torque setpoint 2 action | NA |  |
| 325e | Torque setpoint 2 action | NC |  |
| 325e | Torque setpoint 2 action | NO |  |
| 325f | Torque setpoint 2 Output LRV | 0 |  |
| 325fu | Torque Output LRV units | NA |  |
| 325fu | Torque Output LRV units | V |  |
| 325g | Torque setpoint 2 Output URV | 110 |  |
| 325g | Torque setpoint 2 Output URV | 125 |  |
| 325g | Torque setpoint 2 Output URV | 24 |  |
| 325gu | Torque Output URV units | NA |  |
| 325gu | Torque Output URV units | V |  |
| 326a | Aux output 1 tag number | NA |  |
| 326b | Valve jammed-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Valve moving-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Open inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 326b | ESD signal-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Overtorque-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Motor overtemp-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Lost phase-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Mid-travel-Output | MEAS/SIGNAL/SCALE |  |
| 326b | DDC controlled-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Aux output 1-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Local stop/off-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Remote selected-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Manual operation-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Close inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 326b | No analog signal-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Hardware failure-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Closing-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Opening-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Interlock active-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Motor tripped-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Handwheel operated-Output | MEAS/SIGNAL/SCALE |  |
| 326b | Local selected-Output | MEAS/SIGNAL/SCALE |  |
| 326e | Aux output 1 action | NA |  |
| 326e | Aux output 1 action | NC |  |
| 326e | Aux output 1 action | NO |  |
| 326f | Aux output 1 Output LRV | 0 |  |
| 326fu | Aux output 1 Output LRV units | NA |  |
| 326fu | Aux output 1 Output LRV units | V |  |
| 326g | Aux output 1 Output URV | 110 |  |
| 326g | Aux output 1 Output URV | 125 |  |
| 326g | Aux output 1 Output URV | 24 |  |
| 326gu | Aux output 1 Output URV units | NA |  |
| 326gu | Aux output 1 Output URV units | V |  |
| 327a | Aux output 2 tag number | NA |  |
| 327b | Close inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Closing-Output | MEAS/SIGNAL/SCALE |  |
| 327b | DDC controlled-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Lost phase-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Valve moving-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Valve jammed-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Remote selected-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Overtorque-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Opening-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Motor overtemp-Output | MEAS/SIGNAL/SCALE |  |
| 327b | No analog signal-Output | MEAS/SIGNAL/SCALE |  |
| 327b | ESD signal-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Motor tripped-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Manual operation-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Local stop/off-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Local selected-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Interlock active-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Hardware failure-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Handwheel operated-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Open inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Mid-travel-Output | MEAS/SIGNAL/SCALE |  |
| 327b | Aux output 2-Output | MEAS/SIGNAL/SCALE |  |
| 327e | Aux output 2 action | NA |  |
| 327e | Aux output 2 action | NC |  |
| 327e | Aux output 2 action | NO |  |
| 327f | Aux output 2 Output LRV | 0 |  |
| 327fu | Aux output 2 Output LRV units | NA |  |
| 327fu | Aux output 2 Output LRV units | V |  |
| 327g | Aux output 2 Output URV | 110 |  |
| 327g | Aux output 2 Output URV | 125 |  |
| 327g | Aux output 2 Output URV | 24 |  |
| 327gu | Aux output 2 Output URV units | NA |  |
| 327gu | Aux output 2 Output URV units | V |  |
| 328a | Aux output 3 tag number | NA |  |
| 328b | Manual operation-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Hardware failure-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Close inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Closing-Output | MEAS/SIGNAL/SCALE |  |
| 328b | DDC controlled-Output | MEAS/SIGNAL/SCALE |  |
| 328b | ESD signal-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Handwheel operated-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Motor tripped-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Valve moving-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Valve jammed-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Remote selected-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Local stop/off-Output | MEAS/SIGNAL/SCALE |  |
| 328b | No analog signal-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Interlock active-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Motor overtemp-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Mid-travel-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Open inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Lost phase-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Aux output 3-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Local selected-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Opening-Output | MEAS/SIGNAL/SCALE |  |
| 328b | Overtorque-Output | MEAS/SIGNAL/SCALE |  |
| 328e | Aux output 3 action | NA |  |
| 328e | Aux output 3 action | NC |  |
| 328e | Aux output 3 action | NO |  |
| 328f | Aux output 3 Output LRV | 0 |  |
| 328fu | Aux output 3 Output LRV units | NA |  |
| 328fu | Aux output 3 Output LRV units | V |  |
| 328g | Aux output 3 Output URV | 110 |  |
| 328g | Aux output 3 Output URV | 125 |  |
| 328g | Aux output 3 Output URV | 24 |  |
| 328gu | Aux output 3 Output URV units | NA |  |
| 328gu | Aux output 3 Output URV units | V |  |
| 329a | Aux output 4 tag number | NA |  |
| 329b | Remote selected-Output | MEAS/SIGNAL/SCALE |  |
| 329b | DDC controlled-Output | MEAS/SIGNAL/SCALE |  |
| 329b | ESD signal-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Handwheel operated-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Hardware failure-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Interlock active-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Local selected-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Local stop/off-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Lost phase-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Closing-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Mid-travel-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Motor tripped-Output | MEAS/SIGNAL/SCALE |  |
| 329b | No analog signal-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Open inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Close inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Overtorque-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Manual operation-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Valve jammed-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Valve moving-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Opening-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Aux output 4-Output | MEAS/SIGNAL/SCALE |  |
| 329b | Motor overtemp-Output | MEAS/SIGNAL/SCALE |  |
| 329e | Aux output 4 action | NA |  |
| 329e | Aux output 4 action | NC |  |
| 329e | Aux output 4 action | NO |  |
| 329f | Aux output 4 Output LRV | 0 |  |
| 329fu | Aux output 4 Output LRV units | NA |  |
| 329fu | Aux output 4 Output LRV units | V |  |
| 329g | Aux output 4 Output URV | 110 |  |
| 329g | Aux output 4 Output URV | 125 |  |
| 329g | Aux output 4 Output URV | 24 |  |
| 329gu | Aux output 4 Output URV units | NA |  |
| 329gu | Aux output 4 Output URV units | V |  |
| 330a | Failure tag no | NA |  |
| 330e | Failure action | NA |  |
| 330e | Failure action | NC |  |
| 330e | Failure action | NO |  |
| 330f | Failure output LRV | 0 | LOWER RANGE-VALUE |
| 330fu | Failure output LRV units | NA | UNITS |
| 330fu | Failure output LRV units | V | UNITS |
| 330g | Failure output URV | 110 | UPPER RANGE-VALUE |
| 330g | Failure output URV | 125 | UPPER RANGE-VALUE |
| 330g | Failure output URV | 24 | UPPER RANGE-VALUE |
| 330gu | Failure output URV units | NA | UNITS |
| 330gu | Failure output URV units | V | UNITS |
| 331a | Attribute1 tag number | NA |  |
| 331b | Attr 1 cal/test descp | MEAS/SIGNAL/SCALE |  |
| 331c | Attribute 1 LRV | 0 | LOWER RANGE-VALUE |
| 331cu | Attribute 1 LRV units | % | UNITS |
| 331d | Attribute 1 URV | 100 | UPPER RANGE-VALUE |
| 331du | Attribute 1 URV units | % | UNITS |
| 331e | Attribute 1 action | direct | INSTRUMENT ACTION |
| 331e | Attribute 1 action | NA | INSTRUMENT ACTION |
| 331e | Attribute 1 action | NC | INSTRUMENT ACTION |
| 331e | Attribute 1 action | NO | INSTRUMENT ACTION |
| 331e | Attribute 1 action | reverse | INSTRUMENT ACTION |
| 331f | Attr 1 output LRV | 0 | LOWER RANGE-VALUE |
| 331fu | Attr 1 output LRV units | NA | UNITS |
| 331fu | Attr 1 output LRV units | V | UNITS |
| 331g | Attr 1 output URV | 110 | UPPER RANGE-VALUE |
| 331g | Attr 1 output URV | 125 | UPPER RANGE-VALUE |
| 331g | Attr 1 output URV | 24 | UPPER RANGE-VALUE |
| 331gu | Attr 1 output URV units | NA | UNITS |
| 331gu | Attr 1 output URV units | V | UNITS |
| 332 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 334a | Component type | MOV rotary motion type |  |
| 334b | Manufacturer | NULL | MANUFACTURER |
| 334c | Model number | NULL | MODEL NUMBER |
| 335a | Component type |  |  |
| 335b | Manufacturer | NULL | MANUFACTURER |
| 335c | Model number | NULL | MODEL NUMBER |
| 336a | Component type |  |  |
| 336b | Manufacturer | NULL | MANUFACTURER |
| 336c | Model number | NULL | MODEL NUMBER |
| 337a | Component type |  |  |
| 337b | Manufacturer | NULL | MANUFACTURER |
| 337c | Model number | NULL | MODEL NUMBER |
| 339a | Component type |  |  |
| 339b | Manufacturer | NULL | MANUFACTURER |
| 339c | Model number | NULL | MODEL NUMBER |