| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | POSITION SWITCHES | SECTION TITLE |  |
| 012 | Housing type | explosion proof enclosure | HOUSING |
| 012 | Housing type | general service | HOUSING |
| 012 | Housing type | hermetically sealed | HOUSING |
| 012 | Housing type | weatherproof | HOUSING |
| 012 | Housing type | NA | HOUSING |
| 013 | Sensor style | mechanical micro switch |  |
| 013 | Sensor style | proximity (sealed) |  |
| 013 | Sensor style | proximity 1 magnet |  |
| 013 | Sensor style | proximity 2 magnet |  |
| 013 | Sensor style | proximity 3 magnet |  |
| 013 | Sensor style | solid state sensor |  |
| 013 | Sensor style | NA |  |
| 014 | Output signal type | binary pneumatic | SIGNAL |
| 014 | Output signal type | dry contact | SIGNAL |
| 014 | Output signal type | relay | SIGNAL |
| 014 | Output signal type | transistor switch | SIGNAL |
| 014 | Output signal type | NA | SIGNAL |
| 015 | Enclosure type no/class | 1/3/4/4x/6/7/9/12/13 | ENCLOSURE TYPE NO/CLASS |
| 015 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 015 | Enclosure type no/class | 4/4X | ENCLOSURE TYPE NO/CLASS |
| 015 | Enclosure type no/class | 4/7 | ENCLOSURE TYPE NO/CLASS |
| 015 | Enclosure type no/class | 4/7/9 | ENCLOSURE TYPE NO/CLASS |
| 015 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 015 | Enclosure type no/class | 4X/7/9 | ENCLOSURE TYPE NO/CLASS |
| 015 | Enclosure type no/class | IP 65/IP 67 | ENCLOSURE TYPE NO/CLASS |
| 015 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 015 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 016a | Contacts ac rating | .3 | DEVICE RATING |
| 016a | Contacts ac rating | 1 | DEVICE RATING |
| 016a | Contacts ac rating | 1.25 | DEVICE RATING |
| 016a | Contacts ac rating | 1.5 | DEVICE RATING |
| 016a | Contacts ac rating | 2 | DEVICE RATING |
| 016a | Contacts ac rating | 2.5 | DEVICE RATING |
| 016a | Contacts ac rating | 3 | DEVICE RATING |
| 016a | Contacts ac rating | 4 | DEVICE RATING |
| 016a | Contacts ac rating | 5 | DEVICE RATING |
| 016a | Contacts ac rating | 6 | DEVICE RATING |
| 016a | Contacts ac rating | 10 | DEVICE RATING |
| 016a | Contacts ac rating | 15 | DEVICE RATING |
| 016a | Contacts ac rating | 20 | DEVICE RATING |
| 016a | Contacts ac rating | 240 | DEVICE RATING |
| 016a | Contacts ac rating | 720 | DEVICE RATING |
| 016a | Contacts ac rating | 1250 | DEVICE RATING |
| 016au | AC rating current units | A | UNITS |
| 016au | AC rating current units | W | UNITS |
| 016b | AC rating max voltage | 24 | DEVICE RATING |
| 016b | AC rating max voltage | 120 | DEVICE RATING |
| 016b | AC rating max voltage | 125 | DEVICE RATING |
| 016b | AC rating max voltage | 240 | DEVICE RATING |
| 016b | AC rating max voltage | 250 | DEVICE RATING |
| 016bu | AC max voltage units | V | UNITS |
| 017a | Contacts dc rating | .2 | DEVICE RATING |
| 017a | Contacts dc rating | .25 | DEVICE RATING |
| 017a | Contacts dc rating | .4 | DEVICE RATING |
| 017a | Contacts dc rating | 1.5 | DEVICE RATING |
| 017a | Contacts dc rating | 2 | DEVICE RATING |
| 017a | Contacts dc rating | 3 | DEVICE RATING |
| 017a | Contacts dc rating | 5 | DEVICE RATING |
| 017a | Contacts dc rating | 6 | DEVICE RATING |
| 017a | Contacts dc rating | 10 | DEVICE RATING |
| 017a | Contacts dc rating | 15 | DEVICE RATING |
| 017a | Contacts dc rating | 20 | DEVICE RATING |
| 017a | Contacts dc rating | 30 | DEVICE RATING |
| 017a | Contacts dc rating | 50 | DEVICE RATING |
| 017au | DC load units | A | UNITS |
| 017au | DC load units | mA | UNITS |
| 017au | DC load units | W | UNITS |
| 017b | DC rating max voltage | 24 | DEVICE RATING |
| 017b | DC rating max voltage | 30 | DEVICE RATING |
| 017b | DC rating max voltage | 125 | DEVICE RATING |
| 017b | DC rating max voltage | 250 | DEVICE RATING |
| 017bu | DC max voltage units | V | UNITS |
| 018 | Contacts arrangement | DMDB |  |
| 018 | Contacts arrangement | DMDB latching |  |
| 018 | Contacts arrangement | DPDT |  |
| 018 | Contacts arrangement | SPDT |  |
| 018 | Contacts arrangement | SPDT latching |  |
| 018 | Contacts arrangement | SPST (nc) |  |
| 018 | Contacts arrangement | SPST (no) |  |
| 018 | Contacts arrangement | NA |  |
| 018b | Contacts quantity | 1 |  |
| 018b | Contacts quantity | 2 |  |
| 018b | Contacts quantity | 3 |  |
| 018b | Contacts quantity | 4 |  |
| 018b | Contacts quantity | 5 |  |
| 018b | Contacts quantity | 6 |  |
| 019 | Integral indicator style | ANSI blue beacon |  |
| 019 | Integral indicator style | ANSI green beacon |  |
| 019 | Integral indicator style | ANSI red beacon |  |
| 019 | Integral indicator style | ANSI yellow beacon |  |
| 019 | Integral indicator style | black/yellow beacon |  |
| 019 | Integral indicator style | LED |  |
| 019 | Integral indicator style | NA |  |
| 020 | Signal conn termn type | exposed wiring leads | END CONNECTION TYPE |
| 020 | Signal conn termn type | male quick disconnect | END CONNECTION TYPE |
| 020 | Signal conn termn type | potted-in wiring leads | END CONNECTION TYPE |
| 020 | Signal conn termn type | screw terminals | END CONNECTION TYPE |
| 020 | Signal conn termn type | sealed wiring leads | END CONNECTION TYPE |
| 020 | Signal conn termn type | terminal block | END CONNECTION TYPE |
| 020 | Signal conn termn type | NA | END CONNECTION TYPE |
| 021 | Cert/Approval type | BASEEFA Explosion proof | CERTIFICATION |
| 021 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 021 | Cert/Approval type | CENELEC Intrinsic safe | CERTIFICATION |
| 021 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 021 | Cert/Approval type | CSA General purpose | CERTIFICATION |
| 021 | Cert/Approval type | CSA Hazardous | CERTIFICATION |
| 021 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 021 | Cert/Approval type | CSA Non-incendive | CERTIFICATION |
| 021 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 021 | Cert/Approval type | FM General purpose | CERTIFICATION |
| 021 | Cert/Approval type | FM Hazardous | CERTIFICATION |
| 021 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 021 | Cert/Approval type | MSHA Explosion proof | CERTIFICATION |
| 021 | Cert/Approval type | PTB Intrinsic safe | CERTIFICATION |
| 021 | Cert/Approval type | UL Explosion proof | CERTIFICATION |
| 021 | Cert/Approval type | UL General purpose | CERTIFICATION |
| 021 | Cert/Approval type | UL Intrinsic safe | CERTIFICATION |
| 021 | Cert/Approval type | UL Non-incendive | CERTIFICATION |
| 021 | Cert/Approval type | NA | CERTIFICATION |
| 022 | Mounting location/type | cs adapter kit | MOUNTING POSITION |
| 022 | Mounting location/type | sst adapter kit | MOUNTING POSITION |
| 022 | Mounting location/type | zytel adapter kit | MOUNTING POSITION |
| 022 | Mounting location/type | NA | MOUNTING POSITION |
| 023 | Enclosure material | 316 SST | MATERIAL |
| 023 | Enclosure material | aluminum | MATERIAL |
| 023 | Enclosure material | brass | MATERIAL |
| 023 | Enclosure material | copper | MATERIAL |
| 023 | Enclosure material | epoxy coated Aluminum | MATERIAL |
| 023 | Enclosure material | epoxy coated brass | MATERIAL |
| 023 | Enclosure material | glass filled nylon | MATERIAL |
| 023 | Enclosure material | kynar coated Aluminum | MATERIAL |
| 023 | Enclosure material | nylon coated Aluminum | MATERIAL |
| 023 | Enclosure material | PBTP | MATERIAL |
| 023 | Enclosure material | stainless steel | MATERIAL |
| 023 | Enclosure material | zytel resin | MATERIAL |
| 023 | Enclosure material | NA | MATERIAL |
| 024 | Shaft material | bronze | MATERIAL |
| 024 | Shaft material | manufacturer standard | MATERIAL |
| 024 | Shaft material | nylon | MATERIAL |
| 024 | Shaft material | stainless steel | MATERIAL |
| 024 | Shaft material | NA | MATERIAL |
| 025 | Bushing material | bronze | MATERIAL |
| 025 | Bushing material | manufacturer standard | MATERIAL |
| 025 | Bushing material | nylon | MATERIAL |
| 025 | Bushing material | stainless steel | MATERIAL |
| 025 | Bushing material | NA | MATERIAL |
| 026 | Fastener material | brass | MATERIAL |
| 026 | Fastener material | manufacturer standard | MATERIAL |
| 026 | Fastener material | stainless steel | MATERIAL |
| 026 | Fastener material | NA | MATERIAL |
| 027 | Gasket/O ring material | buna N | MATERIAL |
| 027 | Gasket/O ring material | manufacturer standard | MATERIAL |
| 027 | Gasket/O ring material | nitrile | MATERIAL |
| 027 | Gasket/O ring material | viton | MATERIAL |
| 027 | Gasket/O ring material | NA | MATERIAL |
| 028a | Definable attribute1 name | contact material | DEFINABLE ATTRIBUTE NAME |
| 028a | Definable attribute1 name | cover material | DEFINABLE ATTRIBUTE NAME |
| 028a | Definable attribute1 name | multi conduit entries | DEFINABLE ATTRIBUTE NAME |
| 028a | Definable attribute1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Definable attribute1 data | clear polycarbonate | DEFINABLE ATTRIBUTE VALUE |
| 028b | Definable attribute1 data | gold contacts | DEFINABLE ATTRIBUTE VALUE |
| 028b | Definable attribute1 data | three 1/2 NPT | DEFINABLE ATTRIBUTE VALUE |
| 028b | Definable attribute1 data | three 3/4 NPT | DEFINABLE ATTRIBUTE VALUE |
| 028b | Definable attribute1 data | two 1/2 NPT | DEFINABLE ATTRIBUTE VALUE |
| 028b | Definable attribute1 data | two 1/2 NPT,three 3/4 NPT | DEFINABLE ATTRIBUTE VALUE |
| 028b | Definable attribute1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029a | Definable attribute2 name | extended leads | DEFINABLE ATTRIBUTE NAME |
| 029a | Definable attribute2 name | failure/Diagnostic action | DEFINABLE ATTRIBUTE NAME |
| 029a | Definable attribute2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Definable attribute2 data | de-energize both relays | DEFINABLE ATTRIBUTE VALUE |
| 029b | Definable attribute2 data | 18 in | DEFINABLE ATTRIBUTE VALUE |
| 029b | Definable attribute2 data | 36 in | DEFINABLE ATTRIBUTE VALUE |
| 029b | Definable attribute2 data | 72 in | DEFINABLE ATTRIBUTE VALUE |
| 029b | Definable attribute2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030 | SOLENOID OR PILOT VALVE | SECTION TITLE |  |
| 031 | Body type | 2 way | VALVE BODY TYPE |
| 031 | Body type | 3 way | VALVE BODY TYPE |
| 031 | Body type | 3 way quick exhaust | VALVE BODY TYPE |
| 031 | Body type | 4 way 4 ported | VALVE BODY TYPE |
| 031 | Body type | 4 way 5 ported | VALVE BODY TYPE |
| 031 | Body type | assembled manifold | VALVE BODY TYPE |
| 031 | Body type | NA | VALVE BODY TYPE |
| 032 | Enclosure style | 1/2 NPT Conduit conn | ENCLOSURE |
| 032 | Enclosure style | explosion proof enclosure | ENCLOSURE |
| 032 | Enclosure style | grommet connection | ENCLOSURE |
| 032 | Enclosure style | junction box | ENCLOSURE |
| 032 | Enclosure style | open frame/yoke | ENCLOSURE |
| 032 | Enclosure style | rainproof/water tight | ENCLOSURE |
| 032 | Enclosure style | submersible splice box | ENCLOSURE |
| 032 | Enclosure style | NA | ENCLOSURE |
| 033a | Inlet conn nominal size | 1/8 in | NOMINAL SIZE |
| 033a | Inlet conn nominal size | 1/4 in | NOMINAL SIZE |
| 033a | Inlet conn nominal size | 3/8 in | NOMINAL SIZE |
| 033a | Inlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 033a | Inlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 033b | Inlet termn type | BSP(F) |  |
| 033b | Inlet termn type | NPT(F) |  |
| 033b | Inlet termn type | SAE |  |
| 034 | Coil watt rating | 0 |  |
| 034 | Coil watt rating | .35 |  |
| 034 | Coil watt rating | 1.0 |  |
| 034 | Coil watt rating | 1.4 |  |
| 034 | Coil watt rating | 10 |  |
| 034 | Coil watt rating | 13 |  |
| 034 | Coil watt rating | 16 |  |
| 034 | Coil watt rating | 22 |  |
| 034u | Watt units | W | UNITS |
| 035 | Coil insulation class | °C |  |
| 035 | Coil insulation class | °F |  |
| 035 | Coil insulation class | A |  |
| 035 | Coil insulation class | B |  |
| 035 | Coil insulation class | F |  |
| 035 | Coil insulation class | H |  |
| 035 | Coil insulation class | NA |  |
| 036 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 1,2,3,3S,4,4x | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 3,3S,4,4X,6,6P,7,9 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 3R | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 7,9 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 037a | Min operating press diff | 0 |  |
| 037a | Min operating press diff | 5 |  |
| 037a | Min operating press diff | 10 |  |
| 037a | Min operating press diff | 25 |  |
| 037au | Min press diff units | psi | UNITS |
| 037b | Max operating press diff | 50 |  |
| 037b | Max operating press diff | 100 |  |
| 037b | Max operating press diff | 125 |  |
| 037b | Max operating press diff | 150 |  |
| 037b | Max operating press diff | 175 |  |
| 037b | Max operating press diff | 180 |  |
| 037b | Max operating press diff | 250 |  |
| 037b | Max operating press diff | 290 |  |
| 037b | Max operating press diff | 300 |  |
| 037b | Max operating press diff | 750 |  |
| 037bu | Max press diff units | psi | UNITS |
| 038 | Signal power source | line 100-110 V(ac) 50 Hz |  |
| 038 | Signal power source | line 110 V(ac) 50 Hz |  |
| 038 | Signal power source | line 110/120 V(ac) 60 Hz |  |
| 038 | Signal power source | line 12 V(dc) |  |
| 038 | Signal power source | line 120 V(ac) 60 Hz |  |
| 038 | Signal power source | line 120 V(dc) |  |
| 038 | Signal power source | line 125 V(dc) |  |
| 038 | Signal power source | line 200 V(ac) 50 Hz |  |
| 038 | Signal power source | line 200-220 V(ac) 60 Hz |  |
| 038 | Signal power source | line 208 V(ac) 60 Hz |  |
| 038 | Signal power source | line 220 V(ac) 50 Hz |  |
| 038 | Signal power source | line 220/240 V(ac) 60 Hz |  |
| 038 | Signal power source | line 24 V(ac) 50/60 Hz |  |
| 038 | Signal power source | line 24 V(ac) 60 Hz |  |
| 038 | Signal power source | line 24 V(dc) |  |
| 038 | Signal power source | line 240 V(ac) 60 Hz |  |
| 038 | Signal power source | line 240 V(dc) |  |
| 038 | Signal power source | line 250 V(dc) |  |
| 038 | Signal power source | line 440 V(ac) 50 Hz |  |
| 038 | Signal power source | line 48 V(dc) |  |
| 038 | Signal power source | line 480 V(ac) 60 Hz |  |
| 038 | Signal power source | line 6 V(dc) |  |
| 038 | Signal power source | NA |  |
| 039 | Manual operator type | electrically triped reset |  |
| 039 | Manual operator type | free handle reset |  |
| 039 | Manual operator type | maintain push button |  |
| 039 | Manual operator type | maintain rotary stem |  |
| 039 | Manual operator type | maintain threaded stem |  |
| 039 | Manual operator type | momentary push button |  |
| 039 | Manual operator type | no voltage release reset |  |
| 039 | Manual operator type | screw type |  |
| 039 | Manual operator type | NA |  |
| 040 | Type of actuation | direct acting |  |
| 040 | Type of actuation | direct lift |  |
| 040 | Type of actuation | dual solenoid |  |
| 040 | Type of actuation | manual/mechanical |  |
| 040 | Type of actuation | pilot opr ext supply |  |
| 040 | Type of actuation | pilot opr intl supply |  |
| 040 | Type of actuation | remote pressure operated |  |
| 040 | Type of actuation | NA |  |
| 041 | Coil type | battery circuit |  |
| 041 | Coil type | integrated coil |  |
| 041 | Coil type | intermediate power |  |
| 041 | Coil type | intrinsically safe |  |
| 041 | Coil type | latching circuit |  |
| 041 | Coil type | low power |  |
| 041 | Coil type | molded coil dual voltage |  |
| 041 | Coil type | molded coils |  |
| 041 | Coil type | potted coil |  |
| 041 | Coil type | NA |  |
| 042 | Operation style | diverting |  |
| 042 | Operation style | normally closed |  |
| 042 | Operation style | normally open |  |
| 042 | Operation style | NA |  |
| 043a | Press port orifice size | 1/8 in |  |
| 043a | Press port orifice size | 1/4 in |  |
| 043a | Press port orifice size | 3/8 in |  |
| 043a | Press port orifice size | 1/2 in |  |
| 043a | Press port orifice size | 9/16 in |  |
| 043a | Press port orifice size | 5/8 in |  |
| 043a | Press port orifice size | 3/4 in |  |
| 043a | Press port orifice size | 1/16 in |  |
| 043a | Press port orifice size | 1/32 in |  |
| 043a | Press port orifice size | 3/16 in |  |
| 043a | Press port orifice size | 3/32 in |  |
| 043a | Press port orifice size | 3/64 in |  |
| 043a | Press port orifice size | 5/16 in |  |
| 043a | Press port orifice size | 5/32 in |  |
| 043a | Press port orifice size | 5/64 in |  |
| 043a | Press port orifice size | 7/32 in |  |
| 043a | Press port orifice size | 7/64 in |  |
| 043a | Press port orifice size | 9/32 in |  |
| 043a | Press port orifice size | 9/64 in |  |
| 043b | Exhaust port orifice size | 1/8 in |  |
| 043b | Exhaust port orifice size | 1/4 in |  |
| 043b | Exhaust port orifice size | 3/8 in |  |
| 043b | Exhaust port orifice size | 1/2 in |  |
| 043b | Exhaust port orifice size | 3/4 in |  |
| 043b | Exhaust port orifice size | 1/16 in |  |
| 043b | Exhaust port orifice size | 1/32 in |  |
| 043b | Exhaust port orifice size | 3/16 in |  |
| 043b | Exhaust port orifice size | 3/32 in |  |
| 043b | Exhaust port orifice size | 3/64 in |  |
| 043b | Exhaust port orifice size | 5/16 in |  |
| 043b | Exhaust port orifice size | 5/32 in |  |
| 043b | Exhaust port orifice size | 5/64 in |  |
| 043b | Exhaust port orifice size | 7/32 in |  |
| 043b | Exhaust port orifice size | 7/64 in |  |
| 043b | Exhaust port orifice size | 9/32 in |  |
| 043b | Exhaust port orifice size | 9/64 in |  |
| 044 | Signal conn termn type | DIN-type spade | END CONNECTION TYPE |
| 044 | Signal conn termn type | exposed wiring leads | END CONNECTION TYPE |
| 044 | Signal conn termn type | screw terminals | END CONNECTION TYPE |
| 044 | Signal conn termn type | tab | END CONNECTION TYPE |
| 044 | Signal conn termn type | NA | END CONNECTION TYPE |
| 045 | Cert/Approval type | CSA General purpose | CERTIFICATION |
| 045 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 045 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 045 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 045 | Cert/Approval type | UL General purpose | CERTIFICATION |
| 045 | Cert/Approval type | NA | CERTIFICATION |
| 046 | Mounting location/type | body bracket | MOUNTING POSITION |
| 046 | Mounting location/type | body connections | MOUNTING POSITION |
| 046 | Mounting location/type | conduit mount | MOUNTING POSITION |
| 046 | Mounting location/type | housing nipple | MOUNTING POSITION |
| 046 | Mounting location/type | panel mount | MOUNTING POSITION |
| 046 | Mounting location/type | yoke mounting bracket | MOUNTING POSITION |
| 046 | Mounting location/type | NA | MOUNTING POSITION |
| 047 | Enclosure material | 316 SST | MATERIAL |
| 047 | Enclosure material | aluminum | MATERIAL |
| 047 | Enclosure material | epoxy coated steel | MATERIAL |
| 047 | Enclosure material | molded epoxy | MATERIAL |
| 047 | Enclosure material | NA | MATERIAL |
| 048 | Body material | 303 SST | MATERIAL |
| 048 | Body material | 316 SST | MATERIAL |
| 048 | Body material | 430F SST | MATERIAL |
| 048 | Body material | alloy 20 | MATERIAL |
| 048 | Body material | aluminum | MATERIAL |
| 048 | Body material | brass | MATERIAL |
| 048 | Body material | bronze | MATERIAL |
| 048 | Body material | hastelloy B | MATERIAL |
| 048 | Body material | plastic | MATERIAL |
| 048 | Body material | stainless steel | MATERIAL |
| 048 | Body material | zinc die cast | MATERIAL |
| 048 | Body material | NA | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | buna N | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | EPDM | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | ethylene propylene | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | kalrez | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | kel-F | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | neoprene | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | nylon | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | rulon | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | teflon | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | viton | MATERIAL |
| 049 | Seat/Disc/Diaphragm matl | NA | MATERIAL |
| 050a | Definable attribute1 name | continuous leads | DEFINABLE ATTRIBUTE NAME |
| 050a | Definable attribute1 name | metering device | DEFINABLE ATTRIBUTE NAME |
| 050a | Definable attribute1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 050b | Definable attribute1 data | flow control valve | DEFINABLE ATTRIBUTE VALUE |
| 050b | Definable attribute1 data | 18 in | DEFINABLE ATTRIBUTE VALUE |
| 050b | Definable attribute1 data | 72 in | DEFINABLE ATTRIBUTE VALUE |
| 051a | Definable attribute2 name | ground wire | DEFINABLE ATTRIBUTE NAME |
| 051a | Definable attribute2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 051b | Definable attribute2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 052 | POSITION TRANSMITTER | SECTION TITLE |  |
| 053 | Housing type | analog resistive | HOUSING |
| 053 | Housing type | explosion proof enclosure | HOUSING |
| 053 | Housing type | general service | HOUSING |
| 053 | Housing type | manufacturer standard | HOUSING |
| 053 | Housing type | weatherproof | HOUSING |
| 053 | Housing type | NA | HOUSING |
| 054 | Sensor style |  |  |
| 054 | Sensor style | absolute shaft encoder |  |
| 054 | Sensor style | dual potentiometer |  |
| 054 | Sensor style | mechanical link |  |
| 054 | Sensor style | single potentiometer |  |
| 054 | Sensor style | NA |  |
| 055 | Output signal type | analog current | SIGNAL |
| 055 | Output signal type | analog pneumatic | SIGNAL |
| 055 | Output signal type | NA | SIGNAL |
| 056a | Accuracy/Linearity rating | .35 | ACCURACY RATING |
| 056a | Accuracy/Linearity rating | 1 | ACCURACY RATING |
| 056b | Accuracy rating ref base | % output span | ACCURACY REFERENCE |
| 056b | Accuracy rating ref base | deg | ACCURACY REFERENCE |
| 057 | Enclosure type no/class | 4,4X | ENCLOSURE TYPE NO/CLASS |
| 057 | Enclosure type no/class | 4,4X,7,9 | ENCLOSURE TYPE NO/CLASS |
| 057 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 057 | Enclosure type no/class | IP 20 | ENCLOSURE TYPE NO/CLASS |
| 057 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 058 | Digital communication std | foundation fieldbus |  |
| 058 | Digital communication std | NA |  |
| 059 | Signal power source | line 24 V(ac) 60 Hz |  |
| 059 | Signal power source | line 24 V(dc) |  |
| 059 | Signal power source | line 4-38 V(dc) |  |
| 059 | Signal power source | loop 10-30 V(dc) |  |
| 059 | Signal power source | loop 10-32 V(dc) |  |
| 059 | Signal power source | loop 11-30 V(dc) |  |
| 059 | Signal power source | loop 12-48 V(dc) |  |
| 059 | Signal power source | loop 20-30 V(dc) |  |
| 059 | Signal power source | pneumatic 25-35 psig |  |
| 059 | Signal power source | NA |  |
| 061 | Integral indicator style | 1 scale pressure gauge |  |
| 061 | Integral indicator style | 3 scale pressure gauge |  |
| 061 | Integral indicator style | tire valve for test gauge |  |
| 061 | Integral indicator style | NA |  |
| 062 | Signal conn termn type | 1/4 NPT(F) | END CONNECTION TYPE |
| 062 | Signal conn termn type | terminal strip | END CONNECTION TYPE |
| 062 | Signal conn termn type | NA | END CONNECTION TYPE |
| 063 | Cert/Approval type | CSA Harrods | CERTIFICATION |
| 063 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 063 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 063 | Cert/Approval type | UL Hazardous | CERTIFICATION |
| 063 | Cert/Approval type | NA | CERTIFICATION |
| 064 | Mounting location/type | integral with switch encl | MOUNTING POSITION |
| 064 | Mounting location/type | sst adapter kit | MOUNTING POSITION |
| 064 | Mounting location/type | NA | MOUNTING POSITION |
| 065 | Enclosure material | aluminum | MATERIAL |
| 065 | Enclosure material | NA | MATERIAL |
| 066a | Definable attribute1 name | pneumatic relay diaphragm | DEFINABLE ATTRIBUTE NAME |
| 066a | Definable attribute1 name | supply regulator | DEFINABLE ATTRIBUTE NAME |
| 066a | Definable attribute1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 066b | Definable attribute1 data | air set | DEFINABLE ATTRIBUTE VALUE |
| 066b | Definable attribute1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 067a | Definable attribute2 name | clip-on test gauge | DEFINABLE ATTRIBUTE NAME |
| 067a | Definable attribute2 name | gasket/O ring matl | DEFINABLE ATTRIBUTE NAME |
| 067a | Definable attribute2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Definable attribute2 data | 0-30 psig gauge | DEFINABLE ATTRIBUTE VALUE |
| 067b | Definable attribute2 data | 0-60 psig gauge | DEFINABLE ATTRIBUTE VALUE |
| 067b | Definable attribute2 data | fluoroelastomer | DEFINABLE ATTRIBUTE VALUE |
| 067b | Definable attribute2 data | nitrile | DEFINABLE ATTRIBUTE VALUE |
| 067b | Definable attribute2 data | polyacrylate-Dacron | DEFINABLE ATTRIBUTE VALUE |
| 067b | Definable attribute2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068 | SUPPLY PRESSURE TRIP VALVE | SECTION TITLE |  |
| 069 | Configuration type | fails actuator down |  |
| 069 | Configuration type | fails actuator up |  |
| 069 | Configuration type | fails locked |  |
| 069 | Configuration type | NA |  |
| 070 | Volume tank size | 8.5 |  |
| 070 | Volume tank size | 11.8 |  |
| 070 | Volume tank size | 21.6 |  |
| 070 | Volume tank size | 24.9 |  |
| 070 | Volume tank size | 30 |  |
| 070 | Volume tank size | 33.4 |  |
| 070 | Volume tank size | 42.8 |  |
| 070 | Volume tank size | 42.9 |  |
| 070 | Volume tank size | 65.6 |  |
| 070 | Volume tank size | 68.8 |  |
| 070 | Volume tank size | 131.1 |  |
| 070 | Volume tank size | 518 |  |
| 070 | Volume tank size | 721 |  |
| 070 | Volume tank size | 1315 |  |
| 070 | Volume tank size | 1520 |  |
| 070 | Volume tank size | 1831 |  |
| 070 | Volume tank size | 2036 |  |
| 070 | Volume tank size | 2609 |  |
| 070 | Volume tank size | 2615 |  |
| 070 | Volume tank size | 4001 |  |
| 070 | Volume tank size | 4199 |  |
| 070 | Volume tank size | 8002 |  |
| 070u | Volume units | in3 | UNITS |
| 070u | Volume units | L | UNITS |
| 071a | Trip set pressure reset | NA |  |
| 071b | Trip reset ref base |  |  |
| 072 | Tank max working pressure | 9.3 |  |
| 072 | Tank max working pressure | 14.5 |  |
| 072 | Tank max working pressure | 135 |  |
| 072 | Tank max working pressure | 240 |  |
| 072u | Working press units | bar(g) | UNITS |
| 072u | Working press units | psig | UNITS |
| 073a | Minimum supply capability | 10.3 |  |
| 073a | Minimum supply capability | 55 |  |
| 073au | Min supply pressure units | bar(g) | UNITS |
| 073au | Min supply pressure units | psig | UNITS |
| 073b | Max supply capability | 3.8 | SUPPLY PRESSURE |
| 073b | Max supply capability | 150 | SUPPLY PRESSURE |
| 073bu | Max supply press units | bar(g) | UNITS |
| 073bu | Max supply press units | psig | UNITS |
| 074a | Trip set pressure LRL | 2.8 | LOWER RANGE-LIMIT |
| 074a | Trip set pressure LRL | 40 | LOWER RANGE-LIMIT |
| 074au | Trip LRL units | bar(g) | UNITS |
| 074au | Trip LRL units | psig | UNITS |
| 074b | Trip set pressure URL | 72 |  |
| 074bu | Trip URL units | % | UNITS |
| 075 | Construction code | manufacturer standard |  |
| 075 | Construction code | NA |  |
| 076 | Mounting location/type | bracket mounted | MOUNTING POSITION |
| 076 | Mounting location/type | top mounted | MOUNTING POSITION |
| 076 | Mounting location/type | yoke mounted | MOUNTING POSITION |
| 076 | Mounting location/type | NA | MOUNTING POSITION |
| 077 | Body material | aluminum | MATERIAL |
| 077 | Body material | NA | MATERIAL |
| 078 | Diaphragm/O ring material | fluoroelastomer | MATERIAL |
| 078 | Diaphragm/O ring material | nitrile | MATERIAL |
| 078 | Diaphragm/O ring material | NA | MATERIAL |
| 079a | Definable attribute1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 079b | Definable attribute1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 080 | EMISSIONS MONITOR SWITCH | SECTION TITLE |  |
| 081 | Sensor type | pressure switch |  |
| 081 | Sensor type | NA |  |
| 082 | Housing type | hermetically sealed | HOUSING |
| 083a | Inlet conn nominal size | 1/4 in | NOMINAL SIZE |
| 083a | Inlet conn nominal size | NA | NOMINAL SIZE |
| 083b | Inlet conn termn style | NPTM |  |
| 083b | Inlet conn termn style | NA |  |
| 084 | Output signal type | dry contact | SIGNAL |
| 084 | Output signal type | NA | SIGNAL |
| 085 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 085 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 086a | Contacts ac rating | 2 | DEVICE RATING |
| 086au | AC rating current units | A | UNITS |
| 086b | AC rating ref voltage | 120 | DEVICE RATING |
| 086bu | AC max voltage units | V | UNITS |
| 087a | Contacts dc rating | 2 | DEVICE RATING |
| 087au | DC rating current units | A | UNITS |
| 087b | DC rating max voltage | 24 | DEVICE RATING |
| 087bu | DC max voltage units | V | UNITS |
| 088 | Contact arrangement | NA |  |
| 088a | Contact arrangement | SPDT |  |
| 089 | Integral indicator style | LED display |  |
| 089 | Integral indicator style | NA |  |
| 090 | Signal conn termn type | spade | END CONNECTION TYPE |
| 090 | Signal conn termn type | NA | END CONNECTION TYPE |
| 091 | Cert/Approval type | CSA Hazardous | CERTIFICATION |
| 091 | Cert/Approval type | UL Hazardous | CERTIFICATION |
| 091 | Cert/Approval type | NA | CERTIFICATION |
| 092 | Mounting location/type | NA | MOUNTING POSITION |
| 093 | Enclosure material | 316 SST | MATERIAL |
| 093 | Enclosure material | NA | MATERIAL |
| 094 | Diaphragm material | inconel 600 | BOLTING |
| 094 | Diaphragm material | NA | BOLTING |
| 095a | Definable attribute1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 095b | Definable attribute1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 096a | Definable attribute2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 096b | Definable attribute2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 097 | BOOSTER RELAY | SECTION TITLE |  |
| 098 | Configuration type | high temp service |  |
| 098 | Configuration type | nuclear service |  |
| 098 | Configuration type | standard service |  |
| 098 | Configuration type | NA |  |
| 099a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 099a | End conn nominal size | NA | NOMINAL SIZE |
| 099b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 099b | End conn termn style | NA | END CONNECTION TYPE |
| 100 | Dead band rating | 3.5 |  |
| 100 | Dead band rating | 5 |  |
| 100a | Dead band rating | 2 |  |
| 100b | Dead band ref base |  |  |
| 101 | Max supply capability | 2.8 | SUPPLY PRESSURE |
| 101 | Max supply capability | 40 | SUPPLY PRESSURE |
| 101 | Max supply capability | 150 | SUPPLY PRESSURE |
| 101u | Max supply press units | bar(g) | UNITS |
| 101u | Max supply press units | psig | UNITS |
| 102a | Supply port size | .375 |  |
| 102a | Supply port size | .5 |  |
| 102a | Supply port size | 9.5 |  |
| 102a | Supply port size | 12.7 |  |
| 102au | Supply port size units | in | UNITS |
| 102au | Supply port size units | mm | UNITS |
| 102b | Exhaust port size | .093 |  |
| 102b | Exhaust port size | .375 |  |
| 102b | Exhaust port size | .5 |  |
| 102b | Exhaust port size | 2.4 |  |
| 102b | Exhaust port size | 9.5 |  |
| 102b | Exhaust port size | 12.7 |  |
| 102bu | Exhaust port size units | in | UNITS |
| 102bu | Exhaust port size units | mm | UNITS |
| 103 | Body material | aluminum | MATERIAL |
| 103 | Body material | brass | MATERIAL |
| 103 | Body material | NA | MATERIAL |
| 104 | Closure member matl | EPDM/al/SST | MATERIAL |
| 104 | Closure member matl | nitrile-hypalon/al/SST | MATERIAL |
| 104 | Closure member matl | NA | MATERIAL |
| 105 | Diaphragm material | EPDM/Nomex | BOLTING |
| 105 | Diaphragm material | nitrile | BOLTING |
| 105 | Diaphragm material | nylon | BOLTING |
| 105 | Diaphragm material | NA | BOLTING |
| 106 | Test conn material | brass | MATERIAL |
| 106 | Test conn material | stainless steel | MATERIAL |
| 106 | Test conn material | NA | MATERIAL |
| 107 | Gasket/O ring material | EPDM | MATERIAL |
| 107 | Gasket/O ring material | nitrile | MATERIAL |
| 107 | Gasket/O ring material | NA | MATERIAL |
| 108a | Definable attribute1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Definable attribute1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Position xmtr tag no |  |  |
| 112b | Position-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Position LRV | 0 |  |
| 112cu | Position LRV units | cm | UNITS |
| 112cu | Position LRV units | in | UNITS |
| 112cu | Position LRV units | mm | UNITS |
| 112d | Position URV |  |  |
| 112du | Position URV units | cm | UNITS |
| 112du | Position URV units | in | UNITS |
| 112du | Position URV units | mm | UNITS |
| 112e | Position action | direct |  |
| 112e | Position action | reverse |  |
| 112f | Position output LRV | 4 |  |
| 112f | Position output LRV | 10 |  |
| 112fu | Position output LRV units | mA | UNITS |
| 112g | Position output URV | 20 |  |
| 112g | Position output URV | 50 |  |
| 112gu | Position output URV units | mA | UNITS |
| 113a | Solenoid tag no |  |  |
| 113b | Solenoid energized-Output | CALIBRATION/TEST DESC |  |
| 113d | Solenoid input URV | 120 |  |
| 113d | Solenoid input URV | 125 |  |
| 113d | Solenoid input URV | 24 |  |
| 113d | Solenoid input URV | 48 |  |
| 113du | Solenoid input URV units | V(ac) | UNITS |
| 113du | Solenoid input URV units | V(dc) | UNITS |
| 113e | Solenoid action | NC |  |
| 113e | Solenoid action | NO |  |
| 113f | Solenoid output LRV |  |  |
| 113fu | Solenoid output LRV units | bar(g) | UNITS |
| 113fu | Solenoid output LRV units | psig | UNITS |
| 113g | Solenoid output URV |  |  |
| 113gu | Solenoid output URV units | bar(g) | UNITS |
| 113gu | Solenoid output URV units | psig | UNITS |
| 114a | Position switch tag no |  |  |
| 114b | Position setpoint-Output | CALIBRATION/TEST DESC |  |
| 114c | Position setpoint LRV | 0 |  |
| 114cu | Position sp LRV units | cm | UNITS |
| 114cu | Position sp LRV units | in | UNITS |
| 114cu | Position sp LRV units | mm | UNITS |
| 114d | Position setpoint URV |  |  |
| 114du | Position sp URV units | cm | UNITS |
| 114du | Position sp URV units | in | UNITS |
| 114du | Position sp URV units | mm | UNITS |
| 114e | Position switch action | make |  |
| 114e | Position switch action | NO |  |
| 114f | Position sw output LRV | 0 |  |
| 114fu | Position sw LRV units | V | UNITS |
| 114g | Position sw output URV | 24 |  |
| 114g | Position sw output URV | 120 |  |
| 114gu | Position sw URV units | V | UNITS |
| 115a | Supply switch tag no |  |  |
| 115b | Supply setpoint-Output | CALIBRATION/TEST DESC |  |
| 115c | Supply setpoint LRV |  |  |
| 115cu | Supply setpoint LRV units | bar(g) | UNITS |
| 115cu | Supply setpoint LRV units | psig | UNITS |
| 115d | Supply setpoint URV |  |  |
| 115du | Supply setpoint URV units | psig | UNITS |
| 115e | Supply switch action | make |  |
| 115e | Supply switch action | NO |  |
| 115f | Supply sw output LRV |  |  |
| 115fu | Supply sw LRV units | psig | UNITS |
| 115g | Supply sw output URV |  |  |
| 115gu | Supply sw URV units | psig | UNITS |
| 116a | Emissions switch tag no |  |  |
| 116b | Emissions setpoint-Output | CALIBRATION/TEST DESC |  |
| 116c | Emissions setpoint LRV |  |  |
| 116cu | Emissions setpoint LRV units | bar(g) | UNITS |
| 116cu | Emissions setpoint LRV units | psig | UNITS |
| 116d | Emissions setpoint URV |  |  |
| 116du | Emissions setpoint URV units | bar(g) | UNITS |
| 116du | Emissions setpoint URV units | psig | UNITS |
| 116e | Emissions switch action | make |  |
| 116e | Emissions switch action | NO |  |
| 116f | Emissions sp output LRV | 0 |  |
| 116fu | Emissions sp LRV units | V | UNITS |
| 116g | Emissions sp output URV | 24 |  |
| 116g | Emissions sp output URV | 120 |  |
| 116gu | Emissions sp URV units | V | UNITS |
| 117a | Attribute tag no |  |  |
| 117b | Attribute cal/test descp | NA |  |
| 117c | Attribute cal/test LRV |  |  |
| 117cu | Attr cal/test LRV units |  | UNITS |
| 117d | Attribute cal/test URV |  |  |
| 117du | Attr cal/test URV units |  | UNITS |
| 117e | Attribute cal/test action |  |  |
| 117f | Attribute output LRV |  |  |
| 117fu | Attr output LRV units |  | UNITS |
| 117g | Attribute output URV |  |  |
| 117gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | position switch |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | solenoid valve |  |
| 122a | Component type | position transmitter |  |
| 123a | Component type | supply press trip valve |  |
| 124a | Component type | emissions monitor |  |
| 125a | Component type | booster relay |  |