| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | VALVE BODY AND BONNET | SECTION TITLE |  |
| 012 | Body type | angle | VALVE BODY TYPE |
| 012 | Body type | cage guided | VALVE BODY TYPE |
| 012 | Body type | double port post guided | VALVE BODY TYPE |
| 012 | Body type | inline stem guided | VALVE BODY TYPE |
| 012 | Body type | lined | VALVE BODY TYPE |
| 012 | Body type | lugged | VALVE BODY TYPE |
| 012 | Body type | offset | VALVE BODY TYPE |
| 012 | Body type | pinch/clamp | VALVE BODY TYPE |
| 012 | Body type | split | VALVE BODY TYPE |
| 012 | Body type | split body stem guided | VALVE BODY TYPE |
| 012 | Body type | three position | VALVE BODY TYPE |
| 012 | Body type | three-way converging | VALVE BODY TYPE |
| 012 | Body type | three-way diverging | VALVE BODY TYPE |
| 012 | Body type | wafer | VALVE BODY TYPE |
| 012 | Body type | weir | VALVE BODY TYPE |
| 012 | Body type | y-type cage guided | VALVE BODY TYPE |
| 012 | Body type | y-type stem guided | VALVE BODY TYPE |
| 013 | Bonnet style | bolted | BONNET TYPES |
| 013 | Bonnet style | bonnetless | BONNET TYPES |
| 013 | Bonnet style | cryogenic extended | BONNET TYPES |
| 013 | Bonnet style | extension bonnet | BONNET TYPES |
| 013 | Bonnet style | integral | BONNET TYPES |
| 013 | Bonnet style | mfg standard | BONNET TYPES |
| 013 | Bonnet style | pressure sealed | BONNET TYPES |
| 013 | Bonnet style | seal welded | BONNET TYPES |
| 013 | Bonnet style | threaded | BONNET TYPES |
| 013 | Bonnet style | welded | BONNET TYPES |
| 013 | Bonnet style | NA | BONNET TYPES |
| 014a | Inlet conn nominal size | 1/4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 3 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 6 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 8 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 10 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 12 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 14 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 16 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 20 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 24 in | NOMINAL SIZE |
| 014b | Inlet conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 25 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 75 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 800 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 150 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 20 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 250 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 420 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 6 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 015a | Outlet conn nominal size | 1/4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 3 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 6 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 8 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 10 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 12 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 14 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 16 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 20 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 24 in | NOMINAL SIZE |
| 015b | Outlet conn nom rating | cl 125 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 25 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 250 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 400 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 75 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 800 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 10 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 100 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 150 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 16 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 20 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 25 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 250 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 40 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 420 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 50 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 6 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 016a | End conn termn type | clamped | END CONNECTION TYPE |
| 016a | End conn termn type | flanged | END CONNECTION TYPE |
| 016a | End conn termn type | flangeless | END CONNECTION TYPE |
| 016a | End conn termn type | sep flg | END CONNECTION TYPE |
| 016a | End conn termn type | threaded | END CONNECTION TYPE |
| 016a | End conn termn type | wafer | END CONNECTION TYPE |
| 016a | End conn termn type | welded | END CONNECTION TYPE |
| 016b | End conn termn style | bw | END CONNECTION TYPE |
| 016b | End conn termn style | ff | END CONNECTION TYPE |
| 016b | End conn termn style | grayloc | END CONNECTION TYPE |
| 016b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 016b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 016b | End conn termn style | rf | END CONNECTION TYPE |
| 016b | End conn termn style | rtj | END CONNECTION TYPE |
| 016b | End conn termn style | sanitary | END CONNECTION TYPE |
| 016b | End conn termn style | SW(F) | END CONNECTION TYPE |
| 016b | End conn termn style | T&G | END CONNECTION TYPE |
| 017 | Flange facing finish | 125-250 Ra | FLANGE FACING FINISH |
| 017 | Flange facing finish | 250-500 Ra | FLANGE FACING FINISH |
| 017 | Flange facing finish | ANSI B 16.5 | FLANGE FACING FINISH |
| 017 | Flange facing finish | manufacturer standard | FLANGE FACING FINISH |
| 017 | Flange facing finish | NA | FLANGE FACING FINISH |
| 018 | Stem seal type | back seat | STEM SEAL TYPE |
| 018 | Stem seal type | bellows | STEM SEAL TYPE |
| 018 | Stem seal type | braided rings | STEM SEAL TYPE |
| 018 | Stem seal type | live loading | STEM SEAL TYPE |
| 018 | Stem seal type | purged packing box | STEM SEAL TYPE |
| 018 | Stem seal type | standard square packing | STEM SEAL TYPE |
| 018 | Stem seal type | standard V-ring | STEM SEAL TYPE |
| 018 | Stem seal type | twin packing w/lantern | STEM SEAL TYPE |
| 018 | Stem seal type | twin square packing | STEM SEAL TYPE |
| 018 | Stem seal type | twin V-ring | STEM SEAL TYPE |
| 018 | Stem seal type | twin V-ring w/latern ring | STEM SEAL TYPE |
| 018 | Stem seal type | vacuum V-rings | STEM SEAL TYPE |
| 018 | Stem seal type | vacuum V-rings w/lantern | STEM SEAL TYPE |
| 018 | Stem seal type | NA | STEM SEAL TYPE |
| 019 | Face-to-face standard | ANSI B16.10 (short) |  |
| 019 | Face-to-face standard | DIN EN 558 T1 |  |
| 019 | Face-to-face standard | ISA S75.15 |  |
| 019 | Face-to-face standard | ISA S75.20 (long) |  |
| 019 | Face-to-face standard | manufacturer standard |  |
| 019 | Face-to-face standard | NA |  |
| 020 | Yoke boss diameter | 1.250 |  |
| 020 | Yoke boss diameter | 2.125 |  |
| 020 | Yoke boss diameter | 2.250 |  |
| 020 | Yoke boss diameter | 2.812 |  |
| 020 | Yoke boss diameter | 3.312 |  |
| 020 | Yoke boss diameter | 3.562 |  |
| 020 | Yoke boss diameter | 5.0 |  |
| 020 | Yoke boss diameter | 54 |  |
| 020 | Yoke boss diameter | 55.6 |  |
| 020 | Yoke boss diameter | 71 |  |
| 020 | Yoke boss diameter | 90 |  |
| 020 | Yoke boss diameter | 127 |  |
| 020u | Yoke boss diameter units | in | UNITS |
| 020u | Yoke boss diameter units | mm | UNITS |
| 021 | Body and bonnet material | 1 1/4 Cr,1/2 Moly | MATERIAL |
| 021 | Body and bonnet material | 2 1/4 Cr,1 Moly | MATERIAL |
| 021 | Body and bonnet material | 304 SST | MATERIAL |
| 021 | Body and bonnet material | 304L SST | MATERIAL |
| 021 | Body and bonnet material | 3-1/2 Nickel | MATERIAL |
| 021 | Body and bonnet material | 316 SST | MATERIAL |
| 021 | Body and bonnet material | 316L SST | MATERIAL |
| 021 | Body and bonnet material | 347 SST | MATERIAL |
| 021 | Body and bonnet material | 5 Cr,1/2 Moly | MATERIAL |
| 021 | Body and bonnet material | 9 Cr,1 Moly | MATERIAL |
| 021 | Body and bonnet material | alloy 20 | MATERIAL |
| 021 | Body and bonnet material | alloy Steel,Cr Moly | MATERIAL |
| 021 | Body and bonnet material | aluminum | MATERIAL |
| 021 | Body and bonnet material | bronze | MATERIAL |
| 021 | Body and bonnet material | carbon steel | MATERIAL |
| 021 | Body and bonnet material | carbon steel,1/2 Moly | MATERIAL |
| 021 | Body and bonnet material | cast iron | MATERIAL |
| 021 | Body and bonnet material | ductile iron | MATERIAL |
| 021 | Body and bonnet material | hastelloy B | MATERIAL |
| 021 | Body and bonnet material | hastelloy C | MATERIAL |
| 021 | Body and bonnet material | inconel 600 | MATERIAL |
| 021 | Body and bonnet material | monel 400 | MATERIAL |
| 021 | Body and bonnet material | nickel | MATERIAL |
| 021 | Body and bonnet material | titanium | MATERIAL |
| 021 | Body and bonnet material | NA | MATERIAL |
| 022 | Lining material | PFA | MATERIAL |
| 022 | Lining material | TFE | MATERIAL |
| 022 | Lining material | NA | MATERIAL |
| 023 | Body/Bonnet bolting matl | high strength | BOLTING |
| 023 | Body/Bonnet bolting matl | low strength | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B16/SA-194-4 | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B16/SA-194-7 | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B7/SA-194-2H | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B7/SA-194-7 | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B8M/SA-194-8 SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B8M/SA-194-8M SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-320-B8/SA-194-8 SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-320-L7/SA-194-4 SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SAE grade 5 | BOLTING |
| 023 | Body/Bonnet bolting matl | NA | BOLTING |
| 024 | Packing flg bolting matl | alloy 20 | BOLTING |
| 024 | Packing flg bolting matl | hastelloy B2 | BOLTING |
| 024 | Packing flg bolting matl | hastelloy C276 | BOLTING |
| 024 | Packing flg bolting matl | low strength | BOLTING |
| 024 | Packing flg bolting matl | monel 400 | BOLTING |
| 024 | Packing flg bolting matl | stainless steel | BOLTING |
| 024 | Packing flg bolting matl | NA | BOLTING |
| 025 | Gasket material | 304 SST/AFG | MATERIAL |
| 025 | Gasket material | 304 SST/Asbestos | MATERIAL |
| 025 | Gasket material | 316 SST/AFG | MATERIAL |
| 025 | Gasket material | 316 SST/Asbestos | MATERIAL |
| 025 | Gasket material | 316 SST/Grafoil | MATERIAL |
| 025 | Gasket material | 316 SST/Teflon | MATERIAL |
| 025 | Gasket material | grafoil | MATERIAL |
| 025 | Gasket material | inconel | MATERIAL |
| 025 | Gasket material | inconel 600/graphite | MATERIAL |
| 025 | Gasket material | kel-F | MATERIAL |
| 025 | Gasket material | PTFE | MATERIAL |
| 025 | Gasket material | teflon (FEP) | MATERIAL |
| 025 | Gasket material | teflon (TFE) | MATERIAL |
| 025 | Gasket material | NA | MATERIAL |
| 026 | Packing material | asbestos | MATERIAL |
| 026 | Packing material | asbestos-Free-Packing | MATERIAL |
| 026 | Packing material | braided PTFE | MATERIAL |
| 026 | Packing material | carbon-filled PTFE | MATERIAL |
| 026 | Packing material | crane 187-1 | MATERIAL |
| 026 | Packing material | glass-filled teflon | MATERIAL |
| 026 | Packing material | grafoil | MATERIAL |
| 026 | Packing material | graphite | MATERIAL |
| 026 | Packing material | graphite ribbon/filament | MATERIAL |
| 026 | Packing material | graphite/AFP | MATERIAL |
| 026 | Packing material | PTFE | MATERIAL |
| 026 | Packing material | PTFE composition | MATERIAL |
| 026 | Packing material | PTFE-Graphite | MATERIAL |
| 026 | Packing material | teflon | MATERIAL |
| 026 | Packing material | teflon/AFP | MATERIAL |
| 026 | Packing material | NA | MATERIAL |
| 027 | Bellows seal material | 316 SST | MATERIAL |
| 027 | Bellows seal material | 316L SST | MATERIAL |
| 027 | Bellows seal material | hastelloy C | MATERIAL |
| 027 | Bellows seal material | hastelloy C276 | MATERIAL |
| 027 | Bellows seal material | inconel | MATERIAL |
| 027 | Bellows seal material | PTFE | MATERIAL |
| 027 | Bellows seal material | PTFE with carbon rings | MATERIAL |
| 027 | Bellows seal material | NA | MATERIAL |
| 028a | Defined attribute 1 name | end extensions | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | end termination material | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | heating/cooling type | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | lub & Isolation valve | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | stem facing | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 1 data | 316 SST | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | carbon steel | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | DIN EN 558 T2 | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | isolation valve | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | jacketed body | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | lubricator | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | manufacturer standard | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | stellite stem coating | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | tap and plug only | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029 | VALVE TRIM | SECTION TITLE |  |
| 030 | Closure member type | diaphragm | CLOSURE MEMBER |
| 030 | Closure member type | disk | CLOSURE MEMBER |
| 030 | Closure member type | gate | CLOSURE MEMBER |
| 030 | Closure member type | needle | CLOSURE MEMBER |
| 030 | Closure member type | pinch | CLOSURE MEMBER |
| 030 | Closure member type | plug | CLOSURE MEMBER |
| 030 | Closure member type | sliding disk | CLOSURE MEMBER |
| 031 | Trim style | anti-cavitation |  |
| 031 | Trim style | anti-noise 1 stage |  |
| 031 | Trim style | anti-noise 2 stage |  |
| 031 | Trim style | anti-noise 3 stage |  |
| 031 | Trim style | balanced plug |  |
| 031 | Trim style | erosion resistant |  |
| 031 | Trim style | multiple orifice |  |
| 031 | Trim style | reduced area |  |
| 031 | Trim style | soft seated |  |
| 031 | Trim style | NA |  |
| 032 | Inherent characteristic | characterized | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | equal percentage | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | linear | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | modified equal percentage | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | modified parabolic | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | quick opening | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | NA | VALVE TRIM INHERENT CHARACTER |
| 033 | Seat ring type | clamped-in |  |
| 033 | Seat ring type | integral |  |
| 033 | Seat ring type | replaceable |  |
| 033 | Seat ring type | threaded in |  |
| 033 | Seat ring type | NA |  |
| 034 | Flow direction force | flow-to-close | FLOW DIRECTION FORCE |
| 034 | Flow direction force | flow-to-open | FLOW DIRECTION FORCE |
| 034 | Flow direction force | NA | FLOW DIRECTION FORCE |
| 035 | Port/Orifice diameter | .1875 |  |
| 035 | Port/Orifice diameter | .250 |  |
| 035 | Port/Orifice diameter | .3125 |  |
| 035 | Port/Orifice diameter | .375 |  |
| 035 | Port/Orifice diameter | .500 |  |
| 035 | Port/Orifice diameter | .750 |  |
| 035 | Port/Orifice diameter | 1.000 |  |
| 035 | Port/Orifice diameter | 1.125 |  |
| 035 | Port/Orifice diameter | 1.1875 |  |
| 035 | Port/Orifice diameter | 1.3125 |  |
| 035 | Port/Orifice diameter | 1.500 |  |
| 035 | Port/Orifice diameter | 1.750 |  |
| 035 | Port/Orifice diameter | 1.875 |  |
| 035 | Port/Orifice diameter | 2.000 |  |
| 035 | Port/Orifice diameter | 2.1875 |  |
| 035 | Port/Orifice diameter | 2.3125 |  |
| 035 | Port/Orifice diameter | 2.500 |  |
| 035 | Port/Orifice diameter | 2.750 |  |
| 035 | Port/Orifice diameter | 2.875 |  |
| 035 | Port/Orifice diameter | 2.250 |  |
| 035 | Port/Orifice diameter | 3.3125 |  |
| 035 | Port/Orifice diameter | 3.4375 |  |
| 035 | Port/Orifice diameter | 3.75 |  |
| 035 | Port/Orifice diameter | 4.000 |  |
| 035 | Port/Orifice diameter | 4.250 |  |
| 035 | Port/Orifice diameter | 4.375 |  |
| 035 | Port/Orifice diameter | 4.8 |  |
| 035 | Port/Orifice diameter | 5.0 |  |
| 035 | Port/Orifice diameter | 5.375 |  |
| 035 | Port/Orifice diameter | 6.4 |  |
| 035 | Port/Orifice diameter | 6.875 |  |
| 035 | Port/Orifice diameter | 7.00 |  |
| 035 | Port/Orifice diameter | 8.00 |  |
| 035 | Port/Orifice diameter | 9.5 |  |
| 035 | Port/Orifice diameter | 10.00 |  |
| 035 | Port/Orifice diameter | 11.00 |  |
| 035 | Port/Orifice diameter | 12.7 |  |
| 035 | Port/Orifice diameter | 13 |  |
| 035 | Port/Orifice diameter | 14.0 |  |
| 035 | Port/Orifice diameter | 14.75 |  |
| 035 | Port/Orifice diameter | 16.25 |  |
| 035 | Port/Orifice diameter | 18.25 |  |
| 035 | Port/Orifice diameter | 19.1 |  |
| 035 | Port/Orifice diameter | 19.75 |  |
| 035 | Port/Orifice diameter | 28.6 |  |
| 035 | Port/Orifice diameter | 33.3 |  |
| 035 | Port/Orifice diameter | 38.1 |  |
| 035 | Port/Orifice diameter | 47.6 |  |
| 035 | Port/Orifice diameter | 58.7 |  |
| 035 | Port/Orifice diameter | 63.5 |  |
| 035 | Port/Orifice diameter | 73.0 |  |
| 035 | Port/Orifice diameter | 82.6 |  |
| 035 | Port/Orifice diameter | 87.3 |  |
| 035 | Port/Orifice diameter | 96 |  |
| 035 | Port/Orifice diameter | 111.1 |  |
| 035 | Port/Orifice diameter | 136.5 |  |
| 035 | Port/Orifice diameter | 177.8 |  |
| 035 | Port/Orifice diameter | 203.2 |  |
| 035 | Port/Orifice diameter | 279.4 |  |
| 035 | Port/Orifice diameter | 355.6 |  |
| 035 | Port/Orifice diameter | 374.7 |  |
| 035 | Port/Orifice diameter | 412.8 |  |
| 035 | Port/Orifice diameter | 463.6 |  |
| 035 | Port/Orifice diameter | 501.7 |  |
| 035 | Port/Orifice diameter | 254 |  |
| 035u | Port diameter units | in | UNITS |
| 035u | Port diameter units | mm | UNITS |
| 036a | Stem diameter | .312 |  |
| 036a | Stem diameter | .375 |  |
| 036a | Stem diameter | .500 |  |
| 036a | Stem diameter | .56 |  |
| 036a | Stem diameter | .625 |  |
| 036a | Stem diameter | .75 |  |
| 036a | Stem diameter | .80 |  |
| 036a | Stem diameter | .88 |  |
| 036a | Stem diameter | 1.00 |  |
| 036a | Stem diameter | 1.12 |  |
| 036a | Stem diameter | 1.25 |  |
| 036a | Stem diameter | 1.50 |  |
| 036a | Stem diameter | 2.00 |  |
| 036a | Stem diameter | 2.25 |  |
| 036a | Stem diameter | 3.00 |  |
| 036a | Stem diameter | 9.5 |  |
| 036a | Stem diameter | 12.7 |  |
| 036a | Stem diameter | 19.1 |  |
| 036a | Stem diameter | 25.4 |  |
| 036a | Stem diameter | 31.8 |  |
| 036au | Stem diameter units | in | UNITS |
| 036au | Stem diameter units | mm | UNITS |
| 036b | Rated travel | .625 | RATED TRAVEL |
| 036b | Rated travel | .75 | RATED TRAVEL |
| 036b | Rated travel | 1.125 | RATED TRAVEL |
| 036b | Rated travel | 1.50 | RATED TRAVEL |
| 036b | Rated travel | 2.0 | RATED TRAVEL |
| 036b | Rated travel | 2.5 | RATED TRAVEL |
| 036b | Rated travel | 3.0 | RATED TRAVEL |
| 036b | Rated travel | 4.0 | RATED TRAVEL |
| 036b | Rated travel | 6.0 | RATED TRAVEL |
| 036b | Rated travel | 8.0 | RATED TRAVEL |
| 036b | Rated travel | 8.8 | RATED TRAVEL |
| 036b | Rated travel | 14.88 | RATED TRAVEL |
| 036b | Rated travel | 15.88 | RATED TRAVEL |
| 036b | Rated travel | 15.9 | RATED TRAVEL |
| 036b | Rated travel | 16.88 | RATED TRAVEL |
| 036b | Rated travel | 19 | RATED TRAVEL |
| 036b | Rated travel | 25 | RATED TRAVEL |
| 036b | Rated travel | 29 | RATED TRAVEL |
| 036b | Rated travel | 38 | RATED TRAVEL |
| 036b | Rated travel | 51 | RATED TRAVEL |
| 036b | Rated travel | 64 | RATED TRAVEL |
| 036b | Rated travel | 102 | RATED TRAVEL |
| 036b | Rated travel | 76 | RATED TRAVEL |
| 036b | Rated travel | 152 | RATED TRAVEL |
| 036bu | Rated travel units | in | UNITS |
| 036bu | Rated travel units | mm | UNITS |
| 037 | Closure member material | 17-4 pH SST | MATERIAL |
| 037 | Closure member material | 304 SST | MATERIAL |
| 037 | Closure member material | 316 SST | MATERIAL |
| 037 | Closure member material | 316 SST/CoCr-A | MATERIAL |
| 037 | Closure member material | 316L SST | MATERIAL |
| 037 | Closure member material | 316L SST/CoCr-A | MATERIAL |
| 037 | Closure member material | 410 SST | MATERIAL |
| 037 | Closure member material | 416 SST | MATERIAL |
| 037 | Closure member material | 420 SST | MATERIAL |
| 037 | Closure member material | 440C SST | MATERIAL |
| 037 | Closure member material | alloy 20 | MATERIAL |
| 037 | Closure member material | alloy K500 (K-Monel) | MATERIAL |
| 037 | Closure member material | bronze | MATERIAL |
| 037 | Closure member material | carbon steel | MATERIAL |
| 037 | Closure member material | hastelloy B | MATERIAL |
| 037 | Closure member material | hastelloy C | MATERIAL |
| 037 | Closure member material | inconel 600 | MATERIAL |
| 037 | Closure member material | monel 400 | MATERIAL |
| 037 | Closure member material | nickel | MATERIAL |
| 037 | Closure member material | PTFE reinforced | MATERIAL |
| 037 | Closure member material | titanium | MATERIAL |
| 037 | Closure member material | NA | MATERIAL |
| 038 | Seat ring material | 17-4 pH SST | MATERIAL |
| 038 | Seat ring material | 17-4 pH SST,H900 | MATERIAL |
| 038 | Seat ring material | 304L SST | MATERIAL |
| 038 | Seat ring material | 316 SST | MATERIAL |
| 038 | Seat ring material | 316 SST/PTFE | MATERIAL |
| 038 | Seat ring material | 316/CoCr-A | MATERIAL |
| 038 | Seat ring material | 316/CoCr-A/PTFE | MATERIAL |
| 038 | Seat ring material | 316L SST | MATERIAL |
| 038 | Seat ring material | 316L SST/CoCr-A | MATERIAL |
| 038 | Seat ring material | 410 SST | MATERIAL |
| 038 | Seat ring material | 416 SST | MATERIAL |
| 038 | Seat ring material | 440C SST | MATERIAL |
| 038 | Seat ring material | alloy 20 | MATERIAL |
| 038 | Seat ring material | alloy 6 | MATERIAL |
| 038 | Seat ring material | alloy 6/PTFE | MATERIAL |
| 038 | Seat ring material | alloy K500 (K-Monel) | MATERIAL |
| 038 | Seat ring material | alloy K500 (K-Monel)/PTFE | MATERIAL |
| 038 | Seat ring material | bronze | MATERIAL |
| 038 | Seat ring material | hastelloy B2 | MATERIAL |
| 038 | Seat ring material | hastelloy C | MATERIAL |
| 038 | Seat ring material | monel 400 | MATERIAL |
| 038 | Seat ring material | nickel | MATERIAL |
| 038 | Seat ring material | NiCr-6 | MATERIAL |
| 038 | Seat ring material | nitrile | MATERIAL |
| 038 | Seat ring material | PTFE | MATERIAL |
| 038 | Seat ring material | PTFE carbon filled | MATERIAL |
| 038 | Seat ring material | titanium | MATERIAL |
| 038 | Seat ring material | tungsten | MATERIAL |
| 038 | Seat ring material | uMHW polyethylene | MATERIAL |
| 038 | Seat ring material | NA | MATERIAL |
| 039 | Stem material | 17-4 pH SST double H1150 | MATERIAL |
| 039 | Stem material | 17-4 pH SST H1050 | MATERIAL |
| 039 | Stem material | 17-4 pH SST H900 | MATERIAL |
| 039 | Stem material | 304 SST | MATERIAL |
| 039 | Stem material | 304L SST | MATERIAL |
| 039 | Stem material | 316 SST | MATERIAL |
| 039 | Stem material | 316 SST annealed | MATERIAL |
| 039 | Stem material | 316 SST chromium coated | MATERIAL |
| 039 | Stem material | 660 SST | MATERIAL |
| 039 | Stem material | 660 SST chromium coated | MATERIAL |
| 039 | Stem material | alloy 718 | MATERIAL |
| 039 | Stem material | alloy K500 (K-Monel) | MATERIAL |
| 039 | Stem material | hastelloy B | MATERIAL |
| 039 | Stem material | hastelloy C | MATERIAL |
| 039 | Stem material | monel 400 | MATERIAL |
| 039 | Stem material | nickel | MATERIAL |
| 039 | Stem material | NA | MATERIAL |
| 040 | Cage material | 17-4 pH SST | MATERIAL |
| 040 | Cage material | 17-4 pH SST,H1075 | MATERIAL |
| 040 | Cage material | 17-4 pH SST,H900 | MATERIAL |
| 040 | Cage material | 316 SST | MATERIAL |
| 040 | Cage material | 410 SST | MATERIAL |
| 040 | Cage material | 416 SST | MATERIAL |
| 040 | Cage material | 422 SST | MATERIAL |
| 040 | Cage material | 440 SST | MATERIAL |
| 040 | Cage material | alloy 20 | MATERIAL |
| 040 | Cage material | alloy 6 | MATERIAL |
| 040 | Cage material | alloy K500 (K-Monel) | MATERIAL |
| 040 | Cage material | cast iron | MATERIAL |
| 040 | Cage material | F22 SST | MATERIAL |
| 040 | Cage material | hastelloy B | MATERIAL |
| 040 | Cage material | hastelloy C | MATERIAL |
| 040 | Cage material | monel | MATERIAL |
| 040 | Cage material | NA | MATERIAL |
| 041 | Guide/Retainer material | 17-4 pH SST | MATERIAL |
| 041 | Guide/Retainer material | 316 SST | MATERIAL |
| 041 | Guide/Retainer material | 316L SST | MATERIAL |
| 041 | Guide/Retainer material | 410 SST | MATERIAL |
| 041 | Guide/Retainer material | 416 SST | MATERIAL |
| 041 | Guide/Retainer material | alloy 20 | MATERIAL |
| 041 | Guide/Retainer material | carbon steel | MATERIAL |
| 041 | Guide/Retainer material | hastelloy B2 | MATERIAL |
| 041 | Guide/Retainer material | hastelloy C | MATERIAL |
| 041 | Guide/Retainer material | inconel 718 | MATERIAL |
| 041 | Guide/Retainer material | monel 400 | MATERIAL |
| 041 | Guide/Retainer material | nickel | MATERIAL |
| 041 | Guide/Retainer material | titanium | MATERIAL |
| 041 | Guide/Retainer material | NA | MATERIAL |
| 042 | Guide bushing material | 17-4 pH SST | MATERIAL |
| 042 | Guide bushing material | 316L SST/PTFE | MATERIAL |
| 042 | Guide bushing material | 416 SST heat treated | MATERIAL |
| 042 | Guide bushing material | alloy 20 | MATERIAL |
| 042 | Guide bushing material | alloy 6 | MATERIAL |
| 042 | Guide bushing material | alloy K500 (K-Monel) | MATERIAL |
| 042 | Guide bushing material | bronze | MATERIAL |
| 042 | Guide bushing material | coCr-A | MATERIAL |
| 042 | Guide bushing material | hastelloy C | MATERIAL |
| 042 | Guide bushing material | nylon | MATERIAL |
| 042 | Guide bushing material | PTFE glass filled | MATERIAL |
| 042 | Guide bushing material | stellite | MATERIAL |
| 042 | Guide bushing material | NA | MATERIAL |
| 043 | Hard facing/coating | colmonoy | HARD FACING |
| 043 | Hard facing/coating | stellite full contour | HARD FACING |
| 043 | Hard facing/coating | stellite guide area | HARD FACING |
| 043 | Hard facing/coating | stellite seat full bore | HARD FACING |
| 043 | Hard facing/coating | stellite seat surface | HARD FACING |
| 043 | Hard facing/coating | tungsten carbide | HARD FACING |
| 043 | Hard facing/coating | NA | HARD FACING |
| 044a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 044b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 045 | ACTUATOR | SECTION TITLE |  |
| 046 | Actuator type | bellows |  |
| 046 | Actuator type | diaphragm |  |
| 046 | Actuator type | electric |  |
| 046 | Actuator type | electrohydraulic piston |  |
| 046 | Actuator type | electromechanical |  |
| 046 | Actuator type | fluid motor |  |
| 046 | Actuator type | hydraulic |  |
| 046 | Actuator type | manual actuator |  |
| 046 | Actuator type | mechanical lever |  |
| 046 | Actuator type | piston |  |
| 046 | Actuator type | spring-opposed diaphragm |  |
| 046 | Actuator type | spring-opposed piston |  |
| 046 | Actuator type | NA |  |
| 047 | Acting style | direct Fluid-to-Retract |  |
| 047 | Acting style | double |  |
| 047 | Acting style | reverse fluid-to-extend |  |
| 047 | Acting style | NA |  |
| 048 | Effective area | 20 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 25 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 26 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 30 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 45 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 47 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 48 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 50 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 70 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 71 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 80 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 100 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 129 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 140 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 145 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 200 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 215 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 300 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 310 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 323 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 330 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 400 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 450 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 500 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 516 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 600 | ACTUATOR EFFECTIVE AREA |
| 048 | Effective area | 1387 | ACTUATOR EFFECTIVE AREA |
| 048u | Area units | cm2 | UNITS |
| 048u | Area units | in2 | UNITS |
| 049a | Bench set LRL | .2 |  |
| 049a | Bench set LRL | .4 |  |
| 049a | Bench set LRL | 3 |  |
| 049a | Bench set LRL | 6 |  |
| 049a | Bench set LRL | 7 |  |
| 049a | Bench set LRL | 10 |  |
| 049au | Bench set LRL units | bar(g) | UNITS |
| 049au | Bench set LRL units | psig | UNITS |
| 049b | Bench set URL | 1.0 |  |
| 049b | Bench set URL | 2.0 |  |
| 049b | Bench set URL | 15 |  |
| 049b | Bench set URL | 24 |  |
| 049b | Bench set URL | 30 |  |
| 049u | Bench set URL units | bar(g) | UNITS |
| 049u | Bench set URL units | psig | UNITS |
| 050 | Max supply capability | 8.6 | SUPPLY PRESSURE |
| 050 | Max supply capability | 35 | SUPPLY PRESSURE |
| 050 | Max supply capability | 38 | SUPPLY PRESSURE |
| 050 | Max supply capability | 50 | SUPPLY PRESSURE |
| 050 | Max supply capability | 55 | SUPPLY PRESSURE |
| 050 | Max supply capability | 60 | SUPPLY PRESSURE |
| 050 | Max supply capability | 78 | SUPPLY PRESSURE |
| 050 | Max supply capability | 80 | SUPPLY PRESSURE |
| 050 | Max supply capability | 100 | SUPPLY PRESSURE |
| 050 | Max supply capability | 110 | SUPPLY PRESSURE |
| 050 | Max supply capability | 125 | SUPPLY PRESSURE |
| 050 | Max supply capability | 150 | SUPPLY PRESSURE |
| 050 | Max supply capability | 154 | SUPPLY PRESSURE |
| 050 | Max supply capability | 314 | SUPPLY PRESSURE |
| 050u | Supply capability units | bar(g) | UNITS |
| 050u | Supply capability units | psig | UNITS |
| 051 | Hand wheel type/position | declutchable |  |
| 051 | Hand wheel type/position | gear operated |  |
| 051 | Hand wheel type/position | limit closing stop |  |
| 051 | Hand wheel type/position | limit opening stop |  |
| 051 | Hand wheel type/position | side mounted,continuous |  |
| 051 | Hand wheel type/position | top mounted,continuous |  |
| 051 | Hand wheel type/position | NA |  |
| 052 | Casing/cylinder material | aluminum | MATERIAL |
| 052 | Casing/cylinder material | anodized aluminum | MATERIAL |
| 052 | Casing/cylinder material | black amalgon | MATERIAL |
| 052 | Casing/cylinder material | carbon steel | MATERIAL |
| 052 | Casing/cylinder material | NA | MATERIAL |
| 053 | Diaphragm/O ring material | beebe compound | MATERIAL |
| 053 | Diaphragm/O ring material | buna-N | MATERIAL |
| 053 | Diaphragm/O ring material | dacron reinforced Buna-N | MATERIAL |
| 053 | Diaphragm/O ring material | fluoroelastomer | MATERIAL |
| 053 | Diaphragm/O ring material | nitrile | MATERIAL |
| 053 | Diaphragm/O ring material | nylon | MATERIAL |
| 053 | Diaphragm/O ring material | silicone rubber | MATERIAL |
| 053 | Diaphragm/O ring material | viton | MATERIAL |
| 053 | Diaphragm/O ring material | NA | MATERIAL |
| 054 | Yoke material | aluminum | MATERIAL |
| 054 | Yoke material | carbon steel | MATERIAL |
| 054 | Yoke material | cast iron | MATERIAL |
| 054 | Yoke material | ductile iron | MATERIAL |
| 054 | Yoke material | NA | MATERIAL |
| 055a | Defined attribute 1 name | hand jack | DEFINABLE ATTRIBUTE NAME |
| 055a | Defined attribute 1 name | mechanical stop | DEFINABLE ATTRIBUTE NAME |
| 055a | Defined attribute 1 name | mounting orientation | DEFINABLE ATTRIBUTE NAME |
| 055a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 055b | Defined attribute 1 data | close stop | DEFINABLE ATTRIBUTE VALUE |
| 055b | Defined attribute 1 data | open stop | DEFINABLE ATTRIBUTE VALUE |
| 055b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 056 | SIGNAL TRANSDUCER | SECTION TITLE |  |
| 057 | Input signal type | analog current |  |
| 057 | Input signal type | analog pneumatic |  |
| 057 | Input signal type | digital single-variable |  |
| 057 | Input signal type | NA |  |
| 058 | Output signal type | analog hydraulic | SIGNAL |
| 058 | Output signal type | analog pneumatic | SIGNAL |
| 058 | Output signal type | NA | SIGNAL |
| 059a | Accuracy rating | .50 | ACCURACY RATING |
| 059a | Accuracy rating | .75 | ACCURACY RATING |
| 059a | Accuracy rating | 1.00 | ACCURACY RATING |
| 059a | Accuracy rating | NA | ACCURACY RATING |
| 059b | Accuracy rating ref base | % output span | ACCURACY REFERENCE |
| 059b | Accuracy rating ref base | NA | ACCURACY REFERENCE |
| 061 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 061 | Enclosure type no/class | 7,9 | ENCLOSURE TYPE NO/CLASS |
| 061 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 061 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 062 | Digital communication std | DE protocol |  |
| 062 | Digital communication std | foundation fieldbus |  |
| 062 | Digital communication std | HART protocol |  |
| 062 | Digital communication std | NA |  |
| 063 | Signal power source | loop 12-30 V(dc) |  |
| 063 | Signal power source | NA |  |
| 064 | Pressure gauges | output | PRESSURE GAUGE |
| 064 | Pressure gauges | supply,Output | PRESSURE GAUGE |
| 064 | Pressure gauges | NA | PRESSURE GAUGE |
| 065 | Cert/Approval type | BASEEFA Explosion proof | CERTIFICATION |
| 065 | Cert/Approval type | BASEEFA Type N | CERTIFICATION |
| 065 | Cert/Approval type | BASEEFA/CENELEC IS | CERTIFICATION |
| 065 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 065 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 065 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 065 | Cert/Approval type | CSA Non-incendive | CERTIFICATION |
| 065 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 065 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 065 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 065 | Cert/Approval type | NA | CERTIFICATION |
| 066 | Mounting location/type | integral mounted | MOUNTING POSITION |
| 066 | Mounting location/type | remote mounted | MOUNTING POSITION |
| 066 | Mounting location/type | NA | MOUNTING POSITION |
| 067 | Enclosure material | aluminum | MATERIAL |
| 067 | Enclosure material | NA | MATERIAL |
| 068a | Defined attribute 1 name | mounting kit | DEFINABLE ATTRIBUTE NAME |
| 068a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 1 data | 2 in pipe mount | DEFINABLE ATTRIBUTE VALUE |
| 068b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069 | POSITIONER OR CONTROLLER | SECTION TITLE |  |
| 070 | Configuration type | amplifying positioner |  |
| 070 | Configuration type | digital PID controller |  |
| 070 | Configuration type | double acting positioner |  |
| 070 | Configuration type | single acting |  |
| 070 | Configuration type | NA |  |
| 071 | Input signal type | analog current |  |
| 071 | Input signal type | analog pneumatic |  |
| 071 | Input signal type | digital single-variable |  |
| 071 | Input signal type | NA |  |
| 072 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 072 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 072 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 073 | Signal power source | hydraulic |  |
| 073 | Signal power source | loop 12-30 V(dc) |  |
| 073 | Signal power source | loop 12-40 V(dc) |  |
| 073 | Signal power source | pneumatic 30-150 psig |  |
| 073 | Signal power source | NA |  |
| 074 | Digital communication std | DE protocol |  |
| 074 | Digital communication std | foundation fieldbus |  |
| 074 | Digital communication std | HART protocol |  |
| 074 | Digital communication std | NA |  |
| 075 | Cert/Approval type | BASEEFA Explosion proof | CERTIFICATION |
| 075 | Cert/Approval type | BASEEFA Type N | CERTIFICATION |
| 075 | Cert/Approval type | BASEEFA/CENELEC IS | CERTIFICATION |
| 075 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 075 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 075 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 075 | Cert/Approval type | CSA Non-incendive | CERTIFICATION |
| 075 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 075 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 075 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 075 | Cert/Approval type | NA | CERTIFICATION |
| 076 | Pressure gauges | signal,Output | PRESSURE GAUGE |
| 076 | Pressure gauges | signal,output,supply | PRESSURE GAUGE |
| 076 | Pressure gauges | supply | PRESSURE GAUGE |
| 076 | Pressure gauges | NA | PRESSURE GAUGE |
| 077 | By-pass manifold | manifold with 3 gauges |  |
| 077 | By-pass manifold | NA |  |
| 078 | Enclosure material | aluminum | MATERIAL |
| 078 | Enclosure material | NA | MATERIAL |
| 079a | Defined attribute 1 name | stroking time | DEFINABLE ATTRIBUTE NAME |
| 079a | Defined attribute 1 name | travel characteristic | DEFINABLE ATTRIBUTE NAME |
| 079a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 079b | Defined attribute 1 data | characterized | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 080 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 081a | Max press at design temp |  | PRESSURE |
| 081au | Design pressure units | bar(g) | UNITS |
| 081au | Design pressure units | psig | UNITS |
| 081b | Max design temperature |  | DESIGN TEMPERATURE |
| 081bu | Max design temp units | °C | UNITS |
| 081bu | Max design temp units | °F | UNITS |
| 081bu | Max design temp units | C | UNITS |
| 081bu | Max design temp units | F | UNITS |
| 082a | Min working temperature |  | WORKING TEMPERATURE |
| 082au | Min working temp units | °C | UNITS |
| 082au | Min working temp units | °F | UNITS |
| 082au | Min working temp units | C | UNITS |
| 082au | Min working temp units | F | UNITS |
| 082b | Max working temperature |  | WORKING TEMPERATURE |
| 082bu | Working temp units | °C | UNITS |
| 082bu | Max working temp units | °C | UNITS |
| 082bu | Working temp units | °F | UNITS |
| 082bu | Max working temp units | °F | UNITS |
| 082bu | Max working temp units | C | UNITS |
| 082bu | Working temp units | C | UNITS |
| 082bu | Working temp units | F | UNITS |
| 082bu | Max working temp units | F | UNITS |
| 083 | Max pressure drop |  | PRESSURE DROP |
| 083u | Max pressure drop units | bar | UNITS |
| 083u | Max pressure drop units | psi | UNITS |
| 084 | Rated flow coef type | Cv | RATED FLOW COEFF |
| 084 | Rated flow coef type | Kv | RATED FLOW COEFF |
| 084a | Rated flow coefficient |  | RATED FLOW COEFF |
| 084b | Rated factor Xt |  | FACTOR XT |
| 085a | Rated Factor Fl |  | LIQUID PRESSURE RECOVERY FACTR |
| 085b | Rated factor sigma mr |  | FACTOR MR |
| 086 | Rated seat leakage class | I | RATED SEAT LEAKAGE CLASS |
| 086 | Rated seat leakage class | II | RATED SEAT LEAKAGE CLASS |
| 086 | Rated seat leakage class | III | RATED SEAT LEAKAGE CLASS |
| 086 | Rated seat leakage class | IV | RATED SEAT LEAKAGE CLASS |
| 086 | Rated seat leakage class | V | RATED SEAT LEAKAGE CLASS |
| 086 | Rated seat leakage class | VI | RATED SEAT LEAKAGE CLASS |
| 087a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088 | ACCESSORIES | SECTION TITLE |  |
| 089 | Air set filter style | air Filter | AIR SET |
| 089 | Air set filter style | air set | AIR SET |
| 089 | Air set filter style | NA | AIR SET |
| 090 | Air set gauges | output | AIR GAGE |
| 090 | Air set gauges | NA | AIR GAGE |
| 091 | Tubing nominal size | 1/4 in | NOMINAL SIZE |
| 091 | Tubing nominal size | 3/8 in | NOMINAL SIZE |
| 091 | Tubing nominal size | 1/2 in | NOMINAL SIZE |
| 091 | Tubing nominal size | 6 mm | NOMINAL SIZE |
| 091 | Tubing nominal size | 10 mm | NOMINAL SIZE |
| 091 | Tubing nominal size | 12 mm | NOMINAL SIZE |
| 091 | Tubing nominal size | NA | NOMINAL SIZE |
| 092 | Tubing and fitting matl | 316 SST | MATERIAL |
| 092 | Tubing and fitting matl | copper,PVC coated | MATERIAL |
| 092 | Tubing and fitting matl | NA | MATERIAL |
| 093a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 093b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 094 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 095 | Custom tag | fiber tag |  |
| 095 | Custom tag | sst permanent attached |  |
| 095 | Custom tag | sst wired-on |  |
| 095 | Custom tag | NA |  |
| 096 | Reference specification | NA | REFERENCE SPECIFICATION |
| 097 | Special preparation | chlorine service |  |
| 097 | Special preparation | hydrogen service |  |
| 097 | Special preparation | oxygen service |  |
| 097 | Special preparation | NA |  |
| 098 | Compliance standard | ANSI B16,104 | NACE STANDARD |
| 098 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 098 | Compliance standard | NA | NACE STANDARD |
| 099 | Construction code | ANSI B31.1 |  |
| 099 | Construction code | ANSI B31.3 |  |
| 099 | Construction code | ASME section VIII |  |
| 099 | Construction code | NA |  |
| 100 | Software configuration | custom configuration |  |
| 100 | Software configuration | transmitter configuration |  |
| 100 | Software configuration | NA |  |
| 101a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 101b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 102 | PHYSICAL DATA | SECTION TITLE |  |
| 103 | Estimated weight |  |  |
| 103u | Weight units | kg | UNITS |
| 103u | Weight units | lb | UNITS |
| 104 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 104u | Face-to-face dim units | in | UNITS |
| 104u | Face-to-face dim units | mm | UNITS |
| 105 | Overall height |  |  |
| 105u | Overall height units | in | UNITS |
| 105u | Overall height units | mm | UNITS |
| 106 | Removal clearance |  |  |
| 106u | Removal clearance units | in | UNITS |
| 106u | Removal clearance units | mm | UNITS |
| 107 | Mfr reference dwg | NA |  |
| 108a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Valve tag number |  |  |
| 112b | Bench set-Travel | CALIBRATION/TEST DESC |  |
| 112c | Bench set LRV | 3 | LOWER RANGE-VALUE |
| 112c | Bench set LRV | 6 | LOWER RANGE-VALUE |
| 112c | Bench set LRV | 7 | LOWER RANGE-VALUE |
| 112c | Bench set LRV | 11 | LOWER RANGE-VALUE |
| 112cu | Bench set LRV units | bar(g) | UNITS |
| 112cu | Bench set LRV units | psig | UNITS |
| 112d | Bench set URV | 6 | UPPER RANGE-VALUE |
| 112d | Bench set URV | 11 | UPPER RANGE-VALUE |
| 112d | Bench set URV | 12 | UPPER RANGE-VALUE |
| 112d | Bench set URV | 15 | UPPER RANGE-VALUE |
| 112d | Bench set URV | 20 | UPPER RANGE-VALUE |
| 112d | Bench set URV | 30 | UPPER RANGE-VALUE |
| 112d | Bench set URV | 50 | UPPER RANGE-VALUE |
| 112du | Bench set URV units | bar(g) | UNITS |
| 112du | Bench set URV units | psig | UNITS |
| 112e | Bench set action | fail-closed |  |
| 112e | Bench set action | fail-in-place |  |
| 112e | Bench set action | fail-open |  |
| 112f | Travel Lower Range Value | 0 | LOWER RANGE-VALUE |
| 112fu | Travel LRV units | % | UNITS |
| 112fu | Travel LRV units | in | UNITS |
| 112fu | Travel LRV units | mm | UNITS |
| 112g | Travel Upper Range Value | 100 | UPPER RANGE-VALUE |
| 112gu | Travel URV units | % | UNITS |
| 112gu | Travel URV units | in | UNITS |
| 112gu | Travel URV units | mm | UNITS |
| 113a | Positioner tag no |  |  |
| 113b | Positioner input-Travel | CALIBRATION/TEST DESC |  |
| 113c | Positioner Input LRV | 3 | LOWER RANGE-VALUE |
| 113c | Positioner Input LRV | 4 | LOWER RANGE-VALUE |
| 113c | Positioner Input LRV | 10 | LOWER RANGE-VALUE |
| 113c | Positioner Input LRV | 20 | LOWER RANGE-VALUE |
| 113c | Positioner Input LRV | 50 | LOWER RANGE-VALUE |
| 113cu | Positioner LRV units | bar(g) | UNITS |
| 113cu | Positioner LRV units | mA | UNITS |
| 113cu | Positioner LRV units | psia | UNITS |
| 113d | Positioner Input URV | 9 | UPPER RANGE-VALUE |
| 113d | Positioner Input URV | 15 | UPPER RANGE-VALUE |
| 113d | Positioner Input URV | 20 | UPPER RANGE-VALUE |
| 113du | Positioner URV units | bar(g) | UNITS |
| 113du | Positioner URV units | mA | UNITS |
| 113du | Positioner URV units | psia | UNITS |
| 113e | Positioner action | direct |  |
| 113e | Positioner action | reverse |  |
| 113f | Travel Lower Range Value | 0 | LOWER RANGE-VALUE |
| 113fu | Travel LRV units | % | UNITS |
| 113fu | Travel LRV units | in | UNITS |
| 113fu | Travel LRV units | mm | UNITS |
| 113g | Travel Upper Range Value | 100 | UPPER RANGE-VALUE |
| 113gu | Travel URV units | % | UNITS |
| 113gu | Travel URV units | in | UNITS |
| 113gu | Travel URV units | mm | UNITS |
| 114a | Signal transducer tag no |  |  |
| 114b | Transducer input-Output | CALIBRATION/TEST DESC |  |
| 114c | Signal transducer LRV | 4 | LOWER RANGE-VALUE |
| 114c | Signal transducer LRV | 10 | LOWER RANGE-VALUE |
| 114cu | Signal xdcr LRV units | mA | UNITS |
| 114d | Signal transducer URV | 20 | UPPER RANGE-VALUE |
| 114d | Signal transducer URV | 50 | UPPER RANGE-VALUE |
| 114du | Signal xdcr URV units | mA | UNITS |
| 114e | Signal xdcr action | direct |  |
| 114e | Signal xdcr action | reverse |  |
| 114f | Transducer output LRV | 3 | LOWER LIMIT |
| 114f | Transducer output LRV | 6 | LOWER LIMIT |
| 114fu | Xdcr output LRV units | bar(g) | UNITS |
| 114fu | Xdcr output LRV units | psig | UNITS |
| 114g | Transducer output URV | 15 | UPPER LIMIT |
| 114g | Transducer output URV | 30 | UPPER LIMIT |
| 114gu | Xdcr output URV units | bar(g) | UNITS |
| 114gu | Xdcr output URV units | psig | UNITS |
| 115b | Test pressure | CALIBRATION/TEST DESC |  |
| 115d | Test pressure URV |  |  |
| 115du | Test pressure URV units | bar(g) | UNITS |
| 115du | Test pressure URV units | psig | UNITS |
| 116a | Attribute1 tag number |  |  |
| 116b | Attr 1 cal/test descp | NA |  |
| 116c | Attribute 1 LRV |  | LOWER RANGE-VALUE |
| 116cu | Attribute 1 LRV units |  | UNITS |
| 116d | Attribute 1 URV |  | UPPER RANGE-VALUE |
| 116du | Attribute 1 URV units |  | UNITS |
| 116e | Attribute 1 action |  |  |
| 116f | Attr 1 output LRV |  | LOWER LIMIT |
| 116fu | Attr 1 output LRV units |  | UNITS |
| 116g | Attr 1 output URV |  |  |
| 116gu | Attr 1 output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | linear mtn control valve |  |
| 121a | Component type | positioner |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 122a | Component type | i/h transducer |  |
| 122a | Component type | i/p transducer int mtd |  |
| 122a | Component type | i/p transducer remote mtd |  |