| Pick list 20C2041 Linear Motion Type MOV |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 012 | Body type | weir | VALVE BODY TYPE |
| 012 | Body type | y-type cage guided | VALVE BODY TYPE |
| 012 | Body type | wafer | VALVE BODY TYPE |
| 012 | Body type | three-way diverging | VALVE BODY TYPE |
| 012 | Body type | three-way converging | VALVE BODY TYPE |
| 012 | Body type | three position | VALVE BODY TYPE |
| 012 | Body type | split body stem guided | VALVE BODY TYPE |
| 012 | Body type | split | VALVE BODY TYPE |
| 012 | Body type | offset | VALVE BODY TYPE |
| 012 | Body type | lugged | VALVE BODY TYPE |
| 012 | Body type | lined | VALVE BODY TYPE |
| 012 | Body type | inline stem guided | VALVE BODY TYPE |
| 012 | Body type | double port post guided | VALVE BODY TYPE |
| 012 | Body type | cage guided | VALVE BODY TYPE |
| 012 | Body type | angle | VALVE BODY TYPE |
| 012 | Body type | pinch/clamp | VALVE BODY TYPE |
| 012 | Body type | y-type stem guided | VALVE BODY TYPE |
| 013 | Bonnet style | bonnetless | BONNET TYPES |
| 013 | Bonnet style | threaded | BONNET TYPES |
| 013 | Bonnet style | seal welded | BONNET TYPES |
| 013 | Bonnet style | pressure sealed | BONNET TYPES |
| 013 | Bonnet style | NA | BONNET TYPES |
| 013 | Bonnet style | mfg standard | BONNET TYPES |
| 013 | Bonnet style | integral | BONNET TYPES |
| 013 | Bonnet style | cryogenic extended | BONNET TYPES |
| 013 | Bonnet style | bolted | BONNET TYPES |
| 013 | Bonnet style | welded | BONNET TYPES |
| 013 | Bonnet style | extension bonnet | BONNET TYPES |
| 014a | Inlet conn nominal size | 1/4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 3 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 6 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 8 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 10 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 12 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 14 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 16 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 20 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 24 in | NOMINAL SIZE |
| 014b | Inlet conn nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 20 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 250 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 420 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 6 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 150 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 25 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 75 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 800 | NOMINAL PRESSURE/RATING |
| 015a | Outlet conn nominal size | 1/4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 3 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 6 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 8 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 10 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 12 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 14 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 16 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 20 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 24 in | NOMINAL SIZE |
| 015b | Outlet conn nom rating | PN 250 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 10 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 100 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 150 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 16 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 20 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 6 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 50 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 40 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 420 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | PN 25 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 250 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 125 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 25 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 400 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 75 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 800 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 016a | End conn termn type | clamped | END CONNECTION TYPE |
| 016a | End conn termn type | flanged | END CONNECTION TYPE |
| 016a | End conn termn type | flangeless | END CONNECTION TYPE |
| 016a | End conn termn type | sep flg | END CONNECTION TYPE |
| 016a | End conn termn type | threaded | END CONNECTION TYPE |
| 016a | End conn termn type | wafer | END CONNECTION TYPE |
| 016a | End conn termn type | welded | END CONNECTION TYPE |
| 016b | End conn termn style | sanitary | END CONNECTION TYPE |
| 016b | End conn termn style | RTJ | END CONNECTION TYPE |
| 016b | End conn termn style | SW(F) | END CONNECTION TYPE |
| 016b | End conn termn style | T&G | END CONNECTION TYPE |
| 016b | End conn termn style | RF | END CONNECTION TYPE |
| 016b | End conn termn style | FF | END CONNECTION TYPE |
| 016b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 016b | End conn termn style | grayloc | END CONNECTION TYPE |
| 016b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 016b | End conn termn style | BW | END CONNECTION TYPE |
| 017 | Flange facing finish | ANSI B 16.5 | FLANGE FACING FINISH |
| 017 | Flange facing finish | manufacturer standard | FLANGE FACING FINISH |
| 017 | Flange facing finish | 250-500 Ra | FLANGE FACING FINISH |
| 017 | Flange facing finish | 125-250 Ra | FLANGE FACING FINISH |
| 017 | Flange facing finish | NA | FLANGE FACING FINISH |
| 018 | Stem seal type | braided rings | STEM SEAL TYPE |
| 018 | Stem seal type | standard V-ring | STEM SEAL TYPE |
| 018 | Stem seal type | vacuum V-rings w/lantern | STEM SEAL TYPE |
| 018 | Stem seal type | vacuum V-rings | STEM SEAL TYPE |
| 018 | Stem seal type | twin V-ring w/latern ring | STEM SEAL TYPE |
| 018 | Stem seal type | twin V-ring | STEM SEAL TYPE |
| 018 | Stem seal type | twin square packing | STEM SEAL TYPE |
| 018 | Stem seal type | twin packing w/lantern | STEM SEAL TYPE |
| 018 | Stem seal type | standard square packing | STEM SEAL TYPE |
| 018 | Stem seal type | purged packing box | STEM SEAL TYPE |
| 018 | Stem seal type | live loading | STEM SEAL TYPE |
| 018 | Stem seal type | bellows | STEM SEAL TYPE |
| 018 | Stem seal type | back seat | STEM SEAL TYPE |
| 018 | Stem seal type | NA | STEM SEAL TYPE |
| 019 | Face-to-face standard | ISA S75.20 (long) |  |
| 019 | Face-to-face standard | ISA S75.15 |  |
| 019 | Face-to-face standard | NA |  |
| 019 | Face-to-face standard | DIN EN 558 T1 |  |
| 019 | Face-to-face standard | manufacturer standard |  |
| 019 | Face-to-face standard | ANSI B16.10 (short) |  |
| 020 | Yoke boss diameter | 71 |  |
| 020 | Yoke boss diameter | 90 |  |
| 020 | Yoke boss diameter | 55.6 |  |
| 020 | Yoke boss diameter | 54 |  |
| 020 | Yoke boss diameter | 5.0 |  |
| 020 | Yoke boss diameter | 3.562 |  |
| 020 | Yoke boss diameter | 2.812 |  |
| 020 | Yoke boss diameter | 2.250 |  |
| 020 | Yoke boss diameter | 2.125 |  |
| 020 | Yoke boss diameter | 1.250 |  |
| 020 | Yoke boss diameter | 3.312 |  |
| 020 | Yoke boss diameter | 127 |  |
| 020u | Yoke boss diameter units | in | UNITS |
| 020u | Yoke boss diameter units | mm | UNITS |
| 021 | Body and bonnet material | NA | MATERIAL |
| 021 | Body and bonnet material | bronze | MATERIAL |
| 021 | Body and bonnet material | carbon steel | MATERIAL |
| 021 | Body and bonnet material | carbon steel,1/2 Moly | MATERIAL |
| 021 | Body and bonnet material | cast iron | MATERIAL |
| 021 | Body and bonnet material | titanium | MATERIAL |
| 021 | Body and bonnet material | hastelloy B | MATERIAL |
| 021 | Body and bonnet material | nickel | MATERIAL |
| 021 | Body and bonnet material | monel 400 | MATERIAL |
| 021 | Body and bonnet material | aluminum | MATERIAL |
| 021 | Body and bonnet material | ductile iron | MATERIAL |
| 021 | Body and bonnet material | inconel 600 | MATERIAL |
| 021 | Body and bonnet material | alloy 20 | MATERIAL |
| 021 | Body and bonnet material | 9 Cr,1 Moly | MATERIAL |
| 021 | Body and bonnet material | 5 Cr,1/2 Moly | MATERIAL |
| 021 | Body and bonnet material | 347 SST | MATERIAL |
| 021 | Body and bonnet material | 316L SST | MATERIAL |
| 021 | Body and bonnet material | 316 SST | MATERIAL |
| 021 | Body and bonnet material | 3-1/2 Nickel | MATERIAL |
| 021 | Body and bonnet material | 304L SST | MATERIAL |
| 021 | Body and bonnet material | 304 SST | MATERIAL |
| 021 | Body and bonnet material | 2 1/4 Cr,1 Moly | MATERIAL |
| 021 | Body and bonnet material | 1 1/4 Cr,1/2 Moly | MATERIAL |
| 021 | Body and bonnet material | hastelloy C | MATERIAL |
| 021 | Body and bonnet material | alloy Steel,Cr Moly | MATERIAL |
| 022 | Lining material | NA | MATERIAL |
| 022 | Lining material | PFA | MATERIAL |
| 022 | Lining material | TFE | MATERIAL |
| 023 | Body/Bonnet bolting matl | SA-193-B7/SA-194-2H | BOLTING |
| 023 | Body/Bonnet bolting matl | SAE grade 5 | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-320-L7/SA-194-4 SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-320-B8/SA-194-8 SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B8M/SA-194-8M SST | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B7/SA-194-7 | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B16/SA-194-7 | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B16/SA-194-4 | BOLTING |
| 023 | Body/Bonnet bolting matl | NA | BOLTING |
| 023 | Body/Bonnet bolting matl | low strength | BOLTING |
| 023 | Body/Bonnet bolting matl | high strength | BOLTING |
| 023 | Body/Bonnet bolting matl | SA-193-B8M/SA-194-8 SST | BOLTING |
| 024 | Packing flg bolting matl | monel 400 | BOLTING |
| 024 | Packing flg bolting matl | low strength | BOLTING |
| 024 | Packing flg bolting matl | NA | BOLTING |
| 024 | Packing flg bolting matl | hastelloy B2 | BOLTING |
| 024 | Packing flg bolting matl | alloy 20 | BOLTING |
| 024 | Packing flg bolting matl | stainless steel | BOLTING |
| 024 | Packing flg bolting matl | hastelloy C276 | BOLTING |
| 025 | Gasket material | NA | MATERIAL |
| 025 | Gasket material | teflon (TFE) | MATERIAL |
| 025 | Gasket material | PTFE | MATERIAL |
| 025 | Gasket material | kel-F® | MATERIAL |
| 025 | Gasket material | kel-F | MATERIAL |
| 025 | Gasket material | inconel 600/graphite | MATERIAL |
| 025 | Gasket material | inconel® | MATERIAL |
| 025 | Gasket material | inconel | MATERIAL |
| 025 | Gasket material | 304 SST/AFG | MATERIAL |
| 025 | Gasket material | grafoil | MATERIAL |
| 025 | Gasket material | 316 SST/Teflon | MATERIAL |
| 025 | Gasket material | 316 SST/Grafoil | MATERIAL |
| 025 | Gasket material | 316 SST/Asbestos | MATERIAL |
| 025 | Gasket material | 316 SST/AFG | MATERIAL |
| 025 | Gasket material | 304 SST/Asbestos | MATERIAL |
| 025 | Gasket material | teflon (FEP) | MATERIAL |
| 025 | Gasket material | grafoil® | MATERIAL |
| 026 | Packing material | NA | MATERIAL |
| 026 | Packing material | PTFE | MATERIAL |
| 026 | Packing material | PTFE composition | MATERIAL |
| 026 | Packing material | PTFE-Graphite | MATERIAL |
| 026 | Packing material | graphite/AFP | MATERIAL |
| 026 | Packing material | teflon® | MATERIAL |
| 026 | Packing material | crane 187-1 | MATERIAL |
| 026 | Packing material | teflon | MATERIAL |
| 026 | Packing material | graphite ribbon/filament | MATERIAL |
| 026 | Packing material | graphite | MATERIAL |
| 026 | Packing material | grafoil® | MATERIAL |
| 026 | Packing material | glass-filled teflon | MATERIAL |
| 026 | Packing material | carbon-filled PTFE | MATERIAL |
| 026 | Packing material | asbestos-Free-Packing | MATERIAL |
| 026 | Packing material | teflon/AFP | MATERIAL |
| 026 | Packing material | braided PTFE | MATERIAL |
| 026 | Packing material | grafoil | MATERIAL |
| 026 | Packing material | asbestos | MATERIAL |
| 027 | Bellows seal material | PTFE | MATERIAL |
| 027 | Bellows seal material | PTFE with carbon rings | MATERIAL |
| 027 | Bellows seal material | NA | MATERIAL |
| 027 | Bellows seal material | inconel® | MATERIAL |
| 027 | Bellows seal material | inconel | MATERIAL |
| 027 | Bellows seal material | hastelloy C | MATERIAL |
| 027 | Bellows seal material | 316L SST | MATERIAL |
| 027 | Bellows seal material | 316 SST | MATERIAL |
| 027 | Bellows seal material | hastelloy C276 | MATERIAL |
| 028a | Defined attribute 1 name | End termination material | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | Stem facing | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | End extensions | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | Heating/cooling type | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | Lub & Isolation valve | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 1 data | jacketed body | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | tap and plug only | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | isolation valve | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | stellite stem coating | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | manufacturer standard | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | DIN EN 558 T2 | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | carbon steel | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | 316 SST | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | universal mounting kit | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | lubricator | DEFINABLE ATTRIBUTE VALUE |
| 029 | VALVE TRIM | SECTION TITLE |  |
| 030 | Closure member type | needle | CLOSURE MEMBER |
| 030 | Closure member type | sliding disk | CLOSURE MEMBER |
| 030 | Closure member type | pinch | CLOSURE MEMBER |
| 030 | Closure member type | gate | CLOSURE MEMBER |
| 030 | Closure member type | disk | CLOSURE MEMBER |
| 030 | Closure member type | diaphragm | CLOSURE MEMBER |
| 030 | Closure member type | plug | CLOSURE MEMBER |
| 031 | Trim style | reduced area |  |
| 031 | Trim style | soft seated |  |
| 031 | Trim style | anti-cavitation |  |
| 031 | Trim style | anti-noise 1 stage |  |
| 031 | Trim style | anti-noise 2 stage |  |
| 031 | Trim style | anti-noise 3 stage |  |
| 031 | Trim style | balanced plug |  |
| 031 | Trim style | erosion resistant |  |
| 031 | Trim style | NA |  |
| 031 | Trim style | multiple orifice |  |
| 032 | Inherent characteristic | characterized | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | equal percentage | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | linear | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | modified equal percentage | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | modified parabolic | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | NA | VALVE TRIM INHERENT CHARACTER |
| 032 | Inherent characteristic | quick opening | VALVE TRIM INHERENT CHARACTER |
| 033 | Seat ring type | clamped-in |  |
| 033 | Seat ring type | integral |  |
| 033 | Seat ring type | NA |  |
| 033 | Seat ring type | replaceable |  |
| 033 | Seat ring type | threaded in |  |
| 034 | Flow direction force | flow-to-open | FLOW DIRECTION FORCE |
| 034 | Flow direction force | NA | FLOW DIRECTION FORCE |
| 034 | Flow direction force | flow-to-close | FLOW DIRECTION FORCE |
| 035 | Port/Orifice diameter | 4.8 |  |
| 035 | Port/Orifice diameter | 2.875 |  |
| 035 | Port/Orifice diameter | 2.250 |  |
| 035 | Port/Orifice diameter | 3.3125 |  |
| 035 | Port/Orifice diameter | 3.4375 |  |
| 035 | Port/Orifice diameter | 3.75 |  |
| 035 | Port/Orifice diameter | 4.000 |  |
| 035 | Port/Orifice diameter | 10.00 |  |
| 035 | Port/Orifice diameter | 4.375 |  |
| 035 | Port/Orifice diameter | 1.125 |  |
| 035 | Port/Orifice diameter | 5.0 |  |
| 035 | Port/Orifice diameter | 6.4 |  |
| 035 | Port/Orifice diameter | 7.00 |  |
| 035 | Port/Orifice diameter | 8.00 |  |
| 035 | Port/Orifice diameter | 9.5 |  |
| 035 | Port/Orifice diameter | 2.750 |  |
| 035 | Port/Orifice diameter | 4.250 |  |
| 035 | Port/Orifice diameter | 1.1875 |  |
| 035 | Port/Orifice diameter | .1875 |  |
| 035 | Port/Orifice diameter | .250 |  |
| 035 | Port/Orifice diameter | .3125 |  |
| 035 | Port/Orifice diameter | .375 |  |
| 035 | Port/Orifice diameter | .500 |  |
| 035 | Port/Orifice diameter | .750 |  |
| 035 | Port/Orifice diameter | 1.3125 |  |
| 035 | Port/Orifice diameter | 6.875 |  |
| 035 | Port/Orifice diameter | 2.500 |  |
| 035 | Port/Orifice diameter | 11.00 |  |
| 035 | Port/Orifice diameter | 1.500 |  |
| 035 | Port/Orifice diameter | 1.750 |  |
| 035 | Port/Orifice diameter | 1.875 |  |
| 035 | Port/Orifice diameter | 2.000 |  |
| 035 | Port/Orifice diameter | 2.1875 |  |
| 035 | Port/Orifice diameter | 2.3125 |  |
| 035 | Port/Orifice diameter | 1.000 |  |
| 035 | Port/Orifice diameter | 63.5 |  |
| 035 | Port/Orifice diameter | 501.7 |  |
| 035 | Port/Orifice diameter | 463.6 |  |
| 035 | Port/Orifice diameter | 412.8 |  |
| 035 | Port/Orifice diameter | 374.7 |  |
| 035 | Port/Orifice diameter | 355.6 |  |
| 035 | Port/Orifice diameter | 279.4 |  |
| 035 | Port/Orifice diameter | 203.2 |  |
| 035 | Port/Orifice diameter | 177.8 |  |
| 035 | Port/Orifice diameter | 136.5 |  |
| 035 | Port/Orifice diameter | 111.1 |  |
| 035 | Port/Orifice diameter | 96 |  |
| 035 | Port/Orifice diameter | 87.3 |  |
| 035 | Port/Orifice diameter | 12.7 |  |
| 035 | Port/Orifice diameter | 73.0 |  |
| 035 | Port/Orifice diameter | 19.1 |  |
| 035 | Port/Orifice diameter | 13 |  |
| 035 | Port/Orifice diameter | 14.0 |  |
| 035 | Port/Orifice diameter | 14.75 |  |
| 035 | Port/Orifice diameter | 16.25 |  |
| 035 | Port/Orifice diameter | 18.25 |  |
| 035 | Port/Orifice diameter | 82.6 |  |
| 035 | Port/Orifice diameter | 5.375 |  |
| 035 | Port/Orifice diameter | 19.75 |  |
| 035 | Port/Orifice diameter | 28.6 |  |
| 035 | Port/Orifice diameter | 33.3 |  |
| 035 | Port/Orifice diameter | 38.1 |  |
| 035 | Port/Orifice diameter | 47.6 |  |
| 035 | Port/Orifice diameter | 58.7 |  |
| 035 | Port/Orifice diameter | 254 |  |
| 035u | Port diameter units | in | UNITS |
| 035u | Port diameter units | mm | UNITS |
| 036a | Stem diameter | 3.00 |  |
| 036a | Stem diameter | 31.8 |  |
| 036a | Stem diameter | 25.4 |  |
| 036a | Stem diameter | 19.1 |  |
| 036a | Stem diameter | .312 |  |
| 036a | Stem diameter | 9.5 |  |
| 036a | Stem diameter | 2.25 |  |
| 036a | Stem diameter | 2.00 |  |
| 036a | Stem diameter | 1.50 |  |
| 036a | Stem diameter | 1.25 |  |
| 036a | Stem diameter | .56 |  |
| 036a | Stem diameter | 12.7 |  |
| 036a | Stem diameter | 1.12 |  |
| 036a | Stem diameter | .500 |  |
| 036a | Stem diameter | .625 |  |
| 036a | Stem diameter | .75 |  |
| 036a | Stem diameter | .80 |  |
| 036a | Stem diameter | .88 |  |
| 036a | Stem diameter | 1.00 |  |
| 036a | Stem diameter | .375 |  |
| 036au | Stem diameter units | mm | UNITS |
| 036au | Stem diameter units | in | UNITS |
| 036b | Rated travel | 15.88 | RATED TRAVEL |
| 036b | Rated travel | 25 | RATED TRAVEL |
| 036b | Rated travel | 15.9 | RATED TRAVEL |
| 036b | Rated travel | 16.88 | RATED TRAVEL |
| 036b | Rated travel | 19 | RATED TRAVEL |
| 036b | Rated travel | 29 | RATED TRAVEL |
| 036b | Rated travel | 38 | RATED TRAVEL |
| 036b | Rated travel | 51 | RATED TRAVEL |
| 036b | Rated travel | 64 | RATED TRAVEL |
| 036b | Rated travel | 14.88 | RATED TRAVEL |
| 036b | Rated travel | 102 | RATED TRAVEL |
| 036b | Rated travel | 8.0 | RATED TRAVEL |
| 036b | Rated travel | 6.0 | RATED TRAVEL |
| 036b | Rated travel | 4.0 | RATED TRAVEL |
| 036b | Rated travel | 3.0 | RATED TRAVEL |
| 036b | Rated travel | 2.5 | RATED TRAVEL |
| 036b | Rated travel | 2.0 | RATED TRAVEL |
| 036b | Rated travel | 1.50 | RATED TRAVEL |
| 036b | Rated travel | 1.125 | RATED TRAVEL |
| 036b | Rated travel | .75 | RATED TRAVEL |
| 036b | Rated travel | 8.8 | RATED TRAVEL |
| 036b | Rated travel | .625 | RATED TRAVEL |
| 036b | Rated travel | 76 | RATED TRAVEL |
| 036b | Rated travel | 152 | RATED TRAVEL |
| 036bu | Rated travel units | mm | UNITS |
| 036bu | Rated travel units | in | UNITS |
| 037 | Closure member material | 440C SST | MATERIAL |
| 037 | Closure member material | alloy 20 | MATERIAL |
| 037 | Closure member material | hastelloy B | MATERIAL |
| 037 | Closure member material | hastelloy C | MATERIAL |
| 037 | Closure member material | titanium | MATERIAL |
| 037 | Closure member material | PTFE reinforced | MATERIAL |
| 037 | Closure member material | nickel | MATERIAL |
| 037 | Closure member material | NA | MATERIAL |
| 037 | Closure member material | monel 400 | MATERIAL |
| 037 | Closure member material | carbon steel | MATERIAL |
| 037 | Closure member material | bronze | MATERIAL |
| 037 | Closure member material | 316 SST/CoCr-A | MATERIAL |
| 037 | Closure member material | 17-4 pH SST | MATERIAL |
| 037 | Closure member material | alloy K500 (K-Monel) | MATERIAL |
| 037 | Closure member material | inconel 600 | MATERIAL |
| 037 | Closure member material | 316 SST | MATERIAL |
| 037 | Closure member material | 316L SST | MATERIAL |
| 037 | Closure member material | 316L SST/CoCr-A | MATERIAL |
| 037 | Closure member material | 410 SST | MATERIAL |
| 037 | Closure member material | 416 SST | MATERIAL |
| 037 | Closure member material | 420 SST | MATERIAL |
| 037 | Closure member material | 304 SST | MATERIAL |
| 038 | Seat ring material | titanium | MATERIAL |
| 038 | Seat ring material | NA | MATERIAL |
| 038 | Seat ring material | hastelloy B2 | MATERIAL |
| 038 | Seat ring material | hastelloy C | MATERIAL |
| 038 | Seat ring material | monel 400 | MATERIAL |
| 038 | Seat ring material | bronze | MATERIAL |
| 038 | Seat ring material | nickel | MATERIAL |
| 038 | Seat ring material | NiCr-6 | MATERIAL |
| 038 | Seat ring material | nitrile | MATERIAL |
| 038 | Seat ring material | PTFE carbon filled | MATERIAL |
| 038 | Seat ring material | 304L SST | MATERIAL |
| 038 | Seat ring material | tungsten | MATERIAL |
| 038 | Seat ring material | UMHW polyethylene | MATERIAL |
| 038 | Seat ring material | alloy K500 (K-Monel)/PTFE | MATERIAL |
| 038 | Seat ring material | PTFE | MATERIAL |
| 038 | Seat ring material | 316L SST | MATERIAL |
| 038 | Seat ring material | 17-4 pH SST | MATERIAL |
| 038 | Seat ring material | 17-4 pH SST,H900 | MATERIAL |
| 038 | Seat ring material | 316 SST/PTFE | MATERIAL |
| 038 | Seat ring material | alloy K500 (K-Monel) | MATERIAL |
| 038 | Seat ring material | 316/CoCr-A/PTFE | MATERIAL |
| 038 | Seat ring material | 316 SST | MATERIAL |
| 038 | Seat ring material | 316L SST/CoCr-A | MATERIAL |
| 038 | Seat ring material | 410 SST | MATERIAL |
| 038 | Seat ring material | 416 SST | MATERIAL |
| 038 | Seat ring material | 440C SST | MATERIAL |
| 038 | Seat ring material | alloy 20 | MATERIAL |
| 038 | Seat ring material | alloy 6 | MATERIAL |
| 038 | Seat ring material | alloy 6/PTFE | MATERIAL |
| 038 | Seat ring material | 316/CoCr-A | MATERIAL |
| 039 | Stem material | hastelloy C | MATERIAL |
| 039 | Stem material | alloy 718 | MATERIAL |
| 039 | Stem material | alloy K500 (K-Monel) | MATERIAL |
| 039 | Stem material | hastelloy B | MATERIAL |
| 039 | Stem material | nickel | MATERIAL |
| 039 | Stem material | monel 400 | MATERIAL |
| 039 | Stem material | NA | MATERIAL |
| 039 | Stem material | 660 SST chromium coated | MATERIAL |
| 039 | Stem material | 17-4 pH SST H1050 | MATERIAL |
| 039 | Stem material | 660 SST | MATERIAL |
| 039 | Stem material | 316 SST chromium coated | MATERIAL |
| 039 | Stem material | 316 SST annealed | MATERIAL |
| 039 | Stem material | 316 SST | MATERIAL |
| 039 | Stem material | 304L SST | MATERIAL |
| 039 | Stem material | 17-4 pH SST H900 | MATERIAL |
| 039 | Stem material | 17-4 pH SST double H1150 | MATERIAL |
| 039 | Stem material | 304 SST | MATERIAL |
| 040 | Cage material | alloy K500 (K-Monel) | MATERIAL |
| 040 | Cage material | cast iron | MATERIAL |
| 040 | Cage material | F22 SST | MATERIAL |
| 040 | Cage material | hastelloy B | MATERIAL |
| 040 | Cage material | hastelloy C | MATERIAL |
| 040 | Cage material | monel | MATERIAL |
| 040 | Cage material | NA | MATERIAL |
| 040 | Cage material | 440 SST | MATERIAL |
| 040 | Cage material | monel® | MATERIAL |
| 040 | Cage material | 17-4 pH SST,H1075 | MATERIAL |
| 040 | Cage material | alloy 6 | MATERIAL |
| 040 | Cage material | 17-4 pH SST | MATERIAL |
| 040 | Cage material | alloy 20 | MATERIAL |
| 040 | Cage material | 17-4 pH SST,H900 | MATERIAL |
| 040 | Cage material | 316 SST | MATERIAL |
| 040 | Cage material | 410 SST | MATERIAL |
| 040 | Cage material | 416 SST | MATERIAL |
| 040 | Cage material | 422 SST | MATERIAL |
| 041 | Guide/Retainer material | 416 SST | MATERIAL |
| 041 | Guide/Retainer material | NA | MATERIAL |
| 041 | Guide/Retainer material | monel 400 | MATERIAL |
| 041 | Guide/Retainer material | inconel 718 | MATERIAL |
| 041 | Guide/Retainer material | titanium | MATERIAL |
| 041 | Guide/Retainer material | hastelloy C | MATERIAL |
| 041 | Guide/Retainer material | nickel | MATERIAL |
| 041 | Guide/Retainer material | alloy 20 | MATERIAL |
| 041 | Guide/Retainer material | 410 SST | MATERIAL |
| 041 | Guide/Retainer material | 316L SST | MATERIAL |
| 041 | Guide/Retainer material | 316 SST | MATERIAL |
| 041 | Guide/Retainer material | 17-4 pH SST | MATERIAL |
| 041 | Guide/Retainer material | carbon steel | MATERIAL |
| 041 | Guide/Retainer material | hastelloy B2 | MATERIAL |
| 042 | Guide bushing material | bronze | MATERIAL |
| 042 | Guide bushing material | stellite® | MATERIAL |
| 042 | Guide bushing material | stellite | MATERIAL |
| 042 | Guide bushing material | PTFE glass filled | MATERIAL |
| 042 | Guide bushing material | nylon | MATERIAL |
| 042 | Guide bushing material | NA | MATERIAL |
| 042 | Guide bushing material | coCr-A | MATERIAL |
| 042 | Guide bushing material | alloy K500 (K-Monel) | MATERIAL |
| 042 | Guide bushing material | alloy 6 | MATERIAL |
| 042 | Guide bushing material | alloy 20 | MATERIAL |
| 042 | Guide bushing material | 416 SST heat treated | MATERIAL |
| 042 | Guide bushing material | 316L SST/PTFE | MATERIAL |
| 042 | Guide bushing material | 17-4 pH SST | MATERIAL |
| 042 | Guide bushing material | hastelloy C | MATERIAL |
| 043 | Hard facing/coating | colmonoy | HARD FACING |
| 043 | Hard facing/coating | NA | HARD FACING |
| 043 | Hard facing/coating | stellite full contour | HARD FACING |
| 043 | Hard facing/coating | stellite guide area | HARD FACING |
| 043 | Hard facing/coating | stellite seat full bore | HARD FACING |
| 043 | Hard facing/coating | stellite seat surface | HARD FACING |
| 043 | Hard facing/coating | tungsten carbide | HARD FACING |
| 044a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 044a | Defined attribute 1 name | Fire proof protection | DEFINABLE ATTRIBUTE NAME |
| 044b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 045 | GEAR REDUCER | SECTION TITLE |  |
| 046 | Gear reducer type | external bevel gear |  |
| 046 | Gear reducer type | spur/bevel combination |  |
| 046 | Gear reducer type | internal spur gear |  |
| 046 | Gear reducer type | integral scotch-yoke gear |  |
| 046 | Gear reducer type | integral worm gear |  |
| 046 | Gear reducer type | external spur gear |  |
| 046 | Gear reducer type | external worm gear |  |
| 047 | Position lock style | NA |  |
| 047 | Position lock style | self-locking gear ratios |  |
| 047 | Position lock style | current to hold position |  |
| 048 | Nominal size |  | NOMINAL SIZE |
| 049a | Mounting base standard | NA |  |
| 049a | Mounting base standard | imperial |  |
| 049a | Mounting base nom size | F16 |  |
| 049a | Mounting base nom size | FA05 |  |
| 049a | Mounting base nom size | FA10 |  |
| 049a | Mounting base nom size | F14 |  |
| 049a | Mounting base nom size | F30 |  |
| 049a | Mounting base nom size | F10 |  |
| 049a | Mounting base nom size | FA07 |  |
| 049a | Mounting base nom size | F07 |  |
| 049a | Mounting base nom size | F03 |  |
| 049a | Mounting base nom size | FA14 |  |
| 049a | Mounting base nom size | FA30 |  |
| 049a | Mounting base nom size | FA25 |  |
| 049a | Mounting base nom size | FA16 |  |
| 049a | Mounting base nom size | FA19 |  |
| 049a | Mounting base nom size | F12 |  |
| 049a | Mounting base nom size | FA12 |  |
| 049a | Mounting base nom size | F05 |  |
| 049a | Mounting base nom size | F25 |  |
| 049b | Mounting base standard | MSS SP-101 |  |
| 049b | Mounting base standard | MSS SP-102 |  |
| 049b | Mounting base standard | ISO 5210 |  |
| 049b | Mounting base standard | ISO 5211 |  |
| 050 | Output nominal speed | 29 rpm |  |
| 050 | Output nominal speed | 1444 rpm |  |
| 050 | Output nominal speed | 86 rpm |  |
| 050 | Output nominal speed | 192 rpm |  |
| 050 | Output nominal speed | 15 rpm |  |
| 050 | Output nominal speed | 52 rpm |  |
| 050 | Output nominal speed | 230 rpm |  |
| 050 | Output nominal speed | 24 rpm |  |
| 050 | Output nominal speed | 115 rpm |  |
| 050 | Output nominal speed | 48 rpm |  |
| 050 | Output nominal speed | 43 rpm |  |
| 050 | Output nominal speed | 36 rpm |  |
| 050 | Output nominal speed | 96 rpm |  |
| 050 | Output nominal speed | 72 rpm |  |
| 050 | Output nominal speed | 77 rpm |  |
| 050 | Output nominal speed | 144 rpm |  |
| 050 | Output nominal speed | 33 rpm |  |
| 050 | Output nominal speed | 21 rpm |  |
| 050 | Output nominal speed | 26 rpm |  |
| 050 | Output nominal speed | 127 rpm |  |
| 050 | Output nominal speed | 143 rpm |  |
| 050 | Output nominal speed | 40 rpm |  |
| 050 | Output nominal speed | 173 rpm |  |
| 050 | Output nominal speed | 18 rpm |  |
| 050 | Output nominal speed | 84 rpm |  |
| 050 | Output nominal speed | 100 rpm |  |
| 050 | Output nominal speed | 200 rpm |  |
| 050 | Output nominal speed | 170 rpm |  |
| 050 | Output nominal speed | 65 rpm |  |
| 050 | Output nominal speed | 110 rpm |  |
| 050 | Output nominal speed | 22 rpm |  |
| 050 | Output nominal speed | 131 rpm |  |
| 050 | Output nominal speed | 57 rpm |  |
| 050 | Output nominal speed | 155 rpm |  |
| 050 | Output nominal speed | 165 rpm |  |
| 051 | Handwheel gear ratio | 44:1 |  |
| 051 | Handwheel gear ratio | 71:1 |  |
| 051 | Handwheel gear ratio | 18:1 |  |
| 051 | Handwheel gear ratio | 24:1 |  |
| 051 | Handwheel gear ratio | 1:1 |  |
| 051 | Handwheel gear ratio | 12:1 |  |
| 051 | Handwheel gear ratio | 45:1 |  |
| 051 | Handwheel gear ratio | 30:1 |  |
| 051 | Handwheel gear ratio | 13.5:1 |  |
| 051 | Handwheel gear ratio | 15:1 |  |
| 051 | Handwheel gear ratio | 89.3:1 |  |
| 051 | Handwheel gear ratio | 28:1 |  |
| 051 | Handwheel gear ratio | 22:1 |  |
| 051 | Handwheel gear ratio | 22.5:1 |  |
| 051 | Handwheel gear ratio | 48:1 |  |
| 051 | Handwheel gear ratio | 8:1 |  |
| 051 | Handwheel gear ratio | 16:1 |  |
| 051 | Handwheel gear ratio | 270:1 |  |
| 051 | Handwheel gear ratio | 32:1 |  |
| 052 | Gearbox ratio | 324.8:1 |  |
| 052 | Gearbox ratio | 700:1 |  |
| 052 | Gearbox ratio | 72:1 |  |
| 052 | Gearbox ratio | 122:1 |  |
| 052 | Gearbox ratio | 259:1 |  |
| 052 | Gearbox ratio | 65:1 |  |
| 052 | Gearbox ratio | 702:1 |  |
| 052 | Gearbox ratio | 70:1 |  |
| 052 | Gearbox ratio | 60:1 |  |
| 052 | Gearbox ratio | 410:1 |  |
| 052 | Gearbox ratio | 492:1 |  |
| 052 | Gearbox ratio | 50:1 |  |
| 052 | Gearbox ratio | 292:1 |  |
| 052 | Gearbox ratio | 325:1 |  |
| 052 | Gearbox ratio | 68:1 |  |
| 053a | Rated output torgue |  |  |
| 053au | Rated torque units | lbf.in |  |
| 053au | Rated torque units | N.m |  |
| 053au | Rated torque units | lbf.ft |  |
| 053b | Rated output thrust |  |  |
| 053bu | Rated thrust units | N |  |
| 053bu | Rated thrust units | lbf |  |
| 053bu | Rated thrust units | kg |  |
| 053bu | Rated thrust units | kN |  |
| 054 | Linear speed | 18.0 |  |
| 054 | Linear speed | 2.5 |  |
| 054 | Linear speed | 5.4 |  |
| 054 | Linear speed | 12.0 |  |
| 054 | Linear speed | 9.0 |  |
| 054 | Linear speed | 3.4 |  |
| 054 | Linear speed | 8.4 |  |
| 054 | Linear speed | 7.2 |  |
| 054 | Linear speed | 21.6 |  |
| 054 | Linear speed | 4.2 |  |
| 054 | Linear speed | 0.9 |  |
| 054 | Linear speed | 1.2 |  |
| 054 | Linear speed | 1.8 |  |
| 054 | Linear speed | 2.4 |  |
| 054 | Linear speed | 1.1 |  |
| 054 | Linear speed | 5.6 |  |
| 054 | Linear speed | 2.2 |  |
| 054 | Linear speed | 6.8 |  |
| 054 | Linear speed | 025 |  |
| 054 | Linear speed | 0.09 |  |
| 054 | Linear speed | 0.07 |  |
| 054 | Linear speed | 0.05 |  |
| 054 | Linear speed | 0.13 |  |
| 054 | Linear speed | 5.0 |  |
| 054 | Linear speed | 2.8 |  |
| 054 | Linear speed | 2.9 |  |
| 054 | Linear speed | 1.4 |  |
| 054 | Linear speed | 0.034 |  |
| 054 | Linear speed | 10.0 |  |
| 054 | Linear speed | 4.5 |  |
| 054 | Linear speed | 0.0028 |  |
| 054 | Linear speed | 2.1 |  |
| 054 | Linear speed | 0.020 |  |
| 054 | Linear speed | 6.0 |  |
| 054 | Linear speed | 10.8 |  |
| 054 | Linear speed | 14.4 |  |
| 054 | Linear speed | 0.014 |  |
| 054u | Linear speed units | in/s |  |
| 054u | Linear speed units | in/min |  |
| 054u | Linear speed units | mm/s |  |
| 055 | Manual operator type | non-clutch handwheel |  |
| 055 | Manual operator type | declutchable handwheel |  |
| 055 | Manual operator type | NA |  |
| 055 | Manual operator type | lever |  |
| 055 | Manual operator type | 2 inch square wrench nut |  |
| 055 | Manual operator type | non-clutch lever |  |
| 055 | Manual operator type | handcrank |  |
| 056 | Stem coupling style | non-thrust center column |  |
| 056 | Stem coupling style | splined stem nut |  |
| 056 | Stem coupling style | non-thrust base-ext reach |  |
| 056 | Stem coupling style | thrust base standard nut |  |
| 056 | Stem coupling style | thrust base-ext reach |  |
| 056 | Stem coupling style | standard center column |  |
| 056 | Stem coupling style | extended nut |  |
| 056 | Stem coupling style | variable bore and key |  |
| 056 | Stem coupling style | fixed bore keyway bushing |  |
| 056 | Stem coupling style | double-compensating |  |
| 056 | Stem coupling style | standard bushing |  |
| 056 | Stem coupling style | extended bushing |  |
| 056 | Stem coupling style | splined bushing |  |
| 056 | Stem coupling style | single-compensating |  |
| 056 | Stem coupling style | threaded stem nut |  |
| 056 | Stem coupling style | non-thrust base |  |
| 057a | Stem nominal diameter | 2.625 in |  |
| 057a | Stem nominal diameter | 45 mm |  |
| 057a | Stem nominal diameter | 2.88 in |  |
| 057a | Stem nominal diameter | 46 mm |  |
| 057a | Stem nominal diameter | 41 mm |  |
| 057a | Stem nominal diameter | 22 mm |  |
| 057a | Stem nominal diameter | 1.0 in |  |
| 057a | Stem nominal diameter | 2.375 in |  |
| 057a | Stem nominal diameter | 33 mm |  |
| 057a | Stem nominal diameter | 6 1/6 in |  |
| 057a | Stem nominal diameter | 5 1/2 in |  |
| 057a | Stem nominal diameter | 1.25 in |  |
| 057a | Stem nominal diameter | 159 mm |  |
| 057a | Stem nominal diameter | 4 3/4 in |  |
| 057a | Stem nominal diameter | 4 1/4 in |  |
| 057a | Stem nominal diameter | 4 1/2 in |  |
| 057a | Stem nominal diameter | 3 3/4 in |  |
| 057a | Stem nominal diameter | 3 1/4 in |  |
| 057a | Stem nominal diameter | 120 mm |  |
| 057a | Stem nominal diameter | 44 mm |  |
| 057a | Stem nominal diameter | 66 mm |  |
| 057a | Stem nominal diameter | 1.78 in |  |
| 057a | Stem nominal diameter | 1 3/4 in |  |
| 057a | Stem nominal diameter | 2 3/4 in |  |
| 057a | Stem nominal diameter | 42 mm |  |
| 057a | Stem nominal diameter | 3.25 in |  |
| 057a | Stem nominal diameter | 3.5 in |  |
| 057a | Stem nominal diameter | 13/16 in |  |
| 057a | Stem nominal diameter | 73 mm |  |
| 057a | Stem nominal diameter | 26 mm |  |
| 057a | Stem nominal diameter | 2.25 in |  |
| 057a | Stem nominal diameter | 76 mm |  |
| 057a | Stem nominal diameter | 0.75 |  |
| 057a | Stem nominal diameter | 127 mm |  |
| 057a | Stem nominal diameter | 60 mm |  |
| 057a | Stem nominal diameter | 115 mm |  |
| 057a | Stem nominal diameter | 55 mm |  |
| 057a | Stem nominal diameter | 89 mm |  |
| 057a | Stem nominal diameter | 2 1/8 in |  |
| 057a | Stem nominal diameter | 2 5/8 in |  |
| 057a | Stem nominal diameter | 2 7/8 in |  |
| 057a | Stem nominal diameter | 30 mm |  |
| 057a | Stem nominal diameter | 67 mm |  |
| 057a | Stem nominal diameter | 51 mm |  |
| 057a | Stem nominal diameter | 2.64 in |  |
| 057a | Stem nominal diameter | 25.4 mm |  |
| 057a | Stem nominal diameter | 2 1/4 in |  |
| 057a | Stem nominal diameter | 38 mm |  |
| 057a | Stem nominal diameter | 54 mm |  |
| 057a | Stem nominal diameter | 64 mm |  |
| 057a | Stem nominal diameter | 70 mm |  |
| 057a | Stem nominal diameter | 2.36 in |  |
| 057a | Stem nominal diameter | 2 1/3 in |  |
| 057a | Stem nominal diameter | 2.875 in |  |
| 057a | Stem nominal diameter | 19 mm |  |
| 057a | Stem nominal diameter | 2.2 in |  |
| 057a | Stem nominal diameter | 1.94 in |  |
| 057a | Stem nominal diameter | 5/8 in |  |
| 057a | Stem nominal diameter | 3/4 in |  |
| 057a | Stem nominal diameter | 1 1/4 in |  |
| 057a | Stem nominal diameter | 1 1/2 in |  |
| 057a | Stem nominal diameter | 2 in |  |
| 057a | Stem nominal diameter | 2 1/2 in |  |
| 057a | Stem nominal diameter | 3 in |  |
| 057a | Stem nominal diameter | 3 1/2 in |  |
| 057a | Stem nominal diameter | 4 in |  |
| 057a | Stem nominal diameter | 5 in |  |
| 057a | Stem nominal diameter | 5 in |  |
| 057a | Stem nominal diameter | 6 in |  |
| 057a | Stem nominal diameter | 20 mm |  |
| 057a | Stem nominal diameter | 25 mm |  |
| 057a | Stem nominal diameter | 32 mm |  |
| 057a | Stem nominal diameter | 40 mm |  |
| 057a | Stem nominal diameter | 50 mm |  |
| 057a | Stem nominal diameter | 80 mm |  |
| 057a | Stem nominal diameter | 100 mm |  |
| 057b | Lead of screw | 1/3 in |  |
| 057b | Lead of screw | 1/5 in |  |
| 057b | Lead of screw | 2/7 in |  |
| 057b | Lead of screw | 7 mm |  |
| 057b | Lead of screw | 2/5 in |  |
| 057b | Lead of screw | 3 mm |  |
| 057b | Lead of screw | 2/3 in |  |
| 057b | Lead of screw | 1/8 in |  |
| 057b | Lead of screw | 1/4 in |  |
| 057b | Lead of screw | 1/2 in |  |
| 057b | Lead of screw | 1 in |  |
| 057b | Lead of screw | 1 1/2 in |  |
| 057b | Lead of screw | 2 in |  |
| 057b | Lead of screw | 15 mm |  |
| 058 | Handwheel diameter | 18 |  |
| 058 | Handwheel diameter | 10 |  |
| 058 | Handwheel diameter | 24 |  |
| 058 | Handwheel diameter | 30 |  |
| 058 | Handwheel diameter | 12 |  |
| 058 | Handwheel diameter | 305 |  |
| 058 | Handwheel diameter | 6 |  |
| 058 | Handwheel diameter | 152 |  |
| 058u | Handwheel diameter units | mm |  |
| 058u | Handwheel diameter units | in |  |
| 058u | Handwheel diameter units | NA |  |
| 059 | Handwheel orientation | side-mounted |  |
| 059 | Handwheel orientation | NA |  |
| 059 | Handwheel orientation | top-mounted |  |
| 060 | Travel stops | adjustable mechanical |  |
| 060 | Travel stops | NA |  |
| 061 | Worm/Spur material | hardened steel |  |
| 061 | Worm/Spur material | alloy steel |  |
| 061 | Worm/Spur material | heat-treated steel |  |
| 062 | Worm/Helical gear matl | heat-treated steel |  |
| 062 | Worm/Helical gear matl | ductile iron |  |
| 062 | Worm/Helical gear matl | alloy bronze |  |
| 062 | Worm/Helical gear matl | aluminum-bronze |  |
| 063 | Housing material | powder-coated cast iron | MATERIAL |
| 063 | Housing material | prime coated cast iron | MATERIAL |
| 063 | Housing material | powder-coated alumimum | MATERIAL |
| 063 | Housing material | resin coated cast iron | MATERIAL |
| 063 | Housing material | epoxy coated cast iron | MATERIAL |
| 064 | Bushing/Coupling/Nut matl | alloy bronze |  |
| 064 | Bushing/Coupling/Nut matl | steel |  |
| 065 | Lubricant material | Dextron 2 |  |
| 065 | Lubricant material | Hydra lube GB |  |
| 065 | Lubricant material | Exxon EP-0 |  |
| 065 | Lubricant material | Exxon EP-00 |  |
| 065 | Lubricant material | SAE 80/90 EP |  |
| 065 | Lubricant material | synthetic oil |  |
| 066a | User definable name 1 | Mounting yoke style |  |
| 066a | User definable name 1 | Exterior finish color |  |
| 066a | User definable name 1 | Position indicator |  |
| 066a | User definable name 1 | NA |  |
| 066b | User definable value 1 | scale |  |
| 066b | User definable value 1 | cast yoke base |  |
| 066b | User definable value 1 | NA |  |
| 066b | User definable value 1 | JCI standard blue |  |
| 066b | User definable value 1 | teflon |  |
| 066b | User definable value 1 | standard length yoke |  |
| 066b | User definable value 1 | extended length yoke |  |
| 066b | User definable value 1 | silver grey |  |
| 066b | User definable value 1 | arrow pointer |  |
| 067a | User definable name 2 | NA |  |
| 067a | User definable name 2 | Handwheel material |  |
| 067b | User definable value 2 | fabricated steel |  |
| 067b | User definable value 2 | NA |  |
| 067b | User definable value 2 | cast alumimum |  |
| 067b | User definable value 2 | ductile iron |  |
| 068 | ACTUATOR | SECTION TITLE |  |
| 069 | Actuator type | quarter-turn actuator |  |
| 069 | Actuator type | multi-turn actuator |  |
| 070 | Motor style | brushless stepper motor |  |
| 070 | Motor style | capacitor start/run |  |
| 070 | Motor style | standard induction motor |  |
| 070 | Motor style | squirrel cage |  |
| 071a | Motor nominal speed | 900 rpm |  |
| 071a | Motor nominal speed | 3000 rpm |  |
| 071a | Motor nominal speed | 1800 rpm |  |
| 071a | Motor nominal speed | 6000 rpm |  |
| 071a | Motor nominal speed | 750 rpm |  |
| 071a | Motor nominal speed | 1720 rpm |  |
| 071a | Motor nominal speed | 1450 rpm |  |
| 071a | Motor nominal speed | 1500 rpm |  |
| 071a | Motor nominal speed | 3600 rpm |  |
| 071b | Motor number of poles | 4 |  |
| 071b | Motor number of poles | 2 |  |
| 071b | Motor number of poles | 6 |  |
| 071b | Motor number of poles | 8 |  |
| 072 | Power supply | 660 V (ac), 60 HZ |  |
| 072 | Power supply | 500 V (ac), 50 HZ |  |
| 072 | Power supply | 230 V (ac), 60 HZ |  |
| 072 | Power supply | 400 V (ac), 50 HZ |  |
| 072 | Power supply | 440 V (ac), 50/60 HZ |  |
| 072 | Power supply | 380 V (ac), 50/60 HZ |  |
| 072 | Power supply | 220 V (ac), 50/60 HZ |  |
| 072 | Power supply | 590 V (ac), 60 HZ |  |
| 072 | Power supply | 480 V (ac), 50 HZ |  |
| 072 | Power supply | 440 V (ac), 50 HZ |  |
| 072 | Power supply | 440 V (ac), 60 HZ |  |
| 072 | Power supply | 460 V (ac), 60 HZ |  |
| 072 | Power supply | 380 V (ac), 50 HZ |  |
| 072 | Power supply | 400 V (ac), 60 HZ |  |
| 072 | Power supply | 600 V (ac), 60 HZ |  |
| 072 | Power supply | 525 V (ac), 50 HZ |  |
| 072 | Power supply | 230 V (ac), 50 HZ |  |
| 072 | Power supply | 480 V (ac), 60 HZ |  |
| 072 | Power supply | 415 V (ac), 50 HZ |  |
| 072 | Power supply | 690 V (ac), 60 HZ |  |
| 072 | Power supply | 380 V (ac), 60 HZ |  |
| 072 | Power supply | 575 V (ac), 60 HZ |  |
| 072 | Power supply | 550 V (ac), 50 HZ |  |
| 072 | Power supply | 690 V (ac), 50 HZ |  |
| 072 | Power supply | 660 V (ac), 50 HZ |  |
| 072 | Power supply | 12 V (dc) |  |
| 072 | Power supply | 240 V (ac), 50/60 Hz |  |
| 072 | Power supply | 120 V (ac), 50/60 Hz |  |
| 072 | Power supply | 24 V (dc) |  |
| 072 | Power supply | 120 V (ac), 50 Hz |  |
| 072 | Power supply | 100 V (ac), 60 Hz |  |
| 072 | Power supply | 110 V (dc) |  |
| 072 | Power supply | 240 V (ac), 50 Hz |  |
| 072 | Power supply | 24-36 V (dc) |  |
| 072 | Power supply | 240 V (ac), 60 Hz |  |
| 072 | Power supply | 12 V (ac), 60 Hz |  |
| 072 | Power supply | 120 V (ac), 60 Hz |  |
| 072 | Power supply | 24 V (ac), 60 Hz |  |
| 072 | Power supply | 12-36 V (dc) |  |
| 072 | Power supply | 200 V (ac), 60 Hz |  |
| 072 | Power supply | 110 V (ac), 50 Hz |  |
| 072 | Power supply | 115 V (ac), 60 Hz |  |
| 072 | Power supply | 48 V (dc) |  |
| 072 | Power supply | 208 V, (ac) 60 Hz |  |
| 072 | Power supply | 200 V (ac), 50 Hz |  |
| 072 | Power supply | 115 V (ac), 50 Hz |  |
| 072 | Power supply | 220 V (ac), 60 Hz |  |
| 072 | Power supply | 115 V (ac), 50/60 Hz |  |
| 072 | Power supply | 127 V (ac), 60 Hz |  |
| 072 | Power supply | 220 V (ac), 50 Hz |  |
| 073 | Insulation class rating | B |  |
| 073 | Insulation class rating | radiation-resistant |  |
| 073 | Insulation class rating | F |  |
| 073 | Insulation class rating | H |  |
| 074 | Motor phase style | three-phase |  |
| 074 | Motor phase style | direct current |  |
| 074 | Motor phase style | single-phase |  |
| 076 | Motor contactor type | NA |  |
| 076 | Motor contactor type | solid state reversing |  |
| 076 | Motor contactor type | integral reversing 12 A |  |
| 076 | Motor contactor type | integral reversing |  |
| 076 | Motor contactor type | integral reversing 25 A |  |
| 076 | Motor contactor type | integral reversing 50 A |  |
| 077 | Motor thermal protection | NA |  |
| 077 | Motor thermal protection | embedded thermostat |  |
| 077 | Motor thermal protection | solid state thermistor |  |
| 077 | Motor thermal protection | 2 cl B thermal contacts |  |
| 077 | Motor thermal protection | embedded thermocontacts |  |
| 077 | Motor thermal protection | built-in thermal overload |  |
| 078 | Motor phase protection | NA |  |
| 078 | Motor phase protection | single phase protection |  |
| 078 | Motor phase protection | auto protect & correction |  |
| 079a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 079a | Defined attribute 1 name | Fireproof design type | DEFINABLE ATTRIBUTE NAME |
| 079a | Defined attribute 1 name | Electric operated brake | DEFINABLE ATTRIBUTE NAME |
| 079b | Defined attribute 1 data | 240 V (ac) | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | 120 V (ac) | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | thermal blanket | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | thermal box | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | intumescent coating | DEFINABLE ATTRIBUTE VALUE |
| 080 | CONTROL MODULE | SECTION TITLE |  |
| 081 | Enclosure type | explosionproof |  |
| 081 | Enclosure type | navy class A |  |
| 081 | Enclosure type | submersible |  |
| 081 | Enclosure type | weatherproof |  |
| 081 | Enclosure type | nuclear |  |
| 081 | Enclosure type | watertight |  |
| 081 | Enclosure type | explosionproof (hydrogen) |  |
| 082 | Operation style | two-wire |  |
| 082 | Operation style | direct computer control |  |
| 082 | Operation style | three-wire maintained |  |
| 082 | Operation style | three-wire inching |  |
| 082 | Operation style | incremental control |  |
| 082 | Operation style | four-wire |  |
| 083 | Input signal type | analog voltage |  |
| 083 | Input signal type | dry contacts |  |
| 083 | Input signal type | digital multi-variable |  |
| 083 | Input signal type | analog current & relays |  |
| 083 | Input signal type | analog current |  |
| 084 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | IP68 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | 4,6 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | 4,4X,6 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | IP67 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | 4,4X | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | IP65 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | 1,4,6,11 | ENCLOSURE TYPE NO/CLASS |
| 084 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 085 | Control mode | Open/Close control | CONTROL MODE |
| 085 | Control mode | proportional control | CONTROL MODE |
| 086 | Digital communication std | Modbus |  |
| 086 | Digital communication std | DeviceNet® |  |
| 086 | Digital communication std | DeviceNet |  |
| 086 | Digital communication std | FOUNDATION fieldbus |  |
| 086 | Digital communication std | FOUNDATION fieldbus H1 |  |
| 086 | Digital communication std | Modbus® |  |
| 086 | Digital communication std | NA |  |
| 086 | Digital communication std | PROFIBUS-DP-V1 |  |
| 086 | Digital communication std | PROFIBUS-PA |  |
| 086 | Digital communication std | RS232C binary/ASCII |  |
| 086 | Digital communication std | RS485 binary/ASCII |  |
| 087 | Internal power supply | NA |  |
| 087 | Internal power supply | 24 V (dc) |  |
| 087 | Internal power supply | 110 V (ac) and 24 V (dc) |  |
| 087 | Internal power supply | 110 V (ac) |  |
| 087 | Internal power supply | 125 V (ac) |  |
| 088 | Space heater type | 120 V (ac) 60 Hz |  |
| 088 | Space heater type | NA |  |
| 088 | Space heater type | 120 V (ac) 50/60 Hz |  |
| 088 | Space heater type | 240 V (ac) 50/60 Hz |  |
| 088 | Space heater type | 230 V (ac) 50 Hz |  |
| 088 | Space heater type | 24 V (dc) |  |
| 089 | Output speed control | NA |  |
| 089 | Output speed control | pulsed operation |  |
| 089 | Output speed control | output speed adjustment |  |
| 089 | Output speed control | 2-speed operation |  |
| 090 | Auxiliary control power | terminals 60-120 V (ac) |  |
| 090 | Auxiliary control power | terminals 24-125 V (ac) |  |
| 090 | Auxiliary control power | terminals 20-60 V (ac) |  |
| 090 | Auxiliary control power | terminals 20-60 V (dc) |  |
| 090 | Auxiliary control power | terminals 24-125 V (dc) |  |
| 090 | Auxiliary control power | power device 24 V (dc) |  |
| 090 | Auxiliary control power | NA |  |
| 091 | Open/Close control | open-close switch |  |
| 091 | Open/Close control | inc-off-dec toggle switch |  |
| 091 | Open/Close control | NA |  |
| 091 | Open/Close control | open,close pushbuttons |  |
| 092 | Local/Stop/Remote cont | infra-red setting tool |  |
| 092 | Local/Stop/Remote cont | NA |  |
| 092 | Local/Stop/Remote cont | local-stop-remote switch |  |
| 092 | Local/Stop/Remote cont | local auto-manual switch |  |
| 093 | Local operator interface | infra-red setting tool |  |
| 093 | Local operator interface | back-lit LCD |  |
| 093 | Local operator interface | 32 character LCD |  |
| 093 | Local operator interface | NA |  |
| 094 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 094 | Signal termination type | barrier terminal blocks | END CONNECTION TYPE |
| 094 | Signal termination type | terminal compartment | END CONNECTION TYPE |
| 094 | Signal termination type | Cannon type connector | END CONNECTION TYPE |
| 095 | Cert/Approval type | NA | CERTIFICATION |
| 095 | Cert/Approval type | ATEX explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | CE marked | CERTIFICATION |
| 095 | Cert/Approval type | FM explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | SAA explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | CSA explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | CENELEC explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | CSA general purpose | CERTIFICATION |
| 095 | Cert/Approval type | JIS explosion proof | CERTIFICATION |
| 095 | Cert/Approval type | FM general purpose | CERTIFICATION |
| 096 | ESD control mode | override overtorque |  |
| 096 | ESD control mode | override loss phase |  |
| 096 | ESD control mode | override thermal prot |  |
| 096 | ESD control mode | override jammed valve |  |
| 096 | ESD control mode | stop |  |
| 096 | ESD control mode | override inhibit signal |  |
| 096 | ESD control mode | NA |  |
| 096 | ESD control mode | override local switch |  |
| 096 | ESD control mode | close |  |
| 096 | ESD control mode | open |  |
| 096 | ESD control mode | take no action |  |
| 097 | Failure/Diagnostic action | drive to preset value | INSTRUMENT ACTION |
| 097 | Failure/Diagnostic action | stop | INSTRUMENT ACTION |
| 097 | Failure/Diagnostic action | lock-in-place | INSTRUMENT ACTION |
| 098 | Interlock/Inhibit mode | NA |  |
| 098 | Interlock/Inhibit mode | prevent open/close |  |
| 099 | Diagnostics capabilities | NA |  |
| 099 | Diagnostics capabilities | LimiGard® circuit monitor |  |
| 099 | Diagnostics capabilities | auto self test diagnosis |  |
| 100 | Motor reversal protection | NA |  |
| 100 | Motor reversal protection | incorporates time delay |  |
| 100 | Motor reversal protection | solid state reverser |  |
| 101 | Enclosure material | powder-coated aluminum | MATERIAL |
| 101 | Enclosure material | stainless steel | MATERIAL |
| 101 | Enclosure material | polyurethane coated al | MATERIAL |
| 101 | Enclosure material | powder-coated cast iron | MATERIAL |
| 102 | Hardware material | stainless steel | MATERIAL |
| 102 | Hardware material | nickel-plated cs | MATERIAL |
| 103a | User defined attribute name 1 | Power failure option |  |
| 103a | User defined attribute name 1 | NA |  |
| 103a | User defined attribute name 1 | Speed controls |  |
| 103a | User defined attribute name 1 | Compartment nom size |  |
| 103a | User defined attribute name 1 | battery backup option |  |
| 103b | User defined attribute value 1 | standard compartment |  |
| 103b | User defined attribute value 1 | NA |  |
| 103b | User defined attribute value 1 | max integral compartment |  |
| 103b | User defined attribute value 1 | min integral compartment |  |
| 104a | User defined attribute name 2 | Housing venting |  |
| 104a | User defined attribute name 2 | Integral power switch |  |
| 104a | User defined attribute name 2 | NA |  |
| 104a | User defined attribute name 2 | Readout language |  |
| 104a | User defined attribute name 2 | Data logger |  |
| 104a | User defined attribute name 2 | Control polarity |  |
| 104a | User defined attribute name 2 | Overthrust protection |  |
| 104b | User defined attribute value 2 | current sensing PWM |  |
| 104b | User defined attribute value 2 | italian |  |
| 104b | User defined attribute value 2 | ON/OFF toggle switch |  |
| 104b | User defined attribute value 2 | negative sw remote cont |  |
| 104b | User defined attribute value 2 | time and date stamped log |  |
| 104b | User defined attribute value 2 | positive sw remote cont |  |
| 104b | User defined attribute value 2 | german |  |
| 104b | User defined attribute value 2 | spanish |  |
| 104b | User defined attribute value 2 | NA |  |
| 104b | User defined attribute value 2 | english |  |
| 104b | User defined attribute value 2 | portuguese |  |
| 104b | User defined attribute value 2 | breather and drain |  |
| 104b | User defined attribute value 2 | french |  |
| 105 | POSITION SWITCH OR TRANSMITTER | SECTION TITLE |  |
| 106 | Output signal type | 1000 Ohm pot & current | SIGNAL |
| 106 | Output signal type | analog current & relay | SIGNAL |
| 106 | Output signal type | digital & 1000 Ohm pot | SIGNAL |
| 106 | Output signal type | 2000 Ohm pot & relay | SIGNAL |
| 106 | Output signal type | 2-1000 Ohm pot & relay | SIGNAL |
| 106 | Output signal type | analog voltage & relay | SIGNAL |
| 106 | Output signal type | 10000 Ohm pot & relay | SIGNAL |
| 106 | Output signal type | 1000 Ohm pot & relay | SIGNAL |
| 106 | Output signal type | 5000 Ohm pot & relay | SIGNAL |
| 106 | Output signal type | digital & relays | SIGNAL |
| 106 | Output signal type | NA | SIGNAL |
| 107 | Sensor style | snap-acting switch |  |
| 107 | Sensor style | hall-effect magnetic sys |  |
| 107 | Sensor style | NA |  |
| 107 | Sensor style | 4-gear limit switch |  |
| 107 | Sensor style | 5-gear limit switch |  |
| 107 | Sensor style | optical position encoder |  |
| 108a | Contacts ac rating | 6 | DEVICE RATING |
| 108a | Contacts ac rating | 10 | DEVICE RATING |
| 108a | Contacts ac rating | 5 | DEVICE RATING |
| 108a | Contacts ac rating | 15 | DEVICE RATING |
| 108a | Contacts ac rating | 20 | DEVICE RATING |
| 108au | AC max current units | NA |  |
| 108au | AC max current units | A |  |
| 108b | AC rating max voltage | 250 | DEVICE RATING |
| 108b | AC rating max voltage | 110 | DEVICE RATING |
| 108b | AC rating max voltage | 600 | DEVICE RATING |
| 108b | AC rating max voltage | 240 | DEVICE RATING |
| 108b | AC rating max voltage | 120 | DEVICE RATING |
| 108b | AC rating max voltage | 125 | DEVICE RATING |
| 108bu | AC rating max voltage units | NA |  |
| 108bu | AC rating max voltage units | V |  |
| 109a | Contacts dc rating | 3 | DEVICE RATING |
| 109a | Contacts dc rating | 40 | DEVICE RATING |
| 109a | Contacts dc rating | 2 | DEVICE RATING |
| 109a | Contacts dc rating | 2.5 | DEVICE RATING |
| 109a | Contacts dc rating | 10 | DEVICE RATING |
| 109a | Contacts dc rating | 0.25 | DEVICE RATING |
| 109a | Contacts dc rating | 50 | DEVICE RATING |
| 109au | DC rating current units | mA | UNITS |
| 109au | DC rating current units | A | UNITS |
| 109au | DC rating current units | NA | UNITS |
| 109b | DC max voltage | 50 |  |
| 109b | DC max voltage | 110 |  |
| 109b | DC max voltage | 24 |  |
| 109b | DC max voltage | 40 |  |
| 109b | DC max voltage | 30 |  |
| 109bu | DC max voltage units | V | UNITS |
| 109bu | DC max voltage units | NA | UNITS |
| 110 | Signal power source | externally powered |  |
| 110 | Signal power source | NA |  |
| 110 | Signal power source | internally powered |  |
| 111a | Contacts arrangement | DPDT |  |
| 111a | Contacts arrangement | SPST |  |
| 111a | Contacts arrangement | NA |  |
| 111a | Contacts arrangement | SPDT |  |
| 111a | Contacts arrangement | NC |  |
| 111b | Contacts quantity | 0 |  |
| 111b | Contacts quantity | 2 |  |
| 112 | Integral indicator style | 3 LED indicators, LCD |  |
| 112 | Integral indicator style | side-mounted mech dial |  |
| 112 | Integral indicator style | NA |  |
| 112 | Integral indicator style | flip-flop indicator |  |
| 112 | Integral indicator style | mechanical indicator |  |
| 112 | Integral indicator style | top-mounted mech dial |  |
| 112 | Integral indicator style | 2 indicating lights |  |
| 113 | Position light colors | green/red/yellow LEDs |  |
| 113 | Position light colors | NA |  |
| 113 | Position light colors | green/red |  |
| 114a | User defined attribute Nane 1 | NA |  |
| 114b | User defined attribute Value 1 | NA |  |
| 115 | TORQUE SWITCH OR TRANSMITTER | SECTION TITLE |  |
| 116 | Output signal type | analog voltage & relay | SIGNAL |
| 116 | Output signal type | analog current & relay | SIGNAL |
| 116 | Output signal type | NA | SIGNAL |
| 116 | Output signal type | digital & relays | SIGNAL |
| 117 | Sensor style | heavy-duty switch |  |
| 117 | Sensor style | current sensing PWM |  |
| 117 | Sensor style | NA |  |
| 117 | Sensor style | current sensing |  |
| 117 | Sensor style | speed,volts,temp, calc |  |
| 118a | Contacts ac rating | 15 | DEVICE RATING |
| 118a | Contacts ac rating | 6 | DEVICE RATING |
| 118au | AC rating units | NA |  |
| 118au | AC rating units | A |  |
| 118b | AC rating max voltage | 110 | DEVICE RATING |
| 118b | AC rating max voltage | 600 | DEVICE RATING |
| 118b | AC rating max voltage | 240 | DEVICE RATING |
| 118bu | AC max voltage units | V | UNITS |
| 118bu | AC max voltage units | NA | UNITS |
| 119a | Contacts dc rating | 2.5 | DEVICE RATING |
| 119a | Contacts dc rating | 3 | DEVICE RATING |
| 119a | Contacts dc rating | 0.25 | DEVICE RATING |
| 119au | DC rating current units | A | UNITS |
| 119au | DC rating current units | NA | UNITS |
| 119b | DC max voltage | 24 |  |
| 119b | DC max voltage | 50 |  |
| 119b | DC max voltage | 110 |  |
| 119bu | DC max voltage units | V | UNITS |
| 119bu | DC max voltage units | NA | UNITS |
| 120 | Signal power source | externally powered |  |
| 120 | Signal power source | NA |  |
| 120 | Signal power source | internally powered |  |
| 121a | Contacts arrangement | NC |  |
| 121a | Contacts arrangement | SPDT |  |
| 121a | Contacts arrangement | NA |  |
| 121a | Contacts arrangement | SPST |  |
| 121b | Contacts quantity | 2 |  |
| 121b | Contacts quantity | 0 |  |
| 122 | Integral indicator style | NA |  |
| 122 | Integral indicator style | LCD |  |
| 123 | Protection feature | jammed valve protection |  |
| 123 | Protection feature | NA |  |
| 124a | User defined attribute Name 1 | NA |  |
| 124b | User defined attribute Value 1 | NA |  |
| 125 | AUXILIARY INPUTS AND OUTPUTS | SECTION TITLE |  |
| 126 | Configuration type | Status and monitor relay |  |
| 126 | Configuration type | Status, monitor relay,aux |  |
| 126 | Configuration type | monitor relay |  |
| 126 | Configuration type | NA |  |
| 127 | Aux signal type | 3 digital inputs 24 V(dc) |  |
| 127 | Aux signal type | 4 analog current |  |
| 127 | Aux signal type | NA |  |
| 127 | Aux signal type | 4 digital input, 4 output |  |
| 128 | Output signal type | NA | SIGNAL |
| 128 | Output signal type | dry contact relay | SIGNAL |
| 128 | Output signal type | digital multi-variable | SIGNAL |
| 128 | Output signal type | digital and relay | SIGNAL |
| 129a | Status contacts ac rating | 10 |  |
| 129a | Status contacts ac rating | 5 |  |
| 129a | Status contacts ac rating | 15 |  |
| 129au | Status AC rating current units | NA |  |
| 129au | Status AC rating current units | A |  |
| 129b | Status AC rating max voltage | 110 |  |
| 129b | Status AC rating max voltage | 240 |  |
| 129b | Status AC rating max voltage | 125 |  |
| 129b | Status AC rating max voltage | 120 |  |
| 129b | Status AC rating max voltage | 250 |  |
| 129bu | Status AC rating voltage units | V |  |
| 129bu | Status AC rating voltage units | NA |  |
| 130a | Status contacts dc rating | 40 |  |
| 130a | Status contacts dc rating | 2.0 |  |
| 130au | Status DC rating current units | A |  |
| 130au | Status DC rating current units | mA |  |
| 130au | Status DC rating current units | NA |  |
| 130b | Status DC max voltage | 40 |  |
| 130b | Status DC max voltage | 30 |  |
| 130bu | Status DC max voltage units | NA |  |
| 130bu | Status DC max voltage units | V |  |
| 131a | Alarm contacts ac rating | 5 |  |
| 131au | Alarm AC rating current units | NA |  |
| 131au | Alarm AC rating current units | A |  |
| 131b | Alarm AC rating max voltage | 250 |  |
| 131bu | Alarm AC max voltage units | V |  |
| 131bu | Alarm AC max voltage units | NA |  |
| 132 | Input signal power source | NA |  |
| 132a | Alarm contacts dc rating | 2.0 |  |
| 132a | Alarm contacts dc rating | 2.5 |  |
| 132a | Alarm contacts dc rating | 0.25 |  |
| 132a | Alarm contacts dc rating | 3.0 |  |
| 132au | Alarm DC rating current units | A |  |
| 132au | Alarm DC rating current units | NA |  |
| 132b | Alarm DC max voltage | 110 |  |
| 132b | Alarm DC max voltage | 24 |  |
| 132b | Alarm DC max voltage | 50 |  |
| 132b | Alarm DC max voltage | 30 |  |
| 132bu | Alarm DC max voltage units | NA |  |
| 132bu | Alarm DC max voltage units | V |  |
| 133 | Input signal power source | internally powered |  |
| 133 | Input signal power source | externally powered |  |
| 133 | Input signal power source | NA |  |
| 134 | Output signal pwr source | NA |  |
| 134 | Output signal pwr source | internally powered |  |
| 134 | Output signal pwr source | externally powered |  |
| 135a | Status contacts arr | SPDT |  |
| 135a | Status contacts arr | NA |  |
| 135a | Status contacts arr | SPST |  |
| 135b | Status contacts qty | 2 |  |
| 135b | Status contacts qty | 6 |  |
| 135b | Status contacts qty | 7 |  |
| 135b | Status contacts qty | 0 |  |
| 135b | Status contacts qty | 4 |  |
| 136a | Alarm contacts arr | SPDT |  |
| 136a | Alarm contacts arr | SPST |  |
| 136a | Alarm contacts arr | NA |  |
| 136b | Alarm contacts qty | 1 |  |
| 136b | Alarm contacts qty | 0 |  |
| 137a | User defined attribute name 1 | Valve running indication |  |
| 137a | User defined attribute name 1 | NA |  |
| 137b | User defined attribute Value 1 | blinker contact |  |
| 137b | User defined attribute Value 1 | NA |  |
| 138a | User defined attribute name 2 | NA |  |
| 138b | User defined attribute Value 2 | NA |  |
| 2-011 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 2-012a | Max press at design temp |  | PRESSURE |
| 2-012au | Design pressure units | bar(g) | UNITS |
| 2-012au | Design pressure units | psig | UNITS |
| 2-012b | Max design temperature |  | DESIGN TEMPERATURE |
| 2-012bu | Design temperature units | F | UNITS |
| 2-012bu | Design temperature units | °F | UNITS |
| 2-012bu | Design temperature units | °C | UNITS |
| 2-012bu | Design temperature units | C | UNITS |
| 2-013a | Min working temperature |  | WORKING TEMPERATURE |
| 2-013au | Min working temp units | F | UNITS |
| 2-013au | Min working temp units | C | UNITS |
| 2-013au | Min working temp units | °F | UNITS |
| 2-013au | Min working temp units | °C | UNITS |
| 2-013b | Max working temperature |  | WORKING TEMPERATURE |
| 2-013bu | Max working temp units | F | UNITS |
| 2-013bu | Max working temp units | °C | UNITS |
| 2-013bu | Max working temp units | °F | UNITS |
| 2-013bu | Max working temp units | C | UNITS |
| 2-014 | Max pressure drop |  | PRESSURE DROP |
| 2-014u | Pressure drop units | bar | UNITS |
| 2-014u | Pressure drop units | psi | UNITS |
| 2-015 | Maximum starts per hour | 4000 |  |
| 2-015 | Maximum starts per hour | 60 |  |
| 2-015 | Maximum starts per hour | 1200 |  |
| 2-015 | Maximum starts per hour | 100 |  |
| 2-015 | Maximum starts per hour | 600 |  |
| 2-015 | Maximum starts per hour | 2000 |  |
| 2-016a | Positioning accuracy ref | % full travel |  |
| 2-016a | Positioning accuracy ref | 1.5 |  |
| 2-016a | Positioning accuracy ref | % full range |  |
| 2-016b | Positioning accuracy | 0.25 |  |
| 2-016b | Positioning accuracy | 1.0 |  |
| 2-017a | Position accuracy rating | 1.0 |  |
| 2-017a | Position accuracy rating | 0.5 |  |
| 2-017b | Position accuracy ref | % full scale |  |
| 2-018a | Torque accuracy rating | 1.0 |  |
| 2-018b | Torque accuracy ref | % full scale |  |
| 2-019a | Torque adjustment LRL | 40 |  |
| 2-019au | Torque adjustment LRL ref | % URL |  |
| 2-019b | Torque adjustment URL | 100 |  |
| 2-019bu | Torque adjustment URL ref | % URL |  |
| 2-020 | Max starting current |  |  |
| 2-020u | Starting current units | A | UNITS |
| 2-021a | Rated flow coef type | Cv | RATED FLOW COEFF |
| 2-021a | Rated flow coef type | Kv | RATED FLOW COEFF |
| 2-021b | Rated flow coefficient |  | RATED FLOW COEFF |
| 2-021c | Rated factor Xt |  | FACTOR XT |
| 2-022a | Rated Factor Fl |  | LIQUID PRESSURE RECOVERY FACTR |
| 2-022b | Rated Factor sigma mr |  | FACTOR MR |
| 2-023 | Rated seat leakage class | I | RATED SEAT LEAKAGE CLASS |
| 2-023 | Rated seat leakage class | II | RATED SEAT LEAKAGE CLASS |
| 2-023 | Rated seat leakage class | III | RATED SEAT LEAKAGE CLASS |
| 2-023 | Rated seat leakage class | IV | RATED SEAT LEAKAGE CLASS |
| 2-023 | Rated seat leakage class | V | RATED SEAT LEAKAGE CLASS |
| 2-023 | Rated seat leakage class | VI | RATED SEAT LEAKAGE CLASS |
| 2-024a | Max valve reqd torque |  |  |
| 2-024au | Max valve torque units | N.m |  |
| 2-024au | Max valve torque units | in.lbf |  |
| 2-024au | Max valve torque units | ft.lbf |  |
| 2-024b | Max valve reqd thrust |  |  |
| 2-024bu | Max valve thrust units | lbf |  |
| 2-024bu | Max valve thrust units | kN |  |
| 2-024bu | Max valve thrust units | N |  |
| 2-025 | Design life cycles | 1000000 drive sleeve turn |  |
| 2-025 | Design life cycles | 10000 cycles |  |
| 2-025 | Design life cycles | 25000 cycles |  |
| 2-026a | Min ambient working temp | -4 | AMBIENT TEMPERATURE |
| 2-026a | Min ambient working temp | -20 | AMBIENT TEMPERATURE |
| 2-026a | Min ambient working temp | -22 | AMBIENT TEMPERATURE |
| 2-026a | Min ambient working temp | -5 | AMBIENT TEMPERATURE |
| 2-026a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 2-026a | Min ambient working temp | -50 | AMBIENT TEMPERATURE |
| 2-026a | Min ambient working temp | -58 | AMBIENT TEMPERATURE |
| 2-026a | Min ambient working temp | -30 | AMBIENT TEMPERATURE |
| 2-026au | Min amb working temp units | C | UNITS |
| 2-026au | Min amb working temp units | °C | UNITS |
| 2-026au | Min amb working temp units | F | UNITS |
| 2-026au | Min amb working temp units | °F | UNITS |
| 2-026b | Max ambient working temp | 158 | MAX AMBIENT TEMPERATURE |
| 2-026b | Max ambient working temp | 40 | MAX AMBIENT TEMPERATURE |
| 2-026b | Max ambient working temp | 70 | MAX AMBIENT TEMPERATURE |
| 2-026b | Max ambient working temp | 104 | MAX AMBIENT TEMPERATURE |
| 2-026b | Max ambient working temp | 60 | MAX AMBIENT TEMPERATURE |
| 2-026b | Max ambient working temp | 140 | MAX AMBIENT TEMPERATURE |
| 2-026bu | Max amb working temp units | °C | UNITS |
| 2-026bu | Max amb working temp units | C | UNITS |
| 2-026bu | Max amb working temp units | °F | UNITS |
| 2-026bu | Max amb working temp units | F | UNITS |
| 2-027a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 2-027b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 2-028a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 2-028b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 2-029 | ACCESSORIES | SECTION TITLE |  |
| 2-030 | Isolation switch | NA |  |
| 2-030 | Isolation switch | WP remote mounted |  |
| 2-030 | Isolation switch | EP remote mounted |  |
| 2-030 | Isolation switch | WP direct coupled |  |
| 2-031 | Local control station | WP remote mounted |  |
| 2-031 | Local control station | NA |  |
| 2-031 | Local control station | EP remote mounted |  |
| 2-032 | Auxiliary power device | NA |  |
| 2-032 | Auxiliary power device | 24 V (dc) |  |
| 2-033a | Defined attribute 1 name | Special mounting | DEFINABLE ATTRIBUTE NAME |
| 2-033a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 2-033b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 2-033b | Defined attribute 1 data | stand w/upward shaft | DEFINABLE ATTRIBUTE VALUE |
| 2-033b | Defined attribute 1 data | stand w/downward shaft | DEFINABLE ATTRIBUTE VALUE |
| 2-034a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 2-034a | Defined attribute 2 name | Remote mounted amplifier | DEFINABLE ATTRIBUTE NAME |
| 2-034b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 2-034b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 2-035 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 2-036 | Custom tag | fiber tag |  |
| 2-036 | Custom tag | NA |  |
| 2-036 | Custom tag | sst permanent attached |  |
| 2-036 | Custom tag | sst wired-on |  |
| 2-037 | Reference specification | NA | REFERENCE SPECIFICATION |
| 2-038 | Special preparation | chlorine service |  |
| 2-038 | Special preparation | hydrogen service |  |
| 2-038 | Special preparation | NA |  |
| 2-038 | Special preparation | oxygen service |  |
| 2-039 | Compliance standard | MSS SP-102 | NACE STANDARD |
| 2-039 | Compliance standard | IEEE 323,IEEE 344,IEE 382 | NACE STANDARD |
| 2-039 | Compliance standard | IEEE 323,IEE 382 | NACE STANDARD |
| 2-039 | Compliance standard | NA | NACE STANDARD |
| 2-039 | Compliance standard | ISO 5210 | NACE STANDARD |
| 2-039 | Compliance standard | ANSI B16,104 | NACE STANDARD |
| 2-039 | Compliance standard | API 607 | NACE STANDARD |
| 2-039 | Compliance standard | AWWA C504-87 & C540-93 | NACE STANDARD |
| 2-039 | Compliance standard | AWWA C504-87 & C540-87 | NACE STANDARD |
| 2-039 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 2-040 | Construction code | ANSI B31.1 |  |
| 2-040 | Construction code | ANSI B31.3 |  |
| 2-040 | Construction code | ASME section VIII |  |
| 2-040 | Construction code | NA |  |
| 2-041 | Calculation report | NA |  |
| 2-041 | Calculation report | valve sizing calc |  |
| 2-041 | Calculation report | actuator sizing calc |  |
| 2-042 | Software program | PDA interface software |  |
| 2-042 | Software program | NA |  |
| 2-042 | Software program | PC interface software |  |
| 2-043 | Service design | submersible |  |
| 2-043 | Service design | commercial on/off |  |
| 2-043 | Service design | artic temperature |  |
| 2-043 | Service design | buried |  |
| 2-043 | Service design | AWWA |  |
| 2-043 | Service design | nuclear service |  |
| 2-043 | Service design | high-temperature |  |
| 2-043 | Service design | NA |  |
| 2-044a | Defined attribute 1 name | Assembly responsibility | DEFINABLE ATTRIBUTE NAME |
| 2-044a | Defined attribute 1 name | Special inspections | DEFINABLE ATTRIBUTE NAME |
| 2-044b | Defined attribute 1 data | by valve supplier | DEFINABLE ATTRIBUTE VALUE |
| 2-044b | Defined attribute 1 data | by customer | DEFINABLE ATTRIBUTE VALUE |
| 2-044b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 2-044b | Defined attribute 1 data | by actuator supplier | DEFINABLE ATTRIBUTE VALUE |
| 2-044b | Defined attribute 1 data | radiographic examination | DEFINABLE ATTRIBUTE VALUE |
| 2-045a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 2-045a | Defined attribute 2 name | Extended warranty | DEFINABLE ATTRIBUTE NAME |
| 2-045b | Defined attribute 2 data | twp year | DEFINABLE ATTRIBUTE VALUE |
| 2-045b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 2-045b | Defined attribute 2 data | one year | DEFINABLE ATTRIBUTE VALUE |
| 2-046 | PHYSICAL DATA | SECTION TITLE |  |
| 2-047 | Estimated weight |  |  |
| 2-047u | Weight units | kg | UNITS |
| 2-047u | Weight units | lb | UNITS |
| 2-048 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 2-048u | Face-to-face dim units | in | UNITS |
| 2-048u | Face-to-face dim units | mm | UNITS |
| 2-049 | Overall height |  |  |
| 2-049u | Overall height units | in | UNITS |
| 2-049u | Overall height units | mm | UNITS |
| 2-050 | Removal clearance |  |  |
| 2-050u | Removal clearance units | in | UNITS |
| 2-050u | Removal clearance units | mm | UNITS |
| 2-051a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 2-051a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 2-051a | Signal conn nominal size | 3 x 1 in | NOMINAL SIZE |
| 2-051a | Signal conn nominal size | 2 x 1 in | NOMINAL SIZE |
| 2-051a | Signal conn nominal size | 1 in | NOMINAL SIZE |
| 2-051a | Signal conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 2-051b | Signal conn termn style | M20 | END CONNECTION TYPE |
| 2-051b | Signal conn termn style | 3 x M32 | END CONNECTION TYPE |
| 2-051b | Signal conn termn style | M32 | END CONNECTION TYPE |
| 2-051b | Signal conn termn style | 2 x M32 | END CONNECTION TYPE |
| 2-051b | Signal conn termn style | NA | END CONNECTION TYPE |
| 2-051b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 2-051b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 2-051b | Signal conn termn style | pg 29 | END CONNECTION TYPE |
| 2-051b | Signal conn termn style | pg 16 | END CONNECTION TYPE |
| 2-052 | Mfr reference dwg | NA |  |
| 2-053 | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 2-053 | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 2-054a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 2-054b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 2-055a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 2-055b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 2-110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 2-112a | Analog signal tag number | NA |  |
| 2-112b | Position input-Travel | MEAS/SIGNAL/SCALE |  |
| 2-112c | Position input LRV | 4 |  |
| 2-112c | Position input LRV | 12 |  |
| 2-112c | Position input LRV | 0 |  |
| 2-112cu | Position input LRV units | % |  |
| 2-112cu | Position input LRV units | mA |  |
| 2-112cu | Position input LRV units | NA |  |
| 2-112cu | Position input LRV units | V |  |
| 2-112d | Position input URV | 12 |  |
| 2-112d | Position input URV | 5 |  |
| 2-112d | Position input URV | 10 |  |
| 2-112d | Position input URV | 20 |  |
| 2-112du | Position input URV units | NA |  |
| 2-112du | Position input URV units | mA |  |
| 2-112du | Position input URV units | V |  |
| 2-112du | Position input URV units | % |  |
| 2-112e | Position input action | reverse |  |
| 2-112e | Position input action | direct |  |
| 2-112e | Position input action | NA |  |
| 2-112f | Travel Lower Range Value | 0 | LOWER RANGE-VALUE |
| 2-112fu | Travel LRV units | % | UNITS |
| 2-112fu | Travel LRV units | mm | UNITS |
| 2-112fu | Travel LRV units | ° | UNITS |
| 2-112fu | Travel LRV units | in | UNITS |
| 2-112fu | Travel LRV units | NA | UNITS |
| 2-112fu | Travel LRV units | turns | UNITS |
| 2-112fu | Travel LRV units | degree | UNITS |
| 2-112g | Travel Upper Range Value | 90 | UPPER RANGE-VALUE |
| 2-112g | Travel Upper Range Value | 100 | UPPER RANGE-VALUE |
| 2-112gu | Travel URV units | in | UNITS |
| 2-112gu | Travel URV units | NA | UNITS |
| 2-112gu | Travel URV units | % | UNITS |
| 2-112gu | Travel URV units | ° | UNITS |
| 2-112gu | Travel URV units | turns | UNITS |
| 2-112gu | Travel URV units | mm | UNITS |
| 2-112gu | Travel URV units | degree | UNITS |
| 2-113a | Close sw tag number | NA |  |
| 2-113b | Close sw energized-Travel | MEAS/SIGNAL/SCALE |  |
| 2-113c | Close sw input URV | 125 |  |
| 2-113c | Close sw input URV | 110 |  |
| 2-113c | Close sw input URV | 24 |  |
| 2-113cu | Close sw input URV units | NA |  |
| 2-113cu | Close sw input URV units | V |  |
| 2-113e | Close switch action | NO |  |
| 2-113e | Close switch action | NA |  |
| 2-113f | Travel Lower Range Value | 0 | LOWER RANGE-VALUE |
| 2-113fu | Travel LRV units | % | UNITS |
| 2-113fu | Travel LRV units | NA | UNITS |
| 2-113fu | Travel LRV units | degree | UNITS |
| 2-113fu | Travel LRV units | ° | UNITS |
| 2-113fu | Travel LRV units | turns | UNITS |
| 2-113fu | Travel LRV units | in | UNITS |
| 2-113fu | Travel LRV units | mm | UNITS |
| 2-113g | Travel Upper Range Value | 90 | UPPER RANGE-VALUE |
| 2-113g | Travel Upper Range Value | 100 | UPPER RANGE-VALUE |
| 2-113gu | Travel URV units | % | UNITS |
| 2-113gu | Travel URV units | turns | UNITS |
| 2-113gu | Travel URV units | mm | UNITS |
| 2-113gu | Travel URV units | ° | UNITS |
| 2-113gu | Travel URV units | degree | UNITS |
| 2-113gu | Travel URV units | in | UNITS |
| 2-114a | Open sw tag number | NA |  |
| 2-114b | Open sw energized-Travel | MEAS/SIGNAL/SCALE |  |
| 2-114d | Open sw input URV | 125 |  |
| 2-114d | Open sw input URV | 24 |  |
| 2-114d | Open sw input URV | 110 |  |
| 2-114du | Open sw input URV units | V |  |
| 2-114du | Open sw input URV units | NA |  |
| 2-114e | Open switch action | NA |  |
| 2-114e | Open switch action | NO |  |
| 2-114f | Travel Lower Range Value | 0 | LOWER RANGE-VALUE |
| 2-114fu | Travel LRV units | ° | UNITS |
| 2-114fu | Travel LRV units | in | UNITS |
| 2-114fu | Travel LRV units | turns | UNITS |
| 2-114fu | Travel LRV units | % | UNITS |
| 2-114fu | Travel LRV units | degree | UNITS |
| 2-114fu | Travel LRV units | mm | UNITS |
| 2-114g | Travel Upper Range Value | 100 | UPPER RANGE-VALUE |
| 2-114g | Travel Upper Range Value | 90 | UPPER RANGE-VALUE |
| 2-114gu | Travel URV units | degree | UNITS |
| 2-114gu | Travel URV units | turns | UNITS |
| 2-114gu | Travel URV units | NA | UNITS |
| 2-114gu | Travel URV units | % | UNITS |
| 2-114gu | Travel URV units | in | UNITS |
| 2-114gu | Travel URV units | mm | UNITS |
| 2-114gu | Travel URV units | ° | UNITS |
| 2-115a | Position xmtr tag no | NA |  |
| 2-115b | Position-Output | MEAS/SIGNAL/SCALE |  |
| 2-115c | Position Input LRV | 0 |  |
| 2-115cu | Position LRV units | turns | UNITS |
| 2-115cu | Position LRV units | mm | UNITS |
| 2-115cu | Position LRV units | ° | UNITS |
| 2-115cu | Position LRV units | NA | UNITS |
| 2-115cu | Position LRV units | degree | UNITS |
| 2-115cu | Position LRV units | in | UNITS |
| 2-115cu | Position LRV units | % | UNITS |
| 2-115d | Position Input URV | 100 |  |
| 2-115d | Position Input URV | 90 |  |
| 2-115du | Position URV units | degree | UNITS |
| 2-115du | Position URV units | ° | UNITS |
| 2-115du | Position URV units | in | UNITS |
| 2-115du | Position URV units | mm | UNITS |
| 2-115du | Position URV units | turns | UNITS |
| 2-115du | Position URV units | % | UNITS |
| 2-115du | Position URV units | NA | UNITS |
| 2-115e | Position action | direct | INSTRUMENT ACTION |
| 2-115e | Position action | NA | INSTRUMENT ACTION |
| 2-115f | Position output LRV | 4 | LOWER RANGE-VALUE |
| 2-115f | Position output LRV | 0 | LOWER RANGE-VALUE |
| 2-115fu | Position output LRV units | V | UNITS |
| 2-115fu | Position output LRV units | turns | UNITS |
| 2-115fu | Position output LRV units | ° | UNITS |
| 2-115fu | Position output LRV units | Ohm | UNITS |
| 2-115fu | Position output LRV units | NA | UNITS |
| 2-115fu | Position output LRV units | mA | UNITS |
| 2-115fu | Position output LRV units | degree | UNITS |
| 2-115fu | Position output LRV units | mm | UNITS |
| 2-115fu | Position output LRV units | in | UNITS |
| 2-115fu | Position output LRV units | % | UNITS |
| 2-115g | Position output URV | 5000 | UPPER RANGE-VALUE |
| 2-115g | Position output URV | 1000 | UPPER RANGE-VALUE |
| 2-115g | Position output URV | 4 | UPPER RANGE-VALUE |
| 2-115g | Position output URV | 20 | UPPER RANGE-VALUE |
| 2-115g | Position output URV | 2000 | UPPER RANGE-VALUE |
| 2-115g | Position output URV | 10000 | UPPER RANGE-VALUE |
| 2-115g | Position output URV | 10 | UPPER RANGE-VALUE |
| 2-115g | Position output URV | 100 | UPPER RANGE-VALUE |
| 2-115gu | Position output URV units | ° | UNITS |
| 2-115gu | Position output URV units | NA | UNITS |
| 2-115gu | Position output URV units | Ohm | UNITS |
| 2-115gu | Position output URV units | V | UNITS |
| 2-115gu | Position output URV units | mm | UNITS |
| 2-115gu | Position output URV units | turns | UNITS |
| 2-115gu | Position output URV units | mA | UNITS |
| 2-115gu | Position output URV units | in | UNITS |
| 2-115gu | Position output URV units | % | UNITS |
| 2-115gu | Position output URV units | degree | UNITS |
| 2-116a | Torque xmtr tag no | NA |  |
| 2-116b | Torque-Output | MEAS/SIGNAL/SCALE |  |
| 2-116c | Torque Input LRV | 0 |  |
| 2-116cu | Torque LRV units | in.lbf |  |
| 2-116cu | Torque LRV units | ft.lbs |  |
| 2-116cu | Torque LRV units | N.m |  |
| 2-116cu | Torque LRV units | NA |  |
| 2-116d | Torque Input URV |  |  |
| 2-116du | Torque URV units | N.m |  |
| 2-116du | Torque URV units | in.lbf |  |
| 2-116du | Torque URV units | NA |  |
| 2-116du | Torque URV units | ft.lbs |  |
| 2-116e | Torque action | NA |  |
| 2-116e | Torque action | direct |  |
| 2-116f | Torque output LRV | 0 |  |
| 2-116fu | Torque output LRV units | NA |  |
| 2-116fu | Torque output LRV units | N.m |  |
| 2-116fu | Torque output LRV units | ft.lbs |  |
| 2-116fu | Torque output LRV units | % |  |
| 2-116fu | Torque output LRV units | in.lbf |  |
| 2-116g | Torque output URV | 100 |  |
| 2-116gu | Torque output URV units | % |  |
| 2-116gu | Torque output URV units | ft.lbs |  |
| 2-116gu | Torque output URV units | NA |  |
| 2-116gu | Torque output URV units | N.m |  |
| 2-116gu | Torque output URV units | in.lbf |  |
| 2-117a | Position scale tag no | NA |  |
| 2-117b | Position-Output | MEAS/SIGNAL/SCALE |  |
| 2-117c | Position Input LRV | 0 |  |
| 2-117cu | Position LRV units | NA | UNITS |
| 2-117cu | Position LRV units | turns | UNITS |
| 2-117cu | Position LRV units | ° | UNITS |
| 2-117cu | Position LRV units | % | UNITS |
| 2-117cu | Position LRV units | degree | UNITS |
| 2-117cu | Position LRV units | in | UNITS |
| 2-117cu | Position LRV units | mm | UNITS |
| 2-117d | Position Input URV | 100 |  |
| 2-117d | Position Input URV | 90 |  |
| 2-117du | Position URV units | mm | UNITS |
| 2-117du | Position URV units | degree | UNITS |
| 2-117du | Position URV units | in | UNITS |
| 2-117du | Position URV units | turns | UNITS |
| 2-117du | Position URV units | ° | UNITS |
| 2-117du | Position URV units | % | UNITS |
| 2-117du | Position URV units | NA | UNITS |
| 2-117e | Position Scale action | direct |  |
| 2-117f | Position scale LRV | 0 |  |
| 2-117fu | Position scale LRV units | degree |  |
| 2-117fu | Position scale LRV units | NA |  |
| 2-117fu | Position scale LRV units | ° |  |
| 2-117fu | Position scale LRV units | mm |  |
| 2-117fu | Position scale LRV units | % |  |
| 2-117fu | Position scale LRV units | turns |  |
| 2-117fu | Position scale LRV units | in |  |
| 2-117g | Position scale URV | 100 |  |
| 2-117g | Position scale URV | 90 |  |
| 2-117gu | Position scale URV units | NA |  |
| 2-117gu | Position scale URV units | mm |  |
| 2-117gu | Position scale URV units | degree |  |
| 2-117gu | Position scale URV units | turns |  |
| 2-117gu | Position scale URV units | % |  |
| 2-117gu | Position scale URV units | in |  |
| 2-117gu | Position scale URV units | ° |  |
| 2-118a | Aux input 1 tag number | NA |  |
| 2-118b | Level-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-118b | Aux input 1-Output | MEAS/SIGNAL/SCALE |  |
| 2-118b | Flow rate-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-118b | Temp-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-118b | Pressure-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-118b | Diff press-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-118c | Aux input 1 LRV | 0 |  |
| 2-118c | Aux input 1 LRV | 4 |  |
| 2-118cu | Aux input 1 LRV units | F |  |
| 2-118cu | Aux input 1 LRV units | L/d(std) |  |
| 2-118cu | Aux input 1 LRV units | kg/d |  |
| 2-118cu | Aux input 1 LRV units | V |  |
| 2-118cu | Aux input 1 LRV units | kg/s |  |
| 2-118cu | Aux input 1 LRV units | psi |  |
| 2-118cu | Aux input 1 LRV units | mm |  |
| 2-118cu | Aux input 1 LRV units | in |  |
| 2-118cu | Aux input 1 LRV units | °C |  |
| 2-118cu | Aux input 1 LRV units | bar(g) |  |
| 2-118cu | Aux input 1 LRV units | C |  |
| 2-118cu | Aux input 1 LRV units | m3/s |  |
| 2-118cu | Aux input 1 LRV units | psig |  |
| 2-118cu | Aux input 1 LRV units | °F |  |
| 2-118cu | Aux input 1 LRV units | Pa |  |
| 2-118cu | Aux input 1 LRV units | mmHg |  |
| 2-118cu | Aux input 1 LRV units | kg/h |  |
| 2-118cu | Aux input 1 LRV units | bar |  |
| 2-118cu | Aux input 1 LRV units | mA |  |
| 2-118cu | Aux input 1 LRV units | galUS/min |  |
| 2-118cu | Aux input 1 LRV units | galUS/h |  |
| 2-118cu | Aux input 1 LRV units | L/s |  |
| 2-118cu | Aux input 1 LRV units | Pa(g) |  |
| 2-118cu | Aux input 1 LRV units | kPa(g) |  |
| 2-118cu | Aux input 1 LRV units | L/s(std) |  |
| 2-118cu | Aux input 1 LRV units | kPa |  |
| 2-118cu | Aux input 1 LRV units | bbl/d |  |
| 2-118cu | Aux input 1 LRV units | NA |  |
| 2-118cu | Aux input 1 LRV units | lb/h |  |
| 2-118cu | Aux input 1 LRV units | m3/h |  |
| 2-118cu | Aux input 1 LRV units | psia |  |
| 2-118d | Aux input 1 URV | 20 |  |
| 2-118d | Aux input 1 URV | 24 |  |
| 2-118d | Aux input 1 URV | 10 |  |
| 2-118du | Aux input 1 URV units | Pa |  |
| 2-118du | Aux input 1 URV units | F |  |
| 2-118du | Aux input 1 URV units | bbl/d |  |
| 2-118du | Aux input 1 URV units | psig |  |
| 2-118du | Aux input 1 URV units | kPa |  |
| 2-118du | Aux input 1 URV units | Pa(g) |  |
| 2-118du | Aux input 1 URV units | V |  |
| 2-118du | Aux input 1 URV units | psia |  |
| 2-118du | Aux input 1 URV units | mA |  |
| 2-118du | Aux input 1 URV units | galUS/h |  |
| 2-118du | Aux input 1 URV units | lb/h |  |
| 2-118du | Aux input 1 URV units | C |  |
| 2-118du | Aux input 1 URV units | kPa(g) |  |
| 2-118du | Aux input 1 URV units | L/s(std) |  |
| 2-118du | Aux input 1 URV units | bar |  |
| 2-118du | Aux input 1 URV units | bar(g) |  |
| 2-118du | Aux input 1 URV units | °F |  |
| 2-118du | Aux input 1 URV units | L/s |  |
| 2-118du | Aux input 1 URV units | galUS/min |  |
| 2-118du | Aux input 1 URV units | °C |  |
| 2-118du | Aux input 1 URV units | L/d(std) |  |
| 2-118du | Aux input 1 URV units | psi |  |
| 2-118du | Aux input 1 URV units | kg/s |  |
| 2-118du | Aux input 1 URV units | mmHg |  |
| 2-118du | Aux input 1 URV units | NA |  |
| 2-118du | Aux input 1 URV units | mm |  |
| 2-118du | Aux input 1 URV units | kg/h |  |
| 2-118du | Aux input 1 URV units | kg/d |  |
| 2-118du | Aux input 1 URV units | in |  |
| 2-118du | Aux input 1 URV units | m3/s |  |
| 2-118du | Aux input 1 URV units | m3/h |  |
| 2-118e | Aux input 1 action | NA |  |
| 2-118e | Aux input 1 action | direct |  |
| 2-118e | Aux input 1 action | NC |  |
| 2-118e | Aux input 1 action | reverse |  |
| 2-118e | Aux input 1 action | NO |  |
| 2-118f | Aux input 1 Output LRV | 0 |  |
| 2-118fu | Aux input 1 Output LRV units | lb/h |  |
| 2-118fu | Aux input 1 Output LRV units | L/s(std) |  |
| 2-118fu | Aux input 1 Output LRV units | Pa(g) |  |
| 2-118fu | Aux input 1 Output LRV units | kg/h |  |
| 2-118fu | Aux input 1 Output LRV units | L/s |  |
| 2-118fu | Aux input 1 Output LRV units | C |  |
| 2-118fu | Aux input 1 Output LRV units | bbl/d |  |
| 2-118fu | Aux input 1 Output LRV units | bar(g) |  |
| 2-118fu | Aux input 1 Output LRV units | °F |  |
| 2-118fu | Aux input 1 Output LRV units | mmHg |  |
| 2-118fu | Aux input 1 Output LRV units | mm |  |
| 2-118fu | Aux input 1 Output LRV units | mA |  |
| 2-118fu | Aux input 1 Output LRV units | m3/s |  |
| 2-118fu | Aux input 1 Output LRV units | m3/h |  |
| 2-118fu | Aux input 1 Output LRV units | kg/s |  |
| 2-118fu | Aux input 1 Output LRV units | °C |  |
| 2-118fu | Aux input 1 Output LRV units | kg/d |  |
| 2-118fu | Aux input 1 Output LRV units | galUS/min |  |
| 2-118fu | Aux input 1 Output LRV units | % |  |
| 2-118fu | Aux input 1 Output LRV units | F |  |
| 2-118fu | Aux input 1 Output LRV units | in |  |
| 2-118fu | Aux input 1 Output LRV units | bar |  |
| 2-118fu | Aux input 1 Output LRV units | NA |  |
| 2-118fu | Aux input 1 Output LRV units | galUS/h |  |
| 2-118fu | Aux input 1 Output LRV units | L/d(std) |  |
| 2-118fu | Aux input 1 Output LRV units | psi |  |
| 2-118fu | Aux input 1 Output LRV units | kPa |  |
| 2-118fu | Aux input 1 Output LRV units | psia |  |
| 2-118fu | Aux input 1 Output LRV units | psig |  |
| 2-118fu | Aux input 1 Output LRV units | kPa(g) |  |
| 2-118fu | Aux input 1 Output LRV units | V |  |
| 2-118fu | Aux input 1 Output LRV units | Pa |  |
| 2-118g | Aux input 1 Output URV | 100 |  |
| 2-118gu | Aux input 1 Output URV units | bbl/d |  |
| 2-118gu | Aux input 1 Output URV units | kg/h |  |
| 2-118gu | Aux input 1 Output URV units | kg/d |  |
| 2-118gu | Aux input 1 Output URV units | psia |  |
| 2-118gu | Aux input 1 Output URV units | lb/h |  |
| 2-118gu | Aux input 1 Output URV units | m3/h |  |
| 2-118gu | Aux input 1 Output URV units | galUS/min |  |
| 2-118gu | Aux input 1 Output URV units | % |  |
| 2-118gu | Aux input 1 Output URV units | L/s |  |
| 2-118gu | Aux input 1 Output URV units | bar(g) |  |
| 2-118gu | Aux input 1 Output URV units | bar |  |
| 2-118gu | Aux input 1 Output URV units | L/d(std) |  |
| 2-118gu | Aux input 1 Output URV units | NA |  |
| 2-118gu | Aux input 1 Output URV units | in |  |
| 2-118gu | Aux input 1 Output URV units | kg/s |  |
| 2-118gu | Aux input 1 Output URV units | F |  |
| 2-118gu | Aux input 1 Output URV units | mmHg |  |
| 2-118gu | Aux input 1 Output URV units | V |  |
| 2-118gu | Aux input 1 Output URV units | galUS/h |  |
| 2-118gu | Aux input 1 Output URV units | L/s(std) |  |
| 2-118gu | Aux input 1 Output URV units | kPa |  |
| 2-118gu | Aux input 1 Output URV units | m3/s |  |
| 2-118gu | Aux input 1 Output URV units | °F |  |
| 2-118gu | Aux input 1 Output URV units | mm |  |
| 2-118gu | Aux input 1 Output URV units | Pa |  |
| 2-118gu | Aux input 1 Output URV units | Pa(g) |  |
| 2-118gu | Aux input 1 Output URV units | psi |  |
| 2-118gu | Aux input 1 Output URV units | °C |  |
| 2-118gu | Aux input 1 Output URV units | psig |  |
| 2-118gu | Aux input 1 Output URV units | C |  |
| 2-118gu | Aux input 1 Output URV units | kPa(g) |  |
| 2-118gu | Aux input 1 Output URV units | mA |  |
| 2-119a | Aux input 2 tag number | NA |  |
| 2-119b | Flow rate-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-119b | Diff press-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-119b | Temp-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-119b | Aux input 2-Output | MEAS/SIGNAL/SCALE |  |
| 2-119b | Level-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-119b | Pressure-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-119c | Aux input 2 LRV | 0 |  |
| 2-119c | Aux input 2 LRV | 4 |  |
| 2-119cu | Aux input 2 LRV units | mmHg |  |
| 2-119cu | Aux input 2 LRV units | psig |  |
| 2-119cu | Aux input 2 LRV units | psia |  |
| 2-119cu | Aux input 2 LRV units | m3/s |  |
| 2-119cu | Aux input 2 LRV units | °C |  |
| 2-119cu | Aux input 2 LRV units | °F |  |
| 2-119cu | Aux input 2 LRV units | psi |  |
| 2-119cu | Aux input 2 LRV units | V |  |
| 2-119cu | Aux input 2 LRV units | Pa |  |
| 2-119cu | Aux input 2 LRV units | mm |  |
| 2-119cu | Aux input 2 LRV units | C |  |
| 2-119cu | Aux input 2 LRV units | m3/h |  |
| 2-119cu | Aux input 2 LRV units | lb/h |  |
| 2-119cu | Aux input 2 LRV units | Pa(g) |  |
| 2-119cu | Aux input 2 LRV units | in |  |
| 2-119cu | Aux input 2 LRV units | bar |  |
| 2-119cu | Aux input 2 LRV units | F |  |
| 2-119cu | Aux input 2 LRV units | L/s |  |
| 2-119cu | Aux input 2 LRV units | L/d(std) |  |
| 2-119cu | Aux input 2 LRV units | kPa(g) |  |
| 2-119cu | Aux input 2 LRV units | NA |  |
| 2-119cu | Aux input 2 LRV units | galUS/h |  |
| 2-119cu | Aux input 2 LRV units | kg/s |  |
| 2-119cu | Aux input 2 LRV units | kg/d |  |
| 2-119cu | Aux input 2 LRV units | L/s(std) |  |
| 2-119cu | Aux input 2 LRV units | kg/h |  |
| 2-119cu | Aux input 2 LRV units | mA |  |
| 2-119cu | Aux input 2 LRV units | bbl/d |  |
| 2-119cu | Aux input 2 LRV units | kPa |  |
| 2-119cu | Aux input 2 LRV units | bar(g) |  |
| 2-119cu | Aux input 2 LRV units | galUS/min |  |
| 2-119d | Aux input 2 URV | 20 |  |
| 2-119d | Aux input 2 URV | 24 |  |
| 2-119d | Aux input 2 URV | 10 |  |
| 2-119du | Aux input 2 URV units | mmHg |  |
| 2-119du | Aux input 2 URV units | °F |  |
| 2-119du | Aux input 2 URV units | bar |  |
| 2-119du | Aux input 2 URV units | bar(g) |  |
| 2-119du | Aux input 2 URV units | bbl/d |  |
| 2-119du | Aux input 2 URV units | C |  |
| 2-119du | Aux input 2 URV units | galUS/h |  |
| 2-119du | Aux input 2 URV units | galUS/min |  |
| 2-119du | Aux input 2 URV units | in |  |
| 2-119du | Aux input 2 URV units | °C |  |
| 2-119du | Aux input 2 URV units | kg/d |  |
| 2-119du | Aux input 2 URV units | V |  |
| 2-119du | Aux input 2 URV units | F |  |
| 2-119du | Aux input 2 URV units | psi |  |
| 2-119du | Aux input 2 URV units | L/d(std) |  |
| 2-119du | Aux input 2 URV units | kPa(g) |  |
| 2-119du | Aux input 2 URV units | kPa |  |
| 2-119du | Aux input 2 URV units | L/s(std) |  |
| 2-119du | Aux input 2 URV units | m3/s |  |
| 2-119du | Aux input 2 URV units | Pa(g) |  |
| 2-119du | Aux input 2 URV units | NA |  |
| 2-119du | Aux input 2 URV units | Pa |  |
| 2-119du | Aux input 2 URV units | psia |  |
| 2-119du | Aux input 2 URV units | psig |  |
| 2-119du | Aux input 2 URV units | L/s |  |
| 2-119du | Aux input 2 URV units | lb/h |  |
| 2-119du | Aux input 2 URV units | m3/h |  |
| 2-119du | Aux input 2 URV units | mm |  |
| 2-119du | Aux input 2 URV units | kg/h |  |
| 2-119du | Aux input 2 URV units | mA |  |
| 2-119du | Aux input 2 URV units | kg/s |  |
| 2-119e | Aux input 2 action | reverse |  |
| 2-119e | Aux input 2 action | NA |  |
| 2-119e | Aux input 2 action | direct |  |
| 2-119e | Aux input 2 action | NO |  |
| 2-119e | Aux input 2 action | NC |  |
| 2-119f | Aux input 2 Output LRV | 0 |  |
| 2-119fu | Aux input 2 Output LRV units | bbl/d |  |
| 2-119fu | Aux input 2 Output LRV units | C |  |
| 2-119fu | Aux input 2 Output LRV units | F |  |
| 2-119fu | Aux input 2 Output LRV units | galUS/min |  |
| 2-119fu | Aux input 2 Output LRV units | bar |  |
| 2-119fu | Aux input 2 Output LRV units | kPa(g) |  |
| 2-119fu | Aux input 2 Output LRV units | in |  |
| 2-119fu | Aux input 2 Output LRV units | kg/h |  |
| 2-119fu | Aux input 2 Output LRV units | lb/h |  |
| 2-119fu | Aux input 2 Output LRV units | % |  |
| 2-119fu | Aux input 2 Output LRV units | °C |  |
| 2-119fu | Aux input 2 Output LRV units | °F |  |
| 2-119fu | Aux input 2 Output LRV units | kg/s |  |
| 2-119fu | Aux input 2 Output LRV units | kPa |  |
| 2-119fu | Aux input 2 Output LRV units | bar(g) |  |
| 2-119fu | Aux input 2 Output LRV units | kg/d |  |
| 2-119fu | Aux input 2 Output LRV units | Pa(g) |  |
| 2-119fu | Aux input 2 Output LRV units | V |  |
| 2-119fu | Aux input 2 Output LRV units | L/s |  |
| 2-119fu | Aux input 2 Output LRV units | psig |  |
| 2-119fu | Aux input 2 Output LRV units | psia |  |
| 2-119fu | Aux input 2 Output LRV units | m3/s |  |
| 2-119fu | Aux input 2 Output LRV units | psi |  |
| 2-119fu | Aux input 2 Output LRV units | galUS/h |  |
| 2-119fu | Aux input 2 Output LRV units | mA |  |
| 2-119fu | Aux input 2 Output LRV units | mm |  |
| 2-119fu | Aux input 2 Output LRV units | mmHg |  |
| 2-119fu | Aux input 2 Output LRV units | NA |  |
| 2-119fu | Aux input 2 Output LRV units | L/d(std) |  |
| 2-119fu | Aux input 2 Output LRV units | Pa |  |
| 2-119fu | Aux input 2 Output LRV units | m3/h |  |
| 2-119fu | Aux input 2 Output LRV units | L/s(std) |  |
| 2-119g | Aux input 2 Output URV | 100 |  |
| 2-119gu | Aux input 2 Output URV units | °F |  |
| 2-119gu | Aux input 2 Output URV units | kPa(g) |  |
| 2-119gu | Aux input 2 Output URV units | °C |  |
| 2-119gu | Aux input 2 Output URV units | bbl/d |  |
| 2-119gu | Aux input 2 Output URV units | galUS/min |  |
| 2-119gu | Aux input 2 Output URV units | L/d(std) |  |
| 2-119gu | Aux input 2 Output URV units | kPa |  |
| 2-119gu | Aux input 2 Output URV units | kg/s |  |
| 2-119gu | Aux input 2 Output URV units | kg/h |  |
| 2-119gu | Aux input 2 Output URV units | galUS/h |  |
| 2-119gu | Aux input 2 Output URV units | in |  |
| 2-119gu | Aux input 2 Output URV units | L/s(std) |  |
| 2-119gu | Aux input 2 Output URV units | mmHg |  |
| 2-119gu | Aux input 2 Output URV units | F |  |
| 2-119gu | Aux input 2 Output URV units | kg/d |  |
| 2-119gu | Aux input 2 Output URV units | lb/h |  |
| 2-119gu | Aux input 2 Output URV units | psig |  |
| 2-119gu | Aux input 2 Output URV units | L/s |  |
| 2-119gu | Aux input 2 Output URV units | Pa(g) |  |
| 2-119gu | Aux input 2 Output URV units | bar(g) |  |
| 2-119gu | Aux input 2 Output URV units | mA |  |
| 2-119gu | Aux input 2 Output URV units | bar |  |
| 2-119gu | Aux input 2 Output URV units | m3/h |  |
| 2-119gu | Aux input 2 Output URV units | V |  |
| 2-119gu | Aux input 2 Output URV units | psia |  |
| 2-119gu | Aux input 2 Output URV units | psi |  |
| 2-119gu | Aux input 2 Output URV units | Pa |  |
| 2-119gu | Aux input 2 Output URV units | NA |  |
| 2-119gu | Aux input 2 Output URV units | mm |  |
| 2-119gu | Aux input 2 Output URV units | C |  |
| 2-119gu | Aux input 2 Output URV units | m3/s |  |
| 2-119gu | Aux input 2 Output URV units | % |  |
| 2-120a | Aux input 3 tag number | NA |  |
| 2-120b | Level-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-120b | Pressure-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-120b | Aux input 3-Output | MEAS/SIGNAL/SCALE |  |
| 2-120b | Diff press-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-120b | Flow rate-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-120b | Temp-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-120c | Aux input 3 LRV | 4 |  |
| 2-120c | Aux input 3 LRV | 0 |  |
| 2-120cu | Aux input 3 LRV units | kPa(g) |  |
| 2-120cu | Aux input 3 LRV units | bbl/d |  |
| 2-120cu | Aux input 3 LRV units | C |  |
| 2-120cu | Aux input 3 LRV units | F |  |
| 2-120cu | Aux input 3 LRV units | lb/h |  |
| 2-120cu | Aux input 3 LRV units | galUS/min |  |
| 2-120cu | Aux input 3 LRV units | °F |  |
| 2-120cu | Aux input 3 LRV units | kg/d |  |
| 2-120cu | Aux input 3 LRV units | kg/h |  |
| 2-120cu | Aux input 3 LRV units | kPa |  |
| 2-120cu | Aux input 3 LRV units | L/d(std) |  |
| 2-120cu | Aux input 3 LRV units | galUS/h |  |
| 2-120cu | Aux input 3 LRV units | psi |  |
| 2-120cu | Aux input 3 LRV units | bar(g) |  |
| 2-120cu | Aux input 3 LRV units | kg/s |  |
| 2-120cu | Aux input 3 LRV units | mm |  |
| 2-120cu | Aux input 3 LRV units | psig |  |
| 2-120cu | Aux input 3 LRV units | psia |  |
| 2-120cu | Aux input 3 LRV units | Pa |  |
| 2-120cu | Aux input 3 LRV units | Pa(g) |  |
| 2-120cu | Aux input 3 LRV units | L/s |  |
| 2-120cu | Aux input 3 LRV units | bar |  |
| 2-120cu | Aux input 3 LRV units | mmHg |  |
| 2-120cu | Aux input 3 LRV units | V |  |
| 2-120cu | Aux input 3 LRV units | mA |  |
| 2-120cu | Aux input 3 LRV units | m3/s |  |
| 2-120cu | Aux input 3 LRV units | m3/h |  |
| 2-120cu | Aux input 3 LRV units | °C |  |
| 2-120cu | Aux input 3 LRV units | L/s(std) |  |
| 2-120cu | Aux input 3 LRV units | in |  |
| 2-120cu | Aux input 3 LRV units | NA |  |
| 2-120d | Aux input 3 URV | 20 |  |
| 2-120d | Aux input 3 URV | 24 |  |
| 2-120d | Aux input 3 URV | 10 |  |
| 2-120du | Aux input 3 URV units | °F |  |
| 2-120du | Aux input 3 URV units | in |  |
| 2-120du | Aux input 3 URV units | galUS/min |  |
| 2-120du | Aux input 3 URV units | galUS/h |  |
| 2-120du | Aux input 3 URV units | F |  |
| 2-120du | Aux input 3 URV units | C |  |
| 2-120du | Aux input 3 URV units | bbl/d |  |
| 2-120du | Aux input 3 URV units | bar |  |
| 2-120du | Aux input 3 URV units | °C |  |
| 2-120du | Aux input 3 URV units | L/s(std) |  |
| 2-120du | Aux input 3 URV units | kPa(g) |  |
| 2-120du | Aux input 3 URV units | mA |  |
| 2-120du | Aux input 3 URV units | kg/d |  |
| 2-120du | Aux input 3 URV units | Pa |  |
| 2-120du | Aux input 3 URV units | bar(g) |  |
| 2-120du | Aux input 3 URV units | kg/h |  |
| 2-120du | Aux input 3 URV units | kg/s |  |
| 2-120du | Aux input 3 URV units | mmHg |  |
| 2-120du | Aux input 3 URV units | psig |  |
| 2-120du | Aux input 3 URV units | psia |  |
| 2-120du | Aux input 3 URV units | psi |  |
| 2-120du | Aux input 3 URV units | Pa(g) |  |
| 2-120du | Aux input 3 URV units | NA |  |
| 2-120du | Aux input 3 URV units | mm |  |
| 2-120du | Aux input 3 URV units | m3/s |  |
| 2-120du | Aux input 3 URV units | m3/h |  |
| 2-120du | Aux input 3 URV units | lb/h |  |
| 2-120du | Aux input 3 URV units | V |  |
| 2-120du | Aux input 3 URV units | L/d(std) |  |
| 2-120du | Aux input 3 URV units | L/s |  |
| 2-120du | Aux input 3 URV units | kPa |  |
| 2-120e | Aux input 3 action | NO |  |
| 2-120e | Aux input 3 action | reverse |  |
| 2-120e | Aux input 3 action | NC |  |
| 2-120e | Aux input 3 action | direct |  |
| 2-120e | Aux input 3 action | NA |  |
| 2-120f | Aux input 3 Output LRV | 0 |  |
| 2-120fu | Aux input 3 Output LRV units | m3/h |  |
| 2-120fu | Aux input 3 Output LRV units | Pa(g) |  |
| 2-120fu | Aux input 3 Output LRV units | Pa |  |
| 2-120fu | Aux input 3 Output LRV units | NA |  |
| 2-120fu | Aux input 3 Output LRV units | psig |  |
| 2-120fu | Aux input 3 Output LRV units | mA |  |
| 2-120fu | Aux input 3 Output LRV units | m3/s |  |
| 2-120fu | Aux input 3 Output LRV units | kPa(g) |  |
| 2-120fu | Aux input 3 Output LRV units | lb/h |  |
| 2-120fu | Aux input 3 Output LRV units | L/s(std) |  |
| 2-120fu | Aux input 3 Output LRV units | L/s |  |
| 2-120fu | Aux input 3 Output LRV units | L/d(std) |  |
| 2-120fu | Aux input 3 Output LRV units | mmHg |  |
| 2-120fu | Aux input 3 Output LRV units | V |  |
| 2-120fu | Aux input 3 Output LRV units | psi |  |
| 2-120fu | Aux input 3 Output LRV units | mm |  |
| 2-120fu | Aux input 3 Output LRV units | kg/d |  |
| 2-120fu | Aux input 3 Output LRV units | C |  |
| 2-120fu | Aux input 3 Output LRV units | psia |  |
| 2-120fu | Aux input 3 Output LRV units | % |  |
| 2-120fu | Aux input 3 Output LRV units | kg/h |  |
| 2-120fu | Aux input 3 Output LRV units | in |  |
| 2-120fu | Aux input 3 Output LRV units | galUS/min |  |
| 2-120fu | Aux input 3 Output LRV units | F |  |
| 2-120fu | Aux input 3 Output LRV units | galUS/h |  |
| 2-120fu | Aux input 3 Output LRV units | kg/s |  |
| 2-120fu | Aux input 3 Output LRV units | °F |  |
| 2-120fu | Aux input 3 Output LRV units | bbl/d |  |
| 2-120fu | Aux input 3 Output LRV units | °C |  |
| 2-120fu | Aux input 3 Output LRV units | kPa |  |
| 2-120fu | Aux input 3 Output LRV units | bar |  |
| 2-120fu | Aux input 3 Output LRV units | bar(g) |  |
| 2-120g | Aux input 3 Output URV | 100 |  |
| 2-120gu | Aux input 3 Output URV units | NA |  |
| 2-120gu | Aux input 3 Output URV units | °C |  |
| 2-120gu | Aux input 3 Output URV units | °F |  |
| 2-120gu | Aux input 3 Output URV units | bbl/d |  |
| 2-120gu | Aux input 3 Output URV units | F |  |
| 2-120gu | Aux input 3 Output URV units | bar(g) |  |
| 2-120gu | Aux input 3 Output URV units | % |  |
| 2-120gu | Aux input 3 Output URV units | in |  |
| 2-120gu | Aux input 3 Output URV units | galUS/min |  |
| 2-120gu | Aux input 3 Output URV units | galUS/h |  |
| 2-120gu | Aux input 3 Output URV units | mmHg |  |
| 2-120gu | Aux input 3 Output URV units | kg/h |  |
| 2-120gu | Aux input 3 Output URV units | mA |  |
| 2-120gu | Aux input 3 Output URV units | bar |  |
| 2-120gu | Aux input 3 Output URV units | mm |  |
| 2-120gu | Aux input 3 Output URV units | Pa |  |
| 2-120gu | Aux input 3 Output URV units | lb/h |  |
| 2-120gu | Aux input 3 Output URV units | kg/d |  |
| 2-120gu | Aux input 3 Output URV units | L/d(std) |  |
| 2-120gu | Aux input 3 Output URV units | m3/h |  |
| 2-120gu | Aux input 3 Output URV units | Pa(g) |  |
| 2-120gu | Aux input 3 Output URV units | psi |  |
| 2-120gu | Aux input 3 Output URV units | psia |  |
| 2-120gu | Aux input 3 Output URV units | m3/s |  |
| 2-120gu | Aux input 3 Output URV units | C |  |
| 2-120gu | Aux input 3 Output URV units | L/s |  |
| 2-120gu | Aux input 3 Output URV units | L/s(std) |  |
| 2-120gu | Aux input 3 Output URV units | kPa(g) |  |
| 2-120gu | Aux input 3 Output URV units | kPa |  |
| 2-120gu | Aux input 3 Output URV units | kg/s |  |
| 2-120gu | Aux input 3 Output URV units | V |  |
| 2-120gu | Aux input 3 Output URV units | psig |  |
| 2-121a | Aux input 4 tag number | NA |  |
| 2-121b | Temp-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-121b | Level-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-121b | Diff press-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-121b | Flow rate-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-121b | Pressure-Digital output | MEAS/SIGNAL/SCALE |  |
| 2-121b | Aux input 4-Output | MEAS/SIGNAL/SCALE |  |
| 2-121c | Aux input 4 LRV | 4 |  |
| 2-121c | Aux input 4 LRV | 0 |  |
| 2-121cu | Aux input 4 LRV units | F |  |
| 2-121cu | Aux input 4 LRV units | C |  |
| 2-121cu | Aux input 4 LRV units | bbl/d |  |
| 2-121cu | Aux input 4 LRV units | bar(g) |  |
| 2-121cu | Aux input 4 LRV units | bar |  |
| 2-121cu | Aux input 4 LRV units | °F |  |
| 2-121cu | Aux input 4 LRV units | °C |  |
| 2-121cu | Aux input 4 LRV units | psia |  |
| 2-121cu | Aux input 4 LRV units | in |  |
| 2-121cu | Aux input 4 LRV units | m3/h |  |
| 2-121cu | Aux input 4 LRV units | psig |  |
| 2-121cu | Aux input 4 LRV units | psi |  |
| 2-121cu | Aux input 4 LRV units | galUS/min |  |
| 2-121cu | Aux input 4 LRV units |  |  |
| 2-121cu | Aux input 4 LRV units | galUS/h |  |
| 2-121cu | Aux input 4 LRV units | L/s |  |
| 2-121cu | Aux input 4 LRV units | mmHg |  |
| 2-121cu | Aux input 4 LRV units | m3/s |  |
| 2-121cu | Aux input 4 LRV units | kg/h |  |
| 2-121cu | Aux input 4 LRV units | L/s(std) |  |
| 2-121cu | Aux input 4 LRV units | kg/s |  |
| 2-121cu | Aux input 4 LRV units | kPa |  |
| 2-121cu | Aux input 4 LRV units | kPa(g) |  |
| 2-121cu | Aux input 4 LRV units | Pa |  |
| 2-121cu | Aux input 4 LRV units | Pa(g) |  |
| 2-121cu | Aux input 4 LRV units | lb/h |  |
| 2-121cu | Aux input 4 LRV units | mm |  |
| 2-121cu | Aux input 4 LRV units | kg/d |  |
| 2-121cu | Aux input 4 LRV units | NA |  |
| 2-121cu | Aux input 4 LRV units | V |  |
| 2-121cu | Aux input 4 LRV units | mA |  |
| 2-121cu | Aux input 4 LRV units | L/d(std) |  |
| 2-121d | Aux input 4 URV | 20 |  |
| 2-121d | Aux input 4 URV | 24 |  |
| 2-121d | Aux input 4 URV | 10 |  |
| 2-121du | Aux input 4 URV units | °F |  |
| 2-121du | Aux input 4 URV units | galUS/min |  |
| 2-121du | Aux input 4 URV units | kg/s |  |
| 2-121du | Aux input 4 URV units | galUS/h |  |
| 2-121du | Aux input 4 URV units | F |  |
| 2-121du | Aux input 4 URV units | C |  |
| 2-121du | Aux input 4 URV units | bbl/d |  |
| 2-121du | Aux input 4 URV units | mm |  |
| 2-121du | Aux input 4 URV units | bar |  |
| 2-121du | Aux input 4 URV units | °C |  |
| 2-121du | Aux input 4 URV units | kPa |  |
| 2-121du | Aux input 4 URV units | V |  |
| 2-121du | Aux input 4 URV units | mA |  |
| 2-121du | Aux input 4 URV units | NA |  |
| 2-121du | Aux input 4 URV units | bar(g) |  |
| 2-121du | Aux input 4 URV units | m3/h |  |
| 2-121du | Aux input 4 URV units | in |  |
| 2-121du | Aux input 4 URV units | kg/d |  |
| 2-121du | Aux input 4 URV units | kg/h |  |
| 2-121du | Aux input 4 URV units | psia |  |
| 2-121du | Aux input 4 URV units | psi |  |
| 2-121du | Aux input 4 URV units | Pa(g) |  |
| 2-121du | Aux input 4 URV units | m3/s |  |
| 2-121du | Aux input 4 URV units | lb/h |  |
| 2-121du | Aux input 4 URV units | L/s(std) |  |
| 2-121du | Aux input 4 URV units | L/s |  |
| 2-121du | Aux input 4 URV units | L/d(std) |  |
| 2-121du | Aux input 4 URV units | kPa(g) |  |
| 2-121du | Aux input 4 URV units | psig |  |
| 2-121du | Aux input 4 URV units | Pa |  |
| 2-121du | Aux input 4 URV units | mmHg |  |
| 2-121e | Aux input 4 action | NC |  |
| 2-121e | Aux input 4 action | NO |  |
| 2-121e | Aux input 4 action | NA |  |
| 2-121e | Aux input 4 action | reverse |  |
| 2-121e | Aux input 4 action | direct |  |
| 2-121f | Aux input 4 Output LRV |  |  |
| 2-121f | Aux input 4 Output LRV | 0 |  |
| 2-121fu | Aux input 4 Output LRV units | bar(g) |  |
| 2-121fu | Aux input 4 Output LRV units | lb/h |  |
| 2-121fu | Aux input 4 Output LRV units | kg/h |  |
| 2-121fu | Aux input 4 Output LRV units | L/d(std) |  |
| 2-121fu | Aux input 4 Output LRV units | in |  |
| 2-121fu | Aux input 4 Output LRV units | galUS/min |  |
| 2-121fu | Aux input 4 Output LRV units | galUS/h |  |
| 2-121fu | Aux input 4 Output LRV units | bbl/d |  |
| 2-121fu | Aux input 4 Output LRV units | psig |  |
| 2-121fu | Aux input 4 Output LRV units | bar |  |
| 2-121fu | Aux input 4 Output LRV units | °F |  |
| 2-121fu | Aux input 4 Output LRV units | °C |  |
| 2-121fu | Aux input 4 Output LRV units | % |  |
| 2-121fu | Aux input 4 Output LRV units | F |  |
| 2-121fu | Aux input 4 Output LRV units | kg/s |  |
| 2-121fu | Aux input 4 Output LRV units | C |  |
| 2-121fu | Aux input 4 Output LRV units | mA |  |
| 2-121fu | Aux input 4 Output LRV units | L/s(std) |  |
| 2-121fu | Aux input 4 Output LRV units | kg/d |  |
| 2-121fu | Aux input 4 Output LRV units | NA |  |
| 2-121fu | Aux input 4 Output LRV units | mm |  |
| 2-121fu | Aux input 4 Output LRV units | kPa |  |
| 2-121fu | Aux input 4 Output LRV units | m3/h |  |
| 2-121fu | Aux input 4 Output LRV units | mmHg |  |
| 2-121fu | Aux input 4 Output LRV units | psia |  |
| 2-121fu | Aux input 4 Output LRV units | kPa(g) |  |
| 2-121fu | Aux input 4 Output LRV units | V |  |
| 2-121fu | Aux input 4 Output LRV units | L/s |  |
| 2-121fu | Aux input 4 Output LRV units | psi |  |
| 2-121fu | Aux input 4 Output LRV units | Pa(g) |  |
| 2-121fu | Aux input 4 Output LRV units | Pa |  |
| 2-121fu | Aux input 4 Output LRV units | m3/s |  |
| 2-121g | Aux input 4 Output URV | 100 |  |
| 2-121gu | Aux input 4 Output URV units | psia |  |
| 2-121gu | Aux input 4 Output URV units | V |  |
| 2-121gu | Aux input 4 Output URV units | mm |  |
| 2-121gu | Aux input 4 Output URV units | psi |  |
| 2-121gu | Aux input 4 Output URV units | mA |  |
| 2-121gu | Aux input 4 Output URV units | lb/h |  |
| 2-121gu | Aux input 4 Output URV units | psig |  |
| 2-121gu | Aux input 4 Output URV units | kPa |  |
| 2-121gu | Aux input 4 Output URV units | °F |  |
| 2-121gu | Aux input 4 Output URV units | kPa(g) |  |
| 2-121gu | Aux input 4 Output URV units | L/d(std) |  |
| 2-121gu | Aux input 4 Output URV units | L/s |  |
| 2-121gu | Aux input 4 Output URV units | bar(g) |  |
| 2-121gu | Aux input 4 Output URV units | kg/s |  |
| 2-121gu | Aux input 4 Output URV units | L/s(std) |  |
| 2-121gu | Aux input 4 Output URV units | m3/h |  |
| 2-121gu | Aux input 4 Output URV units | galUS/min |  |
| 2-121gu | Aux input 4 Output URV units | mmHg |  |
| 2-121gu | Aux input 4 Output URV units | % |  |
| 2-121gu | Aux input 4 Output URV units | in |  |
| 2-121gu | Aux input 4 Output URV units | galUS/h |  |
| 2-121gu | Aux input 4 Output URV units | F |  |
| 2-121gu | Aux input 4 Output URV units | bbl/d |  |
| 2-121gu | Aux input 4 Output URV units | bar |  |
| 2-121gu | Aux input 4 Output URV units | kg/h |  |
| 2-121gu | Aux input 4 Output URV units | °C |  |
| 2-121gu | Aux input 4 Output URV units | m3/s |  |
| 2-121gu | Aux input 4 Output URV units | NA |  |
| 2-121gu | Aux input 4 Output URV units | Pa(g) |  |
| 2-121gu | vAux input 4 Output URV units | Pa |  |
| 2-121gu | Aux input 4 Output URV units | C |  |
| 2-121gu | Aux input 4 Output URV units | kg/d |  |
| 2-122a | Position close switch tag No | NA |  |
| 2-122b | Posn setpoint 1-Output | MEAS/SIGNAL/SCALE |  |
| 2-122c | Position setpoint 1 LRV | 0 |  |
| 2-122cu | Position setpoint 1 LRV units | NA |  |
| 2-122cu | Position setpoint 1 LRV units | ° |  |
| 2-122cu | Position setpoint 1 LRV units | mm |  |
| 2-122cu | Position setpoint 1 LRV units | turns |  |
| 2-122cu | Position setpoint 1 LRV units | degree |  |
| 2-122cu | Position setpoint 1 LRV units | in |  |
| 2-122cu | Position setpoint 1 LRV units | % |  |
| 2-122e | Position setpoint 1 action | NA |  |
| 2-122e | Position setpoint 1 action | NO |  |
| 2-122e | Position setpoint 1 action | NC |  |
| 2-122f | Posn setpoint 1 Output LRV | 0 |  |
| 2-122fu | Posn setpoint Output LRV units | NA |  |
| 2-122fu | Posn setpoint Output LRV units | V |  |
| 2-122g | Posn setpoint 1 Output URV | 110 |  |
| 2-122g | Posn setpoint 1 Output URV | 24 |  |
| 2-122g | Posn setpoint 1 Output URV | 125 |  |
| 2-122gu | Posn setpoint Output URV units | V |  |
| 2-122gu | Posn setpoint Output URV units | NA |  |
| 2-123a | Position open switch tag No | NA |  |
| 2-123b | Posn setpoint 2-Output | MEAS/SIGNAL/SCALE |  |
| 2-123d | Position setpoint 2 URV | 100 |  |
| 2-123d | Position setpoint 2 URV | 90 |  |
| 2-123du | Position setpoint 2 URV units | degree |  |
| 2-123du | Position setpoint 2 URV units | in |  |
| 2-123du | Position setpoint 2 URV units | NA |  |
| 2-123du | Position setpoint 2 URV units | ° |  |
| 2-123du | Position setpoint 2 URV units | % |  |
| 2-123du | Position setpoint 2 URV units | mm |  |
| 2-123du | Position setpoint 2 URV units | turns |  |
| 2-123e | Position setpoint 2 action | NA |  |
| 2-123e | Position setpoint 2 action | NO |  |
| 2-123e | Position setpoint 2 action | NC |  |
| 2-123f | Posn setpoint 1 Output LRV | 0 |  |
| 2-123fu | Posn setpoint Output LRV units | NA |  |
| 2-123fu | Posn setpoint Output LRV units | V |  |
| 2-123g | Posn setpoint 1 Output URV | 110 |  |
| 2-123g | Posn setpoint 1 Output URV | 125 |  |
| 2-123g | Posn setpoint 1 Output URV | 24 |  |
| 2-123gu | Posn setpoint Output URV units | NA |  |
| 2-123gu | Posn setpoint Output URV units | V |  |
| 2-124a | Torque close switch tag No | NA |  |
| 2-124b | Torque setpoint 1-Output | MEAS/SIGNAL/SCALE |  |
| 2-124c | Torque setpoint 1 LRV |  |  |
| 2-124cu | Torque setpoint 1 LRV units | NA |  |
| 2-124cu | Torque setpoint 1 LRV units | N.m |  |
| 2-124cu | Torque setpoint 1 LRV units | ft.lbs |  |
| 2-124cu | Torque setpoint 1 LRV units | % |  |
| 2-124cu | Torque setpoint 1 LRV units | in.lbf |  |
| 2-124e | Torque setpoint 1 action | NA |  |
| 2-124e | Torque setpoint 1 action | NC |  |
| 2-124e | Torque setpoint 1 action | NO |  |
| 2-124f | Torque setpoint 1 Output LRV | 0 |  |
| 2-124fu | Torque Output LRV units | V |  |
| 2-124fu | Torque Output LRV units | NA |  |
| 2-124g | Torque setpoint 1 Output URV | 110 |  |
| 2-124g | Torque setpoint 1 Output URV | 24 |  |
| 2-124g | Torque setpoint 1 Output URV | 125 |  |
| 2-124gu | Torque Output URV units | V |  |
| 2-124gu | Torque Output URV units | NA |  |
| 2-125a | Torque open switch tag No | NA |  |
| 2-125b | Torque setpoint 2-Output | MEAS/SIGNAL/SCALE |  |
| 2-125d | Torque setpoint 2 URV |  |  |
| 2-125du | Torque setpoint 2 URV units | in.lbf |  |
| 2-125du | Torque setpoint 2 URV units | NA |  |
| 2-125du | Torque setpoint 2 URV units | % |  |
| 2-125du | Torque setpoint 2 URV units | ft.lbs |  |
| 2-125du | Torque setpoint 2 URV units | N.m |  |
| 2-125e | Torque setpoint 2 action | NC |  |
| 2-125e | Torque setpoint 2 action | NA |  |
| 2-125e | Torque setpoint 2 action | NO |  |
| 2-125f | Torque setpoint 2 Output LRV | 0 |  |
| 2-125fu | Torque Output LRV units | NA |  |
| 2-125fu | Torque Output LRV units | V |  |
| 2-125g | Torque setpoint 2 Output URV | 110 |  |
| 2-125g | Torque setpoint 2 Output URV | 24 |  |
| 2-125g | Torque setpoint 2 Output URV | 125 |  |
| 2-125gu | Torque Output URV units | NA |  |
| 2-125gu | Torque Output URV units | V |  |
| 2-126a | Aux output 1 tag number | NA |  |
| 2-126b | Lost phase-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Motor tripped-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Mid-travel-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Valve moving-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Aux output 1-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Handwheel operated-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Close inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | ESD signal-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Overtorque-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Local stop/off-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Remote selected-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Manual operation-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Interlock active-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Motor overtemp-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Local selected-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | No analog signal-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Valve jammed-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Hardware failure-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | DDC controlled-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Closing-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Opening-Output | MEAS/SIGNAL/SCALE |  |
| 2-126b | Open inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 2-126e | Aux output 1 action | NO |  |
| 2-126e | Aux output 1 action | NC |  |
| 2-126e | Aux output 1 action | NA |  |
| 2-126f | Aux output 1 Output LRV | 0 |  |
| 2-126fu | Aux output 1 Output LRV units | V |  |
| 2-126fu | Aux output 1 Output LRV units | NA |  |
| 2-126g | Aux output 1 Output URV | 125 |  |
| 2-126g | Aux output 1 Output URV | 24 |  |
| 2-126g | Aux output 1 Output URV | 110 |  |
| 2-126gu | Aux output 1 Output URV units | NA |  |
| 2-126gu | Aux output 1 Output URV units | V |  |
| 2-127a | Aux output 2 tag number | NA |  |
| 2-127b | Valve moving-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Motor tripped-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Aux output 2-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Close inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | No analog signal-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Open inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Handwheel operated-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Hardware failure-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Local stop/off-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Interlock active-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Local selected-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Lost phase-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Mid-travel-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Valve jammed-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | ESD signal-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | DDC controlled-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Closing-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Remote selected-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Motor overtemp-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Overtorque-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Opening-Output | MEAS/SIGNAL/SCALE |  |
| 2-127b | Manual operation-Output | MEAS/SIGNAL/SCALE |  |
| 2-127e | Aux output 2 action | NC |  |
| 2-127e | Aux output 2 action | NO |  |
| 2-127e | Aux output 2 action | NA |  |
| 2-127f | Aux output 2 Output LRV | 0 |  |
| 2-127fu | Aux output 2 Output LRV units | NA |  |
| 2-127fu | Aux output 2 Output LRV units | V |  |
| 2-127g | Aux output 2 Output URV | 110 |  |
| 2-127g | Aux output 2 Output URV | 24 |  |
| 2-127g | Aux output 2 Output URV | 125 |  |
| 2-127gu | Aux output 2 Output URV units | V |  |
| 2-127gu | Aux output 2 Output URV units | NA |  |
| 2-128a | Aux output 3 tag number | NA |  |
| 2-128b | Open inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | DDC controlled-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Local stop/off-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Local selected-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Interlock active-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Hardware failure-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | ESD signal-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Lost phase-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Manual operation-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Opening-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Remote selected-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | No analog signal-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Close inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Closing-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Overtorque-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Valve moving-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Motor tripped-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Valve jammed-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Handwheel operated-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Aux output 3-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Mid-travel-Output | MEAS/SIGNAL/SCALE |  |
| 2-128b | Motor overtemp-Output | MEAS/SIGNAL/SCALE |  |
| 2-128e | Aux output 3 action | NA |  |
| 2-128e | Aux output 3 action | NO |  |
| 2-128e | Aux output 3 action | NC |  |
| 2-128f | Aux output 3 Output LRV | 0 |  |
| 2-128fu | Aux output 3 Output LRV units | NA |  |
| 2-128fu | Aux output 3 Output LRV units | V |  |
| 2-128g | Aux output 3 Output URV | 24 |  |
| 2-128g | Aux output 3 Output URV | 110 |  |
| 2-128g | Aux output 3 Output URV | 125 |  |
| 2-128gu | Aux output 3 Output URV units | NA |  |
| 2-128gu | Aux output 3 Output URV units | V |  |
| 2-129a | Aux output 4 tag number | NA |  |
| 2-129b | Close inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Manual operation-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Motor overtemp-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Motor tripped-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Mid-travel-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Local selected-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Local stop/off-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Valve moving-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Interlock active-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Opening-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Lost phase-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Remote selected-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Aux output 4-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Open inhibit-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Overtorque-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | DDC controlled-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Valve jammed-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Closing-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | No analog signal-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | ESD signal-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Handwheel operated-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Hardware failure-Output | MEAS/SIGNAL/SCALE |  |
| 2-129b | Stopped-Output | MEAS/SIGNAL/SCALE |  |
| 2-129e | Aux output 4 action | NA |  |
| 2-129e | Aux output 4 action | NO |  |
| 2-129e | Aux output 4 action | NC |  |
| 2-129f | Aux output 4 Output LRV | 0 |  |
| 2-129fu | Aux output 4 Output LRV units | V |  |
| 2-129fu | Aux output 4 Output LRV units | NA |  |
| 2-129g | Aux output 4 Output URV | 110 |  |
| 2-129g | Aux output 4 Output URV | 24 |  |
| 2-129g | Aux output 4 Output URV | 125 |  |
| 2-129gu | Aux output 4 Output URV units | V |  |
| 2-129gu | Aux output 4 Output URV units | NA |  |
| 2-130a | Failure tag no | NA |  |
| 2-130b | Failure signal-Output | MEAS/SIGNAL/SCALE |  |
| 2-130e | Failure action | NA |  |
| 2-130e | Failure action | NO |  |
| 2-130e | Failure action | NC |  |
| 2-130f | Failure output LRV | 0 | LOWER RANGE-VALUE |
| 2-130fu | Failure output LRV units | NA | UNITS |
| 2-130fu | Failure output LRV units | V | UNITS |
| 2-130g | Failure output URV | 24 | UPPER RANGE-VALUE |
| 2-130g | Failure output URV | 125 | UPPER RANGE-VALUE |
| 2-130g | Failure output URV | 110 | UPPER RANGE-VALUE |
| 2-130gu | Failure output URV units | V | UNITS |
| 2-130gu | Failure output URV units | NA | UNITS |
| 2-131a | Attribute1 tag number | NA |  |
| 2-131b | Attr 1 cal/test descp | MEAS/SIGNAL/SCALE |  |
| 2-131c | Attribute 1 LRV | 0 | LOWER RANGE-VALUE |
| 2-131cu | Attribute 1 LRV units | % | UNITS |
| 2-131d | Attribute 1 URV | 100 | UPPER RANGE-VALUE |
| 2-131du | Attribute 1 URV units | % | UNITS |
| 2-131e | Attribute 1 action | reverse | INSTRUMENT ACTION |
| 2-131e | Attribute 1 action | direct | INSTRUMENT ACTION |
| 2-131e | Attribute 1 action | NA | INSTRUMENT ACTION |
| 2-131e | Attribute 1 action | NO | INSTRUMENT ACTION |
| 2-131e | Attribute 1 action | NC | INSTRUMENT ACTION |
| 2-131f | Attr 1 output LRV | 0 | LOWER RANGE-VALUE |
| 2-131fu | Attr 1 output LRV units | NA | UNITS |
| 2-131fu | Attr 1 output LRV units | V | UNITS |
| 2-131g | Attr 1 output URV | 110 | UPPER RANGE-VALUE |
| 2-131g | Attr 1 output URV | 24 | UPPER RANGE-VALUE |
| 2-131g | Attr 1 output URV | 125 | UPPER RANGE-VALUE |
| 2-131gu | Attr 1 output URV units | NA | UNITS |
| 2-131gu | Attr 1 output URV units | V | UNITS |
| 2-132 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 2-134a | Component type | MOV linear motion type |  |
| 2-134b | Manufacturer | NULL | MANUFACTURER |
| 2-134c | Model number | NULL | MODEL NUMBER |
| 2-135a | Component type |  |  |
| 2-135b | Manufacturer | NULL | MANUFACTURER |
| 2-135c | Model number | NULL | MODEL NUMBER |
| 2-136a | Component type |  |  |
| 2-136b | Manufacturer | NULL | MANUFACTURER |
| 2-136c | Model number | NULL | MODEL NUMBER |
| 2-137a | Component type |  |  |
| 2-137b | Manufacturer | NULL | MANUFACTURER |
| 2-137c | Model number | NULL | MODEL NUMBER |
| 2-139a | Component type |  |  |
| 2-139b | Manufacturer | NULL | MANUFACTURER |
| 2-139c | Model number | NULL | MODEL NUMBER |