| Pick List 20F2611 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | OPERATING PARAMETERS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017 | Related equipment |  |  |
| 018 | Service |  |  |
| 020 | P&ID/Reference dwg number |  |  |
| 021 | Upstr line/nozzle number |  |  |
| 022 | Upstr conn pipe spec |  |  |
| 023a | Upstr conn nominal size | 1 1/2 in |  |
| 023a | Upstr conn nominal size | 1 1/4 in |  |
| 023a | Upstr conn nominal size | 1 in |  |
| 023a | Upstr conn nominal size | 1/2 in |  |
| 023a | Upstr conn nominal size | 1/4 in |  |
| 023a | Upstr conn nominal size | 1/8 in |  |
| 023a | Upstr conn nominal size | 10 in |  |
| 023a | Upstr conn nominal size | 12 in |  |
| 023a | Upstr conn nominal size | 14 in |  |
| 023a | Upstr conn nominal size | 2 1/2 in |  |
| 023a | Upstr conn nominal size | 2 in |  |
| 023a | Upstr conn nominal size | 3 in |  |
| 023a | Upstr conn nominal size | 3/4 in |  |
| 023a | Upstr conn nominal size | 3/8 in |  |
| 023a | Upstr conn nominal size | 4 in |  |
| 023a | Upstr conn nominal size | 6 in |  |
| 023a | Upstr conn nominal size | 8 in |  |
| 023a | Upstr conn nominal size | DN 10 |  |
| 023a | Upstr conn nominal size | DN 100 |  |
| 023a | Upstr conn nominal size | DN 125 |  |
| 023a | Upstr conn nominal size | DN 15 |  |
| 023a | Upstr conn nominal size | DN 150 |  |
| 023a | Upstr conn nominal size | DN 20 |  |
| 023a | Upstr conn nominal size | DN 200 |  |
| 023a | Upstr conn nominal size | DN 25 |  |
| 023a | Upstr conn nominal size | DN 250 |  |
| 023a | Upstr conn nominal size | DN 300 |  |
| 023a | Upstr conn nominal size | DN 32 |  |
| 023a | Upstr conn nominal size | DN 350 |  |
| 023a | Upstr conn nominal size | DN 40 |  |
| 023a | Upstr conn nominal size | DN 50 |  |
| 023a | Upstr conn nominal size | DN 65 |  |
| 023a | Upstr conn nominal size | DN 80 |  |
| 023b | Upstr conn nominal rating | CL 125 |  |
| 023b | Upstr conn nominal rating | CL 150 |  |
| 023b | Upstr conn nominal rating | CL 1500 |  |
| 023b | Upstr conn nominal rating | CL 25 |  |
| 023b | Upstr conn nominal rating | CL 250 |  |
| 023b | Upstr conn nominal rating | CL 2500 |  |
| 023b | Upstr conn nominal rating | CL 300 |  |
| 023b | Upstr conn nominal rating | CL 400 |  |
| 023b | Upstr conn nominal rating | CL 4500 |  |
| 023b | Upstr conn nominal rating | CL 600 |  |
| 023b | Upstr conn nominal rating | CL 75 |  |
| 023b | Upstr conn nominal rating | CL 800 |  |
| 023b | Upstr conn nominal rating | CL 900 |  |
| 023b | Upstr conn nominal rating | PN 10 |  |
| 023b | Upstr conn nominal rating | PN 100 |  |
| 023b | Upstr conn nominal rating | PN 150 |  |
| 023b | Upstr conn nominal rating | PN 16 |  |
| 023b | Upstr conn nominal rating | PN 2.5 |  |
| 023b | Upstr conn nominal rating | PN 20 |  |
| 023b | Upstr conn nominal rating | PN 25 |  |
| 023b | Upstr conn nominal rating | PN 250 |  |
| 023b | Upstr conn nominal rating | PN 40 |  |
| 023b | Upstr conn nominal rating | PN 420 |  |
| 023b | Upstr conn nominal rating | PN 50 |  |
| 023b | Upstr conn nominal rating | PN 6 |  |
| 024a | Upstr line conn type | clamped |  |
| 024a | Upstr line conn type | flanged |  |
| 024a | Upstr line conn type | flangeless |  |
| 024a | Upstr line conn type | threaded |  |
| 024a | Upstr line conn type | welded |  |
| 024b | Upstr line conn style | BSP(F) |  |
| 024b | Upstr line conn style | BW |  |
| 024b | Upstr line conn style | FF |  |
| 024b | Upstr line conn style | Grayloc |  |
| 024b | Upstr line conn style | LJ |  |
| 024b | Upstr line conn style | NPT(F) |  |
| 024b | Upstr line conn style | NPT(M) |  |
| 024b | Upstr line conn style | RF |  |
| 024b | Upstr line conn style | RTJ |  |
| 024b | Upstr line conn style | SW(F) |  |
| 024b | Upstr line conn style | SW(M) |  |
| 024b | Upstr line conn style | Tri-Clamp |  |
| 024b | Upstr line conn style | VS |  |
| 024b | Upstr line conn style | WN |  |
| 025 | Upstr conn orientation | horizontal |  |
| 025 | Upstr conn orientation | inclined |  |
| 025 | Upstr conn orientation | vertical |  |
| 026 | Upstr line material type | Alloy Steel | MATERIAL |
| 026 | Upstr line material type | aluminum | MATERIAL |
| 026 | Upstr line material type | carbon steel | MATERIAL |
| 026 | Upstr line material type | cobalt Alloy | MATERIAL |
| 026 | Upstr line material type | copper Alloy | MATERIAL |
| 026 | Upstr line material type | ductile Iron | MATERIAL |
| 026 | Upstr line material type | FRP | MATERIAL |
| 026 | Upstr line material type | iron (Cast) | MATERIAL |
| 026 | Upstr line material type | low temp carbon steel | MATERIAL |
| 026 | Upstr line material type | monel | MATERIAL |
| 026 | Upstr line material type | monel | MATERIAL |
| 026 | Upstr line material type | nickel Alloy | MATERIAL |
| 026 | Upstr line material type | stainless Steel | MATERIAL |
| 026 | Upstr line material type | titanium | MATERIAL |
| 026 | Upstr line material type | zinc Alloy | MATERIAL |
| 027a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 027a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 027a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 027b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 027b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 027b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 027c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 027c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 027c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 027c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 027c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 027c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 027c | Inline hazardous area gr | G | AREA CLASSIFICATION (GROUP) |
| 027c | Inline hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 027c | Inline hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 027c | Inline hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 028a | Inline area min ign temp |  |  |
| 028au | Inline ign temp units | °C | UNITS |
| 028au | Inline ign temp units | °F | UNITS |
| 028au | Inline ign temp units | C | UNITS |
| 028au | Inline ign temp units | F | UNITS |
| 028b | Inline ign temp ident no | T1 |  |
| 028b | Inline ign temp ident no | T2 |  |
| 028b | Inline ign temp ident no | T2A |  |
| 028b | Inline ign temp ident no | T2B |  |
| 028b | Inline ign temp ident no | T2C |  |
| 028b | Inline ign temp ident no | T2D |  |
| 028b | Inline ign temp ident no | T3 |  |
| 028b | Inline ign temp ident no | T3A |  |
| 028b | Inline ign temp ident no | T3B |  |
| 028b | Inline ign temp ident no | T3C |  |
| 028b | Inline ign temp ident no | T4 |  |
| 028b | Inline ign temp ident no | T4A |  |
| 028b | Inline ign temp ident no | T5 |  |
| 028b | Inline ign temp ident no | T6 |  |
| 029 | Minimum pressure |  |  |
| 029u | Minimum pressure units | bar | UNITS |
| 029u | Minimum pressure units | bar (g) | UNITS |
| 029u | Minimum pressure units | inH2O | UNITS |
| 029u | Minimum pressure units | inHg | UNITS |
| 029u | Minimum pressure units | kPa | UNITS |
| 029u | Minimum pressure units | kPa(g) | UNITS |
| 029u | Minimum pressure units | mmHg | UNITS |
| 029u | Minimum pressure units | Pa | UNITS |
| 029u | Minimum pressure units | Pa(g) | UNITS |
| 029u | Minimum pressure units | psia | UNITS |
| 029u | Minimum pressure units | psig | UNITS |
| 030 | Maximum pressure |  |  |
| 030u | Maximum pressure units | bar | UNITS |
| 030u | Maximum pressure units | bar(g) | UNITS |
| 030u | Maximum pressure units | inH2O | UNITS |
| 030u | Maximum pressure units | inHg | UNITS |
| 030u | Maximum pressure units | kPa | UNITS |
| 030u | Maximum pressure units | kPa(g) | UNITS |
| 030u | Maximum pressure units | mmHg | UNITS |
| 030u | Maximum pressure units | Pa | UNITS |
| 030u | Maximum pressure units | Pa(g) | UNITS |
| 030u | Maximum pressure units | psia | UNITS |
| 030u | Maximum pressure units | psig | UNITS |
| 031 | Minimum temperature |  |  |
| 031u | Minimum temperature units | °C | UNITS |
| 031u | Minimum temperature units | °F | UNITS |
| 031u | Minimum temperature units | C | UNITS |
| 031u | Minimum temperature units | F | UNITS |
| 032 | Maximum temperature |  |  |
| 032u | Maximum temperature units | °C | UNITS |
| 032u | Maximum temperature units | °F | UNITS |
| 032u | Maximum temperature units | C | UNITS |
| 032u | Maximum temperature units | F | UNITS |
| 033 | Material phase | liquid | MATERIAL PHASE |
| 033 | Material phase | mixed | MATERIAL PHASE |
| 033 | Material phase | vapor | MATERIAL PHASE |
| 034 | Material name |  | MATERIAL |
| 035 | Material color |  | MATERIAL |
| 036a | NFPA health hazard | 0 | HEALTH HAZARD RATING |
| 036a | NFPA health hazard | 1 | HEALTH HAZARD RATING |
| 036a | NFPA health hazard | 2 | HEALTH HAZARD RATING |
| 036a | NFPA health hazard | 3 | HEALTH HAZARD RATING |
| 036a | NFPA health hazard | 4 | HEALTH HAZARD RATING |
| 036b | NFPA flammability | 0 | FLAMMABILITY HAZARD RATING |
| 036b | NFPA flammability | 1 | FLAMMABILITY HAZARD RATING |
| 036b | NFPA flammability | 2 | FLAMMABILITY HAZARD RATING |
| 036b | NFPA flammability | 3 | FLAMMABILITY HAZARD RATING |
| 036b | NFPA flammability | 4 | FLAMMABILITY HAZARD RATING |
| 036c | NFPA reactivity | 0 | REACTIVITY HAZARD RATING |
| 036c | NFPA reactivity | 1 | REACTIVITY HAZARD RATING |
| 036c | NFPA reactivity | 2 | REACTIVITY HAZARD RATING |
| 036c | NFPA reactivity | 3 | REACTIVITY HAZARD RATING |
| 036c | NFPA reactivity | 4 | REACTIVITY HAZARD RATING |
| 037a | User defined attribute 1 name |  |  |
| 037b | User defined attribute 2 value |  |  |
| 038a | User defined attribute 2 name | NA |  |
| 038b | User defined attribute 2 value | NA |  |
| 039a | User defined attribute 3 name | NA |  |
| 039b | User defined attribute 3 value | NA |  |
| 040 | SIGHT FLOW INDICATOR | SECTION TITLE |  |
| 041 | Body type | 3-way connections | VALVE BODY TYPE |
| 041 | Body type | 45 degree angled | VALVE BODY TYPE |
| 041 | Body type | 90 degree angled | VALVE BODY TYPE |
| 041 | Body type | armored full-view | VALVE BODY TYPE |
| 041 | Body type | bulls-eye | VALVE BODY TYPE |
| 041 | Body type | flare thru ends | VALVE BODY TYPE |
| 041 | Body type | glass pipe spool | VALVE BODY TYPE |
| 041 | Body type | high visibility dome | VALVE BODY TYPE |
| 041 | Body type | oblong sight window | VALVE BODY TYPE |
| 041 | Body type | porthole | VALVE BODY TYPE |
| 041 | Body type | sanitary | VALVE BODY TYPE |
| 041 | Body type | single tube armored | VALVE BODY TYPE |
| 041 | Body type | straight-through/in-line | VALVE BODY TYPE |
| 041 | Body type | threaded sight window | VALVE BODY TYPE |
| 041 | Body type | tube-in-tube lantern | VALVE BODY TYPE |
| 041 | Body type | weldpad/weldneck | VALVE BODY TYPE |
| 042 | Window style | cylinder |  |
| 042 | Window style | dome |  |
| 042 | Window style | double window |  |
| 042 | Window style | double window dual glass |  |
| 042 | Window style | single window |  |
| 043a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 043a | End conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 043a | End conn nominal size | 1 in | NOMINAL SIZE |
| 043a | End conn nominal size | 1/2 in | NOMINAL SIZE |
| 043a | End conn nominal size | 1/4 in | NOMINAL SIZE |
| 043a | End conn nominal size | 1/8 in | NOMINAL SIZE |
| 043a | End conn nominal size | 10 in | NOMINAL SIZE |
| 043a | End conn nominal size | 10 mm | NOMINAL SIZE |
| 043a | End conn nominal size | 100 mm | NOMINAL SIZE |
| 043a | End conn nominal size | 12 in | NOMINAL SIZE |
| 043a | End conn nominal size | 15 mm | NOMINAL SIZE |
| 043a | End conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 043a | End conn nominal size | 2 in | NOMINAL SIZE |
| 043a | End conn nominal size | 20 mm | NOMINAL SIZE |
| 043a | End conn nominal size | 25 mm | NOMINAL SIZE |
| 043a | End conn nominal size | 3 in | NOMINAL SIZE |
| 043a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 043a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 043a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 043a | End conn nominal size | 3/8 in | NOMINAL SIZE |
| 043a | End conn nominal size | 4 in | NOMINAL SIZE |
| 043a | End conn nominal size | 40 mm | NOMINAL SIZE |
| 043a | End conn nominal size | 50 mm | NOMINAL SIZE |
| 043a | End conn nominal size | 6 in | NOMINAL SIZE |
| 043a | End conn nominal size | 8 in | NOMINAL SIZE |
| 043a | End conn nominal size | 8 mm | NOMINAL SIZE |
| 043a | End conn nominal size | 80 mm | NOMINAL SIZE |
| 043b | End conn nominal rating | CL 125 | NOMINAL PRESSURE/RATING |
| 043b | End conn nominal rating | CL 300 | NOMINAL PRESSURE/RATING |
| 043b | End conn nominal rating | CL 600 | NOMINAL PRESSURE/RATING |
| 043b | End conn nominal rating | CL150 | NOMINAL PRESSURE/RATING |
| 043b | End conn nominal rating | JIS 10K | NOMINAL PRESSURE/RATING |
| 043b | End conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 043b | End conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 044a | End conn termn type | clamped | END CONNECTION TYPE |
| 044a | End conn termn type | flanged | END CONNECTION TYPE |
| 044a | End conn termn type | flangeless | END CONNECTION TYPE |
| 044a | End conn termn type | threaded | END CONNECTION TYPE |
| 044a | End conn termn type | welded | END CONNECTION TYPE |
| 044b | End conn termn style | bevel seat | END CONNECTION TYPE |
| 044b | End conn termn style | BPS parallel | END CONNECTION TYPE |
| 044b | End conn termn style | BW | END CONNECTION TYPE |
| 044b | End conn termn style | FF | END CONNECTION TYPE |
| 044b | End conn termn style | flat pad | END CONNECTION TYPE |
| 044b | End conn termn style | LJ | END CONNECTION TYPE |
| 044b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 044b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 044b | End conn termn style | radius pad | END CONNECTION TYPE |
| 044b | End conn termn style | RF | END CONNECTION TYPE |
| 044b | End conn termn style | sil-braze | END CONNECTION TYPE |
| 044b | End conn termn style | SW(M) | END CONNECTION TYPE |
| 044b | End conn termn style | tri-clamp | END CONNECTION TYPE |
| 044b | End conn termn style | WN | END CONNECTION TYPE |
| 045 | End-to-end length std |  |  |
| 046 | Indicator type | agitating ball |  |
| 046 | Indicator type | ball float |  |
| 046 | Indicator type | bi-directional flapper |  |
| 046 | Indicator type | bi-directional plain |  |
| 046 | Indicator type | dome rotor |  |
| 046 | Indicator type | drip tube |  |
| 046 | Indicator type | full view |  |
| 046 | Indicator type | impeller |  |
| 046 | Indicator type | low flow orifice plate |  |
| 046 | Indicator type | propeller/rotor/wheel |  |
| 046 | Indicator type | uni-direction flapper |  |
| 046 | Indicator type | uni-direction flutter |  |
| 047 | Cover/Retainer style | bolted |  |
| 047 | Cover/Retainer style | caged |  |
| 047 | Cover/Retainer style | retaining ring |  |
| 047 | Cover/Retainer style | snap ring |  |
| 047 | Cover/Retainer style | threaded |  |
| 048 | Extended overall length |  |  |
| 048u | Extended overall lg units | in | UNITS |
| 048u | Extended overall lg units | mm | UNITS |
| 049 | Flow direction style | bi-directional |  |
| 049 | Flow direction style | left to right |  |
| 049 | Flow direction style | right to left |  |
| 049 | Flow direction style | upward vertical |  |
| 050 | Body/End fitting matl | 304 SST | MATERIAL |
| 050 | Body/End fitting matl | 316 SST | MATERIAL |
| 050 | Body/End fitting matl | alloy 20 | MATERIAL |
| 050 | Body/End fitting matl | aluminum | MATERIAL |
| 050 | Body/End fitting matl | ASTM 182 GR F316L | MATERIAL |
| 050 | Body/End fitting matl | ASTM 494 GR M-35-1 | MATERIAL |
| 050 | Body/End fitting matl | ASTM 494 GR M-35-1 | MATERIAL |
| 050 | Body/End fitting matl | ASTM 515 GR 70 | MATERIAL |
| 050 | Body/End fitting matl | ASTM A216 WCB | MATERIAL |
| 050 | Body/End fitting matl | ASTM A351 CF8M | MATERIAL |
| 050 | Body/End fitting matl | ASTM A395 GU-14-18 | MATERIAL |
| 050 | Body/End fitting matl | ASTM A494 GR CW12MW | MATERIAL |
| 050 | Body/End fitting matl | ASTM A536 65-45-12 | MATERIAL |
| 050 | Body/End fitting matl | ASTM A743 GR CN7M | MATERIAL |
| 050 | Body/End fitting matl | ASTM B62 83600 | MATERIAL |
| 050 | Body/End fitting matl | ASTM SA-240 GR 316L | MATERIAL |
| 050 | Body/End fitting matl | bronze | MATERIAL |
| 050 | Body/End fitting matl | BS 1400-LG2 | MATERIAL |
| 050 | Body/End fitting matl | BS 1504-161-480 | MATERIAL |
| 050 | Body/End fitting matl | BS 1504-316-C16 | MATERIAL |
| 050 | Body/End fitting matl | carbon steel | MATERIAL |
| 050 | Body/End fitting matl | ductile iron | MATERIAL |
| 050 | Body/End fitting matl | Hastelloy | MATERIAL |
| 050 | Body/End fitting matl | Inconel | MATERIAL |
| 050 | Body/End fitting matl | Monel | MATERIAL |
| 050 | Body/End fitting matl | nickel plated brass | MATERIAL |
| 050 | Body/End fitting matl | stainless steel | MATERIAL |
| 050 | Body/End fitting matl | titanium | MATERIAL |
| 051 | Lens/Cylinder material | acrylic | MATERIAL |
| 051 | Lens/Cylinder material | annealed borosilicate | MATERIAL |
| 051 | Lens/Cylinder material | borosilicate tubing-hvy | MATERIAL |
| 051 | Lens/Cylinder material | PFA Teflon | MATERIAL |
| 051 | Lens/Cylinder material | polycarbonate | MATERIAL |
| 051 | Lens/Cylinder material | polycarbonate tubing | MATERIAL |
| 051 | Lens/Cylinder material | polysulfone | MATERIAL |
| 051 | Lens/Cylinder material | pyrex | MATERIAL |
| 051 | Lens/Cylinder material | quartz | MATERIAL |
| 051 | Lens/Cylinder material | tempered borosilicate | MATERIAL |
| 051 | Lens/Cylinder material | tempered soda lime | MATERIAL |
| 051 | Lens/Cylinder material | translucent teflon | MATERIAL |
| 051 | Lens/Cylinder material | UniGlas | MATERIAL |
| 052 | Lining material | Kynar | MATERIAL |
| 052 | Lining material | NA | MATERIAL |
| 052 | Lining material | natural rubber | MATERIAL |
| 052 | Lining material | PFA Teflon | MATERIAL |
| 052 | Lining material | polypropylene | MATERIAL |
| 052 | Lining material | PTFE | MATERIAL |
| 052 | Lining material | PVC | MATERIAL |
| 052 | Lining material | Teflon | MATERIAL |
| 052 | Lining material | Tefzel | MATERIAL |
| 052 | Lining material | Uniglas | MATERIAL |
| 053 | Bolting material | 304 SST | MATERIAL |
| 053 | Bolting material | 316 SST | MATERIAL |
| 053 | Bolting material | ASTM A-193 | MATERIAL |
| 053 | Bolting material | ASTM A-194-2H | MATERIAL |
| 053 | Bolting material | ASTM A-194-8M | MATERIAL |
| 053 | Bolting material | NA | MATERIAL |
| 053 | Bolting material | SAE GR 5 | MATERIAL |
| 053 | Bolting material | stainless steel A2 | MATERIAL |
| 054 | Cover/Retainer material | 304 SST | MATERIAL |
| 054 | Cover/Retainer material | 316 SST | MATERIAL |
| 054 | Cover/Retainer material | ASTM A516 GR 70 | MATERIAL |
| 054 | Cover/Retainer material | ASTM A519 | MATERIAL |
| 054 | Cover/Retainer material | ASTM B16 H02 | MATERIAL |
| 054 | Cover/Retainer material | brass | MATERIAL |
| 054 | Cover/Retainer material | BS 1504-304-C15 | MATERIAL |
| 054 | Cover/Retainer material | BS 2872 CZ 122 | MATERIAL |
| 054 | Cover/Retainer material | carbon steel | MATERIAL |
| 055 | Shield/Protective matl | clear acrylic plastic | MATERIAL |
| 055 | Shield/Protective matl | epoxy coated carbon steel | MATERIAL |
| 055 | Shield/Protective matl | heavy wall borosilicate | MATERIAL |
| 055 | Shield/Protective matl | Kel-F | MATERIAL |
| 055 | Shield/Protective matl | mica | MATERIAL |
| 055 | Shield/Protective matl | NA | MATERIAL |
| 055 | Shield/Protective matl | neoprene | MATERIAL |
| 055 | Shield/Protective matl | PFA Teflon | MATERIAL |
| 055 | Shield/Protective matl | polycarbonate | MATERIAL |
| 055 | Shield/Protective matl | quartz | MATERIAL |
| 056 | Flange/End conn material | 304 SST | MATERIAL |
| 056 | Flange/End conn material | 316 SST | MATERIAL |
| 056 | Flange/End conn material | alloy 20 | MATERIAL |
| 056 | Flange/End conn material | aluminum | MATERIAL |
| 056 | Flange/End conn material | ASTM SA-105 | MATERIAL |
| 056 | Flange/End conn material | carbon steel | MATERIAL |
| 056 | Flange/End conn material | CPVC | MATERIAL |
| 056 | Flange/End conn material | CPVC | MATERIAL |
| 056 | Flange/End conn material | ductile iron | MATERIAL |
| 056 | Flange/End conn material | glass reinforced teflon | MATERIAL |
| 056 | Flange/End conn material | Hastelloy | MATERIAL |
| 056 | Flange/End conn material | kynar | MATERIAL |
| 056 | Flange/End conn material | kynar | MATERIAL |
| 056 | Flange/End conn material | NA | MATERIAL |
| 056 | Flange/End conn material | polypropylene | MATERIAL |
| 056 | Flange/End conn material | PVC | MATERIAL |
| 056 | Flange/End conn material | teflon-lined carbon steel | MATERIAL |
| 056 | Flange/End conn material | titanium | MATERIAL |
| 057 | Gasket/Seal/Packing matl | aflas | MATERIAL |
| 057 | Gasket/Seal/Packing matl | asbestos | MATERIAL |
| 057 | Gasket/Seal/Packing matl | buna, black | MATERIAL |
| 057 | Gasket/Seal/Packing matl | buna, white | MATERIAL |
| 057 | Gasket/Seal/Packing matl | buna-N | MATERIAL |
| 057 | Gasket/Seal/Packing matl | EPDM | MATERIAL |
| 057 | Gasket/Seal/Packing matl | EPR | MATERIAL |
| 057 | Gasket/Seal/Packing matl | EPT | MATERIAL |
| 057 | Gasket/Seal/Packing matl | fluorocarbon A | MATERIAL |
| 057 | Gasket/Seal/Packing matl | gore-tex | MATERIAL |
| 057 | Gasket/Seal/Packing matl | graphite | MATERIAL |
| 057 | Gasket/Seal/Packing matl | graphite (OXY free) | MATERIAL |
| 057 | Gasket/Seal/Packing matl | klingersil C-4400 | MATERIAL |
| 057 | Gasket/Seal/Packing matl | neoprene | MATERIAL |
| 057 | Gasket/Seal/Packing matl | nobestos | MATERIAL |
| 057 | Gasket/Seal/Packing matl | PFTE Teflon | MATERIAL |
| 057 | Gasket/Seal/Packing matl | polyethylene | MATERIAL |
| 057 | Gasket/Seal/Packing matl | PTFE lip/spring seal | MATERIAL |
| 057 | Gasket/Seal/Packing matl | silicone rubber | MATERIAL |
| 057 | Gasket/Seal/Packing matl | Teflon | MATERIAL |
| 057 | Gasket/Seal/Packing matl | Viton | MATERIAL |
| 058 | Lens cushion material | Blue-Gard | MATERIAL |
| 058 | Lens cushion material | compressed fiber | MATERIAL |
| 058 | Lens cushion material | Grafoil | MATERIAL |
| 058 | Lens cushion material | Gylon | MATERIAL |
| 058 | Lens cushion material | klingersil C4400 | MATERIAL |
| 058 | Lens cushion material | Teflon | MATERIAL |
| 059 | Indicator material |  | MATERIAL |
| 059 | Indicator material | 316 SST | MATERIAL |
| 059 | Indicator material | ABS plastic | MATERIAL |
| 059 | Indicator material | BS 1501-316-S31 | MATERIAL |
| 059 | Indicator material | delrin | MATERIAL |
| 059 | Indicator material | glass filled PTFE | MATERIAL |
| 059 | Indicator material | NA | MATERIAL |
| 059 | Indicator material | polypropylene | MATERIAL |
| 059 | Indicator material | POM | MATERIAL |
| 059 | Indicator material | PTFE Teflon | MATERIAL |
| 059 | Indicator material | rynite | MATERIAL |
| 059 | Indicator material | rynite | MATERIAL |
| 059 | Indicator material | ryton | MATERIAL |
| 059 | Indicator material | ryton | MATERIAL |
| 059 | Indicator material | white nylon | MATERIAL |
| 060a | Defined attribute 1 name | End-to-end length std | DEFINABLE ATTRIBUTE NAME |
| 060a | Defined attribute 1 name | Frost-free extension | DEFINABLE ATTRIBUTE NAME |
| 060a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 060b | Defined attribute 1 data | Jacoby-Tarbox | DEFINABLE ATTRIBUTE VALUE |
| 060b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060b | Defined attribute 1 data | OPW | DEFINABLE ATTRIBUTE VALUE |
| 060b | Defined attribute 1 data | Penberthy | DEFINABLE ATTRIBUTE VALUE |
| 061a | Defined attribute 2 name | End sched or wall thkns | DEFINABLE ATTRIBUTE NAME |
| 061a | Defined attribute 2 name | Jacket type | DEFINABLE ATTRIBUTE NAME |
| 061a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 061a | Defined attribute 2 name | Scale material | DEFINABLE ATTRIBUTE NAME |
| 061a | Defined attribute 2 name | Vent connection style | DEFINABLE ATTRIBUTE NAME |
| 061a | Defined attribute 2 name | Wiper material | DEFINABLE ATTRIBUTE NAME |
| 061b | Defined attribute 2 data | 302 SST | DEFINABLE ATTRIBUTE VALUE |
| 061b | Defined attribute 2 data | 40 | DEFINABLE ATTRIBUTE VALUE |
| 061b | Defined attribute 2 data | 80 | DEFINABLE ATTRIBUTE VALUE |
| 061b | Defined attribute 2 data | flanged | DEFINABLE ATTRIBUTE VALUE |
| 061b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 061b | Defined attribute 2 data | steam jacket | DEFINABLE ATTRIBUTE VALUE |
| 061b | Defined attribute 2 data | Teflon | DEFINABLE ATTRIBUTE VALUE |
| 061b | Defined attribute 2 data | Teflon | DEFINABLE ATTRIBUTE VALUE |
| 061b | Defined attribute 2 data | threaded | DEFINABLE ATTRIBUTE VALUE |
| 062 | GAUGE ILLUMINATOR | SECTION TITLE |  |
| 063 | Illumination type | fiber optic |  |
| 063 | Illumination type | fluorescent |  |
| 063 | Illumination type | halogen |  |
| 063 | Illumination type | NA |  |
| 064 | Enclosure type no/class | 4/4X/7 | ENCLOSURE TYPE NO/CLASS |
| 064 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 065 | Power source | 115 V (ac) 50/60 Hz | POWER SOURCE |
| 065 | Power source | 120 V (ac) 50/60 Hz | POWER SOURCE |
| 065 | Power source | 230 V (ac) 50/60 Hz | POWER SOURCE |
| 065 | Power source | 240 V (ac) 50/60 Hz | POWER SOURCE |
| 065 | Power source | NA | POWER SOURCE |
| 066 | Cert/Approval type | CENELEC flameproof | CERTIFICATION |
| 066 | Cert/Approval type | NA | CERTIFICATION |
| 066 | Cert/Approval type | UL hazardous | CERTIFICATION |
| 067 | Enclosure material | coated aluminum | MATERIAL |
| 067 | Enclosure material | NA | MATERIAL |
| 068a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 071a | Max press at design temp | 1000 | PRESSURE |
| 071a | Max press at design temp | 120 | PRESSURE |
| 071a | Max press at design temp | 125 | PRESSURE |
| 071a | Max press at design temp | 150 | PRESSURE |
| 071a | Max press at design temp | 2000 | PRESSURE |
| 071a | Max press at design temp | 230 | PRESSURE |
| 071a | Max press at design temp | 285 | PRESSURE |
| 071a | Max press at design temp | 300 | PRESSURE |
| 071a | Max press at design temp | 3000 | PRESSURE |
| 071a | Max press at design temp | 400 | PRESSURE |
| 071a | Max press at design temp | 50 | PRESSURE |
| 071a | Max press at design temp | 600 | PRESSURE |
| 071a | Max press at design temp | 70 | PRESSURE |
| 071au | Design pressure units | bar (g) | UNITS |
| 071au | Design pressure units | psig | UNITS |
| 071b | Max design temperature | 100 | DESIGN TEMPERATURE |
| 071b | Max design temperature | 200 | DESIGN TEMPERATURE |
| 071b | Max design temperature | 225 | DESIGN TEMPERATURE |
| 071b | Max design temperature | 250 | DESIGN TEMPERATURE |
| 071b | Max design temperature | 300 | DESIGN TEMPERATURE |
| 071b | Max design temperature | 350 | DESIGN TEMPERATURE |
| 071b | Max design temperature | 75 | DESIGN TEMPERATURE |
| 071bu | Design temperature units | °C | UNITS |
| 071bu | Design temperature units | °F | UNITS |
| 071bu | Design temperature units | C | UNITS |
| 071bu | Design temperature units | F | UNITS |
| 072a | Min working temperature | -50 | WORKING TEMPERATURE |
| 072au | Min working temp units | °C | UNITS |
| 072au | Min working temp units | °F | UNITS |
| 072au | Min working temp units | C | UNITS |
| 072au | Min working temp units | F | UNITS |
| 072b | Max working temperature | 250 | WORKING TEMPERATURE |
| 072b | Max working temperature | 350 | WORKING TEMPERATURE |
| 072b | Max working temperature | 450 | WORKING TEMPERATURE |
| 072bu | Max working temp units | °C | UNITS |
| 072bu | Max working temp units | °F | UNITS |
| 072bu | Max working temp units | C | UNITS |
| 072bu | Max working temp units | F | UNITS |
| 073 | Min flow for indication |  |  |
| 073u | Flow/velocity units | galUS/min | UNITS |
| 073u | Flow/velocity units | L/min | UNITS |
| 074a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 076a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 076b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 094 | Custom tag | fiber tag |  |
| 094 | Custom tag | NA |  |
| 094 | Custom tag | sst permanent attached |  |
| 094 | Custom tag | sst wired-on |  |
| 095 | Reference specification | NA | REFERENCE SPECIFICATION |
| 096 | Compliance standard | 3A sanitary | NACE STANDARD |
| 096 | Compliance standard | NA | NACE STANDARD |
| 096 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 097 | Construction code | ASME B31.1 |  |
| 097 | Construction code | ASME B31.3 |  |
| 098 | Cert/Approval type | Factory Mutual System | CERTIFICATION |
| 098 | Cert/Approval type | NA | CERTIFICATION |
| 099 | Service design | cryogenic service |  |
| 099 | Service design | NA |  |
| 100a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 101a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 101b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 102a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 102b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 103 | PHYSICAL DATA | SECTION TITLE |  |
| 104 | Estimated weight |  |  |
| 104u | Weight units | kg | UNITS |
| 104u | Weight units | lb | UNITS |
| 105 | Overall length |  |  |
| 105u | Overall length units | in | UNITS |
| 105u | Overall length units | mm | UNITS |
| 106 | Overall height |  |  |
| 106u | Overall height units | in | UNITS |
| 106u | Overall height units | mm | UNITS |
| 107 | Overall width |  |  |
| 107u | Overall width units | in | UNITS |
| 107u | Overall width units | mm | UNITS |
| 108 | Sight opening diameter |  |  |
| 108u | Sight opening dia units | in | UNITS |
| 108u | Sight opening dia units | mm | UNITS |
| 109 | Mfr reference dwg | NA |  |
| 110a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 110b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 111a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 111b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 112a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 112b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 113 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 115a | Tag/Functional ident |  |  |
| 115b | Test pressure | CALIBRATION/TEST DESC |  |
| 115d | Test pressure URV |  | UPPER RANGE-VALUE |
| 115du | Test press URV units | bar(g) | UNITS |
| 115du | Test press URV units | psig | UNITS |
| 119 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 121a | Component type | sight flow indicator |  |
| 121a | Component type | sight window |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 122a | Component type | sight window |  |
| 122b | Manufacturer |  | MANUFACTURER |
| 122c | Model number |  | MODEL NUMBER |
| 123a | Component type |  |  |
| 123b | Manufacturer |  | MANUFACTURER |
| 123c | Model number |  | MODEL NUMBER |
| 124a | Component type |  |  |
| 124b | Manufacturer |  | MANUFACTURER |
| 124c | Model number |  | MODEL NUMBER |
| 125a | Component type |  |  |
| 125b | Manufacturer |  | MANUFACTURER |
| 125c | Model number |  | MODEL NUMBER |
| 126a | Component type |  |  |
| 126b | Manufacturer |  | MANUFACTURER |
| 126c | Model number |  | MODEL NUMBER |