| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | FLOWMETER BODY | SECTION TITLE |  |
| 012 | Body type | direct Insertion | VALVE BODY TYPE |
| 012 | Body type | flanged-short form | VALVE BODY TYPE |
| 012 | Body type | flanged-std form | VALVE BODY TYPE |
| 012 | Body type | lugged | VALVE BODY TYPE |
| 012 | Body type | removable Insertion | VALVE BODY TYPE |
| 012 | Body type | wafer | VALVE BODY TYPE |
| 013 | Flow tube style | manufacturer standard |  |
| 013 | Flow tube style | obstructionless |  |
| 013 | Flow tube style | replaceable tube |  |
| 013 | Flow tube style | NA |  |
| 014a | End conn nominal size | 1/4 in | NOMINAL SIZE |
| 014a | End conn nominal size | 1/2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 1 in | NOMINAL SIZE |
| 014a | End conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 014a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 3 in | NOMINAL SIZE |
| 014a | End conn nominal size | 4 in | NOMINAL SIZE |
| 014a | End conn nominal size | 6 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 6 in | NOMINAL SIZE |
| 014a | End conn nominal size | 8 in | NOMINAL SIZE |
| 014a | End conn nominal size | 10 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 10 in | NOMINAL SIZE |
| 014a | End conn nominal size | 12 in | NOMINAL SIZE |
| 014a | End conn nominal size | 14 in | NOMINAL SIZE |
| 014a | End conn nominal size | 15 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 16 in | NOMINAL SIZE |
| 014a | End conn nominal size | 18 in | NOMINAL SIZE |
| 014a | End conn nominal size | 20 in | NOMINAL SIZE |
| 014a | End conn nominal size | 20 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 24 in | NOMINAL SIZE |
| 014a | End conn nominal size | 25 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 30 in | NOMINAL SIZE |
| 014a | End conn nominal size | 32 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 36 in | NOMINAL SIZE |
| 014a | End conn nominal size | 40 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 42 in | NOMINAL SIZE |
| 014a | End conn nominal size | 48 in | NOMINAL SIZE |
| 014a | End conn nominal size | 50 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 54 in | NOMINAL SIZE |
| 014a | End conn nominal size | 60 in | NOMINAL SIZE |
| 014a | End conn nominal size | 66 in | NOMINAL SIZE |
| 014a | End conn nominal size | 72 in | NOMINAL SIZE |
| 014a | End conn nominal size | 78 in | NOMINAL SIZE |
| 014a | End conn nominal size | 80 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 84 in | NOMINAL SIZE |
| 014a | End conn nominal size | 90 in | NOMINAL SIZE |
| 014a | End conn nominal size | 96 in | NOMINAL SIZE |
| 014a | End conn nominal size | 100 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 150 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 200 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 250 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 300 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 350 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 400 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 450 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 500 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 600 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 750 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 900 mm | NOMINAL SIZE |
| 014b | End conn nominal rating | AWWA cl D | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 6 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | table D | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | table E | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | table F | NOMINAL PRESSURE/RATING |
| 015a | End conn termn type | clamped | END CONNECTION TYPE |
| 015a | End conn termn type | coupling | END CONNECTION TYPE |
| 015a | End conn termn type | flanged | END CONNECTION TYPE |
| 015a | End conn termn type | flangeless | END CONNECTION TYPE |
| 015a | End conn termn type | hose | END CONNECTION TYPE |
| 015a | End conn termn type | threaded | END CONNECTION TYPE |
| 015b | End conn termn style | DIN | END CONNECTION TYPE |
| 015b | End conn termn style | ff | END CONNECTION TYPE |
| 015b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 015b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 015b | End conn termn style | rf | END CONNECTION TYPE |
| 015b | End conn termn style | tri-clamp | END CONNECTION TYPE |
| 016a | Flow tube diameter | .040 |  |
| 016a | Flow tube diameter | .063 |  |
| 016a | Flow tube diameter | .10 |  |
| 016a | Flow tube diameter | .125 |  |
| 016a | Flow tube diameter | .156 |  |
| 016a | Flow tube diameter | .250 |  |
| 016a | Flow tube diameter | .375 |  |
| 016a | Flow tube diameter | .50 |  |
| 016a | Flow tube diameter | .750 |  |
| 016a | Flow tube diameter | 1.0 |  |
| 016a | Flow tube diameter | 1.25 |  |
| 016a | Flow tube diameter | 1.5 |  |
| 016a | Flow tube diameter | 1.6 |  |
| 016a | Flow tube diameter | 2.0 |  |
| 016a | Flow tube diameter | 2.5 |  |
| 016a | Flow tube diameter | 3 |  |
| 016a | Flow tube diameter | 4 |  |
| 016a | Flow tube diameter | 6 |  |
| 016a | Flow tube diameter | 8 |  |
| 016a | Flow tube diameter | 10 |  |
| 016a | Flow tube diameter | 12 |  |
| 016a | Flow tube diameter | 14 |  |
| 016a | Flow tube diameter | 15 |  |
| 016a | Flow tube diameter | 16 |  |
| 016a | Flow tube diameter | 18 |  |
| 016a | Flow tube diameter | 20 |  |
| 016a | Flow tube diameter | 24 |  |
| 016a | Flow tube diameter | 25 |  |
| 016a | Flow tube diameter | 30 |  |
| 016a | Flow tube diameter | 32 |  |
| 016a | Flow tube diameter | 36 |  |
| 016a | Flow tube diameter | 40 |  |
| 016a | Flow tube diameter | 50 |  |
| 016a | Flow tube diameter | 80 |  |
| 016a | Flow tube diameter | 100 |  |
| 016a | Flow tube diameter | 150 |  |
| 016a | Flow tube diameter | 200 |  |
| 016a | Flow tube diameter | 250 |  |
| 016a | Flow tube diameter | 300 |  |
| 016a | Flow tube diameter | 350 |  |
| 016a | Flow tube diameter | 400 |  |
| 016a | Flow tube diameter | 450 |  |
| 016a | Flow tube diameter | 500 |  |
| 016a | Flow tube diameter | 600 |  |
| 016a | Flow tube diameter | 700 |  |
| 016a | Flow tube diameter | 900 |  |
| 016au | Diameter units | in | UNITS |
| 016au | Diameter units | mm | UNITS |
| 016b | Flow tube thickness | .125 in |  |
| 016b | Flow tube thickness | sched 10 |  |
| 016b | Flow tube thickness | sched 40 |  |
| 017 | Hardware mounting kit | flange w/bolting |  |
| 017 | Hardware mounting kit | mounting studs |  |
| 017 | Hardware mounting kit | NA |  |
| 018 | Flow tube material | 303 SST | MATERIAL |
| 018 | Flow tube material | 304 SST | MATERIAL |
| 018 | Flow tube material | 310 SST | MATERIAL |
| 018 | Flow tube material | aluminum | MATERIAL |
| 018 | Flow tube material | brass | MATERIAL |
| 018 | Flow tube material | carbon steel | MATERIAL |
| 018 | Flow tube material | ceramic | MATERIAL |
| 018 | Flow tube material | NA | MATERIAL |
| 019 | Lining material | ceramic (aluminum oxide) | MATERIAL |
| 019 | Lining material | ETFE (tefzel) | MATERIAL |
| 019 | Lining material | natural rubber | MATERIAL |
| 019 | Lining material | neoprene | MATERIAL |
| 019 | Lining material | PFA | MATERIAL |
| 019 | Lining material | pfa (perfluoroalkoxy) | MATERIAL |
| 019 | Lining material | polyurethane | MATERIAL |
| 019 | Lining material | PTFE (teflon) | MATERIAL |
| 019 | Lining material | ryton | MATERIAL |
| 019 | Lining material | NA | MATERIAL |
| 020 | End termination material | 304 SST | MATERIAL |
| 020 | End termination material | 316 SST | MATERIAL |
| 020 | End termination material | 321 SST | MATERIAL |
| 020 | End termination material | carbon steel | MATERIAL |
| 020 | End termination material | NA | MATERIAL |
| 021 | Gnd/Protective ring matl | 316 SST | MATERIAL |
| 021 | Gnd/Protective ring matl | alloy 20 | MATERIAL |
| 021 | Gnd/Protective ring matl | hastelloy B | MATERIAL |
| 021 | Gnd/Protective ring matl | hastelloy C | MATERIAL |
| 021 | Gnd/Protective ring matl | hastelloy C276 | MATERIAL |
| 021 | Gnd/Protective ring matl | monel | MATERIAL |
| 021 | Gnd/Protective ring matl | tantalum | MATERIAL |
| 021 | Gnd/Protective ring matl | titanium | MATERIAL |
| 021 | Gnd/Protective ring matl | NA | MATERIAL |
| 022a | Defined attribute 1 name | process fitting type | DEFINABLE ATTRIBUTE NAME |
| 022a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 022b | Defined attribute 1 data | tee fitting | DEFINABLE ATTRIBUTE VALUE |
| 022b | Defined attribute 1 data | weldolet fitting | DEFINABLE ATTRIBUTE VALUE |
| 022b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 023a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 023b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 024 | END EXTENSIONS | SECTION TITLE |  |
| 025a | End conn termn type | bonding | END CONNECTION TYPE |
| 025a | End conn termn type | clamped | END CONNECTION TYPE |
| 025a | End conn termn type | hose | END CONNECTION TYPE |
| 025a | End conn termn type | threaded | END CONNECTION TYPE |
| 025a | End conn termn type | welded | END CONNECTION TYPE |
| 025b | End conn termn style | barbed | END CONNECTION TYPE |
| 025b | End conn termn style | bw | END CONNECTION TYPE |
| 025b | End conn termn style | coupling | END CONNECTION TYPE |
| 025b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 025b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 025b | End conn termn style | SW(F) | END CONNECTION TYPE |
| 025b | End conn termn style | tri-Clamp | END CONNECTION TYPE |
| 026 | Bolting material | manufacturer standard | BOLTING |
| 026 | Bolting material | NA | BOLTING |
| 027 | End termination material | 304 SST | MATERIAL |
| 027 | End termination material | 316 SST | MATERIAL |
| 027 | End termination material | carbon steel | MATERIAL |
| 027 | End termination material | NA | MATERIAL |
| 028 | Gasket/O ring material | EDPM (Ethylene propylene) | MATERIAL |
| 028 | Gasket/O ring material | buna N | MATERIAL |
| 028 | Gasket/O ring material | fluoraz | MATERIAL |
| 028 | Gasket/O ring material | FPM (viton) | MATERIAL |
| 028 | Gasket/O ring material | gylon | MATERIAL |
| 028 | Gasket/O ring material | silicone rubber | MATERIAL |
| 028 | Gasket/O ring material | PTFE (teflon) | MATERIAL |
| 028 | Gasket/O ring material | NA | MATERIAL |
| 029a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030 | SENSING ELEMENT | SECTION TITLE |  |
| 031 | Electrode type | bullet-nose |  |
| 031 | Electrode type | conical |  |
| 031 | Electrode type | flush (plain) |  |
| 031 | Electrode type | replaceable |  |
| 031 | Electrode type | slurry service |  |
| 031 | Electrode type | ultrasonic bullet-nose |  |
| 031 | Electrode type | ultrasonic flush |  |
| 032 | Insertion length | 3.50 | INSERTION LENGTH |
| 032 | Insertion length | 3.87 | INSERTION LENGTH |
| 032 | Insertion length | 4.50 | INSERTION LENGTH |
| 032u | Length units | in | UNITS |
| 033 | Electrode material | 316 SST | MATERIAL |
| 033 | Electrode material | 316L SST | MATERIAL |
| 033 | Electrode material | alloy 20 | MATERIAL |
| 033 | Electrode material | conductive Ryton | MATERIAL |
| 033 | Electrode material | hastelloy B | MATERIAL |
| 033 | Electrode material | hastelloy C | MATERIAL |
| 033 | Electrode material | hastelloy C276 | MATERIAL |
| 033 | Electrode material | k-Monel | MATERIAL |
| 033 | Electrode material | nickel | MATERIAL |
| 033 | Electrode material | platinum | MATERIAL |
| 033 | Electrode material | platinum-10% Iridium | MATERIAL |
| 033 | Electrode material | tantalum | MATERIAL |
| 033 | Electrode material | titanium | MATERIAL |
| 033 | Electrode material | zirconium | MATERIAL |
| 033 | Electrode material | NA | MATERIAL |
| 034a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 034b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 035 | COILS AND HOUSING | SECTION TITLE |  |
| 036 | Housing construction type | general purpose enclosure |  |
| 036 | Housing construction type | high humidity/condensate |  |
| 036 | Housing construction type | manufacturer standard |  |
| 036 | Housing construction type | sealed |  |
| 036 | Housing construction type | secondary containment |  |
| 036 | Housing construction type | splashproof |  |
| 036 | Housing construction type | submersible |  |
| 036 | Housing construction type | NA |  |
| 037 | Coil conn arrangement | parallel |  |
| 037 | Coil conn arrangement | series |  |
| 037 | Coil conn arrangement | NA |  |
| 038 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 66 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 039 | Signal power source | line 120 V(ac) 50 Hz |  |
| 039 | Signal power source | line 120 V(ac) 60 Hz |  |
| 039 | Signal power source | line 220 V(ac) 50 Hz |  |
| 039 | Signal power source | line 220 V(ac) 60 Hz |  |
| 039 | Signal power source | line 240 V(ac) 50 Hz |  |
| 039 | Signal power source | line 240 V(ac) 60 Hz |  |
| 039 | Signal power source | pulsed V(dc) |  |
| 039 | Signal power source | NA |  |
| 040 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 040 | Signal termination type | terminal block | END CONNECTION TYPE |
| 040 | Signal termination type | NA | END CONNECTION TYPE |
| 041 | Cert/Approval type | CSA Hazardous | CERTIFICATION |
| 041 | Cert/Approval type | CSA Hazardous Y purge | CERTIFICATION |
| 041 | Cert/Approval type | CSA Non-classified | CERTIFICATION |
| 041 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 041 | Cert/Approval type | FM General purpose | CERTIFICATION |
| 041 | Cert/Approval type | FM Hazardous | CERTIFICATION |
| 041 | Cert/Approval type | FM Hazardous Y purge | CERTIFICATION |
| 041 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 041 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 041 | Cert/Approval type | mfr self certification | CERTIFICATION |
| 041 | Cert/Approval type | PTB/CENELEC hazardous | CERTIFICATION |
| 041 | Cert/Approval type | NA | CERTIFICATION |
| 042 | Housing material | carbon steel | MATERIAL |
| 042 | Housing material | chrome-moly steel | MATERIAL |
| 042 | Housing material | ductile iron | MATERIAL |
| 042 | Housing material | FRP | MATERIAL |
| 042 | Housing material | low-copper aluminum | MATERIAL |
| 042 | Housing material | polycarbonate | MATERIAL |
| 042 | Housing material | PVDF | MATERIAL |
| 042 | Housing material | NA | MATERIAL |
| 043a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 043b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 044a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 044b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 045 | TRANSMITTER OR CONVERTER | SECTION TITLE |  |
| 046 | Housing type | general purpose enclosure | HOUSING |
| 046 | Housing type | high humidity/condensate | HOUSING |
| 046 | Housing type | splashproof | HOUSING |
| 046 | Housing type | submersible | HOUSING |
| 046 | Housing type | weatherproof | HOUSING |
| 047 | Output signal type | analog current | SIGNAL |
| 047 | Output signal type | analog current & freq | SIGNAL |
| 047 | Output signal type | digital single-variable | SIGNAL |
| 047 | Output signal type | electronic,frequency | SIGNAL |
| 047 | Output signal type | pulse | SIGNAL |
| 047 | Output signal type | pulse,high rate | SIGNAL |
| 047 | Output signal type | pulse,low rate | SIGNAL |
| 047 | Output signal type | transistor switch | SIGNAL |
| 047 | Output signal type | NA | SIGNAL |
| 048 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | IP 20 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | IP 66 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 049 | Characteristic curve | linear with flow mass | CHARACTERISTIC CURVE |
| 049 | Characteristic curve | linear with flow volume | CHARACTERISTIC CURVE |
| 049 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 050 | Digital communication std | DE protocol |  |
| 050 | Digital communication std | foundation fieldbus |  |
| 050 | Digital communication std | HART protocol |  |
| 050 | Digital communication std | modbus |  |
| 050 | Digital communication std | profibus |  |
| 050 | Digital communication std | RS232C binary/ASCII |  |
| 050 | Digital communication std | RS485 binary/ASCII |  |
| 050 | Digital communication std | NA |  |
| 051 | Signal power source | line 100 V(ac) 50 Hz |  |
| 051 | Signal power source | line 100 V(ac) 60 Hz |  |
| 051 | Signal power source | line 120 V(ac) 50 Hz |  |
| 051 | Signal power source | line 120 V(ac) 60 Hz |  |
| 051 | Signal power source | line 220 V(ac) 50 Hz |  |
| 051 | Signal power source | line 240 V(ac) 50 Hz |  |
| 051 | Signal power source | line 240 V(ac) 60 Hz |  |
| 051 | Signal power source | loop 10-30 V(dc) |  |
| 051 | Signal power source | loop 24 V(dc) |  |
| 051 | Signal power source | NA |  |
| 052 | Failsafe style | drive output high |  |
| 052 | Failsafe style | drive output low |  |
| 052 | Failsafe style | NA |  |
| 053 | Integral indicator style | 3 1/2 digit LCD |  |
| 053 | Integral indicator style | analog meter,linear div |  |
| 053 | Integral indicator style | LCD 2X16 character |  |
| 053 | Integral indicator style | NA |  |
| 054 | Signal termination type | terminal block | END CONNECTION TYPE |
| 054 | Signal termination type | NA | END CONNECTION TYPE |
| 055 | Cert/Approval type | CENELEC Non-classified | CERTIFICATION |
| 055 | Cert/Approval type | CSA Hazardous | CERTIFICATION |
| 055 | Cert/Approval type | CSA Non-classified | CERTIFICATION |
| 055 | Cert/Approval type | CSA Non-incendive | CERTIFICATION |
| 055 | Cert/Approval type | CSA,Y-purging | CERTIFICATION |
| 055 | Cert/Approval type | FM Hazardous | CERTIFICATION |
| 055 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 055 | Cert/Approval type | FM Non-classified | CERTIFICATION |
| 055 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 055 | Cert/Approval type | FM,Y-purging | CERTIFICATION |
| 055 | Cert/Approval type | mfr,non-classified | CERTIFICATION |
| 055 | Cert/Approval type | PTB Intrinsic safe | CERTIFICATION |
| 055 | Cert/Approval type | NA | CERTIFICATION |
| 056 | Mounting location/type | 2 in pipe mount | MOUNTING POSITION |
| 056 | Mounting location/type | integral to flow tube | MOUNTING POSITION |
| 056 | Mounting location/type | panel mount | MOUNTING POSITION |
| 056 | Mounting location/type | rack | MOUNTING POSITION |
| 056 | Mounting location/type | surface mount | MOUNTING POSITION |
| 056 | Mounting location/type | NA | MOUNTING POSITION |
| 057 | Failure/Diagnostic action | alarm display |  |
| 057 | Failure/Diagnostic action | drives output low |  |
| 057 | Failure/Diagnostic action | NA |  |
| 058 | Enclosure material | low-copper aluminum | MATERIAL |
| 058 | Enclosure material | PVDF | MATERIAL |
| 058 | Enclosure material | NA | MATERIAL |
| 059a | Defined attribute 1 name | alarm contacts | DEFINABLE ATTRIBUTE NAME |
| 059a | Defined attribute 1 name | compensation type | DEFINABLE ATTRIBUTE NAME |
| 059a | Defined attribute 1 name | empty pipe detection | DEFINABLE ATTRIBUTE NAME |
| 059a | Defined attribute 1 name | span switching | DEFINABLE ATTRIBUTE NAME |
| 059a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 1 data | high alarm | DEFINABLE ATTRIBUTE VALUE |
| 059b | Defined attribute 1 data | high/low alarm | DEFINABLE ATTRIBUTE VALUE |
| 059b | Defined attribute 1 data | integral span switching | DEFINABLE ATTRIBUTE VALUE |
| 059b | Defined attribute 1 data | mass from density signal | DEFINABLE ATTRIBUTE VALUE |
| 059b | Defined attribute 1 data | remote span switching | DEFINABLE ATTRIBUTE VALUE |
| 059b | Defined attribute 1 data | zero flow | DEFINABLE ATTRIBUTE VALUE |
| 060 | TOTALIZER INDICATOR | SECTION TITLE |  |
| 061 | Totalizer type | forward total/Batch |  |
| 061 | Totalizer type | forward total/gross |  |
| 061 | Totalizer type | NA |  |
| 062 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 062 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 062 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 062 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 062 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 062 | Enclosure type no/class | IP 66 | ENCLOSURE TYPE NO/CLASS |
| 062 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 062 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 063 | Signal power source | line 115 V(ac) 60 Hz |  |
| 063 | Signal power source | line 230 V(ac) 60 Hz |  |
| 063 | Signal power source | line 24 V(ac) 60 Hz |  |
| 063 | Signal power source | line 24 V(dc) |  |
| 063 | Signal power source | line 48 V(ac) 60 Hz |  |
| 063 | Signal power source | line 48 V(dc) |  |
| 063 | Signal power source | NA |  |
| 064a | Contacts arrangement | SPST |  |
| 064a | Contacts arrangement | NA |  |
| 064b | Contacts quantity | 1 |  |
| 065 | Totalizer reset style | local and external |  |
| 065 | Totalizer reset style | local only |  |
| 065 | Totalizer reset style | non-reset |  |
| 065 | Totalizer reset style | NA |  |
| 066 | Integral indicator style | LCD 2X16 character |  |
| 066 | Integral indicator style | LCD meter 5 digit |  |
| 066 | Integral indicator style | LCD meter,3 1/2 digit |  |
| 066 | Integral indicator style | LCD meter,4 digit |  |
| 066 | Integral indicator style | LCD meter,6 digit |  |
| 066 | Integral indicator style | LCD meter,7 digit |  |
| 066 | Integral indicator style | NA |  |
| 067 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 067 | Cert/Approval type | NA | CERTIFICATION |
| 068 | Mounting location/type | integral w/transmitter | MOUNTING POSITION |
| 068 | Mounting location/type | NA | MOUNTING POSITION |
| 069 | Enclosure material | low-copper aluminum | MATERIAL |
| 069 | Enclosure material | NA | MATERIAL |
| 070a | Defined attribute 1 name | alarms | DEFINABLE ATTRIBUTE NAME |
| 070a | Defined attribute 1 name | totalizer back-up | DEFINABLE ATTRIBUTE NAME |
| 070a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 1 data | high and low | DEFINABLE ATTRIBUTE VALUE |
| 070b | Defined attribute 1 data | internal battery | DEFINABLE ATTRIBUTE VALUE |
| 070b | Defined attribute 1 data | non-volatile totalizer | DEFINABLE ATTRIBUTE VALUE |
| 070b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 071 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 072a | Min press at design temp | 26 |  |
| 072au | Min design press units | inHg | UNITS |
| 072au | Min design press units | psia | UNITS |
| 072au | Min design press units | psig | UNITS |
| 072b | Max design temperature | 38 | DESIGN TEMPERATURE |
| 072b | Max design temperature | 100 | DESIGN TEMPERATURE |
| 072b | Max design temperature | 300 | DESIGN TEMPERATURE |
| 072b | Max design temperature | 360 | DESIGN TEMPERATURE |
| 072bu | Design temperature units | °C | UNITS |
| 072bu | Design temperature units | °F | UNITS |
| 072bu | Design temperature units | C | UNITS |
| 072bu | Design temperature units | F | UNITS |
| 073a | Max press at design temp | 300 | PRESSURE |
| 073au | Max design press units | bar(g) | UNITS |
| 073au | Max design press units | psia | UNITS |
| 073au | Max design press units | psig | UNITS |
| 074a | Min working temperature | 0 | WORKING TEMPERATURE |
| 074a | Min working temperature | -20 | WORKING TEMPERATURE |
| 074au | Min working temp units | °C | UNITS |
| 074au | Min working temp units | °F | UNITS |
| 074au | Min working temp units | C | UNITS |
| 074au | Min working temp units | F | UNITS |
| 074b | Max working temperature | 140 | WORKING TEMPERATURE |
| 074b | Max working temperature | 185 | WORKING TEMPERATURE |
| 074b | Max working temperature | 200 | WORKING TEMPERATURE |
| 074b | Max working temperature | 302 | WORKING TEMPERATURE |
| 074b | Max working temperature | 350 | WORKING TEMPERATURE |
| 074bu | Max working temp units | °C | UNITS |
| 074bu | Max working temp units | °F | UNITS |
| 074bu | Max working temp units | C | UNITS |
| 074bu | Max working temp units | F | UNITS |
| 075 | Accuracy rating | .2 | ACCURACY RATING |
| 075 | Accuracy rating | .5 | ACCURACY RATING |
| 075 | Accuracy rating | 1.0 | ACCURACY RATING |
| 075 | Accuracy rating | 2.0 | ACCURACY RATING |
| 075 | Accuracy rating | 5.0 | ACCURACY RATING |
| 075b | Accuracy rating ref base | % full scale | ACCURACY REFERENCE |
| 075b | Accuracy rating ref base | % rate | ACCURACY REFERENCE |
| 075b | Accuracy rating ref base | % URV | ACCURACY REFERENCE |
| 076a | Min Velocity URL | .5 |  |
| 076a | Min Velocity URL | .9 |  |
| 076a | Min Velocity URL | 3.0 |  |
| 076a | Min Velocity URL | 3.3 |  |
| 076au | Min velocity URL units | ft/s | UNITS |
| 076au | Min velocity URL units | m/s | UNITS |
| 076b | Max velocity URL | 9.5 |  |
| 076b | Max velocity URL | 10.0 |  |
| 076b | Max velocity URL | 27 |  |
| 076b | Max velocity URL | 30 |  |
| 076b | Max velocity URL | 31 |  |
| 076b | Max velocity URL | 33 |  |
| 076bu | Max velocity URL units | ft/s | UNITS |
| 076bu | Max velocity URL units | m/s | UNITS |
| 077 | Min liquid conductivity | 2 |  |
| 077 | Min liquid conductivity | 5 |  |
| 077 | Min liquid conductivity | 20 |  |
| 077u | Liquid conductivity units | uS/cm | UNITS |
| 078a | Output signal damping LRL | 1.0 |  |
| 078a | Output signal damping LRL | 4 |  |
| 078au | Damping LRL units | s | UNITS |
| 078b | Output signal damping URL | 49.9 |  |
| 078b | Output signal damping URL | 95 |  |
| 078bu | Damping URL units | s | UNITS |
| 079a | Min ambient working temp | -20 | AMBIENT TEMPERATURE |
| 079a | Min ambient working temp | -30 | AMBIENT TEMPERATURE |
| 079au | Min amb working temp units | °C | UNITS |
| 079au | Min amb working temp units | °F | UNITS |
| 079au | Min amb working temp units | C | UNITS |
| 079au | Min amb working temp units | F | UNITS |
| 079b | Max ambient working temp | 140 | MAX AMBIENT TEMPERATURE |
| 079b | Max ambient working temp | 149 | MAX AMBIENT TEMPERATURE |
| 079b | Max ambient working temp | 150 | MAX AMBIENT TEMPERATURE |
| 079bu | Max amb temperature units | °C | UNITS |
| 079bu | Max amb temperature units | °F | UNITS |
| 079bu | Max amb temperature units | C | UNITS |
| 079bu | Max amb temperature units | F | UNITS |
| 080a | Contacts ac rating |  | DEVICE RATING |
| 080au | AC rating current units | A | UNITS |
| 080b | AC rating max voltage |  | DEVICE RATING |
| 080bu | AC max voltage units | V | UNITS |
| 081a | Contacts dc rating | 250 | DEVICE RATING |
| 081au | DC rating current units | mA | UNITS |
| 081b | DC rating max voltage | 28 | DEVICE RATING |
| 081bu | DC max voltage units | V | UNITS |
| 082 | Max sensor to receiver lg |  |  |
| 082u | Max length units | ft | UNITS |
| 082u | Max length units | m | UNITS |
| 083a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 083b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 084b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 085b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086 | ACCESSORIES | SECTION TITLE |  |
| 087 | Connecting cables length | 5 |  |
| 087 | Connecting cables length | 10 |  |
| 087u | Cable length units | ft | UNITS |
| 087u | Cable length units | m | UNITS |
| 088 | Cable glands | heyco |  |
| 088 | Cable glands | NA |  |
| 089 | Ultrasonic cleaner style | continuous |  |
| 089 | Ultrasonic cleaner style | NA |  |
| 090 | Empty tube detector | NA |  |
| 091 | Calibrator adapter | NA |  |
| 092 | Calibrator/configurator | 120/240 V 60Hz calibrator |  |
| 092 | Calibrator/configurator | NA |  |
| 093a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 093b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 094 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 095 | Custom tag | fiber tag |  |
| 095 | Custom tag | sst permanent attached |  |
| 095 | Custom tag | sst wired-on |  |
| 095 | Custom tag | NA |  |
| 096 | Reference specification | NA | REFERENCE SPECIFICATION |
| 097 | Compliance standard | USDA | NACE STANDARD |
| 097 | Compliance standard | NA | NACE STANDARD |
| 098 | Calibration report | NA |  |
| 099 | Software configuration | custom |  |
| 099 | Software configuration | NA |  |
| 100a | Defined attribute 1 name | name plate language | DEFINABLE ATTRIBUTE NAME |
| 100a | Defined attribute 1 name | tropicalization | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 1 data | coating circuit boards | DEFINABLE ATTRIBUTE VALUE |
| 100b | Defined attribute 1 data | danish | DEFINABLE ATTRIBUTE VALUE |
| 100b | Defined attribute 1 data | dutch | DEFINABLE ATTRIBUTE VALUE |
| 100b | Defined attribute 1 data | english | DEFINABLE ATTRIBUTE VALUE |
| 100b | Defined attribute 1 data | finish | DEFINABLE ATTRIBUTE VALUE |
| 100b | Defined attribute 1 data | french | DEFINABLE ATTRIBUTE VALUE |
| 100b | Defined attribute 1 data | german | DEFINABLE ATTRIBUTE VALUE |
| 100b | Defined attribute 1 data | italian | DEFINABLE ATTRIBUTE VALUE |
| 100b | Defined attribute 1 data | spanish | DEFINABLE ATTRIBUTE VALUE |
| 100b | Defined attribute 1 data | swedish | DEFINABLE ATTRIBUTE VALUE |
| 101 | PHYSICAL DATA | SECTION TITLE |  |
| 102 | Estimated weight |  |  |
| 102u | Weight units | kg | UNITS |
| 102u | Weight units | lb | UNITS |
| 103 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 103u | Face-to-face dim units | in | UNITS |
| 103u | Face-to-face dim units | mm | UNITS |
| 104 | Overall height |  |  |
| 104u | Overall height units | in | UNITS |
| 104u | Overall height units | mm | UNITS |
| 105 | Removal clearance |  |  |
| 105u | Removal clearance units | in | UNITS |
| 105u | Removal clearance units | mm | UNITS |
| 106a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 106a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 106b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 106b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 106b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 106b | Signal conn termn style | NA | END CONNECTION TYPE |
| 107 | Mfr reference dwg | NA |  |
| 108a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog flow rate tag no |  |  |
| 112b | Flow rate-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog flow rate LRV | 0 |  |
| 112cu | Analog flow rate LRV units | galUS/min | UNITS |
| 112cu | Analog flow rate LRV units | L/min | UNITS |
| 112cu | Analog flow rate LRV units | lb/h | UNITS |
| 112cu | Analog flow rate LRV units | m3/h | UNITS |
| 112d | Analog flow rate URV |  |  |
| 112du | Analog flow rate URV units | galUS/min | UNITS |
| 112du | Analog flow rate URV units | L/min | UNITS |
| 112du | Analog flow rate URV units | lb/h | UNITS |
| 112du | Analog flow rate URV units | m3/h | UNITS |
| 112e | Analog flow rate action | direct |  |
| 112e | Analog flow rate action | reverse |  |
| 112f | Anlg flow rate output LRV |  |  |
| 112fu | Anlg flow output LRV units | mA | UNITS |
| 112fu | Anlg flow output LRV units | V(dc) | UNITS |
| 112g | Anlg flow rate output URV | 5 |  |
| 112g | Anlg flow rate output URV | 10 |  |
| 112g | Anlg flow rate output URV | 16 |  |
| 112g | Anlg flow rate output URV | 20 |  |
| 112g | Anlg flow rate output URV | 50 |  |
| 112gu | Anlg flow output URV units | mA | UNITS |
| 112gu | Anlg flow output URV units | V(dc) | UNITS |
| 113b | Flow rate-Digital output |  |  |
| 113c | Digital flow rate LRV | 0 |  |
| 113cu | Dgtl flow rate LRV units | galUS/min | UNITS |
| 113cu | Dgtl flow rate LRV units | L/min | UNITS |
| 113cu | Dgtl flow rate LRV units | lb/h | UNITS |
| 113cu | Dgtl flow rate LRV units | m3/h | UNITS |
| 113d | Digital flow rate URV |  |  |
| 113du | Dgtl flow rate URV units | galUS/min | UNITS |
| 113du | Dgtl flow rate URV units | L/min | UNITS |
| 113du | Dgtl flow rate URV units | lb/h | UNITS |
| 113du | Dgtl flow rate URV units | m3/h | UNITS |
| 113e | Digital flow rate action | direct |  |
| 113e | Digital flow rate action | reverse |  |
| 113f | Dgtl flow rate output LRV | 0 |  |
| 113fu | Dgtl flow output LRV units | galUS/min | UNITS |
| 113fu | Dgtl flow output LRV units | L/min | UNITS |
| 113fu | Dgtl flow output LRV units | lb/h | UNITS |
| 113fu | Dgtl flow output LRV units | m3/h | UNITS |
| 113g | Dgtl flow rate output URV |  |  |
| 113gu | Dgtl flow output URV units | galUS/min | UNITS |
| 113gu | Dgtl flow output URV units | L/min | UNITS |
| 113gu | Dgtl flow output URV units | lb/h | UNITS |
| 113gu | Dgtl flow output URV units | m3/h | UNITS |
| 114a | Freq meas tag no |  |  |
| 114b | Flow rate-Freq output | CALIBRATION/TEST DESC |  |
| 114c | Freq meas LRV | 0 |  |
| 114cu | Freq meas LRV units | galUS/min | UNITS |
| 114cu | Freq meas LRV units | L/min | UNITS |
| 114cu | Freq meas LRV units | lb/h | UNITS |
| 114cu | Freq meas LRV units | m3/h | UNITS |
| 114d | Freq meas URV |  |  |
| 114du | Freq meas URV units | galUS/min | UNITS |
| 114du | Freq meas URV units | L/min | UNITS |
| 114du | Freq meas URV units | lb/h | UNITS |
| 114du | Freq meas URV units | m3/h | UNITS |
| 114e | Freq meas action | direct |  |
| 114e | Freq meas action | reverse |  |
| 114f | Freq meas output LRV | 0 |  |
| 114fu | Freq meas output LRV units | Hz | UNITS |
| 114fu | Freq meas output LRV units | kHz | UNITS |
| 114fu | Freq meas output LRV units | pps | UNITS |
| 114g | Freq meas output URV |  |  |
| 114gu | Freq meas output URV units | Hz | UNITS |
| 114gu | Freq meas output URV units | kHz | UNITS |
| 114gu | Freq meas output URV units | pps | UNITS |
| 115a | Scale tag no |  |  |
| 115b | Flow rate-Scale | CALIBRATION/TEST DESC |  |
| 115c | Scale measurement LRV | 0 |  |
| 115cu | Scale meas LRV units | galUS/min | UNITS |
| 115cu | Scale meas LRV units | L/min | UNITS |
| 115cu | Scale meas LRV units | lb/h | UNITS |
| 115cu | Scale meas LRV units | m3/h | UNITS |
| 115d | Scale measurement URV |  |  |
| 115du | Scale meas URV units | galUS/min | UNITS |
| 115du | Scale meas URV units | L/min | UNITS |
| 115du | Scale meas URV units | lb/h | UNITS |
| 115du | Scale meas URV units | m3/h | UNITS |
| 115e | Scale meas signal action | direct |  |
| 115f | Scale Lower Range-Value | 0 |  |
| 115fu | Scale LRV units | % | UNITS |
| 115fu | Scale LRV units | galUS/min | UNITS |
| 115fu | Scale LRV units | L/min | UNITS |
| 115fu | Scale LRV units | lb/h | UNITS |
| 115fu | Scale LRV units | m3/h | UNITS |
| 115g | Scale Upper Range-Value | 100 |  |
| 115gu | Scale URV units | % | UNITS |
| 115gu | Scale URV units | galUS/min | UNITS |
| 115gu | Scale URV units | L/min | UNITS |
| 115gu | Scale URV units | lb/h | UNITS |
| 115gu | Scale URV units | m3/h | UNITS |
| 116b | Test pressure | CALIBRATION/TEST DESC |  |
| 116d | Test pressure URV |  |  |
| 116du | Test pressure URV units | psig | UNITS |
| 117a | Attribute tag no |  |  |
| 117b | Attribute cal/test descp | NA |  |
| 117c | Attribute cal/test LRV |  |  |
| 117cu | Attr cal/test LRV units |  | UNITS |
| 117d | Attribute cal/test URV |  |  |
| 117du | Attr cal/test URV units |  | UNITS |
| 117e | Attribute cal/test action |  |  |
| 117f | Attribute output LRV |  |  |
| 117fu | Attr output LRV units |  | UNITS |
| 117g | Attribute output URV |  |  |
| 117gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | magnetic flowmeter |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | magnetic flow xmtr |  |