| Pick List 20F2351 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | BODY OR FITTING | SECTION TITLE |  |
| 012 | Body/Fitting type | compression fitting |  |
| 012 | Body/Fitting type | flow tube |  |
| 012 | Body/Fitting type | in-line body |  |
| 012 | Body/Fitting type | in-line pipe spool |  |
| 012 | Body/Fitting type | in-line tubing spool |  |
| 012 | Body/Fitting type | in-line with tee |  |
| 012 | Body/Fitting type | packing gland assembly |  |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 6 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 100 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 150 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 200 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 25 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 40 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 50 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 80 | NOMINAL SIZE |
| 013b | Process conn nominal rating | cl 150 |  |
| 013b | Process conn nominal rating | cl 1500 |  |
| 013b | Process conn nominal rating | cl 300 |  |
| 013b | Process conn nominal rating | cl 600 |  |
| 013b | Process conn nominal rating | NA |  |
| 013b | Process conn nominal rating | PN 16 |  |
| 014a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | adaptor | END CONNECTION TYPE |
| 014b | Process conn termn style | BSPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | BW | END CONNECTION TYPE |
| 014b | Process conn termn style | FF | END CONNECTION TYPE |
| 014b | Process conn termn style | flat duct | END CONNECTION TYPE |
| 014b | Process conn termn style | MGFS | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | OTBW | END CONNECTION TYPE |
| 014b | Process conn termn style | RF | END CONNECTION TYPE |
| 014b | Process conn termn style | RTJ | END CONNECTION TYPE |
| 014b | Process conn termn style | sanitary | END CONNECTION TYPE |
| 014b | Process conn termn style | tri-clamp | END CONNECTION TYPE |
| 015 | Packing gland nom rating | 1500 psig |  |
| 015 | Packing gland nom rating | 17 bar (g) |  |
| 015 | Packing gland nom rating | 250 psig |  |
| 015 | Packing gland nom rating | 3.5 bar (g) |  |
| 015 | Packing gland nom rating | 50 psig |  |
| 015 | Packing gland nom rating | 500 psig |  |
| 015 | Packing gland nom rating | 60 psig |  |
| 015 | Packing gland nom rating | NA |  |
| 016 | Mounting orientation | flow bottom to top |  |
| 016 | Mounting orientation | flow left to right |  |
| 016 | Mounting orientation | flow right to left |  |
| 016 | Mounting orientation | flow top to bottom |  |
| 017 | Flow straightener type | external | FLOW STRAIGHTENER |
| 017 | Flow straightener type | integral | FLOW STRAIGHTENER |
| 017 | Flow straightener type | NA | FLOW STRAIGHTENER |
| 018 | Body/Fitting material | 300 series SST | MATERIAL |
| 018 | Body/Fitting material | 316 SST | MATERIAL |
| 018 | Body/Fitting material | 316 SST nickel plated | MATERIAL |
| 018 | Body/Fitting material | 316L SST | MATERIAL |
| 018 | Body/Fitting material | cd plated carbon steel | MATERIAL |
| 018 | Body/Fitting material | hastelloy B | MATERIAL |
| 018 | Body/Fitting material | hastelloy C | MATERIAL |
| 018 | Body/Fitting material | hastelloy C276 | MATERIAL |
| 018 | Body/Fitting material | inconel 600 | MATERIAL |
| 018 | Body/Fitting material | monel 400 | MATERIAL |
| 018 | Body/Fitting material | tantalum | MATERIAL |
| 019 | Flange material | 316 SST | MATERIAL |
| 019 | Flange material | carbon steel | MATERIAL |
| 019 | Flange material | carpenter 20 | MATERIAL |
| 019 | Flange material | hastelloy B | MATERIAL |
| 019 | Flange material | hastelloy C | MATERIAL |
| 019 | Flange material | hastelloy C-276 | MATERIAL |
| 019 | Flange material | inconel 600 | MATERIAL |
| 019 | Flange material | monel 400 | MATERIAL |
| 019 | Flange material | NA | MATERIAL |
| 019 | Flange material | nickel 200 | MATERIAL |
| 019 | Flange material | tantalum | MATERIAL |
| 020 | Compression ferrule matl | 316 SST | MATERIAL |
| 020 | Compression ferrule matl | hastelloy C | MATERIAL |
| 020 | Compression ferrule matl | NA | MATERIAL |
| 020 | Compression ferrule matl | nylon | MATERIAL |
| 020 | Compression ferrule matl | teflon | MATERIAL |
| 020 | Compression ferrule matl | teflon | MATERIAL |
| 021a | Defined attribute 1 name | Internal bore finish | DEFINABLE ATTRIBUTE NAME |
| 021a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 021a | Defined attribute 1 name | Retractor assembly | DEFINABLE ATTRIBUTE NAME |
| 021b | Defined attribute 1 data | 10 microinch | DEFINABLE ATTRIBUTE VALUE |
| 021b | Defined attribute 1 data | 15 microinch | DEFINABLE ATTRIBUTE VALUE |
| 021b | Defined attribute 1 data | 3/4 in ball valve | DEFINABLE ATTRIBUTE VALUE |
| 021b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 022a | Defined attribute 2 name | Mounting hardware | DEFINABLE ATTRIBUTE NAME |
| 022a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 022b | Defined attribute 2 data | double-end support truss | DEFINABLE ATTRIBUTE VALUE |
| 022b | Defined attribute 2 data | mounting bracket | DEFINABLE ATTRIBUTE VALUE |
| 022b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 022b | Defined attribute 2 data | single-end support truss | DEFINABLE ATTRIBUTE VALUE |
| 023 | SENSING ELEMENT | SECTION TITLE |  |
| 024 | Sensor type | multi-point dual element |  |
| 024 | Sensor type | single point dual element |  |
| 024 | Sensor type | single point w/purge |  |
| 024 | Sensor type | single pt triple element |  |
| 025a | Temperature LRL |  |  |
| 025au | Temperature LRL units | °C | UNITS |
| 025au | Temperature LRL units | °F | UNITS |
| 025au | Temperature LRL units | C | UNITS |
| 025au | Temperature LRL units | F | UNITS |
| 025b | Temperature URL |  |  |
| 025bu | Temperature URL units | °C | UNITS |
| 025bu | Temperature URL units | °F | UNITS |
| 025bu | Temperature URL units | C | UNITS |
| 025bu | Temperature URL units | F | UNITS |
| 026a | Minimum flow span |  |  |
| 026au | Minimum flow span units | ncmh | UNITS |
| 026au | Minimum flow span units | nmps | UNITS |
| 026au | Minimum flow span units | scfm | UNITS |
| 026au | Minimum flow span units | sfps | UNITS |
| 026b | Maximum flow span |  |  |
| 026bu | Maximum flow span units | ncmh | UNITS |
| 026bu | Maximum flow span units | nmps | UNITS |
| 026bu | Maximum flow span units | scfm | UNITS |
| 026bu | Maximum flow span units | sfps | UNITS |
| 027 | Qty sensors per element | 1 |  |
| 027 | Qty sensors per element | 2 |  |
| 027 | Qty sensors per element | 3 |  |
| 027 | Qty sensors per element | 4 |  |
| 027 | Qty sensors per element | 5 |  |
| 027 | Qty sensors per element | 6 |  |
| 027 | Qty sensors per element | 7 |  |
| 027 | Qty sensors per element | 8 |  |
| 028 | Extension/Support dia | 0.25 |  |
| 028 | Extension/Support dia | 0.5 |  |
| 028 | Extension/Support dia | 1.0 |  |
| 028u | Extension/Support dia units | in | UNITS |
| 029 | Max/Fixed insertion lg | 1 |  |
| 029 | Max/Fixed insertion lg | 12 |  |
| 029 | Max/Fixed insertion lg | 152 |  |
| 029 | Max/Fixed insertion lg | 18 |  |
| 029 | Max/Fixed insertion lg | 21 |  |
| 029 | Max/Fixed insertion lg | 24 |  |
| 029 | Max/Fixed insertion lg | 3 |  |
| 029 | Max/Fixed insertion lg | 305 |  |
| 029 | Max/Fixed insertion lg | 33 |  |
| 029 | Max/Fixed insertion lg | 36 |  |
| 029 | Max/Fixed insertion lg | 45 |  |
| 029 | Max/Fixed insertion lg | 48 |  |
| 029 | Max/Fixed insertion lg | 533 |  |
| 029 | Max/Fixed insertion lg | 6.0 |  |
| 029 | Max/Fixed insertion lg | 60 |  |
| 029 | Max/Fixed insertion lg | 72 |  |
| 029 | Max/Fixed insertion lg | 9 |  |
| 029u | Max/Fixed insertion lg units | in | UNITS |
| 029u | Max/Fixed insertion lg units | mm | UNITS |
| 030 | Wetted material | 316 SST | MATERIAL |
| 030 | Wetted material | carpenter 20 Cb-3 | MATERIAL |
| 030 | Wetted material | glass coated platinum | MATERIAL |
| 030 | Wetted material | hastelloy B | MATERIAL |
| 030 | Wetted material | hastelloy C | MATERIAL |
| 030 | Wetted material | hastelloy C-276 | MATERIAL |
| 030 | Wetted material | inconel 600 | MATERIAL |
| 030 | Wetted material | monel 400 | MATERIAL |
| 030 | Wetted material | tantalum | MATERIAL |
| 030 | Wetted material | titanium nitride coating | MATERIAL |
| 031 | Extension/Support matl | 304 SST | MATERIAL |
| 031 | Extension/Support matl | 316 SST | MATERIAL |
| 031 | Extension/Support matl | 316L SST | MATERIAL |
| 031 | Extension/Support matl | carpenter 20 | MATERIAL |
| 031 | Extension/Support matl | hastelloy C276 | MATERIAL |
| 031 | Extension/Support matl | NA | MATERIAL |
| 032a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 032a | Defined attribute 1 name | Surface finish | DEFINABLE ATTRIBUTE NAME |
| 032b | Defined attribute 1 data | 20-25 Ra | DEFINABLE ATTRIBUTE VALUE |
| 032b | Defined attribute 1 data | 7-10 Ra | DEFINABLE ATTRIBUTE VALUE |
| 032b | Defined attribute 1 data | electro-polish | DEFINABLE ATTRIBUTE VALUE |
| 032b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 033a | Defined attribute 2 name | Injection tube size | DEFINABLE ATTRIBUTE NAME |
| 033a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 033a | Defined attribute 2 name | Orifice size | DEFINABLE ATTRIBUTE NAME |
| 033b | Defined attribute 2 data | 1/4 in | DEFINABLE ATTRIBUTE VALUE |
| 033b | Defined attribute 2 data | 1/8 in | DEFINABLE ATTRIBUTE VALUE |
| 033b | Defined attribute 2 data | 3/8 in | DEFINABLE ATTRIBUTE VALUE |
| 033b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 034 | LEAD WIRE AND EXTENSION | SECTION TITLE |  |
| 035 | Extension type | integral cable |  |
| 035 | Extension type | interconnection cable |  |
| 035 | Extension type | NA |  |
| 036 | Cable length | 0.5 |  |
| 036 | Cable length | 10 |  |
| 036 | Cable length | 100 |  |
| 036 | Cable length | 15 |  |
| 036 | Cable length | 25 |  |
| 036 | Cable length | 250 |  |
| 036 | Cable length | 3 |  |
| 036 | Cable length | 30 |  |
| 036 | Cable length | 45 |  |
| 036 | Cable length | 50 |  |
| 036 | Cable length | 500 |  |
| 036 | Cable length | 6 |  |
| 036 | Cable length | 7.5 |  |
| 036u | Cable length units | ft | UNITS |
| 036u | Cable length units | m | UNITS |
| 036u | Cable length units | NA | UNITS |
| 037 | Max cable operating temp |  |  |
| 037u | Max cable operating temp units | °C | UNITS |
| 037u | Max cable operating temp units | °F | UNITS |
| 037u | Max cable operating temp units | C | UNITS |
| 037u | Max cable operating temp units | F | UNITS |
| 037u | Max cable operating temp units | NA | UNITS |
| 038 | Signal termination type | NA | END CONNECTION TYPE |
| 038 | Signal termination type | pigtail leads | END CONNECTION TYPE |
| 039 | Cable jacket material | armored polyolefin | MATERIAL |
| 039 | Cable jacket material | inconel sheath | MATERIAL |
| 039 | Cable jacket material | kapton | MATERIAL |
| 039 | Cable jacket material | kapton | MATERIAL |
| 039 | Cable jacket material | NA | MATERIAL |
| 039 | Cable jacket material | polyimide | MATERIAL |
| 039 | Cable jacket material | PVC | MATERIAL |
| 039 | Cable jacket material | teflon | MATERIAL |
| 039 | Cable jacket material | teflon | MATERIAL |
| 039 | Cable jacket material | tefzel | MATERIAL |
| 039 | Cable jacket material | tefzel | MATERIAL |
| 040a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 040b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 041 | CONNECTION HEAD | SECTION TITLE |  |
| 042 | Housing type | explosion proof enclosure | HOUSING |
| 042 | Housing type | NA | HOUSING |
| 042 | Housing type | NEMA type | HOUSING |
| 042 | Housing type | weatherproof enclosure | HOUSING |
| 043 | Enclosure type no/class | 2 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | IP 66 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 044 | Mounting location/type | integral socket mount | MOUNTING POSITION |
| 044 | Mounting location/type | NA | MOUNTING POSITION |
| 044 | Mounting location/type | surface mounted | MOUNTING POSITION |
| 045 | Enclosure material | 316 SST | MATERIAL |
| 045 | Enclosure material | aluminum | MATERIAL |
| 045 | Enclosure material | carbon steel | MATERIAL |
| 045 | Enclosure material | fiberglass | MATERIAL |
| 045 | Enclosure material | NA | MATERIAL |
| 045 | Enclosure material | powder coated aluminum | MATERIAL |
| 045 | Enclosure material | series 300 SST | MATERIAL |
| 046a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 047 | TRANSMITTER w/wo SWITCHES | SECTION TITLE |  |
| 048 | Housing type | explosion proof enclosure | HOUSING |
| 048 | Housing type | NA | HOUSING |
| 048 | Housing type | NEMA type | HOUSING |
| 048 | Housing type | weatherproof enclosure | HOUSING |
| 049 | Aux input signal type | 4-20 mA analog current |  |
| 049 | Aux input signal type | NA |  |
| 050 | Output signal type | 1 analog current | SIGNAL |
| 050 | Output signal type | 1 analog voltage | SIGNAL |
| 050 | Output signal type | 2 analog current | SIGNAL |
| 050 | Output signal type | 2 analog voltage | SIGNAL |
| 050 | Output signal type | 3 analog current | SIGNAL |
| 050 | Output signal type | 3 analog voltage | SIGNAL |
| 050 | Output signal type | 4 analog current | SIGNAL |
| 050 | Output signal type | 4 analog voltage | SIGNAL |
| 050 | Output signal type | 6 analog current | SIGNAL |
| 050 | Output signal type | 6 analog voltage | SIGNAL |
| 050 | Output signal type | 8 analog current | SIGNAL |
| 050 | Output signal type | 8 analog voltage | SIGNAL |
| 050 | Output signal type | analog current,digital | SIGNAL |
| 050 | Output signal type | analog,relay | SIGNAL |
| 050 | Output signal type | NA | SIGNAL |
| 050 | Output signal type | relay | SIGNAL |
| 051 | Enclosure type no/class | 2 | ENCLOSURE TYPE NO/CLASS |
| 051 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 051 | Enclosure type no/class | 4/7 | ENCLOSURE TYPE NO/CLASS |
| 051 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 051 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 051 | Enclosure type no/class | IP 66 | ENCLOSURE TYPE NO/CLASS |
| 051 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 052 | Local operator interface | built-in keypad |  |
| 052 | Local operator interface | infrared keypad |  |
| 052 | Local operator interface | NA |  |
| 052 | Local operator interface | smart communicator |  |
| 053 | Digital communication std | HART protocol |  |
| 053 | Digital communication std | NA |  |
| 053 | Digital communication std | RS232C binary/ASCII |  |
| 053 | Digital communication std | RS422 binary/ASCII |  |
| 053 | Digital communication std | RS485 binary/ASCII |  |
| 054 | Signal power source | 100 V (ac) 50/60 Hz |  |
| 054 | Signal power source | 100-130 V (ac) 60 Hz |  |
| 054 | Signal power source | 115 V (ac) 50/60 Hz |  |
| 054 | Signal power source | 120 V (ac) 50/60 Hz |  |
| 054 | Signal power source | 15 V (dc) |  |
| 054 | Signal power source | 15-18 V (dc) |  |
| 054 | Signal power source | 18-30 V (dc) |  |
| 054 | Signal power source | 200-270 V (ac) 60 Hz |  |
| 054 | Signal power source | 22-30 V (dc) |  |
| 054 | Signal power source | 230 V (ac) 50/60 Hz |  |
| 054 | Signal power source | 24 V (ac) 50/60 Hz |  |
| 054 | Signal power source | 24 V (dc) |  |
| 054 | Signal power source | 240 V (ac) 50/60 Hz |  |
| 054 | Signal power source | 85-265 V (ac), 47-63 Hz |  |
| 054 | Signal power source | 90-110 V (ac) 60 Hz |  |
| 055 | Qty of input sensors | 12 combined velocity/temp |  |
| 055 | Qty of input sensors | 16 combined velocity/temp |  |
| 055 | Qty of input sensors | 1combined velocity/temp |  |
| 055 | Qty of input sensors | 1combined, 3 velocity |  |
| 055 | Qty of input sensors | 2 combined velocity/temp |  |
| 055 | Qty of input sensors | 2 combined, 2 velocity |  |
| 055 | Qty of input sensors | 3 combined velocity/temp |  |
| 055 | Qty of input sensors | 3 combined, 1 velocity |  |
| 055 | Qty of input sensors | 4 combined velocity/temp |  |
| 055 | Qty of input sensors | 4 velocity |  |
| 055 | Qty of input sensors | 5 combined velocity/temp |  |
| 055 | Qty of input sensors | 6 combined velocity/temp |  |
| 055 | Qty of input sensors | 7 combined velocity/temp |  |
| 055 | Qty of input sensors | 8 combined velocity/temp |  |
| 056a | Contacts arrangement | DPDT |  |
| 056a | Contacts arrangement | NA |  |
| 056a | Contacts arrangement | SPST |  |
| 056b | Contacts quantity | 0 |  |
| 056b | Contacts quantity | 1 |  |
| 056b | Contacts quantity | 2 |  |
| 056b | Contacts quantity | 4 |  |
| 056b | Contacts quantity | 8 |  |
| 058 | Integral indicator style | 2 line 16 character LCD |  |
| 058 | Integral indicator style | 3 1/2 digit LCD |  |
| 058 | Integral indicator style | 4 line 20 character LCD |  |
| 058 | Integral indicator style | LED |  |
| 058 | Integral indicator style | NA |  |
| 059 | Readout variables | flow rate |  |
| 059 | Readout variables | flow rate, totalizer |  |
| 059 | Readout variables | flow rate,totalizer,temp |  |
| 059 | Readout variables | NA |  |
| 060 | Readout units | ACFD | UNITS |
| 060 | Readout units | ACFH | UNITS |
| 060 | Readout units | ACFM | UNITS |
| 060 | Readout units | ACMD | UNITS |
| 060 | Readout units | ACMH | UNITS |
| 060 | Readout units | ACMM | UNITS |
| 060 | Readout units | FT/MIN | UNITS |
| 060 | Readout units | FT/SEC | UNITS |
| 060 | Readout units | KG/DAY | UNITS |
| 060 | Readout units | KG/H | UNITS |
| 060 | Readout units | KG/HR | UNITS |
| 060 | Readout units | KG/MIN | UNITS |
| 060 | Readout units | KGH | UNITS |
| 060 | Readout units | LB/DAY | UNITS |
| 060 | Readout units | LB/HR | UNITS |
| 060 | Readout units | LB/MIN | UNITS |
| 060 | Readout units | M/SEC | UNITS |
| 060 | Readout units | NA | UNITS |
| 060 | Readout units | NCMD | UNITS |
| 060 | Readout units | NCMH | UNITS |
| 060 | Readout units | NCMM | UNITS |
| 060 | Readout units | PPH | UNITS |
| 060 | Readout units | SCFD | UNITS |
| 060 | Readout units | SCFH | UNITS |
| 060 | Readout units | SCFM | UNITS |
| 060 | Readout units | SCMF | UNITS |
| 060 | Readout units | SCMH | UNITS |
| 060 | Readout units | SCMM | UNITS |
| 060 | Readout units | SFPM | UNITS |
| 060 | Readout units | SFPS | UNITS |
| 060 | Readout units | SLPM | UNITS |
| 060 | Readout units | SMPS | UNITS |
| 061 | Signal termination type | NA | END CONNECTION TYPE |
| 061 | Signal termination type | plug-in connector | END CONNECTION TYPE |
| 061 | Signal termination type | terminal block | END CONNECTION TYPE |
| 062 | Cert/Approval type | CE marked | CERTIFICATION |
| 062 | Cert/Approval type | CENELEC flameproof | CERTIFICATION |
| 062 | Cert/Approval type | CSA hazardous | CERTIFICATION |
| 062 | Cert/Approval type | CSA non-incendive | CERTIFICATION |
| 062 | Cert/Approval type | FM hazardous | CERTIFICATION |
| 062 | Cert/Approval type | FM non-incendive | CERTIFICATION |
| 062 | Cert/Approval type | NA | CERTIFICATION |
| 063 | Mounting location/type | 19 in DIN rack mount | MOUNTING POSITION |
| 063 | Mounting location/type | bracket mount | MOUNTING POSITION |
| 063 | Mounting location/type | integral socket mount | MOUNTING POSITION |
| 063 | Mounting location/type | mounting bracket | MOUNTING POSITION |
| 063 | Mounting location/type | panel mount | MOUNTING POSITION |
| 063 | Mounting location/type | surface mount | MOUNTING POSITION |
| 064 | Failure/Diagnostic action | field selectable |  |
| 064 | Failure/Diagnostic action | fixed |  |
| 065 | Calibration mode | built-in calibrator |  |
| 065 | Calibration mode | built-in drift check |  |
| 065 | Calibration mode | NA |  |
| 066 | Measurement compensation | NA |  |
| 066 | Measurement compensation | temperature +/- 100 F |  |
| 066 | Measurement compensation | temperature +/- 30 F |  |
| 066 | Measurement compensation | velocity profile |  |
| 066 | Measurement compensation | velocity profile,temp |  |
| 067 | Enclosure material | aluminum | MATERIAL |
| 067 | Enclosure material | fiberglass | MATERIAL |
| 067 | Enclosure material | NA | MATERIAL |
| 067 | Enclosure material | powder coated aluminum | MATERIAL |
| 067 | Enclosure material | powder coated steel | MATERIAL |
| 067 | Enclosure material | series 300 SST | MATERIAL |
| 068a | Defined attribute 1 name | Amplifier gain | DEFINABLE ATTRIBUTE NAME |
| 068a | Defined attribute 1 name | Connection ports | DEFINABLE ATTRIBUTE NAME |
| 068a | Defined attribute 1 name | Display mounting type | DEFINABLE ATTRIBUTE NAME |
| 068a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068a | Defined attribute 1 name | Totalizer reset type | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 1 data | 3x 21mm holes | DEFINABLE ATTRIBUTE VALUE |
| 068b | Defined attribute 1 data | external reset | DEFINABLE ATTRIBUTE VALUE |
| 068b | Defined attribute 1 data | local interface | DEFINABLE ATTRIBUTE VALUE |
| 068b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068b | Defined attribute 1 data | x 10 | DEFINABLE ATTRIBUTE VALUE |
| 068b | Defined attribute 1 data | x 160 | DEFINABLE ATTRIBUTE VALUE |
| 068b | Defined attribute 1 data | x 20 | DEFINABLE ATTRIBUTE VALUE |
| 068b | Defined attribute 1 data | x 40 | DEFINABLE ATTRIBUTE VALUE |
| 068b | Defined attribute 1 data | x 80 | DEFINABLE ATTRIBUTE VALUE |
| 069 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 070a | Max press at design temp |  | PRESSURE |
| 070au | Design pressure units | bar (g) | UNITS |
| 070au | Design pressure units | psig | UNITS |
| 070b | Max design temperature |  | DESIGN TEMPERATURE |
| 070bu | Design temperature units | °C | UNITS |
| 070bu | Design temperature units | °F | UNITS |
| 070bu | Design temperature units | C | UNITS |
| 070bu | Design temperature units | F | UNITS |
| 071a | Min working temperature |  | WORKING TEMPERATURE |
| 071au | Min working temp units | °C | UNITS |
| 071au | Min working temp units | °F | UNITS |
| 071au | Min working temp units | C | UNITS |
| 071au | Min working temp units | F | UNITS |
| 071b | Max working temperature |  | WORKING TEMPERATURE |
| 071bu | Max working temp units | °C | UNITS |
| 071bu | Max working temp units | °F | UNITS |
| 071bu | Max working temp units | C | UNITS |
| 071bu | Max working temp units | F | UNITS |
| 072 | Flow rate accuracy | 1 |  |
| 072 | Flow rate accuracy | 2 |  |
| 072 | Flow rate accuracy | 3 |  |
| 072b | Flow rate accuracy ref | % full scale |  |
| 072b | Flow rate accuracy ref | % reading |  |
| 073 | Temperature accuracy | 1 |  |
| 073 | Temperature accuracy | 2 |  |
| 073u | Temperature accuracy units | °C | UNITS |
| 073u | Temperature accuracy units | °F | UNITS |
| 073u | Temperature accuracy units | C | UNITS |
| 073u | Temperature accuracy units | F | UNITS |
| 074 | Flow repeatability | 0.25 |  |
| 074 | Flow repeatability | 1.0 |  |
| 074 | Flow repeatability | 2.0 |  |
| 074 | Flow repeatability | 5.0 |  |
| 074b | Repeatability reference | % range |  |
| 074b | Repeatability reference | % reading |  |
| 075 | Max flow response time | 0.5 |  |
| 075 | Max flow response time | 1.0 |  |
| 075 | Max flow response time | 100 |  |
| 075u | Response time units | ms | UNITS |
| 075u | Response time units | s | UNITS |
| 076 | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 076au | Min amb working temp units | °C | UNITS |
| 076au | Min amb working temp units | °F | UNITS |
| 076au | Min amb working temp units | C | UNITS |
| 076au | Min amb working temp units | F | UNITS |
| 076b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 076bu | Max amb temperature units | °C | UNITS |
| 076bu | Max amb temperature units | °F | UNITS |
| 076bu | Max amb temperature units | C | UNITS |
| 076bu | Max amb temperature units | F | UNITS |
| 077a | Contacts ac rating | 3 | DEVICE RATING |
| 077a | Contacts ac rating | 5 | DEVICE RATING |
| 077au | AC rating current units | A | UNITS |
| 077b | AC rating max voltage | 24 | DEVICE RATING |
| 077b | AC rating max voltage | 50 | DEVICE RATING |
| 077bu | AC max voltage units | V | UNITS |
| 078a | Contacts dc rating | 10 | DEVICE RATING |
| 078a | Contacts dc rating | 2 | DEVICE RATING |
| 078a | Contacts dc rating | 3 | DEVICE RATING |
| 078a | Contacts dc rating | 5 | DEVICE RATING |
| 078au | DC rating current units | A | UNITS |
| 078b | DC rating max voltage | 24 | DEVICE RATING |
| 078b | DC rating max voltage | 30 | DEVICE RATING |
| 078bu | DC max voltage units | V | UNITS |
| 079 | Max sensor to receiver lg | 1000 |  |
| 079 | Max sensor to receiver lg | 500 |  |
| 079u | Max length units | ft | UNITS |
| 079u | Max length units | m | UNITS |
| 080a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 080b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 081 | ACCESSORIES | SECTION TITLE |  |
| 082 | Sensor cleaning system | 115 V (ac) 50/60 Hz |  |
| 082 | Sensor cleaning system | NA |  |
| 083 | Flow straightener | field kit |  |
| 083 | Flow straightener | flanged meter run |  |
| 083 | Flow straightener | insertion sleeve |  |
| 083 | Flow straightener | NA |  |
| 084 | Enclosure heating kit | NA |  |
| 085 | Calibrator/configurator | NA |  |
| 086a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 088 | Custom tag | adhesive label |  |
| 088 | Custom tag | label,stainless steel tag |  |
| 088 | Custom tag | sst permanent attached |  |
| 088 | Custom tag | sst wired-on |  |
| 089 | Reference specification | NA | REFERENCE SPECIFICATION |
| 090 | Special preparation | NA |  |
| 090 | Special preparation | oxygen service |  |
| 091 | Compliance standard | CFR 40 Part 75 | NACE STANDARD |
| 092 | Calibration report | air equivalent |  |
| 092 | Calibration report | air, extended range |  |
| 092 | Calibration report | air, standard range |  |
| 092 | Calibration report | argon |  |
| 092 | Calibration report | butane |  |
| 092 | Calibration report | carbon dioxide |  |
| 092 | Calibration report | compressed air |  |
| 092 | Calibration report | digester gas 50% CH4 |  |
| 092 | Calibration report | digester gas 70% CH4 |  |
| 092 | Calibration report | ethane |  |
| 092 | Calibration report | ethylene |  |
| 092 | Calibration report | helium |  |
| 092 | Calibration report | hydrogen |  |
| 092 | Calibration report | methane |  |
| 092 | Calibration report | natural gas |  |
| 092 | Calibration report | nitrogen |  |
| 092 | Calibration report | nitrous oxide |  |
| 092 | Calibration report | oxygen |  |
| 092 | Calibration report | propane |  |
| 092 | Calibration report | special gas |  |
| 093 | Software configuration | custom configuration |  |
| 093 | Software configuration | multivariable config |  |
| 093 | Software configuration | NA |  |
| 093 | Software configuration | transmitter configuration |  |
| 094a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 094a | Defined attribute 1 name | Warranty plan | DEFINABLE ATTRIBUTE NAME |
| 094b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 095 | PHYSICAL DATA | SECTION TITLE |  |
| 096 | Estimated weight |  |  |
| 096u | Weight units | kg | UNITS |
| 096u | Weight units | lb | UNITS |
| 097 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 097u | Face-to-face dimension units | in | UNITS |
| 097u | Face-to-face dimension units | mm | UNITS |
| 098 | Overall height |  |  |
| 098u | Overall height units | in | UNITS |
| 098u | Overall height units | mm | UNITS |
| 099 | Removal clearance |  |  |
| 099u | Removal clearance units | in | UNITS |
| 099u | Removal clearance units | mm | UNITS |
| 100a | Signal conn nominal size | 1 in | NOMINAL SIZE |
| 100a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 100a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 100b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 101 | Mfr reference dwg | NA |  |
| 102a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 102b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog flow tag 1 |  |  |
| 112b | Flow-Analog output 1 | CALIBRATION/TEST DESC |  |
| 112c | Analog flow 1 LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Analog flow 1 LRV units | ft3/min (std) | UNITS |
| 112cu | Analog flow 1 LRV units | m3/h (N) | UNITS |
| 112cu | Analog flow 1 LRV units | scfm | UNITS |
| 112d | Analog flow 1 URV |  | UPPER RANGE-VALUE |
| 112du | Analog flow 1 URV units | ft3/min (std) | UNITS |
| 112du | Analog flow 1 URV units | m3/h (N) | UNITS |
| 112du | Analog flow 1 URV units | scfm | UNITS |
| 112e | Analog flow 1 signal action | direct |  |
| 112e | Analog flow 1 signal action | reverse |  |
| 112f | Analog flow 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112f | Analog flow 1 output LRV | 1 | LOWER RANGE-VALUE |
| 112f | Analog flow 1 output LRV | 10 | LOWER RANGE-VALUE |
| 112f | Analog flow 1 output LRV | 4 | LOWER RANGE-VALUE |
| 112fu | Anlg flow 1 output LRV units | mA | UNITS |
| 112fu | Anlg flow 1 output LRV units | V | UNITS |
| 112g | Analog flow 1 output URV | 10 | UPPER RANGE-VALUE |
| 112g | Analog flow 1 output URV | 20 | UPPER RANGE-VALUE |
| 112g | Analog flow 1 output URV | 5 | UPPER RANGE-VALUE |
| 112g | Analog flow 1 output URV | 50 | UPPER RANGE-VALUE |
| 112gu | Anlg flow 1 output URV units | mA | UNITS |
| 112gu | Anlg flow 1 output URV units | V | UNITS |
| 113a | Analog flow tag 2 |  |  |
| 113b | Flow-Analog output 2 | CALIBRATION/TEST DESC |  |
| 113c | Analog flow 2 LRV | 0 | LOWER RANGE-VALUE |
| 113cu | Analog flow 2 LRV units |  | UNITS |
| 113d | Analog flow 2 URV |  | UPPER RANGE-VALUE |
| 113du | Analog flow 2 URV units |  | UNITS |
| 113e | Analog flow 2 signal action | direct |  |
| 113e | Analog flow 2 signal action | reverse |  |
| 113f | Analog v 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113f | Analog v 2 output LRV | 1 | LOWER RANGE-VALUE |
| 113f | Analog v 2 output LRV | 10 | LOWER RANGE-VALUE |
| 113f | Analog v 2 output LRV | 4 | LOWER RANGE-VALUE |
| 113fu | Anlg flow 2 output LRV units | mA | UNITS |
| 113fu | Anlg flow 2 output LRV units | V | UNITS |
| 113g | Analog flow 2 output URV | 10 | UPPER RANGE-VALUE |
| 113g | Analog flow 2 output URV | 20 | UPPER RANGE-VALUE |
| 113g | Analog flow 2 output URV | 5 | UPPER RANGE-VALUE |
| 113g | Analog flow 2 output URV | 50 | UPPER RANGE-VALUE |
| 113gu | Anlg flow 2 output URV units | mA | UNITS |
| 113gu | Anlg flow 2 output URV units | V | UNITS |
| 114a | Analog flow tag 3 |  |  |
| 114b | Flow-Analog output 3 | CALIBRATION/TEST DESC |  |
| 114c | Analog flow 3 LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Analog flow 3 LRV units |  | UNITS |
| 114d | Analog flow 3 URV |  | UPPER RANGE-VALUE |
| 114du | Analog flow 3 URV units |  | UNITS |
| 114e | Analog flow 3 signal action | direct |  |
| 114e | Analog flow 3 signal action | reverse |  |
| 114f | Analog flow 3 output LRV | 0 | LOWER RANGE-VALUE |
| 114f | Analog flow 3 output LRV | 1 | LOWER RANGE-VALUE |
| 114f | Analog flow 3 output LRV | 10 | LOWER RANGE-VALUE |
| 114f | Analog flow 3 output LRV | 4 | LOWER RANGE-VALUE |
| 114fu | Anlg flow 3 output LRV units | mA | UNITS |
| 114fu | Anlg flow 3 output LRV units | V | UNITS |
| 114g | Analog flow 3 output URV | 10 | UPPER RANGE-VALUE |
| 114g | Analog flow 3 output URV | 20 | UPPER RANGE-VALUE |
| 114g | Analog flow 3 output URV | 5 | UPPER RANGE-VALUE |
| 114g | Analog flow 3 output URV | 50 | UPPER RANGE-VALUE |
| 114gu | Anlg flow 3 output URV units | mA | UNITS |
| 114gu | Anlg flow 3 output URV units | V | UNITS |
| 115a | Analog flow tag 4 |  |  |
| 115b | Flow-Analog output 4 | CALIBRATION/TEST DESC |  |
| 115c | Analog flow 4 LRV | 0 | LOWER RANGE-VALUE |
| 115cu | Analog flow 4 LRV units |  | UNITS |
| 115d | Analog flow 4 URV |  | UPPER RANGE-VALUE |
| 115du | Analog flow 4 URV units |  | UNITS |
| 115e | Analog flow 4 signal action | direct |  |
| 115e | Analog flow 4 signal action | reverse |  |
| 115f | Analog flow 4 output LRV | 0 | LOWER RANGE-VALUE |
| 115f | Analog flow 4 output LRV | 1 | LOWER RANGE-VALUE |
| 115f | Analog flow 4 output LRV | 10 | LOWER RANGE-VALUE |
| 115f | Analog flow 4 output LRV | 4 | LOWER RANGE-VALUE |
| 115fu | Anlg flow 4 output LRV units | mA | UNITS |
| 115fu | Anlg flow 4 output LRV units | V | UNITS |
| 115g | Analog flow 4 output URV | 10 | UPPER RANGE-VALUE |
| 115g | Analog flow 4 output URV | 20 | UPPER RANGE-VALUE |
| 115g | Analog flow 4 output URV | 5 | UPPER RANGE-VALUE |
| 115g | Analog flow 4 output URV | 50 | UPPER RANGE-VALUE |
| 115gu | Anlg flow 4 output URV units | mA | UNITS |
| 115gu | Anlg flow 4 output URV units | V | UNITS |
| 116a | Flow scale tag no |  |  |
| 116b | Flow-Scale | CALIBRATION/TEST DESC |  |
| 116c | Scale flow LRV | 0 | LOWER RANGE-VALUE |
| 116cu | Scale flow LRV units | ft3/min (std) | UNITS |
| 116cu | Scale flow LRV units | m3/h (N) | UNITS |
| 116cu | Scale flow LRV units | scfh | UNITS |
| 116cu | Scale flow LRV units | scfm | UNITS |
| 116d | Scale flow URV |  | UPPER RANGE-VALUE |
| 116du | Scale flow URV units | ft3/min (std) | UNITS |
| 116du | Scale flow URV units | m3/h (N) | UNITS |
| 116du | Scale flow URV units | scfh | UNITS |
| 116du | Scale flow URV units | scfm | UNITS |
| 116e | Scale flow signal action | direct |  |
| 116e | Scale flow signal action | reverse |  |
| 116f | Flow scale Lower Range-Value | 0 |  |
| 116fu | Flow scale LRV units | ft3/min (std) | UNITS |
| 116fu | Flow scale LRV units | m3/h (N) | UNITS |
| 116fu | Flow scale LRV units | scfh | UNITS |
| 116fu | Flow scale LRV units | scfm | UNITS |
| 116g | Flow scale Upper Range-Value |  |  |
| 116gu | Flow scale URV units | ft3/min (std) | UNITS |
| 116gu | Flow scale URV units | m3/h (N) | UNITS |
| 116gu | Flow scale URV units | scfh | UNITS |
| 116gu | Flow scale URV units | scfm | UNITS |
| 117a | Temperature scale tag no |  |  |
| 117b | Temperature-Scale | CALIBRATION/TEST DESC |  |
| 117c | Temperature LRV |  | LOWER RANGE-VALUE |
| 117cu | Temperature LRV units | °C | UNITS |
| 117cu | Temperature LRV units | °F | UNITS |
| 117cu | Temperature LRV units | C | UNITS |
| 117cu | Temperature LRV units | F | UNITS |
| 117d | Temperature URV |  | UPPER RANGE-VALUE |
| 117du | Scale temp URV units | °C | UNITS |
| 117du | Scale temp URV units | °F | UNITS |
| 117du | Scale temp URV units | C | UNITS |
| 117du | Scale temp URV units | F | UNITS |
| 117e | Scale temp signal action | direct |  |
| 117e | Scale temp signal action | reverse |  |
| 117f | Temp scale LRV |  | LOWER RANGE-VALUE |
| 117fu | Temp scale LRV units | % | UNITS |
| 117fu | Temp scale LRV units | °C | UNITS |
| 117fu | Temp scale LRV units | °F | UNITS |
| 117fu | Temp scale LRV units | C | UNITS |
| 117fu | Temp scale LRV units | F | UNITS |
| 117g | Temp scale URV |  | UPPER RANGE-VALUE |
| 117gu | Temp scale URV units | % | UNITS |
| 117gu | Temp scale URV units | °C | UNITS |
| 117gu | Temp scale URV units | °F | UNITS |
| 117gu | Temp scale URV units | C | UNITS |
| 117gu | Temp scale URV units | F | UNITS |
| 118a | Temperature tag no |  |  |
| 118b | Temp- Analog output | CALIBRATION/TEST DESC |  |
| 118c | Temperature LRV |  | LOWER RANGE-VALUE |
| 118cu | Temperature LRV units | °C | UNITS |
| 118cu | Temperature LRV units | °F | UNITS |
| 118cu | Temperature LRV units | C | UNITS |
| 118cu | Temperature LRV units | F | UNITS |
| 118d | Temperature URV |  | UPPER RANGE-VALUE |
| 118du | Temperature URV units | °C | UNITS |
| 118du | Temperature URV units | °F | UNITS |
| 118du | Temperature URV units | C | UNITS |
| 118du | Temperature URV units | F | UNITS |
| 118e | Temperature signal action | direct |  |
| 118e | Temperature signal action | reverse |  |
| 118f | Temperature output LRV | 0 | LOWER RANGE-VALUE |
| 118f | Temperature output LRV | 4 | LOWER RANGE-VALUE |
| 118fu | Temperature output LRV units | mA | UNITS |
| 118fu | Temperature output LRV units | V | UNITS |
| 118g | Temperature output URV | 10 | UPPER RANGE-VALUE |
| 118g | Temperature output URV | 20 | UPPER RANGE-VALUE |
| 118gu | Temperature output URV units | mA | UNITS |
| 118gu | Temperature output URV units | V | UNITS |
| 119a | Digital flow tag |  |  |
| 119b | Flow-Digital output | CALIBRATION/TEST DESC |  |
| 119c | Digital flow LRV | 0 | LOWER RANGE-VALUE |
| 119cu | Digital flow LRV units |  | UNITS |
| 119cu | Digital flow LRV units | ft3/min (std) | UNITS |
| 119cu | Digital flow LRV units | m3/h (N) | UNITS |
| 119cu | Digital flow LRV units | scfh | UNITS |
| 119cu | Digital flow LRV units | scfm | UNITS |
| 119d | Digital flow URV |  | UPPER RANGE-VALUE |
| 119du | Digital flow URV units | ft3/min (std) | UNITS |
| 119du | Digital flow URV units | m3/h (N) | UNITS |
| 119du | Digital flow URV units | scfh | UNITS |
| 119du | Digital flow URV units | scfm | UNITS |
| 119e | Digital flow signal action | direct |  |
| 119e | Digital flow signal action | reverse |  |
| 119f | Dgtl flow output LRV | 0 | LOWER RANGE-VALUE |
| 119fu | Dgtl flow output LRV units | ft3/min (std) | UNITS |
| 119fu | Dgtl flow output LRV units | m3/h (N) | UNITS |
| 119fu | Dgtl flow output LRV units | scfh | UNITS |
| 119fu | Dgtl flow output LRV units | scfm | UNITS |
| 119g | Dgtl flow output URV |  | UPPER RANGE-VALUE |
| 119gu | Dgtl flow output URV units | ft3/min (std) | UNITS |
| 119gu | Dgtl flow output URV units | m3/h (N) | UNITS |
| 119gu | Dgtl flow output URV units | scfh | UNITS |
| 119gu | Dgtl flow output URV units | scfm | UNITS |
| 120a | Setpoint 1 tag no |  |  |
| 120b | Flow setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 120c | Setpoint 1 LRV |  | LOWER RANGE-VALUE |
| 120cu | Setpoint 1 LRV units | ft3/min (std) | UNITS |
| 120cu | Setpoint 1 LRV units | m3/h (N) | UNITS |
| 120cu | Setpoint 1 LRV units | scfh | UNITS |
| 120cu | Setpoint 1 LRV units | scfm | UNITS |
| 120d | Setpoint 1 URV |  | UPPER RANGE-VALUE |
| 120du | Setpoint 1 URV units | ft3/min (std) | UNITS |
| 120du | Setpoint 1 URV units | m3/h (N) | UNITS |
| 120du | Setpoint 1 URV units | scfh | UNITS |
| 120du | Setpoint 1 URV units | scfm | UNITS |
| 120e | Setpoint 1 signal action | NC |  |
| 120e | Setpoint 1 signal action | NO |  |
| 120f | Setpoint 1 output LRV | 0 | LOWER RANGE-VALUE |
| 120fu | Setpoint 1 output LRV units | V | UNITS |
| 120g | Setpoint 1 output URV | 120 | UPPER RANGE-VALUE |
| 120g | Setpoint 1 output URV | 24 | UPPER RANGE-VALUE |
| 120gu | Setpoint 1 output URV units | V | UNITS |
| 121a | Setpoint 2 tag no |  |  |
| 121b | Flow setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 121c | Setpoint 2 LRV |  | LOWER RANGE-VALUE |
| 121cu | Setpoint 2 LRV units | ft3/min (std) | UNITS |
| 121cu | Setpoint 2 LRV units | m3/h (N) | UNITS |
| 121cu | Setpoint 2 LRV units | scfh | UNITS |
| 121cu | Setpoint 2 LRV units | scfm | UNITS |
| 121d | Setpoint 2 URV |  | UPPER RANGE-VALUE |
| 121du | Setpoint 2 URV units | ft3/min (std) | UNITS |
| 121du | Setpoint 2 URV units | m3/h (N) | UNITS |
| 121du | Setpoint 2 URV units | scfh | UNITS |
| 121du | Setpoint 2 URV units | scfm | UNITS |
| 121e | Setpoint 2 signal action | NC |  |
| 121e | Setpoint 2 signal action | NO |  |
| 121f | Setpoint 2 output LRV | 0 | LOWER RANGE-VALUE |
| 121fu | Setpoint 2 output LRV units | V | UNITS |
| 121g | Setpoint 2 output URV | 120 | UPPER RANGE-VALUE |
| 121g | Setpoint 2 output URV | 24 | UPPER RANGE-VALUE |
| 121gu | Setpoint 2 output URV units | V | UNITS |
| 122a | Attribute tag no |  |  |
| 122b | Attribute cal/test descp |  |  |
| 122c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 122cu | Attr cal/test LRV units |  | UNITS |
| 122d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 122du | Attr cal/test URV units |  | UNITS |
| 122e | Attribute cal/test action |  |  |
| 122f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 122fu | Attr output LRV units |  | UNITS |
| 122g | Attribute output URV |  | UPPER RANGE-VALUE |
| 122gu | Attr output URV units |  | UNITS |
| 123 | COMPONENT IDENTIFICATION | SECTION TITLE |  |
| 125a | Component type | thermal mass flow element |  |
| 125b | Manufacturer |  | MANUFACTURER |
| 125c | Model number |  | MODEL NUMBER |
| 126a | Component type | thermal mass flowmeter |  |
| 126b | Manufacturer |  | MANUFACTURER |
| 126c | Model number |  | MODEL NUMBER |
| 127a | Component type |  |  |
| 127b | Manufacturer |  | MANUFACTURER |
| 127c | Model number |  | MODEL NUMBER |
| 128a | Component type |  |  |
| 128b | Manufacturer |  | MANUFACTURER |
| 128c | Model number |  | MODEL NUMBER |