| Picklist 20F2421 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | FLOWMETER BODY | SECTION TITLE |  |
| 012 | Body/Housing type | all plastic |  |
| 012 | Body/Housing type | cast case design |  |
| 012 | Body/Housing type | double case |  |
| 012 | Body/Housing type | economical industrial |  |
| 012 | Body/Housing type | gauge taps housing |  |
| 012 | Body/Housing type | high pressure boltless |  |
| 012 | Body/Housing type | high pressure design |  |
| 012 | Body/Housing type | industrial |  |
| 012 | Body/Housing type | jacketed housing |  |
| 012 | Body/Housing type | jacketed housing & cover |  |
| 012 | Body/Housing type | low flow design |  |
| 012 | Body/Housing type | sanitary |  |
| 012 | Body/Housing type | standard |  |
| 012 | Body/Housing type | steel case design |  |
| 012 | Body/Housing type | thermowell housing |  |
| 012 | Body/Housing type | thermowell jacket housing |  |
| 013a | Inlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 1/8 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 3 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 3/8 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 4 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 5/8 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 6 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 8 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | 9/16 in | NOMINAL SIZE |
| 013a | Inlet conn nominal size | DN 100 | NOMINAL SIZE |
| 013a | Inlet conn nominal size | DN 15 | NOMINAL SIZE |
| 013a | Inlet conn nominal size | DN 150 | NOMINAL SIZE |
| 013a | Inlet conn nominal size | DN 20 | NOMINAL SIZE |
| 013a | Inlet conn nominal size | DN 25 | NOMINAL SIZE |
| 013a | Inlet conn nominal size | DN 40 | NOMINAL SIZE |
| 013a | Inlet conn nominal size | DN 50 | NOMINAL SIZE |
| 013a | Inlet conn nominal size | DN 80 | NOMINAL SIZE |
| 013b | Inlet conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | PN 300 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | PN 320 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | PN 52 | NOMINAL PRESSURE/RATING |
| 013b | Inlet conn nominal rating | PN 64 | NOMINAL PRESSURE/RATING |
| 014a | Outlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 1 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 1/16 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 1/4 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 1/8 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 2 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 3 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 3/8 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 4 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 5/8 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 6 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 8 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | 9/16 in | NOMINAL SIZE |
| 014a | Outlet conn nominal size | DN 100 | NOMINAL SIZE |
| 014a | Outlet conn nominal size | DN 15 | NOMINAL SIZE |
| 014a | Outlet conn nominal size | DN 150 | NOMINAL SIZE |
| 014a | Outlet conn nominal size | DN 20 | NOMINAL SIZE |
| 014a | Outlet conn nominal size | DN 25 | NOMINAL SIZE |
| 014a | Outlet conn nominal size | DN 40 | NOMINAL SIZE |
| 014a | Outlet conn nominal size | DN 50 | NOMINAL SIZE |
| 014a | Outlet conn nominal size | DN 80 | NOMINAL SIZE |
| 014b | Outlet conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | PN 300 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | PN 320 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | PN 52 | NOMINAL PRESSURE/RATING |
| 014b | Outlet conn nominal rating | PN 64 | NOMINAL PRESSURE/RATING |
| 015a | End conn termn type | clamped | END CONNECTION TYPE |
| 015a | End conn termn type | flanged | END CONNECTION TYPE |
| 015a | End conn termn type | threaded | END CONNECTION TYPE |
| 015b | End conn termn style | 7/8-14 SAE | END CONNECTION TYPE |
| 015b | End conn termn style | autoclave | END CONNECTION TYPE |
| 015b | End conn termn style | brodie | END CONNECTION TYPE |
| 015b | End conn termn style | BSP(F) | END CONNECTION TYPE |
| 015b | End conn termn style | BSPP(F) | END CONNECTION TYPE |
| 015b | End conn termn style | companion | END CONNECTION TYPE |
| 015b | End conn termn style | coupling | END CONNECTION TYPE |
| 015b | End conn termn style | DIN 2501 | END CONNECTION TYPE |
| 015b | End conn termn style | DIN 2526 | END CONNECTION TYPE |
| 015b | End conn termn style | ferrule | END CONNECTION TYPE |
| 015b | End conn termn style | FF | END CONNECTION TYPE |
| 015b | End conn termn style | IMDA | END CONNECTION TYPE |
| 015b | End conn termn style | JIS | END CONNECTION TYPE |
| 015b | End conn termn style | LJ | END CONNECTION TYPE |
| 015b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 015b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 015b | End conn termn style | RF | END CONNECTION TYPE |
| 015b | End conn termn style | split-ring | END CONNECTION TYPE |
| 015b | End conn termn style | spud | END CONNECTION TYPE |
| 015b | End conn termn style | Tri-clamp | END CONNECTION TYPE |
| 015b | End conn termn style | Tri-clover | END CONNECTION TYPE |
| 016 | Flow direction/Mounting | bottom-to-top |  |
| 016 | Flow direction/Mounting | bottom-to-top, left conn |  |
| 016 | Flow direction/Mounting | bottom-to-top, right conn |  |
| 016 | Flow direction/Mounting | left-to-right |  |
| 016 | Flow direction/Mounting | left-to-right, lower conn |  |
| 016 | Flow direction/Mounting | left-to-right, upper conn |  |
| 016 | Flow direction/Mounting | right-to-left |  |
| 016 | Flow direction/Mounting | right-to-left, lower conn |  |
| 016 | Flow direction/Mounting | right-to-left, upper conn |  |
| 016 | Flow direction/Mounting | top-to-bottom |  |
| 016 | Flow direction/Mounting | top-to-bottom, left conn |  |
| 016 | Flow direction/Mounting | top-to-bottom, right conn |  |
| 017 | Body/Housing material | 1010/1020 carbon steel | MATERIAL |
| 017 | Body/Housing material | 300 series SST | MATERIAL |
| 017 | Body/Housing material | 303 SST | MATERIAL |
| 017 | Body/Housing material | 316 SST | MATERIAL |
| 017 | Body/Housing material | 316L SST | MATERIAL |
| 017 | Body/Housing material | 6061-T6 aluminum | MATERIAL |
| 017 | Body/Housing material | aluminum | MATERIAL |
| 017 | Body/Housing material | brass | MATERIAL |
| 017 | Body/Housing material | bronze | MATERIAL |
| 017 | Body/Housing material | carbon steel | MATERIAL |
| 017 | Body/Housing material | carbon steel,epoxy coated | MATERIAL |
| 017 | Body/Housing material | cast iron | MATERIAL |
| 017 | Body/Housing material | CF8M stainless steel | MATERIAL |
| 017 | Body/Housing material | ductile iron | MATERIAL |
| 017 | Body/Housing material | epoxy coated steel | MATERIAL |
| 017 | Body/Housing material | PPS | MATERIAL |
| 017 | Body/Housing material | PVDF | MATERIAL |
| 017 | Body/Housing material | thermoplastic | MATERIAL |
| 017 | Body/Housing material | UHMWPE | MATERIAL |
| 018 | Cap/End cover material | 316 SST | MATERIAL |
| 018 | Cap/End cover material | aluminum | MATERIAL |
| 018 | Cap/End cover material | bronze | MATERIAL |
| 018 | Cap/End cover material | cast iron | MATERIAL |
| 018 | Cap/End cover material | NA | MATERIAL |
| 018 | Cap/End cover material | PPS | MATERIAL |
| 018 | Cap/End cover material | PVDF | MATERIAL |
| 018 | Cap/End cover material | UHMWPE | MATERIAL |
| 019 | Seal/O ring material | buna N | MATERIAL |
| 019 | Seal/O ring material | Chemraz | MATERIAL |
| 019 | Seal/O ring material | EPDM | MATERIAL |
| 019 | Seal/O ring material | EPR | MATERIAL |
| 019 | Seal/O ring material | Kalrez | MATERIAL |
| 019 | Seal/O ring material | NA | MATERIAL |
| 019 | Seal/O ring material | nitrile | MATERIAL |
| 019 | Seal/O ring material | silicone | MATERIAL |
| 019 | Seal/O ring material | teflon coated inconel 718 | MATERIAL |
| 019 | Seal/O ring material | teflon encapsulated viton | MATERIAL |
| 019 | Seal/O ring material | Teflon | MATERIAL |
| 019 | Seal/O ring material | Viton | MATERIAL |
| 019 | Seal/O ring material | Viton /PFA | MATERIAL |
| 020a | Defined attribute 1 name | Coupling tailpiece | DEFINABLE ATTRIBUTE NAME |
| 020a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 1 data | 1 1/4 in x 1 in | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 1 data | 1 in x 3/4 in | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 1 data | 3/4 in x 1/2 in | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 021a | Defined attribute 2 name | Partition material | DEFINABLE ATTRIBUTE NAME |
| 021b | Defined attribute 2 data | 316L SST | DEFINABLE ATTRIBUTE VALUE |
| 021b | Defined attribute 2 data | ceramic | DEFINABLE ATTRIBUTE VALUE |
| 021b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 022 | MEASURING CHAMBER | SECTION TITLE |  |
| 023 | Displacement element type | double helical impellers |  |
| 023 | Displacement element type | four radial pistons |  |
| 023 | Displacement element type | multi-piston |  |
| 023 | Displacement element type | nutating disc |  |
| 023 | Displacement element type | oscillating piston |  |
| 023 | Displacement element type | oval gear |  |
| 023 | Displacement element type | roots |  |
| 023 | Displacement element type | rotating impellers |  |
| 023 | Displacement element type | sliding vanes |  |
| 023 | Displacement element type | spiral fluted rotors |  |
| 023 | Displacement element type | three-rotors |  |
| 024 | Construction style | high temp, high viscosity |  |
| 024 | Construction style | high temperature |  |
| 024 | Construction style | high viscosity |  |
| 024 | Construction style | integral bearing |  |
| 024 | Construction style | low temperature |  |
| 024 | Construction style | normal temp, grooved |  |
| 024 | Construction style | normal temperature |  |
| 024 | Construction style | standard |  |
| 024 | Construction style | tight geometry |  |
| 025 | Nominal meter size | 1 1/2 inch |  |
| 025 | Nominal meter size | 1 inch |  |
| 025 | Nominal meter size | 1/2 inch |  |
| 025 | Nominal meter size | 100 gpm |  |
| 025 | Nominal meter size | 1000 gpm |  |
| 025 | Nominal meter size | 1325 L/min |  |
| 025 | Nominal meter size | 150 gpm |  |
| 025 | Nominal meter size | 1700 L/min |  |
| 025 | Nominal meter size | 2 inch |  |
| 025 | Nominal meter size | 200 gpm |  |
| 025 | Nominal meter size | 2271 L/min |  |
| 025 | Nominal meter size | 2650 L/min |  |
| 025 | Nominal meter size | 2650 L/min |  |
| 025 | Nominal meter size | 3/4 inch |  |
| 025 | Nominal meter size | 30 gpm |  |
| 025 | Nominal meter size | 300 gpm |  |
| 025 | Nominal meter size | 3000 L/min |  |
| 025 | Nominal meter size | 350 gpm |  |
| 025 | Nominal meter size | 3785 L/min |  |
| 025 | Nominal meter size | 3785 L/min |  |
| 025 | Nominal meter size | 380 L/min |  |
| 025 | Nominal meter size | 450 gpm |  |
| 025 | Nominal meter size | 5/8 inch |  |
| 025 | Nominal meter size | 60 gpm |  |
| 025 | Nominal meter size | 600 gpm |  |
| 025 | Nominal meter size | 700 gpm |  |
| 025 | Nominal meter size | 760 L/min |  |
| 025 | Nominal meter size | 800 gpm |  |
| 025 | Nominal meter size | NA |  |
| 026 | Sensor style | hall effect switch |  |
| 026 | Sensor style | magnetic pick-up |  |
| 026 | Sensor style | NA |  |
| 026 | Sensor style | proximity switch |  |
| 026 | Sensor style | reed switch |  |
| 026 | Sensor style | slot initiator DIN 19234 |  |
| 026 | Sensor style | surface reference pickoff |  |
| 027 | Displacement element matl | 17-4 PH SST | MATERIAL |
| 027 | Displacement element matl | 316 SST | MATERIAL |
| 027 | Displacement element matl | 4140 CS, nitrided | MATERIAL |
| 027 | Displacement element matl | aluminum | MATERIAL |
| 027 | Displacement element matl | carbon-filled teflon | MATERIAL |
| 027 | Displacement element matl | cast iron | MATERIAL |
| 027 | Displacement element matl | HTC | MATERIAL |
| 027 | Displacement element matl | Kynar | MATERIAL |
| 027 | Displacement element matl | liquid crystal polymer | MATERIAL |
| 027 | Displacement element matl | PEEK | MATERIAL |
| 027 | Displacement element matl | PPS | MATERIAL |
| 027 | Displacement element matl | PTFE | MATERIAL |
| 027 | Displacement element matl | Ryton | MATERIAL |
| 027 | Displacement element matl | SAN | MATERIAL |
| 027 | Displacement element matl | UHMWPE | MATERIAL |
| 027 | Displacement element matl | ultem | MATERIAL |
| 027 | Displacement element matl | Ultem | MATERIAL |
| 028 | Measuring chamber matl | alloy 20 | MATERIAL |
| 028 | Measuring chamber matl | aluminum | MATERIAL |
| 028 | Measuring chamber matl | liquid crystal polymer | MATERIAL |
| 028 | Measuring chamber matl | NA | MATERIAL |
| 028 | Measuring chamber matl | Noryl | MATERIAL |
| 029 | Bearing/Bushing matl | 440 C SST | MATERIAL |
| 029 | Bearing/Bushing matl | black rulon | MATERIAL |
| 029 | Bearing/Bushing matl | carbon | MATERIAL |
| 029 | Bearing/Bushing matl | carbon ceramic | MATERIAL |
| 029 | Bearing/Bushing matl | carbon filled teflon | MATERIAL |
| 029 | Bearing/Bushing matl | NA | MATERIAL |
| 029 | Bearing/Bushing matl | Ni-Resist | MATERIAL |
| 029 | Bearing/Bushing matl | PEEK | MATERIAL |
| 029 | Bearing/Bushing matl | PPS | MATERIAL |
| 029 | Bearing/Bushing matl | Teflon | MATERIAL |
| 029 | Bearing/Bushing matl | Waukesha | MATERIAL |
| 029 | Bearing/Bushing matl | white rulon | MATERIAL |
| 030 | Shaft material | 316 SST | MATERIAL |
| 030 | Shaft material | chrome plated | MATERIAL |
| 030 | Shaft material | ETD 150 | MATERIAL |
| 030 | Shaft material | hastelloy C | MATERIAL |
| 030 | Shaft material | NA | MATERIAL |
| 030 | Shaft material | PPS | MATERIAL |
| 030 | Shaft material | tantalum | MATERIAL |
| 030 | Shaft material | tungsten carbide | MATERIAL |
| 031a | Defined attribute 1 name | Integral screen | DEFINABLE ATTRIBUTE NAME |
| 031a | Defined attribute 1 name | Magnet casing | DEFINABLE ATTRIBUTE NAME |
| 031a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 1 data | alloy 20 | DEFINABLE ATTRIBUTE VALUE |
| 031b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031b | Defined attribute 1 data | Nylon | DEFINABLE ATTRIBUTE VALUE |
| 031b | Defined attribute 1 data | polypropylene material | DEFINABLE ATTRIBUTE VALUE |
| 032a | Defined attribute 2 name | Control roller | DEFINABLE ATTRIBUTE NAME |
| 032a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 032b | Defined attribute 2 data | alloy 20 | DEFINABLE ATTRIBUTE VALUE |
| 032b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 033 | DRIVE TRAIN AND ADJUSTER | SECTION TITLE |  |
| 034 | Drive type | gear train |  |
| 034 | Drive type | magnetic transmission |  |
| 034 | Drive type | NA |  |
| 035 | Accuracy adjuster type | calibration constants |  |
| 035 | Accuracy adjuster type | change gears |  |
| 035 | Accuracy adjuster type | mechanical adjuster |  |
| 035 | Accuracy adjuster type | NA |  |
| 036 | Temp compensation type | automatic |  |
| 036 | Temp compensation type | fluid-filled capillary |  |
| 036 | Temp compensation type | NA |  |
| 037a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 037b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 038a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 039 | TRANSMITTER OR TOTALIZER w/wo SWITCHES | SECTION TITLE |  |
| 040 | Configuration type | batch controller |  |
| 040 | Configuration type | counter & preset counter |  |
| 040 | Configuration type | counter register |  |
| 040 | Configuration type | electronic register |  |
| 040 | Configuration type | flow switch |  |
| 040 | Configuration type | incremental pulse encoder |  |
| 040 | Configuration type | inductive pulse xmtr |  |
| 040 | Configuration type | magnetic pulse xmtr |  |
| 040 | Configuration type | mechanical register |  |
| 040 | Configuration type | totalizer & pulse xmtr |  |
| 041 | Aux input signal type | NA |  |
| 041 | Aux input signal type | RTD copper 100 ohm |  |
| 041 | Aux input signal type | RTD Pt 100 ohm |  |
| 042 | Output signal type | 2 pulse,low rate | SIGNAL |
| 042 | Output signal type | analog current | SIGNAL |
| 042 | Output signal type | analog voltage | SIGNAL |
| 042 | Output signal type | dry contact | SIGNAL |
| 042 | Output signal type | NA | SIGNAL |
| 042 | Output signal type | pulse,high rate | SIGNAL |
| 042 | Output signal type | pulse,low rate | SIGNAL |
| 042 | Output signal type | scalable pulse | SIGNAL |
| 042 | Output signal type | TTL compatible | SIGNAL |
| 043 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | IP 55 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 043 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 044 | Control mode | dual stage actuation | CONTROL MODE |
| 044 | Control mode | NA | CONTROL MODE |
| 044 | Control mode | single stage actuation | CONTROL MODE |
| 045 | Digital communication std | HART protocol |  |
| 045 | Digital communication std | NA |  |
| 045 | Digital communication std | RS232C binary/ASCII |  |
| 045 | Digital communication std | RS485 binary/ASCII |  |
| 046 | Signal power source | 10-30 V(dc) |  |
| 046 | Signal power source | 12-24 V(dc) |  |
| 046 | Signal power source | 12-35 V(dc) |  |
| 046 | Signal power source | 5-24 V(dc) |  |
| 046 | Signal power source | 6-28 V(dc) |  |
| 046 | Signal power source | 8-30 V(dc) |  |
| 046 | Signal power source | 85-250 V(ac) |  |
| 046 | Signal power source | lithium battery |  |
| 046 | Signal power source | NA |  |
| 047 | Totalizer reset style | NA |  |
| 047 | Totalizer reset style | non-reset able total |  |
| 047 | Totalizer reset style | reset able total |  |
| 048a | Contacts arrangement | SPST |  |
| 048b | Contacts quantity | 2 |  |
| 049 | Pusle per revolution | 1 pulse per revolution |  |
| 049 | Pusle per revolution | 10 pulse per revolution |  |
| 049 | Pusle per revolution | 100 pulse per revolution |  |
| 049 | Pusle per revolution | 1024 pulse per revolution |  |
| 049 | Pusle per revolution | 50 pulse per revolution |  |
| 049 | Pusle per revolution | NA |  |
| 050 | Integral indicator style | 10 digit LCD |  |
| 050 | Integral indicator style | 5 digit LCD |  |
| 050 | Integral indicator style | 6 & 7 digit LCD |  |
| 050 | Integral indicator style | 6 digit LCD |  |
| 050 | Integral indicator style | 6 wheels & sweep hand |  |
| 050 | Integral indicator style | 7 & 11 digit LCD |  |
| 050 | Integral indicator style | 7 digit LCD |  |
| 050 | Integral indicator style | 7 digit LCD,preset batch |  |
| 050 | Integral indicator style | 8 digit LCD |  |
| 050 | Integral indicator style | large dial w/ 1/10 units |  |
| 050 | Integral indicator style | large dial whole units |  |
| 050 | Integral indicator style | NA |  |
| 051 | Signal termination type | 1 m flying lead | END CONNECTION TYPE |
| 051 | Signal termination type | 4-pin receptacle | END CONNECTION TYPE |
| 051 | Signal termination type | 6-pin receptacle | END CONNECTION TYPE |
| 051 | Signal termination type | integral cable | END CONNECTION TYPE |
| 051 | Signal termination type | NA | END CONNECTION TYPE |
| 051 | Signal termination type | quick-disconnect | END CONNECTION TYPE |
| 052 | Cert/Approval type | CE marked | CERTIFICATION |
| 052 | Cert/Approval type | CENELEC flameproof | CERTIFICATION |
| 052 | Cert/Approval type | CENELEC intrinsic safe | CERTIFICATION |
| 052 | Cert/Approval type | cUL hazardous | CERTIFICATION |
| 052 | Cert/Approval type | cUL intrinsic safe | CERTIFICATION |
| 052 | Cert/Approval type | NA | CERTIFICATION |
| 052 | Cert/Approval type | PTB intrinsic safe | CERTIFICATION |
| 052 | Cert/Approval type | UL hazardous | CERTIFICATION |
| 052 | Cert/Approval type | UL intrinsic safe | CERTIFICATION |
| 052 | Cert/Approval type | UL non-incendive | CERTIFICATION |
| 053 | Mounting location/type | integral | MOUNTING POSITION |
| 053 | Mounting location/type | panel mount | MOUNTING POSITION |
| 053 | Mounting location/type | pipe mount | MOUNTING POSITION |
| 053 | Mounting location/type | wall mount | MOUNTING POSITION |
| 054 | Integral printer style | ticket printer |  |
| 055 | Enclosure material | glass filled nylon | MATERIAL |
| 055 | Enclosure material | thermoplastic | MATERIAL |
| 056a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 056a | Defined attribute 1 name | Resister extension | DEFINABLE ATTRIBUTE NAME |
| 056b | Defined attribute 1 data | 7.5 in | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 057a | Defined attribute 2 name | Integral cable length | DEFINABLE ATTRIBUTE NAME |
| 057a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 057a | Defined attribute 2 name | Printer language | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 2 data | 12 in | DEFINABLE ATTRIBUTE VALUE |
| 057b | Defined attribute 2 data | 6 ft | DEFINABLE ATTRIBUTE VALUE |
| 057b | Defined attribute 2 data | english | DEFINABLE ATTRIBUTE VALUE |
| 057b | Defined attribute 2 data | french | DEFINABLE ATTRIBUTE VALUE |
| 057b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 057b | Defined attribute 2 data | portuguese | DEFINABLE ATTRIBUTE VALUE |
| 057b | Defined attribute 2 data | spanish | DEFINABLE ATTRIBUTE VALUE |
| 057b | Defined attribute 2 data | swiss/german | DEFINABLE ATTRIBUTE VALUE |
| 058 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 059a | Max press at design temp |  | PRESSURE |
| 059au | Design pressure units | bar(g) | UNITS |
| 059au | Design pressure units | kPa | UNITS |
| 059au | Design pressure units | psig | UNITS |
| 059b | Max design temperature |  | DESIGN TEMPERATURE |
| 059bu | Design temperature units | °C | UNITS |
| 059bu | Design temperature units | °F | UNITS |
| 059bu | Design temperature units | C | UNITS |
| 059bu | Design temperature units | F | UNITS |
| 060a | Min working temperature |  | WORKING TEMPERATURE |
| 060au | Min working temp units | °C | UNITS |
| 060au | Min working temp units | °F | UNITS |
| 060au | Min working temp units | C | UNITS |
| 060au | Min working temp units | F | UNITS |
| 060b | Max working temperature |  | WORKING TEMPERATURE |
| 060bu | Max working temp units | °C | UNITS |
| 060bu | Max working temp units | °F | UNITS |
| 060bu | Max working temp units | C | UNITS |
| 060bu | Max working temp units | F | UNITS |
| 061 | Max viscosity limit | 1000 |  |
| 061 | Max viscosity limit | 10000 |  |
| 061 | Max viscosity limit | 1000000 |  |
| 061u | Max viscosity limit units | cP | UNITS |
| 062a | Accuracy rating | 0.15 | ACCURACY RATING |
| 062a | Accuracy rating | 0.25 | ACCURACY RATING |
| 062a | Accuracy rating | 0.3 | ACCURACY RATING |
| 062a | Accuracy rating | 0.5 | ACCURACY RATING |
| 062a | Accuracy rating | 1.0 | ACCURACY RATING |
| 062a | Accuracy rating | 1.5 | ACCURACY RATING |
| 062b | Accuracy rating ref base | % actual value | ACCURACY REFERENCE |
| 062b | Accuracy rating ref base | % rate | ACCURACY REFERENCE |
| 062b | Accuracy rating ref base | % reading | ACCURACY REFERENCE |
| 063a | Repeatability | 0.03 |  |
| 063a | Repeatability | 0.05 |  |
| 063a | Repeatability | 0.1 |  |
| 063a | Repeatability | 0.2 |  |
| 063a | Repeatability | 0.24 |  |
| 063a | Repeatability | 0.5 |  |
| 063b | Repeatability ref | % |  |
| 063b | Repeatability ref | % rate |  |
| 063b | Repeatability ref | % reading |  |
| 064a | Flow rate LRL |  | LOWER RANGE-LIMIT |
| 064au | Flow rate LRL units | bbl/h | UNITS |
| 064au | Flow rate LRL units | cm3/min | UNITS |
| 064au | Flow rate LRL units | galUS/h | UNITS |
| 064au | Flow rate LRL units | galUS/min | UNITS |
| 064au | Flow rate LRL units | l/h | UNITS |
| 064au | Flow rate LRL units | l/min | UNITS |
| 064au | Flow rate LRL units | m3/h | UNITS |
| 064au | Flow rate LRL units | m3/s | UNITS |
| 064b | Flow rate URL |  |  |
| 064bu | Flow rate URL units | bbl/h | UNITS |
| 064bu | Flow rate URL units | cm3/min | UNITS |
| 064bu | Flow rate URL units | galUS/h | UNITS |
| 064bu | Flow rate URL units | galUS/min | UNITS |
| 064bu | Flow rate URL units | l/h | UNITS |
| 064bu | Flow rate URL units | l/min | UNITS |
| 064bu | Flow rate URL units | m3/h | UNITS |
| 064bu | Flow rate URL units | m3/s | UNITS |
| 065 | Meter mean K-factor |  | RATED FLOW COEFF |
| 065u | Meter mean K-factor | pulse/cc | UNITS |
| 065u | Mean K-factor Units | pulse/gallon | UNITS |
| 065u | Mean K-factor Units | pulse/Liter | UNITS |
| 066 | Recommended filter size | 0.05 mm |  |
| 066 | Recommended filter size | 0.100 mm |  |
| 066 | Recommended filter size | 0.250 mm |  |
| 066 | Recommended filter size | 0.400 mm |  |
| 066 | Recommended filter size | 0.600 mm |  |
| 066 | Recommended filter size | 10 micron |  |
| 066 | Recommended filter size | 100 mesh |  |
| 066 | Recommended filter size | 150 micron |  |
| 066 | Recommended filter size | 200 mesh |  |
| 066 | Recommended filter size | 250 micron |  |
| 066 | Recommended filter size | 280 mesh |  |
| 066 | Recommended filter size | 40 mesh |  |
| 066 | Recommended filter size | 50 mesh |  |
| 066 | Recommended filter size | 60 mesh |  |
| 066 | Recommended filter size | 625 mesh |  |
| 066 | Recommended filter size | 80 mesh |  |
| 066 | Recommended filter size | NA |  |
| 067 | Pressure drop at URL |  |  |
| 067u | Pressure drop units | bar | UNITS |
| 067u | Pressure drop units | psi | UNITS |
| 068a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 068au | Min amb temperature units | °C | UNITS |
| 068au | Min amb temperature units | °F | UNITS |
| 068au | Min amb temperature units | C | UNITS |
| 068au | Min amb temperature units | F | UNITS |
| 068b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 068bu | Max amb temperature units | °C | UNITS |
| 068bu | Max amb temperature units | °F | UNITS |
| 068bu | Max amb temperature units | C | UNITS |
| 068bu | Max amb temperature units | F | UNITS |
| 069a | Contacts ac rating |  | DEVICE RATING |
| 069au | AC rating current units | A | UNITS |
| 069b | AC rating max voltage |  | DEVICE RATING |
| 069bu | AC max voltage units | V | UNITS |
| 070a | Contacts dc rating |  | DEVICE RATING |
| 070au | DC rating current units | A | UNITS |
| 070b | DC rating max voltage |  | DEVICE RATING |
| 070bu | DC max voltage units | V | UNITS |
| 071 | Max sensor to receiver lg |  |  |
| 071u | Sensor to receiver lg units | ft | UNITS |
| 071u | Sensor to receiver lg units | m | UNITS |
| 072a | Defined attribute 1 name | Minimum back pressure | DEFINABLE ATTRIBUTE NAME |
| 072a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 073a | Defined attribute 2 name | Max press diff limit | DEFINABLE ATTRIBUTE NAME |
| 073a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075 | ACCESSORIES | SECTION TITLE |  |
| 076 | Strainer | bulk plant, carbon steel |  |
| 076 | Strainer | high capacity,check valve |  |
| 076 | Strainer | integral, aluminum |  |
| 076 | Strainer | integral, brass |  |
| 076 | Strainer | integral, cast iron |  |
| 076 | Strainer | integral, stainless steel |  |
| 076 | Strainer | NA |  |
| 077 | Strainer mesh size | 100 mesh |  |
| 077 | Strainer mesh size | 20 mesh |  |
| 077 | Strainer mesh size | 200 mesh |  |
| 077 | Strainer mesh size | 40 mesh |  |
| 077 | Strainer mesh size | 80 mesh |  |
| 077 | Strainer mesh size | NA |  |
| 078 | Valve style | ball check, aluminum |  |
| 078 | Valve style | differential check, al |  |
| 078 | Valve style | differential, aluminum |  |
| 078 | Valve style | differential, cast iron |  |
| 078 | Valve style | digital control, steel |  |
| 078 | Valve style | mechanical, aluminum |  |
| 078 | Valve style | mechanical, cast steel |  |
| 078 | Valve style | NA |  |
| 078 | Valve style | pilot-operated, steel |  |
| 078 | Valve style | solenoid operated, al |  |
| 078 | Valve style | sprin-loaded check, steel |  |
| 079 | Lubrication systen | Automatic pressurized |  |
| 079 | Lubrication systen | NA |  |
| 080 | Air/Vapor eliminator | bulk plant, carbon steel |  |
| 080 | Air/Vapor eliminator | integral, aluminum |  |
| 080 | Air/Vapor eliminator | integral, aluminum HP |  |
| 080 | Air/Vapor eliminator | integral, carbon steel |  |
| 080 | Air/Vapor eliminator | integral, cast iron |  |
| 080 | Air/Vapor eliminator | integral, stainless steel |  |
| 080 | Air/Vapor eliminator | NA |  |
| 081 | End connection adapter | 45 degree elbow |  |
| 081 | End connection adapter | 90 degree elbow |  |
| 081 | End connection adapter | companion flange, weld |  |
| 081 | End connection adapter | companion flange, weld |  |
| 081 | End connection adapter | companion flange,threaded |  |
| 081 | End connection adapter | companion victaulic conn |  |
| 081 | End connection adapter | NA |  |
| 082a | Defined attribute 1 name | Counter/Printer mount | DEFINABLE ATTRIBUTE NAME |
| 082a | Defined attribute 1 name | Extension cable lg | DEFINABLE ATTRIBUTE NAME |
| 082a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 1 data | 100 ft | DEFINABLE ATTRIBUTE VALUE |
| 082b | Defined attribute 1 data | 12 ft | DEFINABLE ATTRIBUTE VALUE |
| 082b | Defined attribute 1 data | 50 ft | DEFINABLE ATTRIBUTE VALUE |
| 082b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 082b | Defined attribute 1 data | swivel assembly | DEFINABLE ATTRIBUTE VALUE |
| 083a | Defined attribute 2 name | Integral jacket style | DEFINABLE ATTRIBUTE NAME |
| 083a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 083a | Defined attribute 2 name | Register mounting adapter | DEFINABLE ATTRIBUTE NAME |
| 083b | Defined attribute 2 data | 45 degree adapter | DEFINABLE ATTRIBUTE VALUE |
| 083b | Defined attribute 2 data | 90 degree adapter | DEFINABLE ATTRIBUTE VALUE |
| 083b | Defined attribute 2 data | hot oil jacket | DEFINABLE ATTRIBUTE VALUE |
| 083b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083b | Defined attribute 2 data | stack extension adapter | DEFINABLE ATTRIBUTE VALUE |
| 083b | Defined attribute 2 data | steam jacket | DEFINABLE ATTRIBUTE VALUE |
| 084a | Defined attribute 3 name | Gear plate | DEFINABLE ATTRIBUTE NAME |
| 084a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 084a | Defined attribute 3 name | Thermowell | DEFINABLE ATTRIBUTE NAME |
| 084b | Defined attribute 3 data | installed in inlet spool | DEFINABLE ATTRIBUTE VALUE |
| 084b | Defined attribute 3 data | installed in mech counter | DEFINABLE ATTRIBUTE VALUE |
| 084b | Defined attribute 3 data | installed in strainer | DEFINABLE ATTRIBUTE VALUE |
| 084b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 086 | Custom tag | fiber tag |  |
| 086 | Custom tag | NA |  |
| 086 | Custom tag | sst permanent attached |  |
| 086 | Custom tag | sst wired-on |  |
| 087 | Reference specification | NA | REFERENCE SPECIFICATION |
| 088 | Compliance standard | 3-A sanitary standard | NACE STANDARD |
| 088 | Compliance standard | ANSI/NSF Standard 61 | NACE STANDARD |
| 088 | Compliance standard | AWWA C700-90 | NACE STANDARD |
| 088 | Compliance standard | AWWA C710-90 | NACE STANDARD |
| 088 | Compliance standard | NA | NACE STANDARD |
| 088 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 088 | Compliance standard | NFPA 58, UL 25 | NACE STANDARD |
| 088 | Compliance standard | NIST handbook 44 | NACE STANDARD |
| 088 | Compliance standard | NTEP (USA) | NACE STANDARD |
| 088 | Compliance standard | USDA standard | NACE STANDARD |
| 088 | Compliance standard | USPHS standard | NACE STANDARD |
| 089 | Calibration report | custody transfer |  |
| 089 | Calibration report | NA |  |
| 089 | Calibration report | standard factory accuracy |  |
| 090 | Material certificate | NA | MATERIAL |
| 091 | Service design | acid pH liquids |  |
| 091 | Service design | aviation and jet fuel |  |
| 091 | Service design | chlorinated solvents |  |
| 091 | Service design | clean-in-place |  |
| 091 | Service design | crude oil |  |
| 091 | Service design | differential measurement |  |
| 091 | Service design | general solvents |  |
| 091 | Service design | liquid propane gas |  |
| 091 | Service design | NA |  |
| 091 | Service design | petroleum products |  |
| 091 | Service design | sodium hydroxide solution |  |
| 091 | Service design | truck meter |  |
| 092a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 093b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 095 | PHYSICAL DATA | SECTION TITLE |  |
| 096 | Estimated weight |  |  |
| 096u | Weight units | kg | UNITS |
| 096u | Weight units | lb | UNITS |
| 097 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 097u | Face-to-face dim units | in | UNITS |
| 097u | Face-to-face dim units | mm | UNITS |
| 098 | Overall height |  |  |
| 098u | Overall height units | in | UNITS |
| 098u | Overall height units | mm | UNITS |
| 099 | Removal clearance |  |  |
| 099u | Removal clearance units | in | UNITS |
| 099u | Removal clearance units | mm | UNITS |
| 100a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 100a | Signal conn nominal size | M20 | NOMINAL SIZE |
| 100b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 100b | Signal conn termn style | PG 13.5 | END CONNECTION TYPE |
| 101 | Mfr reference dwg | NA |  |
| 102a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 102b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 103a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 103b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog measurement tag 1 |  |  |
| 112b | Meas-Analog output 1 | CALIBRATION/TEST DESC |  |
| 112c | Analog meas 1 LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Analog meas 1 LRV units | bbl/h | UNITS |
| 112cu | Analog meas 1 LRV units | cm3/min | UNITS |
| 112cu | Analog meas 1 LRV units | galUS/h | UNITS |
| 112cu | Analog meas 1 LRV units | galUS/min | UNITS |
| 112cu | Analog meas 1 LRV units | l/h | UNITS |
| 112cu | Analog meas 1 LRV units | l/min | UNITS |
| 112cu | Analog meas 1 LRV units | m3/h | UNITS |
| 112cu | Analog meas 1 LRV units | m3/s | UNITS |
| 112d | Analog meas 1 URV |  | UPPER RANGE-VALUE |
| 112du | Analog meas 1 URV units | bbl/h | UNITS |
| 112du | Analog meas 1 URV units | cm3/min | UNITS |
| 112du | Analog meas 1 URV units | galUS/h | UNITS |
| 112du | Analog meas 1 URV units | galUS/min | UNITS |
| 112du | Analog meas 1 URV units | l/h | UNITS |
| 112du | Analog meas 1 URV units | l/min | UNITS |
| 112du | Analog meas 1 URV units | m3/h | UNITS |
| 112du | Analog meas 1 URV units | m3/s | UNITS |
| 112e | Analog meas 1 signal action | direct |  |
| 112e | Analog meas 1 signal action | reverse |  |
| 112f | Analog meas 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112f | Analog meas 1 output LRV | 1 | LOWER RANGE-VALUE |
| 112f | Analog meas 1 output LRV | 4 | LOWER RANGE-VALUE |
| 112fu | Anlg meas 1 output LRV units | Hz | UNITS |
| 112fu | Anlg meas 1 output LRV units | kHz | UNITS |
| 112fu | Anlg meas 1 output LRV units | mA | UNITS |
| 112fu | Anlg meas 1 output LRV units | V | UNITS |
| 112g | Analog meas 1 output URV | 10 | UPPER RANGE-VALUE |
| 112g | Analog meas 1 output URV | 20 | UPPER RANGE-VALUE |
| 112g | Analog meas 1 output URV | 5 | UPPER RANGE-VALUE |
| 112gu | Anlg meas 1 output URV units | Hz | UNITS |
| 112gu | Anlg meas 1 output URV units | kHz | UNITS |
| 112gu | Anlg meas 1 output URV units | mA | UNITS |
| 112gu | Anlg meas 1 output URV units | V | UNITS |
| 113a | Analog measurement tag 2 |  |  |
| 113b | Meas-Analog output 2 | CALIBRATION/TEST DESC |  |
| 113c | Analog meas 2 LRV | 0 | LOWER RANGE-VALUE |
| 113cu | Analog meas 2 LRV units | bbl/h | UNITS |
| 113cu | Analog meas 2 LRV units | cm3/min | UNITS |
| 113cu | Analog meas 2 LRV units | galUS/h | UNITS |
| 113cu | Analog meas 2 LRV units | galUS/min | UNITS |
| 113cu | Analog meas 2 LRV units | l/h | UNITS |
| 113cu | Analog meas 2 LRV units | l/min | UNITS |
| 113cu | Analog meas 2 LRV units | m3/h | UNITS |
| 113cu | Analog meas 2 LRV units | m3/s | UNITS |
| 113d | Analog meas 2 URV |  | UPPER RANGE-VALUE |
| 113du | Analog meas 2 URV units | bbl/h | UNITS |
| 113du | Analog meas 2 URV units | cm3/min | UNITS |
| 113du | Analog meas 2 URV units | galUS/h | UNITS |
| 113du | Analog meas 2 URV units | galUS/min | UNITS |
| 113du | Analog meas 2 URV units | l/h | UNITS |
| 113du | Analog meas 2 URV units | l/min | UNITS |
| 113du | Analog meas 2 URV units | m3/h | UNITS |
| 113du | Analog meas 2 URV units | m3/s | UNITS |
| 113e | Analog meas 2 signal action | direct |  |
| 113e | Analog meas 2 signal action | reverse |  |
| 113f | Analog meas 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113f | Analog meas 2 output LRV | 1 | LOWER RANGE-VALUE |
| 113f | Analog meas 2 output LRV | 4 | LOWER RANGE-VALUE |
| 113fu | Anlg meas 2 output LRV units | Hz | UNITS |
| 113fu | Anlg meas 2 output LRV units | kHz | UNITS |
| 113fu | Anlg meas 2 output LRV units | mA | UNITS |
| 113fu | Anlg meas 2 output LRV units | V | UNITS |
| 113g | Analog meas 2 output URV | 10 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 20 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 5 | UPPER RANGE-VALUE |
| 113gu | Anlg meas 2 output URV units | Hz | UNITS |
| 113gu | Anlg meas 2 output URV units | kHz | UNITS |
| 113gu | Anlg meas 2 output URV units | mA | UNITS |
| 113gu | Anlg meas 2 output URV units | V | UNITS |
| 114a | Accum total flow tag |  |  |
| 114b | Volume-Accum total scale | CALIBRATION/TEST DESC |  |
| 114c | Volume Lower Range-Value | 0 |  |
| 114cu | Volume LRV units | bbl | UNITS |
| 114cu | Volume LRV units | ft3 | UNITS |
| 114cu | Volume LRV units | gal | UNITS |
| 114cu | Volume LRV units | galUK | UNITS |
| 114cu | Volume LRV units | galUS | UNITS |
| 114cu | Volume LRV units | kg | UNITS |
| 114cu | Volume LRV units | l | UNITS |
| 114cu | Volume LRV units | lb | UNITS |
| 114cu | Volume LRV units | m3 | UNITS |
| 114cu | Volume LRV units | ml | UNITS |
| 114cu | Volume LRV units | pint | UNITS |
| 114cu | Volume LRV units | quart | UNITS |
| 114cu | Volume LRV units | ug | UNITS |
| 114d | Volume Upper Range-Value |  |  |
| 114du | Volume URV units | bbl | UNITS |
| 114du | Volume URV units | ft3 | UNITS |
| 114du | Volume URV units | gal | UNITS |
| 114du | Volume URV units | galUK | UNITS |
| 114du | Volume URV units | galUS | UNITS |
| 114du | Volume URV units | kg | UNITS |
| 114du | Volume URV units | l | UNITS |
| 114du | Volume URV units | lb | UNITS |
| 114du | Volume URV units | m3 | UNITS |
| 114du | Volume URV units | ml | UNITS |
| 114du | Volume URV units | pint | UNITS |
| 114du | Volume URV units | quart | UNITS |
| 114du | Volume URV units | ug | UNITS |
| 114f | Accum totalized LRV | 0 | LOWER RANGE-VALUE |
| 114fu | Accum totalized LRV units | bbl | UNITS |
| 114fu | Accum totalized LRV units | ft3 | UNITS |
| 114fu | Accum totalized LRV units | gal | UNITS |
| 114fu | Accum totalized LRV units | galUK | UNITS |
| 114fu | Accum totalized LRV units | galUS | UNITS |
| 114fu | Accum totalized LRV units | kg | UNITS |
| 114fu | Accum totalized LRV units | l | UNITS |
| 114fu | Accum totalized LRV units | lb | UNITS |
| 114fu | Accum totalized LRV units | m3 | UNITS |
| 114g | Accum totalized URV |  | UPPER RANGE-VALUE |
| 114gu | Accum totalized URV units | bbl | UNITS |
| 114gu | Accum totalized URV units | ft3 | UNITS |
| 114gu | Accum totalized URV units | gal | UNITS |
| 114gu | Accum totalized URV units | galUK | UNITS |
| 114gu | Accum totalized URV units | galUS | UNITS |
| 114gu | Accum totalized URV units | kg | UNITS |
| 114gu | Accum totalized URV units | l | UNITS |
| 114gu | Accum totalized URV units | lb | UNITS |
| 114gu | Accum totalized URV units | m3 | UNITS |
| 115a | Totalized flow tag |  |  |
| 115b | Volume-Totalized scale | CALIBRATION/TEST DESC |  |
| 115c | Volume Lower Range-Value | 0 |  |
| 115cu | Volume LRV units |  | UNITS |
| 115cu | Volume LRV units | ft3 | UNITS |
| 115cu | Volume LRV units | gal | UNITS |
| 115cu | Volume LRV units | galUK | UNITS |
| 115cu | Volume LRV units | galUS | UNITS |
| 115cu | Volume LRV units | kg | UNITS |
| 115cu | Volume LRV units | l | UNITS |
| 115cu | Volume LRV units | lb | UNITS |
| 115cu | Volume LRV units | m3 | UNITS |
| 115cu | Volume LRV units | ml | UNITS |
| 115cu | Volume LRV units | pint | UNITS |
| 115cu | Volume LRV units | quart | UNITS |
| 115cu | Volume LRV units | ug | UNITS |
| 115d | Volume Upper Range-Value |  |  |
| 115du | Volume URV units |  | UNITS |
| 115du | Volume URV units | bbl | UNITS |
| 115du | Volume URV units | ft3 | UNITS |
| 115du | Volume URV units | gal | UNITS |
| 115du | Volume URV units | galUK | UNITS |
| 115du | Volume URV units | galUS | UNITS |
| 115du | Volume URV units | kg | UNITS |
| 115du | Volume URV units | l | UNITS |
| 115du | Volume URV units | lb | UNITS |
| 115du | Volume URV units | m3 | UNITS |
| 115du | Volume URV units | ml | UNITS |
| 115du | Volume URV units | pint | UNITS |
| 115du | Volume URV units | quart | UNITS |
| 115du | Volume URV units | ug | UNITS |
| 115f | Totalized LRV |  | LOWER RANGE-VALUE |
| 115fu | Totalized LRV units | bbl | UNITS |
| 115fu | Totalized LRV units | ft3 | UNITS |
| 115fu | Totalized LRV units | gal | UNITS |
| 115fu | Totalized LRV units | galUK | UNITS |
| 115fu | Totalized LRV units | galUS | UNITS |
| 115fu | Totalized LRV units | kg | UNITS |
| 115fu | Totalized LRV units | l | UNITS |
| 115fu | Totalized LRV units | lb | UNITS |
| 115fu | Totalized LRV units | m3 | UNITS |
| 115fu | Totalized LRV units | ml | UNITS |
| 115fu | Totalized LRV units | pint | UNITS |
| 115fu | Totalized LRV units | quart | UNITS |
| 115fu | Totalized LRV units | ug | UNITS |
| 115g | Totalized URV |  | UPPER RANGE-VALUE |
| 115gu | Totalized URV units | bbl | UNITS |
| 115gu | Totalized URV units | ft3 | UNITS |
| 115gu | Totalized URV units | gal | UNITS |
| 115gu | Totalized URV units | galUK | UNITS |
| 115gu | Totalized URV units | galUS | UNITS |
| 115gu | Totalized URV units | kg | UNITS |
| 115gu | Totalized URV units | l | UNITS |
| 115gu | Totalized URV units | lb | UNITS |
| 115gu | Totalized URV units | m3 | UNITS |
| 115gu | Totalized URV units | ml | UNITS |
| 115gu | Totalized URV units | pint | UNITS |
| 115gu | Totalized URV units | quart | UNITS |
| 115gu | Totalized URV units | ug | UNITS |
| 116a | Flow rate tag |  |  |
| 116b | Flow rate-scale | CALIBRATION/TEST DESC |  |
| 116c | Flow rate Lower Range-Value |  |  |
| 116cu | Flow rate LRV units | bbl/h | UNITS |
| 116cu | Flow rate LRV units | cm3/h | UNITS |
| 116cu | Flow rate LRV units | galUS/h | UNITS |
| 116cu | Flow rate LRV units | galUS/min | UNITS |
| 116cu | Flow rate LRV units | l/h | UNITS |
| 116cu | Flow rate LRV units | l/min | UNITS |
| 116cu | Flow rate LRV units | m3/h | UNITS |
| 116cu | Flow rate LRV units | m3/s | UNITS |
| 116d | Flow rate Upper Range-Value |  |  |
| 116du | Flow rate URV units | bbl/h | UNITS |
| 116du | Flow rate URV units | cm3/h | UNITS |
| 116du | Flow rate URV units | galUS/h | UNITS |
| 116du | Flow rate URV units | galUS/min | UNITS |
| 116du | Flow rate URV units | l/h | UNITS |
| 116du | Flow rate URV units | l/min | UNITS |
| 116du | Flow rate URV units | m3/h | UNITS |
| 116du | Flow rate URV units | m3/s | UNITS |
| 116e | Flow rate action | direct |  |
| 116e | Flow rate action | reverse |  |
| 116f | Flow scale Lower Range-Value |  |  |
| 116fu | Flow scale LRV units | bbl/h | UNITS |
| 116fu | Flow scale LRV units | cm3/h | UNITS |
| 116fu | Flow scale LRV units | galUS/h | UNITS |
| 116fu | Flow scale LRV units | galUS/min | UNITS |
| 116fu | Flow scale LRV units | l/h | UNITS |
| 116fu | Flow scale LRV units | l/min | UNITS |
| 116fu | Flow scale LRV units | m3/h | UNITS |
| 116fu | Flow scale LRV units | m3/s | UNITS |
| 116g | Flow scale Upper Range-Value |  |  |
| 116gu | Flow scale URV units | bbl/h | UNITS |
| 116gu | Flow scale URV units | cm3/h | UNITS |
| 116gu | Flow scale URV units | galUS/h | UNITS |
| 116gu | Flow scale URV units | galUS/min | UNITS |
| 116gu | Flow scale URV units | l/h | UNITS |
| 116gu | Flow scale URV units | l/min | UNITS |
| 116gu | Flow scale URV units | m3/h | UNITS |
| 116gu | Flow scale URV units | m3/s | UNITS |
| 117a | Setpoint 1 tag no |  |  |
| 117b | Meas setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 117c | Setpoint 1 LRV |  | LOWER RANGE-VALUE |
| 117cu | Setpoint 1 LRV units | bbl | UNITS |
| 117cu | Setpoint 1 LRV units | bbl/h | UNITS |
| 117cu | Setpoint 1 LRV units | cm3/min | UNITS |
| 117cu | Setpoint 1 LRV units | ft3 | UNITS |
| 117cu | Setpoint 1 LRV units | gal | UNITS |
| 117cu | Setpoint 1 LRV units | galUK | UNITS |
| 117cu | Setpoint 1 LRV units | galUS | UNITS |
| 117cu | Setpoint 1 LRV units | galUS/h | UNITS |
| 117cu | Setpoint 1 LRV units | galUS/min | UNITS |
| 117cu | Setpoint 1 LRV units | kg | UNITS |
| 117cu | Setpoint 1 LRV units | l | UNITS |
| 117cu | Setpoint 1 LRV units | l/h | UNITS |
| 117cu | Setpoint 1 LRV units | l/min | UNITS |
| 117cu | Setpoint 1 LRV units | lb | UNITS |
| 117cu | Setpoint 1 LRV units | m3 | UNITS |
| 117cu | Setpoint 1 LRV units | m3/h | UNITS |
| 117cu | Setpoint 1 LRV units | m3/s | UNITS |
| 117cu | Setpoint 1 LRV units | ml | UNITS |
| 117cu | Setpoint 1 LRV units | pint | UNITS |
| 117cu | Setpoint 1 LRV units | quart | UNITS |
| 117cu | Setpoint 1 LRV units | ug | UNITS |
| 117d | Setpoint 1 URV |  | UPPER RANGE-VALUE |
| 117du | Setpoint 1 URV units | bbl | UNITS |
| 117du | Setpoint 1 URV units | bbl/h | UNITS |
| 117du | Setpoint 1 URV units | cm3/min | UNITS |
| 117du | Setpoint 1 URV units | ft3 | UNITS |
| 117du | Setpoint 1 URV units | gal | UNITS |
| 117du | Setpoint 1 URV units | galUK | UNITS |
| 117du | Setpoint 1 URV units | galUS | UNITS |
| 117du | Setpoint 1 URV units | galUS/h | UNITS |
| 117du | Setpoint 1 URV units | galUS/min | UNITS |
| 117du | Setpoint 1 URV units | kg | UNITS |
| 117du | Setpoint 1 URV units | l | UNITS |
| 117du | Setpoint 1 URV units | l/h | UNITS |
| 117du | Setpoint 1 URV units | l/min | UNITS |
| 117du | Setpoint 1 URV units | lb | UNITS |
| 117du | Setpoint 1 URV units | m3 | UNITS |
| 117du | Setpoint 1 URV units | m3/h | UNITS |
| 117du | Setpoint 1 URV units | m3/s | UNITS |
| 117du | Setpoint 1 URV units | ml | UNITS |
| 117du | Setpoint 1 URV units | pint | UNITS |
| 117du | Setpoint 1 URV units | quart | UNITS |
| 117du | Setpoint 1 URV units | ug | UNITS |
| 117e | Setpoint 1 signal action | NC |  |
| 117e | Setpoint 1 signal action | NO |  |
| 117f | Setpoint 1 output LRV | 0 | LOWER RANGE-VALUE |
| 117fu | Setpoint 1 output LRV units | V | UNITS |
| 117g | Setpoint 1 output URV | 120 | UPPER RANGE-VALUE |
| 117g | Setpoint 1 output URV | 24 | UPPER RANGE-VALUE |
| 117gu | Setpoint 1 output URV units | V | UNITS |
| 118a | Setpoint 2 tag no |  |  |
| 118b | Meas setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 118c | Setpoint 2 LRV |  | LOWER RANGE-VALUE |
| 118cu | Setpoint 2 LRV units | bbl | UNITS |
| 118cu | Setpoint 2 LRV units | bbl/h | UNITS |
| 118cu | Setpoint 2 LRV units | cm3/min | UNITS |
| 118cu | Setpoint 2 LRV units | ft3 | UNITS |
| 118cu | Setpoint 2 LRV units | gal | UNITS |
| 118cu | Setpoint 2 LRV units | galUK | UNITS |
| 118cu | Setpoint 2 LRV units | galUS | UNITS |
| 118cu | Setpoint 2 LRV units | galUS/h | UNITS |
| 118cu | Setpoint 2 LRV units | galUS/min | UNITS |
| 118cu | Setpoint 2 LRV units | kg | UNITS |
| 118cu | Setpoint 2 LRV units | l | UNITS |
| 118cu | Setpoint 2 LRV units | l/h | UNITS |
| 118cu | Setpoint 2 LRV units | l/min | UNITS |
| 118cu | Setpoint 2 LRV units | lb | UNITS |
| 118cu | Setpoint 2 LRV units | m3 | UNITS |
| 118cu | Setpoint 2 LRV units | m3/h | UNITS |
| 118cu | Setpoint 2 LRV units | m3/s | UNITS |
| 118cu | Setpoint 2 LRV units | ml | UNITS |
| 118cu | Setpoint 2 LRV units | pint | UNITS |
| 118cu | Setpoint 2 LRV units | quart | UNITS |
| 118cu | Setpoint 2 LRV units | ug | UNITS |
| 118d | Setpoint 2 URV |  | UPPER RANGE-VALUE |
| 118du | Setpoint 2 URV units | bbl | UNITS |
| 118du | Setpoint 2 URV units | bbl/h | UNITS |
| 118du | Setpoint 2 URV units | cm3/min | UNITS |
| 118du | Setpoint 2 URV units | ft3 | UNITS |
| 118du | Setpoint 2 URV units | gal | UNITS |
| 118du | Setpoint 2 URV units | galUK | UNITS |
| 118du | Setpoint 2 URV units | galUS | UNITS |
| 118du | Setpoint 2 URV units | galUS/h | UNITS |
| 118du | Setpoint 2 URV units | galUS/min | UNITS |
| 118du | Setpoint 2 URV units | kg | UNITS |
| 118du | Setpoint 2 URV units | l | UNITS |
| 118du | Setpoint 2 URV units | l/h | UNITS |
| 118du | Setpoint 2 URV units | l/min | UNITS |
| 118du | Setpoint 2 URV units | lb | UNITS |
| 118du | Setpoint 2 URV units | m3 | UNITS |
| 118du | Setpoint 2 URV units | m3/h | UNITS |
| 118du | Setpoint 2 URV units | m3/s | UNITS |
| 118du | Setpoint 2 URV units | ml | UNITS |
| 118du | Setpoint 2 URV units | pint | UNITS |
| 118du | Setpoint 2 URV units | quart | UNITS |
| 118du | Setpoint 2 URV units | ug | UNITS |
| 118e | Setpoint 2 signal action | NC |  |
| 118e | Setpoint 2 signal action | NO |  |
| 118f | Setpoint 2 output LRV | 0 | LOWER RANGE-VALUE |
| 118fu | Setpoint 2 output LRV units | V | UNITS |
| 118g | Setpoint 2 output URV | 120 | UPPER RANGE-VALUE |
| 118g | Setpoint 2 output URV | 24 | UPPER RANGE-VALUE |
| 118gu | Setpoint 2 output URV units | V | UNITS |
| 119a | Failure tag no |  |  |
| 119b | Failure signal-Output | CALIBRATION/TEST DESC |  |
| 119e | Failure action | NC |  |
| 119e | Failure action | NO |  |
| 119f | Failure output LRV | 0 | LOWER RANGE-VALUE |
| 119fu | Failure output LRV units | V | UNITS |
| 119g | Failure output URV | 120 | UPPER RANGE-VALUE |
| 119g | Failure output URV | 24 | UPPER RANGE-VALUE |
| 119gu | Failure output URV units | V | UNITS |
| 120a | Attribute tag no |  |  |
| 120b | Attribute cal/test descp | CALIBRATION/TEST DESC |  |
| 120c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 120cu | Attr cal/test LRV units |  | UNITS |
| 120d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 120du | Attr cal/test URV units |  | UNITS |
| 120e | Attribute action | direct |  |
| 120e | Attribute action | NC |  |
| 120e | Attribute action | NO |  |
| 120e | Attribute action | reverse |  |
| 120f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 120fu | Attr output LRV units |  | UNITS |
| 120g | Attribute output URV |  | UPPER RANGE-VALUE |
| 120gu | Attr output URV units |  | UNITS |
| 121 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 123a | Component type | nutating disc meter |  |
| 123a | Component type | oscillating piston meter |  |
| 123a | Component type | oval gear flowmeter |  |
| 123a | Component type | sliding vane flow meter |  |
| 123b | Manufacturer |  | MANUFACTURER |
| 123c | Model number |  | MODEL NUMBER |
| 124a | Component type | preset counter |  |
| 124a | Component type | pulser |  |
| 124b | Manufacturer |  | MANUFACTURER |
| 124c | Model number |  | MODEL NUMBER |
| 125a | Component type | solenoid operated valve |  |
| 125b | Manufacturer |  | MANUFACTURER |
| 125c | Model number |  | MODEL NUMBER |
| 126a | Component type | printer |  |
| 126b | Manufacturer |  | MANUFACTURER |
| 126c | Model number |  | MODEL NUMBER |
| 127a | Component type |  |  |
| 127b | Manufacturer |  | MANUFACTURER |
| 127c | Model number |  | MODEL NUMBER |