| Pick List 20F2101 V-Cone Flowmeter |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | BODY OR TUBE | SECTION TITLE |  |
| 012 | Body/Tube type | insertion weld-on saddle |  |
| 012 | Body/Tube type | precision flow tube |  |
| 012 | Body/Tube type | wafer-type |  |
| 013a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 10 in | NOMINAL SIZE |
| 013a | End conn nominal size | 100 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 12 in | NOMINAL SIZE |
| 013a | End conn nominal size | 14 in | NOMINAL SIZE |
| 013a | End conn nominal size | 15 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 150 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 16 in | NOMINAL SIZE |
| 013a | End conn nominal size | 18 in | NOMINAL SIZE |
| 013a | End conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 20 in | NOMINAL SIZE |
| 013a | End conn nominal size | 20 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 200 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 24 in | NOMINAL SIZE |
| 013a | End conn nominal size | 25 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 250 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 3 in | NOMINAL SIZE |
| 013a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 30 in | NOMINAL SIZE |
| 013a | End conn nominal size | 300 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 350 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 36 in | NOMINAL SIZE |
| 013a | End conn nominal size | 4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 40 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 400 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 450 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 48 in | NOMINAL SIZE |
| 013a | End conn nominal size | 50 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 500 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 6 in | NOMINAL SIZE |
| 013a | End conn nominal size | 60 in | NOMINAL SIZE |
| 013a | End conn nominal size | 600 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 65 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 750 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 8 in | NOMINAL SIZE |
| 013a | End conn nominal size | 80 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 900 mm | NOMINAL SIZE |
| 013a | End conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 013a | End conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013a | End conn nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 013a | End conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | 10 k | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | 20 k | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 014a | End conn termn type | flangeless | END CONNECTION TYPE |
| 014a | End conn termn type | hub | END CONNECTION TYPE |
| 014a | End conn termn type | plain | END CONNECTION TYPE |
| 014a | End conn termn type | slip-on flg | END CONNECTION TYPE |
| 014a | End conn termn type | threaded | END CONNECTION TYPE |
| 014a | End conn termn type | weld-neck flg | END CONNECTION TYPE |
| 014b | End conn termn style | beveled | END CONNECTION TYPE |
| 014b | End conn termn style | DIN | END CONNECTION TYPE |
| 014b | End conn termn style | DIN 2576 | END CONNECTION TYPE |
| 014b | End conn termn style | DIN 2633 | END CONNECTION TYPE |
| 014b | End conn termn style | DIN 2635 | END CONNECTION TYPE |
| 014b | End conn termn style | FF | END CONNECTION TYPE |
| 014b | End conn termn style | JIS | END CONNECTION TYPE |
| 014b | End conn termn style | NA | END CONNECTION TYPE |
| 014b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | End conn termn style | RF | END CONNECTION TYPE |
| 014b | End conn termn style | RTJ | END CONNECTION TYPE |
| 015 | Flange facing finish | NA | FLANGE FACING FINISH |
| 015 | Flange facing finish | O ring grove | FLANGE FACING FINISH |
| 015 | Flange facing finish | serrated | FLANGE FACING FINISH |
| 016 | Pipe schedule no | 10 | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | 100 | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | 10S | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | 120 | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | 140 | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | 160 | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | 20 | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | 40 | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | 80 | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | STD | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | XS | NOMINAL WALL THICKNESS |
| 016 | Pipe schedule no | XXS | NOMINAL WALL THICKNESS |
| 017a | Press tap conn nom size | 1/16 in | NOMINAL SIZE |
| 017a | Press tap conn nom size | 1/2 in | NOMINAL SIZE |
| 017a | Press tap conn nom size | 1/4 in | NOMINAL SIZE |
| 017a | Press tap conn nom size | 1/8 in | NOMINAL SIZE |
| 017a | Press tap conn nom size | RC 1/2 | NOMINAL SIZE |
| 017a | Press tap conn nom size | RC 1/4 | NOMINAL SIZE |
| 017b | Press tap conn nom rating | NA |  |
| 017b | Press tap conn termn style | NPT(F) | PRESSURE TAP |
| 017b | Press tap conn termn style | RC | PRESSURE TAP |
| 017b | Press tap conn termn type | socket |  |
| 017b | Press tap conn termn style | SW(F) | PRESSURE TAP |
| 017b | Press tap conn termn type | threaded |  |
| 019 | Tube material | 304 SST | MATERIAL |
| 019 | Tube material | 304L SST | MATERIAL |
| 019 | Tube material | 316 SST | MATERIAL |
| 019 | Tube material | 316L SST | MATERIAL |
| 019 | Tube material | A106 B | MATERIAL |
| 019 | Tube material | A333 | MATERIAL |
| 019 | Tube material | A350 | MATERIAL |
| 019 | Tube material | API5L | MATERIAL |
| 019 | Tube material | brass | MATERIAL |
| 019 | Tube material | carbon steel | MATERIAL |
| 019 | Tube material | chromemoly P11 | MATERIAL |
| 019 | Tube material | chromemoly P22 | MATERIAL |
| 019 | Tube material | CPVC | MATERIAL |
| 019 | Tube material | duplex 2205 | MATERIAL |
| 019 | Tube material | hastelloy C-276 | MATERIAL |
| 019 | Tube material | INCONEL 625 | MATERIAL |
| 019 | Tube material | Kel-F | MATERIAL |
| 019 | Tube material | kynar | MATERIAL |
| 019 | Tube material | monel 400 | MATERIAL |
| 019 | Tube material | monel 500 | MATERIAL |
| 019 | Tube material | Monel® | MATERIAL |
| 019 | Tube material | PTFE | MATERIAL |
| 019 | Tube material | PVC | MATERIAL |
| 019 | Tube material | S321H SST | MATERIAL |
| 020 | External treatment | epoxy coated |  |
| 020 | External treatment | flanges painted |  |
| 020 | External treatment | painted HT silver |  |
| 020 | External treatment | unfinished |  |
| 021 | Flange material | 304 SST | MATERIAL |
| 021 | Flange material | 304L SST | MATERIAL |
| 021 | Flange material | 316 SST | MATERIAL |
| 021 | Flange material | 316L SST | MATERIAL |
| 021 | Flange material | 321H SST | MATERIAL |
| 021 | Flange material | A333 | MATERIAL |
| 021 | Flange material | A350 | MATERIAL |
| 021 | Flange material | API5L | MATERIAL |
| 021 | Flange material | brass | MATERIAL |
| 021 | Flange material | carbon steel | MATERIAL |
| 021 | Flange material | chromemoly P11 | MATERIAL |
| 021 | Flange material | chromemoly P22 | MATERIAL |
| 021 | Flange material | CPVC | MATERIAL |
| 021 | Flange material | duplex 2205 | MATERIAL |
| 021 | Flange material | hastelloy C-276 | MATERIAL |
| 021 | Flange material | inconel 625 | MATERIAL |
| 021 | Flange material | Kel-F | MATERIAL |
| 021 | Flange material | kynar | MATERIAL |
| 021 | Flange material | monel 400 | MATERIAL |
| 021 | Flange material | monel 500 | MATERIAL |
| 021 | Flange material | PVC | MATERIAL |
| 022 | O ring material |  | MATERIAL |
| 022 | O ring material | NA | MATERIAL |
| 023a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 023b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 024a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 025 | SENSING ELEMENT | SECTION TITLE |  |
| 026 | Element type | V shaped cone |  |
| 026 | Element type | wafer style V shaped cone |  |
| 027 | Beta ratio | 0.45 | BETA RATIO |
| 027 | Beta ratio | 0.55 | BETA RATIO |
| 027 | Beta ratio | 0.65 | BETA RATIO |
| 027 | Beta ratio | 0.75 | BETA RATIO |
| 027 | Beta ratio | 0.80 | BETA RATIO |
| 028 | Cone and support matl | 254 SMO | MATERIAL |
| 028 | Cone and support matl | 304 SST | MATERIAL |
| 028 | Cone and support matl | 304L SST | MATERIAL |
| 028 | Cone and support matl | 316 SST | MATERIAL |
| 028 | Cone and support matl | 316L SST | MATERIAL |
| 028 | Cone and support matl | 321H SST | MATERIAL |
| 028 | Cone and support matl | API15L | MATERIAL |
| 028 | Cone and support matl | ASTM A106B | MATERIAL |
| 028 | Cone and support matl | ASTM A333 | MATERIAL |
| 028 | Cone and support matl | ASTM A350 | MATERIAL |
| 028 | Cone and support matl | brass | MATERIAL |
| 028 | Cone and support matl | carbon steel | MATERIAL |
| 028 | Cone and support matl | chromemoly P22/P11 | MATERIAL |
| 028 | Cone and support matl | CPVC | MATERIAL |
| 028 | Cone and support matl | Duplex 2205 | MATERIAL |
| 028 | Cone and support matl | hastelloy C276 | MATERIAL |
| 028 | Cone and support matl | Hastelloy C-276 | MATERIAL |
| 028 | Cone and support matl | inconel 625 | MATERIAL |
| 028 | Cone and support matl | Kel-F | MATERIAL |
| 028 | Cone and support matl | kynar | MATERIAL |
| 028 | Cone and support matl | monel | MATERIAL |
| 028 | Cone and support matl | monel K400/K500 | MATERIAL |
| 028 | Cone and support matl | monel® | MATERIAL |
| 028 | Cone and support matl | NA | MATERIAL |
| 028 | Cone and support matl | PTFE | MATERIAL |
| 028 | Cone and support matl | PVC | MATERIAL |
| 029a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp | 300 | PRESSURE |
| 061au | Design pressure units | kg/cm2 | UNITS |
| 061au | Design pressure units | kPa | UNITS |
| 061au | Design pressure units | MPa | UNITS |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature |  | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Min working temperature |  | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature |  | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063a | Uncalibrated accuracy | 2.0 | ACCURACY RATING |
| 063b | Uncalibrated accuray ref base | % actual value |  |
| 064a | Calibrated accuracy | 0.5 |  |
| 064b | Calibrated accuracy ref base | % actual value |  |
| 065a | Repeatability | 0.1 |  |
| 065b | Repeatability ref base | % |  |
| 066 | Rated flow coefficient |  | RATED FLOW COEFF |
| 067 | Perm head loss at URL |  | HEAD LOSS |
| 067u | Head loss units | psi | UNITS |
| 068a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070a | Defined attribute 3 name | NA |  |
| 070b | Defined attribute 3 data | NA |  |
| 084 | ACCESSORIES | SECTION TITLE |  |
| 085 | Mounting hardware | gaskets.bolts and nuts |  |
| 085 | Mounting hardware | NA |  |
| 086 | Manifold valve | 3 valve manifold |  |
| 086 | Manifold valve | NA |  |
| 086a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 4 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 4 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 091 | Custom tag | fiber tag |  |
| 091 | Custom tag | NA |  |
| 091 | Custom tag | sst permanent attached |  |
| 091 | Custom tag | sst wired-on |  |
| 092 | Reference specification | NA | REFERENCE SPECIFICATION |
| 093 | Construction code | NA |  |
| 093 | Conformance standard | NACE MR0175 |  |
| 093 | Conformance standard | NACE MR0175/ISO 15156 |  |
| 093 | Conformance standard | NACE MR0175-1999 |  |
| 093 | Conformance standard | NACE MR0175-2000 |  |
| 093 | Conformance standard | NACE MR0175-2001 |  |
| 093 | Conformance standard | NACE MR0175-2002 |  |
| 093 | Conformance standard | NACE MR0175-2003 |  |
| 094 | Construction code | ANSI B31.1 |  |
| 094 | Construction code | ANSI B31.3 |  |
| 094 | Construction code | ASME sect VIII |  |
| 095 | Calibration report | calibration report |  |
| 095 | Calibration report | NA |  |
| 096 | Material certificate | material certificate | MATERIAL |
| 096 | Material certificate | material certificate, PMI | MATERIAL |
| 096 | Material certificate | NA | MATERIAL |
| 096 | Material certificate | PMI | MATERIAL |
| 097 | Special inspection | NA |  |
| 097 | Special inspection | X-ray/DYE pent 100% |  |
| 097 | Special inspection | X-ray/DYE pent random |  |
| 097 | Special inspection | X-ray-DYE pent or Mag |  |
| 098a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 101 | PHYSICAL DATA | SECTION TITLE |  |
| 102 | Estimated weight |  |  |
| 102u | Weight units | kg | UNITS |
| 102u | Weight units | lb | UNITS |
| 103 | Overall length |  |  |
| 103u | Overall length units | in | UNITS |
| 103u | Overall length units | mm | UNITS |
| 104 | Overall height |  |  |
| 104u | Overall height units | in | UNITS |
| 104u | Overall height units | mm | UNITS |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag/Functional ident | NULL |  |
| 112b | Flow rate-Diff pressure | CALIBRATION/TEST DESC |  |
| 112c | Flow rate LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Flow rate LRV units | bbl/d | UNITS |
| 112cu | Flow rate LRV units | galUS/h | UNITS |
| 112cu | Flow rate LRV units | galUS/min | UNITS |
| 112cu | Flow rate LRV units | kg/d | UNITS |
| 112cu | Flow rate LRV units | kg/h | UNITS |
| 112cu | Flow rate LRV units | kg/s | UNITS |
| 112cu | Flow rate LRV units | L/d(std) | UNITS |
| 112cu | Flow rate LRV units | L/s | UNITS |
| 112cu | Flow rate LRV units | L/s(std) | UNITS |
| 112cu | Flow rate LRV units | lb/h | UNITS |
| 112cu | Flow rate LRV units | m3/h | UNITS |
| 112cu | Flow rate LRV units | m3/s | UNITS |
| 112d | Flow rate URV |  | UPPER RANGE-VALUE |
| 112du | Flow rate URV units | bbl/d | UNITS |
| 112du | Flow rate URV units | galUS/h | UNITS |
| 112du | Flow rate URV units | galUS/min | UNITS |
| 112du | Flow rate URV units | kg/d | UNITS |
| 112du | Flow rate URV units | kg/h | UNITS |
| 112du | Flow rate URV units | kg/s | UNITS |
| 112du | Flow rate URV units | L/d(std) | UNITS |
| 112du | Flow rate URV units | L/s | UNITS |
| 112du | Flow rate URV units | L/s(std) | UNITS |
| 112du | Flow rate URV units | lb/h | UNITS |
| 112du | Flow rate URV units | m3/h | UNITS |
| 112du | Flow rate URV units | m3/s | UNITS |
| 112f | Diff pressure LRV | 0 | LOWER RANGE-VALUE |
| 112fu | Diff pressure LRV units | inH2O | UNITS |
| 112fu | Diff pressure LRV units | mmH2O | UNITS |
| 112fu | Diff pressure LRV units | Pa | UNITS |
| 112g | Diff pressure URV |  | UPPER RANGE-VALUE |
| 112g | Diff pressure URV | 10 | UPPER RANGE-VALUE |
| 112g | Diff pressure URV | 100 | UPPER RANGE-VALUE |
| 112gu | Diff pressure URV units | inH2O | UNITS |
| 112gu | Diff pressure URV units | mmH2O | UNITS |
| 112gu | Diff pressure URV units | Pa | UNITS |
| 113b | Test pressure | CALIBRATION/TEST DESC |  |
| 113d | Test pressure URV |  | UPPER RANGE-VALUE |
| 113du | Test pressure URV units | bar(g) | UNITS |
| 113du | Test pressure URV units | psig | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | V-cone flowmeter |  |
| 120a | Component type | wafer-cone flowmeter |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type |  |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 122a | Component type | wafer-cone flowmeter |  |
| 122b | Manufacturer |  | MANUFACTURER |
| 122c | Model number |  | MODEL NUMBER |
| 123a | Component type | wafer-cone flowmeter |  |
| 123b | Manufacturer |  | MANUFACTURER |
| 123c | Model number |  | MODEL NUMBER |
| 124a | Component type | wafer-cone flowmeter |  |
| 124b | Manufacturer |  | MANUFACTURER |
| 124c | Model number |  | MODEL NUMBER |
| 125a | Component type | wafer-cone flowmeter |  |
| 125b | Manufacturer |  | MANUFACTURER |
| 125c | Model number |  | MODEL NUMBER |