| Picklist 20F2061 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | BODY OR STEM FITTING | SECTION TITLE |  |
| 012 | Body/Fitting type | duct mounting flange |  |
| 012 | Body/Fitting type | in-line flanged |  |
| 012 | Body/Fitting type | in-line sanitary tee |  |
| 012 | Body/Fitting type | in-line tee |  |
| 012 | Body/Fitting type | in-line threaded |  |
| 012 | Body/Fitting type | in-line wafer |  |
| 012 | Body/Fitting type | insertion type fitting |  |
| 012 | Body/Fitting type | offset connection chamber |  |
| 012 | Body/Fitting type | pipe tee fitting |  |
| 012 | Body/Fitting type | sanitary tee |  |
| 012 | Body/Fitting type | weld spud |  |
| 012 | Body/Fitting type | weld-on flange fitting |  |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 20 mm | NOMINAL SIZE |
| 013a | Process conn nominal size | 25 mm | NOMINAL SIZE |
| 013a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 10 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 100 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 15 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 20 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 25 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 32 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 40 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 50 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 65 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 8 | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flangeless | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | BSP(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | BSPT | END CONNECTION TYPE |
| 014b | Process conn termn style | Burkert | END CONNECTION TYPE |
| 014b | Process conn termn style | BW | END CONNECTION TYPE |
| 014b | Process conn termn style | G | END CONNECTION TYPE |
| 014b | Process conn termn style | M 32x2 | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | plate | END CONNECTION TYPE |
| 014b | Process conn termn style | RF | END CONNECTION TYPE |
| 014b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | Tri-Clamp | END CONNECTION TYPE |
| 014b | Process conn termn style | Tri-Clover | END CONNECTION TYPE |
| 014b | Process conn termn style | Tri-Clover | END CONNECTION TYPE |
| 014b | Process conn termn style | wafer | END CONNECTION TYPE |
| 015 | Seal type | bellows |  |
| 015 | Seal type | flexure tube assembly |  |
| 015 | Seal type | NA |  |
| 015 | Seal type | O ring |  |
| 016 | Extension/Heat insulator | convoluted body extension |  |
| 016 | Extension/Heat insulator | NA |  |
| 017 | Body/Fitting material | 316 SST | MATERIAL |
| 017 | Body/Fitting material | 316 Ti SST | MATERIAL |
| 017 | Body/Fitting material | 316L SST | MATERIAL |
| 017 | Body/Fitting material | 321 SST | MATERIAL |
| 017 | Body/Fitting material | 347 SST | MATERIAL |
| 017 | Body/Fitting material | alloy 20 | MATERIAL |
| 017 | Body/Fitting material | brass | MATERIAL |
| 017 | Body/Fitting material | carbon steel | MATERIAL |
| 017 | Body/Fitting material | CPVC | MATERIAL |
| 017 | Body/Fitting material | CPVC | MATERIAL |
| 017 | Body/Fitting material | galvanized carbon steel | MATERIAL |
| 017 | Body/Fitting material | hastelloy | MATERIAL |
| 017 | Body/Fitting material | Hastelloy | MATERIAL |
| 017 | Body/Fitting material | inconel | MATERIAL |
| 017 | Body/Fitting material | Inconel | MATERIAL |
| 017 | Body/Fitting material | kel-F | MATERIAL |
| 017 | Body/Fitting material | KEL-F | MATERIAL |
| 017 | Body/Fitting material | kynar | MATERIAL |
| 017 | Body/Fitting material | monel | MATERIAL |
| 017 | Body/Fitting material | Monel | MATERIAL |
| 017 | Body/Fitting material | nickle plated brass | MATERIAL |
| 017 | Body/Fitting material | polypropylene | MATERIAL |
| 017 | Body/Fitting material | PVC | MATERIAL |
| 017 | Body/Fitting material | PVDF | MATERIAL |
| 017 | Body/Fitting material | teflon | MATERIAL |
| 017 | Body/Fitting material | Teflon | MATERIAL |
| 017 | Body/Fitting material | transparent polysulfone | MATERIAL |
| 018 | Bellow/Flexure tube matl | 316 SST | MATERIAL |
| 018 | Bellow/Flexure tube matl | 316 Ti SST | MATERIAL |
| 018 | Bellow/Flexure tube matl | 321 SST | MATERIAL |
| 018 | Bellow/Flexure tube matl | bronze | MATERIAL |
| 018 | Bellow/Flexure tube matl | monel | MATERIAL |
| 018 | Bellow/Flexure tube matl | Monel | MATERIAL |
| 018 | Bellow/Flexure tube matl | NA | MATERIAL |
| 018 | Bellow/Flexure tube matl | nickel plated SST | MATERIAL |
| 018 | Bellow/Flexure tube matl | phosphor bronze | MATERIAL |
| 018 | Bellow/Flexure tube matl | rubber | MATERIAL |
| 018 | Bellow/Flexure tube matl | teflon | MATERIAL |
| 018 | Bellow/Flexure tube matl | Teflon | MATERIAL |
| 019 | Flange material | 316 SST | MATERIAL |
| 019 | Flange material | carbon steel | MATERIAL |
| 019 | Flange material | galvanized carbon steel | MATERIAL |
| 019 | Flange material | NA | MATERIAL |
| 020 | Seal/O ring material | buna N | MATERIAL |
| 020 | Seal/O ring material | EPDM | MATERIAL |
| 020 | Seal/O ring material | NA | MATERIAL |
| 020 | Seal/O ring material | rubber | MATERIAL |
| 020 | Seal/O ring material | viton | MATERIAL |
| 020 | Seal/O ring material | Viton | MATERIAL |
| 021a | Defined attribute 1 name | drain & purge connections | DEFINABLE ATTRIBUTE NAME |
| 021a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 021b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021b | Defined attribute 1 data | plugged connections | DEFINABLE ATTRIBUTE VALUE |
| 022a | Defined attribute 2 name | Body orientation | DEFINABLE ATTRIBUTE NAME |
| 022a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 022b | Defined attribute 2 data | housing on left | DEFINABLE ATTRIBUTE VALUE |
| 022b | Defined attribute 2 data | housing on right | DEFINABLE ATTRIBUTE VALUE |
| 022b | Defined attribute 2 data | left-to-right flow | DEFINABLE ATTRIBUTE VALUE |
| 022b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 022b | Defined attribute 2 data | right-to-left flow | DEFINABLE ATTRIBUTE VALUE |
| 023a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 023b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 024 | SENSING ELEMENT | SECTION TITLE |  |
| 025 | Sensor type | baffle plate |  |
| 025 | Sensor type | float |  |
| 025 | Sensor type | paddle |  |
| 025 | Sensor type | paddle-wheel |  |
| 025 | Sensor type | rotating paddle |  |
| 026 | Sensor style | adjustable length |  |
| 026 | Sensor style | bidirectional |  |
| 026 | Sensor style | caged |  |
| 026 | Sensor style | cam design |  |
| 026 | Sensor style | counter balanced |  |
| 026 | Sensor style | folding |  |
| 026 | Sensor style | high flow |  |
| 026 | Sensor style | high sensitivity |  |
| 026 | Sensor style | low flow sensitivity |  |
| 026 | Sensor style | low velocity sensitivity |  |
| 026 | Sensor style | low-low flow sensitivity |  |
| 026 | Sensor style | medium flow sensitivity |  |
| 026 | Sensor style | perforated paddle |  |
| 026 | Sensor style | reinforced |  |
| 026 | Sensor style | trimmed |  |
| 027 | Paddle nominal size | 1 1/2 in pipe bore |  |
| 027 | Paddle nominal size | 1 1/4 in pipe bore |  |
| 027 | Paddle nominal size | 1 in pipe bore |  |
| 027 | Paddle nominal size | 10 in pipe bore |  |
| 027 | Paddle nominal size | 10 in pipe, 1 1/8 in wide |  |
| 027 | Paddle nominal size | 10 in pipe, 1 7/8 in wide |  |
| 027 | Paddle nominal size | 100 mm pipe bore |  |
| 027 | Paddle nominal size | 12 in pipe bore |  |
| 027 | Paddle nominal size | 12 in pipe, 1 1/8 in wide |  |
| 027 | Paddle nominal size | 12 in pipe, 1 7/8 in wide |  |
| 027 | Paddle nominal size | 125 mm pipe bore |  |
| 027 | Paddle nominal size | 14 in pipe bore |  |
| 027 | Paddle nominal size | 150 mm pipe bore |  |
| 027 | Paddle nominal size | 16 in pipe bore |  |
| 027 | Paddle nominal size | 2 1/2 in pipe bore |  |
| 027 | Paddle nominal size | 2 in pipe bore |  |
| 027 | Paddle nominal size | 20 in pipe bore |  |
| 027 | Paddle nominal size | 200 mm pipe bore |  |
| 027 | Paddle nominal size | 24 in pipe bore |  |
| 027 | Paddle nominal size | 250 mm pipe bore |  |
| 027 | Paddle nominal size | 3 in pipe bore |  |
| 027 | Paddle nominal size | 3 in pipe, 1 1/8 in wide |  |
| 027 | Paddle nominal size | 3 in pipe, 1 7/8 in wide |  |
| 027 | Paddle nominal size | 30 in pipe bore |  |
| 027 | Paddle nominal size | 300 mm pipe bore |  |
| 027 | Paddle nominal size | 32 mm pipe bore |  |
| 027 | Paddle nominal size | 355 mm pipe bore |  |
| 027 | Paddle nominal size | 36 in pipe bore |  |
| 027 | Paddle nominal size | 4 in pipe bore |  |
| 027 | Paddle nominal size | 4 in pipe, 1 1/8 in wide |  |
| 027 | Paddle nominal size | 4 in pipe, 1 7/8 in wide |  |
| 027 | Paddle nominal size | 40 mm pipe bore |  |
| 027 | Paddle nominal size | 405 mm pipe bore |  |
| 027 | Paddle nominal size | 5 in pipe bore |  |
| 027 | Paddle nominal size | 50 mm pipe bore |  |
| 027 | Paddle nominal size | 500 mm pipe bore |  |
| 027 | Paddle nominal size | 6 in duct size |  |
| 027 | Paddle nominal size | 6 in pipe bore |  |
| 027 | Paddle nominal size | 6 in pipe, 1 1/8 in wide |  |
| 027 | Paddle nominal size | 6 in pipe, 1 7/8 in wide |  |
| 027 | Paddle nominal size | 60 mm pipe bore |  |
| 027 | Paddle nominal size | 600 mm pipe bore |  |
| 027 | Paddle nominal size | 760 mm pipe bore |  |
| 027 | Paddle nominal size | 8 in duct size |  |
| 027 | Paddle nominal size | 8 in pipe bore |  |
| 027 | Paddle nominal size | 8 in pipe, 1 1/8 in wide |  |
| 027 | Paddle nominal size | 8 in pipe, 1 7/8 in wide |  |
| 027 | Paddle nominal size | 80 mm pipe bore |  |
| 027 | Paddle nominal size | 910 mm pipe bore |  |
| 027 | Paddle nominal size | DN 100 pipe bore |  |
| 027 | Paddle nominal size | DN 125 pipe bore |  |
| 027 | Paddle nominal size | DN 150 pipe bore |  |
| 027 | Paddle nominal size | DN 200 pipe bore |  |
| 027 | Paddle nominal size | DN 25 pipe bore |  |
| 027 | Paddle nominal size | DN 32 pipe bore |  |
| 027 | Paddle nominal size | DN 40 pipe bore |  |
| 027 | Paddle nominal size | DN 50 pipe bore |  |
| 027 | Paddle nominal size | DN 65 pipe bore |  |
| 027 | Paddle nominal size | DN 80 pipe bore |  |
| 027 | Paddle nominal size | long |  |
| 027 | Paddle nominal size | short |  |
| 028 | Integral cable length | 1.5 |  |
| 028 | Integral cable length | 2 |  |
| 028 | Integral cable length | 3 |  |
| 028 | Integral cable length | 4 |  |
| 028 | Integral cable length | 5 |  |
| 028u | Cable length units | ft | UNITS |
| 028u | Cable length units | m | UNITS |
| 028u | Cable length units | NA | UNITS |
| 029 | Mounting orientation | position independent |  |
| 029 | Mounting orientation | side only |  |
| 029 | Mounting orientation | vertical top only |  |
| 029 | Mounting orientation | vertical top/side up flow |  |
| 030 | Paddle/Plate material | 302 SST | MATERIAL |
| 030 | Paddle/Plate material | 303 SST | MATERIAL |
| 030 | Paddle/Plate material | 304 SST | MATERIAL |
| 030 | Paddle/Plate material | 316 SST | MATERIAL |
| 030 | Paddle/Plate material | ABS | MATERIAL |
| 030 | Paddle/Plate material | brass | MATERIAL |
| 030 | Paddle/Plate material | kynar | MATERIAL |
| 030 | Paddle/Plate material | Kynar | MATERIAL |
| 030 | Paddle/Plate material | phosphor bronze | MATERIAL |
| 030 | Paddle/Plate material | polypropylene | MATERIAL |
| 030 | Paddle/Plate material | PVC | MATERIAL |
| 030 | Paddle/Plate material | teflon | MATERIAL |
| 030 | Paddle/Plate material | Teflon | MATERIAL |
| 031a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031a | Defined attribute 1 name | Sleeve adaptor material | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031b | Defined attribute 1 data | Teflon | DEFINABLE ATTRIBUTE VALUE |
| 031b | Defined attribute 1 data | Teflon | DEFINABLE ATTRIBUTE VALUE |
| 032a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 032a | Defined attribute 2 name | Paddle stem/arm style | DEFINABLE ATTRIBUTE NAME |
| 032b | Defined attribute 2 data | extended arm | DEFINABLE ATTRIBUTE VALUE |
| 032b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 032b | Defined attribute 2 data | standard | DEFINABLE ATTRIBUTE VALUE |
| 033a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 033a | Defined attribute 3 name | Special treatment | DEFINABLE ATTRIBUTE NAME |
| 033b | Defined attribute 3 data | corrosion coating | DEFINABLE ATTRIBUTE VALUE |
| 033b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 034 | SWITCH OR TRANSMITTER | SECTION TITLE |  |
| 035 | Housing type | dust-tight | HOUSING |
| 035 | Housing type | explosion proof enclosure | HOUSING |
| 035 | Housing type | general purpose enclosure | HOUSING |
| 035 | Housing type | NEMA type | HOUSING |
| 035 | Housing type | waterproof enclosure | HOUSING |
| 035 | Housing type | weatherproof enclosure | HOUSING |
| 036 | Element style | heavy duty AC |  |
| 036 | Element style | heavy duty DC |  |
| 036 | Element style | hermetically sealed |  |
| 036 | Element style | high temperature |  |
| 036 | Element style | normal service AC |  |
| 036 | Element style | normal service DC |  |
| 037 | Output signal type | analog current & relay | SIGNAL |
| 037 | Output signal type | dry contact | SIGNAL |
| 037 | Output signal type | frequency | SIGNAL |
| 037 | Output signal type | NPN & PNP normally open | SIGNAL |
| 037 | Output signal type | NPN normally open | SIGNAL |
| 037 | Output signal type | pneumatic binary | SIGNAL |
| 037 | Output signal type | PNP normally open | SIGNAL |
| 037 | Output signal type | relay | SIGNAL |
| 037 | Output signal type | relay & frequency | SIGNAL |
| 037 | Output signal type | transistor switch NPN | SIGNAL |
| 037 | Output signal type | triac output | SIGNAL |
| 038 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | 3 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | 3R | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | 7 & 9 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 43 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 54 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 55 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 56 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 66 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 038 | Enclosure type no/class | IP 68 | ENCLOSURE TYPE NO/CLASS |
| 039 | Setpoint adjustment type | adjusting screw |  |
| 039 | Setpoint adjustment type | key pad |  |
| 039 | Setpoint adjustment type | NA |  |
| 039 | Setpoint adjustment type | paddle size selection |  |
| 039 | Setpoint adjustment type | trim paddle length |  |
| 040 | Signal power source | 120 V ac, 60 Hz |  |
| 040 | Signal power source | 12-30 V(dc) |  |
| 040 | Signal power source | 14-28 V(dc) |  |
| 040 | Signal power source | 220 V ac, 60 Hz |  |
| 040 | Signal power source | 24 V(dc) |  |
| 040 | Signal power source | NA |  |
| 040 | Signal power source | pneumatic 125 psig |  |
| 040 | Signal power source | pneumatic 20 psig |  |
| 041 | Damping/Time delay style | 20 second time delay |  |
| 041 | Damping/Time delay style | 5 second time delay |  |
| 041 | Damping/Time delay style | dash pot |  |
| 041 | Damping/Time delay style | NA |  |
| 041 | Damping/Time delay style | self-resetting time delay |  |
| 041 | Damping/Time delay style | stem dampener |  |
| 042a | Contacts arrangement | DPDT |  |
| 042a | Contacts arrangement | NA |  |
| 042a | Contacts arrangement | SPDT |  |
| 042a | Contacts arrangement | SPST |  |
| 042b | Contacts quantity | 0 |  |
| 042b | Contacts quantity | 1 |  |
| 042b | Contacts quantity | 2 |  |
| 042b | Contacts quantity | 3 |  |
| 042b | Contacts quantity | 4 |  |
| 042b | Contacts quantity | 5 |  |
| 042b | Contacts quantity | 6 |  |
| 043 | Integral indicator style | 3 digit LED |  |
| 043 | Integral indicator style | 8 digit LCD |  |
| 043 | Integral indicator style | analog meter |  |
| 043 | Integral indicator style | direct reading scale |  |
| 043 | Integral indicator style | indicating lamp |  |
| 043 | Integral indicator style | NA |  |
| 043 | Integral indicator style | red LED |  |
| 043 | Integral indicator style | red/green LED |  |
| 044 | Signal termination type | 4 pin micro plug male | END CONNECTION TYPE |
| 044 | Signal termination type | DIN 43650 plug | END CONNECTION TYPE |
| 044 | Signal termination type | DIN 43650-A plug | END CONNECTION TYPE |
| 044 | Signal termination type | exposed wiring leads | END CONNECTION TYPE |
| 044 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 044 | Signal termination type | sealed wiring leads | END CONNECTION TYPE |
| 044 | Signal termination type | terminal block | END CONNECTION TYPE |
| 045 | Cert/Approval type | CE marked | CERTIFICATION |
| 045 | Cert/Approval type | CSA explosion proof | CERTIFICATION |
| 045 | Cert/Approval type | CSA non-classified | CERTIFICATION |
| 045 | Cert/Approval type | FM explosion proof | CERTIFICATION |
| 045 | Cert/Approval type | FM non-classified | CERTIFICATION |
| 045 | Cert/Approval type | German Lloyd | CERTIFICATION |
| 045 | Cert/Approval type | NA | CERTIFICATION |
| 045 | Cert/Approval type | TUV | CERTIFICATION |
| 045 | Cert/Approval type | UL non-classified | CERTIFICATION |
| 046 | Enclosure material | ABS | MATERIAL |
| 046 | Enclosure material | aluminum | MATERIAL |
| 046 | Enclosure material | clear polycarbonate | MATERIAL |
| 046 | Enclosure material | glass reinforced polyamid | MATERIAL |
| 047a | Defined attribute 1 name | Junction box style | DEFINABLE ATTRIBUTE NAME |
| 047a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 1 data | explosion proof | DEFINABLE ATTRIBUTE VALUE |
| 047b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 048a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 048a | Defined attribute 2 name | Tamper-proof style | DEFINABLE ATTRIBUTE NAME |
| 048b | Defined attribute 2 data | cover screws | DEFINABLE ATTRIBUTE VALUE |
| 048b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 049a | Defined attribute 3 name | Contacts material | DEFINABLE ATTRIBUTE NAME |
| 049a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 049b | Defined attribute 3 data | gold platted | DEFINABLE ATTRIBUTE VALUE |
| 049b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 059 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 060a | Max press at design temp |  | PRESSURE |
| 060au | Design pressure units | bar(g) | UNITS |
| 060au | Design pressure units | psig | UNITS |
| 060b | Max design temperature |  | DESIGN TEMPERATURE |
| 060bu | Design temperature units | °C | UNITS |
| 060bu | Design temperature units | °F | UNITS |
| 060bu | Design temperature units | C | UNITS |
| 060bu | Design temperature units | F | UNITS |
| 061a | Min working temperature |  | WORKING TEMPERATURE |
| 061au | Min working temp units | °C | UNITS |
| 061au | Min working temp units | °F | UNITS |
| 061au | Min working temp units | C | UNITS |
| 061au | Min working temp units | F | UNITS |
| 061b | Max working temperature |  | WORKING TEMPERATURE |
| 061bu | Max working temp units | °C | UNITS |
| 061bu | Max working temp units | °F | UNITS |
| 061bu | Max working temp units | C | UNITS |
| 061bu | Max working temp units | F | UNITS |
| 062a | Accuracy rating | 1.0 | ACCURACY RATING |
| 062a | Accuracy rating | 15 | ACCURACY RATING |
| 062a | Accuracy rating | 20 | ACCURACY RATING |
| 062a | Accuracy rating | 25 | ACCURACY RATING |
| 062a | Accuracy rating | 3 | ACCURACY RATING |
| 062a | Accuracy rating | 4 | ACCURACY RATING |
| 062a | Accuracy rating | 5 | ACCURACY RATING |
| 062b | Accuracy ref base | % | ACCURACY REFERENCE |
| 062b | Accuracy ref base | % full scale | ACCURACY REFERENCE |
| 063a | Repeatability | 0.4 |  |
| 063a | Repeatability | 3 |  |
| 063a | Repeatability | 5 |  |
| 063b | Repeatability ref base | % |  |
| 064a | Incr flow adjustable LRL |  |  |
| 064au | Incr flow LRL units | ft/min | UNITS |
| 064au | Incr flow LRL units | ft3STD/min | UNITS |
| 064au | Incr flow LRL units | galUS/min | UNITS |
| 064au | Incr flow LRL units | l/min | UNITS |
| 064au | Incr flow LRL units | m/min | UNITS |
| 064au | Incr flow LRL units | m3/h | UNITS |
| 064b | Incr flow adjustable URL |  |  |
| 064bu | Incr flow URL units | ft/min | UNITS |
| 064bu | Incr flow URL units | ft3STD/min | UNITS |
| 064bu | Incr flow URL units | galUS/min | UNITS |
| 064bu | Incr flow URL units | l/min | UNITS |
| 064bu | Incr flow URL units | m/min | UNITS |
| 064bu | Incr flow URL units | m3/h | UNITS |
| 065a | Decr flow adjustable LRL |  |  |
| 065au | Decr flow LRL units | ft/min | UNITS |
| 065au | Decr flow LRL units | ft3STD/min | UNITS |
| 065au | Decr flow LRL units | galUS/min | UNITS |
| 065au | Decr flow LRL units | l/min | UNITS |
| 065au | Decr flow LRL units | m/min | UNITS |
| 065au | Decr flow LRL units | m3/h | UNITS |
| 065b | Decr flow adjustable URL |  |  |
| 065bu | Decr flow URL units | ft/min | UNITS |
| 065bu | Decr flow URL units | ft3STD/min | UNITS |
| 065bu | Decr flow URL units | galUS/min | UNITS |
| 065bu | Decr flow URL units | l/min | UNITS |
| 065bu | Decr flow URL units | m/min | UNITS |
| 065bu | Decr flow URL units | m3/h | UNITS |
| 066a | Flow rate LRL |  | LOWER RANGE-LIMIT |
| 066au | Flow rate LRL units | ft/min | UNITS |
| 066au | Flow rate LRL units | ft/s | UNITS |
| 066au | Flow rate LRL units | ft3STD/min | UNITS |
| 066au | Flow rate LRL units | galUS/min | UNITS |
| 066au | Flow rate LRL units | l/min | UNITS |
| 066au | Flow rate LRL units | m/min | UNITS |
| 066au | Flow rate LRL units | m3/h | UNITS |
| 066b | Flow rate URL |  |  |
| 066bu | Flow rate URL units | ft/min | UNITS |
| 066bu | Flow rate URL units | ft/s | UNITS |
| 066bu | Flow rate URL units | ft3STD/min | UNITS |
| 066bu | Flow rate URL units | galUS/min | UNITS |
| 066bu | Flow rate URL units | l/min | UNITS |
| 066bu | Flow rate URL units | m/min | UNITS |
| 066bu | Flow rate URL units | m3/h | UNITS |
| 067 | Maximum pressure drop |  |  |
| 067u | Pressure drop units | bar | UNITS |
| 067u | Pressure drop units | kPa | UNITS |
| 067u | Pressure drop units | psi | UNITS |
| 068a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 068au | Min amb working temp units | °C | UNITS |
| 068au | Min amb working temp units | °F | UNITS |
| 068au | Min amb working temp units | C | UNITS |
| 068au | Min amb working temp units | F | UNITS |
| 068b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 068bu | Max amb temperature units | °C | UNITS |
| 068bu | Max amb temperature units | °F | UNITS |
| 068bu | Max amb temperature units | C | UNITS |
| 068bu | Max amb temperature units | F | UNITS |
| 069a | Contacts ac rating | 0.5 | DEVICE RATING |
| 069a | Contacts ac rating | 1.0 | DEVICE RATING |
| 069a | Contacts ac rating | 1.5 | DEVICE RATING |
| 069a | Contacts ac rating | 10 | DEVICE RATING |
| 069a | Contacts ac rating | 15 | DEVICE RATING |
| 069a | Contacts ac rating | 2 | DEVICE RATING |
| 069a | Contacts ac rating | 25 | DEVICE RATING |
| 069a | Contacts ac rating | 5 | DEVICE RATING |
| 069a | Contacts ac rating | 8 | DEVICE RATING |
| 069au | AC rating current units | A | UNITS |
| 069au | AC rating current units | hp | UNITS |
| 069b | AC rating max voltage | 120 | DEVICE RATING |
| 069b | AC rating max voltage | 125 | DEVICE RATING |
| 069b | AC rating max voltage | 150 | DEVICE RATING |
| 069b | AC rating max voltage | 208 | DEVICE RATING |
| 069b | AC rating max voltage | 220 | DEVICE RATING |
| 069b | AC rating max voltage | 230 | DEVICE RATING |
| 069b | AC rating max voltage | 240 | DEVICE RATING |
| 069b | AC rating max voltage | 250 | DEVICE RATING |
| 069b | AC rating max voltage | 277 | DEVICE RATING |
| 069b | AC rating max voltage | 480 | DEVICE RATING |
| 069b | AC rating max voltage | 600 | DEVICE RATING |
| 069bu | AC max voltage units | V | UNITS |
| 070a | Contacts dc rating | 0.5 | DEVICE RATING |
| 070a | Contacts dc rating | 1.0 | DEVICE RATING |
| 070a | Contacts dc rating | 10 | DEVICE RATING |
| 070a | Contacts dc rating | 8 | DEVICE RATING |
| 070au | DC rating current units | A | UNITS |
| 070b | DC rating max voltage | 125 | DEVICE RATING |
| 070b | DC rating max voltage | 150 | DEVICE RATING |
| 070b | DC rating max voltage | 230 | DEVICE RATING |
| 070b | DC rating max voltage | 24 | DEVICE RATING |
| 070b | DC rating max voltage | 30 | DEVICE RATING |
| 070b | DC rating max voltage | 60 | DEVICE RATING |
| 070bu | DC max voltage units | V | UNITS |
| 071a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071a | Defined attribute 1 name | Turndown ratio | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 1 data | 4:1 | DEFINABLE ATTRIBUTE VALUE |
| 071b | Defined attribute 1 data | 5:1 | DEFINABLE ATTRIBUTE VALUE |
| 071b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 072a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 073a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083 | ACCESSORIES | SECTION TITLE |  |
| 084 | Mating connector | 5 pin M12 female |  |
| 084 | Mating connector | 5 pin M12 female w/cable |  |
| 084 | Mating connector | DIN plug PG9 |  |
| 084 | Mating connector | NA |  |
| 085 | Remote relay | intrinsically safe relay |  |
| 085 | Remote relay | NA |  |
| 085 | Remote relay | solid state relay |  |
| 086a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 090 | Custom tag | al permanent attached |  |
| 090 | Custom tag | fiber tag |  |
| 090 | Custom tag | NA |  |
| 090 | Custom tag | sst permanent attached |  |
| 090 | Custom tag | sst wired-on |  |
| 091 | Reference specification | NA | REFERENCE SPECIFICATION |
| 092 | Compliance standard | CE conformance rated | NACE STANDARD |
| 092 | Compliance standard | NA | NACE STANDARD |
| 093 | Service design | Canada sprinkler service |  |
| 093 | Service design | marine service |  |
| 093 | Service design | NA |  |
| 093 | Service design | sprinkler service |  |
| 094a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 094b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 095a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 095b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 096a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 096b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 097 | PHYSICAL DATA | SECTION TITLE |  |
| 098 | Estimated weight |  |  |
| 098u | Weight units | g | UNITS |
| 098u | Weight units | kg | UNITS |
| 098u | Weight units | lb | UNITS |
| 099 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 099u | Face-to-face dim units | in | UNITS |
| 099u | Face-to-face dim units | mm | UNITS |
| 100 | Overall height |  |  |
| 100u | Overall height units | in | UNITS |
| 100u | Overall height units | mm | UNITS |
| 101 | Removal clearance |  |  |
| 101u | Removal clearance units | in | UNITS |
| 101u | Removal clearance units | mm | UNITS |
| 102a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 102a | Signal conn nominal size | 1/4 in | NOMINAL SIZE |
| 102a | Signal conn nominal size | 1/8 in | NOMINAL SIZE |
| 102a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 102b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 102b | Signal conn termn style | hole | END CONNECTION TYPE |
| 102b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 102b | Signal conn termn style | NPT(M) | END CONNECTION TYPE |
| 102b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 103 | Mfr reference dwg | NA |  |
| 104a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 104b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 105a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 105b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 106a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Setpoint 1 tag no |  |  |
| 112b | Flow setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 112c | Setpoint 1 LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Setpoint 1 LRV units | ft/min | UNITS |
| 112cu | Setpoint 1 LRV units | ft3STD/min | UNITS |
| 112cu | Setpoint 1 LRV units | galUS/min | UNITS |
| 112cu | Setpoint 1 LRV units | l/min | UNITS |
| 112cu | Setpoint 1 LRV units | m/min | UNITS |
| 112cu | Setpoint 1 LRV units | m3/h | UNITS |
| 112d | Setpoint 1 URV |  | UPPER RANGE-VALUE |
| 112du | Setpoint 1 URV units | ft/min | UNITS |
| 112du | Setpoint 1 URV units | ft3STD/min | UNITS |
| 112du | Setpoint 1 URV units | galUS/min | UNITS |
| 112du | Setpoint 1 URV units | l/min | UNITS |
| 112du | Setpoint 1 URV units | m/min | UNITS |
| 112du | Setpoint 1 URV units | m3/h | UNITS |
| 112e | Setpoint 1 signal action | NC |  |
| 112e | Setpoint 1 signal action | NO |  |
| 112f | Setpoint 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112fu | Setpoint 1 output LRV units | V | UNITS |
| 112g | Setpoint 1 output URV | 120 | UPPER RANGE-VALUE |
| 112g | Setpoint 1 output URV | 24 | UPPER RANGE-VALUE |
| 112gu | Setpoint 1 output URV units | V | UNITS |
| 113a | Setpoint 2 tag no |  |  |
| 113b | Flow setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 113c | Setpoint 2 LRV | 0 | LOWER RANGE-VALUE |
| 113cu | Setpoint 2 LRV units | ft/min | UNITS |
| 113cu | Setpoint 2 LRV units | ft3STD/min | UNITS |
| 113cu | Setpoint 2 LRV units | galUS/min | UNITS |
| 113cu | Setpoint 2 LRV units | l/min | UNITS |
| 113cu | Setpoint 2 LRV units | m/min | UNITS |
| 113cu | Setpoint 2 LRV units | m3/h | UNITS |
| 113d | Setpoint 2 URV |  | UPPER RANGE-VALUE |
| 113du | Setpoint 2 URV units | ft/min | UNITS |
| 113du | Setpoint 2 URV units | ft3STD/min | UNITS |
| 113du | Setpoint 2 URV units | galUS/min | UNITS |
| 113du | Setpoint 2 URV units | l/min | UNITS |
| 113du | Setpoint 2 URV units | m/min | UNITS |
| 113du | Setpoint 2 URV units | m3/h | UNITS |
| 113e | Setpoint 2 signal action | NC |  |
| 113e | Setpoint 2 signal action | NO |  |
| 113f | Setpoint 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113fu | Setpoint 2 output LRV units | V | UNITS |
| 113g | Setpoint 2 output URV | 120 | UPPER RANGE-VALUE |
| 113g | Setpoint 2 output URV | 24 | UPPER RANGE-VALUE |
| 113gu | Setpoint 2 output URV units | V | UNITS |
| 114a | Setpoint 3 tag no |  |  |
| 114b | Flow setpoint 3-Output | CALIBRATION/TEST DESC |  |
| 114c | Setpoint 3 LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Setpoint 3 LRV units | ft/min | UNITS |
| 114cu | Setpoint 3 LRV units | ft3STD/min | UNITS |
| 114cu | Setpoint 3 LRV units | galUS/min | UNITS |
| 114cu | Setpoint 3 LRV units | l/min | UNITS |
| 114cu | Setpoint 3 LRV units | m/min | UNITS |
| 114cu | Setpoint 3 LRV units | m3/h | UNITS |
| 114d | Setpoint 3 URV |  | UPPER RANGE-VALUE |
| 114du | Setpoint 3 URV units | ft/min | UNITS |
| 114du | Setpoint 3 URV units | ft3STD/min | UNITS |
| 114du | Setpoint 3 URV units | galUS/min | UNITS |
| 114du | Setpoint 3 URV units | l/min | UNITS |
| 114du | Setpoint 3 URV units | m/min | UNITS |
| 114du | Setpoint 3 URV units | m3/h | UNITS |
| 114e | Setpoint 3 signal action | NC |  |
| 114e | Setpoint 3 signal action | NO |  |
| 114f | Setpoint 3 output LRV | 0 | LOWER RANGE-VALUE |
| 114fu | Setpoint 3 output LRV units | V | UNITS |
| 114g | Setpoint 3 output URV | 120 | UPPER RANGE-VALUE |
| 114g | Setpoint 3 output URV | 24 | UPPER RANGE-VALUE |
| 114gu | Setpoint 3 output URV units | V | UNITS |
| 115a | Setpoint 4 tag no |  |  |
| 115b | Flow setpoint 4-Output | CALIBRATION/TEST DESC |  |
| 115c | Setpoint 4 LRV | 0 | LOWER RANGE-VALUE |
| 115cu | Setpoint 4 LRV units | ft/min | UNITS |
| 115cu | Setpoint 4 LRV units | ft3STD/min | UNITS |
| 115cu | Setpoint 4 LRV units | galUS/min | UNITS |
| 115cu | Setpoint 4 LRV units | l/min | UNITS |
| 115cu | Setpoint 4 LRV units | m/min | UNITS |
| 115cu | Setpoint 4 LRV units | m3/h | UNITS |
| 115d | Setpoint 4 URV |  | UPPER RANGE-VALUE |
| 115du | Setpoint 4 URV units | ft/min | UNITS |
| 115du | Setpoint 4 URV units | ft3STD/min | UNITS |
| 115du | Setpoint 4 URV units | galUS/min | UNITS |
| 115du | Setpoint 4 URV units | l/min | UNITS |
| 115du | Setpoint 4 URV units | m/min | UNITS |
| 115du | Setpoint 4 URV units | m3/h | UNITS |
| 115e | Setpoint 4 signal action | NC |  |
| 115e | Setpoint 4 signal action | NO |  |
| 115f | Setpoint 4 output LRV | 0 | LOWER RANGE-VALUE |
| 115fu | Setpoint 4 output LRV units | V | UNITS |
| 115g | Setpoint 4 output URV | 120 | UPPER RANGE-VALUE |
| 115g | Setpoint 4 output URV | 24 | UPPER RANGE-VALUE |
| 115gu | Setpoint 4 output URV units | V | UNITS |
| 116a | Setpoint 5 tag no |  |  |
| 116b | Flow setpoint 5-Output | CALIBRATION/TEST DESC |  |
| 116c | Setpoint 5 LRV | 0 | LOWER RANGE-VALUE |
| 116cu | Setpoint 5 LRV units | ft/min | UNITS |
| 116cu | Setpoint 5 LRV units | ft3STD/min | UNITS |
| 116cu | Setpoint 5 LRV units | galUS/min | UNITS |
| 116cu | Setpoint 5 LRV units | l/min | UNITS |
| 116cu | Setpoint 5 LRV units | m/min | UNITS |
| 116cu | Setpoint 5 LRV units | m3/h | UNITS |
| 116d | Setpoint 5 URV |  | UPPER RANGE-VALUE |
| 116du | Setpoint 5 URV units | ft/min | UNITS |
| 116du | Setpoint 5 URV units | ft3STD/min | UNITS |
| 116du | Setpoint 5 URV units | galUS/min | UNITS |
| 116du | Setpoint 5 URV units | l/min | UNITS |
| 116du | Setpoint 5 URV units | m/min | UNITS |
| 116du | Setpoint 5 URV units | m3/h | UNITS |
| 116e | Setpoint 5 signal action | NC |  |
| 116e | Setpoint 5 signal action | NO |  |
| 116f | Setpoint 5 output LRV | 0 | LOWER RANGE-VALUE |
| 116fu | Setpoint 5 output LRV units | V | UNITS |
| 116g | Setpoint 5 output URV | 120 | UPPER RANGE-VALUE |
| 116g | Setpoint 5 output URV | 24 | UPPER RANGE-VALUE |
| 116gu | Setpoint 5 output URV units | V | UNITS |
| 117a | Setpoint 6 tag no |  |  |
| 117b | Flow setpoint 6-Output | CALIBRATION/TEST DESC |  |
| 117c | Setpoint 6 LRV | 0 | LOWER RANGE-VALUE |
| 117cu | Setpoint 6 LRV units | ft/min | UNITS |
| 117cu | Setpoint 6 LRV units | ft3STD/min | UNITS |
| 117cu | Setpoint 6 LRV units | galUS/min | UNITS |
| 117cu | Setpoint 6 LRV units | l/min | UNITS |
| 117cu | Setpoint 6 LRV units | m/min | UNITS |
| 117cu | Setpoint 6 LRV units | m3/h | UNITS |
| 117d | Setpoint 6 URV |  | UPPER RANGE-VALUE |
| 117du | Setpoint 6 URV units | ft/min | UNITS |
| 117du | Setpoint 6 URV units | ft3STD/min | UNITS |
| 117du | Setpoint 6 URV units | galUS/min | UNITS |
| 117du | Setpoint 6 URV units | l/min | UNITS |
| 117du | Setpoint 6 URV units | m/min | UNITS |
| 117du | Setpoint 6 URV units | m3/h | UNITS |
| 117e | Setpoint 6 signal action | NC |  |
| 117e | Setpoint 6 signal action | NO |  |
| 117f | Setpoint 6 output LRV | 0 | LOWER RANGE-VALUE |
| 117fu | Setpoint 6 output LRV units | V | UNITS |
| 117g | Setpoint 6 output URV | 120 | UPPER RANGE-VALUE |
| 117g | Setpoint 6 output URV | 24 | UPPER RANGE-VALUE |
| 117gu | Setpoint 6 output URV units | V | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 118a | Scale tag no |  |  |
| 118b | Flow rate-Scale | CALIBRATION/TEST DESC |  |
| 118c | Scale measurement LRV | 0 | LOWER RANGE-VALUE |
| 118cu | Scale meas LRV units | ft/min | UNITS |
| 118cu | Scale meas LRV units | ft3STD/min | UNITS |
| 118cu | Scale meas LRV units | galUS/min | UNITS |
| 118cu | Scale meas LRV units | l/min | UNITS |
| 118cu | Scale meas LRV units | m/min | UNITS |
| 118cu | Scale meas LRV units | m3/h | UNITS |
| 118d | Scale measurement URV |  | UPPER RANGE-VALUE |
| 118du | Scale meas URV units | ft/min | UNITS |
| 118du | Scale meas URV units | ft3STD/min | UNITS |
| 118du | Scale meas URV units | galUS/min | UNITS |
| 118du | Scale meas URV units | l/min | UNITS |
| 118du | Scale meas URV units | m/min | UNITS |
| 118du | Scale meas URV units | m3/h | UNITS |
| 118e | Scale meas signal action | direct |  |
| 118e | Scale meas signal action | reverse |  |
| 118f | Scale Lower Range-Value | 0 |  |
| 118fu | Scale LRV units | % | UNITS |
| 118fu | Scale LRV units | ft/min | UNITS |
| 118fu | Scale LRV units | ft3STD/min | UNITS |
| 118fu | Scale LRV units | galUS/min | UNITS |
| 118fu | Scale LRV units | l/min | UNITS |
| 118fu | Scale LRV units | m/min | UNITS |
| 118fu | Scale LRV units | m3/h | UNITS |
| 118g | Scale Upper Range-Value |  |  |
| 118gu | Scale URV units | % | UNITS |
| 118gu | Scale URV units | ft/min | UNITS |
| 118gu | Scale URV units | ft3STD/min | UNITS |
| 118gu | Scale URV units | galUS/min | UNITS |
| 118gu | Scale URV units | l/min | UNITS |
| 118gu | Scale URV units | m/min | UNITS |
| 118gu | Scale URV units | m3/h | UNITS |
| 119a | Flow rate tag no |  |  |
| 119b | Flow rate-Analog output | CALIBRATION/TEST DESC |  |
| 119c | Flow rate LRV | 0 | LOWER RANGE-VALUE |
| 119cu | Flow rate LRV units | ft/min | UNITS |
| 119cu | Flow rate LRV units | ft3STD/min | UNITS |
| 119cu | Flow rate LRV units | galUS/min | UNITS |
| 119cu | Flow rate LRV units | l/min | UNITS |
| 119cu | Flow rate LRV units | m/min | UNITS |
| 119cu | Flow rate LRV units | m3/h | UNITS |
| 119d | Flow rate URV |  | UPPER RANGE-VALUE |
| 119du | Flow rate URV units | ft/min | UNITS |
| 119du | Flow rate URV units | ft3STD/min | UNITS |
| 119du | Flow rate URV units | galUS/min | UNITS |
| 119du | Flow rate URV units | l/min | UNITS |
| 119du | Flow rate URV units | m/min | UNITS |
| 119du | Flow rate URV units | m3/h | UNITS |
| 119e | Flow rate action | direct |  |
| 119e | Flow rate action | reverse |  |
| 119f | Flow rate output LRV | 0 | LOWER RANGE-VALUE |
| 119f | Flow rate output LRV | 4 | LOWER RANGE-VALUE |
| 119fu | Flow output LRV units | ft/min | UNITS |
| 119fu | Flow output LRV units | ft3STD/min | UNITS |
| 119fu | Flow output LRV units | galUS/min | UNITS |
| 119fu | Flow output LRV units | kHz | UNITS |
| 119fu | Flow output LRV units | l/min | UNITS |
| 119fu | Flow output LRV units | m/min | UNITS |
| 119fu | Flow output LRV units | m3/h | UNITS |
| 119fu | Flow output LRV units | mA | UNITS |
| 119g | Flow rate output URV | 20 | UPPER RANGE-VALUE |
| 119gu | Flow output URV units | ft/min | UNITS |
| 119gu | Flow output URV units | ft3STD/min | UNITS |
| 119gu | Flow output URV units | galUS/min | UNITS |
| 119gu | Flow output URV units | kHz | UNITS |
| 119gu | Flow output URV units | l/min | UNITS |
| 119gu | Flow output URV units | m/min | UNITS |
| 119gu | Flow output URV units | m3/h | UNITS |
| 119gu | Flow output URV units | mA | UNITS |
| 120a | Attribute tag no |  |  |
| 120b | Attribute cal/test descp | CALIBRATION/TEST DESC |  |
| 120c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 120cu | Attr cal/test LRV units |  | UNITS |
| 120d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 120du | Attr cal/test URV units |  | UNITS |
| 120e | Attribute cal/test action |  |  |
| 120f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 120fu | Attr output LRV units |  | UNITS |
| 120g | Attribute output URV |  | UPPER RANGE-VALUE |
| 120gu | Attr output URV units |  | UNITS |
| 123a | Component type | air flow switch |  |
| 123a | Component type | liquid flow switch |  |
| 123a | Component type | paddle flowmeter |  |
| 123b | Manufacturer | paddle flow switch | MANUFACTURER |
| 123c | Model number |  | MODEL NUMBER |
| 124a | Component type |  |  |
| 124b | Manufacturer |  | MANUFACTURER |
| 124c | Model number |  | MODEL NUMBER |
| 125a | Component type |  |  |
| 125b | Manufacturer |  | MANUFACTURER |
| 125c | Model number |  | MODEL NUMBER |
| 126a | Component type |  |  |
| 126b | Manufacturer |  | MANUFACTURER |
| 126c | Model number |  | MODEL NUMBER |