| Picklist 20F2011 Elbow Flow Meter |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | ELBOW FITTING | SECTION TITLE |  |
| 012 | Fitting type | 90 degree elbow |  |
| 012 | Fitting type | 45 degree elbow |  |
| 013 | Elbow nominal size | 65 mm |  |
| 013 | Elbow nominal size | 3/4 in |  |
| 013 | Elbow nominal size | 1 in |  |
| 013 | Elbow nominal size | 1 1/2 in |  |
| 013 | Elbow nominal size | 2 in |  |
| 013 | Elbow nominal size | 2 1/2 in |  |
| 013 | Elbow nominal size | 3 in |  |
| 013 | Elbow nominal size | 4 in |  |
| 013 | Elbow nominal size | 5 in |  |
| 013 | Elbow nominal size | 6 in |  |
| 013 | Elbow nominal size | 8 in |  |
| 013 | Elbow nominal size | 10 in |  |
| 013 | Elbow nominal size | 12 in |  |
| 013 | Elbow nominal size | 14 in |  |
| 013 | Elbow nominal size | 16 in |  |
| 013 | Elbow nominal size | 18 in |  |
| 013 | Elbow nominal size | 20 in |  |
| 013 | Elbow nominal size | 20 mm |  |
| 013 | Elbow nominal size | 24 in |  |
| 013 | Elbow nominal size | 25 mm |  |
| 013 | Elbow nominal size | 30 in |  |
| 013 | Elbow nominal size | 32 mm |  |
| 013 | Elbow nominal size | 36 in |  |
| 013 | Elbow nominal size | 40 mm |  |
| 013 | Elbow nominal size | 50 mm |  |
| 013 | Elbow nominal size | 80 mm |  |
| 013 | Elbow nominal size | 100 mm |  |
| 013 | Elbow nominal size | 150 mm |  |
| 013 | Elbow nominal size | 200 mm |  |
| 014a | End conn nominal size | 65 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 014a | End conn nominal size | 1 in | NOMINAL SIZE |
| 014a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 3 in | NOMINAL SIZE |
| 014a | End conn nominal size | 4 in | NOMINAL SIZE |
| 014a | End conn nominal size | 5 in | NOMINAL SIZE |
| 014a | End conn nominal size | 6 in | NOMINAL SIZE |
| 014a | End conn nominal size | 8 in | NOMINAL SIZE |
| 014a | End conn nominal size | 10 in | NOMINAL SIZE |
| 014a | End conn nominal size | 12 in | NOMINAL SIZE |
| 014a | End conn nominal size | 14 in | NOMINAL SIZE |
| 014a | End conn nominal size | 16 in | NOMINAL SIZE |
| 014a | End conn nominal size | 18 in | NOMINAL SIZE |
| 014a | End conn nominal size | 20 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 20 in | NOMINAL SIZE |
| 014a | End conn nominal size | 24 in | NOMINAL SIZE |
| 014a | End conn nominal size | 25 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 30 in | NOMINAL SIZE |
| 014a | End conn nominal size | 32 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 36 in | NOMINAL SIZE |
| 014a | End conn nominal size | 40 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 50 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 80 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 100 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 150 mm | NOMINAL SIZE |
| 014a | End conn nominal size | 200 mm | NOMINAL SIZE |
| 014b | End conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 800 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 420 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 20 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | PN 150 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 25 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 75 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 015a | End conn termn type | welded | END CONNECTION TYPE |
| 015a | End conn termn type | threaded | END CONNECTION TYPE |
| 015a | End conn termn type | clamped | END CONNECTION TYPE |
| 015a | End conn termn type | plain | END CONNECTION TYPE |
| 015a | End conn termn type | flanged | END CONNECTION TYPE |
| 015b | End conn termn style | grayloc | END CONNECTION TYPE |
| 015b | End conn termn style | FF | END CONNECTION TYPE |
| 015b | End conn termn style | T&G | END CONNECTION TYPE |
| 015b | End conn termn style | RTJ | END CONNECTION TYPE |
| 015b | End conn termn style | RF | END CONNECTION TYPE |
| 015b | End conn termn style | SW(F) | END CONNECTION TYPE |
| 015b | End conn termn style | BW | END CONNECTION TYPE |
| 015b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 016a | Elbow schedule number | 10 |  |
| 016a | Elbow schedule number | 140 |  |
| 016a | Elbow schedule number | NA |  |
| 016a | Elbow schedule number | 40S |  |
| 016a | Elbow schedule number | 80 |  |
| 016a | Elbow schedule number | 40 |  |
| 016a | Elbow schedule number | 60 |  |
| 016a | Elbow schedule number | 30 |  |
| 016a | Elbow schedule number | XS |  |
| 016a | Elbow schedule number | STD |  |
| 016a | Elbow schedule number | 20 |  |
| 016a | Elbow schedule number | 10S |  |
| 016a | Elbow schedule number | 120 |  |
| 016a | Elbow schedule number | XXS |  |
| 016a | Elbow schedule number | 100 |  |
| 016a | Elbow schedule number | 160 |  |
| 016a | Elbow schedule number | 5 |  |
| 016b | Elbow wall thickness |  |  |
| 016bu | Elbow wall thickness units | mm |  |
| 016bu | Elbow wall thickness units | in |  |
| 017a | Press tap conn nom size | 1/4 in | NOMINAL SIZE |
| 017b | Pressure tap nom rating | NA | NOMINAL PRESSURE/RATING |
| 018a | Press tap conn type | threaded | NOMINAL PRESSURE/RATING |
| 018b | Press tap conn style | NPT(F) | PRESSURE TAP |
| 019 | High pressure tap location | 45 degree outer radii |  |
| 020 | Low pressure tap location | 22.5 degree inner radii |  |
| 021 | Discharge straight length |  |  |
| 021u | Discharge straight length unit | mm |  |
| 021u | Discharge straight length unit | in |  |
| 021u | Discharge straight length unit | NA |  |
| 022 | Fitting material | fiberglass | MATERIAL |
| 022 | Fitting material | titanium | MATERIAL |
| 022 | Fitting material | cast iron | MATERIAL |
| 022 | Fitting material | aluminum | MATERIAL |
| 022 | Fitting material | bronze | MATERIAL |
| 022 | Fitting material | PVC | MATERIAL |
| 022 | Fitting material | carbon steel | MATERIAL |
| 022 | Fitting material | 316 SST | MATERIAL |
| 022 | Fitting material | ASTM 234 Gr B | MATERIAL |
| 023 | Flange material | NA | MATERIAL |
| 024a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 024a | Defined attribute 1 name | Exterior treatment | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 1 data | nickel plating | DEFINABLE ATTRIBUTE VALUE |
| 024b | Defined attribute 1 data | coal tar | DEFINABLE ATTRIBUTE VALUE |
| 024b | Defined attribute 1 data | epoxy coating | DEFINABLE ATTRIBUTE VALUE |
| 024b | Defined attribute 1 data | galvanizing | DEFINABLE ATTRIBUTE VALUE |
| 024b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 025a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 025b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 026b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 027 | FLOW CONDITIONER | SECTION TITLE |  |
| 028 | Flow conditioner type | integral anti-swirl vane |  |
| 028 | Flow conditioner type | NA |  |
| 029a | End conn nominal size | NA | NOMINAL SIZE |
| 029a | End conn nominal size | 65 mm | NOMINAL SIZE |
| 029a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 029a | End conn nominal size | 1 in | NOMINAL SIZE |
| 029a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 029a | End conn nominal size | 2 in | NOMINAL SIZE |
| 029a | End conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 029a | End conn nominal size | 3 in | NOMINAL SIZE |
| 029a | End conn nominal size | 4 in | NOMINAL SIZE |
| 029a | End conn nominal size | 5 in | NOMINAL SIZE |
| 029a | End conn nominal size | 6 in | NOMINAL SIZE |
| 029a | End conn nominal size | 8 in | NOMINAL SIZE |
| 029a | End conn nominal size | 10 in | NOMINAL SIZE |
| 029a | End conn nominal size | 12 in | NOMINAL SIZE |
| 029a | End conn nominal size | 14 in | NOMINAL SIZE |
| 029a | End conn nominal size | 16 in | NOMINAL SIZE |
| 029a | End conn nominal size | 18 in | NOMINAL SIZE |
| 029a | End conn nominal size | 20 mm | NOMINAL SIZE |
| 029a | End conn nominal size | 20 in | NOMINAL SIZE |
| 029a | End conn nominal size | 24 in | NOMINAL SIZE |
| 029a | End conn nominal size | 25 mm | NOMINAL SIZE |
| 029a | End conn nominal size | 30 in | NOMINAL SIZE |
| 029a | End conn nominal size | 32 mm | NOMINAL SIZE |
| 029a | End conn nominal size | 36 in | NOMINAL SIZE |
| 029a | End conn nominal size | 40 mm | NOMINAL SIZE |
| 029a | End conn nominal size | 50 mm | NOMINAL SIZE |
| 029a | End conn nominal size | 80 mm | NOMINAL SIZE |
| 029a | End conn nominal size | 100 mm | NOMINAL SIZE |
| 029a | End conn nominal size | 150 mm | NOMINAL SIZE |
| 029a | End conn nominal size | 200 mm | NOMINAL SIZE |
| 029b | End conn nominal rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 420 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 800 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 75 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 25 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 20 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 029b | End conn nominal rating | PN 150 | NOMINAL PRESSURE/RATING |
| 030a | Inlet conn termn type | plain |  |
| 030a | Inlet conn termn type | weld |  |
| 030a | End conn termn type | welded | END CONNECTION TYPE |
| 030a | Inlet conn termn type | NA |  |
| 030a | Inlet conn termn type | threaded |  |
| 030a | Inlet conn termn type | flanged |  |
| 030a | Inlet conn termn type | clamped |  |
| 030b | Inlet conn termn style | NA |  |
| 030b | Inlet conn termn style | BW |  |
| 030b | End conn termn style | FF | END CONNECTION TYPE |
| 030b | End conn termn style | T&G | END CONNECTION TYPE |
| 030b | End conn termn style | RTJ | END CONNECTION TYPE |
| 030b | End conn termn style | SW(F) | END CONNECTION TYPE |
| 030b | End conn termn style | grayloc | END CONNECTION TYPE |
| 030b | Inlet conn termn style | NPT(M) |  |
| 030b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 030b | End conn termn style | RF | END CONNECTION TYPE |
| 031 | Pipe/Tube schedule number | NA |  |
| 031a | Pipe/Tube schedule number | 120 |  |
| 031a | Pipe/Tube schedule number | 140 |  |
| 031a | Pipe/Tube schedule number | 160 |  |
| 031a | Pipe/Tube schedule number | 20 |  |
| 031a | Pipe/Tube schedule number | 10S |  |
| 031a | Pipe/Tube schedule number | 100 |  |
| 031a | Pipe/Tube schedule number | 10 |  |
| 031a | Pipe/Tube schedule number | 30 |  |
| 031a | Pipe/Tube schedule number | 40 |  |
| 031a | Pipe/Tube schedule number | 40S |  |
| 031a | Pipe/Tube schedule number | 5 |  |
| 031a | Pipe/Tube schedule number | 60 |  |
| 031a | Pipe/Tube schedule number | 80 |  |
| 031a | Pipe/Tube schedule number | NA |  |
| 031a | Pipe/Tube schedule number | STD |  |
| 031a | Pipe/Tube schedule number | XS |  |
| 031a | Pipe/Tube schedule number | XXS |  |
| 032a | Outlet conn termn type | NA |  |
| 032a | Outlet conn termn type | welded |  |
| 032a | Outlet conn termn type | threaded |  |
| 032a | Outlet conn termn type | weld |  |
| 032b | Outlet conn termn style | NA |  |
| 032b | Outlet conn termn style | BW |  |
| 032b | Outlet conn termn style | NPT(M) |  |
| 032b | Outlet conn termn style | SW(M) |  |
| 033 | Pipe/Tube material | carbon steel | MATERIAL |
| 033 | Pipe/Tube material | PVC | MATERIAL |
| 033 | Pipe/Tube material | NA | MATERIAL |
| 034 | Flow conditioner material | NA |  |
| 034 | Flow conditioner material | ASTM 234 Gr B |  |
| 035 | Flange material | NA | MATERIAL |
| 035 | Flange material | NA | MATERIAL |
| 036a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 036b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 037a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 037b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 038a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 039 | ISOLATION VALVES AND FITTINGS | SECTION TITLE |  |
| 040 | Valve type | ball |  |
| 040 | Valve type | NA |  |
| 041a | End conn nominal size | NA | NOMINAL SIZE |
| 041a | End conn nominal size | 1/4 in | NOMINAL SIZE |
| 041b | End conn nom rating | NA |  |
| 042a | End conn termn type | threaded | END CONNECTION TYPE |
| 042a | End conn termn type | NA | END CONNECTION TYPE |
| 042b | End conn termn style | NA | END CONNECTION TYPE |
| 042b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 043 | Connection fitting type | NA |  |
| 043 | Connection fitting type | quick disconnect |  |
| 044 | Nipple nominal size | NA |  |
| 044 | Nipple nominal size | 1/4 in x 75 mm long |  |
| 044 | Nipple nominal size | 1/4 in x 3 in long |  |
| 045 | Valve body material | PVC | MATERIAL |
| 045 | Valve body material | NA | MATERIAL |
| 046 | Nipple material | PVC | MATERIAL |
| 046 | Nipple material | NA | MATERIAL |
| 047 | Connection fitting matl | stainless steel |  |
| 047 | Connection fitting matl | NA |  |
| 048 | Valve seal material | NA | MATERIAL |
| 048 | Valve seal material | teflon | MATERIAL |
| 049a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 049b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 050a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 050b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 051a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 052b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp | 350 | PRESSURE |
| 061a | Max press at design temp | 150 | PRESSURE |
| 061a | Max press at design temp | 160 | PRESSURE |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature | 250 | DESIGN TEMPERATURE |
| 061b | Max design temperature | 250 | DESIGN TEMPERATURE |
| 061b | Max design temperature | 75 | DESIGN TEMPERATURE |
| 061bu | Design temperature units | F | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 062a | Min working temperature |  | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062b | Max working temperature |  | WORKING TEMPERATURE |
| 062bu | Max working temp units | F | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 063 | Uncalibrated accuracy | 4.0 | ACCURACY RATING |
| 063b | Accuracy rating ref base | % actual flow | ACCURACY REFERENCE |
| 064 | Calibrated accuracy | 1.5 |  |
| 064b | Calibrated accuracy ref base | % actual flow |  |
| 065 | Discharge coefficient |  |  |
| 066 | Perm head loss at URL |  | HEAD LOSS |
| 066u | Head loss units | mmH2O | UNITS |
| 066u | Head loss units | Pa | UNITS |
| 066u | Head loss units | inH2O | UNITS |
| 067a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087 | ACCESSORIES | SECTION TITLE |  |
| 088a | Definable attribute1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Definable attribute1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Definable attribute2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Definable attribute2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Definable attribute3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Definable attribute3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 092 | Custom tag | sst wired-on |  |
| 092 | Custom tag | NA |  |
| 092 | Custom tag | fiber tag |  |
| 092 | Custom tag | sst permanent attached |  |
| 093 | Reference specification | NA | REFERENCE SPECIFICATION |
| 094 | Compliance standard | NA | NACE STANDARD |
| 094 | Compliance standard | NACE MR0175/ISO 15156 | NACE STANDARD |
| 095 | Construction code | ANSI B31.8 |  |
| 095 | Construction code | NA |  |
| 095 | Construction code | ANSI B31.1 |  |
| 095 | Construction code | ANSI B31.3 |  |
| 095 | Construction code | ASME sect VIII |  |
| 096 | Calculation report | calibration report |  |
| 096 | Calculation report | NA |  |
| 097 | Special inspections | X-ray/DYE pent 100% |  |
| 097 | Special inspections | weld radiographs |  |
| 097 | Special inspections | NA |  |
| 097 | Special inspections | X-ray-DYE pent or Mag |  |
| 097 | Special inspections | X-ray/DYE pent random |  |
| 098a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 101 | PHYSICAL DATA | SECTION TITLE |  |
| 102 | Estimated weight |  |  |
| 102u | Weight units | lb | UNITS |
| 102u | Weight units | kg | UNITS |
| 103 | Inlet to disch centerline |  |  |
| 103u | Inlet to disch centerline unit | mm |  |
| 103u | Inlet to disch centerline unit | in |  |
| 104 | Oulet to inlet centerline |  |  |
| 104u | Oulet to inlet centerline unit | in |  |
| 104u | Oulet to inlet centerline unit | mm |  |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag number |  |  |
| 112b | Flow rate-Diff pressure |  |  |
| 112b | Flow rate-Diff pressure | CALIBRATION/TEST DESC |  |
| 112c | Flow rate LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Flow rate LRV units | bbl/d | UNITS |
| 112cu | Flow rate LRV units | galUS/h | UNITS |
| 112cu | Flow rate LRV units | galUS/min | UNITS |
| 112cu | Flow rate LRV units | kg/d | UNITS |
| 112cu | Flow rate LRV units | kg/h | UNITS |
| 112cu | Flow rate LRV units | kg/s | UNITS |
| 112cu | Flow rate LRV units | L/d(std) | UNITS |
| 112cu | Flow rate LRV units | L/s | UNITS |
| 112cu | Flow rate LRV units | L/s(std) | UNITS |
| 112cu | Flow rate LRV units | lb/h | UNITS |
| 112cu | Flow rate LRV units | m3/h | UNITS |
| 112cu | Flow rate LRV units | m3/s | UNITS |
| 112d | Flow rate URV |  | UPPER RANGE-VALUE |
| 112du | Flow rate URV units | bbl/d | UNITS |
| 112du | Flow rate URV units | galUS/h | UNITS |
| 112du | Flow rate URV units | galUS/min | UNITS |
| 112du | Flow rate URV units | kg/d | UNITS |
| 112du | Flow rate URV units | kg/h | UNITS |
| 112du | Flow rate URV units | kg/s | UNITS |
| 112du | Flow rate URV units | L/d(std) | UNITS |
| 112du | Flow rate URV units | L/s | UNITS |
| 112du | Flow rate URV units | L/s(std) | UNITS |
| 112du | Flow rate URV units | lb/h | UNITS |
| 112du | Flow rate URV units | m3/h | UNITS |
| 112du | Flow rate URV units | m3/s | UNITS |
| 112e | Diff pressure LRV | 0 | LOWER RANGE-VALUE |
| 112fu | Diff pressure LRV units | inH2O | UNITS |
| 112fu | Diff pressure LRV units | mmH2O | UNITS |
| 112fu | Diff pressure LRV units | Pa | UNITS |
| 112g | Diff pressure URV |  | UPPER RANGE-VALUE |
| 112gu | Diff pressure URV units | inH2O | UNITS |
| 112gu | Diff pressure URV units | mmH2O | UNITS |
| 112gu | Diff pressure URV units | Pa | UNITS |
| 113b | Test pressure |  |  |
| 113b | Test pressure | CALIBRATION/TEST DESC |  |
| 113d | Test pressure URV |  | UPPER RANGE-VALUE |
| 113du | Test pressure URV units | bar(g) | UNITS |
| 113du | Test pressure URV units | psig | UNITS |
| 118 | COMPONENT IDENTIFICATIONS |  |  |
| 120a | Component type | ellow flow meter |  |
| 120b | Manufacturer |  |  |
| 120c | Model number |  |  |
| 121a | Component type |  |  |
| 121b | Manufacturer |  |  |
| 121c | Model number |  |  |
| 122a | Component type |  |  |
| 122b | Manufacturer |  |  |
| 122c | Model number |  |  |
| 123a | Component type |  |  |
| 123b | Manufacturer |  |  |
| 123c | Model number |  |  |
| 124a | Component type |  |  |
| 124b | Manufacturer |  |  |
| 124c | Model number |  |  |
| 125a | Component type |  |  |
| 125b | Manufacturer |  |  |
| 125c | Model number |  |  |