| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | ORIFICE PLATE AND HOLDER | SECTION TITLE |  |
| 012 | Plate type | hand type-Ring joint | ORIFICE PLATE |
| 012 | Plate type | paddle type | ORIFICE PLATE |
| 012 | Plate type | universal size | ORIFICE PLATE |
| 013 | Holder/Seal unit style | dual seal | ORIFICE FITTING |
| 013 | Holder/Seal unit style | integral plate holder | ORIFICE FITTING |
| 013 | Holder/Seal unit style | metal seal clip-ring | ORIFICE FITTING |
| 013 | Holder/Seal unit style | screwed plate holder | ORIFICE FITTING |
| 013 | Holder/Seal unit style | snap ring plate seal | ORIFICE FITTING |
| 013 | Holder/Seal unit style | NA | ORIFICE FITTING |
| 014 | Nominal size | 1/2 in | NOMINAL SIZE |
| 014 | Nominal size | 3/4 in | NOMINAL SIZE |
| 014 | Nominal size | 1 in | NOMINAL SIZE |
| 014 | Nominal size | 1 1/2 in | NOMINAL SIZE |
| 014 | Nominal size | 2 in | NOMINAL SIZE |
| 014 | Nominal size | 2 1/2 in | NOMINAL SIZE |
| 014 | Nominal size | 3 in | NOMINAL SIZE |
| 014 | Nominal size | 4 in | NOMINAL SIZE |
| 014 | Nominal size | 5 in | NOMINAL SIZE |
| 014 | Nominal size | 6 in | NOMINAL SIZE |
| 014 | Nominal size | 8 in | NOMINAL SIZE |
| 014 | Nominal size | 10 in | NOMINAL SIZE |
| 014 | Nominal size | 12 in | NOMINAL SIZE |
| 014 | Nominal size | 14 in | NOMINAL SIZE |
| 014 | Nominal size | 16 in | NOMINAL SIZE |
| 014 | Nominal size | 18 in | NOMINAL SIZE |
| 014 | Nominal size | 20 in | NOMINAL SIZE |
| 014 | Nominal size | 24 in | NOMINAL SIZE |
| 014 | Nominal size | 26 in | NOMINAL SIZE |
| 014 | Nominal size | 30 in | NOMINAL SIZE |
| 014 | Nominal size | 34 in | NOMINAL SIZE |
| 014 | Nominal size | 36 in | NOMINAL SIZE |
| 014 | Nominal size | 42 in | NOMINAL SIZE |
| 015 | API ring no | R11 | API RING NO |
| 015 | API ring no | R12 | API RING NO |
| 015 | API ring no | R13 | API RING NO |
| 015 | API ring no | R14 | API RING NO |
| 015 | API ring no | R15 | API RING NO |
| 015 | API ring no | R16 | API RING NO |
| 015 | API ring no | R17 | API RING NO |
| 015 | API ring no | R18 | API RING NO |
| 015 | API ring no | R19 | API RING NO |
| 015 | API ring no | R20 | API RING NO |
| 015 | API ring no | R22 | API RING NO |
| 015 | API ring no | R23 | API RING NO |
| 015 | API ring no | R24 | API RING NO |
| 015 | API ring no | R25 | API RING NO |
| 015 | API ring no | R26 | API RING NO |
| 015 | API ring no | R27 | API RING NO |
| 015 | API ring no | R28 | API RING NO |
| 015 | API ring no | R29 | API RING NO |
| 015 | API ring no | R31 | API RING NO |
| 015 | API ring no | R32 | API RING NO |
| 015 | API ring no | R33 | API RING NO |
| 015 | API ring no | R34 | API RING NO |
| 015 | API ring no | R35 | API RING NO |
| 015 | API ring no | R36 | API RING NO |
| 015 | API ring no | R37 | API RING NO |
| 015 | API ring no | R38 | API RING NO |
| 015 | API ring no | R39 | API RING NO |
| 015 | API ring no | R40 | API RING NO |
| 015 | API ring no | R41 | API RING NO |
| 015 | API ring no | R42 | API RING NO |
| 015 | API ring no | R43 | API RING NO |
| 015 | API ring no | R44 | API RING NO |
| 015 | API ring no | R45 | API RING NO |
| 015 | API ring no | R46 | API RING NO |
| 015 | API ring no | R47 | API RING NO |
| 015 | API ring no | R48 | API RING NO |
| 015 | API ring no | R49 | API RING NO |
| 015 | API ring no | R50 | API RING NO |
| 015 | API ring no | R51 | API RING NO |
| 015 | API ring no | R52 | API RING NO |
| 015 | API ring no | R53 | API RING NO |
| 015 | API ring no | R54 | API RING NO |
| 015 | API ring no | R55 | API RING NO |
| 015 | API ring no | R56 | API RING NO |
| 015 | API ring no | R57 | API RING NO |
| 015 | API ring no | R58 | API RING NO |
| 015 | API ring no | R59 | API RING NO |
| 015 | API ring no | R60 | API RING NO |
| 015 | API ring no | R61 | API RING NO |
| 015 | API ring no | R62 | API RING NO |
| 015 | API ring no | R63 | API RING NO |
| 015 | API ring no | R64 | API RING NO |
| 015 | API ring no | R65 | API RING NO |
| 015 | API ring no | R66 | API RING NO |
| 015 | API ring no | R67 | API RING NO |
| 015 | API ring no | R68 | API RING NO |
| 015 | API ring no | R69 | API RING NO |
| 015 | API ring no | R70 | API RING NO |
| 015 | API ring no | R71 | API RING NO |
| 015 | API ring no | R72 | API RING NO |
| 015 | API ring no | R73 | API RING NO |
| 015 | API ring no | R74 | API RING NO |
| 015 | API ring no | R75 | API RING NO |
| 015 | API ring no | R77 | API RING NO |
| 015 | API ring no | R78 | API RING NO |
| 015 | API ring no | R79 | API RING NO |
| 015 | API ring no | NA | API RING NO |
| 016 | Orifice flange nom rating | cl 125 |  |
| 016 | Orifice flange nom rating | cl 150 |  |
| 016 | Orifice flange nom rating | cl 1500 |  |
| 016 | Orifice flange nom rating | cl 250 |  |
| 016 | Orifice flange nom rating | cl 2500 |  |
| 016 | Orifice flange nom rating | cl 300 |  |
| 016 | Orifice flange nom rating | cl 400 |  |
| 016 | Orifice flange nom rating | cl 600 |  |
| 016 | Orifice flange nom rating | cl 900 |  |
| 017 | Orifice bore type | bore and Bevel | BORE |
| 017 | Orifice bore type | bore and counterbore | BORE |
| 017 | Orifice bore type | concentric | BORE |
| 017 | Orifice bore type | eccentric | BORE |
| 017 | Orifice bore type | segmental | BORE |
| 017 | Orifice bore type | NA | BORE |
| 018 | Orifice inlet edge style | conical edge |  |
| 018 | Orifice inlet edge style | quadrant edge |  |
| 018 | Orifice inlet edge style | square edge |  |
| 018 | Orifice inlet edge style | NA |  |
| 019 | Diameter ratio (Beta d/D) |  | BETA RATIO |
| 020 | Orifice bore diameter |  | BORE |
| 020u | Bore diameter units | in | UNITS |
| 021 | Plate outside diameter |  | OUTSIDE DIAMETER |
| 021u | Plate outside dia units | in | UNITS |
| 022 | Plate thickness | .125 | THICKNESS |
| 022 | Plate thickness | .250 | THICKNESS |
| 022 | Plate thickness | .375 | THICKNESS |
| 022u | Plate thickness units | in | UNITS |
| 023 | Vent/Drain hole size | .094 | VENT |
| 023 | Vent/Drain hole size | .125 | VENT |
| 023 | Vent/Drain hole size | .156 | VENT |
| 023 | Vent/Drain hole size | .187 | VENT |
| 023 | Vent/Drain hole size | .219 | VENT |
| 023 | Vent/Drain hole size | .250 | VENT |
| 023 | Vent/Drain hole size | .281 | VENT |
| 023 | Vent/Drain hole size | .321 | VENT |
| 023 | Vent/Drain hole size | .344 | VENT |
| 023 | Vent/Drain hole size | .375 | VENT |
| 023 | Vent/Drain hole size | .406 | VENT |
| 023 | Vent/Drain hole size | .437 | VENT |
| 023 | Vent/Drain hole size | .469 | VENT |
| 023 | Vent/Drain hole size | .500 | VENT |
| 023u | Hole size units | in | UNITS |
| 024 | Vent/Drain hole location | bottom | VENT |
| 024 | Vent/Drain hole location | top | VENT |
| 024 | Vent/Drain hole location | NA | VENT |
| 025 | Stampings | matl,Size,Rtg,Bore,Tag |  |
| 025 | Stampings | matl,Size,Rtg,Inlet,Bore |  |
| 025 | Stampings | NA |  |
| 026 | Plate material | 304 SST | MATERIAL |
| 026 | Plate material | 316 SST | MATERIAL |
| 026 | Plate material | carbon steel | MATERIAL |
| 026 | Plate material | hastelloy C276 | MATERIAL |
| 026 | Plate material | monel | MATERIAL |
| 026 | Plate material | TFE | MATERIAL |
| 026 | Plate material | NA | MATERIAL |
| 027 | Seal material | nitrile synthetic rubber | MATERIAL |
| 027 | Seal material | teflon | MATERIAL |
| 027 | Seal material | viton | MATERIAL |
| 027 | Seal material | NA | MATERIAL |
| 028 | Holder/Ring material | 304 SST | MATERIAL |
| 028 | Holder/Ring material | 316 SST | MATERIAL |
| 028 | Holder/Ring material | carbon steel,Cd plated | MATERIAL |
| 028 | Holder/Ring material | monel | MATERIAL |
| 028 | Holder/Ring material | nickel Alloy | MATERIAL |
| 028 | Holder/Ring material | NA | MATERIAL |
| 029a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | ACCESSORIES | SECTION TITLE |  |
| 061 | Orifice holding blocks | NA |  |
| 062 | Gasket set | NA |  |
| 063a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 063b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 064a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 065a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 067 | Custom tag | fiber tag |  |
| 067 | Custom tag | sst permanent attached |  |
| 067 | Custom tag | sst wired-on |  |
| 067 | Custom tag | NA |  |
| 068 | Reference specification | NA | REFERENCE SPECIFICATION |
| 069 | Special preparation | NA |  |
| 070 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 070 | Compliance standard | NA | NACE STANDARD |
| 071 | Calculation report | NA |  |
| 072a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 073a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074 | PHYSICAL DATA | SECTION TITLE |  |
| 075 | Estimated weight |  |  |
| 075u | Weight units | kg | UNITS |
| 075u | Weight units | lb | UNITS |
| 076 | Removal clearance |  |  |
| 076u | Removal clearance units | in | UNITS |
| 076u | Removal clearance units | mm | UNITS |
| 077 | Mfr reference dwg | NA |  |
| 078a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 079a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 079b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 080a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 080b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag number |  |  |
| 112b | Flow rate-Diff pressure | CALIBRATION/TEST DESC |  |
| 112c | Flow rate LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Flow rate LRV units | bbl/d | UNITS |
| 112cu | Flow rate LRV units | galUS/h | UNITS |
| 112cu | Flow rate LRV units | galUS/min | UNITS |
| 112cu | Flow rate LRV units | kg/d | UNITS |
| 112cu | Flow rate LRV units | kg/h | UNITS |
| 112cu | Flow rate LRV units | kg/s | UNITS |
| 112cu | Flow rate LRV units | L/d(std) | UNITS |
| 112cu | Flow rate LRV units | L/s | UNITS |
| 112cu | Flow rate LRV units | L/s(std) | UNITS |
| 112cu | Flow rate LRV units | lb/h | UNITS |
| 112cu | Flow rate LRV units | m3/h | UNITS |
| 112cu | Flow rate LRV units | m3/s | UNITS |
| 112d | Flow rate URV |  | UPPER RANGE-VALUE |
| 112du | Flow rate URV units | bbl/d | UNITS |
| 112du | Flow rate URV units | galUS/h | UNITS |
| 112du | Flow rate URV units | galUS/min | UNITS |
| 112du | Flow rate URV units | kg/d | UNITS |
| 112du | Flow rate URV units | kg/h | UNITS |
| 112du | Flow rate URV units | kg/s | UNITS |
| 112du | Flow rate URV units | L/d(std) | UNITS |
| 112du | Flow rate URV units | L/s | UNITS |
| 112du | Flow rate URV units | L/s(std) | UNITS |
| 112du | Flow rate URV units | lb/h | UNITS |
| 112du | Flow rate URV units | m3/h | UNITS |
| 112du | Flow rate URV units | m3/s | UNITS |
| 112f | Diff pressure LRV | 0 |  |
| 112fu | Diff pressure LRV units | inH2O | UNITS |
| 112fu | Diff pressure LRV units | mmH2O | UNITS |
| 112fu | Diff pressure LRV units | Pa | UNITS |
| 112g | Diff pressure URV | 10 |  |
| 112g | Diff pressure URV | 25 |  |
| 112g | Diff pressure URV | 100 |  |
| 112gu | Diff pressure URV units | inH2O | UNITS |
| 112gu | Diff pressure URV units | mmH2O | UNITS |
| 112gu | Diff pressure URV units | Pa | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | orifice plate |  |
| 120a | Component type | restriction orifice |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |