| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | ADMINISTRATIVE IDENTIFICATIONS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017a | Defined attribute 1 name | contact | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | equipment module | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | production line | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | SERVICE IDENTIFICATIONS | SECTION TITLE |  |
| 020 | Related equipment |  |  |
| 021 | Service |  |  |
| 023 | P&ID/Reference dwg number |  |  |
| 024 | Upstr line/nozzle number | NA |  |
| 025 | Upstr line pipe spec | NA |  |
| 026a | Upstr line nominal size | 1/8 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 1/4 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 3/8 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 1/2 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 3/4 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 1 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 1 1/4 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 1 1/2 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 2 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 2 1/2 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 3 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 4 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 6 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 8 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 10 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 12 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 14 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 16 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 18 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 20 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 22 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 24 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 26 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 28 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 30 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 32 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 34 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 36 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 38 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 40 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 42 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 44 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 46 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 48 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 50 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 52 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 54 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 56 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 58 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 60 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 10 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 15 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 20 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 25 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 32 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 40 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 50 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 65 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 80 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 100 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 125 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 150 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 200 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 250 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 300 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 350 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 400 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 450 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 500 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 550 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 600 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 700 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 800 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 900 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 1000 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 1200 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 1400 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 1500 | NOMINAL SIZE |
| 026b | Upstr line nom rating | cl 125 |  |
| 026b | Upstr line nom rating | cl 150 |  |
| 026b | Upstr line nom rating | cl 1500 |  |
| 026b | Upstr line nom rating | cl 25 |  |
| 026b | Upstr line nom rating | cl 250 |  |
| 026b | Upstr line nom rating | cl 2500 |  |
| 026b | Upstr line nom rating | cl 300 |  |
| 026b | Upstr line nom rating | cl 400 |  |
| 026b | Upstr line nom rating | cl 4500 |  |
| 026b | Upstr line nom rating | cl 600 |  |
| 026b | Upstr line nom rating | cl 75 |  |
| 026b | Upstr line nom rating | cl 800 |  |
| 026b | Upstr line nom rating | cl 900 |  |
| 026b | Upstr line nom rating | PN 10 |  |
| 026b | Upstr line nom rating | PN 100 |  |
| 026b | Upstr line nom rating | PN 150 |  |
| 026b | Upstr line nom rating | PN 16 |  |
| 026b | Upstr line nom rating | PN 2.5 |  |
| 026b | Upstr line nom rating | PN 20 |  |
| 026b | Upstr line nom rating | PN 25 |  |
| 026b | Upstr line nom rating | PN 250 |  |
| 026b | Upstr line nom rating | PN 40 |  |
| 026b | Upstr line nom rating | PN 420 |  |
| 026b | Upstr line nom rating | PN 50 |  |
| 026b | Upstr line nom rating | PN 6 |  |
| 027a | Upstr line conn type | clamped |  |
| 027a | Upstr line conn type | flanged |  |
| 027a | Upstr line conn type | flangeless |  |
| 027a | Upstr line conn type | flg adptr |  |
| 027a | Upstr line conn type | plain |  |
| 027a | Upstr line conn type | sep flg |  |
| 027a | Upstr line conn type | threaded |  |
| 027a | Upstr line conn type | welded |  |
| 027b | Upstr line termn style | 16A |  |
| 027b | Upstr line termn style | 16A w/nut |  |
| 027b | Upstr line termn style | 16AMP |  |
| 027b | Upstr line termn style | beveled |  |
| 027b | Upstr line termn style | boss |  |
| 027b | Upstr line termn style | BSP(F) |  |
| 027b | Upstr line termn style | BSPP |  |
| 027b | Upstr line termn style | bw |  |
| 027b | Upstr line termn style | cameron |  |
| 027b | Upstr line termn style | chiksan |  |
| 027b | Upstr line termn style | ff |  |
| 027b | Upstr line termn style | grayloc |  |
| 027b | Upstr line termn style | grooved |  |
| 027b | Upstr line termn style | hub |  |
| 027b | Upstr line termn style | LGE F |  |
| 027b | Upstr line termn style | LGE M |  |
| 027b | Upstr line termn style | LGE M&F |  |
| 027b | Upstr line termn style | lj |  |
| 027b | Upstr line termn style | NPT(F) |  |
| 027b | Upstr line termn style | NPT(M) |  |
| 027b | Upstr line termn style | NPT-LH |  |
| 027b | Upstr line termn style | pancake |  |
| 027b | Upstr line termn style | rf |  |
| 027b | Upstr line termn style | rtj |  |
| 027b | Upstr line termn style | SW(F) |  |
| 027b | Upstr line termn style | SW(M) |  |
| 027b | Upstr line termn style | T&G |  |
| 027b | Upstr line termn style | tri-Clamp |  |
| 027b | Upstr line termn style | vs |  |
| 027b | Upstr line termn style | weld-in |  |
| 027b | Upstr line termn style | wn |  |
| 027b | Upstr line termn style | NA |  |
| 028a | Upstr line schedule no | 10 |  |
| 028a | Upstr line schedule no | 100 |  |
| 028a | Upstr line schedule no | 10S |  |
| 028a | Upstr line schedule no | 120 |  |
| 028a | Upstr line schedule no | 140 |  |
| 028a | Upstr line schedule no | 160 |  |
| 028a | Upstr line schedule no | 20 |  |
| 028a | Upstr line schedule no | 30 |  |
| 028a | Upstr line schedule no | 40 |  |
| 028a | Upstr line schedule no | 40S |  |
| 028a | Upstr line schedule no | 5 |  |
| 028a | Upstr line schedule no | 5S |  |
| 028a | Upstr line schedule no | 60 |  |
| 028a | Upstr line schedule no | 80 |  |
| 028a | Upstr line schedule no | 80S |  |
| 028a | Upstr line schedule no | std |  |
| 028a | Upstr line schedule no | XS |  |
| 028a | Upstr line schedule no | XXS |  |
| 028b | Upstr line wall thickness |  |  |
| 028bu | Upstr line thkns units | in | UNITS |
| 028bu | Upstr line thkns units | mm | UNITS |
| 029 | Upstr conn orientation | horizontal |  |
| 029 | Upstr conn orientation | inclined |  |
| 029 | Upstr conn orientation | vertical |  |
| 029 | Upstr conn orientation | NA |  |
| 030 | Upstr line material type | alloy steel | MATERIAL |
| 030 | Upstr line material type | aluminum | MATERIAL |
| 030 | Upstr line material type | carbon steel | MATERIAL |
| 030 | Upstr line material type | cobalt Alloy | MATERIAL |
| 030 | Upstr line material type | copper Alloy | MATERIAL |
| 030 | Upstr line material type | ductile Iron | MATERIAL |
| 030 | Upstr line material type | FRP | MATERIAL |
| 030 | Upstr line material type | iron (Cast) | MATERIAL |
| 030 | Upstr line material type | low temp Carbon steel | MATERIAL |
| 030 | Upstr line material type | monel | MATERIAL |
| 030 | Upstr line material type | nickel Alloy | MATERIAL |
| 030 | Upstr line material type | stainless Steel | MATERIAL |
| 030 | Upstr line material type | titanium | MATERIAL |
| 030 | Upstr line material type | zinc Alloy | MATERIAL |
| 030 | Upstr line material type | NA | MATERIAL |
| 031 | Connection design code | ANSI B31.1 |  |
| 031 | Connection design code | ANSI B31.3 |  |
| 031 | Connection design code | ASME sect VIII |  |
| 031 | Connection design code | NA |  |
| 032 | Dnstr line/nozzle number |  |  |
| 033 | Downstream line pipe spec | NA |  |
| 034a | Dnstr line nominal size | 1/8 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 1/4 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 3/8 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 1/2 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 3/4 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 1 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 1 1/4 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 1 1/2 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 2 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 2 1/2 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 3 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 4 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 6 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 8 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 10 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 12 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 14 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 16 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 18 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 20 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 22 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 24 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 26 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 28 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 30 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 32 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 34 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 36 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 38 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 40 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 42 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 44 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 46 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 48 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 50 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 52 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 54 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 56 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 58 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 60 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 10 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 15 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 20 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 25 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 32 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 40 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 50 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 65 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 80 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 100 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 125 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 150 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 200 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 250 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 300 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 350 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 400 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 450 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 500 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 550 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 600 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 700 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 800 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 900 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 1000 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 1200 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 1400 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 1500 | NOMINAL SIZE |
| 034b | Dnstr line nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 25 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 75 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 800 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 150 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 20 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 250 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 420 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 6 | NOMINAL PRESSURE/RATING |
| 035a | Dnstr line conn type | clamped |  |
| 035a | Dnstr line conn type | flanged |  |
| 035a | Dnstr line conn type | flangeless |  |
| 035a | Dnstr line conn type | flg adptr |  |
| 035a | Dnstr line conn type | plain |  |
| 035a | Dnstr line conn type | sep flg |  |
| 035a | Dnstr line conn type | threaded |  |
| 035a | Dnstr line conn type | welded |  |
| 035b | Dnstr line termn style | 16A |  |
| 035b | Dnstr line termn style | 16A w/nut |  |
| 035b | Dnstr line termn style | 16AMP |  |
| 035b | Dnstr line termn style | beveled |  |
| 035b | Dnstr line termn style | boss |  |
| 035b | Dnstr line termn style | BSP(F) |  |
| 035b | Dnstr line termn style | BSPP |  |
| 035b | Dnstr line termn style | bw |  |
| 035b | Dnstr line termn style | cameron |  |
| 035b | Dnstr line termn style | chiksan |  |
| 035b | Dnstr line termn style | ff |  |
| 035b | Dnstr line termn style | grayloc |  |
| 035b | Dnstr line termn style | grooved |  |
| 035b | Dnstr line termn style | hub |  |
| 035b | Dnstr line termn style | LGE F |  |
| 035b | Dnstr line termn style | LGE M |  |
| 035b | Dnstr line termn style | LGE M&F |  |
| 035b | Dnstr line termn style | lj |  |
| 035b | Dnstr line termn style | NPT(F) |  |
| 035b | Dnstr line termn style | NPT(M) |  |
| 035b | Dnstr line termn style | NPT-LH |  |
| 035b | Dnstr line termn style | pancake |  |
| 035b | Dnstr line termn style | rf |  |
| 035b | Dnstr line termn style | rtj |  |
| 035b | Dnstr line termn style | SW(F) |  |
| 035b | Dnstr line termn style | SW(M) |  |
| 035b | Dnstr line termn style | T&G |  |
| 035b | Dnstr line termn style | tri-Clamp |  |
| 035b | Dnstr line termn style | vs |  |
| 035b | Dnstr line termn style | weld-in |  |
| 035b | Dnstr line termn style | wn |  |
| 035b | Dnstr line termn style | NA |  |
| 036a | Dnstr line schedule no | 10 |  |
| 036a | Dnstr line schedule no | 100 |  |
| 036a | Dnstr line schedule no | 10S |  |
| 036a | Dnstr line schedule no | 120 |  |
| 036a | Dnstr line schedule no | 140 |  |
| 036a | Dnstr line schedule no | 160 |  |
| 036a | Dnstr line schedule no | 20 |  |
| 036a | Dnstr line schedule no | 30 |  |
| 036a | Dnstr line schedule no | 40 |  |
| 036a | Dnstr line schedule no | 40S |  |
| 036a | Dnstr line schedule no | 5 |  |
| 036a | Dnstr line schedule no | 5S |  |
| 036a | Dnstr line schedule no | 60 |  |
| 036a | Dnstr line schedule no | 80 |  |
| 036a | Dnstr line schedule no | 80S |  |
| 036a | Dnstr line schedule no | std |  |
| 036a | Dnstr line schedule no | XS |  |
| 036a | Dnstr line schedule no | XXS |  |
| 036b | Dnstr line wall thickness |  |  |
| 036bu | Dnstr line thkns units | in | UNITS |
| 036bu | Dnstr line thkns units | mm | UNITS |
| 037 | Dnstr conn orientation | horizontal |  |
| 037 | Dnstr conn orientation | inclined |  |
| 037 | Dnstr conn orientation | vertical |  |
| 037 | Dnstr conn orientation | NA |  |
| 038 | Dnstr line material type | alloy steel | MATERIAL |
| 038 | Dnstr line material type | aluminum | MATERIAL |
| 038 | Dnstr line material type | carbon steel | MATERIAL |
| 038 | Dnstr line material type | cobalt Alloy | MATERIAL |
| 038 | Dnstr line material type | copper Alloy | MATERIAL |
| 038 | Dnstr line material type | ductile Iron | MATERIAL |
| 038 | Dnstr line material type | FRP | MATERIAL |
| 038 | Dnstr line material type | iron (Cast) | MATERIAL |
| 038 | Dnstr line material type | low temp Carbon steel | MATERIAL |
| 038 | Dnstr line material type | monel | MATERIAL |
| 038 | Dnstr line material type | nickel Alloy | MATERIAL |
| 038 | Dnstr line material type | stainless Steel | MATERIAL |
| 038 | Dnstr line material type | titanium | MATERIAL |
| 038 | Dnstr line material type | zinc Alloy | MATERIAL |
| 038 | Dnstr line material type | NA | MATERIAL |
| 039a | Avail upstr straight lg |  |  |
| 039au | Upstream length units | ft | UNITS |
| 039au | Upstream length units | m | UNITS |
| 039b | Avail Dnstr straight lg |  |  |
| 039bu | Downstream length units | ft | UNITS |
| 039bu | Downstream length units | m | UNITS |
| 041a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 041a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 041a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 041b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 041b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 041b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 041c | Inline hazardous area gr | °C | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | °F | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 042a | Inline area min ign temp |  |  |
| 042au | Inline ign temp units | °C | UNITS |
| 042au | Inline ign temp units | °F | UNITS |
| 042au | Inline ign temp units | C | UNITS |
| 042au | Inline ign temp units | F | UNITS |
| 042b | Inline ign temp ident no | T1 |  |
| 042b | Inline ign temp ident no | T2 |  |
| 042b | Inline ign temp ident no | T3 |  |
| 042b | Inline ign temp ident no | T4 |  |
| 042b | Inline ign temp ident no | T5 |  |
| 042b | Inline ign temp ident no | T6 |  |
| 043a | Remote hazardous area cl | I |  |
| 043a | Remote hazardous area cl | II |  |
| 043a | Remote hazardous area cl | III |  |
| 043b | Remote hazardous Div/Zone | 0 |  |
| 043b | Remote hazardous Div/Zone | 1 |  |
| 043b | Remote hazardous Div/Zone | 2 |  |
| 043c | Remote hazardous area gr | A |  |
| 043c | Remote hazardous area gr | B |  |
| 043c | Remote hazardous area gr | C |  |
| 043c | Remote hazardous area gr | D |  |
| 043c | Remote hazardous area gr | E |  |
| 043c | Remote hazardous area gr | F |  |
| 043c | Remote hazardous area gr | IIA |  |
| 043c | Remote hazardous area gr | IIB |  |
| 043c | Remote hazardous area gr | IIC |  |
| 044a | Remote area min ign temp |  |  |
| 044au | Remote area min ign temp units | °C | UNITS |
| 044au | Remote area min ign temp units | °F | UNITS |
| 044au | Remote area min ign temp units | C | UNITS |
| 044au | Remote area min ign temp units | F | UNITS |
| 044b | Remote ign temp ident no | T1 |  |
| 044b | Remote ign temp ident no | T2 |  |
| 044b | Remote ign temp ident no | T3 |  |
| 044b | Remote ign temp ident no | T4 |  |
| 044b | Remote ign temp ident no | T5 |  |
| 044b | Remote ign temp ident no | T6 |  |
| 045a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 045b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 046a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 046u | Defined attribute 2 units |  | UNITS |
| 047 | COMPONENT DESIGN CRITERIA | SECTION TITLE |  |
| 048 | Component Type | averaging pitot tube |  |
| 048 | Component Type | coriolis mass flowmeter |  |
| 048 | Component Type | electromagnetic probe |  |
| 048 | Component Type | flow nozzle |  |
| 048 | Component Type | flow prover |  |
| 048 | Component Type | flume |  |
| 048 | Component Type | gravimetric/volume feeder |  |
| 048 | Component Type | integral orifice assembly |  |
| 048 | Component Type | laminar flow element |  |
| 048 | Component Type | magnetic flow xmtr |  |
| 048 | Component Type | magnetic flowmeter |  |
| 048 | Component Type | mass flow coriolis xmtr |  |
| 048 | Component Type | mass flow thermal xmtr |  |
| 048 | Component Type | meter tube |  |
| 048 | Component Type | nuclear type flowmeter |  |
| 048 | Component Type | open channel flowmeter |  |
| 048 | Component Type | orifice plate |  |
| 048 | Component Type | orifice plate-meter tube |  |
| 048 | Component Type | paddle flow switch |  |
| 048 | Component Type | pdispl flow indicator |  |
| 048 | Component Type | pdispl flow transmitter |  |
| 048 | Component Type | pdispl totlz flowmeter |  |
| 048 | Component Type | positive displ meter |  |
| 048 | Component Type | propeller flow xmtr |  |
| 048 | Component Type | restriction orifice |  |
| 048 | Component Type | rotameter flow indicator |  |
| 048 | Component Type | rotameter ind w/ valve |  |
| 048 | Component Type | rotameter transmitter |  |
| 048 | Component Type | segmental wedge |  |
| 048 | Component Type | sight flow glass |  |
| 048 | Component Type | single port pitot tube |  |
| 048 | Component Type | sonic flow meter xmtr |  |
| 048 | Component Type | sonic flowmeter |  |
| 048 | Component Type | swirl flowmeter |  |
| 048 | Component Type | target meter transmitter |  |
| 048 | Component Type | thermal flow element |  |
| 048 | Component Type | thermal flow switch |  |
| 048 | Component Type | turbine flow transmitter |  |
| 048 | Component Type | turbine totlz flowmeter |  |
| 048 | Component Type | variable area flow ind |  |
| 048 | Component Type | variable area flow switch |  |
| 048 | Component Type | variable area flow xmtr |  |
| 048 | Component Type | v-cone flow element |  |
| 048 | Component Type | venturi |  |
| 048 | Component Type | vortex flowmeter |  |
| 048 | Component Type | weir |  |
| 049 | Component style |  | INSTRUMENT TYPE |
| 050 | Output signal type | analog current | SIGNAL |
| 050 | Output signal type | analog current & relays | SIGNAL |
| 050 | Output signal type | analog pneumatic | SIGNAL |
| 050 | Output signal type | analog voltage | SIGNAL |
| 050 | Output signal type | binary pneumatic | SIGNAL |
| 050 | Output signal type | digital multi-variable | SIGNAL |
| 050 | Output signal type | digital single-variable | SIGNAL |
| 050 | Output signal type | dry contact | SIGNAL |
| 050 | Output signal type | relay | SIGNAL |
| 050 | Output signal type | smart multivariable | SIGNAL |
| 050 | Output signal type | smart,single variable | SIGNAL |
| 050 | Output signal type | NA | SIGNAL |
| 051 | Characteristic curve | linear with mass | CHARACTERISTIC CURVE |
| 051 | Characteristic curve | linear with measurement | CHARACTERISTIC CURVE |
| 051 | Characteristic curve | linear with volume | CHARACTERISTIC CURVE |
| 051 | Characteristic curve | square root | CHARACTERISTIC CURVE |
| 051 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 052 | Compensation style | average density |  |
| 052 | Compensation style | average temperature |  |
| 052 | Compensation style | source decay |  |
| 052 | Compensation style | upstream pressure |  |
| 052 | Compensation style | varying conductivity |  |
| 052 | Compensation style | NA |  |
| 053 | Type of protection | continuous dilution | TYPE OF PROTECTION |
| 053 | Type of protection | encapsulation | TYPE OF PROTECTION |
| 053 | Type of protection | explosion proof enclosure | TYPE OF PROTECTION |
| 053 | Type of protection | flameproof | TYPE OF PROTECTION |
| 053 | Type of protection | increased safety | TYPE OF PROTECTION |
| 053 | Type of protection | intrinsic safety | TYPE OF PROTECTION |
| 053 | Type of protection | nonincendive equipment | TYPE OF PROTECTION |
| 053 | Type of protection | pressurization | TYPE OF PROTECTION |
| 053 | Type of protection | restricted breathing | TYPE OF PROTECTION |
| 053 | Type of protection | special protection | TYPE OF PROTECTION |
| 053 | Type of protection | NA | TYPE OF PROTECTION |
| 054 | Criticality code | 1 | CRITICALITY CODE |
| 054 | Criticality code | 2 | CRITICALITY CODE |
| 054 | Criticality code | 3 | CRITICALITY CODE |
| 055a | Max EMI susceptibility | 1-a:0.1 |  |
| 055a | Max EMI susceptibility | 1-b:0.1 |  |
| 055a | Max EMI susceptibility | 1-c:0.1 |  |
| 055a | Max EMI susceptibility | 2-a:0.1 |  |
| 055a | Max EMI susceptibility | 2-b:0.1 |  |
| 055a | Max EMI susceptibility | 2-c:0.1 |  |
| 055a | Max EMI susceptibility | 3-a:0.1 |  |
| 055a | Max EMI susceptibility | 3-b:0.1 |  |
| 055a | Max EMI susceptibility | 3-c:0.1 |  |
| 055b | Ref base susceptibility | % reading |  |
| 055b | Ref base susceptibility | % span |  |
| 055b | Ref base susceptibility | % Span@30 V/m |  |
| 056a | Max temperature effect |  |  |
| 056b | Ref base max temp effect | % span/100 F |  |
| 057a | Min diameter ratio (d/D) |  |  |
| 057b | Max diameter ratio (d/D) |  |  |
| 058 | Max response time |  |  |
| 058u | Max response time units | s | UNITS |
| 059a | Min required accuracy | .1 |  |
| 059a | Min required accuracy | .2 |  |
| 059b | Accuracy rating ref base | % input span | ACCURACY REFERENCE |
| 059b | Accuracy rating ref base | % scale | ACCURACY REFERENCE |
| 059b | Accuracy rating ref base | % URV | ACCURACY REFERENCE |
| 060a | Avail nom power supply | 12 |  |
| 060a | Avail nom power supply | 20 |  |
| 060a | Avail nom power supply | 24 |  |
| 060a | Avail nom power supply | 32 |  |
| 060a | Avail nom power supply | 110 |  |
| 060a | Avail nom power supply | 115 |  |
| 060a | Avail nom power supply | 120 |  |
| 060a | Avail nom power supply | 220 |  |
| 060a | Avail nom power supply | 230 |  |
| 060a | Avail nom power supply | 240 |  |
| 060a | Avail nom power supply | 250 |  |
| 060a | Avail nom power supply |  |  |
| 060au | Power supply units | bar(g) | UNITS |
| 060au | Power supply units | kPa(g) | UNITS |
| 060au | Power supply units | psig | UNITS |
| 060au | Power supply units | V(ac) | UNITS |
| 060au | Power supply units | V(dc) | UNITS |
| 060b | Number wires | 2 |  |
| 060b | Number wires | 3 |  |
| 060b | Number wires | 4 |  |
| 060b | Number wires | NA |  |
| 061a | Minimum load capability | 300 |  |
| 061a | Minimum load capability | 800 |  |
| 061u | Load capability units | kOhm | UNITS |
| 061u | Load capability units | Ohm | UNITS |
| 062 | Testing/Listing agency | BASEEFA |  |
| 062 | Testing/Listing agency | CENELEC |  |
| 062 | Testing/Listing agency | CSA |  |
| 062 | Testing/Listing agency | FM |  |
| 062 | Testing/Listing agency | ISSEP |  |
| 062 | Testing/Listing agency | JIS/RIIS |  |
| 062 | Testing/Listing agency | LCIE |  |
| 062 | Testing/Listing agency | SAA |  |
| 062 | Testing/Listing agency | UL |  |
| 062 | Testing/Listing agency | VNIIVE |  |
| 062 | Testing/Listing agency | NA |  |
| 063 | Test requirements | flow accuracy |  |
| 063 | Test requirements | hydrostatic press test |  |
| 063 | Test requirements | NA |  |
| 064 | Supply loss failure mode |  |  |
| 064 | Supply loss failure mode | activate fault relay |  |
| 064 | Supply loss failure mode | deactivate output relay |  |
| 064 | Supply loss failure mode | drive output low |  |
| 064 | Supply loss failure mode | NA |  |
| 065 | Signal loss failure mode |  |  |
| 065 | Signal loss failure mode | activate fault relay |  |
| 065 | Signal loss failure mode | drive output high |  |
| 065 | Signal loss failure mode | drive output low |  |
| 065 | Signal loss failure mode | flashing display |  |
| 065 | Signal loss failure mode | hold last value |  |
| 065 | Signal loss failure mode | NA |  |
| 066a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 066b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066bu | Defined attribute 1 units |  | UNITS |
| 067a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 067bu | Defined attribute 2 units |  | UNITS |
| 068a | Definable attribute3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Definable attribute3 value | NA | DEFINABLE ATTRIBUTE VALUE |
| 068c | Definable attribute3 units |  | UNITS |
| 069 | MATERIAL FLOW CONDITIONS | SECTION TITLE | MATERIAL |
| 070 | Flow Case Identification | max flow |  |
| 070 | Flow Case Identification | min flow |  |
| 070 | Flow Case Identification | norm flow |  |
| 071 | Inlet pressure |  | INLET PRESSURE |
| 071u | Inlet pressure units | atm | UNITS |
| 071u | Inlet pressure units | bar | UNITS |
| 071u | Inlet pressure units | bar(g) | UNITS |
| 071u | Inlet pressure units | ftH2O | UNITS |
| 071u | Inlet pressure units | inH2O | UNITS |
| 071u | Inlet pressure units | inHg | UNITS |
| 071u | Inlet pressure units | kPa | UNITS |
| 071u | Inlet pressure units | kPa(g) | UNITS |
| 071u | Inlet pressure units | lbf/ft2 | UNITS |
| 071u | Inlet pressure units | lbf/in2 | UNITS |
| 071u | Inlet pressure units | mmH2O | UNITS |
| 071u | Inlet pressure units | mmHg | UNITS |
| 071u | Inlet pressure units | Pa | UNITS |
| 071u | Inlet pressure units | Pa(g) | UNITS |
| 071u | Inlet pressure units | psia | UNITS |
| 071u | Inlet pressure units | psig | UNITS |
| 072 | Outlet pressure |  | OUTLET PRESSURE |
| 072u | Outlet pressure units | atm | UNITS |
| 072u | Outlet pressure units | bar | UNITS |
| 072u | Outlet pressure units | bar(g) | UNITS |
| 072u | Outlet pressure units | ftH2O | UNITS |
| 072u | Outlet pressure units | inH2O | UNITS |
| 072u | Outlet pressure units | inHg | UNITS |
| 072u | Outlet pressure units | kPa | UNITS |
| 072u | Outlet pressure units | kPa(g) | UNITS |
| 072u | Outlet pressure units | lbf/ft2 | UNITS |
| 072u | Outlet pressure units | lbf/in2 | UNITS |
| 072u | Outlet pressure units | mmH2O | UNITS |
| 072u | Outlet pressure units | mmHg | UNITS |
| 072u | Outlet pressure units | Pa | UNITS |
| 072u | Outlet pressure units | Pa(g) | UNITS |
| 072u | Outlet pressure units | psia | UNITS |
| 072u | Outlet pressure units | psig | UNITS |
| 073 | Inlet temperature |  | INLET TEMPERATURE |
| 073u | Temperature units | °C | UNITS |
| 073u | Temperature units | °F | UNITS |
| 073u | Temperature units | C | UNITS |
| 073u | Temperature units | F | UNITS |
| 074 | Inlet phase type | liquid |  |
| 074 | Inlet phase type | mixed |  |
| 074 | Inlet phase type | solid |  |
| 074 | Inlet phase type | vapor |  |
| 075 | Mass fraction vapor |  |  |
| 076 | Total mass flow rate |  |  |
| 076u | Total mass flow units | kg/d | UNITS |
| 076u | Total mass flow units | kg/h | UNITS |
| 076u | Total mass flow units | kg/s | UNITS |
| 076u | Total mass flow units | lb/h | UNITS |
| 077 | Liquid mass flow rate |  |  |
| 077u | Liquid mass flow units | kg/d | UNITS |
| 077u | Liquid mass flow units | kg/h | UNITS |
| 077u | Liquid mass flow units | kg/s | UNITS |
| 077u | Liquid mass flow units | lb/h | UNITS |
| 078 | Liquid actual flow rate |  |  |
| 078u | Liquid actual flow units | galUS/h | UNITS |
| 078u | Liquid actual flow units | galUS/min | UNITS |
| 078u | Liquid actual flow units | L/s | UNITS |
| 078u | Liquid actual flow units | m3/h | UNITS |
| 078u | Liquid actual flow units | m3/s | UNITS |
| 079 | Liquid standard flow rate |  |  |
| 079u | Liquid std flow units | bbl/d | UNITS |
| 079u | Liquid std flow units | L/d(std) | UNITS |
| 079u | Liquid std flow units | L/s(std) | UNITS |
| 080 | Liquid density |  |  |
| 080u | Liquid density units | g/cm3 | UNITS |
| 080u | Liquid density units | lb/ft3 | UNITS |
| 080u | Liquid density units | lb/galUS | UNITS |
| 081 | Liquid specific gravity |  |  |
| 082 | Liquid viscosity |  |  |
| 082u | Liquid viscosity units | cP | UNITS |
| 082u | Liquid viscosity units | cSt | UNITS |
| 082u | Liquid viscosity units | m2/s | UNITS |
| 082u | Liquid viscosity units | m³/s | UNITS |
| 082u | Liquid viscosity units | Pa.s | UNITS |
| 083 | Absolute vapor pressure |  | ABSOLUTE VAPOR PRESSURE |
| 083u | Abs vapor press units | atm | UNITS |
| 083u | Abs vapor press units | bar | UNITS |
| 083u | Abs vapor press units | kPa | UNITS |
| 083u | Abs vapor press units | Pa | UNITS |
| 083u | Abs vapor press units | psia | UNITS |
| 084 | Vapor mass flow rate |  |  |
| 084u | Vapor mass flow units | kg/d | UNITS |
| 084u | Vapor mass flow units | kg/h | UNITS |
| 084u | Vapor mass flow units | kg/s | UNITS |
| 084u | Vapor mass flow units | lb/h | UNITS |
| 085 | Vapor actual flow rate |  |  |
| 085u | Vapor actual flow units | ft3ACT/h | UNITS |
| 085u | Vapor actual flow units | ft3ACT/min | UNITS |
| 085u | Vapor actual flow units | m3/h(N) | UNITS |
| 085u | Vapor actual flow units | m3/s(N) | UNITS |
| 086 | Vapor standard flow rate |  |  |
| 086u | Vapor std flow units | ft3STD/h | UNITS |
| 086u | Vapor std flow units | ft3STD/min | UNITS |
| 086u | Vapor std flow units | ft3STD/s | UNITS |
| 086u | Vapor std flow units | L/s(std) | UNITS |
| 086u | Vapor std flow units | m3/h(std) | UNITS |
| 086u | Vapor std flow units | m3/s(std) | UNITS |
| 087 | Vapor density |  |  |
| 087u | Vapor density units | g/cm3 | UNITS |
| 087u | Vapor density units | kg/m3 | UNITS |
| 087u | Vapor density units | lb/ft3 | UNITS |
| 088 | Vapor specific gravity |  |  |
| 089 | Vapor molecular weight |  |  |
| 089u | Molecular weight units | u | UNITS |
| 090 | Vapor viscosity |  |  |
| 090u | Vapor viscosity units | cP | UNITS |
| 090u | Vapor viscosity units | cSt | UNITS |
| 090u | Vapor viscosity units | m2/s | UNITS |
| 090u | Vapor viscosity units | m³/s | UNITS |
| 090u | Vapor viscosity units | Pa.s | UNITS |
| 091 | Inlet compressibility |  |  |
| 092 | Defined attribute 1 name | solids concentration | DEFINABLE ATTRIBUTE NAME |
| 092 | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092a | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092au | Defined attribute 1 units |  | UNITS |
| 093 | CALCULATED VARIABLES | SECTION TITLE |  |
| 094 | Pressure differential |  |  |
| 094u | Press differential units | atm | UNITS |
| 094u | Press differential units | bar | UNITS |
| 094u | Press differential units | ftH2O | UNITS |
| 094u | Press differential units | inH2O | UNITS |
| 094u | Press differential units | inHg | UNITS |
| 094u | Press differential units | kPa | UNITS |
| 094u | Press differential units | lbf/ft2 | UNITS |
| 094u | Press differential units | lbf/in2 | UNITS |
| 094u | Press differential units | mmH2O | UNITS |
| 094u | Press differential units | mmHg | UNITS |
| 094u | Press differential units | Pa | UNITS |
| 094u | Press differential units | psi | UNITS |
| 095 | Perm pressure drop |  | HEAD LOSS |
| 095d | Pressure drop units | psi | UNITS |
| 096 | Line fluid velocity |  |  |
| 096d | Velocity units | ft/s | UNITS |
| 097 | Line Reynolds number |  |  |
| 098 | Calculated uncertainty |  |  |
| 098d | Uncertainty units | % | UNITS |
| 099 | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099a | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099au | Defined attribute 1 units |  | UNITS |
| 101 | PROCESS DESIGN CONDITIONS | SECTION TITLE |  |
| 103a | Minimum inlet pressure |  |  |
| 103au | Min inlet pressure units |  |  |
| 103b | Maximum inlet pressure |  |  |
| 103bu | Max inlet pressure units | atm | UNITS |
| 103bu | Max inlet pressure units | bar | UNITS |
| 103bu | Max inlet pressure units | bar(g) | UNITS |
| 103bu | Max inlet pressure units | ftH2O | UNITS |
| 103bu | Max inlet pressure units | inH2O | UNITS |
| 103bu | Max inlet pressure units | inHg | UNITS |
| 103bu | Max inlet pressure units | kPa | UNITS |
| 103bu | Max inlet pressure units | kPa(g) | UNITS |
| 103bu | Max inlet pressure units | lbf/ft2 | UNITS |
| 103bu | Max inlet pressure units | lbf/in2 | UNITS |
| 103bu | Max inlet pressure units | mmH2O | UNITS |
| 103bu | Max inlet pressure units | mmHg | UNITS |
| 103bu | Max inlet pressure units | Pa | UNITS |
| 103bu | Max inlet pressure units | Pa(g) | UNITS |
| 103bu | Max inlet pressure units | psia | UNITS |
| 103bu | Max inlet pressure units | psig | UNITS |
| 104a | Minimum outlet pressure |  |  |
| 104au | Min outlet pressure units |  |  |
| 104b | Maximum outlet pressure |  |  |
| 104bu | Max outlet pressure units | atm | UNITS |
| 104bu | Max outlet pressure units | bar | UNITS |
| 104bu | Max outlet pressure units | bar(g) | UNITS |
| 104bu | Max outlet pressure units | ftH2O | UNITS |
| 104bu | Max outlet pressure units | inH2O | UNITS |
| 104bu | Max outlet pressure units | inHg | UNITS |
| 104bu | Max outlet pressure units | kPa | UNITS |
| 104bu | Max outlet pressure units | kPa(g) | UNITS |
| 104bu | Max outlet pressure units | lbf/ft2 | UNITS |
| 104bu | Max outlet pressure units | lbf/in2 | UNITS |
| 104bu | Max outlet pressure units | mmH2O | UNITS |
| 104bu | Max outlet pressure units | mmHg | UNITS |
| 104bu | Max outlet pressure units | Pa | UNITS |
| 104bu | Max outlet pressure units | Pa(g) | UNITS |
| 104bu | Max outlet pressure units | psia | UNITS |
| 104bu | Max outlet pressure units | psig | UNITS |
| 105a | Minimum inlet temperature |  |  |
| 105au | Min inlet temp units |  |  |
| 105b | Maximum inlet temperature |  |  |
| 105bu | Max inlet temp units | °C | UNITS |
| 105bu | Max inlet temp units | °F | UNITS |
| 105bu | Max inlet temp units | C | UNITS |
| 105bu | Max inlet temp units | F | UNITS |
| 114b | Maximum liquid viscosity |  |  |
| 114bu | Maximum viscosity units | cP | UNITS |
| 114bu | Maximum viscosity units | cSt | UNITS |
| 114bu | Maximum viscosity units | m2/s | UNITS |
| 114bu | Maximum viscosity units | m³/s | UNITS |
| 114bu | Maximum viscosity units | Pa.s | UNITS |
| 124a | Defined attribute 1 min |  |  |
| 124au | Defined attr 1 min units |  |  |
| 124b | Defined attribute 1 max |  |  |
| 124bu | Defined attr 1 max units |  |  |
| 126b | Max press differential |  |  |
| 126bu | Max press diff units | atm | UNITS |
| 126bu | Max press diff units | bar | UNITS |
| 126bu | Max press diff units | ftH2O | UNITS |
| 126bu | Max press diff units | inH2O | UNITS |
| 126bu | Max press diff units | inHg | UNITS |
| 126bu | Max press diff units | kPa | UNITS |
| 126bu | Max press diff units | lbf/ft2 | UNITS |
| 126bu | Max press diff units | lbf/in2 | UNITS |
| 126bu | Max press diff units | mmH2O | UNITS |
| 126bu | Max press diff units | mmHg | UNITS |
| 126bu | Max press diff units | Pa | UNITS |
| 126bu | Max press diff units | psi | UNITS |
| 126bu | Max press diff units | psia | UNITS |
| 126bu | Max press diff units | psig | UNITS |
| 127b | Max perm press drop |  |  |
| 127bu | Max press drop units | atm | UNITS |
| 127bu | Max press drop units | bar | UNITS |
| 127bu | Max press drop units | ftH2O | UNITS |
| 127bu | Max press drop units | inH2O | UNITS |
| 127bu | Max press drop units | inHg | UNITS |
| 127bu | Max press drop units | kPa | UNITS |
| 127bu | Max press drop units | lbf/ft2 | UNITS |
| 127bu | Max press drop units | lbf/in2 | UNITS |
| 127bu | Max press drop units | mmH2O | UNITS |
| 127bu | Max press drop units | mmHg | UNITS |
| 127bu | Max press drop units | Pa | UNITS |
| 127bu | Max press drop units | psi | UNITS |
| 127bu | Max press drop units | psia | UNITS |
| 127bu | Max press drop units | psig | UNITS |
| 128a | Minimum fluid velocity |  |  |
| 128au | Minimum velocity units |  |  |
| 128b | Max fluid velocity |  |  |
| 128bu | Maximum velocity units | ft/s | UNITS |
| 129a | Minimum Reynolds no |  |  |
| 129b | Maximum Reynolds no |  |  |
| 131a | Defined attribute 2 min |  |  |
| 131au | Defined attr 2 min units |  |  |
| 131b | Defined attribute 2 max |  |  |
| 131bu | Defined attr 2 max units |  |  |
| 132 | MATERIAL PROPERTIES | SECTION TITLE | MATERIAL |
| 133 | Name | NA |  |
| 134 | Composition |  |  |
| 135 | Matl density at ref temp |  |  |
| 135au | Density units | g/cm3 | UNITS |
| 135au | Density units | kg/m3 | UNITS |
| 135au | Density units | lb/ft3 | UNITS |
| 135au | Density units | lb/galUS | UNITS |
| 135b | Density ref temp |  |  |
| 135bu | Density ref temp units | °C | UNITS |
| 135bu | Density ref temp units | °F | UNITS |
| 135bu | Density ref temp units | C | UNITS |
| 135bu | Density ref temp units | F | UNITS |
| 136 | Ratio sp heat capacity |  | RATIO OF SPECIF HEAT CAPACITY |
| 137 | Conductivity |  | CONDUCTIVITY |
| 137u | Conductivity units | uS/m | UNITS |
| 139 | Abs critical pressure |  | ABSOLUTE CRITICAL PRESSURE |
| 139u | Abs critical press units | atm | UNITS |
| 139u | Abs critical press units | bar | UNITS |
| 139u | Abs critical press units | kPa | UNITS |
| 139u | Abs critical press units | Pa | UNITS |
| 139u | Abs critical press units | psia | UNITS |
| 140 | Critical temperature |  | CRITICAL TEMPERATURE |
| 140u | Critical temperature units | °C | UNITS |
| 140u | Critical temperature units | °F | UNITS |
| 140u | Critical temperature units | C | UNITS |
| 140u | Critical temperature units | F | UNITS |
| 141a | NFPA health hazard | 0 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 1 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 2 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 3 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 4 | HEALTH HAZARD RATING |
| 141b | NFPA flammability | 0 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 1 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 2 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 3 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 4 | FLAMMABILITY HAZARD RATING |
| 141c | NFPA reactivity | 0 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 1 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 2 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 3 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 4 | REACTIVITY HAZARD RATING |
| 142a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 142b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 142u | Defined attribute 1 units |  | UNITS |
| 143a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 143b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 143u | Defined attribute 2 units |  | UNITS |