| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | ADMINISTRATIVE IDENTIFICATIONS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017a | Defined attribute 1 name | contact | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | equipment module | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | production line |  |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | SERVICE IDENTIFICATIONS | SECTION TITLE |  |
| 020 | Related equipment |  |  |
| 021 | Service |  |  |
| 023 | P&ID/Reference dwg number |  |  |
| 024 | Upper conn nozzle number | NA |  |
| 025 | Upper conn pipe spec | NA |  |
| 026a | Upper conn nominal size | 1/8 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 1/4 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 3/8 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 1/2 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 3/4 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 1 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 2 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 3 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 4 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 6 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 8 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 10 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 12 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 14 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 16 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 18 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 20 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 22 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 24 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 26 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 28 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 30 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 32 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 34 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 36 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 38 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 40 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 42 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 44 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 46 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 48 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 50 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 52 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 54 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 56 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 58 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | 60 in | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 10 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 15 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 20 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 25 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 32 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 40 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 50 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 65 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 80 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 100 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 125 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 150 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 200 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 250 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 300 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 350 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 400 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 450 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 500 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 550 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 600 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 700 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 800 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 900 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 1000 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 1200 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 1400 | NOMINAL SIZE |
| 026a | Upper conn nominal size | DN 1500 | NOMINAL SIZE |
| 026b | Upper conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 25 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 75 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 800 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 150 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 20 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 250 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 420 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 026b | Upper conn nominal rating | PN 6 | NOMINAL PRESSURE/RATING |
| 027a | Upper conn termn type | clamped |  |
| 027a | Upper conn termn type | collar |  |
| 027a | Upper conn termn type | flanged |  |
| 027a | Upper conn termn type | flangeless |  |
| 027a | Upper conn termn type | flg adptr |  |
| 027a | Upper conn termn type | plain |  |
| 027a | Upper conn termn type | sep flg |  |
| 027a | Upper conn termn type | threaded |  |
| 027a | Upper conn termn type | welded |  |
| 027b | Upper conn termn style | 16A |  |
| 027b | Upper conn termn style | 16A w/nut |  |
| 027b | Upper conn termn style | 16AMP |  |
| 027b | Upper conn termn style | beveled |  |
| 027b | Upper conn termn style | boss |  |
| 027b | Upper conn termn style | BSP(F) |  |
| 027b | Upper conn termn style | BSPP |  |
| 027b | Upper conn termn style | bw |  |
| 027b | Upper conn termn style | cameron |  |
| 027b | Upper conn termn style | chiksan |  |
| 027b | Upper conn termn style | ff |  |
| 027b | Upper conn termn style | grayloc |  |
| 027b | Upper conn termn style | grooved |  |
| 027b | Upper conn termn style | hub |  |
| 027b | Upper conn termn style | LGE F |  |
| 027b | Upper conn termn style | LGE M |  |
| 027b | Upper conn termn style | LGE M&F |  |
| 027b | Upper conn termn style | lj |  |
| 027b | Upper conn termn style | NPT(F) |  |
| 027b | Upper conn termn style | NPT(M) |  |
| 027b | Upper conn termn style | NPT-LH |  |
| 027b | Upper conn termn style | pancake |  |
| 027b | Upper conn termn style | rf |  |
| 027b | Upper conn termn style | rtj |  |
| 027b | Upper conn termn style | SW(F) |  |
| 027b | Upper conn termn style | SW(M) |  |
| 027b | Upper conn termn style | T&G |  |
| 027b | Upper conn termn style | tri-Clamp |  |
| 027b | Upper conn termn style | vs |  |
| 027b | Upper conn termn style | weld-in |  |
| 027b | Upper conn termn style | wn |  |
| 027b | Upper conn termn style | NA |  |
| 028a | Upper conn schedule no | 10 |  |
| 028a | Upper conn schedule no | 100 |  |
| 028a | Upper conn schedule no | 10S |  |
| 028a | Upper conn schedule no | 120 |  |
| 028a | Upper conn schedule no | 140 |  |
| 028a | Upper conn schedule no | 160 |  |
| 028a | Upper conn schedule no | 20 |  |
| 028a | Upper conn schedule no | 30 |  |
| 028a | Upper conn schedule no | 40 |  |
| 028a | Upper conn schedule no | 40S |  |
| 028a | Upper conn schedule no | 5 |  |
| 028a | Upper conn schedule no | 5S |  |
| 028a | Upper conn schedule no | 60 |  |
| 028a | Upper conn schedule no | 80 |  |
| 028a | Upper conn schedule no | 80S |  |
| 028a | Upper conn schedule no | std |  |
| 028a | Upper conn schedule no | XS |  |
| 028a | Upper conn schedule no | XXS |  |
| 028b | Upper conn wall thickness |  |  |
| 028bu | Upper conn thkns units | in | UNITS |
| 028bu | Upper conn thkns units | mm | UNITS |
| 029 | Upper connection length |  |  |
| 029u | Upper conn length units | in | UNITS |
| 029u | Upper conn length units | mm | UNITS |
| 030 | Upper conn orientation | horizontal |  |
| 030 | Upper conn orientation | inclined |  |
| 030 | Upper conn orientation | vertical |  |
| 030 | Upper conn orientation | NA |  |
| 031 | Upper conn material type | alloy steel | MATERIAL |
| 031 | Upper conn material type | aluminum | MATERIAL |
| 031 | Upper conn material type | carbon steel | MATERIAL |
| 031 | Upper conn material type | cobalt Alloy | MATERIAL |
| 031 | Upper conn material type | copper Alloy | MATERIAL |
| 031 | Upper conn material type | ductile Iron | MATERIAL |
| 031 | Upper conn material type | FRP | MATERIAL |
| 031 | Upper conn material type | iron (Cast) | MATERIAL |
| 031 | Upper conn material type | low temp Carbon steel | MATERIAL |
| 031 | Upper conn material type | monel | MATERIAL |
| 031 | Upper conn material type | nickel Alloy | MATERIAL |
| 031 | Upper conn material type | stainless Steel | MATERIAL |
| 031 | Upper conn material type | titanium | MATERIAL |
| 031 | Upper conn material type | zinc Alloy | MATERIAL |
| 031 | Upper conn material type | NA | MATERIAL |
| 032 | Connection design code | ANSI B31.1 |  |
| 032 | Connection design code | ANSI B31.3 |  |
| 032 | Connection design code | NA |  |
| 033 | Lower conn nozzle number |  |  |
| 034 | Lower conn pipe spec | NA |  |
| 035a | Lower conn nominal size | 1/8 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 1/4 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 3/8 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 1/2 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 3/4 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 1 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 2 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 3 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 4 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 6 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 8 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 10 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 12 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 14 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 16 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 18 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 20 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 22 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 24 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 26 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 28 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 30 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 32 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 34 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 36 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 38 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 40 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 42 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 44 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 46 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 48 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 50 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 52 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 54 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 56 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 58 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | 60 in | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 10 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 15 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 20 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 25 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 32 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 40 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 50 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 65 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 80 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 100 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 125 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 150 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 200 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 250 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 300 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 350 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 400 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 450 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 500 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 550 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 600 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 700 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 800 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 900 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 1000 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 1200 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 1400 | NOMINAL SIZE |
| 035a | Lower conn nominal size | DN 1500 | NOMINAL SIZE |
| 035b | Lower conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 25 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 75 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 800 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 150 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 20 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 250 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 420 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 035b | Lower conn nominal rating | PN 6 | NOMINAL PRESSURE/RATING |
| 036a | Lower conn termn type | clamped |  |
| 036a | Lower conn termn type | collar |  |
| 036a | Lower conn termn type | flanged |  |
| 036a | Lower conn termn type | flangeless |  |
| 036a | Lower conn termn type | flg adptr |  |
| 036a | Lower conn termn type | plain |  |
| 036a | Lower conn termn type | sep flg |  |
| 036a | Lower conn termn type | threaded |  |
| 036a | Lower conn termn type | welded |  |
| 036b | Lower conn termn style | 16A |  |
| 036b | Lower conn termn style | 16A w/nut |  |
| 036b | Lower conn termn style | 16AMP |  |
| 036b | Lower conn termn style | beveled |  |
| 036b | Lower conn termn style | boss |  |
| 036b | Lower conn termn style | BSP(F) |  |
| 036b | Lower conn termn style | BSPP |  |
| 036b | Lower conn termn style | bw |  |
| 036b | Lower conn termn style | cameron |  |
| 036b | Lower conn termn style | chiksan |  |
| 036b | Lower conn termn style | ff |  |
| 036b | Lower conn termn style | grayloc |  |
| 036b | Lower conn termn style | grooved |  |
| 036b | Lower conn termn style | hub |  |
| 036b | Lower conn termn style | LGE F |  |
| 036b | Lower conn termn style | LGE M |  |
| 036b | Lower conn termn style | LGE M&F |  |
| 036b | Lower conn termn style | lj |  |
| 036b | Lower conn termn style | NPT(F) |  |
| 036b | Lower conn termn style | NPT(M) |  |
| 036b | Lower conn termn style | NPT-LH |  |
| 036b | Lower conn termn style | pancake |  |
| 036b | Lower conn termn style | rf |  |
| 036b | Lower conn termn style | rtj |  |
| 036b | Lower conn termn style | SW(F) |  |
| 036b | Lower conn termn style | SW(M) |  |
| 036b | Lower conn termn style | T&G |  |
| 036b | Lower conn termn style | tri-Clamp |  |
| 036b | Lower conn termn style | vs |  |
| 036b | Lower conn termn style | weld-in |  |
| 036b | Lower conn termn style | wn |  |
| 036b | Lower conn termn style | NA |  |
| 037a | Lower conn schedule no | 10 |  |
| 037a | Lower conn schedule no | 100 |  |
| 037a | Lower conn schedule no | 10S |  |
| 037a | Lower conn schedule no | 120 |  |
| 037a | Lower conn schedule no | 140 |  |
| 037a | Lower conn schedule no | 160 |  |
| 037a | Lower conn schedule no | 20 |  |
| 037a | Lower conn schedule no | 30 |  |
| 037a | Lower conn schedule no | 40 |  |
| 037a | Lower conn schedule no | 40S |  |
| 037a | Lower conn schedule no | 5 |  |
| 037a | Lower conn schedule no | 5S |  |
| 037a | Lower conn schedule no | 60 |  |
| 037a | Lower conn schedule no | 80 |  |
| 037a | Lower conn schedule no | 80S |  |
| 037a | Lower conn schedule no | std |  |
| 037a | Lower conn schedule no | XS |  |
| 037a | Lower conn schedule no | XXS |  |
| 037b | Lower conn wall thickness |  |  |
| 037bu | Lower conn thkns units | in | UNITS |
| 037bu | Lower conn thkns units | mm | UNITS |
| 038 | Lower connection length |  |  |
| 038u | Lower conn length units | in | UNITS |
| 038u | Lower conn length units | mm | UNITS |
| 039 | Lower conn orientation | horizontal |  |
| 039 | Lower conn orientation | inclined |  |
| 039 | Lower conn orientation | vertical |  |
| 039 | Lower conn orientation | NA |  |
| 040 | Lower conn material type | alloy steel | MATERIAL |
| 040 | Lower conn material type | aluminum | MATERIAL |
| 040 | Lower conn material type | carbon steel | MATERIAL |
| 040 | Lower conn material type | cobalt Alloy | MATERIAL |
| 040 | Lower conn material type | copper Alloy | MATERIAL |
| 040 | Lower conn material type | ductile Iron | MATERIAL |
| 040 | Lower conn material type | FRP | MATERIAL |
| 040 | Lower conn material type | iron (Cast) | MATERIAL |
| 040 | Lower conn material type | low temp Carbon steel | MATERIAL |
| 040 | Lower conn material type | monel | MATERIAL |
| 040 | Lower conn material type | nickel Alloy | MATERIAL |
| 040 | Lower conn material type | stainless Steel | MATERIAL |
| 040 | Lower conn material type | titanium | MATERIAL |
| 040 | Lower conn material type | zinc Alloy | MATERIAL |
| 040 | Lower conn material type | NA | MATERIAL |
| 041 | Device insertion length |  |  |
| 041u | Device insertion lg units | ft | UNITS |
| 041u | Device insertion lg units | in | UNITS |
| 041u | Device insertion lg units | m | UNITS |
| 041u | Device insertion lg units | mm | UNITS |
| 042 | Inline area min ign temp |  |  |
| 042a | Vessel nominal diameter |  | NOMINAL SIZE |
| 042au | Vessel diameter units | ft | UNITS |
| 042au | Vessel diameter units | in | UNITS |
| 042au | Vessel diameter units | m | UNITS |
| 042au | Vessel diameter units | mm | UNITS |
| 042b | Vessel overall height |  |  |
| 042bu | Vessel height units | ft | UNITS |
| 042bu | Vessel height units | in | UNITS |
| 042bu | Vessel height units | m | UNITS |
| 042bu | Vessel height units | mm | UNITS |
| 044 | Process conn diff height |  |  |
| 044u | Conn diff height units | ft | UNITS |
| 044u | Conn diff height units | in | UNITS |
| 044u | Conn diff height units | m | UNITS |
| 044u | Conn diff height units | mm | UNITS |
| 045 | Zero datum height | 0 |  |
| 045u | Zero datum height units | ft | UNITS |
| 045u | Zero datum height units | in | UNITS |
| 045u | Zero datum height units | m | UNITS |
| 045u | Zero datum height units | mm | UNITS |
| 046 | Turbulence intensity | 1.0 hp |  |
| 046 | Turbulence intensity | NA |  |
| 047a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 047a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 047a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 047b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 047b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 047b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 047c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 047c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 047c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 047c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 047c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 047c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 047c | Inline hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 047c | Inline hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 047c | Inline hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 048au | Inline ign temp units | °C | UNITS |
| 048au | Inline ign temp units | °F | UNITS |
| 048au | Inline ign temp units | C | UNITS |
| 048au | Inline ign temp units | F | UNITS |
| 048b | Inline ign temp ident no | T1 |  |
| 048b | Inline ign temp ident no | T2 |  |
| 048b | Inline ign temp ident no | T3 |  |
| 048b | Inline ign temp ident no | T4 |  |
| 048b | Inline ign temp ident no | T5 |  |
| 048b | Inline ign temp ident no | T6 |  |
| 049a | Remote hazardous area cl | I |  |
| 049a | Remote hazardous area cl | II |  |
| 049a | Remote hazardous area cl | III |  |
| 049b | Remote hazardous Div/Zone | 0 |  |
| 049b | Remote hazardous Div/Zone | 1 |  |
| 049b | Remote hazardous Div/Zone | 2 |  |
| 049c | Remote hazardous area gr | A |  |
| 049c | Remote hazardous area gr | B |  |
| 049c | Remote hazardous area gr | C |  |
| 049c | Remote hazardous area gr | D |  |
| 049c | Remote hazardous area gr | E |  |
| 049c | Remote hazardous area gr | F |  |
| 049c | Remote hazardous area gr | IIA |  |
| 049c | Remote hazardous area gr | IIB |  |
| 049c | Remote hazardous area gr | IIC |  |
| 050a | Remote area min ign temp |  |  |
| 050au | Remote area min ign temp units | °C | UNITS |
| 050au | Remote area min ign temp units | °F | UNITS |
| 050au | Remote area min ign temp units | C | UNITS |
| 050au | Remote area min ign temp units | F | UNITS |
| 050b | Remote ign temp ident no | T1 |  |
| 050b | Remote ign temp ident no | T2 |  |
| 050b | Remote ign temp ident no | T3 |  |
| 050b | Remote ign temp ident no | T4 |  |
| 050b | Remote ign temp ident no | T5 |  |
| 050b | Remote ign temp ident no | T6 |  |
| 051a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 051b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 051bu | Defined attribute 1 units |  | UNITS |
| 052a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 052b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 052bu | Defined attribute 2 units |  | UNITS |
| 053a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 053b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 053bu | Defined attribute 3 units |  | UNITS |
| 054 | COMPONENT DESIGN CRITERIA | SECTION TITLE |  |
| 055 | Component Type | electromagnetic level sw |  |
| 055 | Component Type | electro-mech level xmtr |  |
| 055 | Component Type | electromechanic level sw |  |
| 055 | Component Type | float level switch |  |
| 055 | Component Type | gage illuminator |  |
| 055 | Component Type | hydrostatic level xmtr |  |
| 055 | Component Type | ir/microwave level switch |  |
| 055 | Component Type | level sampling gauge |  |
| 055 | Component Type | liquid level gage glass |  |
| 055 | Component Type | magnetic float level elem |  |
| 055 | Component Type | magnetic float level gage |  |
| 055 | Component Type | magnetic float level sw |  |
| 055 | Component Type | magnetic float level xmtr |  |
| 055 | Component Type | mechanical tank gauge |  |
| 055 | Component Type | microwave level xmtr |  |
| 055 | Component Type | nuclear type level switch |  |
| 055 | Component Type | nuclear type level xmtr |  |
| 055 | Component Type | nucleonic detector |  |
| 055 | Component Type | optical type level switch |  |
| 055 | Component Type | oscillating fork level sw |  |
| 055 | Component Type | paddle wheel level switch |  |
| 055 | Component Type | resistance level xmtr |  |
| 055 | Component Type | resistance tape level det |  |
| 055 | Component Type | resistance tape switch |  |
| 055 | Component Type | rf/radar level switch |  |
| 055 | Component Type | rf/radar level xmtr |  |
| 055 | Component Type | sonic level detector |  |
| 055 | Component Type | sonic level switch |  |
| 055 | Component Type | sonic level xmtr |  |
| 055 | Component Type | tank gauging system |  |
| 055 | Component Type | thermal level switch |  |
| 055 | Component Type | tilt level switch |  |
| 055 | Component Type | ultrasonic/RF level sw |  |
| 056 | Component style | NA | INSTRUMENT TYPE |
| 057 | Output signal type | analog current | SIGNAL |
| 057 | Output signal type | analog current & digital | SIGNAL |
| 057 | Output signal type | analog current & relays | SIGNAL |
| 057 | Output signal type | analog pneumatic | SIGNAL |
| 057 | Output signal type | analog voltage | SIGNAL |
| 057 | Output signal type | analog voltage & digital | SIGNAL |
| 057 | Output signal type | binary pneumatic | SIGNAL |
| 057 | Output signal type | digital multi-variable | SIGNAL |
| 057 | Output signal type | digital single-variable | SIGNAL |
| 057 | Output signal type | dry contact | SIGNAL |
| 057 | Output signal type | electronic,low power | SIGNAL |
| 057 | Output signal type | relay | SIGNAL |
| 057 | Output signal type | smart multivariable | SIGNAL |
| 057 | Output signal type | smart,single variable | SIGNAL |
| 057 | Output signal type | transistor switch | SIGNAL |
| 057 | Output signal type | NA | SIGNAL |
| 058 | Characteristic curve | linear with mass | CHARACTERISTIC CURVE |
| 058 | Characteristic curve | linear with measurement | CHARACTERISTIC CURVE |
| 058 | Characteristic curve | linear with volume | CHARACTERISTIC CURVE |
| 058 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 059 | Compensation style | average density |  |
| 059 | Compensation style | average temperature |  |
| 059 | Compensation style | point temperature |  |
| 059 | Compensation style | probe buildup |  |
| 059 | Compensation style | source decay |  |
| 059 | Compensation style | vapor temperature |  |
| 059 | Compensation style | varying dielectric |  |
| 059 | Compensation style | NA |  |
| 060 | Type of protection | continuous dilution | TYPE OF PROTECTION |
| 060 | Type of protection | encapsulation | TYPE OF PROTECTION |
| 060 | Type of protection | explosion proof enclosure | TYPE OF PROTECTION |
| 060 | Type of protection | flameproof | TYPE OF PROTECTION |
| 060 | Type of protection | increased safety | TYPE OF PROTECTION |
| 060 | Type of protection | intrinsic safety | TYPE OF PROTECTION |
| 060 | Type of protection | nonincendive equipment | TYPE OF PROTECTION |
| 060 | Type of protection | oil-immersion | TYPE OF PROTECTION |
| 060 | Type of protection | powder filling | TYPE OF PROTECTION |
| 060 | Type of protection | pressurization | TYPE OF PROTECTION |
| 060 | Type of protection | restricted breathing | TYPE OF PROTECTION |
| 060 | Type of protection | special protection | TYPE OF PROTECTION |
| 060 | Type of protection | NA | TYPE OF PROTECTION |
| 061 | Criticality code | 1 | CRITICALITY CODE |
| 061 | Criticality code | 2 | CRITICALITY CODE |
| 061 | Criticality code | 3 | CRITICALITY CODE |
| 062a | Max EMI susceptibility | 1-a:0.1 |  |
| 062a | Max EMI susceptibility | 1-b:0.1 |  |
| 062a | Max EMI susceptibility | 1-c:0.1 |  |
| 062a | Max EMI susceptibility | 2-a:0.1 |  |
| 062a | Max EMI susceptibility | 2-b:0.1 |  |
| 062a | Max EMI susceptibility | 2-c:0.1 |  |
| 062a | Max EMI susceptibility | 3-a:0.1 |  |
| 062a | Max EMI susceptibility | 3-b:0.1 |  |
| 062a | Max EMI susceptibility | 3-c:0.1 |  |
| 062b | Ref base susceptibility | % reading |  |
| 062b | Ref base susceptibility | % span |  |
| 062b | Ref base susceptibility | % Span@30 V/m |  |
| 063a | Max temperature effect |  |  |
| 063b | Ref base max temp effect | % span/100 F |  |
| 064 | Max response time |  |  |
| 064u | Max response time units | s | UNITS |
| 065a | Min required accuracy | .1 |  |
| 065a | Min required accuracy | .2 |  |
| 065b | Ref base of min accuracy | % output span |  |
| 065b | Ref base of min accuracy | % reading |  |
| 065b | Ref base of min accuracy | % scale |  |
| 065b | Ref base of min accuracy | % URV |  |
| 065b | Ref base of min accuracy | ft |  |
| 065b | Ref base of min accuracy | in |  |
| 065b | Ref base of min accuracy | mm |  |
| 066 | Max dead band |  |  |
| 066u | Max dead band units | % | UNITS |
| 066u | Max dead band units | ft | UNITS |
| 066u | Max dead band units | in | UNITS |
| 066u | Max dead band units | mm | UNITS |
| 067a | Avail nom power supply | 12 |  |
| 067a | Avail nom power supply | 20 |  |
| 067a | Avail nom power supply | 24 |  |
| 067a | Avail nom power supply | 32 |  |
| 067a | Avail nom power supply | 110 |  |
| 067a | Avail nom power supply | 115 |  |
| 067a | Avail nom power supply | 120 |  |
| 067a | Avail nom power supply | 220 |  |
| 067a | Avail nom power supply | 230 |  |
| 067a | Avail nom power supply | 240 |  |
| 067a | Avail nom power supply | 250 |  |
| 067au | Power supply units | bar(g) | UNITS |
| 067au | Power supply units | kPa(g) | UNITS |
| 067au | Power supply units | psig | UNITS |
| 067au | Power supply units | V(ac) | UNITS |
| 067au | Power supply units | V(dc) | UNITS |
| 067b | Number wires | 2 |  |
| 067b | Number wires | 3 |  |
| 067b | Number wires | 4 |  |
| 067b | Number wires | NA |  |
| 068a | Minimum load capability | 300 |  |
| 068a | Minimum load capability | 800 |  |
| 068u | Load capability units | kOhm | UNITS |
| 068u | Load capability units | Ohm | UNITS |
| 069 | Testing/Listing agency | BASEEFA |  |
| 069 | Testing/Listing agency | CENELEC |  |
| 069 | Testing/Listing agency | CSA |  |
| 069 | Testing/Listing agency | FM |  |
| 069 | Testing/Listing agency | ISSEP |  |
| 069 | Testing/Listing agency | JIS/RIIS |  |
| 069 | Testing/Listing agency | LCIE |  |
| 069 | Testing/Listing agency | SAA |  |
| 069 | Testing/Listing agency | UL |  |
| 069 | Testing/Listing agency | VNIIVE |  |
| 069 | Testing/Listing agency | NA |  |
| 070 | Test requirements | NA |  |
| 071 | Supply loss failure mode | activate fault relay |  |
| 071 | Supply loss failure mode | deactivate output relay |  |
| 071 | Supply loss failure mode | drive output low |  |
| 071 | Supply loss failure mode | NA |  |
| 072 | Signal loss failure mode | activate fault relay |  |
| 072 | Signal loss failure mode | drive output high |  |
| 072 | Signal loss failure mode | drive output low |  |
| 072 | Signal loss failure mode | flashing display |  |
| 072 | Signal loss failure mode | hold last value |  |
| 072 | Signal loss failure mode | switch sensors |  |
| 072 | Signal loss failure mode | NA |  |
| 073a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 073bu | Defined attribute 1 units |  | UNITS |
| 074a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074bu | Defined attribute 2 units |  | UNITS |
| 075 | PROCESS DESIGN CONDITIONS | SECTION TITLE |  |
| 077a | Minimum pressure | 0 |  |
| 077au | Min pressure units |  |  |
| 077b | Normal pressure |  |  |
| 077bu | Norm pressure units | atm | UNITS |
| 077bu | Norm pressure units | bar | UNITS |
| 077bu | Norm pressure units | bar(g) | UNITS |
| 077bu | Norm pressure units | ftH2O | UNITS |
| 077bu | Norm pressure units | inH2O | UNITS |
| 077bu | Norm pressure units | inHg | UNITS |
| 077bu | Norm pressure units | kPa | UNITS |
| 077bu | Norm pressure units | kPa(g) | UNITS |
| 077bu | Norm pressure units | lbf/ft2 | UNITS |
| 077bu | Norm pressure units | lbf/in2 | UNITS |
| 077bu | Norm pressure units | mmH2O | UNITS |
| 077bu | Norm pressure units | mmHg | UNITS |
| 077bu | Norm pressure units | Pa | UNITS |
| 077bu | Norm pressure units | Pa(g) | UNITS |
| 077bu | Norm pressure units | psia | UNITS |
| 077bu | Norm pressure units | psig | UNITS |
| 077c | Maximum pressure |  |  |
| 077cu | Max pressure units |  |  |
| 078a | Minimum temperature |  |  |
| 078au | Min temperature units |  |  |
| 078b | Normal temperature |  |  |
| 078bu | Normal temperature | °C | UNITS |
| 078bu | Normal temperature | °F | UNITS |
| 078bu | Normal temperature | C | UNITS |
| 078bu | Normal temperature | F | UNITS |
| 078c | Maximum temperature |  |  |
| 078cu | Max temperature units |  |  |
| 079b | Lower material phase type | liquid | MATERIAL |
| 079b | Lower material phase type | mixed | MATERIAL |
| 079b | Lower material phase type | vapor | MATERIAL |
| 080a | Min lower matl density |  |  |
| 080au | Min lower density units |  |  |
| 080b | Normal lower matl density |  |  |
| 080bu | Norm lower density units | kg/m3 | UNITS |
| 080bu | Norm lower density units | lb/ft3 | UNITS |
| 080bu | Norm lower density units | lb/galUS | UNITS |
| 080c | Max lower matl density |  |  |
| 080cu | Max lower density units |  |  |
| 081a | Min lower matl sp gr |  |  |
| 081b | Normal lower matl sp gr |  |  |
| 081c | Max lower matl sp gr |  |  |
| 082b | Norm lower matl viscosity |  |  |
| 082bu | Norm lower visc units | cP | UNITS |
| 082bu | Norm lower visc units | cSt | UNITS |
| 082bu | Norm lower visc units | m2/s | UNITS |
| 082bu | Norm lower visc units | m³/s | UNITS |
| 082bu | Norm lower visc units | Pa.s | UNITS |
| 082c | Max lower matl viscosity |  |  |
| 082cu | Max lower visc units |  |  |
| 083a | Min lower matl level | 0 |  |
| 083au | Min lower level units |  |  |
| 083b | Norm lower matl level |  |  |
| 083bu | Norm lower level units | cm | UNITS |
| 083bu | Norm lower level units | ft | UNITS |
| 083bu | Norm lower level units | in | UNITS |
| 083bu | Norm lower level units | m | UNITS |
| 083bu | Norm lower level units | mm | UNITS |
| 083c | Max lower matl level |  |  |
| 083cu | Max lower level units |  |  |
| 084b | Upper material phase type | liquid | MATERIAL |
| 084b | Upper material phase type | mixed | MATERIAL |
| 084b | Upper material phase type | solid | MATERIAL |
| 085a | Min upper matl density |  |  |
| 085au | Min upper density units |  |  |
| 085b | Normal upper matl density |  |  |
| 085bu | Norm upper density units | cm | UNITS |
| 085bu | Norm upper density units | ft | UNITS |
| 085bu | Norm upper density units | in | UNITS |
| 085bu | Norm upper density units | kg/m3 | UNITS |
| 085bu | Norm upper density units | lb/ft3 | UNITS |
| 085bu | Norm upper density units | lb/galUS | UNITS |
| 085c | Max upper matl density |  |  |
| 085cu | Max upper density units |  |  |
| 086a | Min upper matl sp gr |  |  |
| 086b | Normal upper matl sp gr |  |  |
| 086c | Max upper matl sp gr |  |  |
| 087b | Norm upper matl viscosity |  |  |
| 087bu | Norm upper visc units | cP | UNITS |
| 087bu | Norm upper visc units | cSt | UNITS |
| 087bu | Norm upper visc units | m2/s | UNITS |
| 087bu | Norm upper visc units | m³/s | UNITS |
| 087bu | Norm upper visc units | Pa.s | UNITS |
| 087c | Max upper matl viscosity |  |  |
| 087cu | Max upper visc units |  |  |
| 088a | Min upper matl level | 0 |  |
| 088au | Min upper level units |  |  |
| 088b | Norm upper matl level |  |  |
| 088bu | Norm upper level units | cm | UNITS |
| 088bu | Norm upper level units | ft | UNITS |
| 088bu | Norm upper level units | in | UNITS |
| 088bu | Norm upper level units | m | UNITS |
| 088bu | Norm upper level units | mm | UNITS |
| 088c | Max upper matl level |  |  |
| 088cu | Max upper level units |  |  |
| 089c | Max buildup thickness |  |  |
| 089cu | Buildup thickness units | in | UNITS |
| 089cu | Buildup thickness units | mm | UNITS |
| 090a | Minimum solids conc | 0 |  |
| 090au | Min solids conc units |  |  |
| 090b | Normal solids conc |  |  |
| 090bu | Norm solids conc units | % | UNITS |
| 090bu | Norm solids conc units | mol/m3 | UNITS |
| 090c | Maximum solids conc. |  |  |
| 090cu | Max solids conc units |  |  |
| 091a | Min moisture content |  |  |
| 091au | Min moisture units |  |  |
| 091b | Norm moisture content |  |  |
| 091bu | Norm moisture units |  |  |
| 091bu | Norm moisture units | % | UNITS |
| 091bu | Norm moisture units | ppm | UNITS |
| 091c | Max moisture content |  |  |
| 091cu | Max moisture units |  |  |
| 092c | Max angle of repose |  |  |
| 092d | Angle of repose units | deg | UNITS |
| 093a | Min particle size |  |  |
| 093au | Min part size units |  |  |
| 093b | Norm particle size |  |  |
| 093bu | Norm part size units |  |  |
| 093c | Max particle size |  |  |
| 093cu | Max part size units |  |  |
| 094 | Definable attribute1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 094a | Min definable attr value |  |  |
| 094au | Attr 1 min units |  |  |
| 094b | Norm definable attr value |  |  |
| 094bu | Attr 1 norm units |  |  |
| 094c | Max definable attr value |  |  |
| 094cu | Attr 1 max units |  |  |
| 095 | Definable attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 095a | Min definable attrb2 value |  |  |
| 095au | Attr 2 min units |  |  |
| 095b | Norm definable attrb2 value |  |  |
| 095bu | Attr 2 norm units |  |  |
| 095c | Max definable attrb2 value |  |  |
| 095cu | Attr 2 max units |  |  |
| 096 | CALCULATED VARIABLES | SECTION TITLE |  |
| 097b | Calc zero el/suppr | 0 |  |
| 097d | Calc zero el/suppr units | % | UNITS |
| 098b | Calc measurement span |  |  |
| 098d | Calc meas span units | cm | UNITS |
| 098d | Calc meas span units | ft | UNITS |
| 098d | Calc meas span units | in | UNITS |
| 098d | Calc meas span units | m | UNITS |
| 098d | Calc meas span units | mm | UNITS |
| 099 | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099a | Defined attribute 1 min |  |  |
| 099b | Defined attribute 1 norm |  |  |
| 099c | Defined attribute 1 max |  |  |
| 099d | Defined attribute 1 units |  | UNITS |
| 100 | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100a | Defined attribute 2 min |  |  |
| 100b | Defined attribute 2 norm |  |  |
| 100c | Defined attribute 2 max |  |  |
| 100d | Defined attribute 2 units |  | UNITS |
| 101 | MATERIAL PROPERTIES | SECTION TITLE | MATERIAL |
| 102 | Lower material name | NA | MATERIAL |
| 103 | Lower matl composition |  |  |
| 104a | Lower matl density at ref |  |  |
| 104au | Lower matl density units | kg/m3 | UNITS |
| 104au | Lower matl density units | lb/ft3 | UNITS |
| 104au | Lower matl density units | lb/galUS | UNITS |
| 104b | Lower matl dens ref temp |  |  |
| 104bu | Lower dens temp units | °C | UNITS |
| 104bu | Lower dens temp units | °F | UNITS |
| 104bu | Lower dens temp units | C | UNITS |
| 104bu | Lower dens temp units | F | UNITS |
| 105a | Lower dielectric const |  |  |
| 105b | Lower matl dcons ref temp |  |  |
| 105bu | Lower dcons temp units | °C | UNITS |
| 105bu | Lower dcons temp units | °F | UNITS |
| 105bu | Lower dcons temp units | C | UNITS |
| 105bu | Lower dcons temp units | F | UNITS |
| 106 | Lower material color |  | MATERIAL |
| 107a | Lower matl NFPA 325M health haz | 0 |  |
| 107a | Lower matl NFPA 325M health haz | 1 |  |
| 107a | Lower matl NFPA 325M health haz | 2 |  |
| 107a | Lower matl NFPA 325M health haz | 3 |  |
| 107a | Lower matl NFPA 325M health haz | 4 |  |
| 107b | Lower NFPA flammability | 0 |  |
| 107b | Lower NFPA flammability | 1 |  |
| 107b | Lower NFPA flammability | 2 |  |
| 107b | Lower NFPA flammability | 3 |  |
| 107b | Lower NFPA flammability | 4 |  |
| 107c | Lower NFPA reactivity | 0 |  |
| 107c | Lower NFPA reactivity | 1 |  |
| 107c | Lower NFPA reactivity | 2 |  |
| 107c | Lower NFPA reactivity | 3 |  |
| 107c | Lower NFPA reactivity | 4 |  |
| 108a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108bu | Defined attribute 1 units |  | UNITS |
| 110 | Upper material name | NA | MATERIAL |
| 111 | Upper matl composition |  |  |
| 112a | Upper matl density at ref |  |  |
| 112au | Upper matl density units | kg/m3 | UNITS |
| 112au | Upper matl density units | lb/ft3 | UNITS |
| 112au | Upper matl density units | lb/galUS | UNITS |
| 112b | Upper matl dens ref temp |  |  |
| 112bu | Upper density temp units | °C | UNITS |
| 112bu | Upper density temp units | °F | UNITS |
| 112bu | Upper density temp units | C | UNITS |
| 112bu | Upper density temp units | F | UNITS |
| 113 | Upper dielectric const |  |  |
| 113b | Upper matl dcons ref temp |  |  |
| 113bu | Upper dcons temp units | °C | UNITS |
| 113bu | Upper dcons temp units | °F | UNITS |
| 113bu | Upper dcons temp units | C | UNITS |
| 113bu | Upper dcons temp units | F | UNITS |
| 114 | Upper material color |  | MATERIAL |
| 115a | Upper matl NFPA 325M health haz | 0 |  |
| 115a | Upper matl NFPA 325M health haz | 1 |  |
| 115a | Upper matl NFPA 325M health haz | 2 |  |
| 115a | Upper matl NFPA 325M health haz | 3 |  |
| 115a | Upper matl NFPA 325M health haz | 4 |  |
| 115b | Upper NFPA flammability | 0 |  |
| 115b | Upper NFPA flammability | 1 |  |
| 115b | Upper NFPA flammability | 2 |  |
| 115b | Upper NFPA flammability | 3 |  |
| 115b | Upper NFPA flammability | 4 |  |
| 115c | Upper NFPA reactivity | 0 |  |
| 115c | Upper NFPA reactivity | 1 |  |
| 115c | Upper NFPA reactivity | 2 |  |
| 115c | Upper NFPA reactivity | 3 |  |
| 115c | Upper NFPA reactivity | 4 |  |
| 116a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 116b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 116bu | Defined attribute 2 units |  | UNITS |