| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | BODY OR CAGE | SECTION TITLE |  |
| 012 | Body/Cage type | cageless side mounted |  |
| 012 | Body/Cage type | cageless top mounted |  |
| 012 | Body/Cage type | flanged cage |  |
| 012 | Body/Cage type | flanged cage water column |  |
| 012 | Body/Cage type | welded cage |  |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 5 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 6 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 8 in | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 125 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | bw | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | rf | END CONNECTION TYPE |
| 014b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 015 | Flange facing finish | ANSI B 16.5 | FLANGE FACING FINISH |
| 015 | Flange facing finish | NA | FLANGE FACING FINISH |
| 016a | Lower conn location | bottom horizontal |  |
| 016a | Lower conn location | bottom vertical |  |
| 016a | Lower conn location | side |  |
| 016b | Upper connection location | side |  |
| 016b | Upper connection location | top |  |
| 017a | Gage glass conn nom size | 1/2 in | NOMINAL SIZE |
| 017a | Gage glass conn nom size | 3/4 in | NOMINAL SIZE |
| 017a | Gage glass conn nom size | NA | NOMINAL SIZE |
| 017b | Gage glass conn style | NPT(F) |  |
| 017b | Gage glass conn style | NA |  |
| 018a | Try-cock conn nom size | 1/2 in |  |
| 018a | Try-cock conn nom size | 3/4 in |  |
| 018a | Try-cock conn nom size | NA |  |
| 018b | Try-cock conn termn style | NPT(F) |  |
| 018b | Try-cock conn termn style | NA |  |
| 019 | Head orientation/type | left-hand |  |
| 019 | Head orientation/type | manufacturer standard |  |
| 019 | Head orientation/type | right-hand |  |
| 019 | Head orientation/type | NA |  |
| 020 | Extension/Heat insulator | cooling fins |  |
| 020 | Extension/Heat insulator | NA |  |
| 021 | Body/Cage material | 304 SST | MATERIAL |
| 021 | Body/Cage material | 304L SST | MATERIAL |
| 021 | Body/Cage material | 316 SST | MATERIAL |
| 021 | Body/Cage material | 316L SST | MATERIAL |
| 021 | Body/Cage material | carbon steel | MATERIAL |
| 021 | Body/Cage material | cast iron | MATERIAL |
| 021 | Body/Cage material | cast iron w/ Brass lining | MATERIAL |
| 021 | Body/Cage material | NA | MATERIAL |
| 022 | Bolting material | alloy steel | BOLTING |
| 022 | Bolting material | NA | BOLTING |
| 023 | Gasket material | NA | MATERIAL |
| 024a | Defined attribute 1 name | companion flange | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 1 data | 2 in square | DEFINABLE ATTRIBUTE VALUE |
| 025a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 025b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 026b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 027 | SENSING ELEMENT | SECTION TITLE |  |
| 028 | Sensor type | displacer |  |
| 028 | Sensor type | float |  |
| 029a | Sp gr Lower Range-Limit | .50 |  |
| 029b | Sp gr Upper Range-Limit |  |  |
| 030a | Adjustable LRL |  | LOWER RANGE-LIMIT |
| 030au | Adjustable LRL units | in | UNITS |
| 030au | Adjustable LRL units | mm | UNITS |
| 030b | Adjustable URL |  | UPPER RANGE-LIMIT |
| 030bu | Adjustable URL units | in | UNITS |
| 030bu | Adjustable URL units | mm | UNITS |
| 031 | Sensor quantity | 1 |  |
| 031 | Sensor quantity | 2 |  |
| 031 | Sensor quantity | 3 |  |
| 031 | Sensor quantity | 4 |  |
| 032a | Float/Displacer diameter | 2.50 |  |
| 032a | Float/Displacer diameter | 2.56 |  |
| 032a | Float/Displacer diameter | 3.00 |  |
| 032a | Float/Displacer diameter | 3.50 |  |
| 032a | Float/Displacer diameter | 4.00 |  |
| 032a | Float/Displacer diameter | 4.50 |  |
| 032a | Float/Displacer diameter | 64 |  |
| 032a | Float/Displacer diameter | 89 |  |
| 032a | Float/Displacer diameter | 76 |  |
| 032au | Float diameter units | in | UNITS |
| 032au | Float diameter units | mm | UNITS |
| 032b | Float/Displacer length | 8.00 |  |
| 032b | Float/Displacer length | 12.00 |  |
| 032b | Float/Displacer length | 18.00 |  |
| 032b | Float/Displacer length | 26.00 |  |
| 032b | Float/Displacer length | 203 |  |
| 032b | Float/Displacer length | 305 |  |
| 032b | Float/Displacer length | 457 |  |
| 032b | Float/Displacer length | 660 |  |
| 032bu | Length units | in | UNITS |
| 032bu | Length units | mm | UNITS |
| 033 | Extension/stem length | 3.62 |  |
| 033 | Extension/stem length | 4.00 |  |
| 033 | Extension/stem length | 4.5 |  |
| 033 | Extension/stem length | 5.00 |  |
| 033 | Extension/stem length | 6.00 |  |
| 033 | Extension/stem length | 7.3 |  |
| 033 | Extension/stem length | 9.00 |  |
| 033 | Extension/stem length | 10.5 |  |
| 033 | Extension/stem length | 102 |  |
| 033 | Extension/stem length | 127 |  |
| 033u | Extension length units | in | UNITS |
| 033u | Extension length units | mm | UNITS |
| 034 | Float/Displacer material | 300 SST | MATERIAL |
| 034 | Float/Displacer material | 304 SST | MATERIAL |
| 034 | Float/Displacer material | 316 SST | MATERIAL |
| 034 | Float/Displacer material | 316L SST | MATERIAL |
| 034 | Float/Displacer material | 347 SST | MATERIAL |
| 034 | Float/Displacer material | karbate | MATERIAL |
| 034 | Float/Displacer material | porcelain | MATERIAL |
| 034 | Float/Displacer material | PVC | MATERIAL |
| 034 | Float/Displacer material | NA | MATERIAL |
| 035 | Torque tube/Spring matl | 316 SST | MATERIAL |
| 035 | Torque tube/Spring matl | inconel | MATERIAL |
| 035 | Torque tube/Spring matl | NA | MATERIAL |
| 036 | Magnetic sleeve material | 316 SST | MATERIAL |
| 036 | Magnetic sleeve material | 400 SST | MATERIAL |
| 036 | Magnetic sleeve material | 400 SST w/316 SST jacket | MATERIAL |
| 036 | Magnetic sleeve material | NA | MATERIAL |
| 037 | Extension/Cable material | NA | MATERIAL |
| 038 | Trim material | 300 SST | MATERIAL |
| 038 | Trim material | 316 SST | MATERIAL |
| 038 | Trim material | inconel | MATERIAL |
| 038 | Trim material | NA | MATERIAL |
| 039a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 039b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 040a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 040b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 041a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 041b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 042 | SWITCH MECHANISM | SECTION TITLE |  |
| 043 | Housing type | general service | HOUSING |
| 043 | Housing type | hermetically sealed | HOUSING |
| 043 | Housing type | weatherproof | HOUSING |
| 044 | Element style | bleed |  |
| 044 | Element style | explosion proof enclosure |  |
| 044 | Element style | hermetically sealed |  |
| 044 | Element style | high temperature |  |
| 044 | Element style | low power service |  |
| 044 | Element style | non-bleed |  |
| 044 | Element style | vibration resistant |  |
| 044 | Element style | NA |  |
| 045 | Output signal type | dry contact | SIGNAL |
| 045 | Output signal type | mercury | SIGNAL |
| 045 | Output signal type | pneumatic binary | SIGNAL |
| 045 | Output signal type | relay | SIGNAL |
| 045 | Output signal type | NA | SIGNAL |
| 046 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 046 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 046 | Enclosure type no/class | 4X/7/9 | ENCLOSURE TYPE NO/CLASS |
| 046 | Enclosure type no/class | 7/9 | ENCLOSURE TYPE NO/CLASS |
| 046 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 046 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 047 | Control sequence | high level w/Low alarm |  |
| 047 | Control sequence | low level w/High alarm |  |
| 047 | Control sequence | low level w/Mid level |  |
| 047 | Control sequence | mid level w/High level |  |
| 047 | Control sequence | mid level w/Low level |  |
| 047 | Control sequence | pump control w/alarm |  |
| 047 | Control sequence | NA |  |
| 048 | Signal power source | pneumatic 100 psig |  |
| 048 | Signal power source | pneumatic 3 bar |  |
| 048 | Signal power source | pneumatic 4 bar |  |
| 048 | Signal power source | pneumatic 40 psig |  |
| 048 | Signal power source | pneumatic 60 psig |  |
| 048 | Signal power source | pneumatic 7 bar |  |
| 048 | Signal power source | NA |  |
| 049a | Contacts arrangement | DPDT |  |
| 049a | Contacts arrangement | form Z |  |
| 049a | Contacts arrangement | SPDT |  |
| 049a | Contacts arrangement | NA |  |
| 049b | Contacts quantity | 1 |  |
| 049b | Contacts quantity | 2 |  |
| 049b | Contacts quantity | 3 |  |
| 050 | Signal termination type | exposed wiring leads | END CONNECTION TYPE |
| 050 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 050 | Signal termination type | sealed leads | END CONNECTION TYPE |
| 050 | Signal termination type | terminal block | END CONNECTION TYPE |
| 050 | Signal termination type | NA | END CONNECTION TYPE |
| 051 | Cert/Approval type | BASEEFA Explosion proof | CERTIFICATION |
| 051 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 051 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 051 | Cert/Approval type | CSA Non-classified | CERTIFICATION |
| 051 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 051 | Cert/Approval type | FM Non-classified | CERTIFICATION |
| 051 | Cert/Approval type | SAA Explosion proof | CERTIFICATION |
| 051 | Cert/Approval type | UL Non-classified | CERTIFICATION |
| 051 | Cert/Approval type | NA | CERTIFICATION |
| 052 | Dead band type | adjustable | DEAD BAND |
| 052 | Dead band type | fixed | DEAD BAND |
| 052 | Dead band type | narrow differential | DEAD BAND |
| 052 | Dead band type | wide differential | DEAD BAND |
| 052 | Dead band type | NA | DEAD BAND |
| 053 | Enclosure material | aluminum | MATERIAL |
| 053 | Enclosure material | carbon steel | MATERIAL |
| 053 | Enclosure material | cast iron | MATERIAL |
| 053 | Enclosure material | lexan | MATERIAL |
| 053 | Enclosure material | NA | MATERIAL |
| 054 | Exterior coating material | black alkyd | MATERIAL |
| 054 | Exterior coating material | epoxy | MATERIAL |
| 054 | Exterior coating material | NA | MATERIAL |
| 055a | Defined attribute 1 name | enclosure accessories | DEFINABLE ATTRIBUTE NAME |
| 055b | Defined attribute 1 data | breather/drain | DEFINABLE ATTRIBUTE VALUE |
| 055b | Defined attribute 1 data | resistance heater | DEFINABLE ATTRIBUTE VALUE |
| 056a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 056b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 057a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp |  | PRESSURE |
| 061au | Design pressure units | bar(g) | UNITS |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature |  | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Min working temperature |  | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature |  | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063a | Repeatability |  |  |
| 063b | Repeatability ref base | in |  |
| 063b | Repeatability ref base | mm |  |
| 064a | Level Lower Range-Limit |  | LOWER RANGE-LIMIT |
| 064au | Level LRL units | in | UNITS |
| 064au | Level LRL units | mm | UNITS |
| 064b | Level Upper Range-Limit |  |  |
| 064bu | Level URL units | in | UNITS |
| 064bu | Level URL units | mm | UNITS |
| 065a | Dead band rating |  |  |
| 065b | Dead band ref base |  |  |
| 066a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 066au | Min amb working temp units | °C | UNITS |
| 066au | Min amb working temp units | °F | UNITS |
| 066au | Min amb working temp units | C | UNITS |
| 066au | Min amb working temp units | F | UNITS |
| 066b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 066bu | Max amb temperature units | °C | UNITS |
| 066bu | Max amb temperature units | °F | UNITS |
| 066bu | Max amb temperature units | C | UNITS |
| 066bu | Max amb temperature units | F | UNITS |
| 067a | Contacts ac rating | .5 | DEVICE RATING |
| 067a | Contacts ac rating | 1.0 | DEVICE RATING |
| 067au | AC rating current units | A | UNITS |
| 067b | AC rating max voltage | 120 | DEVICE RATING |
| 067b | AC rating max voltage | 240 | DEVICE RATING |
| 067bu | AC max voltage units | V | UNITS |
| 068a | Contacts dc rating | .5 | DEVICE RATING |
| 068au | DC rating current units | A | UNITS |
| 068b | DC rating max voltage | 24 | DEVICE RATING |
| 068b | DC rating max voltage | 120 | DEVICE RATING |
| 068b | DC rating max voltage | 240 | DEVICE RATING |
| 068bu | DC max voltage units | V | UNITS |
| 069a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 071a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 082 | ACCESSORIES | SECTION TITLE |  |
| 083 | Try-cock style | NA |  |
| 084 | Gage glass style | NA |  |
| 085 | Gage valve style | NA |  |
| 086 | Mechanical test mechanism | high pressure type |  |
| 086 | Mechanical test mechanism | low pressure type |  |
| 086 | Mechanical test mechanism | NA |  |
| 087a | Defined attribute 1 name | enclosure accessories | DEFINABLE ATTRIBUTE NAME |
| 087a | Defined attribute 1 name | housing heater/drain | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 1 data | drains | DEFINABLE ATTRIBUTE VALUE |
| 087b | Defined attribute 1 data | heater | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 090 | Custom tag | fiber tag |  |
| 090 | Custom tag | sst permanent attached |  |
| 090 | Custom tag | sst wired-on |  |
| 090 | Custom tag | NA |  |
| 091 | Reference specification | NA | REFERENCE SPECIFICATION |
| 092 | Special preparation | NA |  |
| 093 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 093 | Compliance standard | NA | NACE STANDARD |
| 094 | Construction code | ANSI B31.3 |  |
| 094 | Construction code | NA |  |
| 095a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 095b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 096a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 096b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 097a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098 | PHYSICAL DATA | SECTION TITLE |  |
| 099 | Estimated weight |  |  |
| 099u | Weight units | kg | UNITS |
| 099u | Weight units | lb | UNITS |
| 100 | Overall height |  |  |
| 100u | Overall height units | in | UNITS |
| 100u | Overall height units | mm | UNITS |
| 101 | Removal clearance |  |  |
| 101u | Removal clearance units | in | UNITS |
| 101u | Removal clearance units | mm | UNITS |
| 102 | Upper to lower conn lg |  |  |
| 102u | Upper conn length units | in | UNITS |
| 102u | Upper conn length units | mm | UNITS |
| 103 | Lower to drain conn lg |  |  |
| 103u | Lower conn length units | in | UNITS |
| 103u | Lower conn length units | mm | UNITS |
| 104a | Signal conn nominal size | 1/4 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 1 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Setpoint 1 tag no |  |  |
| 112b | Level setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 112c | Setpoint 1 LRV | 0 |  |
| 112cu | Setpoint 1 LRV units | cm | UNITS |
| 112cu | Setpoint 1 LRV units | ft | UNITS |
| 112cu | Setpoint 1 LRV units | in | UNITS |
| 112d | Setpoint 1 URV |  |  |
| 112du | Setpoint 1 URV units | cm | UNITS |
| 112du | Setpoint 1 URV units | ft | UNITS |
| 112du | Setpoint 1 URV units | in | UNITS |
| 112e | Setpoint 1 signal action | NC |  |
| 112e | Setpoint 1 signal action | NO |  |
| 112f | Setpoint 1 output LRV | 0 |  |
| 112fu | Setpoint 1 output LRV units | V | UNITS |
| 112g | Setpoint 1 output URV | 24 |  |
| 112g | Setpoint 1 output URV | 120 |  |
| 112gu | Setpoint 1 output URV units | V | UNITS |
| 113a | Setpoint 2 tag no |  |  |
| 113b | Level setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 113c | Setpoint 2 LRV |  |  |
| 113cu | Setpoint 2 LRV units | cm | UNITS |
| 113cu | Setpoint 2 LRV units | ft | UNITS |
| 113cu | Setpoint 2 LRV units | in | UNITS |
| 113d | Setpoint 2 URV |  |  |
| 113du | Setpoint 2 URV units | cm | UNITS |
| 113du | Setpoint 2 URV units | ft | UNITS |
| 113du | Setpoint 2 URV units | in | UNITS |
| 113e | Setpoint 2 signal action | NC |  |
| 113e | Setpoint 2 signal action | NO |  |
| 113f | Setpoint 2 output LRV | 0 |  |
| 113fu | Setpoint 2 output LRV units | V | UNITS |
| 113g | Setpoint 2 output URV | 24 |  |
| 113g | Setpoint 2 output URV | 120 |  |
| 113gu | Setpoint 2 output URV units | V | UNITS |
| 114a | Setpoint 3 tag no |  |  |
| 114b | Level setpoint 3-Output | CALIBRATION/TEST DESC |  |
| 114c | Setpoint 3 LRV |  |  |
| 114cu | Setpoint 3 LRV units | cm | UNITS |
| 114cu | Setpoint 3 LRV units | ft | UNITS |
| 114cu | Setpoint 3 LRV units | in | UNITS |
| 114d | Setpoint 3 URV |  |  |
| 114du | Setpoint 3 URV units | cm | UNITS |
| 114du | Setpoint 3 URV units | ft | UNITS |
| 114du | Setpoint 3 URV units | in | UNITS |
| 114e | Setpoint 3 signal action | NC |  |
| 114e | Setpoint 3 signal action | NO |  |
| 114f | Setpoint 3 output LRV | 0 |  |
| 114fu | Setpoint 3 output LRV units | V | UNITS |
| 114g | Setpoint 3 output URV | 24 |  |
| 114g | Setpoint 3 output URV | 120 |  |
| 114gu | Setpoint 3 output URV units | V | UNITS |
| 115a | Setpoint 4 tag no |  |  |
| 115b | Level setpoint 4-Output | CALIBRATION/TEST DESC |  |
| 115c | Setpoint 4 LRV |  |  |
| 115cu | Setpoint 4 LRV units | cm | UNITS |
| 115cu | Setpoint 4 LRV units | ft | UNITS |
| 115cu | Setpoint 4 LRV units | in | UNITS |
| 115d | Setpoint 4 URV |  |  |
| 115du | Setpoint 4 URV units | cm | UNITS |
| 115du | Setpoint 4 URV units | ft | UNITS |
| 115du | Setpoint 4 URV units | in | UNITS |
| 115e | Setpoint 4 signal action | NC |  |
| 115e | Setpoint 4 signal action | NO |  |
| 115f | Setpoint 4 output LRV | 0 |  |
| 115fu | Setpoint 4 output LRV units | V | UNITS |
| 115g | Setpoint 4 output URV | 24 |  |
| 115g | Setpoint 4 output URV | 120 |  |
| 115gu | Setpoint 4 output URV units | V | UNITS |
| 116a | Attribute tag no |  |  |
| 116b | Attribute cal/test descp | NA |  |
| 116c | Attribute cal/test LRV |  |  |
| 116cu | Attr cal/test LRV units |  | UNITS |
| 116d | Attribute cal/test URV |  |  |
| 116du | Attr cal/test URV units |  | UNITS |
| 116e | Attribute cal/test action |  |  |
| 116f | Attribute output LRV |  |  |
| 116fu | Attr output LRV units |  | UNITS |
| 116g | Attribute output URV |  |  |
| 116gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | displacer level switch |  |
| 120a | Component type | float level switch |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |