| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | PROCESS CONNECTION | SECTION TITLE |  |
| 012 | Body/Fitting type | cryogenic probe |  |
| 012 | Body/Fitting type | flanged gland |  |
| 012 | Body/Fitting type | hex head gland |  |
| 012 | Body/Fitting type | retractable probe |  |
| 012 | Body/Fitting type | sanitary gland |  |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | rf | END CONNECTION TYPE |
| 014b | Process conn termn style | tri-Clamp | END CONNECTION TYPE |
| 015 | Wetted material | 304 SST | MATERIAL |
| 015 | Wetted material | 316 SST | MATERIAL |
| 015 | Wetted material | PTFE | MATERIAL |
| 015 | Wetted material | NA | MATERIAL |
| 016 | Flange material | 316 SST | MATERIAL |
| 016 | Flange material | carbon steel | MATERIAL |
| 016 | Flange material | carbon steel,PFTE lined | MATERIAL |
| 016 | Flange material | PVC | MATERIAL |
| 016 | Flange material | NA | MATERIAL |
| 017 | Seal/O ring material | EPDM | MATERIAL |
| 017 | Seal/O ring material | neopreme | MATERIAL |
| 017 | Seal/O ring material | PTFE | MATERIAL |
| 017 | Seal/O ring material | silicone | MATERIAL |
| 017 | Seal/O ring material | viton | MATERIAL |
| 017 | Seal/O ring material | NA | MATERIAL |
| 018a | Defined attribute 1 name | leak detection ports | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 1 data | 2 | DEFINABLE ATTRIBUTE VALUE |
| 018b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 019a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 020 | SENSING ELEMENT | SECTION TITLE |  |
| 021 | Configuration type | bare cable |  |
| 021 | Configuration type | cnctrc shield-rod |  |
| 021 | Configuration type | dual rod |  |
| 021 | Configuration type | fully insulated cable |  |
| 021 | Configuration type | fully insulated rod |  |
| 021 | Configuration type | fully insulated rod,tube |  |
| 021 | Configuration type | hd insulated cable |  |
| 021 | Configuration type | insulated rod,gnd ref rod |  |
| 021 | Configuration type | partially insulated cable |  |
| 021 | Configuration type | partially insulated rod |  |
| 022 | Probe diameter | .12 |  |
| 022 | Probe diameter | .312 |  |
| 022 | Probe diameter | .37 |  |
| 022 | Probe diameter | .75 |  |
| 022 | Probe diameter | .84 |  |
| 022u | Probe diameter units | in | UNITS |
| 023 | Insertion length |  | INSERTION LENGTH |
| 023u | Insertion length units | ft | UNITS |
| 023u | Insertion length units | in | UNITS |
| 024 | Inactive length | 0 |  |
| 024u | Inactive length units | ft | UNITS |
| 024u | Inactive length units | in | UNITS |
| 025 | Integral cable length | 0 |  |
| 025 | Integral cable length | 5 |  |
| 025 | Integral cable length | 25 |  |
| 025 | Integral cable length | 35 |  |
| 025 | Integral cable length | 50 |  |
| 025 | Integral cable length | 75 |  |
| 025 | Integral cable length | 100 |  |
| 025u | Cable length units | ft | UNITS |
| 026 | Probe material | 304 SST | MATERIAL |
| 026 | Probe material | 316 SST | MATERIAL |
| 026 | Probe material | hastelloy C | MATERIAL |
| 026 | Probe material | NA | MATERIAL |
| 027 | Insulation/Sheath matl | ceramic | MATERIAL |
| 027 | Insulation/Sheath matl | FEP | MATERIAL |
| 027 | Insulation/Sheath matl | fluorocarbon-type | MATERIAL |
| 027 | Insulation/Sheath matl | PFA | MATERIAL |
| 027 | Insulation/Sheath matl | polypropylene | MATERIAL |
| 027 | Insulation/Sheath matl | PVDF | MATERIAL |
| 027 | Insulation/Sheath matl | TFE | MATERIAL |
| 027 | Insulation/Sheath matl | NA | MATERIAL |
| 028 | Weight material |  | MATERIAL |
| 029a | Defined attribute 1 name | cable termination type | DEFINABLE ATTRIBUTE NAME |
| 029a | Defined attribute 1 name | heat extension | DEFINABLE ATTRIBUTE NAME |
| 029a | Defined attribute 1 name | lagging extension | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 1 data | heat barrier | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 1 data | quick disconnect plug | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 2 name | grounding ref assembly | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 2 data | cable | DEFINABLE ATTRIBUTE VALUE |
| 030b | Defined attribute 2 data | ground rod | DEFINABLE ATTRIBUTE VALUE |
| 030b | Defined attribute 2 data | ground strap | DEFINABLE ATTRIBUTE VALUE |
| 030b | Defined attribute 2 data | ground tube | DEFINABLE ATTRIBUTE VALUE |
| 030b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031 | CONNECTION HEAD OR PREAMPLIFIER | SECTION TITLE |  |
| 032 | Type | connection head |  |
| 032 | Type | preamplifier |  |
| 032 | Type | NA |  |
| 033 | Measurement compensation | probe build-up |  |
| 033 | Measurement compensation | varying dielectric |  |
| 033 | Measurement compensation | NA |  |
| 034 | Input signal URL | 2000 |  |
| 034 | Input signal URL | 4000 |  |
| 034bu | Signal URV units | pF | UNITS |
| 035 | Output signal type | 1 MHz | SIGNAL |
| 035 | Output signal type | 250 kHz | SIGNAL |
| 035 | Output signal type | 33 kHz | SIGNAL |
| 035 | Output signal type | NA | SIGNAL |
| 036 | Enclosure type no/class | 4/4X/12 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 4X/7/9/12 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 037 | Signal power source | line 115 V(ac) 60 Hz |  |
| 037 | Signal power source | line 24 V(dc) |  |
| 037 | Signal power source | NA |  |
| 038 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 038 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 038 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 038 | Cert/Approval type | NA | CERTIFICATION |
| 039 | Mounting location/type | housing base | MOUNTING POSITION |
| 039 | Mounting location/type | integral with element | MOUNTING POSITION |
| 039 | Mounting location/type | NA | MOUNTING POSITION |
| 040 | Enclosure material | aluminum | MATERIAL |
| 040 | Enclosure material | coated aluminum | MATERIAL |
| 040 | Enclosure material | NA | MATERIAL |
| 041a | Defined attribute 1 name | flexible conduit type | DEFINABLE ATTRIBUTE NAME |
| 041a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 041b | Defined attribute 1 data | manufacturer standard | DEFINABLE ATTRIBUTE VALUE |
| 041b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 042a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 042b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 043 | TRANSMITTER w/wo SWITCHES | SECTION TITLE |  |
| 044 | Housing type | explosion proof enclosure | HOUSING |
| 044 | Housing type | flush mtd enclosure | HOUSING |
| 044 | Housing type | surface mtd enclosure | HOUSING |
| 044 | Housing type | wp enclosure | HOUSING |
| 045 | Measurement compensation | probe build-up |  |
| 045 | Measurement compensation | varying dielectric |  |
| 045 | Measurement compensation | NA |  |
| 046 | Output signal type | electric analog | SIGNAL |
| 046 | Output signal type | electric analog & relays | SIGNAL |
| 046 | Output signal type | NA | SIGNAL |
| 047 | Input signal URL | 500 |  |
| 047 | Input signal URL | 2000 |  |
| 047 | Input signal URL | 4000 |  |
| 047u | Signal units | pF | UNITS |
| 048 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 13 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 1-3/5/12 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 3 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 3R | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 3S | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 4/4X/12 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 4X/7/9/12 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 9 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 049 | Characteristic curve | linear to measurement | CHARACTERISTIC CURVE |
| 049 | Characteristic curve | linear with volume | CHARACTERISTIC CURVE |
| 049 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 050 | Signal power source | line 10-55 V(dc) |  |
| 050 | Signal power source | line 115 V(ac) 60 Hz |  |
| 050 | Signal power source | line 120 V(ac) 60 Hz |  |
| 050 | Signal power source | line 220 V(ac) 60 Hz |  |
| 050 | Signal power source | line 230 V(ac) 60 Hz |  |
| 050 | Signal power source | line 24 V(dc) |  |
| 050 | Signal power source | loop 11-30 V(dc) |  |
| 050 | Signal power source | loop 14-55 V(dc) |  |
| 050 | Signal power source | NA |  |
| 051a | Contacts arrangement | DPDT |  |
| 051a | Contacts arrangement | SPDT |  |
| 051a | Contacts arrangement | NA |  |
| 051b | Contacts quantity | 1 |  |
| 051b | Contacts quantity | 2 |  |
| 051b | Contacts quantity | 3 |  |
| 051b | Contacts quantity | 4 |  |
| 052 | Failsafe style | selectable high |  |
| 052 | Failsafe style | selectable low |  |
| 052 | Failsafe style | NA |  |
| 053 | RFI protection | manufacturer standard |  |
| 053 | RFI protection | RFI Filter |  |
| 053 | RFI protection | NA |  |
| 054 | Integral indicator style | 3 1/2 digit LCD /LED |  |
| 054 | Integral indicator style | analog meter |  |
| 054 | Integral indicator style | digital meter |  |
| 054 | Integral indicator style | NA |  |
| 055 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 055 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 055 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 055 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 055 | Cert/Approval type | NA | CERTIFICATION |
| 056 | Mounting location/type | integral to probe | MOUNTING POSITION |
| 056 | Mounting location/type | remote mounting flange | MOUNTING POSITION |
| 056 | Mounting location/type | remote mtd base plate | MOUNTING POSITION |
| 056 | Mounting location/type | wall mount | MOUNTING POSITION |
| 056 | Mounting location/type | NA | MOUNTING POSITION |
| 057 | Static discharge prot | NA |  |
| 058 | Failure/Diagnostic action | drive output high |  |
| 058 | Failure/Diagnostic action | drive output low |  |
| 058 | Failure/Diagnostic action | fault alarm relay |  |
| 058 | Failure/Diagnostic action | hold last value |  |
| 058 | Failure/Diagnostic action | NA |  |
| 059 | Adjustable signal damping | 0-30 s |  |
| 059 | Adjustable signal damping | 0-60 s |  |
| 059 | Adjustable signal damping | NA |  |
| 061 | Switch time delay | off delay |  |
| 061 | Switch time delay | on & off delay |  |
| 061 | Switch time delay | on delay |  |
| 061 | Switch time delay | NA |  |
| 062 | Enclosure material | aluminum | MATERIAL |
| 062 | Enclosure material | carbon steel | MATERIAL |
| 062 | Enclosure material | coated aluminum | MATERIAL |
| 062 | Enclosure material | fiberglass reinf plastic | MATERIAL |
| 062 | Enclosure material | polycarbonate | MATERIAL |
| 062 | Enclosure material | NA | MATERIAL |
| 063a | Defined attribute 1 name | special protection | DEFINABLE ATTRIBUTE NAME |
| 063a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 063b | Defined attribute 1 data | transient protection | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 064a | Defined attribute 2 name | special electronics | DEFINABLE ATTRIBUTE NAME |
| 064a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 2 data | high sensitivity | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 2 data | ruggedized | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 2 data | tropicalized electronics | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 065a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 067a | Max press at design temp |  | PRESSURE |
| 067au | Design pressure units | psig | UNITS |
| 067b | Max design temperature |  | DESIGN TEMPERATURE |
| 067bu | Design temperature units | °C | UNITS |
| 067bu | Design temperature units | °F | UNITS |
| 067bu | Design temperature units | C | UNITS |
| 067bu | Design temperature units | F | UNITS |
| 068a | Min working temperature |  | WORKING TEMPERATURE |
| 068au | Min working temp units | °C | UNITS |
| 068au | Min working temp units | °F | UNITS |
| 068au | Min working temp units | C | UNITS |
| 068au | Min working temp units | F | UNITS |
| 068b | Max working temperature |  | WORKING TEMPERATURE |
| 068bu | Max working temp units | °C | UNITS |
| 068bu | Max working temp units | °F | UNITS |
| 068bu | Max working temp units | C | UNITS |
| 068bu | Max working temp units | F | UNITS |
| 069 | Max discharge to sensor | 2 |  |
| 069 | Max discharge to sensor | 100 |  |
| 069u | Discharge units | A | UNITS |
| 070a | Accuracy rating | .5 | ACCURACY RATING |
| 070a | Accuracy rating | 1 | ACCURACY RATING |
| 070a | Accuracy rating | 2 | ACCURACY RATING |
| 070b | Accuracy rating ref base | % output span | ACCURACY REFERENCE |
| 070b | Accuracy rating ref base | % URV | ACCURACY REFERENCE |
| 071a | Min measurement span | 10 |  |
| 071a | Min measurement span | 15 |  |
| 071a | Min measurement span | 30 |  |
| 071a | Min measurement span | 50 |  |
| 071au | Min meas span units | pF | UNITS |
| 071b | Max measurement span | 500 |  |
| 071b | Max measurement span | 2000 |  |
| 071b | Max measurement span | 4000 |  |
| 071bu | Max meas span units | pF | UNITS |
| 072a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 072au | Min amb working temp units | °C | UNITS |
| 072au | Min amb working temp units | °F | UNITS |
| 072au | Min amb working temp units | C | UNITS |
| 072au | Min amb working temp units | F | UNITS |
| 072b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 072bu | Max amb temperature units | °C | UNITS |
| 072bu | Max amb temperature units | °F | UNITS |
| 072bu | Max amb temperature units | C | UNITS |
| 072bu | Max amb temperature units | F | UNITS |
| 073a | Contacts ac rating | 5 | DEVICE RATING |
| 073a | Contacts ac rating | 10 | DEVICE RATING |
| 073au | AC rating current units | A | UNITS |
| 073b | AC rating max voltage | 250 | DEVICE RATING |
| 073b | AC rating max voltage | 280 | DEVICE RATING |
| 073bu | AC max voltage units | V | UNITS |
| 074a | Contacts dc rating | 5 | DEVICE RATING |
| 074au | DC rating current units | A | UNITS |
| 074b | DC rating max voltage | 28 | DEVICE RATING |
| 074bu | DC max voltage units | V | UNITS |
| 075 | Max sensor to receiver lg | 25 |  |
| 075 | Max sensor to receiver lg | 50 |  |
| 075 | Max sensor to receiver lg | 100 |  |
| 075u | Sensor-receiver lg units | ft | UNITS |
| 076a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 076b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 077a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 077b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 078a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 078b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084 | ACCESSORIES | SECTION TITLE |  |
| 085 | Connecting cables length |  |  |
| 085u | Cable length units | ft | UNITS |
| 086 | Power supply | 120 V(ac)/24 V(dc) |  |
| 086 | Power supply | 120 V(ac)/24 V(dc) EP |  |
| 086 | Power supply | 120 V(ac)/45 V(dc) EP |  |
| 086 | Power supply | 220 V(ac)/24 V(dc) |  |
| 086 | Power supply | NA |  |
| 087 | Local indicator style | analog 0-100% EP |  |
| 087 | Local indicator style | digital 3 1.2 digit,EP |  |
| 087 | Local indicator style | digital display |  |
| 087 | Local indicator style | NA |  |
| 088 | Intrinsic safety barrier | NA |  |
| 089a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 093 | Custom tag | fiber tag |  |
| 093 | Custom tag | sst permanent attached |  |
| 093 | Custom tag | sst wired-on |  |
| 093 | Custom tag | NA |  |
| 094 | Reference specification | 3-A | REFERENCE SPECIFICATION |
| 094 | Reference specification | NA | REFERENCE SPECIFICATION |
| 095 | Compliance standard | NA | NACE STANDARD |
| 096 | Calibration report | NA |  |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cable seal | END CONNECTION TYPE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog level tag |  |  |
| 112b | Level-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog level LRV | 0 |  |
| 112cu | Analog level LRV units | in | UNITS |
| 112cu | Analog level LRV units | mm | UNITS |
| 112d | Analog level URV |  |  |
| 112du | Analog level URV units | in | UNITS |
| 112du | Analog level URV units | mm | UNITS |
| 112e | Analog level signal action | direct |  |
| 112e | Analog level signal action | reverse |  |
| 112f | Analog level output LRV | 0 |  |
| 112f | Analog level output LRV | .2 |  |
| 112f | Analog level output LRV | 3 |  |
| 112f | Analog level output LRV | 4 |  |
| 112f | Analog level output LRV | 6 |  |
| 112f | Analog level output LRV | 10 |  |
| 112f | Analog level output LRV | 20 |  |
| 112fu | Anlg level output LRV units | bar(g) | UNITS |
| 112fu | Anlg level output LRV units | mA | UNITS |
| 112fu | Anlg level output LRV units | psig | UNITS |
| 112g | Analog level output URV | 1 |  |
| 112g | Analog level output URV | 15 |  |
| 112g | Analog level output URV | 20 |  |
| 112g | Analog level output URV | 30 |  |
| 112g | Analog level output URV | 35 |  |
| 112g | Analog level output URV | 50 |  |
| 112g | Analog level output URV | 100 |  |
| 112gu | Output range units | bar(g) | UNITS |
| 112gu | Output range units | mA | UNITS |
| 112gu | Output range units | psig | UNITS |
| 113a | Scale tag no |  |  |
| 113b | Level-Scale | CALIBRATION/TEST DESC |  |
| 113c | Scale level LRV | 0 |  |
| 113cu | Scale level LRV units | % | UNITS |
| 113cu | Scale level LRV units | in | UNITS |
| 113cu | Scale level LRV units | mm | UNITS |
| 113d | Scale level URV |  |  |
| 113du | Scale level URV units | % | UNITS |
| 113du | Scale level URV units | in | UNITS |
| 113du | Scale level URV units | mm | UNITS |
| 113e | Scale level signal action | direct |  |
| 113e | Scale level signal action | reverse |  |
| 113f | Scale Lower Range-Value | 0 |  |
| 113fu | Scale LRV units | % | UNITS |
| 113fu | Scale LRV units | in | UNITS |
| 113fu | Scale LRV units | mm | UNITS |
| 113g | Scale Upper Range-Value | 100 |  |
| 113gu | Scale URV units | % | UNITS |
| 113gu | Scale URV units | in | UNITS |
| 113gu | Scale URV units | mm | UNITS |
| 114a | Setpoint 1 tag no |  |  |
| 114b | Level setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 114c | Setpoint 1 LRV | 0 |  |
| 114cu | Setpoint 1 LRV units | % | UNITS |
| 114cu | Setpoint 1 LRV units | in | UNITS |
| 114cu | Setpoint 1 LRV units | mm | UNITS |
| 114d | Setpoint 1 URV |  |  |
| 114du | Setpoint 1 URV units | % | UNITS |
| 114du | Setpoint 1 URV units | in | UNITS |
| 114du | Setpoint 1 URV units | mm | UNITS |
| 114e | Setpoint 1 signal action | NC |  |
| 114e | Setpoint 1 signal action | NO |  |
| 114f | Setpoint 1 output LRV | 0 |  |
| 114fu | Setpoint 1 output LRV units | V | UNITS |
| 114g | Setpoint 1 output URV | 24 |  |
| 114g | Setpoint 1 output URV | 120 |  |
| 114gu | Setpoint 1 output URV units | V | UNITS |
| 115a | Setpoint 2 tag no |  |  |
| 115b | Level setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 115c | Setpoint 2 LRV |  |  |
| 115cu | Setpoint 2 LRV units | % | UNITS |
| 115cu | Setpoint 2 LRV units | in | UNITS |
| 115cu | Setpoint 2 LRV units | mm | UNITS |
| 115d | Setpoint 2 URV |  |  |
| 115du | Setpoint 2 URV units | in | UNITS |
| 115e | Setpoint 2 signal action | NC |  |
| 115e | Setpoint 2 signal action | NO |  |
| 115f | Setpoint 2 output LRV | 0 |  |
| 115fu | Setpoint 2 output LRV units | V | UNITS |
| 115g | Setpoint 2 output URV | 24 |  |
| 115g | Setpoint 2 output URV | 120 |  |
| 115gu | Setpoint 2 output URV units | V | UNITS |
| 116a | Setpoint 3 tag no |  |  |
| 116b | Level setpoint 3-Output | CALIBRATION/TEST DESC |  |
| 116c | Setpoint 3 LRV |  |  |
| 116c | Setpoint 3 LRV units | in | UNITS |
| 116c | Setpoint 3 LRV units | mm | UNITS |
| 116d | Setpoint 3 URV |  |  |
| 116du | Setpoint 3 URV units | in | UNITS |
| 116du | Setpoint 3 URV units | mm | UNITS |
| 116e | Setpoint 3 signal action | NC |  |
| 116e | Setpoint 3 signal action | NO |  |
| 116f | Setpoint 3 output LRV | 0 |  |
| 116fu | Setpoint 3 output LRV units | V | UNITS |
| 116g | Setpoint 3 output URV | 24 |  |
| 116g | Setpoint 3 output URV | 120 |  |
| 116gu | Setpoint 3 output URV units | V | UNITS |
| 117a | Attribute tag no |  |  |
| 117b | Attribute cal/test descp | NA |  |
| 117c | Attribute cal/test LRV |  |  |
| 117cu | Attr cal/test LRV units |  | UNITS |
| 117d | Attribute cal/test URV |  |  |
| 117du | Attr cal/test URV units |  | UNITS |
| 117e | Attribute cal/test action |  |  |
| 117f | Attribute output LRV |  |  |
| 117fu | Attr output LRV units |  | UNITS |
| 117g | Attribute output URV |  |  |
| 117gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | capacitance level xmtr |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | capacitance element |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 122a | Component type | capacitance level switch |  |
| 122b | Manufacturer |  | MANUFACTURER |
| 122c | Model number |  | MODEL NUMBER |