| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | CHAMBER AND COVER | SECTION TITLE |  |
| 012 | Chamber type | circular weld pad |  |
| 012 | Chamber type | isolatable weld pad |  |
| 012 | Chamber type | large chamber |  |
| 012 | Chamber type | standard chamber |  |
| 012 | Chamber type | tubular |  |
| 012 | Chamber type | welding pad |  |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | NA | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | bw | END CONNECTION TYPE |
| 014b | Process conn termn style | nipple | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | rf | END CONNECTION TYPE |
| 014b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 015 | Flange facing finish | ANSI B 16.5 | FLANGE FACING FINISH |
| 015 | Flange facing finish | NA | FLANGE FACING FINISH |
| 016 | Process conn location | back |  |
| 016 | Process conn location | end |  |
| 016 | Process conn location | side |  |
| 016 | Process conn location | side w/expansion loop |  |
| 017a | Vent/Drain conn nom size | 1/2 in | NOMINAL SIZE |
| 017a | Vent/Drain conn nom size | 3/4 in | NOMINAL SIZE |
| 017a | Vent/Drain conn nom size | NA | NOMINAL SIZE |
| 017b | Vent/Drain conn rating | NA | NOMINAL PRESSURE/RATING |
| 018a | Vent/Drain conn type | flanged | END CONNECTION CATEGORY |
| 018a | Vent/Drain conn type | threaded | END CONNECTION CATEGORY |
| 018a | Vent/Drain conn type | welded | END CONNECTION CATEGORY |
| 018a | Vent/Drain conn type | NA | END CONNECTION CATEGORY |
| 018b | Vent/Drain conn style | NPT(F) |  |
| 018b | Vent/Drain conn style | rf |  |
| 018b | Vent/Drain conn style | SW(F) |  |
| 018b | Vent/Drain conn style | NA |  |
| 019 | Nominal pressure | high pressure |  |
| 019 | Nominal pressure | low pressure |  |
| 019 | Nominal pressure | medium pressure |  |
| 020 | Number of sections | 1 |  |
| 020 | Number of sections | 2 |  |
| 020 | Number of sections | 3 |  |
| 020 | Number of sections | 4 |  |
| 020 | Number of sections | 5 |  |
| 020 | Number of sections | 6 |  |
| 020 | Number of sections | 7 |  |
| 020 | Number of sections | 8 |  |
| 020 | Number of sections | 9 |  |
| 020 | Number of sections | 10 |  |
| 021 | Weld pad radius size |  |  |
| 021u | Radius units | cm | UNITS |
| 021u | Radius units | in | UNITS |
| 021u | Radius units | mm | UNITS |
| 022 | Vent/Drain plug type | hex head pipe plug |  |
| 022 | Vent/Drain plug type | NA |  |
| 023 | Support plates lct | back |  |
| 023 | Support plates lct | left side |  |
| 023 | Support plates lct | right side |  |
| 023 | Support plates lct | NA |  |
| 024 | Heating/Cooling type | cs external tube |  |
| 024 | Heating/Cooling type | cs Internal tube |  |
| 024 | Heating/Cooling type | sst External tube |  |
| 024 | Heating/Cooling type | sst Internal tube |  |
| 024 | Heating/Cooling type | NA |  |
| 025 | Chamber material | 304 SST | MATERIAL |
| 025 | Chamber material | 304L SST | MATERIAL |
| 025 | Chamber material | 316 SST | MATERIAL |
| 025 | Chamber material | 316L SST | MATERIAL |
| 025 | Chamber material | alloy 20 | MATERIAL |
| 025 | Chamber material | carbon steel | MATERIAL |
| 025 | Chamber material | carbon steel,cad plated | MATERIAL |
| 025 | Chamber material | carbon steel,galvanized | MATERIAL |
| 025 | Chamber material | hastelloy | MATERIAL |
| 025 | Chamber material | monel | MATERIAL |
| 025 | Chamber material | NA | MATERIAL |
| 026 | Cover material | 304L SST | MATERIAL |
| 026 | Cover material | 316 SST | MATERIAL |
| 026 | Cover material | 316L SST | MATERIAL |
| 026 | Cover material | carbon steel,cad plated | MATERIAL |
| 026 | Cover material | carbon steel,galvanized | MATERIAL |
| 026 | Cover material | ductile iron | MATERIAL |
| 026 | Cover material | NA | MATERIAL |
| 027 | Lining material | teflon | MATERIAL |
| 027 | Lining material | NA | MATERIAL |
| 028 | Bolting material | alloy steel | BOLTING |
| 028 | Bolting material | alloy steel,cad plated | BOLTING |
| 028 | Bolting material | alloy steel,galvanized | BOLTING |
| 028 | Bolting material | NA | BOLTING |
| 029 | Exterior treatment matl | manufacturer standard | MATERIAL |
| 029 | Exterior treatment matl | offshore coating | MATERIAL |
| 029 | Exterior treatment matl | NA | MATERIAL |
| 030 | Gasket material | asbestos | MATERIAL |
| 030 | Gasket material | buna N | MATERIAL |
| 030 | Gasket material | glass filled teflon | MATERIAL |
| 030 | Gasket material | grafoil | MATERIAL |
| 030 | Gasket material | kel-F | MATERIAL |
| 030 | Gasket material | nobestos | MATERIAL |
| 030 | Gasket material | teflon | MATERIAL |
| 030 | Gasket material | viton | MATERIAL |
| 030 | Gasket material | NA | MATERIAL |
| 031 | Cushion material | asbestos | MATERIAL |
| 031 | Cushion material | grafoil | MATERIAL |
| 031 | Cushion material | kel-F | MATERIAL |
| 031 | Cushion material | nobestos | MATERIAL |
| 031 | Cushion material | NA | MATERIAL |
| 032a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 032b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 033b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 034 | GAGE GLASS | SECTION TITLE |  |
| 035 | Glass type | reflex glass |  |
| 035 | Glass type | transparent |  |
| 035 | Glass type | tubular |  |
| 036 | Glass nominal size | 1 |  |
| 036 | Glass nominal size | 2 |  |
| 036 | Glass nominal size | 3 |  |
| 036 | Glass nominal size | 4 |  |
| 036 | Glass nominal size | 5 |  |
| 036 | Glass nominal size | 6 |  |
| 036 | Glass nominal size | 7 |  |
| 036 | Glass nominal size | 8 |  |
| 036 | Glass nominal size | 9 |  |
| 037 | Frost-proof extension lg | 0 |  |
| 037 | Frost-proof extension lg | 3 |  |
| 037 | Frost-proof extension lg | 4 |  |
| 037 | Frost-proof extension lg | 5 |  |
| 037 | Frost-proof extension lg | 102 |  |
| 037 | Frost-proof extension lg | 127 |  |
| 037 | Frost-proof extension lg | 76 |  |
| 037u | Extension length units | cm | UNITS |
| 037u | Extension length units | in | UNITS |
| 037u | Extension length units | mm | UNITS |
| 038 | Visible length | 3.75 |  |
| 038 | Visible length | 4.75 |  |
| 038 | Visible length | 5.75 |  |
| 038 | Visible length | 6.75 |  |
| 038 | Visible length | 7.87 |  |
| 038 | Visible length | 9.12 |  |
| 038 | Visible length | 9.5 |  |
| 038 | Visible length | 10.25 |  |
| 038 | Visible length | 11.87 |  |
| 038 | Visible length | 12.1 |  |
| 038 | Visible length | 12.62 |  |
| 038 | Visible length | 14.6 |  |
| 038 | Visible length | 15 |  |
| 038 | Visible length | 17.1 |  |
| 038 | Visible length | 17.25 |  |
| 038 | Visible length | 19.75 |  |
| 038 | Visible length | 20.0 |  |
| 038 | Visible length | 22 |  |
| 038 | Visible length | 23.2 |  |
| 038 | Visible length | 25.25 |  |
| 038 | Visible length | 26.0 |  |
| 038 | Visible length | 26.75 |  |
| 038 | Visible length | 30.2 |  |
| 038 | Visible length | 30.37 |  |
| 038 | Visible length | 32.1 |  |
| 038 | Visible length | 33.75 |  |
| 038 | Visible length | 38.1 |  |
| 038 | Visible length | 38.62 |  |
| 038 | Visible length | 40.87 |  |
| 038 | Visible length | 43.8 |  |
| 038 | Visible length | 45.5 |  |
| 038 | Visible length | 50.2 |  |
| 038 | Visible length | 52 |  |
| 038 | Visible length | 55 |  |
| 038 | Visible length | 55.9 |  |
| 038 | Visible length | 57.25 |  |
| 038 | Visible length | 64.1 |  |
| 038 | Visible length | 65.37 |  |
| 038 | Visible length | 67.9 |  |
| 038 | Visible length | 69.12 |  |
| 038 | Visible length | 77.2 |  |
| 038 | Visible length | 78.75 |  |
| 038 | Visible length | 83.25 |  |
| 038 | Visible length | 85.7 |  |
| 038 | Visible length | 92.12 |  |
| 038 | Visible length | 97.37 |  |
| 038 | Visible length | 98.1 |  |
| 038 | Visible length | 103.8 |  |
| 038 | Visible length | 105.5 |  |
| 038 | Visible length | 111.5 |  |
| 038 | Visible length | 115.6 |  |
| 038 | Visible length | 118.87 |  |
| 038 | Visible length | 125.62 |  |
| 038 | Visible length | 132.1 |  |
| 038 | Visible length | 132.25 |  |
| 038 | Visible length | 139.7 |  |
| 038 | Visible length | 139.75 |  |
| 038 | Visible length | 145.4 |  |
| 038 | Visible length | 166.1 |  |
| 038 | Visible length | 175.6 |  |
| 038 | Visible length | 200.0 |  |
| 038 | Visible length | 211.5 |  |
| 038 | Visible length | 234.0 |  |
| 038 | Visible length | 247.3 |  |
| 038 | Visible length | 268.0 |  |
| 038 | Visible length | 283.2 |  |
| 038 | Visible length | 301.9 |  |
| 038 | Visible length | 319.1 |  |
| 038 | Visible length | 335.9 |  |
| 038 | Visible length | 355.0 |  |
| 038u | Visible length units | cm | UNITS |
| 038u | Visible length units | in | UNITS |
| 039 | Glass/Tube protector type | guard rod |  |
| 039 | Glass/Tube protector type | plastic protector |  |
| 039 | Glass/Tube protector type | safety glass |  |
| 039 | Glass/Tube protector type | NA |  |
| 040 | Glass/Tube material | aluminosilicate | MATERIAL |
| 040 | Glass/Tube material | borosilicate | MATERIAL |
| 040 | Glass/Tube material | kel-F | MATERIAL |
| 040 | Glass/Tube material | polycarbonate | MATERIAL |
| 040 | Glass/Tube material | pyrex | MATERIAL |
| 040 | Glass/Tube material | redline pyrex | MATERIAL |
| 040 | Glass/Tube material | NA | MATERIAL |
| 041 | Shield material-thickness | kel-F,0.006 in | MATERIAL |
| 041 | Shield material-thickness | kel-F,0.063 in | MATERIAL |
| 041 | Shield material-thickness | mica | MATERIAL |
| 041 | Shield material-thickness | NA | MATERIAL |
| 042a | Defined attribute 1 name | center fitting matl | DEFINABLE ATTRIBUTE NAME |
| 042b | Defined attribute 1 data | carbon steel | DEFINABLE ATTRIBUTE VALUE |
| 042b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 043a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 043b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 044 | INTERCONNECTING ASSEMBLY | SECTION TITLE |  |
| 045 | Interconnection type | standpipe |  |
| 045 | Interconnection type | standpipe,expansion loop |  |
| 045 | Interconnection type | NA |  |
| 046a | Nipple/Piping nom size | 5/8 in |  |
| 046a | Nipple/Piping nom size | 3/4 in |  |
| 046a | Nipple/Piping nom size | 2 in |  |
| 046a | Nipple/Piping nom size | 3 in |  |
| 046b | Nipple/Piping schedule no | 40 |  |
| 046b | Nipple/Piping schedule no | 80 |  |
| 047 | Valve offset orientation | inside |  |
| 047 | Valve offset orientation | outside |  |
| 047 | Valve offset orientation | NA |  |
| 048 | Gage orientation |  |  |
| 049 | Assembled by | manufacturer |  |
| 049 | Assembled by | vendor |  |
| 049 | Assembled by | NA |  |
| 050 | Nipple/Piping material | carbon steel,SA-106 | MATERIAL |
| 050 | Nipple/Piping material | NA | MATERIAL |
| 051 | Exterior coating material |  | MATERIAL |
| 052a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 052b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 053a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 053b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 054 | GAGE VALVES | SECTION TITLE |  |
| 055 | Valve body type | integral drain cock |  |
| 055 | Valve body type | offset pattern |  |
| 055 | Valve body type | straight pattern |  |
| 055 | Valve body type | NA |  |
| 056 | Bonnet style | integral bonnet | BONNET TYPES |
| 056 | Bonnet style | OS&Y | BONNET TYPES |
| 056 | Bonnet style | union bonnet | BONNET TYPES |
| 056 | Bonnet style | NA | BONNET TYPES |
| 057a | Vessel conn nominal size | 1/2 in | NOMINAL SIZE |
| 057a | Vessel conn nominal size | 3/4 in | NOMINAL SIZE |
| 057a | Vessel conn nominal size | 1 in | NOMINAL SIZE |
| 057b | Vessel conn nom rating | NA |  |
| 058a | Vessel conn termn type | flanged |  |
| 058a | Vessel conn termn type | threaded |  |
| 058a | Vessel conn termn type | welded |  |
| 058b | Vessel conn termn style | NPT(F) |  |
| 058b | Vessel conn termn style | NPT(M) |  |
| 058b | Vessel conn termn style | rf |  |
| 058b | Vessel conn termn style | SW(M) |  |
| 059a | Gage/Glass conn nom size | 1/2 in | NOMINAL SIZE |
| 059a | Gage/Glass conn nom size | 5/8 in | NOMINAL SIZE |
| 059a | Gage/Glass conn nom size | 3/4 in | NOMINAL SIZE |
| 059a | Gage/Glass conn nom size | 1 in | NOMINAL SIZE |
| 059b | Gage/Glass conn rating | cl 150 | NOMINAL PRESSURE/RATING |
| 059b | Gage/Glass conn rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 059b | Gage/Glass conn rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 059b | Gage/Glass conn rating | cl 300 | NOMINAL PRESSURE/RATING |
| 059b | Gage/Glass conn rating | cl 600 | NOMINAL PRESSURE/RATING |
| 059b | Gage/Glass conn rating | cl 900 | NOMINAL PRESSURE/RATING |
| 061a | Gage/Glass conn type | clamped |  |
| 061a | Gage/Glass conn type | flanged |  |
| 061a | Gage/Glass conn type | threaded |  |
| 061a | Gage/Glass conn type | welded |  |
| 061b | Gage/Glass conn style | NPT(F) |  |
| 061b | Gage/Glass conn style | rf |  |
| 061b | Gage/Glass conn style | SB |  |
| 061b | Gage/Glass conn style | SW(F) |  |
| 061b | Gage/Glass conn style | SW(M) |  |
| 062a | Vent/Drain conn nom size | 1/2 in | NOMINAL SIZE |
| 062b | Vent/Drain conn rating | NA | NOMINAL PRESSURE/RATING |
| 063a | Vent/Drain conn type | threaded | END CONNECTION CATEGORY |
| 063a | Vent/Drain conn type | NA | END CONNECTION CATEGORY |
| 063b | Vent/Drain conn style | NPT(F) |  |
| 063b | Vent/Drain conn style | NA |  |
| 064a | Max press at design temp |  | PRESSURE |
| 064au | Max design press units | psig | UNITS |
| 064b | Max working temperature |  | WORKING TEMPERATURE |
| 064bu | Design temperature units | °C | UNITS |
| 064bu | Design temperature units | °F | UNITS |
| 064bu | Design temperature units | C | UNITS |
| 064bu | Design temperature units | F | UNITS |
| 065 | Vessel union/shank type | solid shank |  |
| 065 | Vessel union/shank type | spherical union |  |
| 065 | Vessel union/shank type | union,floating shank |  |
| 065 | Vessel union/shank type | NA |  |
| 066 | Gage union/conn type | rigid |  |
| 066 | Gage union/conn type | spherical union |  |
| 066 | Gage union/conn type | stuffing box |  |
| 066 | Gage union/conn type | union |  |
| 066 | Gage union/conn type | NA |  |
| 067 | Seat type | integral seat |  |
| 067 | Seat type | renewable |  |
| 067 | Seat type | NA |  |
| 068 | Heating/Cooling type | steam jacket |  |
| 068 | Heating/Cooling type | NA |  |
| 069 | Hand actuator style | handwheel,quick closing | HANDWHEEL |
| 069 | Hand actuator style | handwheel,standard | HANDWHEEL |
| 069 | Hand actuator style | level,quick closing | HANDWHEEL |
| 069 | Hand actuator style | NA | HANDWHEEL |
| 070 | Stem style | back seating |  |
| 070 | Stem style | manufacturer standard |  |
| 070 | Stem style | quick closing |  |
| 070 | Stem style | NA |  |
| 071 | Body and bonnet matl | 316 SST | MATERIAL |
| 071 | Body and bonnet matl | alloy 20 | MATERIAL |
| 071 | Body and bonnet matl | carbon steel | MATERIAL |
| 071 | Body and bonnet matl | hastelloy | MATERIAL |
| 071 | Body and bonnet matl | monel | MATERIAL |
| 071 | Body and bonnet matl | NA | MATERIAL |
| 072 | Trim material | 316 SST | MATERIAL |
| 072 | Trim material | 416 SST | MATERIAL |
| 072 | Trim material | alloy 20 | MATERIAL |
| 072 | Trim material | brass | MATERIAL |
| 072 | Trim material | bronze | MATERIAL |
| 072 | Trim material | hastelloy | MATERIAL |
| 072 | Trim material | monel | MATERIAL |
| 072 | Trim material | NA | MATERIAL |
| 073 | Ball check shutoff matl | 316 SST | MATERIAL |
| 073 | Ball check shutoff matl | alloy 20 | MATERIAL |
| 073 | Ball check shutoff matl | glass | MATERIAL |
| 073 | Ball check shutoff matl | hastelloy | MATERIAL |
| 073 | Ball check shutoff matl | monel | MATERIAL |
| 073 | Ball check shutoff matl | NA | MATERIAL |
| 074a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 076 | GAGE ILLUMINATOR | SECTION TITLE |  |
| 077 | Illumination type | florescent |  |
| 077 | Illumination type | incandescent |  |
| 077 | Illumination type | NA |  |
| 078 | Power source | 110 | POWER SOURCE |
| 078 | Power source | 220 | POWER SOURCE |
| 078u | Power source units | V(ac) | UNITS |
| 079 | Enclosure type no/class | 7/9 | ENCLOSURE TYPE NO/CLASS |
| 079 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 080 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 080 | Cert/Approval type | NA | CERTIFICATION |
| 081a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 081b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 082 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 083a | Max press at design temp |  | PRESSURE |
| 083au | Design pressure units | psig | UNITS |
| 083b | Max design temperature |  | DESIGN TEMPERATURE |
| 083bu | Design temperature units | °C | UNITS |
| 083bu | Design temperature units | °F | UNITS |
| 083bu | Design temperature units | C | UNITS |
| 083bu | Design temperature units | F | UNITS |
| 084a | Min working temperature |  | WORKING TEMPERATURE |
| 084au | Min working temp units | °C | UNITS |
| 084au | Min working temp units | °F | UNITS |
| 084au | Min working temp units | C | UNITS |
| 084au | Min working temp units | F | UNITS |
| 084b | Max working temperature |  | WORKING TEMPERATURE |
| 084bu | Max working temp units | °C | UNITS |
| 084bu | Max working temp units | °F | UNITS |
| 084bu | Max working temp units | C | UNITS |
| 084bu | Max working temp units | F | UNITS |
| 085a | Max working pressure |  | MAXIMUM WORKING PRESSURE |
| 085u | Max working press units | psig | UNITS |
| 086a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088 | ACCESSORIES | SECTION TITLE |  |
| 089 | Gage scale divisions | ft,in,1/8 in |  |
| 089 | Gage scale divisions | NA |  |
| 090 | Gage scale material | aluminum | MATERIAL |
| 090 | Gage scale material | brass | MATERIAL |
| 090 | Gage scale material | laminated plastic | MATERIAL |
| 090 | Gage scale material | sst | MATERIAL |
| 090 | Gage scale material | zinc alloy | MATERIAL |
| 090 | Gage scale material | NA | MATERIAL |
| 091 | Vent valves material | NA | MATERIAL |
| 092 | Drain valves material | NA | MATERIAL |
| 093 | Bleed fitting material | NA | MATERIAL |
| 094 | Flexible insulation | NA |  |
| 095a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 095b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 096 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 097 | Custom tag | fiber tag |  |
| 097 | Custom tag | sst permanent attached |  |
| 097 | Custom tag | sst wired-on |  |
| 097 | Custom tag | NA |  |
| 098 | Reference specification | NA | REFERENCE SPECIFICATION |
| 099 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 099 | Compliance standard | NA | NACE STANDARD |
| 100 | Construction code | NA |  |
| 101 | Cert/Approval type | FM | CERTIFICATION |
| 101 | Cert/Approval type | NA | CERTIFICATION |
| 102a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 102b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 103 | PHYSICAL DATA | SECTION TITLE |  |
| 104 | Estimated weight |  |  |
| 104u | Weight units | kg | UNITS |
| 104u | Weight units | lb | UNITS |
| 105 | Gage overall length |  |  |
| 105u | Gage length units | in | UNITS |
| 105u | Gage length units | mm | UNITS |
| 106 | Min vessel centers |  |  |
| 106u | Min centers units | in | UNITS |
| 106u | Min centers units | mm | UNITS |
| 107 | Mfr reference dwg | NA |  |
| 108a | Definable attribute name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Definable attribute value | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag number |  |  |
| 112b | Level-Scale | CALIBRATION/TEST DESC |  |
| 112c | Level Lower Range-Value | 0 |  |
| 112cu | Level LRV units | ft | UNITS |
| 112cu | Level LRV units | in | UNITS |
| 112cu | Level LRV units | mm | UNITS |
| 112d | Level Upper Range-Value |  |  |
| 112du | Level URV units | ft | UNITS |
| 112du | Level URV units | in | UNITS |
| 112du | Level URV units | mm | UNITS |
| 112f | Scale Lower Range-Value | 0 |  |
| 112fu | Scale LRV units | ft | UNITS |
| 112fu | Scale LRV units | galUS | UNITS |
| 112fu | Scale LRV units | in | UNITS |
| 112fu | Scale LRV units | L | UNITS |
| 112fu | Scale LRV units | mm | UNITS |
| 112g | Scale Upper Range-Value |  |  |
| 112gu | Scale URV units | bbl | UNITS |
| 112gu | Scale URV units | ft | UNITS |
| 112gu | Scale URV units | in | UNITS |
| 112gu | Scale URV units | m3 | UNITS |
| 112gu | Scale URV units | mm | UNITS |
| 113b | Test pressure | CALIBRATION/TEST DESC |  |
| 113d | Test pressure URV |  |  |
| 113du | Test pressure URV units | psig | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type |  |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |