| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | PROCESS CONNECTION | SECTION TITLE |  |
| 012 | Body/Fitting type | mounting nipple |  |
| 012 | Body/Fitting type | threaded still pipe |  |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | ring nut | END CONNECTION TYPE |
| 015 | Shell/Cap material | 303 SST | MATERIAL |
| 015 | Shell/Cap material | 304 SST | MATERIAL |
| 015 | Shell/Cap material | teflon coated SST | MATERIAL |
| 015 | Shell/Cap material | NA | MATERIAL |
| 016 | Seal/O ring material | buna N | MATERIAL |
| 016 | Seal/O ring material | teflon | MATERIAL |
| 016 | Seal/O ring material | viton | MATERIAL |
| 016 | Seal/O ring material | NA | MATERIAL |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 019a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 020 | SENSING ELEMENT | SECTION TITLE |  |
| 021 | Detector type | level and temperature |  |
| 021 | Detector type | level only |  |
| 022 | Temperature sensor qty | 0 |  |
| 022 | Temperature sensor qty | 1 |  |
| 022 | Temperature sensor qty | 2 |  |
| 022 | Temperature sensor qty | 3 |  |
| 022 | Temperature sensor qty | NA |  |
| 023a | Temperature coefficient | .00385 Ohm/Ohm/C | RATED FLOW COEFF |
| 023a | Temperature coefficient | .00518 Ohm/Ohm/C | RATED FLOW COEFF |
| 023b | Coef reference base | Ohm/Ohm/C |  |
| 023b | Coef reference base | NA |  |
| 024a | Temp nominal resistance | 1000 |  |
| 024a | Temp nominal resistance | 676 |  |
| 024au | Resistance units | Ohm | UNITS |
| 024b | Ref base temperature | 0 |  |
| 024b | Ref base temperature | 25 |  |
| 024bu | Ref temperature units | C | UNITS |
| 025 | Sheath style | film and channel |  |
| 025 | Sheath style | film and tube |  |
| 025 | Sheath style | NA |  |
| 026 | Overall length | 1.5 |  |
| 026 | Overall length | 3 |  |
| 026 | Overall length | 5 |  |
| 026 | Overall length | 15 |  |
| 026 | Overall length | 25 |  |
| 026 | Overall length | 50 |  |
| 026 | Overall length | 80 |  |
| 026u | Overall length units | ft | UNITS |
| 026u | Overall length units | m | UNITS |
| 027 | Inactive length | 7 |  |
| 027 | Inactive length | 10 |  |
| 027 | Inactive length | 150 |  |
| 027 | Inactive length | 250 |  |
| 027u | Inactive length units | in | UNITS |
| 027u | Inactive length units | mm | UNITS |
| 028 | Sheath material | FEP Teflon | MATERIAL |
| 028 | Sheath material | polyester | MATERIAL |
| 028 | Sheath material | NA | MATERIAL |
| 029 | Protector material | CPVC | MATERIAL |
| 029 | Protector material | FEP Teflon | MATERIAL |
| 029 | Protector material | NA | MATERIAL |
| 030a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 032a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 032b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 033 | CONNECTION HEAD OR HOUSING | SECTION TITLE |  |
| 034 | Type | connection housing |  |
| 034 | Type | housing with indicator |  |
| 034 | Type | NA |  |
| 035 | Housing type | molded housing | HOUSING |
| 035 | Housing type | weldment housing | HOUSING |
| 035 | Housing type | wp enclosure | HOUSING |
| 035 | Housing type | NA | HOUSING |
| 036 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 037 | Signal termination type | flying leads | END CONNECTION TYPE |
| 037 | Signal termination type | male plug | END CONNECTION TYPE |
| 037 | Signal termination type | NA | END CONNECTION TYPE |
| 038 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 038 | Cert/Approval type | NA | CERTIFICATION |
| 039 | Mounting location/type | bottom 3 in flange | MOUNTING POSITION |
| 039 | Mounting location/type | bottom washers | MOUNTING POSITION |
| 039 | Mounting location/type | NA | MOUNTING POSITION |
| 040 | Enclosure material | 304 SST | MATERIAL |
| 040 | Enclosure material | PVC | MATERIAL |
| 040 | Enclosure material | NA | MATERIAL |
| 041 | Breather material | polypropylene | MATERIAL |
| 041 | Breather material | NA | MATERIAL |
| 042 | Fitting material | 316 SST | MATERIAL |
| 042 | Fitting material | brass | MATERIAL |
| 042 | Fitting material | neopreme | MATERIAL |
| 042 | Fitting material | NA | MATERIAL |
| 043a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 043b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 044a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 044b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 045 | TRANSMITTER w/wo SWITCHES | SECTION TITLE |  |
| 046 | Housing type | sealed | HOUSING |
| 046 | Housing type | wp enclosure | HOUSING |
| 047 | Output signal type | analog current | SIGNAL |
| 047 | Output signal type | dual analog current | SIGNAL |
| 047 | Output signal type | NA | SIGNAL |
| 048 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 3 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 049 | Characteristic curve | linear with resistance | CHARACTERISTIC CURVE |
| 049 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 050 | Signal power source | line 115 V(ac) 60 Hz |  |
| 050 | Signal power source | line 230 V(ac) 60 Hz |  |
| 050 | Signal power source | loop 20-30 V(dc) |  |
| 050 | Signal power source | loop 7.5-30 V(dc) |  |
| 050 | Signal power source | NA |  |
| 051a | Contacts arrangement | SPST |  |
| 051a | Contacts arrangement | NA |  |
| 051b | Contacts quantity | 0 |  |
| 051b | Contacts quantity | 1 |  |
| 051b | Contacts quantity | 2 |  |
| 051b | Contacts quantity | 3 |  |
| 051b | Contacts quantity | 4 |  |
| 052 | Failsafe style | NA |  |
| 053 | Integral indicator style | analog meter |  |
| 053 | Integral indicator style | LCD |  |
| 053 | Integral indicator style | LED |  |
| 053 | Integral indicator style | NA |  |
| 054 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 054 | Cert/Approval type | NA | CERTIFICATION |
| 055 | Mounting location/type | surface mount | MOUNTING POSITION |
| 055 | Mounting location/type | NA | MOUNTING POSITION |
| 056 | Enclosure material | CPVC | MATERIAL |
| 056 | Enclosure material | fiberglass reinf plastic | MATERIAL |
| 056 | Enclosure material | NA | MATERIAL |
| 057a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 058a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 058b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 059a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp |  | PRESSURE |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature |  | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Min working temperature | 5 | WORKING TEMPERATURE |
| 062a | Min working temperature | -15 | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature | 60 | WORKING TEMPERATURE |
| 062b | Max working temperature | 140 | WORKING TEMPERATURE |
| 062b | Max working temperature | 180 | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063 | Repeatability | .125 |  |
| 063b | Ref base | in |  |
| 064a | Min measurement span | 3 |  |
| 064au | Min meas span units | ft | UNITS |
| 064au | Min meas span units | in | UNITS |
| 064au | Min meas span units | m | UNITS |
| 064b | Max measurement span | 50 |  |
| 064b | Max measurement span | 110 |  |
| 064bu | Max meas span units | ft | UNITS |
| 064bu | Max meas span units | in | UNITS |
| 064bu | Max meas span units | m | UNITS |
| 065 | Sensor resistance coef | 305 |  |
| 065 | Sensor resistance coef | 1000 |  |
| 065u | Resistance coef units | /m | UNITS |
| 065u | Resistance coef units | Ohm/ft | UNITS |
| 066 | Actuation depth | 4 |  |
| 066 | Actuation depth | 6 |  |
| 066 | Actuation depth | 100 |  |
| 066 | Actuation depth | 150 |  |
| 066u | Actuation depth units | in | UNITS |
| 067a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 067au | Min amb working temp units | °C | UNITS |
| 067au | Min amb working temp units | °F | UNITS |
| 067au | Min amb working temp units | C | UNITS |
| 067au | Min amb working temp units | F | UNITS |
| 067b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 067bu | Max amb temperature units | °C | UNITS |
| 067bu | Max amb temperature units | °F | UNITS |
| 067bu | Max amb temperature units | C | UNITS |
| 067bu | Max amb temperature units | F | UNITS |
| 068a | Contacts ac rating | 2 | DEVICE RATING |
| 068au | AC rating current units | A | UNITS |
| 068b | AC rating max voltage | 115 | DEVICE RATING |
| 068bu | AC max voltage units | V | UNITS |
| 069a | Contacts dc rating |  | DEVICE RATING |
| 069au | DC rating current units | A | UNITS |
| 069b | DC rating max voltage |  | DEVICE RATING |
| 069bu | DC max voltage units | V | UNITS |
| 070 | Max sensor to receiver lg | 1000 |  |
| 070u | Sensor-receiver lg units | ft | UNITS |
| 070u | Sensor-receiver lg units | m | UNITS |
| 071a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 072a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 073a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | ACCESSORIES | SECTION TITLE |  |
| 086 | Connecting cables length |  |  |
| 086u | Cable length units | ft | UNITS |
| 087 | Local indicator style | analog meter |  |
| 087 | Local indicator style | NA |  |
| 088 | Intrinsic safety barrier | individual |  |
| 088 | Intrinsic safety barrier | multiplexed |  |
| 088 | Intrinsic safety barrier | NA |  |
| 089a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092a | Defined attribute 4 name | NA |  |
| 092b | Defined attribute 4 data | NA |  |
| 093 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 094 | Custom tag | NA |  |
| 095 | Reference specification | NA | REFERENCE SPECIFICATION |
| 096 | Compliance standard | NA | NACE STANDARD |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in |  |
| 104a | Signal conn nominal size | 3/4 in |  |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog level tag |  |  |
| 112b | Level-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog level LRV | 0 |  |
| 112cu | Analog level LRV units | ft | UNITS |
| 112cu | Analog level LRV units | in | UNITS |
| 112cu | Analog level LRV units | in | UNITS |
| 112cu | Analog level LRV units | m | UNITS |
| 112cu | Analog level LRV units | mm | UNITS |
| 112d | Analog level URV |  |  |
| 112du | Analog level URV units | ft | UNITS |
| 112du | Analog level URV units | in | UNITS |
| 112du | Analog level URV units | m | UNITS |
| 112du | Analog level URV units | mm | UNITS |
| 112e | Analog level signal action | direct |  |
| 112e | Analog level signal action | reverse |  |
| 112f | Analog level output LRV | 0 |  |
| 112f | Analog level output LRV | 4 |  |
| 112f | Analog level output LRV | 10 |  |
| 112fu | Anlg level output LRV units | mA | UNITS |
| 112g | Analog level output URV | 20 |  |
| 112g | Analog level output URV | 50 |  |
| 112gu | Output range units | mA | UNITS |
| 113a | Analog temp tag |  |  |
| 113b | Temp-Analog output | CALIBRATION/TEST DESC |  |
| 113c | Analog temp LRV | 0 |  |
| 113cu | Analog temp LRV units | °C | UNITS |
| 113cu | Analog temp LRV units | °F | UNITS |
| 113cu | Analog temp LRV units | C | UNITS |
| 113cu | Analog temp LRV units | F | UNITS |
| 113d | Analog temp URV |  |  |
| 113du | Analog temp URV units | °C | UNITS |
| 113du | Analog temp URV units | °F | UNITS |
| 113du | Analog temp URV units | C | UNITS |
| 113du | Analog temp URV units | F | UNITS |
| 113e | Analog temp signal action | direct |  |
| 113e | Analog temp signal action | reverse |  |
| 113f | Analog temp output LRV | 4 |  |
| 113f | Analog temp output LRV | 10 |  |
| 113fu | Anlg temp output LRV units | mA | UNITS |
| 113g | Analog temp output URV | 20 |  |
| 113g | Analog temp output URV | 50 |  |
| 113gu | Anlg temp output URV units | mA | UNITS |
| 114a | Scale tag no |  |  |
| 114b | Level-Scale | CALIBRATION/TEST DESC |  |
| 114c | Scale level LRV | 0 |  |
| 114cu | Scale level LRV units | % | UNITS |
| 114cu | Scale level LRV units | ft | UNITS |
| 114cu | Scale level LRV units | in | UNITS |
| 114d | Scale level URV |  |  |
| 114du | Scale level URV units | % | UNITS |
| 114du | Scale level URV units | ft | UNITS |
| 114du | Scale level URV units | in | UNITS |
| 114e | Scale level signal action | direct |  |
| 114e | Scale level signal action | reverse |  |
| 114f | Scale level Range-Value | 0 |  |
| 114fu | Scale LRV units | % | UNITS |
| 114fu | Scale LRV units | ft | UNITS |
| 114fu | Scale LRV units | in | UNITS |
| 114g | Scale Upper Range-Value | 100 |  |
| 114gu | Scale URV units | % | UNITS |
| 114gu | Scale URV units | ft | UNITS |
| 114gu | Scale URV units | in | UNITS |
| 115a | Setpoint 1 tag no |  |  |
| 115b | Level setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 115c | Setpoint 1 LRV |  |  |
| 115cu | Setpoint 1 LRV units | % | UNITS |
| 115cu | Setpoint 1 LRV units | ft | UNITS |
| 115cu | Setpoint 1 LRV units | in | UNITS |
| 115d | Setpoint 1 URV |  |  |
| 115du | Setpoint 1 URV units | % | UNITS |
| 115du | Setpoint 1 URV units | ft | UNITS |
| 115du | Setpoint 1 URV units | in | UNITS |
| 115e | Setpoint 1 signal action | NC |  |
| 115e | Setpoint 1 signal action | NO |  |
| 115f | Setpoint 1 output LRV | 0 |  |
| 115fu | Setpoint 1 output LRV units | V | UNITS |
| 115g | Setpoint 1 output URV | 24 |  |
| 115g | Setpoint 1 output URV | 120 |  |
| 115gu | Setpoint 1 output URV units | V | UNITS |
| 116a | Setpoint 2 tag no |  |  |
| 116b | Level setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 116c | Setpoint 2 LRV |  |  |
| 116cu | Setpoint 2 LRV units | % | UNITS |
| 116cu | Setpoint 2 LRV units | ft | UNITS |
| 116cu | Setpoint 2 LRV units | in | UNITS |
| 116d | Setpoint 2 URV |  |  |
| 116du | Setpoint 2 URV units | % | UNITS |
| 116du | Setpoint 2 URV units | ft | UNITS |
| 116du | Setpoint 2 URV units | in | UNITS |
| 116e | Setpoint 2 signal action | NC |  |
| 116e | Setpoint 2 signal action | NO |  |
| 116f | Setpoint 2 output LRV | 0 |  |
| 116fu | Setpoint 2 output LRV units | V | UNITS |
| 116g | Setpoint 2 output URV | 24 |  |
| 116g | Setpoint 2 output URV | 120 |  |
| 116gu | Setpoint 2 output URV units | V | UNITS |
| 117a | Attribute tag no |  |  |
| 117b | Attribute cal/test descp | NA |  |
| 117c | Attribute cal/test LRV |  |  |
| 117cu | Attr cal/test LRV units |  | UNITS |
| 117d | Attribute cal/test URV |  |  |
| 117du | Attr cal/test URV units |  | UNITS |
| 117e | Attribute cal/test action |  |  |
| 117f | Attribute output LRV |  |  |
| 117fu | Attr output LRV units |  | UNITS |
| 117g | Attribute output URV |  |  |
| 117gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type |  |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type |  |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |