| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | RADIATION SOURCE | SECTION TITLE |  |
| 012 | Shutter type | manual actuator |  |
| 012 | Shutter type | pneumatic actuator |  |
| 013 | Number of sources | 1 |  |
| 013 | Number of sources | 2 |  |
| 013 | Number of sources | NA |  |
| 014 | Source size | 10 mCi |  |
| 015 | Fireproof design type | NRC approved |  |
| 015 | Fireproof design type | NA |  |
| 016 | Position switch type | single switch-SPDT | POSITION SWITCH |
| 016 | Position switch type | NA | POSITION SWITCH |
| 017 | Mounting location/type | housing support plate | MOUNTING POSITION |
| 017 | Mounting location/type | NA | MOUNTING POSITION |
| 018 | Source material | cesium 137 | MATERIAL |
| 018 | Source material | cobalt 60 | MATERIAL |
| 018 | Source material | NA | MATERIAL |
| 019 | Housing material | carbon steel-lead | MATERIAL |
| 019 | Housing material | ductile iron | MATERIAL |
| 019 | Housing material | NA | MATERIAL |
| 020a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 021b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 022a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 022b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 023 | SENSING ELEMENT | SECTION TITLE |  |
| 024 | Detector type | geiger-Mueller tube |  |
| 025 | Number of detectors |  |  |
| 025 | Number of detectors | 1 |  |
| 025 | Number of detectors | 2 |  |
| 025 | Number of detectors | 6 |  |
| 025 | Number of detectors | NA |  |
| 026 | Active length | 5.8 |  |
| 026 | Active length | 8 |  |
| 026 | Active length | 203 |  |
| 026u | Active length units | in | UNITS |
| 026u | Active length units | mm | UNITS |
| 027 | Check source actuation | manual |  |
| 027 | Check source actuation | remote |  |
| 027 | Check source actuation | NA |  |
| 028a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031 | CONNECTION HEAD OR PREAMPLIFIER | SECTION TITLE |  |
| 032 | Type | preamplifier |  |
| 032 | Type | NA |  |
| 033 | Housing type | ep Water cooled | HOUSING |
| 033 | Housing type | explosion proof enclosure | HOUSING |
| 033 | Housing type | NA | HOUSING |
| 034 | Output signal type | frequency | SIGNAL |
| 034 | Output signal type | NA | SIGNAL |
| 035 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 036 | Signal power source | line 115 V(ac) 60 Hz |  |
| 036 | Signal power source | line 230 V(ac) 60 Hz |  |
| 036 | Signal power source | NA |  |
| 037 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 037 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 037 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 037 | Cert/Approval type | NA | CERTIFICATION |
| 038 | Mounting location/type | housing support plate | MOUNTING POSITION |
| 038 | Mounting location/type | NA | MOUNTING POSITION |
| 039 | Enclosure material | carbon steel | MATERIAL |
| 039 | Enclosure material | stainless steel | MATERIAL |
| 039 | Enclosure material | NA | MATERIAL |
| 040a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 040b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 041a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 041b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 042a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 042b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 043 | SWITCH MECHANISM | SECTION TITLE |  |
| 044 | Housing type | ep Water cooled | HOUSING |
| 044 | Housing type | explosion proof enclosure | HOUSING |
| 044 | Housing type | wp enclosure | HOUSING |
| 045 | Output signal type | relay | SIGNAL |
| 045 | Output signal type | NA | SIGNAL |
| 046 | Enclosure type no/class | 3 | ENCLOSURE TYPE NO/CLASS |
| 046 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 046 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 047 | Signal power source | line 115 V(ac) 60 Hz |  |
| 047 | Signal power source | line 230 V(ac) 60 Hz |  |
| 047 | Signal power source | NA |  |
| 048a | Contacts arrangement | DPDT |  |
| 048a | Contacts arrangement | NA |  |
| 048b | Contacts quantity | 1 |  |
| 049 | Failsafe style | fixed high |  |
| 049 | Failsafe style | fixed low |  |
| 049 | Failsafe style | NA |  |
| 050 | Integral indicator style | LED indicators |  |
| 050 | Integral indicator style | NA |  |
| 051 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 051 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 051 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 051 | Cert/Approval type | NA | CERTIFICATION |
| 052 | Mounting location/type | housing plate | MOUNTING POSITION |
| 052 | Mounting location/type | NA | MOUNTING POSITION |
| 053 | Failure/Diagnostic action | alarm relay SPST |  |
| 053 | Failure/Diagnostic action | NA |  |
| 054 | Enclosure material | aluminum | MATERIAL |
| 054 | Enclosure material | carbon steel | MATERIAL |
| 054 | Enclosure material | NA | MATERIAL |
| 055a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 055b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 056a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 056b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 057a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Repeatability/Sensitivity | .25 |  |
| 061b | Repeatability ref base | in |  |
| 061b | Repeatability ref base | mm |  |
| 062 | Response time | .1 |  |
| 062 | Response time | .5 |  |
| 062u | Response time units | min | UNITS |
| 062u | Response time units | s | UNITS |
| 063a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 063au | Min amb working temp units | °C | UNITS |
| 063au | Min amb working temp units | °F | UNITS |
| 063au | Min amb working temp units | C | UNITS |
| 063au | Min amb working temp units | F | UNITS |
| 063b | Max ambient working temp | 70 | MAX AMBIENT TEMPERATURE |
| 063b | Max ambient working temp | 94 | MAX AMBIENT TEMPERATURE |
| 063b | Max ambient working temp | 158 | MAX AMBIENT TEMPERATURE |
| 063b | Max ambient working temp | 200 | MAX AMBIENT TEMPERATURE |
| 063bu | Max amb temperature units | °C | UNITS |
| 063bu | Max amb temperature units | °F | UNITS |
| 063bu | Max amb temperature units | C | UNITS |
| 063bu | Max amb temperature units | F | UNITS |
| 064a | Contacts ac rating | .6 | DEVICE RATING |
| 064a | Contacts ac rating | 2 | DEVICE RATING |
| 064a | Contacts ac rating | 14 | DEVICE RATING |
| 064au | AC rating current units | A | UNITS |
| 064b | AC rating max voltage | 125 | DEVICE RATING |
| 064b | AC rating max voltage | 240 | DEVICE RATING |
| 064b | AC rating max voltage | 250 | DEVICE RATING |
| 064bu | AC max voltage units | V | UNITS |
| 065a | Contacts dc rating | .6 | DEVICE RATING |
| 065a | Contacts dc rating | 2 | DEVICE RATING |
| 065a | Contacts dc rating | 8 | DEVICE RATING |
| 065au | DC rating current units | A | UNITS |
| 065b | DC rating max voltage | 28 | DEVICE RATING |
| 065b | DC rating max voltage | 30 | DEVICE RATING |
| 065b | DC rating max voltage | 110 | DEVICE RATING |
| 065b | DC rating max voltage | 220 | DEVICE RATING |
| 065bu | DC max voltage units | V | UNITS |
| 066 | Max sensor to receiver lg | 305 |  |
| 066 | Max sensor to receiver lg | 1000 |  |
| 066u | Max length units | ft | UNITS |
| 066u | Max length units | m | UNITS |
| 067a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086 | ACCESSORIES | SECTION TITLE |  |
| 087 | Connecting cables length |  |  |
| 087u | Cable length units | ft | UNITS |
| 088 | Mounting hardware | shock mount |  |
| 088 | Mounting hardware | NA |  |
| 089a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092a | Defined attribute 4 name | NA |  |
| 092b | Defined attribute 4 data | NA |  |
| 093 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 094 | Custom tag | fiber tag |  |
| 094 | Custom tag | sst permanent attached |  |
| 094 | Custom tag | sst wired-on |  |
| 094 | Custom tag | NA |  |
| 095 | Reference specification | NA | REFERENCE SPECIFICATION |
| 096 | Compliance standard | NA | NACE STANDARD |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall length |  |  |
| 102u | Length units | in | UNITS |
| 102u | Length units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104 | Signal conn nominal size | 1/2 in |  |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Setpoint 1 tag no |  |  |
| 112b | Level setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 112c | Setpoint 1 LRV | 0 |  |
| 112cu | Setpoint 1 LRV units | cm | UNITS |
| 112cu | Setpoint 1 LRV units | ft | UNITS |
| 112cu | Setpoint 1 LRV units | in | UNITS |
| 112d | Setpoint 1 URV |  |  |
| 112du | Setpoint 1 URV units | cm | UNITS |
| 112du | Setpoint 1 URV units | ft | UNITS |
| 112du | Setpoint 1 URV units | in | UNITS |
| 112e | Setpoint 1 signal action | NC |  |
| 112e | Setpoint 1 signal action | NO |  |
| 112f | Setpoint 1 output LRV | 0 |  |
| 112fu | Setpoint 1 output LRV units | V | UNITS |
| 112g | Setpoint 1 output URV | 24 |  |
| 112g | Setpoint 1 output URV | 120 |  |
| 112gu | Setpoint 1 output URV units | V | UNITS |
| 113a | Setpoint 2 tag no |  |  |
| 113b | Level setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 113c | Setpoint 2 LRV |  |  |
| 113cu | Setpoint 2 LRV units | cm | UNITS |
| 113cu | Setpoint 2 LRV units | ft | UNITS |
| 113cu | Setpoint 2 LRV units | in | UNITS |
| 113d | Setpoint 2 URV |  |  |
| 113du | Setpoint 2 URV units | cm | UNITS |
| 113du | Setpoint 2 URV units | ft | UNITS |
| 113du | Setpoint 2 URV units | in | UNITS |
| 113e | Setpoint 2 signal action | NC |  |
| 113e | Action |  | INSTRUMENT ACTION |
| 113e | Setpoint 2 signal action | NO |  |
| 113f | Setpoint 2 output LRV | 0 |  |
| 113fu | Setpoint 2 output LRV units | V | UNITS |
| 113g | Setpoint 2 output URV | 24 |  |
| 113g | Setpoint 2 output URV | 120 |  |
| 113gu | Setpoint 2 output URV units | V | UNITS |
| 114a | Setpoint 3 tag no |  |  |
| 114b | Level setpoint 3-Output | CALIBRATION/TEST DESC |  |
| 114c | Setpoint 3 LRV |  |  |
| 114cu | Setpoint 3 LRV units | cm | UNITS |
| 114cu | Setpoint 3 LRV units | ft | UNITS |
| 114cu | Setpoint 3 LRV units | in | UNITS |
| 114d | Setpoint 3 URV |  |  |
| 114du | Setpoint 3 URV units | cm | UNITS |
| 114du | Setpoint 3 URV units | ft | UNITS |
| 114du | Setpoint 3 URV units | in | UNITS |
| 114e | Setpoint 3 signal action | NC |  |
| 114e | Setpoint 3 signal action | NO |  |
| 114f | Setpoint 3 output LRV | 0 |  |
| 114fu | Setpoint 3 output LRV units | V | UNITS |
| 114g | Setpoint 3 output URV | 24 |  |
| 114g | Setpoint 3 output URV | 120 |  |
| 114gu | Setpoint 3 output URV units | V | UNITS |
| 115a | Setpoint 4 tag no |  |  |
| 115b | Level setpoint 4-Output | CALIBRATION/TEST DESC |  |
| 115c | Setpoint 4 LRV |  |  |
| 115cu | Setpoint 4 LRV units | cm | UNITS |
| 115cu | Setpoint 4 LRV units | ft | UNITS |
| 115cu | Setpoint 4 LRV units | in | UNITS |
| 115d | Setpoint 4 URV |  |  |
| 115du | Setpoint 4 URV units | cm | UNITS |
| 115du | Setpoint 4 URV units | ft | UNITS |
| 115du | Setpoint 4 URV units | in | UNITS |
| 115e | Setpoint 4 signal action | NC |  |
| 115e | Setpoint 4 signal action | NO |  |
| 115f | Setpoint 4 output LRV | 0 |  |
| 115fu | Setpoint 4 output LRV units | V | UNITS |
| 115g | Setpoint 4 output URV | 24 |  |
| 115g | Setpoint 4 output URV | 120 |  |
| 115gu | Setpoint 4 output URV units | V | UNITS |
| 116a | Attribute tag no |  |  |
| 116b | Attribute cal/test descp | NA |  |
| 116c | Attribute cal/test LRV |  |  |
| 116cu | Attr cal/test LRV units |  | UNITS |
| 116d | Attribute cal/test URV |  |  |
| 116du | Attr cal/test URV units |  | UNITS |
| 116e | Attribute cal/test action |  |  |
| 116f | Attribute output LRV |  |  |
| 116fu | Attr output LRV units |  | UNITS |
| 116g | Attribute output URV |  |  |
| 116gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | nuclear type level switch |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | nuclear radiation source |  |