| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | ADMINISTRATIVE IDENTIFICATIONS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017a | Defined attribute 1 name | contact | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | equipment module | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | production line | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | SERVICE IDENTIFICATIONS | SECTION TITLE |  |
| 020 | Related equipment |  |  |
| 021 | Service |  |  |
| 023 | P&ID/Reference dwg number |  |  |
| 024 | High side line/nozzle no | NA |  |
| 025 | High side conn pipe spec | NA |  |
| 026a | High side conn nom size | 1/8 in |  |
| 026a | High side conn nom size | 1/4 in |  |
| 026a | High side conn nom size | 3/8 in |  |
| 026a | High side conn nom size | 1/2 in |  |
| 026a | High side conn nom size | 3/4 in |  |
| 026a | High side conn nom size | 1 in |  |
| 026a | High side conn nom size | 1 1/4 in |  |
| 026a | High side conn nom size | 1 1/2 in |  |
| 026a | High side conn nom size | 2 in |  |
| 026a | High side conn nom size | 2 1/2 in |  |
| 026a | High side conn nom size | 3 in |  |
| 026a | High side conn nom size | 4 in |  |
| 026a | High side conn nom size | 6 in |  |
| 026a | High side conn nom size | 8 in |  |
| 026a | High side conn nom size | 10 in |  |
| 026a | High side conn nom size | 12 in |  |
| 026a | High side conn nom size | 14 in |  |
| 026a | High side conn nom size | 16 in |  |
| 026a | High side conn nom size | 18 in |  |
| 026a | High side conn nom size | 20 in |  |
| 026a | High side conn nom size | 22 in |  |
| 026a | High side conn nom size | 24 in |  |
| 026a | High side conn nom size | 26 in |  |
| 026a | High side conn nom size | 28 in |  |
| 026a | High side conn nom size | 30 in |  |
| 026a | High side conn nom size | 32 in |  |
| 026a | High side conn nom size | 34 in |  |
| 026a | High side conn nom size | 36 in |  |
| 026a | High side conn nom size | 38 in |  |
| 026a | High side conn nom size | 40 in |  |
| 026a | High side conn nom size | 42 in |  |
| 026a | High side conn nom size | 44 in |  |
| 026a | High side conn nom size | 46 in |  |
| 026a | High side conn nom size | 48 in |  |
| 026a | High side conn nom size | 50 in |  |
| 026a | High side conn nom size | 52 in |  |
| 026a | High side conn nom size | 54 in |  |
| 026a | High side conn nom size | 56 in |  |
| 026a | High side conn nom size | 58 in |  |
| 026a | High side conn nom size | 60 in |  |
| 026a | High side conn nom size | DN 10 |  |
| 026a | High side conn nom size | DN 15 |  |
| 026a | High side conn nom size | DN 20 |  |
| 026a | High side conn nom size | DN 25 |  |
| 026a | High side conn nom size | DN 32 |  |
| 026a | High side conn nom size | DN 40 |  |
| 026a | High side conn nom size | DN 50 |  |
| 026a | High side conn nom size | DN 65 |  |
| 026a | High side conn nom size | DN 80 |  |
| 026a | High side conn nom size | DN 100 |  |
| 026a | High side conn nom size | DN 125 |  |
| 026a | High side conn nom size | DN 150 |  |
| 026a | High side conn nom size | DN 200 |  |
| 026a | High side conn nom size | DN 250 |  |
| 026a | High side conn nom size | DN 300 |  |
| 026a | High side conn nom size | DN 350 |  |
| 026a | High side conn nom size | DN 400 |  |
| 026a | High side conn nom size | DN 450 |  |
| 026a | High side conn nom size | DN 500 |  |
| 026a | High side conn nom size | DN 550 |  |
| 026a | High side conn nom size | DN 600 |  |
| 026a | High side conn nom size | DN 700 |  |
| 026a | High side conn nom size | DN 800 |  |
| 026a | High side conn nom size | DN 900 |  |
| 026a | High side conn nom size | DN 1000 |  |
| 026a | High side conn nom size | DN 1200 |  |
| 026a | High side conn nom size | DN 1400 |  |
| 026a | High side conn nom size | DN 1500 |  |
| 026b | High side conn nom rating | cl 125 |  |
| 026b | High side conn nom rating | cl 150 |  |
| 026b | High side conn nom rating | cl 1500 |  |
| 026b | High side conn nom rating | cl 25 |  |
| 026b | High side conn nom rating | cl 250 |  |
| 026b | High side conn nom rating | cl 2500 |  |
| 026b | High side conn nom rating | cl 300 |  |
| 026b | High side conn nom rating | cl 400 |  |
| 026b | High side conn nom rating | cl 4500 |  |
| 026b | High side conn nom rating | cl 600 |  |
| 026b | High side conn nom rating | cl 75 |  |
| 026b | High side conn nom rating | cl 800 |  |
| 026b | High side conn nom rating | cl 900 |  |
| 026b | High side conn nom rating | PN 10 |  |
| 026b | High side conn nom rating | PN 100 |  |
| 026b | High side conn nom rating | PN 150 |  |
| 026b | High side conn nom rating | PN 16 |  |
| 026b | High side conn nom rating | PN 2.5 |  |
| 026b | High side conn nom rating | PN 20 |  |
| 026b | High side conn nom rating | PN 25 |  |
| 026b | High side conn nom rating | PN 250 |  |
| 026b | High side conn nom rating | PN 40 |  |
| 026b | High side conn nom rating | PN 420 |  |
| 026b | High side conn nom rating | PN 50 |  |
| 026b | High side conn nom rating | PN 6 |  |
| 027a | High side conn termn type | clamped |  |
| 027a | High side conn termn type | collar |  |
| 027a | High side conn termn type | flanged |  |
| 027a | High side conn termn type | flangeless |  |
| 027a | High side conn termn type | flg adptr |  |
| 027a | High side conn termn type | plain |  |
| 027a | High side conn termn type | sep flg |  |
| 027a | High side conn termn type | threaded |  |
| 027a | High side conn termn type | welded |  |
| 027b | High side conn style | 16A |  |
| 027b | High side conn style | 16A w/nut |  |
| 027b | High side conn style | 16AMP |  |
| 027b | High side conn style | beveled |  |
| 027b | High side conn style | boss |  |
| 027b | High side conn style | BSP(F) |  |
| 027b | High side conn style | BSPP |  |
| 027b | High side conn style | bw |  |
| 027b | High side conn style | cameron |  |
| 027b | High side conn style | chiksan |  |
| 027b | High side conn style | ff |  |
| 027b | High side conn style | grayloc |  |
| 027b | High side conn style | grooved |  |
| 027b | High side conn style | hub |  |
| 027b | High side conn style | LGE F |  |
| 027b | High side conn style | LGE M |  |
| 027b | High side conn style | LGE M&F |  |
| 027b | High side conn style | lj |  |
| 027b | High side conn style | NPT(F) |  |
| 027b | High side conn style | NPT(M) |  |
| 027b | High side conn style | NPT-LH |  |
| 027b | High side conn style | pancake |  |
| 027b | High side conn style | rf |  |
| 027b | High side conn style | rtj |  |
| 027b | High side conn style | SW(F) |  |
| 027b | High side conn style | SW(M) |  |
| 027b | High side conn style | T&G |  |
| 027b | High side conn style | tri-Clamp |  |
| 027b | High side conn style | vs |  |
| 027b | High side conn style | weld-in |  |
| 027b | High side conn style | wn |  |
| 027b | High side conn style | NA |  |
| 028a | High side conn schedule | 10 |  |
| 028a | High side conn schedule | 100 |  |
| 028a | High side conn schedule | 10S |  |
| 028a | High side conn schedule | 120 |  |
| 028a | High side conn schedule | 140 |  |
| 028a | High side conn schedule | 160 |  |
| 028a | High side conn schedule | 20 |  |
| 028a | High side conn schedule | 30 |  |
| 028a | High side conn schedule | 40 |  |
| 028a | High side conn schedule | 40S |  |
| 028a | High side conn schedule | 5 |  |
| 028a | High side conn schedule | 5S |  |
| 028a | High side conn schedule | 60 |  |
| 028a | High side conn schedule | 80 |  |
| 028a | High side conn schedule | 80S |  |
| 028a | High side conn schedule | std |  |
| 028a | High side conn schedule | XS |  |
| 028a | High side conn schedule | XXS |  |
| 028b | High side conn wall thkns |  |  |
| 028bu | High side conn thkns units | in | UNITS |
| 028bu | High side conn thkns units | mm | UNITS |
| 029 | High side conn length |  |  |
| 029u | High side conn lg units | in | UNITS |
| 029u | High side conn lg units | mm | UNITS |
| 030 | High side conn orient | horizontal |  |
| 030 | High side conn orient | inclined |  |
| 030 | High side conn orient | vertical |  |
| 030 | High side conn orient | NA |  |
| 031 | High side conn matl type | alloy steel | MATERIAL |
| 031 | High side conn matl type | aluminum | MATERIAL |
| 031 | High side conn matl type | carbon steel | MATERIAL |
| 031 | High side conn matl type | cobalt Alloy | MATERIAL |
| 031 | High side conn matl type | copper Alloy | MATERIAL |
| 031 | High side conn matl type | ductile Iron | MATERIAL |
| 031 | High side conn matl type | FRP | MATERIAL |
| 031 | High side conn matl type | iron (Cast) | MATERIAL |
| 031 | High side conn matl type | low temp Carbon steel | MATERIAL |
| 031 | High side conn matl type | monel | MATERIAL |
| 031 | High side conn matl type | nickel Alloy | MATERIAL |
| 031 | High side conn matl type | stainless Steel | MATERIAL |
| 031 | High side conn matl type | titanium | MATERIAL |
| 031 | High side conn matl type | zinc Alloy | MATERIAL |
| 031 | High side conn matl type | NA | MATERIAL |
| 032 | Connection design code | ANSI B31.1 |  |
| 032 | Connection design code | ANSI B31.3 |  |
| 032 | Connection design code | NA |  |
| 033 | Low side line/Nozzle no |  |  |
| 034 | Low side conn pipe spec | NA |  |
| 035a | Low side conn nom size | 1/8 in |  |
| 035a | Low side conn nom size | 1/4 in |  |
| 035a | Low side conn nom size | 3/8 in |  |
| 035a | Low side conn nom size | 1/2 in |  |
| 035a | Low side conn nom size | 3/4 in |  |
| 035a | Low side conn nom size | 1 in |  |
| 035a | Low side conn nom size | 1 1/4 in |  |
| 035a | Low side conn nom size | 1 1/2 in |  |
| 035a | Low side conn nom size | 2 in |  |
| 035a | Low side conn nom size | 2 1/2 in |  |
| 035a | Low side conn nom size | 3 in |  |
| 035a | Low side conn nom size | 4 in |  |
| 035a | Low side conn nom size | 6 in |  |
| 035a | Low side conn nom size | 8 in |  |
| 035a | Low side conn nom size | 10 in |  |
| 035a | Low side conn nom size | 12 in |  |
| 035a | Low side conn nom size | 14 in |  |
| 035a | Low side conn nom size | 16 in |  |
| 035a | Low side conn nom size | 18 in |  |
| 035a | Low side conn nom size | 20 in |  |
| 035a | Low side conn nom size | 22 in |  |
| 035a | Low side conn nom size | 24 in |  |
| 035a | Low side conn nom size | 26 in |  |
| 035a | Low side conn nom size | 28 in |  |
| 035a | Low side conn nom size | 30 in |  |
| 035a | Low side conn nom size | 32 in |  |
| 035a | Low side conn nom size | 34 in |  |
| 035a | Low side conn nom size | 36 in |  |
| 035a | Low side conn nom size | 38 in |  |
| 035a | Low side conn nom size | 40 in |  |
| 035a | Low side conn nom size | 42 in |  |
| 035a | Low side conn nom size | 44 in |  |
| 035a | Low side conn nom size | 46 in |  |
| 035a | Low side conn nom size | 48 in |  |
| 035a | Low side conn nom size | 50 in |  |
| 035a | Low side conn nom size | 52 in |  |
| 035a | Low side conn nom size | 54 in |  |
| 035a | Low side conn nom size | 56 in |  |
| 035a | Low side conn nom size | 58 in |  |
| 035a | Low side conn nom size | 60 in |  |
| 035a | Low side conn nom size | DN 10 |  |
| 035a | Low side conn nom size | DN 15 |  |
| 035a | Low side conn nom size | DN 20 |  |
| 035a | Low side conn nom size | DN 25 |  |
| 035a | Low side conn nom size | DN 32 |  |
| 035a | Low side conn nom size | DN 40 |  |
| 035a | Low side conn nom size | DN 50 |  |
| 035a | Low side conn nom size | DN 65 |  |
| 035a | Low side conn nom size | DN 80 |  |
| 035a | Low side conn nom size | DN 100 |  |
| 035a | Low side conn nom size | DN 125 |  |
| 035a | Low side conn nom size | DN 150 |  |
| 035a | Low side conn nom size | DN 200 |  |
| 035a | Low side conn nom size | DN 250 |  |
| 035a | Low side conn nom size | DN 300 |  |
| 035a | Low side conn nom size | DN 350 |  |
| 035a | Low side conn nom size | DN 400 |  |
| 035a | Low side conn nom size | DN 450 |  |
| 035a | Low side conn nom size | DN 500 |  |
| 035a | Low side conn nom size | DN 550 |  |
| 035a | Low side conn nom size | DN 600 |  |
| 035a | Low side conn nom size | DN 700 |  |
| 035a | Low side conn nom size | DN 800 |  |
| 035a | Low side conn nom size | DN 900 |  |
| 035a | Low side conn nom size | DN 1000 |  |
| 035a | Low side conn nom size | DN 1200 |  |
| 035a | Low side conn nom size | DN 1400 |  |
| 035a | Low side conn nom size | DN 1500 |  |
| 035b | Low side conn nom rating | cl 125 |  |
| 035b | Low side conn nom rating | cl 150 |  |
| 035b | Low side conn nom rating | cl 1500 |  |
| 035b | Low side conn nom rating | cl 25 |  |
| 035b | Low side conn nom rating | cl 250 |  |
| 035b | Low side conn nom rating | cl 2500 |  |
| 035b | Low side conn nom rating | cl 300 |  |
| 035b | Low side conn nom rating | cl 400 |  |
| 035b | Low side conn nom rating | cl 4500 |  |
| 035b | Low side conn nom rating | cl 600 |  |
| 035b | Low side conn nom rating | cl 75 |  |
| 035b | Low side conn nom rating | cl 800 |  |
| 035b | Low side conn nom rating | cl 900 |  |
| 035b | Low side conn nom rating | PN 10 |  |
| 035b | Low side conn nom rating | PN 100 |  |
| 035b | Low side conn nom rating | PN 150 |  |
| 035b | Low side conn nom rating | PN 16 |  |
| 035b | Low side conn nom rating | PN 2.5 |  |
| 035b | Low side conn nom rating | PN 20 |  |
| 035b | Low side conn nom rating | PN 25 |  |
| 035b | Low side conn nom rating | PN 250 |  |
| 035b | Low side conn nom rating | PN 40 |  |
| 035b | Low side conn nom rating | PN 420 |  |
| 035b | Low side conn nom rating | PN 50 |  |
| 035b | Low side conn nom rating | PN 6 |  |
| 036a | Low side conn termn type | clamped |  |
| 036a | Low side conn termn type | collar |  |
| 036a | Low side conn termn type | flanged |  |
| 036a | Low side conn termn type | flangeless |  |
| 036a | Low side conn termn type | flg adptr |  |
| 036a | Low side conn termn type | plain |  |
| 036a | Low side conn termn type | sep flg |  |
| 036a | Low side conn termn type | threaded |  |
| 036a | Low side conn termn type | welded |  |
| 036b | Low side conn style | 16A |  |
| 036b | Low side conn style | 16A w/nut |  |
| 036b | Low side conn style | 16AMP |  |
| 036b | Low side conn style | beveled |  |
| 036b | Low side conn style | boss |  |
| 036b | Low side conn style | BSP(F) |  |
| 036b | Low side conn style | BSPP |  |
| 036b | Low side conn style | bw |  |
| 036b | Low side conn style | cameron |  |
| 036b | Low side conn style | chiksan |  |
| 036b | Low side conn style | ff |  |
| 036b | Low side conn style | grayloc |  |
| 036b | Low side conn style | grooved |  |
| 036b | Low side conn style | hub |  |
| 036b | Low side conn style | LGE F |  |
| 036b | Low side conn style | LGE M |  |
| 036b | Low side conn style | LGE M&F |  |
| 036b | Low side conn style | lj |  |
| 036b | Low side conn style | NPT(F) |  |
| 036b | Low side conn style | NPT(M) |  |
| 036b | Low side conn style | NPT-LH |  |
| 036b | Low side conn style | pancake |  |
| 036b | Low side conn style | rf |  |
| 036b | Low side conn style | rtj |  |
| 036b | Low side conn style | SW(F) |  |
| 036b | Low side conn style | SW(M) |  |
| 036b | Low side conn style | T&G |  |
| 036b | Low side conn style | tri-Clamp |  |
| 036b | Low side conn style | vs |  |
| 036b | Low side conn style | weld-in |  |
| 036b | Low side conn style | wn |  |
| 036b | Low side conn style | NA |  |
| 037a | Low side conn schedule no | 10 |  |
| 037a | Low side conn schedule no | 100 |  |
| 037a | Low side conn schedule no | 10S |  |
| 037a | Low side conn schedule no | 120 |  |
| 037a | Low side conn schedule no | 140 |  |
| 037a | Low side conn schedule no | 160 |  |
| 037a | Low side conn schedule no | 20 |  |
| 037a | Low side conn schedule no | 30 |  |
| 037a | Low side conn schedule no | 40 |  |
| 037a | Low side conn schedule no | 40S |  |
| 037a | Low side conn schedule no | 5 |  |
| 037a | Low side conn schedule no | 5S |  |
| 037a | Low side conn schedule no | 60 |  |
| 037a | Low side conn schedule no | 80 |  |
| 037a | Low side conn schedule no | 80S |  |
| 037a | Low side conn schedule no | std |  |
| 037a | Low side conn schedule no | XS |  |
| 037a | Low side conn schedule no | XXS |  |
| 037b | Low side conn wall thkns |  |  |
| 037bu | Low side conn thkns units | in | UNITS |
| 037bu | Low side conn thkns units | mm | UNITS |
| 038 | Low side conn length |  |  |
| 038u | Low side conn lg units | in | UNITS |
| 038u | Low side conn lg units | mm | UNITS |
| 039 | Low side conn orientation | horizontal |  |
| 039 | Low side conn orientation | inclined |  |
| 039 | Low side conn orientation | vertical |  |
| 039 | Low side conn orientation | NA |  |
| 040 | Low side conn matl type | alloy steel |  |
| 040 | Low side conn matl type | aluminum |  |
| 040 | Low side conn matl type | carbon steel |  |
| 040 | Low side conn matl type | cobalt Alloy |  |
| 040 | Low side conn matl type | copper Alloy |  |
| 040 | Low side conn matl type | ductile Iron |  |
| 040 | Low side conn matl type | FRP |  |
| 040 | Low side conn matl type | iron (Cast) |  |
| 040 | Low side conn matl type | low temp Carbon steel |  |
| 040 | Low side conn matl type | monel |  |
| 040 | Low side conn matl type | nickel Alloy |  |
| 040 | Low side conn matl type | stainless Steel |  |
| 040 | Low side conn matl type | titanium |  |
| 040 | Low side conn matl type | zinc Alloy |  |
| 040 | Low side conn matl type | NA |  |
| 041 | Device insertion length |  |  |
| 041u | Insertion length units | ft | UNITS |
| 041u | Insertion length units | in | UNITS |
| 041u | Insertion length units | m | UNITS |
| 041u | Insertion length units | mm | UNITS |
| 043 | Process conn diff length |  |  |
| 043u | Process conn lg units | ft | UNITS |
| 043u | Process conn lg units | in | UNITS |
| 043u | Process conn lg units | m | UNITS |
| 043u | Process conn lg units | mm | UNITS |
| 044 | Zero datum conn length | 0 |  |
| 044u | Zero datum length units | ft | UNITS |
| 044u | Zero datum length units | in | UNITS |
| 044u | Zero datum length units | m | UNITS |
| 044u | Zero datum length units | mm | UNITS |
| 045a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 045a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 045a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 045b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 045b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 045b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 045c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 045c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 045c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 045c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 045c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 045c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 045c | Inline hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 045c | Inline hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 045c | Inline hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 046a | Inline area min ign temp |  |  |
| 046au | Inline ign temp units | °C | UNITS |
| 046au | Inline ign temp units | °F | UNITS |
| 046au | Inline ign temp units | C | UNITS |
| 046au | Inline ign temp units | F | UNITS |
| 046b | Inline ign temp ident no | T1 |  |
| 046b | Inline ign temp ident no | T2 |  |
| 046b | Inline ign temp ident no | T3 |  |
| 046b | Inline ign temp ident no | T4 |  |
| 046b | Inline ign temp ident no | T5 |  |
| 046b | Inline ign temp ident no | T6 |  |
| 047a | Remote hazardous area cl | I |  |
| 047a | Remote hazardous area cl | II |  |
| 047a | Remote hazardous area cl | III |  |
| 047b | Remote hazardous Div/Zone | 0 |  |
| 047b | Remote hazardous Div/Zone | 1 |  |
| 047b | Remote hazardous Div/Zone | 2 |  |
| 047c | Remote hazardous area gr | A |  |
| 047c | Remote hazardous area gr | B |  |
| 047c | Remote hazardous area gr | C |  |
| 047c | Remote hazardous area gr | D |  |
| 047c | Remote hazardous area gr | E |  |
| 047c | Remote hazardous area gr | F |  |
| 047c | Remote hazardous area gr | IIA |  |
| 047c | Remote hazardous area gr | IIB |  |
| 047c | Remote hazardous area gr | IIC |  |
| 048a | Remote area min ign temp |  |  |
| 048au | Remote area min ign temp units | °C | UNITS |
| 048au | Remote area min ign temp units | °F | UNITS |
| 048au | Remote area min ign temp units | C | UNITS |
| 048au | Remote area min ign temp units | F | UNITS |
| 048b | Remote ign temp ident no | T1 |  |
| 048b | Remote ign temp ident no | T2 |  |
| 048b | Remote ign temp ident no | T3 |  |
| 048b | Remote ign temp ident no | T4 |  |
| 048b | Remote ign temp ident no | T5 |  |
| 048b | Remote ign temp ident no | T6 |  |
| 049a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 049b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 050a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 050b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 051a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 051b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 052 | COMPONENT DESIGN CRITERIA | SECTION TITLE |  |
| 053 | Component Type | diaph seal - high side |  |
| 053 | Component Type | diaph seal - low side |  |
| 053 | Component Type | diaphragm pressure seal |  |
| 053 | Component Type | diff press ind w/switch |  |
| 053 | Component Type | diff press regulator |  |
| 053 | Component Type | diff press switch w/seals |  |
| 053 | Component Type | diff press xmtr w/seals |  |
| 053 | Component Type | diff pressure gauge |  |
| 053 | Component Type | diff pressure switch |  |
| 053 | Component Type | diff pressure xmtr |  |
| 053 | Component Type | draft gauge |  |
| 053 | Component Type | press gauge-integral seal |  |
| 053 | Component Type | press gauge-remote seal |  |
| 053 | Component Type | pressure gauge |  |
| 053 | Component Type | pressure regulator |  |
| 053 | Component Type | pressure switch |  |
| 053 | Component Type | pressure switch w/seal |  |
| 053 | Component Type | pressure transducer |  |
| 053 | Component Type | pressure transmitter |  |
| 053 | Component Type | pressure xmtr w/seal |  |
| 054 | Component style | manufacturer standard | INSTRUMENT TYPE |
| 055 | Output signal type | analog current | SIGNAL |
| 055 | Output signal type | analog current & digital | SIGNAL |
| 055 | Output signal type | analog current & relays | SIGNAL |
| 055 | Output signal type | analog pneumatic | SIGNAL |
| 055 | Output signal type | analog voltage | SIGNAL |
| 055 | Output signal type | analog voltage & digital | SIGNAL |
| 055 | Output signal type | binary pneumatic | SIGNAL |
| 055 | Output signal type | digital multi-variable | SIGNAL |
| 055 | Output signal type | digital single-variable | SIGNAL |
| 055 | Output signal type | dry contact | SIGNAL |
| 055 | Output signal type | electronic,low power | SIGNAL |
| 055 | Output signal type | relay | SIGNAL |
| 055 | Output signal type | smart multivariable | SIGNAL |
| 055 | Output signal type | smart,single variable | SIGNAL |
| 055 | Output signal type | transistor switch | SIGNAL |
| 055 | Output signal type | NA | SIGNAL |
| 056 | Characteristic curve | linear with measurement | CHARACTERISTIC CURVE |
| 056 | Characteristic curve | square root | CHARACTERISTIC CURVE |
| 056 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 057 | Type of protection | continuous dilution | TYPE OF PROTECTION |
| 057 | Type of protection | encapsulation | TYPE OF PROTECTION |
| 057 | Type of protection | explosion proof enclosure | TYPE OF PROTECTION |
| 057 | Type of protection | flameproof | TYPE OF PROTECTION |
| 057 | Type of protection | increased safety | TYPE OF PROTECTION |
| 057 | Type of protection | intrinsic safety | TYPE OF PROTECTION |
| 057 | Type of protection | nonincendive equipment | TYPE OF PROTECTION |
| 057 | Type of protection | oil-immersion | TYPE OF PROTECTION |
| 057 | Type of protection | powder filling | TYPE OF PROTECTION |
| 057 | Type of protection | pressurization | TYPE OF PROTECTION |
| 057 | Type of protection | restricted breathing | TYPE OF PROTECTION |
| 057 | Type of protection | special protection | TYPE OF PROTECTION |
| 057 | Type of protection | NA | TYPE OF PROTECTION |
| 058 | Criticality code | 1 | CRITICALITY CODE |
| 058 | Criticality code | 2 | CRITICALITY CODE |
| 058 | Criticality code | 3 | CRITICALITY CODE |
| 059a | Max EMI susceptibility | 1-a:0.1 |  |
| 059a | Max EMI susceptibility | 1-b:0.1 |  |
| 059a | Max EMI susceptibility | 1-c:0.1 |  |
| 059a | Max EMI susceptibility | 2-a:0.1 |  |
| 059a | Max EMI susceptibility | 2-b:0.1 |  |
| 059a | Max EMI susceptibility | 2-c:0.1 |  |
| 059a | Max EMI susceptibility | 3-a:0.1 |  |
| 059a | Max EMI susceptibility | 3-b:0.1 |  |
| 059a | Max EMI susceptibility | 3-c:0.1 |  |
| 059b | Ref base susceptibility | % reading |  |
| 059b | Ref base susceptibility | % span |  |
| 059b | Ref base susceptibility | % Span@30 V/m |  |
| 060a | Max temperature effect | .1 |  |
| 060b | Ref base max temp effect | % span/100 F |  |
| 061 | Max response time |  |  |
| 061u | Max response time units | s | UNITS |
| 062a | Min required accuracy | .1 |  |
| 062a | Min required accuracy | .2 |  |
| 062b | Ref base of min accuracy | % output span |  |
| 062b | Ref base of min accuracy | % reading |  |
| 062b | Ref base of min accuracy | % scale |  |
| 062b | Ref base of min accuracy | % URV |  |
| 062b | Ref base of min accuracy | atm |  |
| 062b | Ref base of min accuracy | bar |  |
| 062b | Ref base of min accuracy | bar(g) |  |
| 062b | Ref base of min accuracy | ftH2O |  |
| 062b | Ref base of min accuracy | inH2O |  |
| 062b | Ref base of min accuracy | inHg |  |
| 062b | Ref base of min accuracy | kPa |  |
| 062b | Ref base of min accuracy | lbf/ft2 |  |
| 062b | Ref base of min accuracy | lbf/in2 |  |
| 062b | Ref base of min accuracy | mmH2O |  |
| 062b | Ref base of min accuracy | mmHg |  |
| 062b | Ref base of min accuracy | Pa |  |
| 062b | Ref base of min accuracy | Pa(g) |  |
| 062b | Ref base of min accuracy | psi |  |
| 062b | Ref base of min accuracy | psia |  |
| 062b | Ref base of min accuracy | psig |  |
| 063 | Max dead band |  |  |
| 063u | Max dead band units | atm | UNITS |
| 063u | Max dead band units | bar | UNITS |
| 063u | Max dead band units | bar(g) | UNITS |
| 063u | Max dead band units | ftH2O | UNITS |
| 063u | Max dead band units | inH2O | UNITS |
| 063u | Max dead band units | inHg | UNITS |
| 063u | Max dead band units | kPa | UNITS |
| 063u | Max dead band units | lbf/ft2 | UNITS |
| 063u | Max dead band units | lbf/in2 | UNITS |
| 063u | Max dead band units | mmH2O | UNITS |
| 063u | Max dead band units | mmHg | UNITS |
| 063u | Max dead band units | Pa | UNITS |
| 063u | Max dead band units | Pa(g) | UNITS |
| 063u | Max dead band units | psi | UNITS |
| 063u | Max dead band units | psia | UNITS |
| 063u | Max dead band units | psig | UNITS |
| 064a | Avail nom power supply | 12 |  |
| 064a | Avail nom power supply | 20 |  |
| 064a | Avail nom power supply | 24 |  |
| 064a | Avail nom power supply | 32 |  |
| 064a | Avail nom power supply | 110 |  |
| 064a | Avail nom power supply | 115 |  |
| 064a | Avail nom power supply | 120 |  |
| 064a | Avail nom power supply | 220 |  |
| 064a | Avail nom power supply | 230 |  |
| 064a | Avail nom power supply | 240 |  |
| 064a | Avail nom power supply | 250 |  |
| 064au | Power supply units | bar(g) | UNITS |
| 064au | Power supply units | kPa(g) | UNITS |
| 064au | Power supply units | psig | UNITS |
| 064au | Power supply units | V(ac) | UNITS |
| 064au | Power supply units | V(dc) | UNITS |
| 064b | Number wires | 2 |  |
| 064b | Number wires | 3 |  |
| 064b | Number wires | 4 |  |
| 064b | Number wires | NA |  |
| 064cu | Max Attr 3 units |  |  |
| 065a | Minimum load capability | 300 |  |
| 065a | Minimum load capability | 800 |  |
| 065u | Load capability units | kOhm | UNITS |
| 065u | Load capability units | Ohm | UNITS |
| 066 | Testing/Listing agency | BASEEFA |  |
| 066 | Testing/Listing agency | CENELEC |  |
| 066 | Testing/Listing agency | CSA |  |
| 066 | Testing/Listing agency | FM |  |
| 066 | Testing/Listing agency | ISSEP |  |
| 066 | Testing/Listing agency | JIS/RIIS |  |
| 066 | Testing/Listing agency | LCIE |  |
| 066 | Testing/Listing agency | SAA |  |
| 066 | Testing/Listing agency | UL |  |
| 066 | Testing/Listing agency | VNIIVE |  |
| 066 | Testing/Listing agency | NA |  |
| 067 | Test requirements | NA |  |
| 068 | Supply loss failure mode | activate fault relay |  |
| 068 | Supply loss failure mode | deactivate output relay |  |
| 068 | Signal loss failure mode | drive output low |  |
| 068 | Supply loss failure mode | NA |  |
| 069 | Signal loss failure mode | activate fault relay |  |
| 069 | Signal loss failure mode | drive output high |  |
| 069 | Signal loss failure mode | flashing display |  |
| 069 | Signal loss failure mode | hold last value |  |
| 069 | Signal loss failure mode | switch sensors |  |
| 069 | Signal loss failure mode | NA |  |
| 070a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070bu | Defined attribute 1 units |  | UNITS |
| 071a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 071bu | Defined attribute 2 units |  | UNITS |
| 072a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 072u | Defined attribute 3 units |  | UNITS |
| 073 | PROCESS DESIGN CONDITIONS | SECTION TITLE |  |
| 075a | High side min pressure | 0 |  |
| 075au | High min press units |  |  |
| 075b | High side norm pressure |  |  |
| 075bu | High norm press units | atm | UNITS |
| 075bu | High norm press units | bar | UNITS |
| 075bu | High norm press units | bar(g) | UNITS |
| 075bu | High norm press units | ftH2O | UNITS |
| 075bu | High norm press units | inH2O | UNITS |
| 075bu | High norm press units | inHg | UNITS |
| 075bu | High norm press units | kPa | UNITS |
| 075bu | High norm press units | kPa(g) | UNITS |
| 075bu | High norm press units | lbf/ft2 | UNITS |
| 075bu | High norm press units | lbf/in2 | UNITS |
| 075bu | High norm press units | mmH2O | UNITS |
| 075bu | High norm press units | mmHg | UNITS |
| 075bu | High norm press units | Pa | UNITS |
| 075bu | High norm press units | Pa(g) | UNITS |
| 075bu | High norm press units | psia | UNITS |
| 075bu | High norm press units | psig | UNITS |
| 075c | High side max pressure |  |  |
| 075cu | High max press units |  |  |
| 076a | Low side minimum pressure | 0 |  |
| 076au | Low min press units |  |  |
| 076b | Low side norm pressure |  |  |
| 076bu | Low norm press units | atm | UNITS |
| 076bu | Low norm press units | bar | UNITS |
| 076bu | Low norm press units | bar(g) | UNITS |
| 076bu | Low norm press units | ftH2O | UNITS |
| 076bu | Low norm press units | inH2O | UNITS |
| 076bu | Low norm press units | inHg | UNITS |
| 076bu | Low norm press units | kPa | UNITS |
| 076bu | Low norm press units | kPa(g) | UNITS |
| 076bu | Low norm press units | lbf/ft2 | UNITS |
| 076bu | Low norm press units | lbf/in2 | UNITS |
| 076bu | Low norm press units | mmH2O | UNITS |
| 076bu | Low norm press units | mmHg | UNITS |
| 076bu | Low norm press units | Pa | UNITS |
| 076bu | Low norm press units | Pa(g) | UNITS |
| 076bu | Low norm press units | psia | UNITS |
| 076bu | Low norm press units | psig | UNITS |
| 076c | Low side max pressure |  |  |
| 076cu | Low max press units |  |  |
| 077a | High side min temperature |  |  |
| 077au | High min temp units |  |  |
| 077b | High side normal temp |  |  |
| 077bu | High norm temp units | °C | UNITS |
| 077bu | High norm temp units | °F | UNITS |
| 077bu | High norm temp units | C | UNITS |
| 077bu | High norm temp units | F | UNITS |
| 077c | High side max temperature |  |  |
| 077cu | High max temp units |  |  |
| 078a | Low side min temperature |  |  |
| 078au | Low min temp units |  |  |
| 078b | Low side norm temperature |  |  |
| 078bu | Low norm temp units | °C | UNITS |
| 078bu | Low norm temp units | °F | UNITS |
| 078bu | Low norm temp units | C | UNITS |
| 078bu | Low norm temp units | F | UNITS |
| 078c | Low side max temperature |  |  |
| 078cu | Low max temp units |  |  |
| 079b | High side matl phase type | gas |  |
| 079b | High side matl phase type | liquid |  |
| 079b | High side matl phase type | mixed |  |
| 079b | High side matl phase type | vapor |  |
| 080b | Norm high side viscosity |  |  |
| 080bu | High norm visc units | cP | UNITS |
| 080bu | High norm visc units | cSt | UNITS |
| 080bu | High norm visc units | m2/s | UNITS |
| 080bu | High norm visc units | m³/s | UNITS |
| 080bu | High norm visc units | Pa.s | UNITS |
| 080c | Max high side viscosity |  |  |
| 080cu | High max visc units |  |  |
| 081b | Low side matl phase type | gas |  |
| 081b | Low side matl phase type | liquid |  |
| 081b | Low side matl phase type | mixed |  |
| 081b | Low side matl phase type | solid |  |
| 082b | Norm low side viscosity |  |  |
| 082bu | Low norm visc units | cP | UNITS |
| 082bu | Low norm visc units | cSt | UNITS |
| 082bu | Low norm visc units | m2/s | UNITS |
| 082bu | Low norm visc units | m³/s | UNITS |
| 082bu | Low norm visc units | Pa.s | UNITS |
| 082c | Max low side viscosity |  |  |
| 082cu | Low max visc units |  |  |
| 083a | Min differential pressure | 0 |  |
| 083au | Min diff press units |  |  |
| 083b | Normal differential press |  |  |
| 083bu | Norm diff press units | atm | UNITS |
| 083bu | Norm diff press units | bar | UNITS |
| 083bu | Norm diff press units | ftH2O | UNITS |
| 083bu | Norm diff press units | inH2O | UNITS |
| 083bu | Norm diff press units | inHg | UNITS |
| 083bu | Norm diff press units | kPa | UNITS |
| 083bu | Norm diff press units | lbf/ft2 | UNITS |
| 083bu | Norm diff press units | lbf/in2 | UNITS |
| 083bu | Norm diff press units | mmH2O | UNITS |
| 083bu | Norm diff press units | mmHg | UNITS |
| 083bu | Norm diff press units | Pa | UNITS |
| 083bu | Norm diff press units | psi | UNITS |
| 083c | Max differential pressure |  |  |
| 083cu | Max diff press units |  |  |
| 084 | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 084a | Defined attribute 1 min |  |  |
| 084au | Min attr 1 units |  |  |
| 084b | Defined attribute 1 norm |  |  |
| 084bu | Norm attr 1 units |  |  |
| 084c | Defined attribute 1 max |  |  |
| 084cu | Max Attr 1 units |  |  |
| 085 | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 085a | Defined attribute 2 min |  |  |
| 085au | Min attr 2 units |  |  |
| 085b | Defined attribute 2 norm |  |  |
| 085bu | Norm attr 2 units |  |  |
| 085c | Defined attribute 2 max |  |  |
| 085cu | Max Attr 2 units |  |  |
| 086 | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086a | Defined attribute 3 min |  |  |
| 086au | Min attr 3 units |  |  |
| 086b | Defined attribute 3 norm |  |  |
| 086bu | Norm attr 3 units |  |  |
| 086c | Defined attribute 3 max |  |  |
| 096 | CALCULATED VARIABLES | SECTION TITLE |  |
| 097b | Calc zero el/suppr | 0 |  |
| 097d | Calc zero el/suppr units | % | UNITS |
| 098b | Calc measurement span |  |  |
| 098d | Calc meas span units | cm | UNITS |
| 098d | Calc meas span units | ft | UNITS |
| 098d | Calc meas span units | in | UNITS |
| 098d | Calc meas span units | m | UNITS |
| 098d | Calc meas span units | mm | UNITS |
| 099 | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099a | Defined attribute 1 min |  |  |
| 099b | Defined attribute 1 norm |  |  |
| 099c | Defined attribute 1 max |  |  |
| 099d | Defined attribute 1 units |  | UNITS |
| 100 | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100a | Defined attribute 2 min |  |  |
| 100b | Defined attribute 2 norm |  |  |
| 100c | Defined attribute 2 max |  |  |
| 100d | Defined attribute 2 units |  | UNITS |
| 101 | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 101a | Defined attribute 3 min |  |  |
| 101b | Defined attribute 3 norm |  |  |
| 101c | Defined attribute 3 max |  |  |
| 101u | Defined attribute 3 units |  | UNITS |
| 102 | MATERIAL PROPERTIES | SECTION TITLE | MATERIAL |
| 103 | Low side material name | NA | MATERIAL |
| 104 | Low side composition |  |  |
| 105a | Low side density at ref |  |  |
| 105au | Low side density units | kg/m3 | UNITS |
| 105au | Low side density units | lb/ft3 | UNITS |
| 105au | Low side density units | lb/galUS | UNITS |
| 105b | Low side dens ref temp | 25 |  |
| 105b | Low side dens ref temp | 60 |  |
| 105b | Low side dens ref temp | 77 |  |
| 105bu | Low side dens temp units | °C | UNITS |
| 105bu | Low side dens temp units | °F | UNITS |
| 105bu | Low side dens temp units | C | UNITS |
| 105bu | Low side dens temp units | F | UNITS |
| 106a | Low side NFPA health haz | 0 |  |
| 106a | Low side NFPA health haz | 1 |  |
| 106a | Low side NFPA health haz | 2 |  |
| 106a | Low side NFPA health haz | 3 |  |
| 106a | Low side NFPA health haz | 4 |  |
| 106b | Low side flammability | 0 |  |
| 106b | Low side flammability | 1 |  |
| 106b | Low side flammability | 2 |  |
| 106b | Low side flammability | 3 |  |
| 106b | Low side flammability | 4 |  |
| 106c | Low side NFPA reactivity | 0 |  |
| 106c | Low side NFPA reactivity | 1 |  |
| 106c | Low side NFPA reactivity | 2 |  |
| 106c | Low side NFPA reactivity | 3 |  |
| 106c | Low side NFPA reactivity | 4 |  |
| 107a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107bu | Defined attribute 1 units |  | UNITS |
| 109 | High side material name | NA | MATERIAL |
| 110 | High side composition |  |  |
| 111a | High side density at ref |  |  |
| 111au | High side density units | kg/m3 | UNITS |
| 111au | High side density units | lb/ft3 | UNITS |
| 111au | High side density units | lb/galUS | UNITS |
| 111b | High side matl dens temp | 25 |  |
| 111b | High side matl dens temp | 60 |  |
| 111b | High side matl dens temp | 77 |  |
| 111bu | High side dens temp units | °C | UNITS |
| 111bu | High side dens temp units | °F | UNITS |
| 111bu | High side dens temp units | C | UNITS |
| 111bu | High side dens temp units | F | UNITS |
| 112a | High side NFPA health haz | 0 | HEALTH HAZARD RATING |
| 112a | High side NFPA health haz |  | HEALTH HAZARD RATING |
| 112a | High side NFPA health haz | 1 | HEALTH HAZARD RATING |
| 112a | High side NFPA health haz | 2 | HEALTH HAZARD RATING |
| 112a | High side NFPA health haz | 3 | HEALTH HAZARD RATING |
| 112a | High side NFPA health haz | 4 | HEALTH HAZARD RATING |
| 112b | High side flammability | 0 |  |
| 112b | High side flammability | 1 |  |
| 112b | High side flammability | 2 |  |
| 112b | High side flammability | 3 |  |
| 112b | High side flammability | 4 |  |
| 112c | High side NFPA reactivity | 0 | REACTIVITY HAZARD RATING |
| 112c | High side NFPA reactivity | 1 | REACTIVITY HAZARD RATING |
| 112c | High side NFPA reactivity | 2 | REACTIVITY HAZARD RATING |
| 112c | High side NFPA reactivity | 3 | REACTIVITY HAZARD RATING |
| 112c | High side NFPA reactivity | 4 | REACTIVITY HAZARD RATING |
| 113a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 113b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 113bu | Defined attribute 2 units |  | UNITS |