| Picklist 20P1003 Pressure Device |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | ADMINISTRATIVE IDENTIFICATIONS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017a | Defined attribute 1 name | contact | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | equipment module | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | production line | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | SERVICE IDENTIFICATIONS | SECTION TITLE |  |
| 019 | Tag/Functional ident | NULL |  |
| 020 | Related equipment |  |  |
| 021 | Service |  |  |
| 023 | P&ID/Reference dwg number |  |  |
| 024 | Line/nozzle number Line/nozzle number | NA |  |
| 025 | Process conn pipe spec | NA |  |
| 026a | Line/Nozzle nominal size | 1/8 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 1/4 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 3/8 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 1/2 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 3/4 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 1 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 1 1/4 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 1 1/2 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 2 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 2 1/2 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 3 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 4 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 6 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 8 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 10 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 12 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 14 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 16 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 18 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 20 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 22 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 24 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 26 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 28 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 30 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 32 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 34 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 36 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 38 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 40 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 42 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 44 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 46 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 48 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 50 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 52 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 54 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 56 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 58 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 60 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 10 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 15 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 20 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 25 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 32 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 40 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 50 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 65 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 80 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 100 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 125 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 150 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 200 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 250 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 300 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 350 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 400 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 450 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 500 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 550 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 600 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 700 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 800 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 900 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 1000 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 1200 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 1400 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 1500 | NOMINAL SIZE |
| 026b | Line/Nozzle conn nom rating | cl 125 |  |
| 026b | Line/Nozzle conn nom rating | cl 150 |  |
| 026b | Line/Nozzle conn nom rating | cl 1500 |  |
| 026b | Line/Nozzle conn nom rating | cl 25 |  |
| 026b | Line/Nozzle conn nom rating | cl 250 |  |
| 026b | Line/Nozzle conn nom rating | cl 2500 |  |
| 026b | Line/Nozzle conn nom rating | cl 300 |  |
| 026b | Line/Nozzle conn nom rating | cl 400 |  |
| 026b | Line/Nozzle conn nom rating | cl 4500 |  |
| 026b | Line/Nozzle conn nom rating | cl 600 |  |
| 026b | Line/Nozzle conn nom rating | cl 75 |  |
| 026b | Line/Nozzle conn nom rating | cl 800 |  |
| 026b | Line/Nozzle conn nom rating | cl 900 |  |
| 026b | Line/Nozzle conn nom rating | PN 10 |  |
| 026b | Line/Nozzle conn nom rating | PN 100 |  |
| 026b | Line/Nozzle conn nom rating | PN 150 |  |
| 026b | Line/Nozzle conn nom rating | PN 16 |  |
| 026b | Line/Nozzle conn nom rating | PN 2.5 |  |
| 026b | Line/Nozzle conn nom rating | PN 20 |  |
| 026b | Line/Nozzle conn nom rating | PN 25 |  |
| 026b | Line/Nozzle conn nom rating | PN 250 |  |
| 026b | Line/Nozzle conn nom rating | PN 40 |  |
| 026b | Line/Nozzle conn nom rating | PN 420 |  |
| 026b | Line/Nozzle conn nom rating | PN 50 |  |
| 026b | Line/Nozzle conn nom rating | PN 6 |  |
| 027a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 027a | Process conn termn type | collar | END CONNECTION CATEGORY |
| 027a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 027a | Process conn termn type | flangeless | END CONNECTION CATEGORY |
| 027a | Process conn termn type | flg adptr | END CONNECTION CATEGORY |
| 027a | Process conn termn type | plain | END CONNECTION CATEGORY |
| 027a | Process conn termn type | sep flg | END CONNECTION CATEGORY |
| 027a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 027a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 027b | Process conn termn style | 16A | END CONNECTION TYPE |
| 027b | Process conn termn style | 16A w/nut | END CONNECTION TYPE |
| 027b | Process conn termn style | 16AMP | END CONNECTION TYPE |
| 027b | Process conn termn style | beveled | END CONNECTION TYPE |
| 027b | Process conn termn style | boss | END CONNECTION TYPE |
| 027b | Process conn termn style | BSP(F) | END CONNECTION TYPE |
| 027b | Process conn termn style | BSPP | END CONNECTION TYPE |
| 027b | Process conn termn style | bw | END CONNECTION TYPE |
| 027b | Process conn termn style | cameron | END CONNECTION TYPE |
| 027b | Process conn termn style | chiksan | END CONNECTION TYPE |
| 027b | Process conn termn style | chiksan® | END CONNECTION TYPE |
| 027b | Process conn termn style | ff | END CONNECTION TYPE |
| 027b | Process conn termn style | grayloc | END CONNECTION TYPE |
| 027b | Process conn termn style | grooved | END CONNECTION TYPE |
| 027b | Process conn termn style | hub | END CONNECTION TYPE |
| 027b | Process conn termn style | LGE F | END CONNECTION TYPE |
| 027b | Process conn termn style | LGE M | END CONNECTION TYPE |
| 027b | Process conn termn style | LGE M&F | END CONNECTION TYPE |
| 027b | Process conn termn style | lj | END CONNECTION TYPE |
| 027b | Process conn termn style | NA | END CONNECTION TYPE |
| 027b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 027b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 027b | Process conn termn style | NPT-LH | END CONNECTION TYPE |
| 027b | Process conn termn style | pancake | END CONNECTION TYPE |
| 027b | Process conn termn style | RF | END CONNECTION TYPE |
| 027b | Process conn termn style | RTJ | END CONNECTION TYPE |
| 027b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 027b | Process conn termn style | SW(M) | END CONNECTION TYPE |
| 027b | Process conn termn style | T&G | END CONNECTION TYPE |
| 027b | Process conn termn style | tri-Clamp | END CONNECTION TYPE |
| 027b | Process conn termn style | VS | END CONNECTION TYPE |
| 027b | Process conn termn style | weld-in | END CONNECTION TYPE |
| 027b | Process conn termn style | WN | END CONNECTION TYPE |
| 028a | Line/Nozzle schedule no | 10 |  |
| 028a | Line/Nozzle schedule no | 100 |  |
| 028a | Line/Nozzle schedule no | 10S |  |
| 028a | Line/Nozzle schedule no | 120 |  |
| 028a | Line/Nozzle schedule no | 140 |  |
| 028a | Line/Nozzle schedule no | 160 |  |
| 028a | Line/Nozzle schedule no | 20 |  |
| 028a | Line/Nozzle schedule no | 30 |  |
| 028a | Line/Nozzle schedule no | 40 |  |
| 028a | Line/Nozzle schedule no | 40S |  |
| 028a | Line/Nozzle schedule no | 5 |  |
| 028a | Line/Nozzle schedule no | 5S |  |
| 028a | Line/Nozzle schedule no | 60 |  |
| 028a | Line/Nozzle schedule no | 80 |  |
| 028a | Line/Nozzle schedule no | 80S |  |
| 028a | Line/Nozzle schedule no | std |  |
| 028a | Line/Nozzle schedule no | XS |  |
| 028a | Line/Nozzle schedule no | XXS |  |
| 028b | Line/Nozzle wall thkns |  |  |
| 028bu | Line/Nozzle wall thkns units | in | UNITS |
| 028bu | Line/Nozzle wall thkns units | mm | UNITS |
| 029 | Connection length |  |  |
| 029u | Connection length units | in | UNITS |
| 029u | Connection length units | mm | UNITS |
| 030 | Connection orientation | horizontal |  |
| 030 | Connection orientation | inclined |  |
| 030 | Connection orientation | NA |  |
| 030 | Connection orientation | vertical |  |
| 031 | Line/Nozzle matl type | alloy steel | MATERIAL |
| 031 | Line/Nozzle matl type | aluminum | MATERIAL |
| 031 | Line/Nozzle matl type | carbon steel | MATERIAL |
| 031 | Line/Nozzle matl type | cobalt Alloy | MATERIAL |
| 031 | Line/Nozzle matl type | copper Alloy | MATERIAL |
| 031 | Line/Nozzle matl type | ductile Iron | MATERIAL |
| 031 | Line/Nozzle matl type | FRP | MATERIAL |
| 031 | Line/Nozzle matl type | iron (Cast) | MATERIAL |
| 031 | Line/Nozzle matl type | low temp Carbon steel | MATERIAL |
| 031 | Line/Nozzle matl type | monel® | MATERIAL |
| 031 | Line/Nozzle matl type | monel | MATERIAL |
| 031 | Line/Nozzle matl type | NA | MATERIAL |
| 031 | Line/Nozzle matl type | nickel Alloy | MATERIAL |
| 031 | Line/Nozzle matl type | stainless Steel | MATERIAL |
| 031 | Line/Nozzle matl type | titanium | MATERIAL |
| 031 | Line/Nozzle matl type | zinc Alloy | MATERIAL |
| 032 | Connection design code | ANSI B31.1 |  |
| 032 | Connection design code | ANSI B31.3 |  |
| 032 | Connection design code | NA |  |
| 033 | Device insertion length |  |  |
| 033u | Insertion length units | ft | UNITS |
| 033u | Insertion length units | in | UNITS |
| 033u | Insertion length units | m | UNITS |
| 033u | Insertion length units | mm | UNITS |
| 034a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 034a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 034a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 034b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 034b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 034b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 034c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 034c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 034c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 034c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 034c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 034c | Inline hazardous area gr | G | AREA CLASSIFICATION (GROUP) |
| 034c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 034c | Inline hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 034c | Inline hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 034c | Inline hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 035a | Inline area min ign temp |  |  |
| 035au | Inline ign temp units | °C | UNITS |
| 035au | Inline ign temp units | °F | UNITS |
| 035au | Inline ign temp units | C | UNITS |
| 035au | Inline ign temp units | F | UNITS |
| 035b | Inline ign temp ident no | T2A |  |
| 035b | Inline ign temp ident no | T1 |  |
| 035b | Inline ign temp ident no | T2 |  |
| 035b | Inline ign temp ident no | T2B |  |
| 035b | Inline ign temp ident no | T2C |  |
| 035b | Inline ign temp ident no | T3 |  |
| 035b | Inline ign temp ident no | T4 |  |
| 035b | Inline ign temp ident no | T2D |  |
| 035b | Inline ign temp ident no | T5 |  |
| 035b | Inline ign temp ident no | T3A |  |
| 035b | Inline ign temp ident no | T3C |  |
| 035b | Inline ign temp ident no | T4A |  |
| 035b | Inline ign temp ident no | T3B |  |
| 035b | Inline ign temp ident no | T6 |  |
| 036a | Remote hazardous area cl | I |  |
| 036a | Remote hazardous area cl | II |  |
| 036a | Remote hazardous area cl | III |  |
| 036b | Remote hazardous Div/Zone | 0 |  |
| 036b | Remote hazardous Div/Zone | 1 |  |
| 036b | Remote hazardous Div/Zone | 2 |  |
| 036c | Remote hazardous area gr | A |  |
| 036c | Remote hazardous area gr | B |  |
| 036c | Remote hazardous area gr | C |  |
| 036c | Remote hazardous area gr | D |  |
| 036c | Remote hazardous area gr | E |  |
| 036c | Remote hazardous area gr | G |  |
| 036c | Remote hazardous area gr | F |  |
| 036c | Remote hazardous area gr | IIA |  |
| 036c | Remote hazardous area gr | IIB |  |
| 036c | Remote hazardous area gr | IIC |  |
| 037a | Remote area min ign temp |  |  |
| 037au | Remote area min ign temp units | °C | UNITS |
| 037au | Remote area min ign temp units | °F | UNITS |
| 037au | Remote area min ign temp units | C | UNITS |
| 037au | Remote area min ign temp units | F | UNITS |
| 037b | Remote ign temp ident no | T2A |  |
| 037b | Remote ign temp ident no | T1 |  |
| 037b | Remote ign temp ident no | T2 |  |
| 037b | Remote ign temp ident no | T2B |  |
| 037b | Remote ign temp ident no | T3 |  |
| 037b | Remote ign temp ident no | T2C |  |
| 037b | Remote ign temp ident no | T4 |  |
| 037b | Remote ign temp ident no | T2D |  |
| 037b | Remote ign temp ident no | T3C |  |
| 037b | Remote ign temp ident no | T5 |  |
| 037b | Remote ign temp ident no | T3A |  |
| 037b | Remote ign temp ident no | T3B |  |
| 037b | Remote ign temp ident no | T4A |  |
| 037b | Remote ign temp ident no | T6 |  |
| 038a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 039a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 039b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 040a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 040b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 042 | COMPONENT DESIGN CRITERIA | SECTION TITLE |  |
| 043 | Component Type | diaph seal |  |
| 043 | Component Type | diaphragm pressure seal |  |
| 043 | Component Type | draft gauge |  |
| 043 | Component Type | press gauge-integral seal |  |
| 043 | Component Type | press gauge-remote seal |  |
| 043 | Component Type | pressure gauge |  |
| 043 | Component Type | pressure regulator |  |
| 043 | Component Type | pressure switch |  |
| 043 | Component Type | pressure switch w/seal |  |
| 043 | Component Type | pressure transducer |  |
| 043 | Component Type | pressure transmitter |  |
| 043 | Component Type | pressure xmtr w/seal |  |
| 044 | Component style | manufacturer standard | INSTRUMENT TYPE |
| 045 | Output signal type | analog current | SIGNAL |
| 045 | Output signal type | analog current & digital | SIGNAL |
| 045 | Output signal type | analog current & relays | SIGNAL |
| 045 | Output signal type | analog pneumatic | SIGNAL |
| 045 | Output signal type | analog voltage | SIGNAL |
| 045 | Output signal type | analog voltage & digital | SIGNAL |
| 045 | Output signal type | binary pneumatic | SIGNAL |
| 045 | Output signal type | digital multi-variable | SIGNAL |
| 045 | Output signal type | digital single-variable | SIGNAL |
| 045 | Output signal type | dry contact | SIGNAL |
| 045 | Output signal type | electronic,low power | SIGNAL |
| 045 | Output signal type | NA | SIGNAL |
| 045 | Output signal type | relay | SIGNAL |
| 045 | Output signal type | smart multivariable | SIGNAL |
| 045 | Output signal type | smart,single variable | SIGNAL |
| 045 | Output signal type | transistor switch | SIGNAL |
| 046 | Characteristic curve | linear with measurement | CHARACTERISTIC CURVE |
| 046 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 047 | Type of protection | continuous dilution | TYPE OF PROTECTION |
| 047 | Type of protection | encapsulation | TYPE OF PROTECTION |
| 047 | Type of protection | explosion proof enclosure | TYPE OF PROTECTION |
| 047 | Type of protection | flameproof | TYPE OF PROTECTION |
| 047 | Type of protection | increased safety | TYPE OF PROTECTION |
| 047 | Type of protection | intrinsic safety | TYPE OF PROTECTION |
| 047 | Type of protection | NA | TYPE OF PROTECTION |
| 047 | Type of protection | nonincendive equipment | TYPE OF PROTECTION |
| 047 | Type of protection | oil-immersion | TYPE OF PROTECTION |
| 047 | Type of protection | powder filling | TYPE OF PROTECTION |
| 047 | Type of protection | pressurization | TYPE OF PROTECTION |
| 047 | Type of protection | restricted breathing | TYPE OF PROTECTION |
| 047 | Type of protection | special protection | TYPE OF PROTECTION |
| 048 | Criticality code | 1 | CRITICALITY CODE |
| 048 | Criticality code | 2 | CRITICALITY CODE |
| 048 | Criticality code | 3 | CRITICALITY CODE |
| 049a | Max EMI susceptibility | 1-a:0.1 |  |
| 049a | Max EMI susceptibility | 1-b:0.1 |  |
| 049a | Max EMI susceptibility | 1-c:0.1 |  |
| 049a | Max EMI susceptibility | 2-a:0.1 |  |
| 049a | Max EMI susceptibility | 2-b:0.1 |  |
| 049a | Max EMI susceptibility | 2-c:0.1 |  |
| 049a | Max EMI susceptibility | 3-a:0.1 |  |
| 049a | Max EMI susceptibility | 3-b:0.1 |  |
| 049a | Max EMI susceptibility | 3-c:0.1 |  |
| 049b | Ref base susceptibility | % reading |  |
| 049b | Ref base susceptibility | % span |  |
| 049b | Ref base susceptibility | % Span@30 V/m |  |
| 050a | Max temperature effect | .1 |  |
| 050b | Ref base max temp effect | % span/100 F |  |
| 051 | Max response time |  |  |
| 051u | Max response time units | s | UNITS |
| 052a | Min required accuracy | .1 |  |
| 052a | Min required accuracy | .2 |  |
| 052a | Ref base of min accuracy | % output span |  |
| 052a | Ref base of min accuracy | % reading |  |
| 052a | Ref base of min accuracy | % scale |  |
| 052a | Ref base of min accuracy | % URV |  |
| 052a | Ref base of min accuracy | atm |  |
| 052a | Ref base of min accuracy | bar |  |
| 052a | Ref base of min accuracy | bar(g) |  |
| 052a | Ref base of min accuracy | ftH2O |  |
| 052a | Ref base of min accuracy | inH2O |  |
| 052a | Ref base of min accuracy | inHg |  |
| 052a | Ref base of min accuracy | kPa |  |
| 052a | Ref base of min accuracy | lbf/ft2 |  |
| 052a | Ref base of min accuracy | lbf/in2 |  |
| 052a | Ref base of min accuracy | mmH2O |  |
| 052a | Ref base of min accuracy | mmHg |  |
| 052a | Ref base of min accuracy | Pa |  |
| 052a | Ref base of min accuracy | Pa(g) |  |
| 052a | Ref base of min accuracy | psi |  |
| 052a | Ref base of min accuracy | psia |  |
| 052a | Ref base of min accuracy | psig |  |
| 053 | Max dead band |  |  |
| 053u | Max dead band units | atm | UNITS |
| 053u | Max dead band units | bar | UNITS |
| 053u | Max dead band units | bar(g) | UNITS |
| 053u | Max dead band units | ftH2O | UNITS |
| 053u | Max dead band units | inH2O | UNITS |
| 053u | Max dead band units | inHg | UNITS |
| 053u | Max dead band units | kPa | UNITS |
| 053u | Max dead band units | lbf/ft2 | UNITS |
| 053u | Max dead band units | lbf/in2 | UNITS |
| 053u | Max dead band units | mmH2O | UNITS |
| 053u | Max dead band units | mmHg | UNITS |
| 053u | Max dead band units | Pa | UNITS |
| 053u | Max dead band units | Pa(g) | UNITS |
| 053u | Max dead band units | psi | UNITS |
| 053u | Max dead band units | psia | UNITS |
| 053u | Max dead band units | psig | UNITS |
| 054a | Avail nom power supply | 12 |  |
| 054a | Avail nom power supply | 20 |  |
| 054a | Avail nom power supply | 24 |  |
| 054a | Avail nom power supply | 32 |  |
| 054a | Avail nom power supply | 110 |  |
| 054a | Avail nom power supply | 115 |  |
| 054a | Avail nom power supply | 120 |  |
| 054a | Avail nom power supply | 220 |  |
| 054a | Avail nom power supply | 230 |  |
| 054a | Avail nom power supply | 240 |  |
| 054a | Avail nom power supply | 250 |  |
| 054au | Power supply units | bar(g) | UNITS |
| 054au | Power supply units | kPa(g) | UNITS |
| 054au | Power supply units | psig | UNITS |
| 054au | Power supply units | V(ac) | UNITS |
| 054au | Power supply units | V(dc) | UNITS |
| 054b | Number wires | 2 |  |
| 054b | Number wires | 3 |  |
| 054b | Number wires | 4 |  |
| 054b | Number wires | NA |  |
| 054cu | Max Attr 3 units |  | UNITS |
| 055 | Minimum load capability | 300 |  |
| 055 | Minimum load capability | 800 |  |
| 055u | Load capability units | kOhm | UNITS |
| 055u | Load capability units | Ohm | UNITS |
| 056 | Testing/Listing agency | BASEEFA |  |
| 056 | Testing/Listing agency | CENELEC |  |
| 056 | Testing/Listing agency | CSA |  |
| 056 | Testing/Listing agency | FM |  |
| 056 | Testing/Listing agency | ISSEP |  |
| 056 | Testing/Listing agency | JIS/RIIS |  |
| 056 | Testing/Listing agency | LCIE |  |
| 056 | Testing/Listing agency | NA |  |
| 056 | Testing/Listing agency | SAA |  |
| 056 | Testing/Listing agency | UL |  |
| 056 | Testing/Listing agency | VNIIVE |  |
| 057 | Test requirements | NA |  |
| 058 | Supply loss failure mode | activate fault relay |  |
| 058 | Supply loss failure mode | deactivate output relay |  |
| 058 | Supply loss failure mode | NA |  |
| 058 | Signal loss failure mode | drive output low |  |
| 059 | Signal loss failure mode | activate fault relay |  |
| 059 | Signal loss failure mode | drive output high |  |
| 059 | Signal loss failure mode | flashing display |  |
| 059 | Signal loss failure mode | hold last value |  |
| 059 | Signal loss failure mode | NA |  |
| 059 | Signal loss failure mode | switch sensors |  |
| 060a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 060b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060bu | Defined attribute 1 units |  | UNITS |
| 061a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 061b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 061bu | Defined attribute 2 units |  | UNITS |
| 062a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 062b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 062u | Defined attribute 3 units |  | UNITS |
| 073 | MATERIAL FLOW CONDITIONS | SECTION TITLE | MATERIAL |
| 074 | Flow Case Identification | max flow |  |
| 074 | Flow Case Identification | min flow |  |
| 074 | Flow Case Identification | norm flow |  |
| 075 | Pressure |  |  |
| 075u | Pressure units | atm | UNITS |
| 075u | Pressure units | bar | UNITS |
| 075u | Pressure units | bar(g) | UNITS |
| 075u | Pressure units | ftH2O | UNITS |
| 075u | Pressure units | inH2O | UNITS |
| 075u | Pressure units | inHg | UNITS |
| 075u | Pressure units | kPa | UNITS |
| 075u | Pressure units | kPa(g) | UNITS |
| 075u | Pressure units | lbf/ft2 | UNITS |
| 075u | Pressure units | lbf/in2 | UNITS |
| 075u | Pressure units | mmH2O | UNITS |
| 075u | Pressure units | mmHg | UNITS |
| 075u | Pressure units | Pa | UNITS |
| 075u | Pressure units | Pa(g) | UNITS |
| 075u | Pressure units | psia | UNITS |
| 075u | Pressure units | psig | UNITS |
| 076 | Temperature |  |  |
| 076u | Temperature units | °C | UNITS |
| 076u | Temperature units | °F | UNITS |
| 076u | Temperature units | C | UNITS |
| 076u | Temperature units | F | UNITS |
| 077 | Material phase type | liquid |  |
| 077 | Material phase type | mixed |  |
| 077 | Material phase type | solid |  |
| 077 | Material phase type | vapor |  |
| 078 | Liquid density |  |  |
| 078u | Liquid density units | g/cm3 | UNITS |
| 078u | Liquid density units | lb/ft3 | UNITS |
| 078u | Liquid density units | lb/galUS | UNITS |
| 079 | Liquid specific gravity |  |  |
| 080 | Liquid viscosity |  |  |
| 080u | Liquid viscosity units | cP | UNITS |
| 080u | Liquid viscosity units | cSt | UNITS |
| 080u | Liquid viscosity units | m2/s | UNITS |
| 080u | Liquid viscosity units | m³/s | UNITS |
| 080u | Liquid viscosity units | Pa.s | UNITS |
| 081 | Vapor density |  |  |
| 081u | Vapor density units | g/cm3 | UNITS |
| 081u | Vapor density units | kg/m3 | UNITS |
| 081u | Vapor density units | lb/ft3 | UNITS |
| 082 | Vapor specific gravity |  |  |
| 083 | Vapor viscosity |  |  |
| 083u | Vapor viscosity units | cP | UNITS |
| 083u | Vapor viscosity units | cSt | UNITS |
| 083u | Vapor viscosity units | m2/s | UNITS |
| 083u | Vapor viscosity units | m³/s | UNITS |
| 083u | Vapor viscosity units | Pa.s | UNITS |
| 084a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 084a | Defined attribute 1 name | Solids concentration | DEFINABLE ATTRIBUTE NAME |
| 084b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084u | Defined attribute 1 units | % | UNITS |
| 085a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 085b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085u | Defined attribute 2 units | % | UNITS |
| 086a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086u | Defined attribute 3 units | % | UNITS |
| 096 | CALCULATED VARIABLES | SECTION TITLE |  |
| 097b | Calc zero el/suppr | 0 |  |
| 097d | Calc zero el/suppr units | % | UNITS |
| 098b | Calc measurement span |  |  |
| 098d | Calc meas span units | cm | UNITS |
| 098d | Calc meas span units | ft | UNITS |
| 098d | Calc meas span units | in | UNITS |
| 098d | Calc meas span units | m | UNITS |
| 098d | Calc meas span units | mm | UNITS |
| 099 | Defined attribute 1 units |  | UNITS |
| 099 | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099a | Defined attribute 1 min |  |  |
| 099b | Defined attribute 1 norm |  |  |
| 099c | Defined attribute 1 max |  |  |
| 099d | Defined attribute 1 units |  | UNITS |
| 100 | Defined attribute 2 units |  | UNITS |
| 100 | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100a | Defined attribute 2 min |  |  |
| 100b | Defined attribute 2 norm |  |  |
| 100c | Defined attribute 2 max |  |  |
| 100d | Defined attribute 2 units |  | UNITS |
| 101 | Defined attribute 3 units |  | UNITS |
| 101 | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 101a | Defined attribute 3 min |  |  |
| 101b | Defined attribute 3 norm |  |  |
| 101c | Defined attribute 3 max |  |  |
| 101u | Defined attribute 3 units |  | UNITS |
| 102 | PROCESS DESIGN CONDITIONS | SECTION TITLE |  |
| 104a | Minimum pressure | 0 |  |
| 104au | Minimum pressure units | atm | UNITS |
| 104au | Minimum pressure units | bar | UNITS |
| 104au | Minimum pressure units | bar(g) | UNITS |
| 104au | Minimum pressure units | ftH2O | UNITS |
| 104au | Minimum pressure units | inH2O | UNITS |
| 104au | Minimum pressure units | inHg | UNITS |
| 104au | Minimum pressure units | kPa | UNITS |
| 104au | Minimum pressure units | kPa(g) | UNITS |
| 104au | Minimum pressure units | lbf/ft2 | UNITS |
| 104au | Minimum pressure units | lbf/in2 | UNITS |
| 104au | Minimum pressure units | mmH2O | UNITS |
| 104au | Minimum pressure units | mmHg | UNITS |
| 104au | Minimum pressure units | Pa | UNITS |
| 104au | Minimum pressure units | Pa(g) | UNITS |
| 104au | Minimum pressure units | psia | UNITS |
| 104au | Minimum pressure units | psig | UNITS |
| 104b | Maximum pressure |  |  |
| 104bu | Maximum pressure units | atm | UNITS |
| 104bu | Maximum pressure units | bar | UNITS |
| 104bu | Maximum pressure units | bar(g) | UNITS |
| 104bu | Maximum pressure units | ftH2O | UNITS |
| 104bu | Maximum pressure units | inH2O | UNITS |
| 104bu | Maximum pressure units | inHg | UNITS |
| 104bu | Maximum pressure units | kPa | UNITS |
| 104bu | Maximum pressure units | kPa(g) | UNITS |
| 104bu | Maximum pressure units | lbf/ft2 | UNITS |
| 104bu | Maximum pressure units | lbf/in2 | UNITS |
| 104bu | Maximum pressure units | mmH2O | UNITS |
| 104bu | Maximum pressure units | mmHg | UNITS |
| 104bu | Maximum pressure units | Pa | UNITS |
| 104bu | Maximum pressure units | Pa(g) | UNITS |
| 104bu | Maximum pressure units | psia | UNITS |
| 105a | Minimum temperature |  |  |
| 105au | Minimum temperature units | °C | UNITS |
| 105au | Minimum temperature units | °F | UNITS |
| 105au | Minimum temperature units | C | UNITS |
| 105au | Minimum temperature units | F | UNITS |
| 105b | Maximum temperature |  |  |
| 105bu | Maximum temperature units | °C | UNITS |
| 105bu | Maximum temperature units | °F | UNITS |
| 105bu | Maximum temperature units | C | UNITS |
| 105bu | Maximum temperature units | F | UNITS |
| 109b | Liquid viscosity max |  |  |
| 109bu | Liquid viscosity max units | cP |  |
| 109bu | Liquid viscosity max units | cSt |  |
| 109bu | Liquid viscosity max units | m2/s |  |
| 109bu | Liquid viscosity max units | m³/s |  |
| 109bu | Liquid viscosity max units | Pa.s |  |
| 112b | Vapor viscosity max |  |  |
| 112bu | Vapor viscosity max units |  |  |
| 112bu | Vapor viscosity max units | cP |  |
| 112bu | Vapor viscosity max units | cSt |  |
| 112bu | Vapor viscosity max units | m2/s |  |
| 112bu | Vapor viscosity max units | m³/s |  |
| 112bu | Vapor viscosity max units | Pa.s |  |
| 113a | Defined attribute 1 min |  |  |
| 113au | Min attr 1 units |  | UNITS |
| 113b | Defined attribute 1 max |  |  |
| 113bu | Max Attr 1 units |  | UNITS |
| 114a | Defined attribute 2 min |  |  |
| 114au | Min attr 2 units |  | UNITS |
| 114b | Defined attribute 2 max |  |  |
| 114bu | Max Attr 2 units |  | UNITS |
| 115a | Defined attribute 3 min |  |  |
| 115au | Min attr 3 units |  | UNITS |
| 115b | Defined attribute 3 max |  |  |
| 115bu | Max Attr 3 units |  | UNITS |
| 131 | MATERIAL PROPERTIES | SECTION TITLE | MATERIAL |
| 132 | Material name | NA | MATERIAL |
| 133 | Composition |  |  |
| 134a | Density at ref |  |  |
| 134au | Density units | kg/m3 | UNITS |
| 134au | Density units | lb/ft3 | UNITS |
| 134au | Density units | lb/galUS | UNITS |
| 134b | Density ref temp | 25 |  |
| 134b | Density ref temp | 60 |  |
| 134b | Density ref temp | 77 |  |
| 134bu | Density ref temp units | °C | UNITS |
| 134bu | Density ref temp units | °F | UNITS |
| 134bu | Density ref temp units | C | UNITS |
| 134bu | Density ref temp units | F | UNITS |
| 135a | NFPA health hazard | 0 | HEALTH HAZARD RATING |
| 135a | NFPA health hazard | 1 | HEALTH HAZARD RATING |
| 135a | NFPA health hazard | 2 | HEALTH HAZARD RATING |
| 135a | NFPA health hazard | 3 | HEALTH HAZARD RATING |
| 135a | NFPA health hazard | 4 | HEALTH HAZARD RATING |
| 135b | NFPA Flammability | 0 | FLAMMABILITY HAZARD RATING |
| 135b | NFPA Flammability | 1 | FLAMMABILITY HAZARD RATING |
| 135b | NFPA Flammability | 2 | FLAMMABILITY HAZARD RATING |
| 135b | NFPA Flammability | 3 | FLAMMABILITY HAZARD RATING |
| 135b | NFPA Flammability | 4 | FLAMMABILITY HAZARD RATING |
| 135c | NFPA reactivity | 0 | REACTIVITY HAZARD RATING |
| 135c | NFPA reactivity | 1 | REACTIVITY HAZARD RATING |
| 135c | NFPA reactivity | 2 | REACTIVITY HAZARD RATING |
| 135c | NFPA reactivity | 3 | REACTIVITY HAZARD RATING |
| 135c | NFPA reactivity | 4 | REACTIVITY HAZARD RATING |
| 136a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 136b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 136bu | Defined attribute 1 units |  | UNITS |
| 138a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 138b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 138bu | Defined attribute 1 units |  | UNITS |
| 139a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 139b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 139bu | Defined attribute 1 units |  | UNITS |