| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | OPERATING PARAMETERS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017 | Related equipment |  |  |
| 018 | Service |  |  |
| 020 | P&ID/Reference dwg number |  |  |
| 021 | Material name | NA | MATERIAL |
| 022 | Minimum pressure |  |  |
| 022u | Minimum pressure units | psig | UNITS |
| 023 | Normal pressure |  |  |
| 023u | Normal pressure units | psig | UNITS |
| 024 | Maximum pressure |  |  |
| 024u | Maximum pressure units | psig | UNITS |
| 025 | Normal temperature |  |  |
| 025u | Normal temperature units | °C | UNITS |
| 025u | Normal temperature units | °F | UNITS |
| 025u | Normal temperature units | C | UNITS |
| 025u | Normal temperature units | F | UNITS |
| 026 | Maximum temperature |  |  |
| 026u | Maximum temperature units | °C | UNITS |
| 026u | Maximum temperature units | °F | UNITS |
| 026u | Maximum temperature units | C | UNITS |
| 026u | Maximum temperature units | F | UNITS |
| 027 | Material phase | gas | MATERIAL PHASE |
| 027 | Material phase |  | MATERIAL PHASE |
| 027 | Material phase | liquid | MATERIAL PHASE |
| 027 | Material phase | vapor | MATERIAL PHASE |
| 028a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031 | PROCESS CONNECTION AND CASE | SECTION TITLE |  |
| 032 | Case type | open front w/ relief | CASE |
| 032 | Case type | open front w/o relief | CASE |
| 032 | Case type | solid front w/ relief | CASE |
| 033 | Case style | liquid filled |  |
| 033 | Case style | pressure tight |  |
| 033 | Case style | sealed |  |
| 033 | Case style | weatherproof |  |
| 033 | Case style | NA |  |
| 034 | Gauge size | 1 1/2 in | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 2 in | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 2 1/2 in | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 3 1/2 in | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 16 mm | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 160 mm | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 6 in | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 4 1/2 in | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 63 mm | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 12 in | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 8 1/2 in | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 50 mm | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 80 mm | GAUGE NOMINAL SIZE |
| 034 | Gauge size | 100 mm | GAUGE NOMINAL SIZE |
| 035a | Process conn nominal size | 1/8 in | NOMINAL SIZE |
| 035a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 035a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 035a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 035a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 035b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 035b | Process conn termn style | tri-Clamp | END CONNECTION TYPE |
| 036 | Process conn location | bottom |  |
| 036 | Process conn location | center back |  |
| 036 | Process conn location | lower back |  |
| 037 | Case pressure relief type | pressure relief back |  |
| 037 | Case pressure relief type | pressure relief opening |  |
| 037 | Case pressure relief type | pressure relief plug |  |
| 037 | Case pressure relief type | NA |  |
| 038 | Ring style | bayonet lock |  |
| 038 | Ring style | cam |  |
| 038 | Ring style | friction |  |
| 038 | Ring style | hinged |  |
| 038 | Ring style | slip |  |
| 038 | Ring style | snap |  |
| 038 | Ring style | threaded |  |
| 038 | Ring style | NA |  |
| 039 | Mounting type | flush mounted,bolted |  |
| 039 | Mounting type | flush mounted,clamped |  |
| 039 | Mounting type | panel mounted |  |
| 039 | Mounting type | stem (socket) mounted |  |
| 039 | Mounting type | surface (wall) mounted |  |
| 039 | Mounting type | U clamp |  |
| 039 | Mounting type | NA |  |
| 040 | Case material | 304 SST | MATERIAL |
| 040 | Case material | acetyl plastic | MATERIAL |
| 040 | Case material | aluminum alloy | MATERIAL |
| 040 | Case material | carbon steel | MATERIAL |
| 040 | Case material | cast iron | MATERIAL |
| 040 | Case material | phenolic | MATERIAL |
| 040 | Case material | reinforced polypropylene | MATERIAL |
| 040 | Case material | NA | MATERIAL |
| 041 | Ring material | 304 SST | MATERIAL |
| 041 | Ring material | aluminum | MATERIAL |
| 041 | Ring material | carbon steel | MATERIAL |
| 041 | Ring material | cast iron | MATERIAL |
| 041 | Ring material | reinforced polypropylene | MATERIAL |
| 041 | Ring material | NA | MATERIAL |
| 042 | Exterior treatment-color | black enamel crinkle | MATERIAL |
| 042 | Exterior treatment-color | black epoxy coated | MATERIAL |
| 042 | Exterior treatment-color | black finish | MATERIAL |
| 042 | Exterior treatment-color | polished stainless steel | MATERIAL |
| 042 | Exterior treatment-color | NA | MATERIAL |
| 043 | Window material | heat treated glass | MATERIAL |
| 043 | Window material | high-temperature Acrylic | MATERIAL |
| 043 | Window material | laminated glass | MATERIAL |
| 043 | Window material | non-glare glass | MATERIAL |
| 043 | Window material | plain glass | MATERIAL |
| 043 | Window material | plastic | MATERIAL |
| 043 | Window material | NA | MATERIAL |
| 044 | Stem material | 316 SST | MATERIAL |
| 044 | Stem material | brass | MATERIAL |
| 044 | Stem material | carbon steel,1019 | MATERIAL |
| 044 | Stem material | inconel | MATERIAL |
| 044 | Stem material | monel 400 | MATERIAL |
| 044 | Stem material | NA | MATERIAL |
| 045 | Gasket/O ring material | buna N | MATERIAL |
| 045 | Gasket/O ring material | neopreme | MATERIAL |
| 045 | Gasket/O ring material | NA | MATERIAL |
| 046 | Liquid fill material | glycerine | MATERIAL |
| 046 | Liquid fill material | halocarbon fill | MATERIAL |
| 046 | Liquid fill material | mineral oil | MATERIAL |
| 046 | Liquid fill material | silicone | MATERIAL |
| 046 | Liquid fill material | NA | MATERIAL |
| 047a | Defined attribute 1 name | internal stops | DEFINABLE ATTRIBUTE NAME |
| 047a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 1 data | maximum stop | DEFINABLE ATTRIBUTE VALUE |
| 047b | Defined attribute 1 data | minimum stop | DEFINABLE ATTRIBUTE VALUE |
| 047b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 048a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 048b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 049a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 049b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 050 | PRESSURE ELEMENT AND MOVEMENT | SECTION TITLE |  |
| 051 | Elastic element type | bellows |  |
| 051 | Elastic element type | C-Type bourdon tube |  |
| 051 | Elastic element type | diaphragm |  |
| 051 | Elastic element type | diaphragm capsule |  |
| 051 | Elastic element type | helical bourdon tube |  |
| 051 | Elastic element type | spiral bourdon tube |  |
| 052 | Movement style | bushed |  |
| 052 | Movement style | cam and roller |  |
| 052 | Movement style | crank |  |
| 052 | Movement style | rotary gear |  |
| 052 | Movement style | segment shaft&hairspring |  |
| 052 | Movement style | slotted link |  |
| 052 | Movement style | spring suspended |  |
| 052 | Movement style | NA |  |
| 053 | Nominal accuracy grade | 1A (1.0% span) |  |
| 053 | Nominal accuracy grade | 2A (0.5% span) |  |
| 053 | Nominal accuracy grade | 3A (0.25% span) |  |
| 053 | Nominal accuracy grade | 4A (0.1% span) |  |
| 053 | Nominal accuracy grade | A (2.0/1.0/2.0% span) |  |
| 053 | Nominal accuracy grade | B (3.0/2.0/3.0% span) |  |
| 053 | Nominal accuracy grade | C (4.0/3.0/4.0% span) |  |
| 053 | Nominal accuracy grade | D (5.0/5.0/5.0% span) |  |
| 053 | Nominal accuracy grade | NA |  |
| 054 | Joint type | brazing |  |
| 054 | Joint type | silver brazed |  |
| 054 | Joint type | soldering |  |
| 054 | Joint type | welding |  |
| 054 | Joint type | NA |  |
| 055 | Element material | 316 SST | MATERIAL |
| 055 | Element material | alloy steel,4130 | MATERIAL |
| 055 | Element material | inconel 718 | MATERIAL |
| 055 | Element material | k-Monel | MATERIAL |
| 055 | Element material | monel | MATERIAL |
| 055 | Element material | Ni-Span C | MATERIAL |
| 055 | Element material | phosphor bronze | MATERIAL |
| 055 | Element material | NA | MATERIAL |
| 056 | Movement material | brass | MATERIAL |
| 056 | Movement material | bronze | MATERIAL |
| 056 | Movement material | stainless steel | MATERIAL |
| 056 | Movement material | NA | MATERIAL |
| 057a | Defined attribute 1 name | bleeder type | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 1 data | capillary bleeder | DEFINABLE ATTRIBUTE VALUE |
| 057b | Defined attribute 1 data | tip bleed | DEFINABLE ATTRIBUTE VALUE |
| 058a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 058b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 059a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | DIAL AND POINTER | SECTION TITLE |  |
| 061 | Dial scale type | dual |  |
| 061 | Dial scale type | single |  |
| 062 | Pointer adjustment | adjustable pointer |  |
| 062 | Pointer adjustment | non-adjustable |  |
| 062 | Pointer adjustment | rotatable dial |  |
| 062 | Pointer adjustment | rotatable movement |  |
| 062 | Pointer adjustment | NA |  |
| 063 | Graduations and color | black marks on white bkgd |  |
| 063 | Graduations and color | mirror |  |
| 063 | Graduations and color | white marks on black bkgd |  |
| 063 | Graduations and color | NA |  |
| 064 | Scale range type | compound |  |
| 064 | Scale range type | liquid level |  |
| 064 | Scale range type | refrigerant |  |
| 064 | Scale range type | retard |  |
| 064 | Scale range type | suppressed |  |
| 064 | Scale range type | uniform |  |
| 064 | Scale range type | vacuum |  |
| 064 | Scale range type | NA |  |
| 065 | Dial material | aluminum | MATERIAL |
| 065 | Dial material | stainless steel | MATERIAL |
| 065 | Dial material | NA | MATERIAL |
| 066a | Defined attribute 1 name | dial nomenclature | DEFINABLE ATTRIBUTE NAME |
| 066b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 067a | Defined attribute 2 name | setpoint/Max/Min pointers | DEFINABLE ATTRIBUTE NAME |
| 067a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 2 data | adjustable set hand | DEFINABLE ATTRIBUTE VALUE |
| 067b | Defined attribute 2 data | maximum pointer | DEFINABLE ATTRIBUTE VALUE |
| 067b | Defined attribute 2 data | minimum pointer | DEFINABLE ATTRIBUTE VALUE |
| 067b | Defined attribute 2 data | stationary set hand | DEFINABLE ATTRIBUTE VALUE |
| 067b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068a | Defined attribute 3 name | stop pin | DEFINABLE ATTRIBUTE NAME |
| 068a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 3 data | pointer stop pin | DEFINABLE ATTRIBUTE VALUE |
| 068b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069 | SIPHON | SECTION TITLE |  |
| 070 | Siphon type | coil pipe |  |
| 070 | Siphon type | pigtail |  |
| 070 | Siphon type | NA |  |
| 071a | End conn nominal size | 1/4 in | NOMINAL SIZE |
| 071a | End conn nominal size | 1/2 in | NOMINAL SIZE |
| 071a | End conn nominal size | NA | NOMINAL SIZE |
| 071b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 071b | End conn termn style | NA | END CONNECTION TYPE |
| 072 | Overall Length |  |  |
| 072u | Length Units | in | UNITS |
| 073 | Siphon Material | 316 SST | MATERIAL |
| 073 | Siphon Material | A-106 seamless steel | MATERIAL |
| 073 | Siphon Material | A-213 stainless steel | MATERIAL |
| 073 | Siphon Material | brass | MATERIAL |
| 073 | Siphon Material | bronze | MATERIAL |
| 073 | Siphon Material | iron (Cast) | MATERIAL |
| 073 | Siphon Material | NA | MATERIAL |
| 074a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 076a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 076b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 077 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 078a | Max press at design temp |  | PRESSURE |
| 078au | Design pressure units | psig | UNITS |
| 078b | Max design temperature | 100 | DESIGN TEMPERATURE |
| 078bu | Design temp units | °C | UNITS |
| 078bu | Design temp units | °F | UNITS |
| 078bu | Design temp units | C | UNITS |
| 078bu | Design temp units | F | UNITS |
| 079a | Min working temperature |  | WORKING TEMPERATURE |
| 079au | Min working temp units | °C | UNITS |
| 079au | Min working temp units | °F | UNITS |
| 079au | Min working temp units | C | UNITS |
| 079au | Min working temp units | F | UNITS |
| 079b | Max working temperature |  | WORKING TEMPERATURE |
| 079bu | Max working temp units | °C | UNITS |
| 079bu | Max working temp units | °F | UNITS |
| 079bu | Max working temp units | C | UNITS |
| 079bu | Max working temp units | F | UNITS |
| 080a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 080au | Min amb working temp units | °C | UNITS |
| 080au | Min amb working temp units | °F | UNITS |
| 080au | Min amb working temp units | C | UNITS |
| 080au | Min amb working temp units | F | UNITS |
| 080b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 080bu | Max amb temperature units | °C | UNITS |
| 080bu | Max amb temperature units | °F | UNITS |
| 080bu | Max amb temperature units | C | UNITS |
| 080bu | Max amb temperature units | F | UNITS |
| 081a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 081b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 082a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 083b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | ACCESSORIES | SECTION TITLE |  |
| 086 | Pressure limit valve matl | carbon steel | MATERIAL |
| 086 | Pressure limit valve matl | NA | MATERIAL |
| 087 | Restrictor style | precision valve |  |
| 087 | Restrictor style | pressure snubber |  |
| 087 | Restrictor style | pulsation dampener |  |
| 087 | Restrictor style | throttle screw |  |
| 087 | Restrictor style | NA |  |
| 088 | Pressure snubber matl | brass | MATERIAL |
| 088 | Pressure snubber matl | carbon steel | MATERIAL |
| 088 | Pressure snubber matl | NA | MATERIAL |
| 089 | Pulsation damper material | brass | MATERIAL |
| 089 | Pulsation damper material | carbon steel | MATERIAL |
| 089 | Pulsation damper material | stainless steel | MATERIAL |
| 089 | Pulsation damper material | NA | MATERIAL |
| 090a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 093 | Custom tag | fiber tag |  |
| 093 | Custom tag | sst permanent attached |  |
| 093 | Custom tag | sst wired-on |  |
| 093 | Custom tag | NA |  |
| 094 | Reference specification | NA | REFERENCE SPECIFICATION |
| 095 | Special preparation | oxygen service |  |
| 095 | Special preparation | NA |  |
| 096 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 096 | Compliance standard | sanitary std 37-01 | NACE STANDARD |
| 096 | Compliance standard | NA | NACE STANDARD |
| 097 | Service design | acetylene gauge |  |
| 097 | Service design | ammonia gauge |  |
| 097 | Service design | chemical gauge |  |
| 097 | Service design | christmas tree gauge |  |
| 097 | Service design | hydraulic gauge |  |
| 097 | Service design | oxygen gauge |  |
| 097 | Service design | reid vapor test gauge |  |
| 097 | Service design | sanitary gauge |  |
| 097 | Service design | test gauge |  |
| 097 | Service design | NA |  |
| 098a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 101 | PHYSICAL DATA | SECTION TITLE |  |
| 102 | Estimated weight |  |  |
| 102u | Weight units | kg | UNITS |
| 102u | Weight units | lb | UNITS |
| 103 | Maximum thickness |  |  |
| 103u | Thickness units | in | UNITS |
| 103u | Thickness units | mm | UNITS |
| 104 | Max case outside dia |  |  |
| 104u | Diameter units | in | UNITS |
| 104u | Diameter units | mm | UNITS |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag/Functional ident |  |  |
| 112b | Pressure/Scale 1 | CALIBRATION/TEST DESC |  |
| 112d | Scale 1 Lower Range-Value | 0 |  |
| 112d | Scale 1 Lower Range-Value | -2 |  |
| 112d | Scale 1 Lower Range-Value | -5 |  |
| 112d | Scale 1 Lower Range-Value | -10 |  |
| 112d | Scale 1 Lower Range-Value | -20 |  |
| 112d | Scale 1 Lower Range-Value | 30 |  |
| 112d | Scale 1 Lower Range-Value | -30 |  |
| 112d | Scale 1 Lower Range-Value | -40 |  |
| 112d | Scale 1 Lower Range-Value | -50 |  |
| 112d | Scale 1 Lower Range-Value | -70 |  |
| 112du | Scale 1 LRV units | mmHg | UNITS |
| 112du | Scale 1 LRV units | psig | UNITS |
| 112e | Scale 1 Upper Range-Value |  |  |
| 112e | Scale 1 Upper Range-Value | 0 |  |
| 112e | Scale 1 Upper Range-Value | 3 |  |
| 112e | Scale 1 Upper Range-Value | 5 |  |
| 112e | Scale 1 Upper Range-Value | 10 |  |
| 112e | Scale 1 Upper Range-Value | 15 |  |
| 112e | Scale 1 Upper Range-Value | 30 |  |
| 112e | Scale 1 Upper Range-Value | 60 |  |
| 112e | Scale 1 Upper Range-Value | 100 |  |
| 112e | Scale 1 Upper Range-Value | 150 |  |
| 112e | Scale 1 Upper Range-Value | 160 |  |
| 112e | Scale 1 Upper Range-Value | 200 |  |
| 112e | Scale 1 Upper Range-Value | 300 |  |
| 112e | Scale 1 Upper Range-Value | 400 |  |
| 112e | Scale 1 Upper Range-Value | 600 |  |
| 112e | Scale 1 Upper Range-Value | 800 |  |
| 112e | Scale 1 Upper Range-Value | 1000 |  |
| 112e | Scale 1 Upper Range-Value | 1500 |  |
| 112e | Scale 1 Upper Range-Value | 2000 |  |
| 112e | Scale 1 Upper Range-Value | 3000 |  |
| 112e | Scale 1 Upper Range-Value | 5000 |  |
| 112e | Scale 1 Upper Range-Value | 6000 |  |
| 112e | Scale 1 Upper Range-Value | 10000 |  |
| 112e | Scale 1 Upper Range-Value | 100000 |  |
| 112e | Scale 1 Upper Range-Value | 15000 |  |
| 112e | Scale 1 Upper Range-Value | 20000 |  |
| 112e | Scale 1 Upper Range-Value | 30000 |  |
| 112e | Scale 1 Upper Range-Value | 50000 |  |
| 112e | Scale 1 Upper Range-Value | 60000 |  |
| 112e | Scale 1 Upper Range-Value | 80000 |  |
| 112eu | Scale 1 URV units | mmHg | UNITS |
| 112eu | Scale 1 URV units | psig | UNITS |
| 113b | Pressure/Scale 2 | CALIBRATION/TEST DESC |  |
| 113d | Scale 2 Lower Range-Value | 0 |  |
| 113du | Scale 2 LRV units | psig | UNITS |
| 113e | Scale 2 Upper Range-Value |  |  |
| 113eu | Scale 2 URV units | psig | UNITS |
| 114a | Other tag no |  |  |
| 114b | Other cal/test descp | NA |  |
| 114d | Other cal/test LRV |  | LOWER RANGE-VALUE |
| 114du | Other cal/test LRV units |  | UNITS |
| 114e | Other cal/test URV |  | UPPER RANGE-VALUE |
| 114eu | Other cal/test URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | pressure gauge |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |