| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | OPERATING PARAMETERS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017 | Related equipment |  |  |
| 018 | Service |  |  |
| 020 | P&ID/Reference dwg number |  |  |
| 021 | Material name | NA | MATERIAL |
| 022 | Minimum pressure |  |  |
| 022u | Minimum pressure units | psig | UNITS |
| 023 | Normal pressure |  |  |
| 023u | Normal pressure units | psig | UNITS |
| 024 | Maximum pressure |  |  |
| 024u | Maximum pressure units | psig | UNITS |
| 025 | Normal temperature |  |  |
| 025u | Normal temperature units | °C | UNITS |
| 025u | Normal temperature units | °F | UNITS |
| 025u | Normal temperature units | C | UNITS |
| 025u | Normal temperature units | F | UNITS |
| 026 | Maximum temperature |  |  |
| 026u | Maximum temperature units | °C | UNITS |
| 026u | Maximum temperature units | °F | UNITS |
| 026u | Maximum temperature units | C | UNITS |
| 026u | Maximum temperature units | F | UNITS |
| 027 | Material phase | gas | MATERIAL PHASE |
| 027 | Material phase | liquid | MATERIAL PHASE |
| 027 | Material phase | vapor | MATERIAL PHASE |
| 028a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030 | PROCESS CONNECTION AND CASE | SECTION TITLE |  |
| 031 | Case type | liquid filled open front | CASE |
| 031 | Case type | liquid filled solid front | CASE |
| 031 | Case type | open front w/ relief | CASE |
| 031 | Case type | open front w/o relief | CASE |
| 031 | Case type | pressure tight | CASE |
| 031 | Case type | sealed | CASE |
| 031 | Case type | solid front w/ relief | CASE |
| 031 | Case type | weatherproof | CASE |
| 032 | Case style | compound |  |
| 032 | Case style | differential |  |
| 032 | Case style | duplex |  |
| 032 | Case style | single |  |
| 032 | Case style | NA |  |
| 033 | Gauge size | 1 1/2 in | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 100 | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 2 1/2 in | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 12 | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 3 1/2 in | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 16 | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 160 | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 2 | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 6 in | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 4 1/2 in | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 63 mm | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 8 1/2 in | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 50 mm | GAUGE NOMINAL SIZE |
| 033 | Gauge size | 80 mm | GAUGE NOMINAL SIZE |
| 034a | Process conn nominal size | 1/8 in | NOMINAL SIZE |
| 034a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 034a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 034a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 034a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 034b | Process termn style | NPT(F) | END CONNECTION TYPE |
| 034b | Process termn style | tri-Clamp | END CONNECTION TYPE |
| 035 | Process conn location | bottom connection |  |
| 035 | Process conn location | center back connection |  |
| 035 | Process conn location | lower back connection |  |
| 036 | Case pressure relief type | pressure relief back |  |
| 036 | Case pressure relief type | pressure relief opening |  |
| 036 | Case pressure relief type | pressure relief plug |  |
| 036 | Case pressure relief type | NA |  |
| 037 | Ring style | bayonet lock |  |
| 037 | Ring style | cam |  |
| 037 | Ring style | friction |  |
| 037 | Ring style | hinged |  |
| 037 | Ring style | slip |  |
| 037 | Ring style | snap |  |
| 037 | Ring style | threaded |  |
| 037 | Ring style | NA |  |
| 038 | Mounting type | flush mounted bolted |  |
| 038 | Mounting type | flush mounted clamped |  |
| 038 | Mounting type | panel mounted |  |
| 038 | Mounting type | stem (socket) mounted |  |
| 038 | Mounting type | surface (wall) mounted |  |
| 038 | Mounting type | U clamp |  |
| 038 | Mounting type | NA |  |
| 039 | Case material | 304 SST | MATERIAL |
| 039 | Case material | acetyl plastic | MATERIAL |
| 039 | Case material | aluminum alloy | MATERIAL |
| 039 | Case material | carbon steel | MATERIAL |
| 039 | Case material | cast iron | MATERIAL |
| 039 | Case material | phenolic | MATERIAL |
| 039 | Case material | reinforced polypropylene | MATERIAL |
| 039 | Case material | NA | MATERIAL |
| 040 | Ring material | 304 SST | MATERIAL |
| 040 | Ring material | aluminum | MATERIAL |
| 040 | Ring material | carbon steel | MATERIAL |
| 040 | Ring material | cast iron | MATERIAL |
| 040 | Ring material | reinforced polypropylene | MATERIAL |
| 040 | Ring material | NA | MATERIAL |
| 041 | Exterior treatment-color | black enamel crinkle | MATERIAL |
| 041 | Exterior treatment-color | black epoxy coated | MATERIAL |
| 041 | Exterior treatment-color | black finish | MATERIAL |
| 041 | Exterior treatment-color | polished stainless steel | MATERIAL |
| 041 | Exterior treatment-color | NA | MATERIAL |
| 042 | Window material | heat treated glass | MATERIAL |
| 042 | Window material | high-temperature Acrylic | MATERIAL |
| 042 | Window material | laminated glass | MATERIAL |
| 042 | Window material | non-glare glass | MATERIAL |
| 042 | Window material | plain glass | MATERIAL |
| 042 | Window material | plastic | MATERIAL |
| 042 | Window material | plastic,threaded | MATERIAL |
| 042 | Window material | NA | MATERIAL |
| 043 | Stem material | 316 SST | MATERIAL |
| 043 | Stem material | brass | MATERIAL |
| 043 | Stem material | carbon steel,1019 | MATERIAL |
| 043 | Stem material | inconel | MATERIAL |
| 043 | Stem material | monel 400 | MATERIAL |
| 043 | Stem material | NA | MATERIAL |
| 044 | Seal/O ring material | buna N | MATERIAL |
| 044 | Seal/O ring material | neopreme | MATERIAL |
| 044 | Seal/O ring material | NA | MATERIAL |
| 045 | Liquid fill material | glycerine | MATERIAL |
| 045 | Liquid fill material | mineral oil | MATERIAL |
| 045 | Liquid fill material | silicone | MATERIAL |
| 045 | Liquid fill material | NA | MATERIAL |
| 046a | Defined attribute 1 name | compensation type | DEFINABLE ATTRIBUTE NAME |
| 046a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 1 data | externally vented | DEFINABLE ATTRIBUTE VALUE |
| 046b | Defined attribute 1 data | internal diaphragm | DEFINABLE ATTRIBUTE VALUE |
| 046b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 047a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 048 | PRESSURE ELEMENT AND MOVEMENT | SECTION TITLE |  |
| 049 | Elastic element type | bellows |  |
| 049 | Elastic element type | C-Type bourdon tube |  |
| 049 | Elastic element type | diaphragm |  |
| 049 | Elastic element type | diaphragm capsule |  |
| 049 | Elastic element type | helical bourdon tube |  |
| 049 | Elastic element type | spiral bourdon tube |  |
| 050 | Movement style | bushed |  |
| 050 | Movement style | cam and roller |  |
| 050 | Movement style | crank |  |
| 050 | Movement style | rotary gear |  |
| 050 | Movement style | segment shaft&hairspring |  |
| 050 | Movement style | slotted link |  |
| 050 | Movement style | spring suspended |  |
| 050 | Movement style | NA |  |
| 051 | Nominal accuracy grade | 1A (1.0% span) |  |
| 051 | Nominal accuracy grade | 2A (0.5% span) |  |
| 051 | Nominal accuracy grade | 3A (0.25% span) |  |
| 051 | Nominal accuracy grade | 4A (0.1% span) |  |
| 051 | Nominal accuracy grade | A (2.0/1.0/2.0% span) |  |
| 051 | Nominal accuracy grade | B (3.0/2.0/3.0% span) |  |
| 051 | Nominal accuracy grade | C (4.0/3.0/4.0% span) |  |
| 051 | Nominal accuracy grade | D (5.0/5.0/5.0% span) |  |
| 051 | Nominal accuracy grade | NA |  |
| 052 | Joint type | brazing |  |
| 052 | Joint type | silver brazed |  |
| 052 | Joint type | soldering |  |
| 052 | Joint type | welding |  |
| 052 | Joint type | NA |  |
| 053 | Element material | 316 SST | MATERIAL |
| 053 | Element material | alloy steel,4130 | MATERIAL |
| 053 | Element material | inconel 718 | MATERIAL |
| 053 | Element material | k-Monel | MATERIAL |
| 053 | Element material | monel | MATERIAL |
| 053 | Element material | Ni-Span C | MATERIAL |
| 053 | Element material | phosphor bronze | MATERIAL |
| 053 | Element material | NA | MATERIAL |
| 054 | Movement material | brass | MATERIAL |
| 054 | Movement material | bronze | MATERIAL |
| 054 | Movement material | stainless steel | MATERIAL |
| 054 | Movement material | NA | MATERIAL |
| 055a | Defined attribute 1 name | bleeder type | DEFINABLE ATTRIBUTE NAME |
| 055a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 055b | Defined attribute 1 data | capillary bleeder | DEFINABLE ATTRIBUTE VALUE |
| 055b | Defined attribute 1 data | tip bleed | DEFINABLE ATTRIBUTE VALUE |
| 055b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 056a | Defined attribute 2 name | internal stops | DEFINABLE ATTRIBUTE NAME |
| 056a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 056b | Defined attribute 2 data | maximum stop | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 2 data | minimum stop | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 057 | DIAL AND POINTER | SECTION TITLE |  |
| 058 | Dial scale type | dual scale |  |
| 058 | Dial scale type | single scale |  |
| 059 | Pointer adjustment | adjustable pointer |  |
| 059 | Pointer adjustment | non-adjustable |  |
| 059 | Pointer adjustment | rotatable dial |  |
| 059 | Pointer adjustment | rotatable movement |  |
| 059 | Pointer adjustment | NA |  |
| 061 | Graduations and color | black marks on white bkgd |  |
| 061 | Graduations and color | mirror |  |
| 061 | Graduations and color | white marks on black bkgd |  |
| 061 | Graduations and color | NA |  |
| 062 | Scale range type | compound |  |
| 062 | Scale range type | liquid level |  |
| 062 | Scale range type | refrigerant |  |
| 062 | Scale range type | retard |  |
| 062 | Scale range type | suppressed |  |
| 062 | Scale range type | uniform |  |
| 062 | Scale range type | vacuum |  |
| 062 | Scale range type | NA |  |
| 063 | Dial material | aluminum | MATERIAL |
| 063 | Dial material | stainless steel | MATERIAL |
| 063 | Dial material | NA | MATERIAL |
| 064a | Defined attribute 1 name | dial nomenclature | DEFINABLE ATTRIBUTE NAME |
| 064a | Defined attribute 1 name | stop pin | DEFINABLE ATTRIBUTE NAME |
| 064a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 1 data | pointer stop pin | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 065a | Defined attribute 2 name | setpoint/Max/Min pointers | DEFINABLE ATTRIBUTE NAME |
| 065a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 2 data | adjustable set hand | DEFINABLE ATTRIBUTE VALUE |
| 065b | Defined attribute 2 data | maximum pointer | DEFINABLE ATTRIBUTE VALUE |
| 065b | Defined attribute 2 data | minimum pointer | DEFINABLE ATTRIBUTE VALUE |
| 065b | Defined attribute 2 data | stationary set hand | DEFINABLE ATTRIBUTE VALUE |
| 065b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066 | DIAPHRAGM SEAL | SECTION TITLE |  |
| 067 | Seal type | all welded,non-removable |  |
| 067 | Seal type | capsule,removable |  |
| 067 | Seal type | clamped,non-removable |  |
| 067 | Seal type | gauge isolator |  |
| 067 | Seal type | inline,jacketed |  |
| 067 | Seal type | in-line,non-removable |  |
| 067 | Seal type | in-line,removable |  |
| 067 | Seal type | isolation ring |  |
| 067 | Seal type | isolation spool |  |
| 067 | Seal type | miniature,all welded |  |
| 067 | Seal type | welded/Bonded,removable |  |
| 067 | Seal type | NA |  |
| 068a | Process conn nominal size | 1/8 in | NOMINAL SIZE |
| 068a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 068a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 068a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 068a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 068a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 068a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 068a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 068a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 068b | Process conn nom rating | 2500 psi | NOMINAL PRESSURE/RATING |
| 068b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 068b | Process conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 068b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 068b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 068b | Process conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 069a | Process termn type | clamped | END CONNECTION CATEGORY |
| 069a | Process termn type | flanged | END CONNECTION CATEGORY |
| 069a | Process termn type | threaded | END CONNECTION CATEGORY |
| 069a | Process termn type | welded | END CONNECTION CATEGORY |
| 069b | Process conn termn style | bw | END CONNECTION TYPE |
| 069b | Process conn termn style | ff | END CONNECTION TYPE |
| 069b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 069b | Process conn termn style | rf | END CONNECTION TYPE |
| 069b | Process conn termn style | rtj | END CONNECTION TYPE |
| 069b | Process conn termn style | saddle | END CONNECTION TYPE |
| 069b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 069b | Process conn termn style | tri-Clamp | END CONNECTION TYPE |
| 070 | Diaphragm extension lg | 0 |  |
| 070 | Diaphragm extension lg | 2 |  |
| 070 | Diaphragm extension lg | 3 |  |
| 070 | Diaphragm extension lg | 4 |  |
| 070u | Length units | in | UNITS |
| 071 | Flushing conn quantity |  |  |
| 071 | Flushing conn quantity |  |  |
| 071 | Flushing conn quantity | 0 |  |
| 071 | Flushing conn quantity | 1 |  |
| 071 | Flushing conn quantity | 2 |  |
| 072 | Capillary diameter |  |  |
| 072au | Capillary diameter units | in | UNITS |
| 072b | Capillary length |  |  |
| 072b | Capillary length | 0 |  |
| 072b | Capillary length | 5 |  |
| 072bu | Capillary length units | ft | UNITS |
| 073 | Instrument conn nom size | NPT 1/2 |  |
| 073 | Instrument conn nom size | NPT 1/4 |  |
| 074 | Diaphragm/Wall material | 304 SST | MATERIAL |
| 074 | Diaphragm/Wall material | 316L SST | MATERIAL |
| 074 | Diaphragm/Wall material | buna N | MATERIAL |
| 074 | Diaphragm/Wall material | carpenter 20 | MATERIAL |
| 074 | Diaphragm/Wall material | EPT | MATERIAL |
| 074 | Diaphragm/Wall material | hastelloy B | MATERIAL |
| 074 | Diaphragm/Wall material | hastelloy C | MATERIAL |
| 074 | Diaphragm/Wall material | inconel 600 | MATERIAL |
| 074 | Diaphragm/Wall material | kalrez | MATERIAL |
| 074 | Diaphragm/Wall material | k-Monel | MATERIAL |
| 074 | Diaphragm/Wall material | natural rubber | MATERIAL |
| 074 | Diaphragm/Wall material | nickel,200 | MATERIAL |
| 074 | Diaphragm/Wall material | silicone | MATERIAL |
| 074 | Diaphragm/Wall material | tantalum | MATERIAL |
| 074 | Diaphragm/Wall material | teflon | MATERIAL |
| 074 | Diaphragm/Wall material | titanium | MATERIAL |
| 074 | Diaphragm/Wall material | viton | MATERIAL |
| 074 | Diaphragm/Wall material | white neoprene | MATERIAL |
| 074 | Diaphragm/Wall material | NA | MATERIAL |
| 075 | Capillary-armor matl | 302 SST,armor | MATERIAL |
| 075 | Capillary-armor matl | 302 SST,plain | MATERIAL |
| 075 | Capillary-armor matl | sst,armored,PVC coated | MATERIAL |
| 075 | Capillary-armor matl | NA | MATERIAL |
| 076 | Bolting material | alloy steel | BOLTING |
| 076 | Bolting material | stainless steel | BOLTING |
| 076 | Bolting material | NA | BOLTING |
| 077 | Upper housing material | 316 SST | MATERIAL |
| 077 | Upper housing material | carbon steel | MATERIAL |
| 077 | Upper housing material | NA | MATERIAL |
| 078 | Lower housing material | 304 SST | MATERIAL |
| 078 | Lower housing material | 304L SST | MATERIAL |
| 078 | Lower housing material | 316 SST | MATERIAL |
| 078 | Lower housing material | 316L SST | MATERIAL |
| 078 | Lower housing material | carbon steel | MATERIAL |
| 078 | Lower housing material | carpenter 20 | MATERIAL |
| 078 | Lower housing material | halar coated steel | MATERIAL |
| 078 | Lower housing material | hastelloy B | MATERIAL |
| 078 | Lower housing material | hastelloy C | MATERIAL |
| 078 | Lower housing material | inconel 600 | MATERIAL |
| 078 | Lower housing material | kynar | MATERIAL |
| 078 | Lower housing material | monel 400 | MATERIAL |
| 078 | Lower housing material | monel 600 | MATERIAL |
| 078 | Lower housing material | nickel | MATERIAL |
| 078 | Lower housing material | polypropylene | MATERIAL |
| 078 | Lower housing material | PVC | MATERIAL |
| 078 | Lower housing material | tantalum clad SST | MATERIAL |
| 078 | Lower housing material | teflon | MATERIAL |
| 078 | Lower housing material | teflon flanged steel | MATERIAL |
| 078 | Lower housing material | titanium | MATERIAL |
| 078 | Lower housing material | NA | MATERIAL |
| 079 | Gasket/O ring material | teflon | MATERIAL |
| 079 | Gasket/O ring material | teflon coated 316 SST | MATERIAL |
| 079 | Gasket/O ring material | viton | MATERIAL |
| 079 | Gasket/O ring material | white asbestos | MATERIAL |
| 079 | Gasket/O ring material | NA | MATERIAL |
| 080 | Fill fluid material | fluorolube | MATERIAL |
| 080 | Fill fluid material | glycerin | MATERIAL |
| 080 | Fill fluid material | halocarbon fill | MATERIAL |
| 080 | Fill fluid material | instrument oil | MATERIAL |
| 080 | Fill fluid material | silicone | MATERIAL |
| 080 | Fill fluid material | NA | MATERIAL |
| 081a | Defined attribute 1 name | exterior treatment matl | DEFINABLE ATTRIBUTE NAME |
| 081a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 081b | Defined attribute 1 data | teflon coating | DEFINABLE ATTRIBUTE VALUE |
| 081b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 082a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 084a | Max press at design temp |  | PRESSURE |
| 084au | Design pressure units | psig | UNITS |
| 084b | Max design temperature |  | DESIGN TEMPERATURE |
| 084bu | Max design temp units | °C | UNITS |
| 084bu | Max design temp units | °F | UNITS |
| 084bu | Max design temp units | C | UNITS |
| 084bu | Max design temp units | F | UNITS |
| 085a | Min working temperature |  | WORKING TEMPERATURE |
| 085au | Min working temp units | °C | UNITS |
| 085au | Min working temp units | °F | UNITS |
| 085au | Min working temp units | C | UNITS |
| 085au | Min working temp units | F | UNITS |
| 085b | Max working temperature |  | WORKING TEMPERATURE |
| 085bu | Max working temp units | °C | UNITS |
| 085bu | Max working temp units | °F | UNITS |
| 085bu | Max working temp units | C | UNITS |
| 085bu | Max working temp units | F | UNITS |
| 086a | Ambient temperature error |  | ACCURACY RATING |
| 086a | Ambient temp error | 1.0 |  |
| 086a | Ambient temp error | NA |  |
| 086b | Ambient temp ref base | %/100 F | ACCURACY REFERENCE |
| 087a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 087au | Min amb working temp units | °C | UNITS |
| 087au | Min amb working temp units | °F | UNITS |
| 087au | Min amb working temp units | C | UNITS |
| 087au | Min amb working temp units | F | UNITS |
| 087b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 087bu | Max amb temperature units | °C | UNITS |
| 087bu | Max amb temperature units | °F | UNITS |
| 087bu | Max amb temperature units | C | UNITS |
| 087bu | Max amb temperature units | F | UNITS |
| 088a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090 | ACCESSORIES | SECTION TITLE |  |
| 091 | Locking device material | stainless steel | MATERIAL |
| 091 | Locking device material | NA | MATERIAL |
| 092a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 093b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 094a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 094b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 095 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 096 | Custom tag | fiber tag |  |
| 096 | Custom tag | sst permanent attached |  |
| 096 | Custom tag | sst wired-on |  |
| 096 | Custom tag | NA |  |
| 097 | Reference specification | NA | REFERENCE SPECIFICATION |
| 098 | Special preparation | oxygen service |  |
| 098 | Special preparation | NA |  |
| 099 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 099 | Compliance standard | sanitary std 37-01 | NACE STANDARD |
| 099 | Compliance standard | NA | NACE STANDARD |
| 100 | Service design | acetylene gauge |  |
| 100 | Service design | ammonia gauge |  |
| 100 | Service design | chemical gauge |  |
| 100 | Service design | christmas tree gauge |  |
| 100 | Service design | hydraulic gauge |  |
| 100 | Service design | oxygen gauge |  |
| 100 | Service design | reid vapor test gauge |  |
| 100 | Service design | sanitary gauge |  |
| 100 | Service design | test gauge |  |
| 100 | Service design | NA |  |
| 101a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 101b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 102 | PHYSICAL DATA | SECTION TITLE |  |
| 103 | Estimated weight |  |  |
| 103u | Weight units | kg | UNITS |
| 103u | Weight units | lb | UNITS |
| 104 | Maximum thickness |  |  |
| 104u | Thickness units | in | UNITS |
| 104u | Thickness units | mm | UNITS |
| 105 | Max case outside dia |  |  |
| 105u | Diameter units | in | UNITS |
| 105u | Diameter units | mm | UNITS |
| 106 | Mfr reference dwg | NA |  |
| 107a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag/Functional ident |  |  |
| 112b | Pressure/Scale 1 | CALIBRATION/TEST DESC |  |
| 112d | Scale 1 Lower Range-Value | 0 |  |
| 112d | Scale 1 Lower Range-Value | -2 |  |
| 112d | Scale 1 Lower Range-Value | -5 |  |
| 112d | Scale 1 Lower Range-Value | -10 |  |
| 112d | Scale 1 Lower Range-Value | -20 |  |
| 112d | Scale 1 Lower Range-Value | 30 |  |
| 112d | Scale 1 Lower Range-Value | -30 |  |
| 112d | Scale 1 Lower Range-Value | -40 |  |
| 112d | Scale 1 Lower Range-Value | -50 |  |
| 112d | Scale 1 Lower Range-Value | -70 |  |
| 112du | Scale 1 LRV units | psig | UNITS |
| 112e | Scale 1 Upper Range-Value | 0 |  |
| 112e | Scale 1 Upper Range-Value | 3 |  |
| 112e | Scale 1 Upper Range-Value | 5 |  |
| 112e | Scale 1 Upper Range-Value | 10 |  |
| 112e | Scale 1 Upper Range-Value | 15 |  |
| 112e | Scale 1 Upper Range-Value | 30 |  |
| 112e | Scale 1 Upper Range-Value | 60 |  |
| 112e | Scale 1 Upper Range-Value | 100 |  |
| 112e | Scale 1 Upper Range-Value | 150 |  |
| 112e | Scale 1 Upper Range-Value | 160 |  |
| 112e | Scale 1 Upper Range-Value | 200 |  |
| 112e | Scale 1 Upper Range-Value | 300 |  |
| 112e | Scale 1 Upper Range-Value | 400 |  |
| 112e | Scale 1 Upper Range-Value | 600 |  |
| 112e | Scale 1 Upper Range-Value | 800 |  |
| 112e | Scale 1 Upper Range-Value | 1000 |  |
| 112e | Scale 1 Upper Range-Value | 1500 |  |
| 112e | Scale 1 Upper Range-Value | 2000 |  |
| 112e | Scale 1 Upper Range-Value | 3000 |  |
| 112e | Scale 1 Upper Range-Value | 5000 |  |
| 112e | Scale 1 Upper Range-Value | 6000 |  |
| 112e | Scale 1 Upper Range-Value | 10000 |  |
| 112e | Scale 1 Upper Range-Value | 100000 |  |
| 112e | Scale 1 Upper Range-Value | 15000 |  |
| 112e | Scale 1 Upper Range-Value | 20000 |  |
| 112e | Scale 1 Upper Range-Value | 30000 |  |
| 112e | Scale 1 Upper Range-Value | 50000 |  |
| 112e | Scale 1 Upper Range-Value | 60000 |  |
| 112e | Scale 1 Upper Range-Value | 80000 |  |
| 112eu | Scale 1 URV units | psig | UNITS |
| 113b | Pressure/Scale 2 | CALIBRATION/TEST DESC |  |
| 113d | Scale 2 Lower Range-Value | 0 |  |
| 113du | Scale 2 LRV units | psig | UNITS |
| 113e | Scale 2 Upper Range-Value |  |  |
| 113eu | Scale 2 URV units | psig | UNITS |
| 114a | Other tag no |  |  |
| 114b | Other cal/test descp | NA |  |
| 114d | Other cal/test LRV |  | LOWER RANGE-VALUE |
| 114du | Other cal/test LRV units |  | UNITS |
| 114e | Other cal/test URV |  | UPPER RANGE-VALUE |
| 114eu | Other cal/test URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type |  |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |