| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | TRANSMITTER BODY | SECTION TITLE |  |
| 012 | Body/Flange type | direct flange mounted |  |
| 012 | Body/Flange type | extended body mounted |  |
| 012 | Body/Flange type | modified DIN ref head |  |
| 012 | Body/Flange type | remote seal |  |
| 012 | Body/Flange type | std dual head |  |
| 013a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013b | Process conn nom rating | 3000 psi | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | flg adptr | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | DIN | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 015 | Vent/Drain location | center |  |
| 015 | Vent/Drain location | end |  |
| 015 | Vent/Drain location | side |  |
| 015 | Vent/Drain location | NA |  |
| 016 | Mounting type | 2 in pipe,angle bracket |  |
| 016 | Mounting type | 2 in pipe,flat bracket |  |
| 016 | Mounting type | body flange |  |
| 016 | Mounting type | manifold valve |  |
| 016 | Mounting type | NA |  |
| 017 | Body/Flange material | 316 SST | MATERIAL |
| 017 | Body/Flange material | carbon steel,zinc plated | MATERIAL |
| 017 | Body/Flange material | hastelloy C276 | MATERIAL |
| 017 | Body/Flange material | monel | MATERIAL |
| 017 | Body/Flange material | NA | MATERIAL |
| 018 | Vent/Drain material | 316 SST | MATERIAL |
| 018 | Vent/Drain material | hastelloy C | MATERIAL |
| 018 | Vent/Drain material | monel | MATERIAL |
| 018 | Vent/Drain material | NA | MATERIAL |
| 019 | Bolting material | carbon steel,zinc plated | BOLTING |
| 019 | Bolting material | stainless steel | BOLTING |
| 019 | Bolting material | NA | BOLTING |
| 020 | Flange adapter material | hastelloy C | MATERIAL |
| 020 | Flange adapter material | monel | MATERIAL |
| 020 | Flange adapter material | stainless steel | MATERIAL |
| 020 | Flange adapter material | NA | MATERIAL |
| 021 | Gasket/O ring material | glass-filled TFE | MATERIAL |
| 021 | Gasket/O ring material | teflon | MATERIAL |
| 021 | Gasket/O ring material | viton | MATERIAL |
| 021 | Gasket/O ring material | NA | MATERIAL |
| 022 | Mounting kit material | carbon steel,zinc plated | MATERIAL |
| 022 | Mounting kit material | stainless steel | MATERIAL |
| 022 | Mounting kit material | NA | MATERIAL |
| 023a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 023b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 024 | SENSING ELEMENT | SECTION TITLE |  |
| 025 | Detector type | capacitance sensor |  |
| 025 | Detector type | piezoresistive sensor |  |
| 026a | Min pressure span | .4 | SPAN |
| 026a | Min pressure span | .83 | SPAN |
| 026a | Min pressure span | 1 | SPAN |
| 026a | Min pressure span | 5 | SPAN |
| 026a | Min pressure span | 25 | SPAN |
| 026a | Min pressure span | 33.3 | SPAN |
| 026a | Min pressure span | 100 | SPAN |
| 026au | Min pressure span units | mm | UNITS |
| 026au | Min pressure span units | psia | UNITS |
| 026au | Min pressure span units | psig | UNITS |
| 026b | Max pressure span | 10 | SPAN |
| 026b | Max pressure span | 100 | SPAN |
| 026b | Max pressure span | 250 | SPAN |
| 026b | Max pressure span | 400 | SPAN |
| 026b | Max pressure span | 600 | SPAN |
| 026b | Max pressure span | 750 | SPAN |
| 026b | Max pressure span | 1000 | SPAN |
| 026b | Max pressure span | 3000 | SPAN |
| 026bu | Max pressure span units | psia | UNITS |
| 026bu | Max pressure span units | mm | UNITS |
| 026bu | Max pressure span units | psig | UNITS |
| 027 | Diaphragm/Wetted material | 316L SST | MATERIAL |
| 027 | Diaphragm/Wetted material | hastelloy C276 | MATERIAL |
| 027 | Diaphragm/Wetted material | monel | MATERIAL |
| 027 | Diaphragm/Wetted material | tantalum | MATERIAL |
| 027 | Diaphragm/Wetted material | NA | MATERIAL |
| 028 | Fill fluid material | chlorotrifluoroethylene | MATERIAL |
| 028 | Fill fluid material | inert oil | MATERIAL |
| 028 | Fill fluid material | silicone | MATERIAL |
| 028 | Fill fluid material | NA | MATERIAL |
| 029a | Defined attribute 1 name | temperature input signal | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 1 data | platinum 100 Ohm RTD | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 1 data | thermocouple type E | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 1 data | thermocouple type J | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 1 data | thermocouple type K | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 1 data | thermocouple type T | DEFINABLE ATTRIBUTE VALUE |
| 030 | TRANSMITTER | SECTION TITLE |  |
| 031 | Output signal type | analog current | SIGNAL |
| 031 | Output signal type | analog pneumatic | SIGNAL |
| 031 | Output signal type | digital multi-variable | SIGNAL |
| 031 | Output signal type | digital single-variable | SIGNAL |
| 032 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | 4X & 7 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 033 | Characteristic curve | linear | CHARACTERISTIC CURVE |
| 033 | Characteristic curve | square root | CHARACTERISTIC CURVE |
| 033 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 034 | Digital communication std | DE protocol |  |
| 034 | Digital communication std | foundation fieldbus |  |
| 034 | Digital communication std | HART protocol |  |
| 034 | Digital communication std | modbus |  |
| 034 | Digital communication std | profibus |  |
| 034 | Digital communication std | RS232C binary/ASCII |  |
| 034 | Digital communication std | RS485 binary/ASCII |  |
| 034 | Digital communication std | NA |  |
| 035 | Signal power source | loop |  |
| 035 | Signal power source | NA |  |
| 036 | Transient protection | external device |  |
| 036 | Transient protection | integral termn block |  |
| 036 | Transient protection | NA |  |
| 037 | Integral indicator style | analog meter,sqrt div |  |
| 037 | Integral indicator style | analog meter,uniform div |  |
| 037 | Integral indicator style | LCD meter,4 digit |  |
| 037 | Integral indicator style | smart meter |  |
| 037 | Integral indicator style | NA |  |
| 038 | Signal termination type | integral junction box | END CONNECTION TYPE |
| 038 | Signal termination type | NA | END CONNECTION TYPE |
| 039 | Cert/Approval type | dust ignition proof | CERTIFICATION |
| 039 | Cert/Approval type | explosion proof enclosure | CERTIFICATION |
| 039 | Cert/Approval type | flameproof "d" | CERTIFICATION |
| 039 | Cert/Approval type | self declared | CERTIFICATION |
| 039 | Cert/Approval type | type N | CERTIFICATION |
| 039 | Cert/Approval type | NA | CERTIFICATION |
| 040 | Span-zero adjust lct | local |  |
| 040 | Span-zero adjust lct | NA |  |
| 041 | Failure/Diagnostic action | drive output high |  |
| 041 | Failure/Diagnostic action | drive output low |  |
| 041 | Failure/Diagnostic action | NA |  |
| 042 | Enclosure material | low copper-aluminum | MATERIAL |
| 042 | Enclosure material | stainless steel | MATERIAL |
| 042 | Enclosure material | NA | MATERIAL |
| 043a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 043b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 044 | DIAPHRAGM SEAL | SECTION TITLE |  |
| 045 | Seal type | all welded,non-removable |  |
| 045 | Seal type | capsule,removable |  |
| 045 | Seal type | clamped,non-removable |  |
| 045 | Seal type | inline,jacketed |  |
| 045 | Seal type | in-line,non-removable |  |
| 045 | Seal type | in-line,removable |  |
| 045 | Seal type | integral body/flange |  |
| 045 | Seal type | isolation ring |  |
| 045 | Seal type | miniature,all welded |  |
| 045 | Seal type | welded/Bonded,removable |  |
| 045 | Seal type | NA |  |
| 046a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 046a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 046a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 046a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 046a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 046a | Process conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 046a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 046a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 046a | Process conn nominal size | DN 80 | NOMINAL SIZE |
| 046a | Process conn nominal size | DN 100 | NOMINAL SIZE |
| 046b | Process conn nom rating | 1250 psi | NOMINAL PRESSURE/RATING |
| 046b | Process conn nom rating |  | NOMINAL PRESSURE/RATING |
| 046b | Process conn nom rating | 1500 psi | NOMINAL PRESSURE/RATING |
| 046b | Process conn nom rating | 2500 psi | NOMINAL PRESSURE/RATING |
| 046b | Process conn nom rating | 700 psi | NOMINAL PRESSURE/RATING |
| 046b | Process conn nom rating | 750 psi | NOMINAL PRESSURE/RATING |
| 046b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 046b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 046b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 046b | Process conn nom rating | PN 40 | NOMINAL PRESSURE/RATING |
| 047a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 047a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 047a | Process conn termn type | pancake | END CONNECTION CATEGORY |
| 047a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 047b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 047b | Process conn termn style | rf | END CONNECTION TYPE |
| 047b | Process conn termn style | tri-Clamp | END CONNECTION TYPE |
| 048 | Diaphragm extension lg | 0 |  |
| 048 | Diaphragm extension lg | 2 |  |
| 048 | Diaphragm extension lg | 4 |  |
| 048 | Diaphragm extension lg | 6 |  |
| 048u | Length units | in | UNITS |
| 049 | Flushing conn quantity | 0 |  |
| 049 | Flushing conn quantity | 1 |  |
| 049 | Flushing conn quantity | 2 |  |
| 050 | Instrument conn nom size | 1/4 in |  |
| 050 | Instrument conn nom size | 1/2 in |  |
| 051a | Capillary/Fitting dia | .028 |  |
| 051a | Capillary/Fitting dia | .043 |  |
| 051au | Capillary diameter units | in | UNITS |
| 051b | Capillary/Fitting length | 2 |  |
| 051b | Capillary/Fitting length | 5 |  |
| 051b | Capillary/Fitting length | 6 |  |
| 051b | Capillary/Fitting length | 10 |  |
| 051b | Capillary/Fitting length | 15 |  |
| 051b | Capillary/Fitting length | 20 |  |
| 051b | Capillary/Fitting length | 25 |  |
| 051b | Capillary/Fitting length | 35 |  |
| 051b | Capillary length units | ft | UNITS |
| 052 | Diaphragm material | 316L SST | BOLTING |
| 052 | Diaphragm material | hastelloy C276 | BOLTING |
| 052 | Diaphragm material | monel | BOLTING |
| 052 | Diaphragm material | tantalum | BOLTING |
| 052 | Diaphragm material | NA | BOLTING |
| 053 | Capillary-armor matl | sst armor,PVC coat | MATERIAL |
| 053 | Capillary-armor matl | stainless steel armor | MATERIAL |
| 053 | Capillary-armor matl | NA | MATERIAL |
| 054 | Bolting material | carbon steel | BOLTING |
| 054 | Bolting material | stainless steel | BOLTING |
| 054 | Bolting material | NA | BOLTING |
| 055 | Upper housing material | 304 SST | MATERIAL |
| 055 | Upper housing material | 316 SST | MATERIAL |
| 055 | Upper housing material | carbon steel,zinc plated | MATERIAL |
| 055 | Upper housing material | cs w/ polyester coating | MATERIAL |
| 055 | Upper housing material | hastelloy C | MATERIAL |
| 055 | Upper housing material | monel | MATERIAL |
| 055 | Upper housing material | NA | MATERIAL |
| 056 | Lower housing/Flange matl | 316 SST | MATERIAL |
| 056 | Lower housing/Flange matl | carbon steel | MATERIAL |
| 056 | Lower housing/Flange matl | hastelloy C | MATERIAL |
| 056 | Lower housing/Flange matl | monel | MATERIAL |
| 056 | Lower housing/Flange matl | NA | MATERIAL |
| 057 | Gasket/O ring material | grafoil | MATERIAL |
| 057 | Gasket/O ring material | klinger C-4401 | MATERIAL |
| 057 | Gasket/O ring material | teflon | MATERIAL |
| 057 | Gasket/O ring material | NA | MATERIAL |
| 058 | Fill fluid material | fluorocarbon | MATERIAL |
| 058 | Fill fluid material | glycerin & water | MATERIAL |
| 058 | Fill fluid material | neobee M20 | MATERIAL |
| 058 | Fill fluid material | propylene glycol | MATERIAL |
| 058 | Fill fluid material | silicone (DC200) | MATERIAL |
| 058 | Fill fluid material | silicone (DC704) | MATERIAL |
| 058 | Fill fluid material | syltherm 800 | MATERIAL |
| 058 | Fill fluid material | NA | MATERIAL |
| 059a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp | 50 | PRESSURE |
| 061a | Max press at design temp | 210 | PRESSURE |
| 061a | Max press at design temp | 300 | PRESSURE |
| 061a | Max press at design temp | 364 | PRESSURE |
| 061a | Max press at design temp | 750 | PRESSURE |
| 061a | Max press at design temp | 2000 | PRESSURE |
| 061a | Max press at design temp | 3000 | PRESSURE |
| 061a | Max press at design temp | 3626 | PRESSURE |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature | 100 | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Min working temperature | -40 | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature | 185 | WORKING TEMPERATURE |
| 062b | Max working temperature | 257 | WORKING TEMPERATURE |
| 062b | Max working temperature | 350 | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063a | Accuracy rating | .05 | ACCURACY RATING |
| 063a | Accuracy rating | .075 | ACCURACY RATING |
| 063a | Accuracy rating | .10 | ACCURACY RATING |
| 063b | Accuracy rating ref base | % | ACCURACY REFERENCE |
| 064a | Press Lower Range-Limit | 0 | LOWER RANGE-LIMIT |
| 064a | Press Lower Range-Limit | -25 | LOWER RANGE-LIMIT |
| 064a | Press Lower Range-Limit | -250 | LOWER RANGE-LIMIT |
| 064a | Press Lower Range-Limit | -1000 | LOWER RANGE-LIMIT |
| 064au | Pressure LRL units | psia | UNITS |
| 064b | Press Upper Range-Limit | 25 |  |
| 064b | Press Upper Range-Limit | 250 |  |
| 064b | Press Upper Range-Limit | 1000 |  |
| 064bu | Pressure URL units | psia | UNITS |
| 065a | Ambient temperature error | .1 | ACCURACY RATING |
| 065b | Ambient temp ref base | %/25 | ACCURACY REFERENCE |
| 065bu | Temp ref base units | °C | UNITS |
| 065bu | Temp ref base units | °F | UNITS |
| 065bu | Temp ref base units | F | UNITS |
| 066a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 066au | Min amb working temp units | °C | UNITS |
| 066au | Min amb working temp units | °F | UNITS |
| 066au | Min amb working temp units | C | UNITS |
| 066au | Min amb working temp units | F | UNITS |
| 066b | Max ambient working temp | 185 | MAX AMBIENT TEMPERATURE |
| 066b | Max ambient working temp | 200 | MAX AMBIENT TEMPERATURE |
| 066bu | Max amb temperature units | °C | UNITS |
| 066bu | Max amb temperature units | °F | UNITS |
| 066bu | Max amb temperature units | C | UNITS |
| 066bu | Max amb temperature units | F | UNITS |
| 067a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084 | ACCESSORIES | SECTION TITLE |  |
| 085 | Air set filter style | NA | AIR SET |
| 086 | Air set gauges | NA | AIR GAGE |
| 087 | Heating kit style | NA |  |
| 088 | Remote indicator style | NA |  |
| 089a | Defined attribute 1 name | clamp and connector | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 1 data | 2 in lg Triclamp & spud | DEFINABLE ATTRIBUTE VALUE |
| 089b | Defined attribute 1 data | 6 in lg Triclamp & spud | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 092 | Custom tag | fiber tag |  |
| 092 | Custom tag | sst permanent attached |  |
| 092 | Custom tag | sst wired-on |  |
| 092 | Custom tag | NA |  |
| 093 | Reference specification | NA | REFERENCE SPECIFICATION |
| 094 | Special preparation | chlorine service |  |
| 094 | Special preparation | oxygen service |  |
| 094 | Special preparation | NA |  |
| 095 | Compliance standard | 3-A Sanitary | NACE STANDARD |
| 095 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 095 | Compliance standard | NA | NACE STANDARD |
| 096 | Software configuration | custom calibration |  |
| 096 | Software configuration | multivariable config |  |
| 096 | Software configuration | transmitter configuration |  |
| 096 | Software configuration | write protection |  |
| 096 | Software configuration | NA |  |
| 097a | Defined attribute 1 name | low ambient temp opr | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | additional warranty | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | 1 year | DEFINABLE ATTRIBUTE VALUE |
| 098b | Defined attribute 2 data | 2 year | DEFINABLE ATTRIBUTE VALUE |
| 098b | Defined attribute 2 data | 3 year | DEFINABLE ATTRIBUTE VALUE |
| 098b | Defined attribute 2 data | 4 year | DEFINABLE ATTRIBUTE VALUE |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | over-pressure leak test | DEFINABLE ATTRIBUTE NAME |
| 099a | Defined attribute 3 name | test report | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | certificate of origin | DEFINABLE ATTRIBUTE VALUE |
| 099b | Defined attribute 1 data | certificate of prfm | DEFINABLE ATTRIBUTE VALUE |
| 099b | Defined attribute 3 data | report w/ cert of prfm | DEFINABLE ATTRIBUTE VALUE |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog pressure tag no |  |  |
| 112b | Pressure-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog pressure LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Analog press LRV units | bar | UNITS |
| 112cu | Analog press LRV units | bar(g) | UNITS |
| 112cu | Analog press LRV units | inH2O | UNITS |
| 112cu | Analog press LRV units | kPa | UNITS |
| 112cu | Analog press LRV units | kPa(g) | UNITS |
| 112cu | Analog press LRV units | mmHg | UNITS |
| 112cu | Analog press LRV units | Pa | UNITS |
| 112cu | Analog press LRV units | Pa(g) | UNITS |
| 112cu | Analog press LRV units | psia | UNITS |
| 112cu | Analog press LRV units | psig | UNITS |
| 112d | Analog pressure URV |  | UPPER RANGE-VALUE |
| 112du | Analog press URV units | bar | UNITS |
| 112du | Analog press URV units | bar(g) | UNITS |
| 112du | Analog press URV units | inH2O | UNITS |
| 112du | Analog press URV units | kPa | UNITS |
| 112du | Analog press URV units | kPa(g) | UNITS |
| 112du | Analog press URV units | mmHg | UNITS |
| 112du | Analog press URV units | Pa | UNITS |
| 112du | Analog press URV units | Pa(g) | UNITS |
| 112du | Analog press URV units | psia | UNITS |
| 112du | Analog press URV units | psig | UNITS |
| 112e | Analog press signal action | direct |  |
| 112f | Analog press output LRV | 0 | LOWER LIMIT |
| 112f | Analog press output LRV | 4 | LOWER LIMIT |
| 112f | Analog press output LRV | 10 | LOWER LIMIT |
| 112fu | Anlg press output LRV units | mA | UNITS |
| 112g | Analog press output URV | 20 | UPPER LIMIT |
| 112g | Analog press output URV | 50 | UPPER LIMIT |
| 112gu | Anlg press output URV units | mA | UNITS |
| 113a | Scale tag no |  |  |
| 113b | Pressure-Scale | CALIBRATION/TEST DESC |  |
| 113c | Scale pressure LRV | 0 | LOWER RANGE-VALUE |
| 113cu | Scale press LRV units | bar | UNITS |
| 113cu | Scale press LRV units | bar(g) | UNITS |
| 113cu | Scale press LRV units | inH2O | UNITS |
| 113cu | Scale press LRV units | kPa | UNITS |
| 113cu | Scale press LRV units | kPa(g) | UNITS |
| 113cu | Scale press LRV units | mmHg | UNITS |
| 113cu | Scale press LRV units | Pa | UNITS |
| 113cu | Scale press LRV units | Pa(g) | UNITS |
| 113cu | Scale press LRV units | psia | UNITS |
| 113cu | Scale press LRV units | psig | UNITS |
| 113d | Scale pressure URV |  | UPPER RANGE-VALUE |
| 113du | Scale press URV units | bar | UNITS |
| 113du | Scale press URV units | bar(g) | UNITS |
| 113du | Scale press URV units | inH2O | UNITS |
| 113du | Scale press URV units | kPa | UNITS |
| 113du | Scale press URV units | kPa(g) | UNITS |
| 113du | Scale press URV units | mmHg | UNITS |
| 113du | Scale press URV units | Pa | UNITS |
| 113du | Scale press URV units | Pa(g) | UNITS |
| 113du | Scale press URV units | psia | UNITS |
| 113du | Scale press URV units | psig | UNITS |
| 113e | Scale press signal action | direct |  |
| 113f | Scale Lower Range-Value | 0 |  |
| 113fu | Scale LRV units | % | UNITS |
| 113fu | Scale LRV units | bar | UNITS |
| 113fu | Scale LRV units | bar(g) | UNITS |
| 113fu | Scale LRV units | inH2O | UNITS |
| 113fu | Scale LRV units | kPa | UNITS |
| 113fu | Scale LRV units | kPa(g) | UNITS |
| 113fu | Scale LRV units | mmHg | UNITS |
| 113fu | Scale LRV units | Pa | UNITS |
| 113fu | Scale LRV units | Pa(g) | UNITS |
| 113fu | Scale LRV units | psia | UNITS |
| 113fu | Scale LRV units | psig | UNITS |
| 113g | Scale Upper Range-Value |  |  |
| 113gu | Scale URV units | % | UNITS |
| 113gu | Scale URV units | bar | UNITS |
| 113gu | Scale URV units | bar(g) | UNITS |
| 113gu | Scale URV units | inH2O | UNITS |
| 113gu | Scale URV units | kPa | UNITS |
| 113gu | Scale URV units | kPa(g) | UNITS |
| 113gu | Scale URV units | mmHg | UNITS |
| 113gu | Scale URV units | Pa | UNITS |
| 113gu | Scale URV units | Pa(g) | UNITS |
| 113gu | Scale URV units | psia | UNITS |
| 113gu | Scale URV units | psig | UNITS |
| 114a | Digital pressure tag no |  |  |
| 114b | Pressure-Digital output | CALIBRATION/TEST DESC |  |
| 114c | Digital pressure LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Digital press LRV units | bar | UNITS |
| 114cu | Digital press LRV units | bar(g) | UNITS |
| 114cu | Digital press LRV units | inH2O | UNITS |
| 114cu | Digital press LRV units | kPa | UNITS |
| 114cu | Digital press LRV units | kPa(g) | UNITS |
| 114cu | Digital press LRV units | mmHg | UNITS |
| 114cu | Digital press LRV units | Pa | UNITS |
| 114cu | Digital press LRV units | Pa(g) | UNITS |
| 114cu | Digital press LRV units | psia | UNITS |
| 114cu | Digital press LRV units | psig | UNITS |
| 114d | Digital pressure URV |  | UPPER RANGE-VALUE |
| 114du | Digital press URV units | bar | UNITS |
| 114du | Digital press URV units | bar(g) | UNITS |
| 114du | Digital press URV units | inH2O | UNITS |
| 114du | Digital press URV units | kPa | UNITS |
| 114du | Digital press URV units | kPa(g) | UNITS |
| 114du | Digital press URV units | mmHg | UNITS |
| 114du | Digital press URV units | Pa | UNITS |
| 114du | Digital press URV units | Pa(g) | UNITS |
| 114du | Digital press URV units | psia | UNITS |
| 114du | Digital press URV units | psig | UNITS |
| 114e | Digital pressure action | direct |  |
| 114f | Digital press output LRV |  |  |
| 114fu | Dgtl pr output LRV units | bar | UNITS |
| 114fu | Dgtl pr output LRV units | bar(g) | UNITS |
| 114fu | Dgtl pr output LRV units | inH2O | UNITS |
| 114fu | Dgtl pr output LRV units | kPa | UNITS |
| 114fu | Dgtl pr output LRV units | kPa(g) | UNITS |
| 114fu | Dgtl pr output LRV units | mmHg | UNITS |
| 114fu | Dgtl pr output LRV units | Pa | UNITS |
| 114fu | Dgtl pr output LRV units | Pa(g) | UNITS |
| 114fu | Dgtl pr output LRV units | psia | UNITS |
| 114fu | Dgtl pr output LRV units | psig | UNITS |
| 114g | Digital press output URV |  |  |
| 114gu | Digital pr output URV units | % | UNITS |
| 114gu | Digital pr output URV units | bar | UNITS |
| 114gu | Digital pr output URV units | bar(g) | UNITS |
| 114gu | Digital pr output URV units | inH2O | UNITS |
| 114gu | Digital pr output URV units | kPa | UNITS |
| 114gu | Digital pr output URV units | kPa(g) | UNITS |
| 114gu | Digital pr output URV units | mmHg | UNITS |
| 114gu | Digital pr output URV units | Pa | UNITS |
| 114gu | Digital pr output URV units | Pa(g) | UNITS |
| 114gu | Digital pr output URV units | psia | UNITS |
| 114gu | Digital pr output URV units | psig | UNITS |
| 115a | Digital temp tag no |  |  |
| 115b | Temp-Digital output | CALIBRATION/TEST DESC |  |
| 115c | Digital temp LRV | 0 | LOWER RANGE-VALUE |
| 115cu | Digital temp LRV units | °C | UNITS |
| 115cu | Digital temp LRV units | °F | UNITS |
| 115cu | Digital temp LRV units | C | UNITS |
| 115cu | Digital temp LRV units | F | UNITS |
| 115d | Digital temp URV |  | UPPER RANGE-VALUE |
| 115du | Digital temp URV units | °C | UNITS |
| 115du | Digital temp URV units | °F | UNITS |
| 115du | Digital temp URV units | C | UNITS |
| 115du | Digital temp URV units | F | UNITS |
| 115e | Digital temp signal action | direct |  |
| 115f | Digital temp output LRV | 0 |  |
| 115fu | Dgtl temp output LRV unit | °C | UNITS |
| 115fu | Dgtl temp output LRV unit | °F | UNITS |
| 115fu | Dgtl temp output LRV unit | C | UNITS |
| 115fu | Dgtl temp output LRV unit | F | UNITS |
| 115g | Digital temp output URV |  |  |
| 115gu | Dgtl temp output URV unit | °C | UNITS |
| 115gu | Dgtl temp output URV unit | °F | UNITS |
| 115gu | Dgtl temp output URV unit | C | UNITS |
| 115gu | Dgtl temp output URV unit | F | UNITS |
| 116a | Other tag no |  |  |
| 116b | Other cal/test descp |  |  |
| 116b | Other cal/test descp | NA |  |
| 116c | Other cal/test LRV |  | LOWER RANGE-VALUE |
| 116cu | Other cal/test LRV units |  | UNITS |
| 116d | Other cal/test URV |  | UPPER RANGE-VALUE |
| 116du | Other cal/test URV units |  | UNITS |
| 116e | Other cal/test action |  |  |
| 116f | Other output LRV |  |  |
| 116fu | Other output LRV unit |  | UNITS |
| 116g | Other output URV |  |  |
| 116gu | Other output URV unit |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type |  |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |