| Line No | Field prompt | Pick list data | Help keyword |
| --- | --- | --- | --- |
| 011 | SENSING ELEMENT | SECTION TITLE |  |
| 012 | Sensor type | ir multipoint |  |
| 012 | Sensor type | ir single color |  |
| 012 | Sensor type | ir two color |  |
| 013a | Temperature LRL |  |  |
| 013au | Temp LRL units | °C | UNITS |
| 013au | Temp LRL units | °F | UNITS |
| 013au | Temp LRL units | C | UNITS |
| 013au | Temp LRL units | F | UNITS |
| 013b | Temperature URL | 800 |  |
| 013b | Temperature URL | 1600 |  |
| 013bu | Temperature URL units | °C | UNITS |
| 013bu | Temperature URL units | °F | UNITS |
| 013bu | Temperature URL units | C | UNITS |
| 013bu | Temperature URL units | F | UNITS |
| 014 | Spectral response | 8-14 |  |
| 014u | Spectral units | um | UNITS |
| 015 | Focus type | close |  |
| 015 | Focus type | standard |  |
| 015 | Focus type | NA |  |
| 016a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 016b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 017a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | HEAD AND VIEWER | SECTION TITLE |  |
| 019 | Head type | compact |  |
| 019 | Head type | sighting viewer |  |
| 019 | Head type | standard |  |
| 020 | Housing style | cooled Housing | HOUSING |
| 020 | Housing style | thermal jacketed | HOUSING |
| 020 | Housing style | NA | HOUSING |
| 021 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 021 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 021 | Enclosure type no/class | IP 54 | ENCLOSURE TYPE NO/CLASS |
| 021 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 021 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 022 | Sighting type | laser-aiming |  |
| 022 | Sighting type | polarizing filter |  |
| 022 | Sighting type | right angle mirror |  |
| 022 | Sighting type | right angle sighter |  |
| 022 | Sighting type | thru lens viewer |  |
| 022 | Sighting type | NA |  |
| 023 | Lens purge style | air purge |  |
| 023 | Lens purge style | NA |  |
| 024 | Conn adapter type | conduit adapter |  |
| 024 | Conn adapter type | pipe adapter |  |
| 024 | Conn adapter type | NA |  |
| 025 | Cable length | 5 |  |
| 025 | Cable length | 7.5 |  |
| 025 | Cable length | 25 |  |
| 025u | Length units | ft | UNITS |
| 025u | Length units | m | UNITS |
| 026 | Signal termination type | quick disconnect clamp | END CONNECTION TYPE |
| 026 | Signal termination type | NA | END CONNECTION TYPE |
| 027 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 027 | Cert/Approval type | NA | CERTIFICATION |
| 028 | Mounting type | adjustable bracket |  |
| 028 | Mounting type | adjustable pipe adapter |  |
| 028 | Mounting type | fixed bracket |  |
| 028 | Mounting type | mounting flange |  |
| 028 | Mounting type | sighting tube flange |  |
| 028 | Mounting type | swivel bracket |  |
| 028 | Mounting type | NA |  |
| 029 | Enclosure material | aluminum | MATERIAL |
| 029 | Enclosure material | plastic | MATERIAL |
| 029 | Enclosure material | stainless steel | MATERIAL |
| 029 | Enclosure material | NA | MATERIAL |
| 030a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 032 | TRANSMITTER OR MULTIPLEXER | SECTION TITLE |  |
| 033 | Type | switching multiplexer |  |
| 033 | Type | transmitter |  |
| 033 | Type | NA |  |
| 034 | Signal selector type | automatic time intervals |  |
| 034 | Signal selector type | local/remote |  |
| 034 | Signal selector type | NA |  |
| 035 | Cable length | 3.5 |  |
| 035 | Cable length | 10 |  |
| 035u | Length units | ft | UNITS |
| 035u | Length units | m | UNITS |
| 036 | Output signal type | analog current | SIGNAL |
| 036 | Output signal type | NA | SIGNAL |
| 037 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 037 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 038 | Signal power source | line 12 V(dc) |  |
| 038 | Signal power source | NA |  |
| 039 | Adjustment type | remote emissivity |  |
| 039 | Adjustment type | NA |  |
| 040 | Number input sensors | 4 |  |
| 041a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 041b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 042 | MONITOR | SECTION TITLE |  |
| 043 | Housing type | 1/4 DIN | HOUSING |
| 043 | Housing type | NEMA enclosure | HOUSING |
| 043 | Housing type | NA | HOUSING |
| 044 | External input type | RTD |  |
| 044 | External input type | thermocouple type J |  |
| 044 | External input type | NA |  |
| 045 | Output signal type | analog current | SIGNAL |
| 045 | Output signal type | analog current & digital | SIGNAL |
| 045 | Output signal type | digital | SIGNAL |
| 045 | Output signal type | thermocouple Type J | SIGNAL |
| 045 | Output signal type | thermocouple Type K | SIGNAL |
| 045 | Output signal type | NA | SIGNAL |
| 046 | Zero-span adjustment lct | internal |  |
| 046 | Zero-span adjustment lct | panel face |  |
| 046 | Zero-span adjustment lct | NA |  |
| 047 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | IEC 529 | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | IP 54 | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 048 | Measurement type | averaging |  |
| 048 | Measurement type | maximum |  |
| 048 | Measurement type | minimum |  |
| 048 | Measurement type | peak & valley hold |  |
| 048 | Measurement type | NA |  |
| 049 | Digital communication std | foundation fieldbus |  |
| 049 | Digital communication std | HART protocol |  |
| 049 | Digital communication std | RS 232 |  |
| 049 | Digital communication std | RS 485 |  |
| 049 | Digital communication std | NA |  |
| 050 | Signal power source | line 110/120 V(ac) 60 Hz |  |
| 050 | Signal power source | line 12 V(ac) 60 Hz |  |
| 050 | Signal power source | line 12/24 V(dc) |  |
| 050 | Signal power source | NA |  |
| 051 | Dead band type | adjustable | DEAD BAND |
| 051 | Dead band type | NA | DEAD BAND |
| 052a | Contacts arrangement | SPDT |  |
| 052a | Contacts arrangement | NA |  |
| 052b | Contacts quantity | 2 |  |
| 053 | Emissivity adjustment | adjustable |  |
| 053 | Emissivity adjustment | NA |  |
| 054 | Failsafe style | alarm relay |  |
| 054 | Failsafe style | NA |  |
| 055 | Integral indicator style | LCD |  |
| 055 | Integral indicator style | LED display |  |
| 055 | Integral indicator style | trend display |  |
| 055 | Integral indicator style | NA |  |
| 056 | Signal termination type | cable jack | END CONNECTION TYPE |
| 056 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 056 | Signal termination type | NA | END CONNECTION TYPE |
| 057 | Cert/Approval type |  | CERTIFICATION |
| 058 | Mounting type | integral mount |  |
| 058 | Mounting type | panel-mount |  |
| 058 | Mounting type | portable use |  |
| 058 | Mounting type | surface mount |  |
| 058 | Mounting type | NA |  |
| 059 | Temperature compensation | external measurement |  |
| 059 | Temperature compensation | fixed background |  |
| 059 | Temperature compensation | NA |  |
| 061 | Failure/Diagnostic action | activate alarm |  |
| 061 | Failure/Diagnostic action | NA |  |
| 062 | Enclosure material |  | MATERIAL |
| 063a | Defined attribute 1 name | power line noise filter | DEFINABLE ATTRIBUTE NAME |
| 063b | Defined attribute 1 data | required | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 064a | Defined attribute 2 name | cable length | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 2 data | 5 ft | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 065 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 066a | Min head working temp |  |  |
| 066au | Min head temp units | °C | UNITS |
| 066au | Min head temp units | °F | UNITS |
| 066au | Min head temp units | C | UNITS |
| 066au | Min head temp units | F | UNITS |
| 066b | Max head working temp |  |  |
| 066bu | Max head temp units | °C | UNITS |
| 066bu | Max head temp units | °F | UNITS |
| 066bu | Max head temp units | C | UNITS |
| 066bu | Max head temp units | F | UNITS |
| 067a | Temp accuracy rating | 1.0 |  |
| 067b | Accuracy rating ref base | % reading | ACCURACY REFERENCE |
| 067b | Accuracy rating ref base | % scale | ACCURACY REFERENCE |
| 067b | Accuracy rating ref base | °C | ACCURACY REFERENCE |
| 067b | Accuracy rating ref base | °F | ACCURACY REFERENCE |
| 067b | Accuracy rating ref base | C | ACCURACY REFERENCE |
| 067b | Accuracy rating ref base | F | ACCURACY REFERENCE |
| 068 | Focus point D:S ratio |  |  |
| 069 | Far point D:S ratio |  |  |
| 070a | Min monitor working temp | 0 |  |
| 070au | Min monitor temp units | °C | UNITS |
| 070au | Min monitor temp units | °F | UNITS |
| 070au | Min monitor temp units | C | UNITS |
| 070au | Min monitor temp units | F | UNITS |
| 070b | Max monitor working temp | 50 |  |
| 070bu | Max work temp units | °C | UNITS |
| 070bu | Max work temp units | °F | UNITS |
| 070bu | Max work temp units | C | UNITS |
| 070bu | Max work temp units | F | UNITS |
| 071a | Contacts ac rating |  | DEVICE RATING |
| 071au | AC rating current units | A | UNITS |
| 071b | AC rating max voltage |  | DEVICE RATING |
| 071bu | AC max voltage units | V | UNITS |
| 072a | Contacts dc rating |  | DEVICE RATING |
| 072au | DC rating current units | A | UNITS |
| 072b | DC rating max voltage |  | DEVICE RATING |
| 072bu | DC max voltage units | V | UNITS |
| 073a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084 | ACCESSORIES | SECTION TITLE |  |
| 085 | Blast gate style | gate w/ Amtir window |  |
| 085 | Blast gate style | gate w/ Quartz window |  |
| 085 | Blast gate style | NA |  |
| 086 | Cooling flow regulator | air flow regulator |  |
| 086 | Cooling flow regulator | water flow regulator |  |
| 086 | Cooling flow regulator | NA |  |
| 087 | Sight tube material | ceramic | MATERIAL |
| 087 | Sight tube material | stainless steel | MATERIAL |
| 087 | Sight tube material | NA | MATERIAL |
| 088 | Printer | NA |  |
| 089a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 092 | Custom tag | fiber tag |  |
| 092 | Custom tag | sst permanent attached |  |
| 092 | Custom tag | sst wired-on |  |
| 092 | Custom tag | NA |  |
| 093 | Reference specification | NA | REFERENCE SPECIFICATION |
| 094 | Compliance standard | FDA Radiation | NACE STANDARD |
| 094 | Compliance standard | NA | NACE STANDARD |
| 095 | Calibration report | NIST certification |  |
| 095 | Calibration report | NA |  |
| 096 | Software configuration | package only |  |
| 096 | Software configuration | NA |  |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog temperature tag 1 |  |  |
| 112b | Temp-Analog output 1 | CALIBRATION/TEST DESC |  |
| 112c | Analog temperature 1 LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Analog temp 1 LRV units | °C | UNITS |
| 112cu | Analog temp 1 LRV units | °F | UNITS |
| 112cu | Analog temp 1 LRV units | C | UNITS |
| 112cu | Analog temp 1 LRV units | F | UNITS |
| 112d | Analog temperature 1 URV |  | UPPER RANGE-VALUE |
| 112du | Analog temp 1 URV units | °C | UNITS |
| 112du | Analog temp 1 URV units | °F | UNITS |
| 112du | Analog temp 1 URV units | C | UNITS |
| 112du | Analog temp 1 URV units | F | UNITS |
| 112e | Analog temp 1 signal action | direct |  |
| 112f | Analog temp 1 output LRV | 0 | LOWER LIMIT |
| 112f | Analog temp 1 output LRV | 4 | LOWER LIMIT |
| 112f | Analog temp 1 output LRV | 10 | LOWER LIMIT |
| 112fu | Anlg temp 1 output LRV units | V(dc) | UNITS |
| 112g | Analog temp 1 output URV | 10 | UPPER LIMIT |
| 112g | Analog temp 1 output URV | 20 | UPPER LIMIT |
| 112g | Analog temp 1 output URV | 50 | UPPER LIMIT |
| 112gu | Anlg temp 1 output URV units | V(dc) | UNITS |
| 113a | Analog temperature tag 2 |  |  |
| 113b | Temp-Analog output 2 | CALIBRATION/TEST DESC |  |
| 113c | Analog temperature 2 LRV | 0 | LOWER RANGE-VALUE |
| 113cu | Analog temp 2 LRV units | °C | UNITS |
| 113cu | Analog temp 2 LRV units | °F | UNITS |
| 113cu | Analog temp 2 LRV units | C | UNITS |
| 113cu | Analog temp 2 LRV units | F | UNITS |
| 113d | Analog temperature 2 URV |  | UPPER RANGE-VALUE |
| 113du | Analog temp 2 URV units | °C | UNITS |
| 113du | Analog temp 2 URV units | °F | UNITS |
| 113du | Analog temp 2 URV units | C | UNITS |
| 113du | Analog temp 2 URV units | F | UNITS |
| 113e | Analog temp 2 signal action | direct |  |
| 113f | Analog temp 2 output LRV | 0 | LOWER LIMIT |
| 113f | Analog temp 2 output LRV | 4 | LOWER LIMIT |
| 113f | Analog temp 2 output LRV | 10 | LOWER LIMIT |
| 113fu | Anlg temp 2 output LRV units | mA | UNITS |
| 113fu | Anlg temp 2 output LRV units | V(dc) | UNITS |
| 113g | Analog temp 2 output URV | 10 | UPPER LIMIT |
| 113g | Analog temp 2 output URV | 20 | UPPER LIMIT |
| 113g | Analog temp 2 output URV | 50 | UPPER LIMIT |
| 113gu | Anlg temp 2 output URV units | mA | UNITS |
| 113gu | Anlg temp 2 output URV units | V(dc) | UNITS |
| 114a | Analog temperature tag 3 |  |  |
| 114b | Temp-Analog output 3 | CALIBRATION/TEST DESC |  |
| 114c | Analog temperature 3 LRV | 0 |  |
| 114cu | Analog temp 3 LRV units | °C | UNITS |
| 114cu | Analog temp 3 LRV units | °F | UNITS |
| 114cu | Analog temp 3 LRV units | C | UNITS |
| 114cu | Analog temp 3 LRV units | F | UNITS |
| 114d | Analog temperature 3 URV |  |  |
| 114du | Analog temp 3 URV units | °C | UNITS |
| 114du | Analog temp 3 URV units | °F | UNITS |
| 114du | Analog temp 3 URV units | C | UNITS |
| 114du | Analog temp 3 URV units | F | UNITS |
| 114e | Analog temp 3 signal action | direct |  |
| 114f | Analog temp 3 output LRV | 0 |  |
| 114f | Analog temp 3 output LRV | 4 |  |
| 114f | Analog temp 3 output LRV | 10 |  |
| 114fu | Anlg temp 3 output LRV units | mA | UNITS |
| 114fu | Anlg temp 3 output LRV units | V(dc) | UNITS |
| 114g | Analog temp 3 output URV | 10 |  |
| 114g | Analog temp 3 output URV | 20 |  |
| 114g | Analog temp 3 output URV | 50 |  |
| 114gu | Anlg temp 3 output URV units | mA | UNITS |
| 114gu | Anlg temp 3 output URV units | V(dc) | UNITS |
| 115a | Scale tag no |  |  |
| 115b | Temperature-Scale | CALIBRATION/TEST DESC |  |
| 115c | Scale temperature LRV | 0 | LOWER RANGE-VALUE |
| 115cu | Scale temp LRV units | °C | UNITS |
| 115cu | Scale temp LRV units | °F | UNITS |
| 115cu | Scale temp LRV units | C | UNITS |
| 115cu | Scale temp LRV units | F | UNITS |
| 115d | Scale temperature URV |  | UPPER RANGE-VALUE |
| 115du | Scale temp URV units | °C | UNITS |
| 115du | Scale temp URV units | °F | UNITS |
| 115du | Scale temp URV units | C | UNITS |
| 115du | Scale temp URV units | F | UNITS |
| 115e | Scale temp signal action | direct |  |
| 115f | Scale Lower Range-Value | 0 |  |
| 115fu | Scale LRV units | °C | UNITS |
| 115fu | Scale LRV units | °F | UNITS |
| 115fu | Scale LRV units | C | UNITS |
| 115fu | Scale LRV units | F | UNITS |
| 115g | Scale Upper Range-Value |  |  |
| 115gu | Scale URV units | °C | UNITS |
| 115gu | Scale URV units | °F | UNITS |
| 115gu | Scale URV units | C | UNITS |
| 115gu | Scale URV units | F | UNITS |
| 116a | Setpoint 1 tag no |  |  |
| 116b | Temp setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 116c | Setpoint 1 LRV |  |  |
| 116cu | Setpoint 1 LRV units | °C | UNITS |
| 116cu | Setpoint 1 LRV units | °F | UNITS |
| 116cu | Setpoint 1 LRV units | C | UNITS |
| 116cu | Setpoint 1 LRV units | F | UNITS |
| 116d | Setpoint 1 URV |  |  |
| 116du | Setpoint 1 URV units | °C | UNITS |
| 116du | Setpoint 1 URV units | °F | UNITS |
| 116du | Setpoint 1 URV units | C | UNITS |
| 116du | Setpoint 1 URV units | F | UNITS |
| 116e | Setpoint 1 signal action | NC |  |
| 116e | Setpoint 1 signal action | NO |  |
| 116f | Setpoint 1 output LRV | 0 |  |
| 116fu | Setpoint 1 output LRV units | V | UNITS |
| 116g | Setpoint 1 output URV | 24 |  |
| 116g | Setpoint 1 output URV | 120 |  |
| 116gu | Setpoint 1 output URV units | V | UNITS |
| 117a | Setpoint 2 tag no |  |  |
| 117b | Temp setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 117c | Setpoint 2 LRV |  |  |
| 117cu | Setpoint 2 LRV units | °C | UNITS |
| 117cu | Setpoint 2 LRV units | °F | UNITS |
| 117cu | Setpoint 2 LRV units | C | UNITS |
| 117cu | Setpoint 2 LRV units | F | UNITS |
| 117d | Setpoint 2 URV |  |  |
| 117du | Setpoint 2 URV units | °C | UNITS |
| 117du | Setpoint 2 URV units | °F | UNITS |
| 117du | Setpoint 2 URV units | C | UNITS |
| 117du | Setpoint 2 URV units | F | UNITS |
| 117e | Setpoint 2 signal action |  |  |
| 117f | Setpoint 2 output LRV | 0 |  |
| 117fu | Setpoint 2 output LRV units | V | UNITS |
| 117g | Setpoint 2 output URV | 24 |  |
| 117g | Setpoint 2 output URV | 120 |  |
| 117gu | Setpoint 2 output URV units | V | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | thermal rad temp element |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | thermal rad temp monitor |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |