| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | ADMINISTRATIVE IDENTIFICATIONS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017a | Defined attribute 1 name | contact | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | equipment module |  |
| 017a | Defined attribute 1 name | production line |  |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | SERVICE IDENTIFICATIONS | SECTION TITLE |  |
| 019 | Tag/Functional ident |  |  |
| 020 | Related equipment |  |  |
| 021 | Service |  |  |
| 023 | P&ID/Reference dwg number |  |  |
| 024 | Line/Nozzle no |  |  |
| 025 | Process conn pipe spec | NA |  |
| 026a | Line/Nozzle nominal size | 1/8 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 1/4 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 3/8 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 1/2 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 3/4 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 1 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 1 1/4 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 1 1/2 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 2 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 2 1/2 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 3 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 4 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 6 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 8 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 10 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 12 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 14 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 16 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 18 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 20 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 22 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 24 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 26 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 28 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 30 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 32 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 34 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 36 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 38 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 40 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 42 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 44 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 46 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 48 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 50 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 52 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 54 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 56 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 58 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | 60 in | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 10 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 15 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 20 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 25 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 32 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 40 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 50 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 65 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 80 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 100 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 125 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 150 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 200 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 250 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 300 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 350 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 400 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 450 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 500 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 550 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 600 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 700 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 800 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 900 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 1000 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 1200 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 1400 | NOMINAL SIZE |
| 026a | Line/Nozzle nominal size | DN 1500 | NOMINAL SIZE |
| 026b | Line/Nozzle nom rating | cl 125 |  |
| 026b | Line/Nozzle nom rating | cl 150 |  |
| 026b | Line/Nozzle nom rating | cl 1500 |  |
| 026b | Line/Nozzle nom rating | cl 25 |  |
| 026b | Line/Nozzle nom rating | cl 250 |  |
| 026b | Line/Nozzle nom rating | cl 2500 |  |
| 026b | Line/Nozzle nom rating | cl 300 |  |
| 026b | Line/Nozzle nom rating | cl 400 |  |
| 026b | Line/Nozzle nom rating | cl 4500 |  |
| 026b | Line/Nozzle nom rating | cl 600 |  |
| 026b | Line/Nozzle nom rating | cl 75 |  |
| 026b | Line/Nozzle nom rating | cl 800 |  |
| 026b | Line/Nozzle nom rating | cl 900 |  |
| 026b | Line/Nozzle nom rating | PN 10 |  |
| 026b | Line/Nozzle nom rating | PN 100 |  |
| 026b | Line/Nozzle nom rating | PN 150 |  |
| 026b | Line/Nozzle nom rating | PN 16 |  |
| 026b | Line/Nozzle nom rating | PN 2.5 |  |
| 026b | Line/Nozzle nom rating | PN 20 |  |
| 026b | Line/Nozzle nom rating | PN 25 |  |
| 026b | Line/Nozzle nom rating | PN 250 |  |
| 026b | Line/Nozzle nom rating | PN 40 |  |
| 026b | Line/Nozzle nom rating | PN 420 |  |
| 026b | Line/Nozzle nom rating | PN 50 |  |
| 026b | Line/Nozzle nom rating | PN 6 |  |
| 027a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 027a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 027a | Process conn termn type | flangeless | END CONNECTION CATEGORY |
| 027a | Process conn termn type | flg adptr | END CONNECTION CATEGORY |
| 027a | Process conn termn type | plain | END CONNECTION CATEGORY |
| 027a | Process conn termn type | sep flg | END CONNECTION CATEGORY |
| 027a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 027a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 027b | Conn termn style | 16A |  |
| 027b | Conn termn style | 16A w/nut |  |
| 027b | Conn termn style | 16AMP |  |
| 027b | Conn termn style | beveled |  |
| 027b | Conn termn style | boss |  |
| 027b | Conn termn style | BSP(F) |  |
| 027b | Conn termn style | BSPP |  |
| 027b | Conn termn style | bw |  |
| 027b | Conn termn style | cameron |  |
| 027b | Conn termn style | chiksan |  |
| 027b | Conn termn style | ff |  |
| 027b | Conn termn style | grayloc |  |
| 027b | Conn termn style | grooved |  |
| 027b | Conn termn style | hub |  |
| 027b | Conn termn style | LGE F |  |
| 027b | Conn termn style | LGE M |  |
| 027b | Conn termn style | LGE M&F |  |
| 027b | Conn termn style | lj |  |
| 027b | Conn termn style | NPT(F) |  |
| 027b | Conn termn style | NPT(M) |  |
| 027b | Conn termn style | NPT-LH |  |
| 027b | Conn termn style | pancake |  |
| 027b | Conn termn style | rf |  |
| 027b | Conn termn style | rtj |  |
| 027b | Conn termn style | SW(F) |  |
| 027b | Conn termn style | SW(M) |  |
| 027b | Conn termn style | T&G |  |
| 027b | Conn termn style | tri-Clamp |  |
| 027b | Conn termn style | vs |  |
| 027b | Conn termn style | weld-in |  |
| 027b | Conn termn style | wn |  |
| 027b | Conn termn style | NA |  |
| 028a | Line/Nozzle schedule no | 10 |  |
| 028a | Line/Nozzle schedule no | 100 |  |
| 028a | Line/Nozzle schedule no | 10S |  |
| 028a | Line/Nozzle schedule no | 120 |  |
| 028a | Line/Nozzle schedule no | 140 |  |
| 028a | Line/Nozzle schedule no | 160 |  |
| 028a | Line/Nozzle schedule no | 20 |  |
| 028a | Line/Nozzle schedule no | 30 |  |
| 028a | Line/Nozzle schedule no | 40 |  |
| 028a | Line/Nozzle schedule no | 40S |  |
| 028a | Line/Nozzle schedule no | 5 |  |
| 028a | Line/Nozzle schedule no | 5S |  |
| 028a | Line/Nozzle schedule no | 60 |  |
| 028a | Line/Nozzle schedule no | 80 |  |
| 028a | Line/Nozzle schedule no | 80S |  |
| 028a | Line/Nozzle schedule no | std |  |
| 028a | Line/Nozzle schedule no | XS |  |
| 028a | Line/Nozzle schedule no | XXS |  |
| 028b | Line/Nozzle wall thkns |  |  |
| 028bu | Line/Nozzle thkns units | in | UNITS |
| 028bu | Line/Nozzle thkns units | mm | UNITS |
| 029 | Connection length |  |  |
| 029u | Conn length units | in | UNITS |
| 029u | Conn length units | mm | UNITS |
| 030 | Connection orientation | horizontal |  |
| 030 | Connection orientation | inclined |  |
| 030 | Connection orientation | vertical |  |
| 030 | Connection orientation | NA |  |
| 031 | Connection material type | alloy steel | MATERIAL |
| 031 | Connection material type | aluminum | MATERIAL |
| 031 | Connection material type | carbon steel | MATERIAL |
| 031 | Connection material type | cobalt Alloy | MATERIAL |
| 031 | Connection material type | copper Alloy | MATERIAL |
| 031 | Connection material type | ductile Iron | MATERIAL |
| 031 | Connection material type | FRP | MATERIAL |
| 031 | Connection material type | iron (Cast) | MATERIAL |
| 031 | Connection material type | low temp Carbon steel | MATERIAL |
| 031 | Connection material type | monel | MATERIAL |
| 031 | Connection material type | nickel Alloy | MATERIAL |
| 031 | Connection material type | stainless Steel | MATERIAL |
| 031 | Connection material type | titanium | MATERIAL |
| 031 | Connection material type | zinc Alloy | MATERIAL |
| 031 | Connection material type | NA | MATERIAL |
| 032 | Connection design code | ANSI B31.1 |  |
| 032 | Connection design code | ANSI B31.3 |  |
| 032 | Connection design code | NA |  |
| 033 | Insulation thickness |  |  |
| 033u | Insulation thkns units | in | UNITS |
| 033u | Insulation thkns units | mm | UNITS |
| 034 | Device insertion length |  |  |
| 034u | Device insertion lg units | in | UNITS |
| 034u | Device insertion lg units | mm | UNITS |
| 040a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 040a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 040a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 040b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 040b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 040b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 040c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 040c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 040c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 040c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 040c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 040c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 040c | Inline hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 040c | Inline hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 040c | Inline hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 041a | Inline area min ign temp |  |  |
| 041au | Inline ign temp units | °C | UNITS |
| 041au | Inline ign temp units | °F | UNITS |
| 041au | Inline ign temp units | C | UNITS |
| 041au | Inline ign temp units | F | UNITS |
| 041b | Inline ign temp ident number | T1 |  |
| 041b | Inline ign temp ident number | T2 |  |
| 041b | Inline ign temp ident number | T3 |  |
| 041b | Inline ign temp ident number | T4 |  |
| 041b | Inline ign temp ident number | T5 |  |
| 041b | Inline ign temp ident number | T6 |  |
| 042a | Remote hazardous area cl | I |  |
| 042a | Remote hazardous area cl | II |  |
| 042a | Remote hazardous area cl | III |  |
| 042b | Remote hazardous Div/Zone | 0 |  |
| 042b | Remote hazardous Div/Zone | 1 |  |
| 042b | Remote hazardous Div/Zone | 2 |  |
| 042c | Remote hazardous area gr | A |  |
| 042c | Remote hazardous area gr | B |  |
| 042c | Remote hazardous area gr | C |  |
| 042c | Remote hazardous area gr | D |  |
| 042c | Remote hazardous area gr | E |  |
| 042c | Remote hazardous area gr | F |  |
| 042c | Remote hazardous area gr | IIA |  |
| 042c | Remote hazardous area gr | IIB |  |
| 042c | Remote hazardous area gr | IIC |  |
| 043a | Remote area min ign temp |  |  |
| 043au | Remote area min ign temp units | °C | UNITS |
| 043au | Remote area min ign temp units | °F | UNITS |
| 043au | Remote area min ign temp units | C | UNITS |
| 043au | Remote area min ign temp units | F | UNITS |
| 043b | Remote temp ident number | T1 |  |
| 043b | Remote temp ident number | T2 |  |
| 043b | Remote temp ident number | T3 |  |
| 043b | Remote temp ident number | T4 |  |
| 043b | Remote temp ident number | T5 |  |
| 043b | Remote temp ident number | T6 |  |
| 044a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 044b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 045a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 045b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 046 | COMPONENT DESIGN CRITERIA | SECTION TITLE |  |
| 047 | Component type | bimetallic thermometer |  |
| 047 | Component type | filled system temp elem |  |
| 047 | Component type | filled system temp gauge |  |
| 047 | Component type | filled-system temp switch |  |
| 047 | Component type | filled-system temp xmtr |  |
| 047 | Component type | rtd element |  |
| 047 | Component type | skin thermocouple |  |
| 047 | Component type | thermistor element |  |
| 047 | Component type | thermocouple element |  |
| 047 | Component type | thermostat |  |
| 047 | Component type | thermowell/ptct tube |  |
| 048 | Component style |  | INSTRUMENT TYPE |
| 049 | Output signal type | analog current | SIGNAL |
| 049 | Output signal type | analog current & relays | SIGNAL |
| 049 | Output signal type | analog pneumatic | SIGNAL |
| 049 | Output signal type | analog voltage | SIGNAL |
| 049 | Output signal type | binary pneumatic | SIGNAL |
| 049 | Output signal type | digital multi-variable | SIGNAL |
| 049 | Output signal type | digital single-variable | SIGNAL |
| 049 | Output signal type | dry contact | SIGNAL |
| 049 | Output signal type | relay | SIGNAL |
| 049 | Output signal type | smart multivariable | SIGNAL |
| 049 | Output signal type | smart,single variable | SIGNAL |
| 049 | Output signal type | NA | SIGNAL |
| 050 | Characteristic curve | linear with measurement | CHARACTERISTIC CURVE |
| 050 | Characteristic curve | linear with temperature | CHARACTERISTIC CURVE |
| 050 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 051 | Type of protection | continuous dilution | TYPE OF PROTECTION |
| 051 | Type of protection | encapsulation | TYPE OF PROTECTION |
| 051 | Type of protection | explosion proof enclosure | TYPE OF PROTECTION |
| 051 | Type of protection | flameproof | TYPE OF PROTECTION |
| 051 | Type of protection | increased safety | TYPE OF PROTECTION |
| 051 | Type of protection | intrinsic safety | TYPE OF PROTECTION |
| 051 | Type of protection | nonincendive equipment | TYPE OF PROTECTION |
| 051 | Type of protection | pressurization | TYPE OF PROTECTION |
| 051 | Type of protection | restricted breathing | TYPE OF PROTECTION |
| 051 | Type of protection | special protection | TYPE OF PROTECTION |
| 051 | Type of protection | NA | TYPE OF PROTECTION |
| 052 | Criticality code | 1 | CRITICALITY CODE |
| 052 | Criticality code | 2 | CRITICALITY CODE |
| 052 | Criticality code | 3 | CRITICALITY CODE |
| 053a | Max EMI susceptibility | 1-a:0.1 |  |
| 053a | Max EMI susceptibility | 1-b:0.1 |  |
| 053a | Max EMI susceptibility | 1-c:0.1 |  |
| 053a | Max EMI susceptibility | 2-a:0.1 |  |
| 053a | Max EMI susceptibility | 2-b:0.1 |  |
| 053a | Max EMI susceptibility | 2-c:0.1 |  |
| 053a | Max EMI susceptibility | 3-a:0.1 |  |
| 053a | Max EMI susceptibility | 3-b:0.1 |  |
| 053a | Max EMI susceptibility | 3-c:0.1 |  |
| 053b | Ref base susceptibility | % reading |  |
| 053b | Ref base susceptibility | % span |  |
| 053b | Ref base susceptibility | % Span@30 V/m |  |
| 054a | Max temperature effect |  |  |
| 054b | Ref base max temp effect | % span/100 F |  |
| 054b | Ref base max temp effect | % span/50 F |  |
| 055 | Max response time |  |  |
| 055u | Max response time units | s | UNITS |
| 056a | Min required accuracy | .1 |  |
| 056a | Min required accuracy | .2 |  |
| 056a | Min required accuracy | 2.2 |  |
| 056a | Min required accuracy | 4 |  |
| 056b | Accuracy rating ref base | % input span | ACCURACY REFERENCE |
| 056b | Accuracy rating ref base | % scale | ACCURACY REFERENCE |
| 056b | Accuracy rating ref base | % URV | ACCURACY REFERENCE |
| 056b | Accuracy rating ref base | °C | ACCURACY REFERENCE |
| 056b | Accuracy rating ref base | °F | ACCURACY REFERENCE |
| 056b | Accuracy rating ref base | C | ACCURACY REFERENCE |
| 056b | Accuracy rating ref base | F | ACCURACY REFERENCE |
| 056b | Accuracy rating ref base | K | ACCURACY REFERENCE |
| 056b | Accuracy rating ref base | R | ACCURACY REFERENCE |
| 057 | Max dead band |  |  |
| 057u | Max dead band units | % | UNITS |
| 057u | Max dead band units | °C | UNITS |
| 057u | Max dead band units | °F | UNITS |
| 057u | Max dead band units | C | UNITS |
| 057u | Max dead band units | F | UNITS |
| 057u | Max dead band units | K | UNITS |
| 057u | Max dead band units | R | UNITS |
| 058a | Avail nom power supply | 12 |  |
| 058a | Avail nom power supply | 20 |  |
| 058a | Avail nom power supply | 24 |  |
| 058a | Avail nom power supply | 32 |  |
| 058a | Avail nom power supply | 110 |  |
| 058a | Avail nom power supply | 115 |  |
| 058a | Avail nom power supply | 120 |  |
| 058a | Avail nom power supply | 220 |  |
| 058a | Avail nom power supply | 230 |  |
| 058a | Avail nom power supply | 240 |  |
| 058a | Avail nom power supply | 250 |  |
| 058au | Power supply units | bar(g) | UNITS |
| 058au | Power supply units | kPa(g) | UNITS |
| 058au | Power supply units | psig | UNITS |
| 058au | Power supply units | V(ac) | UNITS |
| 058au | Power supply units | V(dc) | UNITS |
| 058b | Number wires | 2 |  |
| 058b | Number wires | 3 |  |
| 058b | Number wires | 4 |  |
| 058b | Number wires | NA |  |
| 059 | Minimum load capability | 300 |  |
| 059 | Minimum load capability | 800 |  |
| 059u | Load capability units | Ohm | UNITS |
| 060 | Testing/Listing agency | BASEEFA |  |
| 060 | Testing/Listing agency | CENELEC |  |
| 060 | Testing/Listing agency | CSA |  |
| 060 | Testing/Listing agency | FM |  |
| 060 | Testing/Listing agency | ISSEP |  |
| 060 | Testing/Listing agency | JIS/RIIS |  |
| 060 | Testing/Listing agency | LCIE |  |
| 060 | Testing/Listing agency | SAA |  |
| 060 | Testing/Listing agency | UL |  |
| 060 | Testing/Listing agency | VNIIVE |  |
| 060 | Testing/Listing agency | NA |  |
| 061 | Test requirements | hydrostatic press test |  |
| 061 | Test requirements | NA |  |
| 062 | Supply loss failure mode | activate fault relay |  |
| 062 | Supply loss failure mode | deactivate output relay |  |
| 062 | Supply loss failure mode | NA |  |
| 063 | Signal loss failure mode | activate fault relay |  |
| 063 | Signal loss failure mode | drive output high |  |
| 063 | Signal loss failure mode | drive output low |  |
| 063 | Signal loss failure mode | switch sensors |  |
| 063 | Signal loss failure mode | NA |  |
| 064a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 064bu | Defined attribute 1 units |  | UNITS |
| 065a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 065bu | Defined attribute 2 units |  | UNITS |
| 066a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 066b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066c | Defined attribute 3 units |  | UNITS |
| 067 | MATERIAL FLOW CONDITIONS | SECTION TITLE | MATERIAL |
| 068 | Flow case identification | max flow |  |
| 068 | Flow case identification | min flow |  |
| 068 | Flow case identification | norm flow |  |
| 069 | Pressure |  |  |
| 069u | Pressure units | atm | UNITS |
| 069u | Pressure units | bar | UNITS |
| 069u | Pressure units | bar(g) | UNITS |
| 069u | Pressure units | ftH2O | UNITS |
| 069u | Pressure units | inH2O | UNITS |
| 069u | Pressure units | inHg | UNITS |
| 069u | Pressure units | kPa | UNITS |
| 069u | Pressure units | kPa(g) | UNITS |
| 069u | Pressure units | lbf/ft2 | UNITS |
| 069u | Pressure units | lbf/in2 | UNITS |
| 069u | Pressure units | mmH2O | UNITS |
| 069u | Pressure units | mmHg | UNITS |
| 069u | Pressure units | Pa | UNITS |
| 069u | Pressure units | Pa(g) | UNITS |
| 069u | Pressure units | psia | UNITS |
| 069u | Pressure units | psig | UNITS |
| 070 | Temperature |  |  |
| 070u | Temperature units | °C | UNITS |
| 070u | Temperature units | °F | UNITS |
| 070u | Temperature units | C | UNITS |
| 070u | Temperature units | F | UNITS |
| 071 | Phase type | liquid |  |
| 071 | Phase type | mixed |  |
| 071 | Phase type | solid |  |
| 071 | Phase type | vapor |  |
| 072 | Total mass flow rate |  |  |
| 072u | Total mass flow units | kg/d | UNITS |
| 072u | Total mass flow units | kg/h | UNITS |
| 072u | Total mass flow units | kg/s | UNITS |
| 072u | Total mass flow units | lb/h | UNITS |
| 073 | Liquid mass flow rate |  |  |
| 073u | Liquid mass flow units | kg/d | UNITS |
| 073u | Liquid mass flow units | kg/h | UNITS |
| 073u | Liquid mass flow units | kg/s | UNITS |
| 073u | Liquid mass flow units | lb/h | UNITS |
| 074 | Liquid actual flow rate |  |  |
| 074u | Liquid actual flow units | galUS/h | UNITS |
| 074u | Liquid actual flow units | galUS/min | UNITS |
| 074u | Liquid actual flow units | L/s | UNITS |
| 074u | Liquid actual flow units | m3/h | UNITS |
| 074u | Liquid actual flow units | m3/s | UNITS |
| 075 | Liquid standard flow rate |  |  |
| 075u | Liquid std flow units | bbl/d | UNITS |
| 075u | Liquid std flow units | L/d(std) | UNITS |
| 075u | Liquid std flow units | L/s(std) | UNITS |
| 076 | Liquid density |  |  |
| 076u | Liquid density units | g/cm3 | UNITS |
| 076u | Liquid density units | lb/ft3 | UNITS |
| 076u | Liquid density units | lb/galUS | UNITS |
| 077 | Liquid specific gravity |  |  |
| 078 | Liquid viscosity |  |  |
| 078u | Liquid viscosity units | cP | UNITS |
| 078u | Liquid viscosity units | cSt | UNITS |
| 078u | Liquid viscosity units | m2/s | UNITS |
| 078u | Liquid viscosity units | m³/s | UNITS |
| 078u | Liquid viscosity units | Pa.s | UNITS |
| 079 | Vapor mass flow rate |  |  |
| 079u | Vapor mass flow units | kg/d | UNITS |
| 079u | Vapor mass flow units | kg/h | UNITS |
| 079u | Vapor mass flow units | kg/s | UNITS |
| 079u | Vapor mass flow units | lb/h | UNITS |
| 080 | Vapor actual flow rate |  |  |
| 080u | Vapor actual flow units | ft3ACT/h | UNITS |
| 080u | Vapor actual flow units | ft3ACT/min | UNITS |
| 080u | Vapor actual flow units | m3/h(N) | UNITS |
| 080u | Vapor actual flow units | m3/s(N) | UNITS |
| 081 | Vapor standard flow rate |  |  |
| 081u | Vapor std flow units | ft3STD/h | UNITS |
| 081u | Vapor std flow units | ft3STD/min | UNITS |
| 081u | Vapor std flow units | ft3STD/s | UNITS |
| 081u | Vapor std flow units | L/s(std) | UNITS |
| 081u | Vapor std flow units | m3/h(std) | UNITS |
| 081u | Vapor std flow units | m3/s(std) | UNITS |
| 082 | Vapor density |  |  |
| 082u | Vapor density units | g/cm3 | UNITS |
| 082u | Vapor density units | kg/m3 | UNITS |
| 082u | Vapor density units | lb/ft3 | UNITS |
| 083 | Vapor specific gravity |  |  |
| 084 | Vapor molecular weight |  |  |
| 084u | Molecular weight units | u | UNITS |
| 085a | Defined attribute 1 name | solids concentration | DEFINABLE ATTRIBUTE NAME |
| 085a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 085b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085bu | Defined attribute 1 units | % | UNITS |
| 086a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086bu | Defined attribute 2 units |  | UNITS |
| 087a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087bu | Defined attribute 3 units |  | UNITS |
| 093 | CALCULATED VARIABLES | SECTION TITLE |  |
| 094 | Line fluid velocity |  |  |
| 094u | Fluid velocity units | ft/min | UNITS |
| 094u | Fluid velocity units | ft/s | UNITS |
| 094u | Fluid velocity units | km/h | UNITS |
| 094u | Fluid velocity units | m/s | UNITS |
| 095 | Line Reynolds number |  |  |
| 096 | Wake/natural freq ratio |  |  |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 097bu | Defined attribute 1 units |  | UNITS |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098bu | Defined attribute 2 units |  | UNITS |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099bu | Defined attribute 3 units |  | UNITS |
| 100 | PROCESS DESIGN CONDITIONS | SECTION TITLE |  |
| 102a | Minimum pressure |  |  |
| 102au | Minimum pressure units | atm | UNITS |
| 102au | Minimum pressure units | bar | UNITS |
| 102au | Minimum pressure units | bar(g) | UNITS |
| 102au | Minimum pressure units | ftH2O | UNITS |
| 102au | Minimum pressure units | inH2O | UNITS |
| 102au | Minimum pressure units | inHg | UNITS |
| 102au | Minimum pressure units | kPa | UNITS |
| 102au | Minimum pressure units | kPa(g) | UNITS |
| 102au | Minimum pressure units | lbf/ft2 | UNITS |
| 102au | Minimum pressure units | lbf/in2 | UNITS |
| 102au | Minimum pressure units | mmH2O | UNITS |
| 102au | Minimum pressure units | mmHg | UNITS |
| 102au | Minimum pressure units | Pa | UNITS |
| 102au | Minimum pressure units | Pa(g) | UNITS |
| 102au | Minimum pressure units | psia | UNITS |
| 102au | Minimum pressure units | psig | UNITS |
| 102b | Maximum pressure |  |  |
| 102bu | Maximum pressure units | atm | UNITS |
| 102bu | Maximum pressure units | bar | UNITS |
| 102bu | Maximum pressure units | bar(g) | UNITS |
| 102bu | Maximum pressure units | ftH2O | UNITS |
| 102bu | Maximum pressure units | inH2O | UNITS |
| 102bu | Maximum pressure units | inHg | UNITS |
| 102bu | Maximum pressure units | kPa | UNITS |
| 102bu | Maximum pressure units | kPa(g) | UNITS |
| 102bu | Maximum pressure units | lbf/ft2 | UNITS |
| 102bu | Maximum pressure units | lbf/in2 | UNITS |
| 102bu | Maximum pressure units | mmH2O | UNITS |
| 102bu | Maximum pressure units | mmHg | UNITS |
| 102bu | Maximum pressure units | Pa | UNITS |
| 102bu | Maximum pressure units | Pa(g) | UNITS |
| 102bu | Maximum pressure units | psia | UNITS |
| 102bu | Maximum pressure units | psig | UNITS |
| 103a | Minimum temperature |  |  |
| 103au | Minimum temp units | °C | UNITS |
| 103au | Minimum temp units | °F | UNITS |
| 103au | Minimum temp units | C | UNITS |
| 103au | Minimum temp units | F | UNITS |
| 103b | Maximum temperature |  |  |
| 103bu | Maximum temp units | °C | UNITS |
| 103bu | Maximum temp units | °F | UNITS |
| 103bu | Maximum temp units | C | UNITS |
| 103bu | Maximum temp units | F | UNITS |
| 111b | Maximum liquid viscosity |  |  |
| 111bu | Max viscosity units | cP | UNITS |
| 111bu | Max viscosity units | cSt | UNITS |
| 111bu | Max viscosity units | m2/s | UNITS |
| 111bu | Max viscosity units | m³/s | UNITS |
| 111bu | Max viscosity units | Pa.s | UNITS |
| 118a | Defined attribute 1 min |  | DEFINABLE ATTRIBUTE VALUE |
| 118au | Defined attr 1 min units |  | UNITS |
| 118b | Defined attribute 1 max |  | DEFINABLE ATTRIBUTE VALUE |
| 118bu | Defined attr 1 max units |  | UNITS |
| 127a | Min line fluid velocity |  |  |
| 127au | Min fluid velocity units | ft/min | UNITS |
| 127au | Min fluid velocity units | ft/s | UNITS |
| 127au | Min fluid velocity units | km/h | UNITS |
| 127au | Min fluid velocity units | m/s | UNITS |
| 127b | Max line fluid velocity |  |  |
| 127bu | Max fluid velocity units | ft/min | UNITS |
| 127bu | Max fluid velocity units | ft/s | UNITS |
| 127bu | Max fluid velocity units | km/h | UNITS |
| 127bu | Max fluid velocity units | m/s | UNITS |
| 128a | Min Reynolds number |  |  |
| 128b | Max Reynolds number |  |  |
| 129b | Max wake/freq ratio |  |  |
| 130a | Defined attribute 2 min |  | DEFINABLE ATTRIBUTE VALUE |
| 130au | Defined attr 2 min units |  | UNITS |
| 130b | Defined attribute 2 max |  | DEFINABLE ATTRIBUTE VALUE |
| 130bu | Defined attr 2 max units |  | UNITS |
| 133 | MATERIAL PROPERTIES | SECTION TITLE | MATERIAL |
| 134 | Name |  |  |
| 135 | Composition |  |  |
| 136a | Density at ref temp |  |  |
| 136au | Density units | g/cm3 | UNITS |
| 136au | Density units | kg/m3 | UNITS |
| 136au | Density units | lb/ft3 | UNITS |
| 136au | Density units | lb/galUS | UNITS |
| 136b | Density ref temperature | 60 |  |
| 136b | Density ref temperature | 0 |  |
| 136b | Density ref temperature | 25 |  |
| 136bu | Density ref temp units | °C | UNITS |
| 136bu | Density ref temp units | °F | UNITS |
| 136bu | Density ref temp units | C | UNITS |
| 136bu | Density ref temp units | F | UNITS |
| 137 | Ratio sp heat capacity |  | RATIO OF SPECIF HEAT CAPACITY |
| 139 | Ratio sp heat factor |  |  |
| 140 | Emissivity |  |  |
| 141a | NFPA health hazard | 0 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 1 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 2 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 3 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 4 | HEALTH HAZARD RATING |
| 141b | NFPA flammability | 0 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 1 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 2 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 3 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 4 | FLAMMABILITY HAZARD RATING |
| 141c | NFPA reactivity | 0 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 1 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 2 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 3 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 4 | REACTIVITY HAZARD RATING |
| 142a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 142b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 142bu | Defined attribute 1 units |  | UNITS |