| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | PROCESS CONNECTION AND BULB | SECTION TITLE |  |
| 012 | Bulb type | plain bulb |  |
| 012 | Bulb type | union connected assembly |  |
| 013 | Stem/Bulb extension style | bendable extension |  |
| 013 | Stem/Bulb extension style | rigid angle extension |  |
| 013 | Stem/Bulb extension style | rigid extension |  |
| 013 | Stem/Bulb extension style | NA |  |
| 014 | Connector conn nom size | 1/2 in | NOMINAL SIZE |
| 014 | Connector conn nom size | 1 in | NOMINAL SIZE |
| 014 | Connector conn nom size | 1 1/4 in | NOMINAL SIZE |
| 014 | Connector conn nom size | 1 1/2 in | NOMINAL SIZE |
| 014 | Connector conn nom size | 2 in | NOMINAL SIZE |
| 014 | Connector conn nom size | 3 in | NOMINAL SIZE |
| 014 | Connector conn nom size | 4 in | NOMINAL SIZE |
| 015a | Connector conn type | clamped |  |
| 015a | Connector conn type | threaded |  |
| 015b | Connector conn style | 16A |  |
| 015b | Connector conn style | 16AMP |  |
| 015b | Connector conn style | DIN |  |
| 015b | Connector conn style | ISS |  |
| 015b | Connector conn style | NPT(F) |  |
| 015b | Connector conn style | rjt |  |
| 015b | Connector conn style | UNS |  |
| 016 | Fitting type | compression union |  |
| 016 | Fitting type | fixed union |  |
| 016 | Fitting type | NA |  |
| 017a | Stem/Bulb diameter | .375 |  |
| 017a | Stem/Bulb diameter | .500 |  |
| 017au | Stem/Bulb diameter units | in | UNITS |
| 017b | Stem/Bulb length | 3 |  |
| 017b | Stem/Bulb length | 6 |  |
| 017b | Stem/Bulb length | 7 |  |
| 017b | Stem/Bulb length | 8 |  |
| 017b | Stem/Bulb length | 9 |  |
| 017b | Stem/Bulb length | 12 |  |
| 017b | Stem/Bulb length | 15 |  |
| 017b | Stem/Bulb length | 18 |  |
| 017b | Stem/Bulb length | 75 |  |
| 017b | Stem/Bulb length | 150 |  |
| 017bu | Stem/Bulb length units | in | UNITS |
| 017bu | Stem/Bulb length units | mm | UNITS |
| 018 | Bulb extension length | 18 |  |
| 018u | Extension length units | in | UNITS |
| 019 | Stem/Bulb material | 316 SST | MATERIAL |
| 019 | Stem/Bulb material | inconel | MATERIAL |
| 019 | Stem/Bulb material | NA | MATERIAL |
| 020 | Connector material | 316 SST | MATERIAL |
| 020 | Connector material | carbon steel | MATERIAL |
| 020 | Connector material | NA | MATERIAL |
| 021 | Packing material | asbestos-Graphite | MATERIAL |
| 021 | Packing material | PTFE | MATERIAL |
| 021 | Packing material | NA | MATERIAL |
| 022a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 022b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 023a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 023b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 024a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 025 | CAPILLARY AND SENSING ELEMENT | SECTION TITLE |  |
| 026 | Thermal system type | gas filled (Class III) |  |
| 026 | Thermal system type | liquid filled (Class I) |  |
| 026 | Thermal system type | vapor pressure(Class II) |  |
| 027 | Compensation style | full compensation |  |
| 027 | Compensation style | within case only |  |
| 027 | Compensation style | NA |  |
| 028a | Temperature LRL |  |  |
| 028au | Temperature LRL units | °C | UNITS |
| 028au | Temperature LRL units | °F | UNITS |
| 028au | Temperature LRL units | C | UNITS |
| 028au | Temperature LRL units | F | UNITS |
| 028b | Temperature URL |  |  |
| 028bu | Temperature units | °C | UNITS |
| 028bu | Temperature units | °F | UNITS |
| 028bu | Temperature units | C | UNITS |
| 028bu | Temperature units | F | UNITS |
| 029a | Min temperature span |  |  |
| 029au | Min temp span units | °C | UNITS |
| 029au | Min temp span units | °F | UNITS |
| 029au | Min temp span units | C | UNITS |
| 029au | Min temp span units | F | UNITS |
| 029b | Max temperature span |  |  |
| 029bu | Max temp span units | °C | UNITS |
| 029bu | Max temp span units | °F | UNITS |
| 029bu | Max temp span units | C | UNITS |
| 029bu | Max temp span units | F | UNITS |
| 030 | Capillary length | 3.5 |  |
| 030 | Capillary length | 5 |  |
| 030 | Capillary length | 10 |  |
| 030 | Capillary length | 15 |  |
| 030 | Capillary length | 20 |  |
| 030u | Capillary length units | ft | UNITS |
| 031 | Capillary material |  | MATERIAL |
| 031 | Capillary material | 316 SST | MATERIAL |
| 031 | Capillary material | NA | MATERIAL |
| 032 | Coating-armor material | 302 SST vinyl covered | MATERIAL |
| 032 | Coating-armor material | NA | MATERIAL |
| 033a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 033b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 034a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 034b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 035a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 035b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 036 | TRANSMITTER | SECTION TITLE |  |
| 037 | Housing type | large case w/door | HOUSING |
| 037 | Housing type | manufacturer standard | HOUSING |
| 038 | Output signal type | analog current | SIGNAL |
| 038 | Output signal type | analog pneumatic | SIGNAL |
| 038 | Output signal type | NA | SIGNAL |
| 039 | Enclosure type no/class | 3 | ENCLOSURE TYPE NO/CLASS |
| 039 | Enclosure type no/class | IP 53 | ENCLOSURE TYPE NO/CLASS |
| 039 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 040 | Signal power source | loop 12-24 V(dc) |  |
| 040 | Signal power source | pneumatic 20 psig |  |
| 040 | Signal power source | NA |  |
| 041 | Integral indicator style | analog meter,uniform div |  |
| 041 | Integral indicator style | scale and pointer |  |
| 041 | Integral indicator style | NA |  |
| 042 | Signal termination type | integral junction box | END CONNECTION TYPE |
| 042 | Signal termination type | terminal block | END CONNECTION TYPE |
| 042 | Signal termination type | NA | END CONNECTION TYPE |
| 043 | Cert/Approval type | FM Non-classified | CERTIFICATION |
| 043 | Cert/Approval type | self certified | CERTIFICATION |
| 043 | Cert/Approval type | NA | CERTIFICATION |
| 044 | Mounting type | enclosure 2 in pipe |  |
| 044 | Mounting type | panel mount |  |
| 044 | Mounting type | surface mount bracket |  |
| 044 | Mounting type | yoke mount |  |
| 044 | Mounting type | NA |  |
| 045 | Enclosure material | low-copper aluminum | MATERIAL |
| 045 | Enclosure material | polycarbonate | MATERIAL |
| 045 | Enclosure material | NA | MATERIAL |
| 046a | Defined attribute 1 name | electrical conn adapter | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 1 data | cm20 x 1.5 | DEFINABLE ATTRIBUTE VALUE |
| 046b | Defined attribute 1 data | pg 13.5 | DEFINABLE ATTRIBUTE VALUE |
| 047a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 048a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 048b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | THERMOWELL OR PROTECTING TUBE | SECTION TITLE |  |
| 061 | Construction type | bar stock thermowell |  |
| 061 | Construction type | closed end Prot tube |  |
| 061 | Construction type | miniature Protecting tube |  |
| 061 | Construction type | open end protection tube |  |
| 061 | Construction type | NA |  |
| 062 | Shank style | step down |  |
| 062 | Shank style | straight |  |
| 062 | Shank style | tapered |  |
| 062 | Shank style | NA |  |
| 063a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 6 in | NOMINAL SIZE |
| 063b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 064a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 064a | Process conn termn type | collar | END CONNECTION CATEGORY |
| 064a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 064a | Process conn termn type | plain | END CONNECTION CATEGORY |
| 064a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 064a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 064b | Process conn termn style | 16A | END CONNECTION TYPE |
| 064b | Process conn termn style | 16A w/nut | END CONNECTION TYPE |
| 064b | Process conn termn style | 16AMP | END CONNECTION TYPE |
| 064b | Process conn termn style | ff | END CONNECTION TYPE |
| 064b | Process conn termn style | gj | END CONNECTION TYPE |
| 064b | Process conn termn style | hub | END CONNECTION TYPE |
| 064b | Process conn termn style | K16A | END CONNECTION TYPE |
| 064b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 064b | Process conn termn style | rf | END CONNECTION TYPE |
| 064b | Process conn termn style | rtj | END CONNECTION TYPE |
| 064b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 064b | Process conn termn style | vs | END CONNECTION TYPE |
| 064b | Process conn termn style | weld-in | END CONNECTION TYPE |
| 065a | Internal conn nom size | 1/2 in | NOMINAL SIZE |
| 065b | Internal conn termn style | NPT(F) |  |
| 066 | Bore diameter | .385 | BORE |
| 066 | Bore diameter | .510 | BORE |
| 066u | Bore diameter units | in | UNITS |
| 067 | Outside dia at support | .500 |  |
| 067 | Outside dia at support | .625 |  |
| 067 | Outside dia at support | .750 |  |
| 067 | Outside dia at support | .875 |  |
| 067 | Outside dia at support | 1.0 |  |
| 067 | Outside dia at support | 1.062 |  |
| 067u | Outside support dia units | in | UNITS |
| 068 | Outside diameter at tip | .500 | UNITS |
| 068 | Outside diameter at tip | .625 | UNITS |
| 068 | Outside diameter at tip | .750 | UNITS |
| 068 | Outside diameter at tip | .765 | UNITS |
| 068u | Outside tip dia units | in | UNITS |
| 069 | Insertion length "U" | 2.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 4 | INSERTION LENGTH |
| 069 | Insertion length "U" | 4.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 7 | INSERTION LENGTH |
| 069 | Insertion length "U" | 7.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 10 | INSERTION LENGTH |
| 069 | Insertion length "U" | 10.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 13 | INSERTION LENGTH |
| 069 | Insertion length "U" | 13.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 16 | INSERTION LENGTH |
| 069 | Insertion length "U" | 16.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 19.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 22 | INSERTION LENGTH |
| 069 | Insertion length "U" | 22.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 24 | INSERTION LENGTH |
| 069u | Insertion length units | in | UNITS |
| 070 | Lagging extension lg "T" | 0 | LAGGING EXTENSION LENGTH |
| 070 | Lagging extension lg "T" | 2 | LAGGING EXTENSION LENGTH |
| 070 | Lagging extension lg "T" | 3 | LAGGING EXTENSION LENGTH |
| 070u | Extension length units | in | UNITS |
| 071 | Thermowell/Tube material | 304 SST | MATERIAL |
| 071 | Thermowell/Tube material | 304L SST | MATERIAL |
| 071 | Thermowell/Tube material | 316 SST | MATERIAL |
| 071 | Thermowell/Tube material | 316L SST | MATERIAL |
| 071 | Thermowell/Tube material | 446 SST | MATERIAL |
| 071 | Thermowell/Tube material | alloy 20 | MATERIAL |
| 071 | Thermowell/Tube material | alumina | MATERIAL |
| 071 | Thermowell/Tube material | aluminum | MATERIAL |
| 071 | Thermowell/Tube material | black steel pipe | MATERIAL |
| 071 | Thermowell/Tube material | brass | MATERIAL |
| 071 | Thermowell/Tube material | carbon steel | MATERIAL |
| 071 | Thermowell/Tube material | carpenter 20 | MATERIAL |
| 071 | Thermowell/Tube material | copper Alloy | MATERIAL |
| 071 | Thermowell/Tube material | ductile iron | MATERIAL |
| 071 | Thermowell/Tube material | hastelloy B | MATERIAL |
| 071 | Thermowell/Tube material | hastelloy C276 | MATERIAL |
| 071 | Thermowell/Tube material | iron (Cast) | MATERIAL |
| 071 | Thermowell/Tube material | kel-F | MATERIAL |
| 071 | Thermowell/Tube material | monel 400 | MATERIAL |
| 071 | Thermowell/Tube material | mullite | MATERIAL |
| 071 | Thermowell/Tube material | nickel Alloy,200 | MATERIAL |
| 071 | Thermowell/Tube material | nickel Alloy,600 | MATERIAL |
| 071 | Thermowell/Tube material | nickel Alloy,800 | MATERIAL |
| 071 | Thermowell/Tube material | PFA Teflon coated | MATERIAL |
| 071 | Thermowell/Tube material | porcelain | MATERIAL |
| 071 | Thermowell/Tube material | silicon-carbide | MATERIAL |
| 071 | Thermowell/Tube material | silicon-nitride | MATERIAL |
| 071 | Thermowell/Tube material | stellite | MATERIAL |
| 071 | Thermowell/Tube material | tantalum | MATERIAL |
| 071 | Thermowell/Tube material | titanium | MATERIAL |
| 071 | Thermowell/Tube material | zirconium | MATERIAL |
| 071 | Thermowell/Tube material | NA | MATERIAL |
| 072 | Sheath material-thickness | tantalum/.007 | MATERIAL |
| 072 | Sheath material-thickness | NA | MATERIAL |
| 073a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 076 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 077a | Max press at design temp |  | PRESSURE |
| 077au | Design pressure units | psig | UNITS |
| 077b | Max design temperature |  | DESIGN TEMPERATURE |
| 077bu | Design temperature units | °C | UNITS |
| 077bu | Design temperature units | °F | UNITS |
| 077bu | Design temperature units | C | UNITS |
| 077bu | Design temperature units | F | UNITS |
| 078a | Min working temperature |  | WORKING TEMPERATURE |
| 078au | Min working temp units | °C | UNITS |
| 078au | Min working temp units | °F | UNITS |
| 078au | Min working temp units | C | UNITS |
| 078au | Min working temp units | F | UNITS |
| 078b | Max working temperature |  | WORKING TEMPERATURE |
| 078bu | Max working temp units | °C | UNITS |
| 078bu | Max working temp units | °F | UNITS |
| 078bu | Max working temp units | C | UNITS |
| 078bu | Max working temp units | F | UNITS |
| 079a | Max fluid velocity limit |  |  |
| 079au | Fluid velocity units | ft/s | UNITS |
| 079b | Max velocity design temp |  |  |
| 079bu | Max vel design temp units | °C | UNITS |
| 079bu | Max vel design temp units | °F | UNITS |
| 079bu | Max vel design temp units | C | UNITS |
| 079bu | Max vel design temp units | F | UNITS |
| 080a | Accuracy rating | .5 | ACCURACY RATING |
| 080b | Accuracy rating ref base | % span | ACCURACY REFERENCE |
| 081 | Maximum overrange limit |  | OVERRANGE LIMIT |
| 081u | Overrange units | °C | UNITS |
| 081u | Overrange units | °F | UNITS |
| 081u | Overrange units | C | UNITS |
| 081u | Overrange units | F | UNITS |
| 082a | Ambient temperature error | .75 | ACCURACY RATING |
| 082b | Ambient temp ref base | % span/50 F | ACCURACY REFERENCE |
| 083a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 083au | Min amb working temp units | °C | UNITS |
| 083au | Min amb working temp units | °F | UNITS |
| 083au | Min amb working temp units | C | UNITS |
| 083au | Min amb working temp units | F | UNITS |
| 083b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 083bu | Max amb temperature units | °C | UNITS |
| 083bu | Max amb temperature units | °F | UNITS |
| 083bu | Max amb temperature units | C | UNITS |
| 083bu | Max amb temperature units | F | UNITS |
| 084a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 084b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 085b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087 | ACCESSORIES | SECTION TITLE |  |
| 088 | Bushing nominal size | R 1/2 |  |
| 088 | Bushing nominal size | NA |  |
| 089 | Bushing material | 304 SST | MATERIAL |
| 089 | Bushing material | 316 SST | MATERIAL |
| 089 | Bushing material | NA | MATERIAL |
| 090 | Air set filter style | adj filter/regulator | AIR SET |
| 090 | Air set filter style | fixed filter/regulator | AIR SET |
| 090 | Air set filter style | NA | AIR SET |
| 091 | Pressure gauges | output only | PRESSURE GAUGE |
| 091 | Pressure gauges | supply and output | PRESSURE GAUGE |
| 091 | Pressure gauges | NA | PRESSURE GAUGE |
| 092a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 094 | Custom tag | fiber tag |  |
| 094 | Custom tag | sst permanent attached |  |
| 094 | Custom tag | sst wired-on |  |
| 094 | Custom tag | NA |  |
| 095 | Reference specification | NA | REFERENCE SPECIFICATION |
| 096 | Compliance standard | NACE | NACE STANDARD |
| 096 | Compliance standard | NA | NACE STANDARD |
| 097 | Construction code | NA |  |
| 098 | Calculation report | NA |  |
| 099a | Defined attribute 1 name | dye penetrant test | DEFINABLE ATTRIBUTE NAME |
| 099a | Defined attribute 1 name | hydrostatic test | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 1 data | 3000 psi | DEFINABLE ATTRIBUTE VALUE |
| 100a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 101 | PHYSICAL DATA | SECTION TITLE |  |
| 102 | Estimated weight |  |  |
| 102u | Weight units | kg | UNITS |
| 102u | Weight units | lb | UNITS |
| 103 | Overall height |  |  |
| 103u | Overall height units | in | UNITS |
| 103u | Overall height units | mm | UNITS |
| 104 | Removal clearance |  |  |
| 104u | Removal clearance units | in | UNITS |
| 104u | Removal clearance units | mm | UNITS |
| 105a | Signal conn nominal size | 1/4 in | NOMINAL SIZE |
| 105a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 105a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 105b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 105b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 105b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 106 | Mfr reference dwg | NA |  |
| 107a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog temperature tag |  |  |
| 112b | Temp-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog temperature LRV |  |  |
| 112cu | Analog temp LRV units | °C | UNITS |
| 112cu | Analog temp LRV units | °F | UNITS |
| 112cu | Analog temp LRV units | C | UNITS |
| 112cu | Analog temp LRV units | F | UNITS |
| 112d | Analog temperature URV |  |  |
| 112du | Analog temp URV units | °C | UNITS |
| 112du | Analog temp URV units | °F | UNITS |
| 112du | Analog temp URV units | C | UNITS |
| 112du | Analog temp URV units | F | UNITS |
| 112e | Analog temp signal action | direct |  |
| 112e | Analog temp signal action | reverse |  |
| 112f | Analog temp output LRV | 3 |  |
| 112f | Analog temp output LRV | 4 |  |
| 112fu | Anlg temp output LRV units | mA | UNITS |
| 112fu | Anlg temp output LRV units | psig | UNITS |
| 112g | Analog temp output URV | 15 |  |
| 112g | Analog temp output URV | 20 |  |
| 112gu | Anlg temp output URV units | kPa | UNITS |
| 112gu | Anlg temp output URV units | mA | UNITS |
| 112gu | Anlg temp output URV units | psig | UNITS |
| 113a | Scale tag no |  |  |
| 113b | Temperature-Scale | CALIBRATION/TEST DESC |  |
| 113c | Scale temperature LRV |  | LOWER RANGE-VALUE |
| 113cu | Scale temp LRV units | °C | UNITS |
| 113cu | Scale temp LRV units | °F | UNITS |
| 113cu | Scale temp LRV units | C | UNITS |
| 113cu | Scale temp LRV units | F | UNITS |
| 113d | Scale temperature URV |  | UPPER RANGE-VALUE |
| 113du | Scale temp URV units | °C | UNITS |
| 113du | Scale temp URV units | °F | UNITS |
| 113du | Scale temp URV units | C | UNITS |
| 113du | Scale temp URV units | F | UNITS |
| 113e | Scale temp signal action | direct |  |
| 113f | Scale Lower Range-Value |  |  |
| 113fu | Scale LRV units | °C | UNITS |
| 113fu | Scale LRV units | °F | UNITS |
| 113fu | Scale LRV units | C | UNITS |
| 113fu | Scale LRV units | F | UNITS |
| 113g | Scale Upper Range-Value |  |  |
| 113gu | Scale URV units | °C | UNITS |
| 113gu | Scale URV units | °F | UNITS |
| 113gu | Scale URV units | C | UNITS |
| 113gu | Scale URV units | F | UNITS |
| 114b | Test pressure | CALIBRATION/TEST DESC |  |
| 114d | Test pressure URV |  |  |
| 114du | Test pressure URV units | psig | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type |  |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |