| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | OPERATING PARAMETERS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017 | Related equipment |  |  |
| 018 | Service |  |  |
| 020 | P&ID/Reference dwg number | NA |  |
| 021 | Material name | NA | MATERIAL |
| 022 | Maximum pressure |  |  |
| 022u | Maximum pressure units | psig | UNITS |
| 023 | Minimum temperature |  |  |
| 023u | Minimum temperature units | °C | UNITS |
| 023u | Minimum temperature units | °F | UNITS |
| 023u | Minimum temperature units | C | UNITS |
| 023u | Minimum temperature units | F | UNITS |
| 024 | Normal temperature |  |  |
| 024u | Normal temperature units | °C | UNITS |
| 024u | Normal temperature units | °F | UNITS |
| 024u | Normal temperature units | C | UNITS |
| 024u | Normal temperature units | F | UNITS |
| 025 | Maximum temperature |  |  |
| 025u | Maximum temperature units | °C | UNITS |
| 025u | Maximum temperature units | °F | UNITS |
| 025u | Maximum temperature units | C | UNITS |
| 025u | Maximum temperature units | F | UNITS |
| 026 | Material phase | gas | MATERIAL PHASE |
| 026 | Material phase | liquid | MATERIAL PHASE |
| 026 | Material phase | vapor | MATERIAL PHASE |
| 027 | Maximum fluid velocity |  |  |
| 027u | Maximum velocity units | ft/s | UNITS |
| 028a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030 | PROCESS CONNECTION AND CASE | SECTION TITLE |  |
| 031 | Case type | stem mounted | CASE |
| 031 | Case type | surface mount | CASE |
| 032 | Case style | hermetically sealed | CASE |
| 032 | Case style | liquid filled | CASE |
| 032 | Case style | sealed | CASE |
| 033 | Case size | 1 3/4 in |  |
| 033 | Case size | 1 in |  |
| 033 | Case size | 2 in |  |
| 033 | Case size | 3 in |  |
| 033 | Case size | 5 in |  |
| 034 | Connector conn nom size | 1/4 in | NOMINAL SIZE |
| 034 | Connector conn nom size | 1/2 in | NOMINAL SIZE |
| 035a | Connector conn type | plain |  |
| 035a | Connector conn type | threaded |  |
| 035b | Connector conn style | NPT(F) |  |
| 035b | Connector conn style | pointed |  |
| 036 | Connection location | adjustable angle |  |
| 036 | Connection location | back |  |
| 036 | Connection location | bottom |  |
| 036 | Connection location | left side |  |
| 036 | Connection location | right side |  |
| 036 | Connection location | top |  |
| 037 | Ring style | cam |  |
| 037 | Ring style | crimped |  |
| 037 | Ring style | friction |  |
| 037 | Ring style | slip |  |
| 037 | Ring style | threaded |  |
| 037 | Ring style | NA |  |
| 038a | Stem outside diameter | .142 |  |
| 038a | Stem outside diameter | .250 |  |
| 038a | Stem outside diameter | .375 |  |
| 038au | Stem diameter units | in | UNITS |
| 038b | Stem length | 2.5 |  |
| 038b | Stem length | 4 |  |
| 038b | Stem length | 5 |  |
| 038b | Stem length | 6 |  |
| 038b | Stem length | 8 |  |
| 038b | Stem length | 9 |  |
| 038b | Stem length | 12 |  |
| 038b | Stem length | 15 |  |
| 038b | Stem length | 18 |  |
| 038b | Stem length | 24 |  |
| 038bu | Stem length units | in | UNITS |
| 039 | Stem/Bulb material | 304 SST | MATERIAL |
| 039 | Stem/Bulb material | NA | MATERIAL |
| 040 | Case material | 304 SST | MATERIAL |
| 040 | Case material | carbon steel | MATERIAL |
| 040 | Case material | NA | MATERIAL |
| 042 | Exterior treatment-color | black epoxy coated | MATERIAL |
| 042 | Exterior treatment-color | black finish | MATERIAL |
| 042 | Exterior treatment-color | polished stainless steel | MATERIAL |
| 042 | Exterior treatment-color | NA | MATERIAL |
| 043 | Window material | heat treated glass | MATERIAL |
| 043 | Window material | laminated glass | MATERIAL |
| 043 | Window material | plain glass | MATERIAL |
| 043 | Window material | plastic | MATERIAL |
| 043 | Window material | NA | MATERIAL |
| 044 | Connector material | 316 SST | MATERIAL |
| 044 | Connector material | brass | MATERIAL |
| 044 | Connector material | carbon steel | MATERIAL |
| 044 | Connector material | NA | MATERIAL |
| 045a | Defined attribute 1 name | protective case | DEFINABLE ATTRIBUTE NAME |
| 045b | Defined attribute 1 data | polyethylene clip-sheath | DEFINABLE ATTRIBUTE VALUE |
| 046a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 047 | SENSING ELEMENT | SECTION TITLE |  |
| 048 | Element type | bimetallic helical |  |
| 049 | Nominal accuracy grade | A (1.0% span) |  |
| 049 | Nominal accuracy grade | AA (1.0/0.5/1.0% span) |  |
| 049 | Nominal accuracy grade | B (2.0% span) |  |
| 049 | Nominal accuracy grade | C (3.0/1.0/3.0% span) |  |
| 049 | Nominal accuracy grade | D (5.0/1.0/5.0% span) |  |
| 050a | Defined attribute 1 name | dampening style | DEFINABLE ATTRIBUTE NAME |
| 050b | Defined attribute 1 data | silicone oil | DEFINABLE ATTRIBUTE VALUE |
| 051a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 051b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 052a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 052b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 053 | DIAL AND POINTER | SECTION TITLE |  |
| 054 | Dial scale type | dual scale |  |
| 054 | Dial scale type | single scale |  |
| 054 | Dial scale type | single scale,multiplane |  |
| 055 | Pointer adjustment | adjustable pointer |  |
| 055 | Pointer adjustment | external reset |  |
| 055 | Pointer adjustment | non-adjustable |  |
| 055 | Pointer adjustment | rotatable dial |  |
| 055 | Pointer adjustment | NA |  |
| 056 | Graduations and color | mirror |  |
| 056 | Graduations and color | b&r marks on white bkgd |  |
| 056 | Graduations and color | black marks on white bkgd |  |
| 056 | Graduations and color | white marks on black bkgd |  |
| 056 | Graduations and color | NA |  |
| 056 | Graduations and color | NA |  |
| 057a | Defined attribute 1 name | pointer type | DEFINABLE ATTRIBUTE NAME |
| 057a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 1 data | maximum pointer |  |
| 057b | Defined attribute 1 data | min and max pointers |  |
| 057b | Defined attribute 1 data | minimum pointer |  |
| 057b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 058a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 058b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 059a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | THERMOWELL OR PROTECTIVE TUBE | SECTION TITLE |  |
| 061 | Construction type | bar stock thermowell |  |
| 061 | Construction type | closed end Prot tube |  |
| 061 | Construction type | miniature Protecting tube |  |
| 061 | Construction type | open end protection tube |  |
| 061 | Construction type | NA |  |
| 062 | Shank style | step down |  |
| 062 | Shank style | straight |  |
| 062 | Shank style | tapered |  |
| 062 | Shank style | NA |  |
| 063a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 063a | Process conn nominal size |  | NOMINAL SIZE |
| 063a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 6 in | NOMINAL SIZE |
| 063b | Process conn nom rating |  | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 064a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 064a | Process conn termn type | collar | END CONNECTION CATEGORY |
| 064a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 064a | Process conn termn type | gj | END CONNECTION CATEGORY |
| 064a | Process conn termn type | plain | END CONNECTION CATEGORY |
| 064a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 064a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 064b | Process conn termn style | 16A | END CONNECTION TYPE |
| 064b | Process conn termn style | 16A w/nut | END CONNECTION TYPE |
| 064b | Process conn termn style | 16AMP | END CONNECTION TYPE |
| 064b | Process conn termn style | ff | END CONNECTION TYPE |
| 064b | Process conn termn style | hub | END CONNECTION TYPE |
| 064b | Process conn termn style | K16A | END CONNECTION TYPE |
| 064b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 064b | Process conn termn style | rf | END CONNECTION TYPE |
| 064b | Process conn termn style | rtj | END CONNECTION TYPE |
| 064b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 064b | Process conn termn style | vs | END CONNECTION TYPE |
| 064b | Process conn termn style | weld-in | END CONNECTION TYPE |
| 065a | Internal conn nom size | 1/2 in | NOMINAL SIZE |
| 065b | Internal conn termn style | NPT(F) |  |
| 066 | Bore diameter | .260 | BORE |
| 066 | Bore diameter | .385 | BORE |
| 066u | Bore diameter units | in | UNITS |
| 067 | Outside dia at support | .500 |  |
| 067 | Outside dia at support | .625 |  |
| 067 | Outside dia at support | .750 |  |
| 067 | Outside dia at support | .875 |  |
| 067 | Outside dia at support | 1.0 |  |
| 067 | Outside dia at support | 1.062 |  |
| 067u | Outside support dia units | in | UNITS |
| 068 | Outside diameter at tip | .500 | UNITS |
| 068 | Outside diameter at tip | .625 | UNITS |
| 068 | Outside diameter at tip | .750 | UNITS |
| 068 | Outside diameter at tip | .765 | UNITS |
| 068u | Outside tip dia units | in | UNITS |
| 069 | Insertion length "U" | 4 | INSERTION LENGTH |
| 069 | Insertion length "U" | 4.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 7 | INSERTION LENGTH |
| 069 | Insertion length "U" | 7.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 10 | INSERTION LENGTH |
| 069 | Insertion length "U" | 10.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 13 | INSERTION LENGTH |
| 069 | Insertion length "U" | 13.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 16 | INSERTION LENGTH |
| 069 | Insertion length "U" | 16.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 19.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 22 | INSERTION LENGTH |
| 069 | Insertion length "U" | 22.5 | INSERTION LENGTH |
| 069u | Insertion length units | in | UNITS |
| 070 | Lagging extension lg "T" | 0 | LAGGING EXTENSION LENGTH |
| 070 | Lagging extension lg "T" | 2 | LAGGING EXTENSION LENGTH |
| 070 | Lagging extension lg "T" | 3 | LAGGING EXTENSION LENGTH |
| 070u | Extension length units | in | UNITS |
| 071 | Thermowell/Tube material | 304 SST | MATERIAL |
| 071 | Thermowell/Tube material | 304L SST | MATERIAL |
| 071 | Thermowell/Tube material | 316 SST | MATERIAL |
| 071 | Thermowell/Tube material | 316L SST | MATERIAL |
| 071 | Thermowell/Tube material | 446 SST | MATERIAL |
| 071 | Thermowell/Tube material | alloy 20 | MATERIAL |
| 071 | Thermowell/Tube material | alumina | MATERIAL |
| 071 | Thermowell/Tube material | aluminum | MATERIAL |
| 071 | Thermowell/Tube material | black steel pipe | MATERIAL |
| 071 | Thermowell/Tube material | carbon steel | MATERIAL |
| 071 | Thermowell/Tube material | carpenter 20 | MATERIAL |
| 071 | Thermowell/Tube material | copper Alloy | MATERIAL |
| 071 | Thermowell/Tube material | ductile iron | MATERIAL |
| 071 | Thermowell/Tube material | hastelloy B | MATERIAL |
| 071 | Thermowell/Tube material | hastelloy C276 | MATERIAL |
| 071 | Thermowell/Tube material | iron (Cast) | MATERIAL |
| 071 | Thermowell/Tube material | kel-F | MATERIAL |
| 071 | Thermowell/Tube material | monel 400 | MATERIAL |
| 071 | Thermowell/Tube material | mullite | MATERIAL |
| 071 | Thermowell/Tube material | nickel Alloy,200 | MATERIAL |
| 071 | Thermowell/Tube material | nickel Alloy,600 | MATERIAL |
| 071 | Thermowell/Tube material | nickel Alloy,800 | MATERIAL |
| 071 | Thermowell/Tube material | PFA Teflon coated | MATERIAL |
| 071 | Thermowell/Tube material | porcelain | MATERIAL |
| 071 | Thermowell/Tube material | silicon-carbide | MATERIAL |
| 071 | Thermowell/Tube material | silicon-nitride | MATERIAL |
| 071 | Thermowell/Tube material | stellite | MATERIAL |
| 071 | Thermowell/Tube material | tantalum | MATERIAL |
| 071 | Thermowell/Tube material | titanium | MATERIAL |
| 071 | Thermowell/Tube material | zirconium | MATERIAL |
| 071 | Thermowell/Tube material | NA | MATERIAL |
| 072 | Sheath material-thickness | tantalum/.007 | MATERIAL |
| 072 | Sheath material-thickness | NA | MATERIAL |
| 073a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 076 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 077a | Max press at design temp |  | PRESSURE |
| 077au | Design pressure units | psig | UNITS |
| 077b | Max design temperature |  | DESIGN TEMPERATURE |
| 077bu | Design temperature units | °C | UNITS |
| 077bu | Design temperature units | °F | UNITS |
| 077bu | Design temperature units | C | UNITS |
| 077bu | Design temperature units | F | UNITS |
| 078a | Min working temperature |  | WORKING TEMPERATURE |
| 078au | Min working temp units | °C | UNITS |
| 078au | Min working temp units | °F | UNITS |
| 078au | Min working temp units | C | UNITS |
| 078au | Min working temp units | F | UNITS |
| 078b | Max working temperature |  | WORKING TEMPERATURE |
| 078bu | Max working temp units | °C | UNITS |
| 078bu | Max working temp units | °F | UNITS |
| 078bu | Max working temp units | C | UNITS |
| 078bu | Max working temp units | F | UNITS |
| 079a | Max fluid velocity limit |  |  |
| 079au | Fluid velocity units | ft/s | UNITS |
| 079b | Max velocity design temp |  |  |
| 079bu | Max vel design temp units | °C | UNITS |
| 079bu | Max vel design temp units | °F | UNITS |
| 079bu | Max vel design temp units | C | UNITS |
| 079bu | Max vel design temp units | F | UNITS |
| 080 | Sensitive portion length |  |  |
| 080u | Sensitive length units | in | UNITS |
| 081a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 081au | Min amb working temp units | °C | UNITS |
| 081au | Min amb working temp units | °F | UNITS |
| 081au | Min amb working temp units | C | UNITS |
| 081au | Min amb working temp units | F | UNITS |
| 081b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 081bu | Max amb temperature units | °C | UNITS |
| 081bu | Max amb temperature units | °F | UNITS |
| 081bu | Max amb temperature units | C | UNITS |
| 081bu | Max amb temperature units | F | UNITS |
| 082a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 083b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 084b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | ACCESSORIES | SECTION TITLE |  |
| 086 | Bushing nominal size | NA |  |
| 087 | Bushing material | NA | MATERIAL |
| 088a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 4 name | NA |  |
| 091b | Defined attribute 4 data | NA |  |
| 092 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 093 | Custom tag | fiber tag |  |
| 093 | Custom tag | sst permanent attached |  |
| 093 | Custom tag | sst wired-on |  |
| 093 | Custom tag | NA |  |
| 094 | Reference specification | NA | REFERENCE SPECIFICATION |
| 095 | Compliance standard | NA | NACE STANDARD |
| 096 | Construction code | NA |  |
| 097 | Calculation report | NA |  |
| 098a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Removal clearance |  |  |
| 102u | Removal clearance units | in | UNITS |
| 102u | Removal clearance units | mm | UNITS |
| 103 | Maximum thickness |  |  |
| 103u | Thickness units | in | UNITS |
| 103u | Thickness units | mm | UNITS |
| 104 | Max case outside dia |  |  |
| 104u | Case diameter units | in | UNITS |
| 104u | Case diameter units | mm | UNITS |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag/Functional ident |  |  |
| 112b | Temperature/Scale 1 | CALIBRATION/TEST DESC |  |
| 112f | Scale 1 Lower Range-Value | 0 |  |
| 112f | Scale 1 Lower Range-Value | 10 |  |
| 112f | Scale 1 Lower Range-Value | -20 |  |
| 112f | Scale 1 Lower Range-Value | 30 |  |
| 112f | Scale 1 Lower Range-Value | -50 |  |
| 112f | Scale 1 Lower Range-Value | 50 |  |
| 112f | Scale 1 Lower Range-Value | -80 |  |
| 112f | Scale 1 Lower Range-Value | 100 |  |
| 112f | Scale 1 Lower Range-Value | 200 |  |
| 112fu | Scale 1 LRV units | °C | UNITS |
| 112fu | Scale 1 LRV units | °F | UNITS |
| 112fu | Scale 1 LRV units | C | UNITS |
| 112fu | Scale 1 LRV units | F | UNITS |
| 112g | Scale 1 Upper Range-Value | 50 |  |
| 112g | Scale 1 Upper Range-Value | 100 |  |
| 112g | Scale 1 Upper Range-Value | 120 |  |
| 112g | Scale 1 Upper Range-Value | 130 |  |
| 112g | Scale 1 Upper Range-Value | 150 |  |
| 112g | Scale 1 Upper Range-Value | 200 |  |
| 112g | Scale 1 Upper Range-Value | 250 |  |
| 112g | Scale 1 Upper Range-Value | 300 |  |
| 112g | Scale 1 Upper Range-Value | 400 |  |
| 112g | Scale 1 Upper Range-Value | 450 |  |
| 112g | Scale 1 Upper Range-Value | 500 |  |
| 112g | Scale 1 Upper Range-Value | 550 |  |
| 112g | Scale 1 Upper Range-Value | 700 |  |
| 112g | Scale 1 Upper Range-Value | 800 |  |
| 112g | Scale 1 Upper Range-Value | 1000 |  |
| 112gu | Scale 1 URV units | °C | UNITS |
| 112gu | Scale 1 URV units | °F | UNITS |
| 112gu | Scale 1 URV units | C | UNITS |
| 112gu | Scale 1 URV units | F | UNITS |
| 113a | Tag/Functional ident |  |  |
| 113b | Temperature/Scale 2 | CALIBRATION/TEST DESC |  |
| 113f | Scale 2 Lower Range-Value |  |  |
| 113fu | Scale 2 LRV units | °C | UNITS |
| 113fu | Scale 2 LRV units | °F | UNITS |
| 113fu | Scale 2 LRV units | C | UNITS |
| 113fu | Scale 2 LRV units | F | UNITS |
| 113g | Scale 2 Upper Range-Value |  |  |
| 113gu | Scale 2 URV units | °C | UNITS |
| 113gu | Scale 2 URV units | °F | UNITS |
| 113gu | Scale 2 URV units | C | UNITS |
| 113gu | Scale 2 URV units | F | UNITS |
| 114b | Test pressure | CALIBRATION/TEST DESC |  |
| 114d | Test pressure URV |  |  |
| 114du | Test press URV units | bar(g) | UNITS |
| 114du | Test press URV units | psig | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type |  |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |