| Pick List 20W1001 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | ADMINISTRATIVE IDENTIFICATIONS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017a | Defined attribute 1 name | contact | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | equipment module | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | production line | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | SERVICE IDENTIFICATIONS | SECTION TITLE |  |
| 019 | Tag/Functional ident |  |  |
| 020 | Related equipment |  |  |
| 021 | Service |  |  |
| 023 | P&ID/Reference dwg number |  |  |
| 024 | Washdown environment | caustic washdown |  |
| 024 | Washdown environment | high-pressure water |  |
| 024 | Washdown environment | NA |  |
| 025 | Vessel orientation | horizontal |  |
| 025 | Vessel orientation | NA |  |
| 025 | Vessel orientation | vertical |  |
| 026 | Vessel nominal diameter |  | NOMINAL SIZE |
| 026u | Vessel nominal dia units | ft | UNITS |
| 026u | Vessel nominal dia units | in | UNITS |
| 026u | Vessel nominal dia units | m | UNITS |
| 026u | Vessel nominal dia units | mm | UNITS |
| 027 | Vessel overall height |  |  |
| 027u | Vessel height units | ft | UNITS |
| 027u | Vessel height units | in | UNITS |
| 027u | Vessel height units | m | UNITS |
| 027u | Vessel height units | mm | UNITS |
| 028 | Vessel support type | gusset |  |
| 028 | Vessel support type | legs |  |
| 028 | Vessel support type | NA |  |
| 028 | Vessel support type | platform |  |
| 028 | Vessel support type | suspended |  |
| 029 | Qty vessel support points | 2 |  |
| 029 | Qty vessel support points | 3 |  |
| 029 | Qty vessel support points | 4 |  |
| 029 | Qty vessel support points | 6 |  |
| 029 | Qty vessel support points | 8 |  |
| 029 | Qty vessel support points | NA |  |
| 030 | Agitation type | agitator |  |
| 030 | Agitation type | mixer |  |
| 030 | Agitation type | NA |  |
| 031 | Piping connection style | fixed |  |
| 031 | Piping connection style | flexible |  |
| 031 | Piping connection style | NA |  |
| 032 | Vessel support material | carbon steel | MATERIAL |
| 032 | Vessel support material | NA | MATERIAL |
| 032 | Vessel support material | stainless steel | MATERIAL |
| 033 | Seismic classification | NA |  |
| 033 | Seismic classification | zone 0 |  |
| 033 | Seismic classification | zone 1 |  |
| 033 | Seismic classification | zone 2 |  |
| 033 | Seismic classification | zone 3 |  |
| 033 | Seismic classification | zone 4 |  |
| 041a | Local hazardous area cl | I |  |
| 041a | Local hazardous area cl | II |  |
| 041a | Local hazardous area cl | III |  |
| 041b | Local hazardous Div/Zone | 0 |  |
| 041b | Local hazardous Div/Zone | 1 |  |
| 041b | Local hazardous Div/Zone | 2 |  |
| 041c | Local hazardous area gr | A |  |
| 041c | Local hazardous area gr | B |  |
| 041c | Local hazardous area gr | C |  |
| 041c | Local hazardous area gr | D |  |
| 041c | Local hazardous area gr | E |  |
| 041c | Local hazardous area gr | F |  |
| 041c | Local hazardous area gr | G |  |
| 041c | Local hazardous area gr | IIA |  |
| 041c | Local hazardous area gr | IIB |  |
| 041c | Local hazardous area gr | IIC |  |
| 042a | Local area min ign temp |  |  |
| 042au | Local ign temp units | °C | UNITS |
| 042au | Local ign temp units | °F | UNITS |
| 042au | Local ign temp units | C | UNITS |
| 042au | Local ign temp units | F | UNITS |
| 042b | Local ign temp ident number | T1 |  |
| 042b | Local ign temp ident number | T2 |  |
| 042b | Local ign temp ident number | T2A |  |
| 042b | Local ign temp ident number | T2B |  |
| 042b | Local ign temp ident number | T2C |  |
| 042b | Localign temp ident number | T2D |  |
| 042b | Local ign temp ident number | T3 |  |
| 042b | Local ign temp ident number | T3A |  |
| 042b | Local ign temp ident number | T3B |  |
| 042b | Local ign temp ident number | T3C |  |
| 042b | Local ign temp ident number | T4 |  |
| 042b | Local ign temp ident number | T4A |  |
| 042b | Local ign temp ident number | T5 |  |
| 042b | Local ign temp ident number | T6 |  |
| 043a | Remote hazardous area cl | I |  |
| 043a | Remote hazardous area cl | II |  |
| 043a | Remote hazardous area cl | III |  |
| 043b | Remote hazardous Div/Zone | 0 |  |
| 043b | Remote hazardous Div/Zone | 1 |  |
| 043b | Remote hazardous Div/Zone | 2 |  |
| 043c | Remote hazardous area gr | A |  |
| 043c | Remote hazardous area gr | B |  |
| 043c | Remote hazardous area gr | C |  |
| 043c | Remote hazardous area gr | D |  |
| 043c | Remote hazardous area gr | E |  |
| 043c | Remote hazardous area gr | F |  |
| 043c | Remote hazardous area gr | G |  |
| 043c | Remote hazardous area gr | IIA |  |
| 043c | Remote hazardous area gr | IIB |  |
| 043c | Remote hazardous area gr | IIC |  |
| 044a | Remote area min ign temp |  |  |
| 044au | Remote area min ign temp units | °C | UNITS |
| 044au | Remote area min ign temp units | °F | UNITS |
| 044au | Remote area min ign temp units | C | UNITS |
| 044au | Remote area min ign temp units | F | UNITS |
| 044b | Remote temp ident number | T1 |  |
| 044b | Remote temp ident number | T2 |  |
| 044b | Remote temp ident number | T2A |  |
| 044b | Remote temp ident number | T2B |  |
| 044b | Remote temp ident number | T2C |  |
| 044b | Remote temp ident number | T2D |  |
| 044b | Remote temp ident number | T3 |  |
| 044b | Remote temp ident number | T3A |  |
| 044b | Remote temp ident number | T3B |  |
| 044b | Remote temp ident number | T3C |  |
| 044b | Remote temp ident number | T4 |  |
| 044b | Remote temp ident number | T4A |  |
| 044b | Remote temp ident number | T5 |  |
| 044b | Remote temp ident number | T6 |  |
| 045a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 045b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 046a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 047 | COMPONENT DESIGN CRITERIA | SECTION TITLE |  |
| 048 | Component type | electronic weight scale |  |
| 048 | Component type | tension sensor |  |
| 048 | Component type | tension transmitter |  |
| 048 | Component type | weight indicator |  |
| 048 | Component type | weight sensor |  |
| 048 | Component type | weight transmitter |  |
| 049 | Component style | bench scale | INSTRUMENT TYPE |
| 049 | Component style | load beam transducer | INSTRUMENT TYPE |
| 049 | Component style | load cell | INSTRUMENT TYPE |
| 049 | Component style | NA | INSTRUMENT TYPE |
| 049 | Component style | platform scale | INSTRUMENT TYPE |
| 049 | Component style | web/wire tension xdcr | INSTRUMENT TYPE |
| 049 | Component style | weight module | INSTRUMENT TYPE |
| 050 | Output signal type | analog current | SIGNAL |
| 050 | Output signal type | analog current & relays | SIGNAL |
| 050 | Output signal type | analog voltage | SIGNAL |
| 050 | Output signal type | digital multi-variable | SIGNAL |
| 050 | Output signal type | digital single-variable | SIGNAL |
| 050 | Output signal type | NA | SIGNAL |
| 050 | Output signal type | relay | SIGNAL |
| 051 | Characteristic curve | linear with measurement | CHARACTERISTIC CURVE |
| 051 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 052 | Compensation style | NA |  |
| 052 | Compensation style | temperature |  |
| 053 | Type of protection | encapsulation | TYPE OF PROTECTION |
| 053 | Type of protection | explosion proof enclosure | TYPE OF PROTECTION |
| 053 | Type of protection | intrinsic safety | TYPE OF PROTECTION |
| 053 | Type of protection | NA | TYPE OF PROTECTION |
| 053 | Type of protection | nonincendive equipment | TYPE OF PROTECTION |
| 054 | Criticality code | 1 | CRITICALITY CODE |
| 054 | Criticality code | 2 | CRITICALITY CODE |
| 054 | Criticality code | 3 | CRITICALITY CODE |
| 055a | Max EMI susceptibility | 1-a:0.1 |  |
| 055a | Max EMI susceptibility | 1-b:0.1 |  |
| 055a | Max EMI susceptibility | 1-c:0.1 |  |
| 055a | Max EMI susceptibility | 2-a:0.1 |  |
| 055a | Max EMI susceptibility | 2-b:0.1 |  |
| 055a | Max EMI susceptibility | 2-c:0.1 |  |
| 055a | Max EMI susceptibility | 3-a:0.1 |  |
| 055a | Max EMI susceptibility | 3-b:0.1 |  |
| 055a | Max EMI susceptibility | 3-c:0.1 |  |
| 055b | Ref base susceptibility | % reading |  |
| 055b | Ref base susceptibility | % span |  |
| 055b | Ref base susceptibility | % Span@30 V/m |  |
| 056 | Max response time |  |  |
| 056u | Max response time units | ms | UNITS |
| 057a | Minimum required accuracy |  |  |
| 057b | Accuracy rating ref base | % input span | ACCURACY REFERENCE |
| 057b | Accuracy rating ref base | % scale | ACCURACY REFERENCE |
| 057b | Accuracy rating ref base | % URV | ACCURACY REFERENCE |
| 057b | Accuracy rating ref base | count | ACCURACY REFERENCE |
| 058a | Avail nom power supply | 110 |  |
| 058a | Avail nom power supply | 115 |  |
| 058a | Avail nom power supply | 120 |  |
| 058a | Avail nom power supply | 220 |  |
| 058a | Avail nom power supply | 220 |  |
| 058a | Avail nom power supply | 230 |  |
| 058a | Avail nom power supply | 24 |  |
| 058a | Avail nom power supply | 240 |  |
| 058a | Avail nom power supply | 250 |  |
| 058au | Power supply units | V(ac) | UNITS |
| 058au | Power supply units | V(dc) | UNITS |
| 058b | Number wires | 2 |  |
| 058b | Number wires | 3 |  |
| 058b | Number wires | 4 |  |
| 059 | Testing/Listing agency | BASEEFA |  |
| 059 | Testing/Listing agency | CENELEC |  |
| 059 | Testing/Listing agency | CSA |  |
| 059 | Testing/Listing agency | FM |  |
| 059 | Testing/Listing agency | NA |  |
| 059 | Testing/Listing agency | UL |  |
| 060 | Test requirements | NA |  |
| 061 | Supply loss failure mode | activate fault relay |  |
| 061 | Supply loss failure mode | deactivate output relay |  |
| 061 | Supply loss failure mode | drive output low |  |
| 061 | Supply loss failure mode | NA |  |
| 062 | Signal loss failure mode | activate fault relay |  |
| 062 | Signal loss failure mode | drive output high |  |
| 062 | Signal loss failure mode | drive output low |  |
| 062 | Signal loss failure mode | NA |  |
| 063a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 063b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 064a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 065a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069 | PROCESS DESIGN CONDITIONS | SECTION TITLE |  |
| 071a | Minimum temperature |  |  |
| 071au | Min temperature units | °C | UNITS |
| 071au | Min temperature units | °F | UNITS |
| 071au | Min temperature units | C | UNITS |
| 071au | Min temperature units | F | UNITS |
| 071b | Maximum temperature |  |  |
| 071bu | Max temperature units | °C | UNITS |
| 071bu | Max temperature units | °F | UNITS |
| 071bu | Max temperature units | C | UNITS |
| 071bu | Max temperature units | F | UNITS |
| 072a | Min Dead load/empty weight |  |  |
| 072au | Min Dead weight units | gm | UNITS |
| 072au | Min Dead weight units | kg | UNITS |
| 072au | Min Dead weight units | lb | UNITS |
| 072au | Min Dead weight units | oz | UNITS |
| 072b | Max Dead load/empty weight |  |  |
| 072bu | Max Dead weight units | gm | UNITS |
| 072bu | Max Dead weight units | kg | UNITS |
| 072bu | Max Dead weight units | lb | UNITS |
| 072bu | Max Dead weight units | oz | UNITS |
| 073a | Min Live load/content weight |  |  |
| 073au | Min Live weight units | gm | UNITS |
| 073au | Min Live weight units | kg | UNITS |
| 073au | Min Live weight units | lb | UNITS |
| 073au | Min Live weight units | oz | UNITS |
| 073b | Max Live load/content weight |  |  |
| 073bu | Max Live weight units | gm | UNITS |
| 073bu | Max Live weight units | kg | UNITS |
| 073bu | Max Live weight units | lb | UNITS |
| 073bu | Max Live weight units | oz | UNITS |
| 074a | Min tension force |  |  |
| 074au | Min tension force units | lb |  |
| 074b | Max tension force |  |  |
| 074bu | Max tension force units | lb |  |
| 075 | Defined attribute 1 name |  | DEFINABLE ATTRIBUTE NAME |
| 075a | Defined attribute 1 min |  |  |
| 075au | Min attr 1 units |  | UNITS |
| 075b | Defined attribute 1 max |  |  |
| 075bu | Max attr 1 units |  | UNITS |
| 076 | Defined attribute 2 name |  | DEFINABLE ATTRIBUTE NAME |
| 076a | Defined attribute 2 min |  |  |
| 076au | Min attr 2 units |  | UNITS |
| 076b | Defined attribute 2 max |  |  |
| 076bu | Max attr 2 units |  | UNITS |
| 077 | Defined attribute 3 name |  | DEFINABLE ATTRIBUTE NAME |
| 077a | Defined attribute 3 min |  |  |
| 077au | Min attr 3 units |  | UNITS |
| 077b | Defined attribute 3 max |  |  |
| 077bu | Max attr 3 units |  | UNITS |
| 094 | CALCULATED VARIABLES | SECTION TITLE |  |
| 095b | Max Seismic forces |  |  |
| 095bu | Max Seismic forces units | kg | UNITS |
| 095bu | Max Seismic forces units | lb | UNITS |
| 096b | Max Wind forces |  |  |
| 096bu | Max Wind forces units | kg | UNITS |
| 096bu | Max Wind forces units | lb | UNITS |
| 097 | Defined attribute 1 name |  | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data |  | DEFINABLE ATTRIBUTE VALUE |
| 097bu | Defined attribute 1 units |  | UNITS |
| 098 | Defined attribute 2 name |  | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data |  | DEFINABLE ATTRIBUTE VALUE |
| 098bu | Defined attribute 2 units |  | UNITS |
| 099 | Defined attribute 3 name |  | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data |  | DEFINABLE ATTRIBUTE VALUE |
| 099bu | Defined attribute 3 units |  | UNITS |
| 100 | MATERIAL PROPERTIES | SECTION TITLE | MATERIAL |
| 101 | Name |  |  |
| 102 | Material phase | liquid | MATERIAL PHASE |
| 102 | Material phase | solid | MATERIAL PHASE |
| 103a | Density at ref temp |  |  |
| 103au | Density units | g/cm3 | UNITS |
| 103au | Density units | kg/m3 | UNITS |
| 103au | Density units | lb/ft3 | UNITS |
| 103au | Density units | lb/galUS | UNITS |
| 103b | Density ref temperature | 25 |  |
| 103b | Density ref temperature | 4 |  |
| 103b | Density ref temperature | 60 |  |
| 103b | Density ref temperature | 75 |  |
| 103b | Density ref temperature | 77 |  |
| 103bu | Density ref temp units | °C | UNITS |
| 103bu | Density ref temp units | °F | UNITS |
| 103bu | Density ref temp units | C | UNITS |
| 103bu | Density ref temp units | F | UNITS |
| 104a | NFPA health hazard | 0 | HEALTH HAZARD RATING |
| 104a | NFPA health hazard | 1 | HEALTH HAZARD RATING |
| 104a | NFPA health hazard | 2 | HEALTH HAZARD RATING |
| 104a | NFPA health hazard | 3 | HEALTH HAZARD RATING |
| 104a | NFPA health hazard | 4 | HEALTH HAZARD RATING |
| 104b | NFPA flammability | 0 | FLAMMABILITY HAZARD RATING |
| 104b | NFPA flammability | 1 | FLAMMABILITY HAZARD RATING |
| 104b | NFPA flammability | 2 | FLAMMABILITY HAZARD RATING |
| 104b | NFPA flammability | 3 | FLAMMABILITY HAZARD RATING |
| 104b | NFPA flammability | 4 | FLAMMABILITY HAZARD RATING |
| 104c | NFPA reactivity | 0 | REACTIVITY HAZARD RATING |
| 104c | NFPA reactivity | 1 | REACTIVITY HAZARD RATING |
| 104c | NFPA reactivity | 2 | REACTIVITY HAZARD RATING |
| 104c | NFPA reactivity | 3 | REACTIVITY HAZARD RATING |
| 104c | NFPA reactivity | 4 | REACTIVITY HAZARD RATING |
| 105a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 105b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |