| Picklist 20Y2511 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | OPERATING PARAMETERS |  |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  |  |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 016a | Hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 016a | Hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 016b | Hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 016b | Hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 016b | Hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 016c | Hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 016c | Hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 016c | Hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 016c | Hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 016c | Hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 016c | Hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 016c | Hazardous area gr | G | AREA CLASSIFICATION (GROUP) |
| 016c | Hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 016c | Hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 016c | Hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 017a | Area min ign temp |  |  |
| 017au | ign temp units | °C | UNITS |
| 017au | ign temp units | °F | UNITS |
| 017au | ign temp units | C | UNITS |
| 017au | ign temp units | F | UNITS |
| 017b | ign temp ident no | T1 |  |
| 017b | ign temp ident no | T2 |  |
| 017b | ign temp ident no | T2A |  |
| 017b | ign temp ident no | T2B |  |
| 017b | ign temp ident no | T2C |  |
| 017b | ign temp ident no | T2D |  |
| 017b | ign temp ident no | T3 |  |
| 017b | ign temp ident no | T3A |  |
| 017b | ign temp ident no | T3B |  |
| 017b | ign temp ident no | T3C |  |
| 017b | ign temp ident no | T4 |  |
| 017b | ign temp ident no | T4A |  |
| 017b | ign temp ident no | T5 |  |
| 017b | ign temp ident no | T6 |  |
| 018a | Defined attribute 1 name | NA |  |
| 018b | Defined attribute 1 data | NA |  |
| 019a | Defined attribute 2 name | NA |  |
| 019b | Defined attribute 2 data | NA |  |
| 020 | JUNCTION DEVICE |  |  |
| 021 | Housing type | block/brick |  |
| 021 | Housing type | conduit adapter |  |
| 021 | Housing type | fully encapsulated |  |
| 021 | Housing type | general purpose enclosure |  |
| 021 | Housing type | overmolded body |  |
| 022 | Construction Style | connectorized |  |
| 022 | Construction Style | field wireable |  |
| 022 | Construction Style | wiring block |  |
| 023 | Trunk conn nominal size | 7/8 in, mini |  |
| 023 | Trunk conn nominal size | M12, euro |  |
| 023 | Trunk conn nominal size | M12, micro |  |
| 024 | Trunk connection type | cable gland |  |
| 024 | Trunk connection type | receptacle |  |
| 024 | Trunk connection type | threaded |  |
| 025 | Trunk connection style | 12-pin multi |  |
| 025 | Trunk connection style | 19-pin multi |  |
| 025 | Trunk connection style | 4-pin euro |  |
| 025 | Trunk connection style | 4-pin micro |  |
| 025 | Trunk connection style | 4-pin mini |  |
| 025 | Trunk connection style | for armored cable |  |
| 025 | Trunk connection style | for non-armored cable |  |
| 025 | Trunk connection style | NPT(F) |  |
| 026 | Spur conn nominal size | 7/8 in, mini |  |
| 026 | Spur conn nominal size | M12, euro |  |
| 026 | Spur conn nominal size | M12, micro |  |
| 026 | Spur conn nominal size | NA |  |
| 027 | Spur connection type | cable gland |  |
| 027 | Spur connection type | NA |  |
| 027 | Spur connection type | receptacle |  |
| 027 | Spur connection type | threaded |  |
| 028 | Spur connection style | 4-pin euro |  |
| 028 | Spur connection style | 4-pin micro |  |
| 028 | Spur connection style | 4-pin mini |  |
| 028 | Spur connection style | for armored cable |  |
| 028 | Spur connection style | for non-armored cable |  |
| 028 | Spur connection style | NA |  |
| 028 | Spur connection style | NPT(F) |  |
| 029 | Circuit protection style | NA |  |
| 029 | Circuit protection style | short circuit protection |  |
| 030 | Enclosure type no/class | 1,3,4,6P,13 |  |
| 030 | Enclosure type no/class | 4X |  |
| 030 | Enclosure type no/class | 6 |  |
| 030 | Enclosure type no/class | IP 54 |  |
| 030 | Enclosure type no/class | IP 67 |  |
| 030 | Enclosure type no/class | IP 68 |  |
| 031 | Digital commumication std | AS-i |  |
| 031 | Digital commumication std | FOUNDATION Fieldbus |  |
| 031 | Digital commumication std | FOUNDATION Fieldbus/PB |  |
| 031 | Digital commumication std | HART multidrop |  |
| 031 | Digital commumication std | HART point-to-point |  |
| 031 | Digital commumication std | PROFIBUS-PA |  |
| 032 | Conductor cabling type | 2-wire |  |
| 032 | Conductor cabling type | 3-wire |  |
| 033 | Spur/Drop quantity | 1 |  |
| 033 | Spur/Drop quantity | 10 |  |
| 033 | Spur/Drop quantity | 2 |  |
| 033 | Spur/Drop quantity | 3 |  |
| 033 | Spur/Drop quantity | 4 |  |
| 033 | Spur/Drop quantity | 6 |  |
| 033 | Spur/Drop quantity | 7 |  |
| 033 | Spur/Drop quantity | 8 |  |
| 034 | Grounding configuration | configure shield/ground |  |
| 034 | Grounding configuration | grounded shields |  |
| 034 | Grounding configuration | isolated shields |  |
| 034 | Grounding configuration | permanent grounded shield |  |
| 035 | Integral indicator style | LED indicators |  |
| 035 | Integral indicator style | NA |  |
| 036 | Signal termination type | cage clamp connector |  |
| 036 | Signal termination type | pluggable screw terminals |  |
| 036 | Signal termination type | receptacle |  |
| 036 | Signal termination type | removable terminal block |  |
| 036 | Signal termination type | screw terminal connectors |  |
| 036 | Signal termination type | screw terminals |  |
| 037 | Cert/Approval type | CE marked |  |
| 037 | Cert/Approval type | CSA hazardous location |  |
| 037 | Cert/Approval type | CSA intrinsic safe |  |
| 037 | Cert/Approval type | CSA nonincendive |  |
| 037 | Cert/Approval type | FM hazardous locations |  |
| 037 | Cert/Approval type | FM intrinsic safe |  |
| 037 | Cert/Approval type | FM nonincendive |  |
| 037 | Cert/Approval type | general location |  |
| 038 | Mounting type | DIN rail mount |  |
| 038 | Mounting type | surface mount |  |
| 039 | Terminator location | built-in selectable |  |
| 039 | Terminator location | NA |  |
| 039 | Terminator location | trunk connection |  |
| 040 | Transient protection | built-in surge suppressor |  |
| 040 | Transient protection | NA |  |
| 041 | Enclosure material | ABS plastic |  |
| 041 | Enclosure material | enamel coated alumimum |  |
| 041 | Enclosure material | epoxy coated alumimum |  |
| 041 | Enclosure material | fiberglass |  |
| 041 | Enclosure material | Hytrel |  |
| 041 | Enclosure material | lexan polycarbonate |  |
| 041 | Enclosure material | nylon |  |
| 041 | Enclosure material | polyurethane |  |
| 041 | Enclosure material | Santoprene |  |
| 042 | Trunk conn/Gland matl | NA |  |
| 042 | Trunk conn/Gland matl | nickel-platted brass |  |
| 042 | Trunk conn/Gland matl | polyamide plastic |  |
| 042 | Trunk conn/Gland matl | stainless steel |  |
| 043 | Spur conn/Gland matl | aluminum |  |
| 043 | Spur conn/Gland matl | aluminum |  |
| 043 | Spur conn/Gland matl | NA |  |
| 043 | Spur conn/Gland matl | nickel-platted brass |  |
| 043 | Spur conn/Gland matl | polyamide plastic |  |
| 043 | Spur conn/Gland matl | stainless steel |  |
| 044a | Defined attribute 1 name | NA |  |
| 044b | Defined attribute 1 data | NA |  |
| 045a | Defined attribute 2 name | NA |  |
| 045b | Defined attribute 2 data | NA |  |
| 046 | PERFORMANCE CHARACTERISTIC |  |  |
| 047a | Min ambient working temp | -13 |  |
| 047a | Min ambient working temp | -22 |  |
| 047a | Min ambient working temp | -30 |  |
| 047a | Min ambient working temp | -40 |  |
| 047a | Min ambient working temp | -45 |  |
| 047au | Min amb working temp units | °C |  |
| 047au | Min amb working temp units | °F |  |
| 047au | Min amb working temp units | C |  |
| 047au | Min amb working temp units | F |  |
| 047b | Max ambient working temp | 105 |  |
| 047b | Max ambient working temp | 158 |  |
| 047b | Max ambient working temp | 185 |  |
| 047b | Max ambient working temp | 221 |  |
| 047b | Max ambient working temp | 70 |  |
| 047b | Max ambient working temp | 85 |  |
| 047bu | Max amb temperature units | °C |  |
| 047bu | Max amb temperature units | °F |  |
| 047bu | Max amb temperature units | C |  |
| 047bu | Max amb temperature units | F |  |
| 048 | Maximum input dc voltage | 32 |  |
| 048 | Maximum input dc voltage | 35 |  |
| 048 | Maximum input dc voltage | 39 |  |
| 048u | Maximum input voltage units | V |  |
| 049 | Current consumption | 0.4 |  |
| 049 | Current consumption | 2.3 |  |
| 049 | Current consumption | 3.5 |  |
| 049 | Current consumption | 4.3 |  |
| 049 | Current consumption | 5 |  |
| 049a | Current consumption | 2.3 |  |
| 049u | Current consumption units | mA |  |
| 050 | Max current rating | 200 |  |
| 050 | Max current rating | 3 |  |
| 050 | Max current rating | 4 |  |
| 050 | Max current rating | 8 |  |
| 050 | Max current rating | 9 |  |
| 050u | Max current rating units | A |  |
| 050u | Max current rating units | mA |  |
| 051 | Current limiting | 1 |  |
| 051 | Current limiting | 297 |  |
| 051 | Current limiting | 36 |  |
| 051 | Current limiting | 47 |  |
| 051 | Current limiting | 49 |  |
| 051 | Current limiting | 52 |  |
| 051 | Current limiting | 55 |  |
| 051 | Current limiting | 59 |  |
| 051 | Current limiting | 78 |  |
| 051u | Current limiting units | A |  |
| 051u | Current limiting units | mA |  |
| 052a | Defined attribute 1 name | NA |  |
| 052b | Defined attribute 1 data | NA |  |
| 053a | Defined attribute 2 name | NA |  |
| 053b | Defined attribute 2 data | NA |  |
| 059 | ACCESSORIES |  |  |
| 060 | Extermal terminator | DIN rail mount |  |
| 060 | Extermal terminator | euro, nickel-plated conn |  |
| 060 | Extermal terminator | euro,stainless steel conn |  |
| 060 | Extermal terminator | mini, nickel-plated conn |  |
| 060 | Extermal terminator | mini,stainless steel conn |  |
| 060 | Extermal terminator | NA |  |
| 061 | Mounting hardware | 35 mm DIN rail, 1 m |  |
| 061 | Mounting hardware | NA |  |
| 062 | Special enclosures | conduit body C-form 8 |  |
| 062 | Special enclosures | conduit body C-mark 9 |  |
| 062 | Special enclosures | conduit body LB-form 8 |  |
| 062 | Special enclosures | conduit body LB-mark 9 |  |
| 062 | Special enclosures | conduit body LL-form 8 |  |
| 062 | Special enclosures | conduit body LL-mark 9 |  |
| 062 | Special enclosures | conduit body LR-form 8 |  |
| 062 | Special enclosures | conduit body LR-mark 9 |  |
| 062 | Special enclosures | NA |  |
| 063 | Connector cover/cap | euro, stainless steel |  |
| 063 | Connector cover/cap | mini, plastic cover |  |
| 063 | Connector cover/cap | NA |  |
| 064 | Connector lock | euro, nylon 6 lock |  |
| 064 | Connector lock | euro, nylon 6 lock FW |  |
| 064 | Connector lock | mini, nylon 6 lock |  |
| 064 | Connector lock | mini, nylon 6 lock FW |  |
| 064 | Connector lock | NA |  |
| 065a | Defined attribute 1 name | Mounting accessories |  |
| 065a | Defined attribute 1 name | NA |  |
| 065b | Defined attribute 1 data | DIN rail end stop |  |
| 065b | Defined attribute 1 data | NA |  |
| 066a | Defined attribute 2 name | NA |  |
| 066a | Defined attribute 2 name | Transient suppressor |  |
| 066b | Defined attribute 2 data | mini,stainless steel conn |  |
| 066b | Defined attribute 2 data | NA |  |
| 067 | SPECIAL REQUIREMENTS |  |  |
| 068 | Custom tag | fiber tag |  |
| 068 | Custom tag | NA |  |
| 068 | Custom tag | sst permanent attached |  |
| 068 | Custom tag | sst wired-on |  |
| 069 | Reference specification | NA |  |
| 070 | Compliance standard | ISA-50.02 |  |
| 070 | Compliance standard | NA |  |
| 071a | Defined attribute 1 name | NA |  |
| 071b | Defined attribute 1 data | NA |  |
| 072a | Defined attribute 2 name | NA |  |
| 072b | Defined attribute 2 data | NA |  |
| 073 | PHYSICAL DATA |  |  |
| 074 | Estimated weight |  |  |
| 074u | Weight units | g |  |
| 074u | Weight units | lb |  |
| 074u | Weight units | oz |  |
| 075 | Overall width |  |  |
| 075u | Overall width units | in |  |
| 075u | Overall width units | mm |  |
| 076 | Overall height |  |  |
| 076u | Overall height units | in |  |
| 076u | Overall height units | mm |  |
| 077 | Overall depth |  |  |
| 077u | Depth units | in |  |
| 077u | Depth units | mm |  |
| 078 | Mfr reference dwg | NA |  |
| 079a | Defined attribute 1 name | NA |  |
| 079b | Defined attribute 1 data | NA |  |
| 080a | Defined attribute 2 name | NA |  |
| 080b | Defined attribute 2 data | NA |  |
| 081e | Defined attribute 1 name | Contact |  |
| 081e | Defined attribute 1 name | Equipment module |  |
| 081e | Defined attribute 1 name | NA |  |
| 081e | Defined attribute 1 name | Production line |  |
| 081f | Defined attribute 2 name |  |  |
| 082a | Tag number |  |  |
| 082b | Area |  |  |
| 082c | Cell |  |  |
| 082d | Unit |  |  |
| 082e | Defined attribute 1 data |  |  |
| 082f | Defined attribute 2 data |  |  |
| 103 | COMPONENT IDENTIFICATIONS |  |  |
| 105a | Component type | conduit adapter |  |
| 105a | Component type | expander block |  |
| 105a | Component type | fieldbus junction box |  |
| 105a | Component type | fieldbus junction tee |  |
| 105a | Component type | fieldbus tee |  |
| 105a | Component type | power conditioner |  |
| 105a | Component type | protective junction box |  |
| 105a | Component type | segment protector |  |
| 105a | Component type | spur block |  |
| 105a | Component type | terminating block |  |
| 105b | Manufacturer |  |  |
| 105c | Model number |  |  |
| 106a | Component type | Connector cover/cap |  |
| 106a | Component type | Connector lock |  |
| 106a | Component type | External terminator |  |
| 106a | Component type | Special enclosure |  |
| 106b | Manufacturer |  |  |
| 106c | Model number |  |  |
| 107a | Component type | Connector cover/cap |  |
| 107a | Component type | Connector lock |  |
| 107a | Component type | Special enclosure |  |
| 107b | Manufacturer |  |  |
| 107c | Model number |  |  |
| 108a | Component type | Connector lock |  |
| 108a | Component type | Special enclosure |  |
| 108b | Manufacturer |  |  |
| 108c | Model number |  |  |
| 109a | Component type | Special enclosure |  |
| 109b | Manufacturer |  |  |
| 109c | Model number |  |  |
| 110a | Component type |  |  |
| 110b | Manufacturer |  |  |
| 110c | Model number |  |  |